## Entries September 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1. AUTO FLAME CONTROL | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8451450 | 1598841.8 |  | 64 | 10809.2 | 68225 |  | 1690601 |  | 468000 | 75099.65 | 591678.5 | 80405.01 | 248483 | 81270 | 984412 |  | 94074 |  | 472 | 1361581 |  | 48114 | 68647 | 15262 | 97122 |  | 6383 | 263787 | [5 empty] | 7372523.61
2 | 8454730 | 1601851.8 |  | 64 | 10829.8 | 68225 |  | 1699336 |  | 468000 | 76062.98 | 594407.13 | 80699.27 | 248725 | 81511 | 984729 |  | 94206 |  | 475 | 1361862 |  | 48193 | 68788 | 15285 | 97122 |  | 6405 | 263787 | [5 empty] | 7372523.61
3 | 8458270 | 1605358.1 |  | 64 | 10851.1 | 68225 |  | 1707774 |  | 468000 | 76830.15 | 597280.56 | 81006.42 | 248957 | 81781 | 984967 |  | 94386 |  | 476 | 1362117 |  | 48232 | 68912 | 15304 | 97122 |  | 6430 | 263787 | [5 empty] | 7372523.61
4 | 8461730 | 1608732.6 |  | 64 | 10872.2 | 68225 |  | 1716468 |  | 468000 | 77107.94 | 599486.5 | 81273.88 | 249127 | 81969 | 985226 |  | 94521 |  | 479 | 1362314 |  | 48287 | 69029 | 15325 | 97122 |  | 6452 | 263787 | [5 empty] | 7372523.61
5 | 8463770 | 1610468.1 |  | 64 | 10887.5 | 68225 |  | 1722147 |  | 468000 | 77240.23 | 599800.17 | 81317.18 | 249488 | 82064 | 985418 |  | 94668 |  | 480 | 1362414 |  | 48374 | 69050 | 15337 | 97122 |  | 6460 | 263787 | [5 empty] | 7372523.61
6 | 8463770 | 1610468.1 |  | 64 | 10887.5 | 68225 |  | 1725532 |  | 468000 | 77240.23 | 599800.17 | 81317.18 | 249488 | 82064 | 985418 |  | 94668 |  | 480 | 1362414 |  | 48374 | 69050 | 15337 | 97122 |  | 6460 | 263787 | [5 empty] | 7372523.61
7 | 8463770 | 1610468.1 |  | 64 | 10887.5 | 68225 |  | 1728329 |  | 468000 | 77240.23 | 599800.17 | 81317.18 | 249488 | 82064 | 985454 |  | 94668 |  | 480 | 1362414 |  | 48374 | 69050 | 15337 | 97122 |  | 6460 | 263787 | [5 empty] | 7372523.61
8 | 8466080 | 1612773 |  | 64 | 10906 | 68225 |  | 1733368 |  | 468000 | 77353.86 | 600252.75 | 81317.18 | 249557 | 82219 | 985580 |  | 94853 |  | 480 | 1362577 |  | 48424 | 69080 | 15353 | 97122 |  | 6461 | 263787 | [5 empty] | 7372560.346
9 | 8469430 | 1615652.8 |  | 64 | 10926.8 | 68225 |  | 1740022 |  | 468000 | 77579.32 | 601691.56 | 81459.57 | 249784 | 82357 | 985799 |  | 94968 |  | 498 | 1362721 |  | 48451 | 69164 | 15386 | 97122 |  | 6476 | 263787 | [5 empty] | 7372742.32
10 | 8473280 | 1619466.3 |  | 64 | 10947.3 | 68225 |  | 1748396 |  | 468000 | 78014.52 | 603510.36 | 81682.48 | 250033 | 82595 | 986009 |  | 95164 |  | 500 | 1362952 |  | 48487 | 69265 | 15413 | 97122 |  | 6492 | 263787 | [5 empty] | 7372742.32
11 | 8476240 | 1622183.7 |  | 64 | 10969.9 | 68225 |  | 1754904 |  | 468000 | 78552.14 | 605507.13 | 81901.91 | 250114 | 82855 | 986195 |  | 95268 |  | 506 | 1363258 |  | 48504 | 69356 | 15431 | 97122 |  | 6508 | 263787 | [5 empty] | 7372742.32
12 | 8479070 | 1624864.1 |  | 64 | 10988 | 68225 |  | 1761592 |  | 468000 | 79300.41 | 607085.1 | 82065.23 | 250167 | 83104 | 986368 |  | 95409 |  | 508 | 1363506 |  | 48533 | 69425 | 15448 | 97122 |  | 6521 | 263787 | [5 empty] | 7372742.32
13 | 8479300 | 1625087.8 |  | 64 | 10989.5 | 68225 |  | 1764719 |  | 468000 | 79301.08 | 607087.56 | 82065.23 | 250208 | 83229 | 986449 |  | 95409 |  | 508 | 1363637 |  | 48533 | 69456 | 15451 | 97122 |  | 6523 | 263787 | [5 empty] | 7372742.32
14 | 8480150 | 1625897.2 |  | 64 | 10994.8 | 68225 |  | 1768922 |  | 468000 | 79301.08 | 607087.56 | 82065.23 | 250208 | 83229 | 986449 |  | 95409 |  | 508 | 1363637 |  | 48533 | 69456 | 15453 | 97122 |  | 6523 | 263787 | [5 empty] | 7372742.32
15 | 8483580 | 1629276.6 |  | 64 | 11016.4 | 68225 |  | 1776232 |  | 468000 | 79950.45 | 609176.25 | 82336.77 | 250462 | 83361 | 986776 |  | 95496 |  | 513 | 1363776 |  | 48614 | 69604 | 15472 | 97122 |  | 6547 | 263787 | [5 empty] | 7378016.19
16 | 8487220 | 1632645.4 |  | 64 | 11038.6 | 68225 |  | 1785353 |  | 468000 | 80823.71 | 612990.44 | 82706.57 | 250793 | 83499 | 987046 |  | 95643 |  | 521 | 1363921 |  | 48645 | 69730 | 15497 | 97122 |  | 6576 | 263787 | [5 empty] | 7379903.351
17 | 8490270 | 1635362.8 |  | 64 | 11059.1 | 68225 |  | 1793522 |  | 468000 | 81502.09 | 614650.38 | 82845.85 | 251175 | 83676 | 987258 |  | 95824 |  | 522 | 1364087 |  | 48678 | 69815 | 15517 | 97122 |  | 6588 | 263787 | [5 empty] | 7381113.549
18 | 8493770 | 1638677.5 |  | 64 | 11080.8 | 68225 |  | 1802080 |  | 468000 | 82548.68 | 617043.75 | 83026 | 251313 | 83970 | 987498 |  | 95972 |  | 525 | 1364388 |  | 48736 | 69919 | 15537 | 97122 |  | 6611 | 263787 | [5 empty] | 7381113.549
19 | 8496420 | 1640995.6 |  | 64 | 11098.7 | 68225 |  | 1810791 |  | 468000 | 83416.75 | 619245.31 | 83289.9 | 251840 | 84234 | 987732 |  | 96072 |  | 526 | 1364588 |  | 48762 | 70030 | 15552 | 97122 |  | 6629 | 263787 | [5 empty] | 7381113.549
20 | 8496720 | 1641313.8 |  | 64 | 11100.6 | 68225 |  | 1813856 |  | 468000 | 83416.75 | 619245.35 | 83289.9 | 251844 | 84234 | 987780 |  | 96072 |  | 526 | 1364588 |  | 48762 | 70038 | 15555 | 97122 |  | 6636 | 263787 | [5 empty] | 7381113.549
21 | 8496860 | 1641460.1 |  | 64 | 11101.4 | 68225 |  | 1816578 |  | 468000 | 83416.75 | 619247.25 | 83289.9 | 251844 | 84234 | 987853 |  | 96072 |  | 526 | 1364588 |  | 48762 | 70081 | 15555 | 97122 |  | 6638 | 263787 | [5 empty] | 7381113.549
22 | 8499970 | 1644621.1 |  | 64 | 11120.5 | 68225 |  | 1823465 |  | 468000 | 83596.74 | 620122.5 | 83387.78 | 252052 | 84367 | 988046 |  | 96230 |  | 527 | 1364727 |  | 48834 | 70148 | 15574 | 97122 |  | 6645 | 263787 | [5 empty] | 7381113.549
23 | 8502790 | 1647179.3 |  | 64 | 11139.2 | 68225 |  | 1830410 |  | 468000 | 84349.38 | 622012.31 | 83604.94 | 252187 | 84541 | 988268 |  | 96324 |  | 528 | 1364911 |  | 48875 | 70249 | 15591 | 97122 |  | 6670 | 263787 | [5 empty] | 7381113.549
24 | 8505860 | 1650029.7 |  | 64 | 11159.5 | 68225 |  | 1838026 |  | 468000 | 84461.55 | 623385.44 | 83778.86 | 252249 | 84708 | 988465 |  | 96492 |  | 529 | 1364989 |  | 48931 | 70326 | 15606 | 97122 |  | 6675 | 263787 | [5 empty] | 7383496.045
25 | 8508780 | 1652513.4 |  | 64 | 11179.9 | 68225 |  | 1845719 |  | 468000 | 84614.52 | 624751.44 | 83975.69 | 252461 | 84866 | 988635 |  | 96640 |  | 532 | 1365143 |  | 48947 | 70406 | 15622 | 97122 |  | 6690 | 263787 | [5 empty] | 7383496.045
26 | 8511150 | 1654439.5 |  | 64 | 11197.5 | 68225 |  | 1852280 |  | 468000 | 85114.1 | 626088.19 | 84125.63 | 252565 | 85089 | 988798 |  | 96713 |  | 533 | 1365377 |  | 48987 | 70472 | 15645 | 97122 |  | 6702 | 263787 | [5 empty] | 7383496.045
27 | 8511250 | 1654567.6 |  | 64 | 11198 | 68225 |  | 1855007 |  | 468000 | 85114.1 | 626088.9 | 84125.63 | 252567 | 85125 | 988866 |  | 96713 |  | 533 | 1365415 |  | 48987 | 70472 | 15645 | 97122 |  | 6702 | 263787 | [5 empty] | 7383496.045
28 | 8511380 | 1654716.8 |  | 64 | 11198.7 | 68225 |  | 1857893 |  | 468000 | 85114.1 | 626088.9 | 84125.63 | 252574 | 85125 | 988880 |  | 96713 |  | 533 | 1365415 |  | 48987 | 70503 | 15645 | 97122 |  | 6703 | 263787 | [5 empty] | 7383496.048
29
30
31
1

## Utility Analysis September 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 8735 | 0 | 8735 | 1374.6 | 13.6% | 0 | 10109.6 | 4830 | 3280 | 2700 | 0 | 0 | 0 | 0 | 493.416 | 20.489 | 9.7889 | 6.6475 | 5.4721
2 | 8438 | 0 | 8438 | 1635.3 | 16.23% | 0 | 10073.3 | 5020 | 3540 | 2900 | 0 | 0 | 0 | 0 | 519.42 | 19.3934 | 9.6646 | 6.8153 | 5.5832
3 | 8694 | 0 | 8694 | 1611.6 | 15.64% | 0 | 10305.6 | 3580 | 3460 | 2100 | 0 | 0 | 0 | 0 | 447.678 | 23.0201 | 7.9968 | 7.7288 | 4.6909
4 | 5679 | 0 | 5679 | 1542 | 21.35% | 0 | 7221 | 4560 | 2040 | 1100 | 0 | 0 | 0 | 0 | 96.294 | 74.9891 | 47.355 | 21.1851 | 11.4233
5 | 3385 | 0 | 3385 | 1552.4 | 31.44% | 0 | 4937.4 | 0 | 0 | -2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2797 | 0 | 2797 | 1574.3 | 36.01% | 0 | 4371.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 5039 | 0 | 5039 | 1506.9 | 23.02% | 0 | 6545.9 | 2240 | 2310 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 6654 | 0 | 6654 | 1558.3 | 18.98% | 0 | 8212.3 | 3650 | 3350 | 1900 | 0 | 0 | 0 | 0 | 261.492 | 31.4055 | 13.9584 | 12.8111 | 7.266
9 | 8374 | 0 | 8374 | 1042.7 | 11.07% | 0 | 9416.7 | 4870 | 3850 | 1900 | 0 | 0 | 0 | 0 | 401.61 | 23.4474 | 12.1262 | 9.5864 | 4.731
10 | 6508 | 0 | 6508 | 539.6 | 7.657% | 0 | 7047.6 | 3410 | 2960 | 2500 | 0 | 0 | 0 | 0 | 402.864 | 17.4937 | 8.4644 | 7.3474 | 6.2056
11 | 6688 | 0 | 6688 | 1365.4 | 16.95% | 0 | 8053.4 | 3020 | 2830 | 1600 | 0 | 0 | 0 | 0 | 266.244 | 30.2482 | 11.343 | 10.6293 | 6.0095
12 | 3127 | 0 | 3127 | 1012.4 | 24.46% | 0 | 4139.4 | 1660 | 230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 4203 | 0 | 4203 | 439 | 9.457% | 0 | 4642 | 0 | 850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 7310 | 0 | 7310 | 1558.7 | 17.58% | 0 | 8868.7 | 3860 | 3430 | 1700 | 0 | 0 | 0 | 0 | 497.904 | 17.8121 | 7.7525 | 6.8889 | 3.4143
15 | 9121 | 0 | 9121 | 1590.2 | 14.85% | 0 | 10711.2 | 4690 | 3640 | 3200 | 0 | 0 | 0 | 0 | 602.91 | 17.7658 | 7.7789 | 6.0374 | 5.3076
16 | 8169 | 0 | 8169 | 1513.7 | 15.63% | 0 | 9682.7 | 5590 | 3050 | 1700 | 0 | 0 | 0 | 0 | 243.342 | 39.7905 | 22.9718 | 12.5338 | 6.9861
17 | 8558 | 0 | 8558 | 1552.2 | 15.35% | 0 | 10110.2 | 4320 | 3500 | 2400 | 0 | 0 | 0 | 0 | 290.202 | 34.8385 | 14.8862 | 12.0606 | 8.2701
18 | 8711 | 0 | 8711 | 1591.1 | 15.44% | 0 | 10302.1 | 7910 | 2650 | 2000 | 0 | 0 | 0 | 0 | 440.814 | 23.3706 | 17.9441 | 6.0116 | 4.5371
19 | 3065 | 0 | 3065 | 1558.2 | 33.7% | 0 | 4623.2 | 40 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 2722 | 0 | 2722 | 1509.8 | 35.68% | 0 | 4231.8 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 6887 | 0 | 6887 | 1626.6 | 19.11% | 0 | 8513.6 | 3410 | 3110 | 900 | 0 | 0 | 0 | 0 | 179.916 | 47.3199 | 18.9533 | 17.2858 | 5.0023
22 | 6945 | 0 | 6945 | 1319.7 | 15.97% | 0 | 8264.7 | 3090 | 2820 | 3400 | 0 | 0 | 0 | 0 | 365.508 | 22.6115 | 8.454 | 7.7153 | 9.3021
23 | 7616 | 0 | 7616 | 1428.5 | 15.79% | 0 | 9044.5 | 2290 | 3070 | 1300 | 0 | 0 | 0 | 0 | 280.17 | 32.2822 | 8.1736 | 10.9576 | 4.64
24 | 7693 | 0 | 7693 | 720.2 | 8.56% | 0 | 8413.2 | 3700 | 2920 | 1600 | 0 | 0 | 0 | 0 | 354.948 | 23.7026 | 10.4241 | 8.2266 | 4.5077
25 | 6561 | 0 | 6561 | 1092.3 | 14.27% | 0 | 7653.3 | 3270 | 2370 | 1200 | 0 | 0 | 0 | 0 | 263.01 | 29.0989 | 12.433 | 9.0111 | 4.5626
26 | 2727 | 0 | 2727 | 1559.8 | 36.39% | 0 | 4286.8 | 380 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 2886 | 0 | 2886 | 801.9 | 21.74% | 0 | 3687.9 | 70 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 1396.2 | 100% | 0 | 1396.2 | 0 | 0 | 1300 | 0 | 0 | 0 | 0 | 258.72 | 5.3966 | 0 | 0 | 0
29 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 167292 | 37573.6 | 18.34% | 0 | 204865.6 | 79460 | 59930 | 35700 | 0 | 0 | 0 | 0 | 6666.462 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 204865.6 | [11 empty] | 30.7308 | 11.9194 | 8.9898 | 5.3552

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 36.736
8 | 181.974
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 5273.87
15 | 1887.161
16 | 1210.198
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 2382.496
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
10972.435

## Fuel
DAILY FUEL CONSUMPTION FOR SEPTEMBER 2026
[12 empty] | KPI WITH ORIGINAL METER | KPI WITH AUTO FLAME METER
DATE | Boiler 1 | Boiler 1 | Boiler 1. (AF Control) | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 | Gen. | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL) | Fuel(Litres/HL) | DIFERENCE (LTS)
| Cons ( l ) | Hrs | Cons ( l ) | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 3280 | 20.6 | 3010 | 0 | 0 |  |  | 159.2233 | 0 | 3280 | 493.416 | 6.6475 | 6.1003 | 270
2 | 3540 | 21.3 | 3506.3 | 0 | 0 |  |  | 166.1972 | 0 | 3540 | 519.42 | 6.8153 | 6.7504 | 33.7
3 | 3460 | 21.1 | 3374.5 | 0 | 0 |  |  | 163.981 | 0 | 3460 | 447.678 | 7.7288 | 7.5378 | 85.5
4 | 2040 | 15.3 | 1735.5 | 0 | 0 |  |  | 133.3333 | 0 | 2040 | 96.294 | 21.1851 | 18.0229 | 304.5
5 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2310 | 18.5 | 2304.9 | 0 | 0 |  |  | 124.8649 | 0 | 2310 | 0 | 0 | 0 | 5.1
8 | 3350 | 20.8 | 2879.8 | 0 | 0 |  |  | 161.0577 | 0 | 3350 | 261.492 | 12.8111 | 11.013 | 470.2
9 | 3850 | 20.5 | 3813.5 | 0 | 0 |  |  | 187.8049 | 0 | 3850 | 401.61 | 9.5864 | 9.4955 | 36.5
10 | 2960 | 22.6 | 2717.4 | 0 | 0 |  |  | 130.9735 | 0 | 2960 | 402.864 | 7.3474 | 6.7452 | 242.6
11 | 2830 | 18.1 | 2680.4 | 0 | 0 |  |  | 156.3536 | 0 | 2830 | 266.244 | 10.6293 | 10.0675 | 149.6
12 | 230 | 1.5 | 223.7 | 0 | 0 |  |  | 153.3333 | 0 | 230 | 0 | 0 | 0 | 6.3
13 | 850 | 5.3 | 809.4 | 0 | 0 |  |  | 160.3774 | 0 | 850 | 0 | 0 | 0 | 40.6
14 | 3430 | 21.6 | 3379.4 | 0 | 0 |  |  | 158.7963 | 0 | 3430 | 497.904 | 6.8889 | 6.7873 | 50.6
15 | 3640 | 22.2 | 3368.8 | 0 | 0 |  |  | 163.964 | 0 | 3640 | 602.91 | 6.0374 | 5.5876 | 271.2
16 | 3050 | 20.5 | 2717.4 | 0 | 0 |  |  | 148.7805 | 0 | 3050 | 243.342 | 12.5338 | 11.167 | 332.6
17 | 3500 | 21.7 | 3314.7 | 0 | 0 |  |  | 161.2903 | 0 | 3500 | 290.202 | 12.0606 | 11.422 | 185.3
18 | 2650 | 17.9 | 2318.1 | 0 | 0 |  |  | 148.0447 | 0 | 2650 | 440.814 | 6.0116 | 5.2587 | 331.9
19 | 300 | 1.9 | 318.2 | 0 | 0 |  |  | 157.8947 | 0 | 300 | 0 | 0 | 0 | -18.2
20 | 140 | 0 | 146.3 | 0 | 0 |  |  | 0 | 0 | 140 | 0 | 0 | 0 | -6.3
21 | 3110 | 19.1 | 3161 | 0 | 0 |  |  | 162.8272 | 0 | 3110 | 179.916 | 17.2858 | 17.5693 | -51
22 | 2820 | 18.7 | 2558.2 | 0 | 0 |  |  | 150.8021 | 0 | 2820 | 365.508 | 7.7153 | 6.999 | 261.8
23 | 3070 | 20.3 | 2850.4 | 0 | 0 |  |  | 151.2315 | 0 | 3070 | 280.17 | 10.9576 | 10.1738 | 219.6
24 | 2920 | 20.4 | 2483.7 | 0 | 0 |  |  | 143.1373 | 0 | 2920 | 354.948 | 8.2266 | 6.9974 | 436.3
25 | 2370 | 17.6 | 1926.1 | 0 | 0 |  |  | 134.6591 | 0 | 2370 | 263.01 | 9.0111 | 7.3233 | 443.9
26 | 100 | 0 | 128.1 | 0 | 0 |  |  | 0 | 0 | 100 | 0 | 0 | 0 | -28.1
27 | 130 | 0 | 149.2 | 0 | 0 |  |  | 0 | 0 | 130 | 0 | 0 | 0 | -19.2
28 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 258.72 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 59930 | 387.5 | 55875 |  | 0 | 0 | 0 | 154.6581 |  | 59930 | 6666.462 | 8.9898 | 8.3815
AVE. | 2397.2 | 17.6136 | [5 empty] | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 242 | 241 | 281 | 202 | 317 | 0 | 132 | 0 | 0 | 3 | 79 | 141 | 22 | 23 | 0 | 2020 | 223 | 22 | 0 | 0 | 0 | 0 | 483 | 493.416 | 9.7889
| 2 | 0 | 232 | 270 | 255 | 247 | 238 | 0 | 180 | 0 | 0 | 1 | 39 | 124 | 25 | 19 | 0 | 2470 | 164 | 25 | 0 | 0 | 0 | 0 | 502 | 519.42 | 9.6646
| 3 | 0 | 170 | 188 | 197 | 161 | 259 | 0 | 135 | 0 | 0 | 3 | 55 | 117 | 22 | 21 | 0 | 1610 | 175 | 22 | 0 | 0 | 0 | 0 | 358 | 447.678 | 7.9968
| 4 | 0 | 361 | 95 | 100 | 356 | 192 | 0 | 147 | 0 | 0 | 1 | 87 | 21 | 8 | 12 | 0 | 3560 | 109 | 8 | 0 | 0 | 0 | 0 | 456 | 96.294 | 47.355
| 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | 0 | 69 | 155 | 163 | 61 | 126 | 0 | 185 | 0 | 0 | 0 | 50 | 30 | 1 | 16 | 0 | 610 | 80 | 1 | 0 | 0 | 0 | 0 | 224 | 0 | 0
| 8 | 0 | 227 | 138 | 144 | 221 | 219 | 0 | 115 | 0 | 0 | 18 | 27 | 84 | 15 | 33 | 0 | 2210 | 129 | 15 | 0 | 0 | 0 | 0 | 365 | 261.492 | 13.9584
| 9 | 0 | 249 | 238 | 231 | 256 | 210 | 0 | 196 | 0 | 0 | 2 | 36 | 101 | 16 | 27 | 0 | 2560 | 139 | 16 | 0 | 0 | 0 | 0 | 487 | 401.61 | 12.1262
| 10 | 0 | 81 | 260 | 306 | 35 | 186 | 0 | 104 | 0 | 0 | 6 | 17 | 91 | 16 | 18 | 0 | 350 | 114 | 16 | 0 | 0 | 0 | 0 | 341 | 402.864 | 8.4644
| 11 | 0 | 53 | 249 | 248 | 54 | 173 | 0 | 141 | 0 | 0 | 2 | 29 | 69 | 13 | 17 | 0 | 540 | 100 | 13 | 0 | 0 | 0 | 0 | 302 | 266.244 | 11.343
| 12 | 0 | 41 | 125 | 131 | 35 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 2 | 3 | 0 | 350 | 31 | 2 | 0 | 0 | 0 | 0 | 166 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 254 | 132 | 139 | 247 | 327 | 0 | 87 | 0 | 0 | 5 | 81 | 148 | 24 | 19 | 0 | 2470 | 234 | 24 | 0 | 0 | 0 | 0 | 386 | 497.904 | 7.7525
| 15 | 0 | 331 | 138 | 145 | 324 | 270 | 0 | 147 | 0 | 0 | 8 | 31 | 126 | 29 | 25 | 0 | 3240 | 165 | 29 | 0 | 0 | 0 | 0 | 469 | 602.91 | 7.7789
| 16 | 0 | 382 | 177 | 166 | 393 | 212 | 0 | 181 | 0 | 0 | 1 | 33 | 85 | 12 | 20 | 0 | 3930 | 119 | 12 | 0 | 0 | 0 | 0 | 559 | 243.342 | 22.9718
| 17 | 0 | 138 | 294 | 301 | 131 | 240 | 0 | 148 | 0 | 0 | 3 | 58 | 104 | 23 | 20 | 0 | 1310 | 165 | 23 | 0 | 0 | 0 | 0 | 432 | 290.202 | 14.8862
| 18 | 0 | 527 | 264 | 200 | 591 | 234 | 0 | 100 | 0 | 0 | 1 | 26 | 111 | 18 | 15 | 0 | 5910 | 138 | 18 | 0 | 0 | 0 | 0 | 791 | 440.814 | 17.9441
| 19 | 0 | 4 | 0 | 0 | 4 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 7 | 3 | 0 | 40 | 8 | 7 | 0 | 0 | 0 | 0 | 4 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 2 | 0 | 0 | 0 | 43 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 208 | 133 | 139 | 202 | 193 | 0 | 158 | 0 | 0 | 1 | 72 | 67 | 7 | 19 | 0 | 2020 | 140 | 7 | 0 | 0 | 0 | 0 | 341 | 179.916 | 18.9533
| 22 | 0 | 135 | 174 | 184 | 125 | 222 | 0 | 94 | 0 | 0 | 1 | 41 | 101 | 25 | 17 | 0 | 1250 | 143 | 25 | 0 | 0 | 0 | 0 | 309 | 365.508 | 8.454
| 23 | 0 | 62 | 167 | 78 | 151 | 197 | 0 | 168 | 0 | 0 | 1 | 56 | 77 | 5 | 15 | 0 | 1510 | 134 | 5 | 0 | 0 | 0 | 0 | 229 | 280.17 | 8.1736
| 24 | 0 | 212 | 158 | 154 | 216 | 170 | 0 | 148 | 0 | 0 | 3 | 16 | 80 | 15 | 16 | 0 | 2160 | 99 | 15 | 0 | 0 | 0 | 0 | 370 | 354.948 | 10.4241
| 25 | 0 | 104 | 223 | 234 | 93 | 163 | 0 | 73 | 0 | 0 | 1 | 40 | 66 | 12 | 23 | 0 | 930 | 107 | 12 | 0 | 0 | 0 | 0 | 327 | 263.01 | 12.433
| 26 | 0 | 2 | 36 | 38 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0
| 27 | 0 | 7 | 0 | 0 | 7 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 1 | 0 | 0 | 70 | 31 | 1 | 0 | 0 | 0 | 0 | 7 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258.72 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 4091 | 3855 | 3834 | 4112 | 4468 |  | 2639 |  | 0 | 61 | 873 | 1856 | 320 | 383 | 0 | 41120 | 2790 | 320 | 0 |  |  |  | 7946 | 6666.462 | 11.9194 | 10.2 | 116.8565
| Gals. |  | 900020
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 14229.3162
| Add basic charge |  | 278.97
14508.2862
| Proxy sewage charge (2/3) |  | 9672.1908
| Proxy MTD NAWASA cost |  | 24180.477
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.SEPTEMBER 2026
DAILY ELECTRICITY CONSUMPTION FOR SEPTEMBER 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 8735 | 0 | 1374.6 | 10109.6 | 493.416 | 20.489
2 | 8438 | 0 | 1635.3 | 10073.3 | 519.42 | 19.3934
3 | 8694 | 0 | 1611.6 | 10305.6 | 447.678 | 23.0201
4 | 5679 | 0 | 1542 | 7221 | 96.294 | 74.9891
5 | 3385 | 0 | 1552.4 | 4937.4 | 0 | 0
6 | 2797 | 0 | 1574.3 | 4371.3 | 0 | 0
7 | 5039 | 0 | 1506.9 | 6545.9 | 0 | 0
8 | 6654 | 0 | 1558.3 | 8212.3 | 261.492 | 31.4055
9 | 8374 | 0 | 1042.7 | 9416.7 | 401.61 | 23.4474
10 | 6508 | 0 | 539.6 | 7047.6 | 402.864 | 17.4937
11 | 6688 | 0 | 1365.4 | 8053.4 | 266.244 | 30.2482
12 | 3127 | 0 | 1012.4 | 4139.4 | 0 | 0
13 | 4203 | 0 | 439 | 4642 | 0 | 0
14 | 7310 | 0 | 1558.7 | 8868.7 | 497.904 | 17.8121
15 | 9121 | 0 | 1590.2 | 10711.2 | 602.91 | 17.7658
16 | 8169 | 0 | 1513.7 | 9682.7 | 243.342 | 39.7905
17 | 8558 | 0 | 1552.2 | 10110.2 | 290.202 | 34.8385
18 | 8711 | 0 | 1591.1 | 10302.1 | 440.814 | 23.3706
19 | 3065 | 0 | 1558.2 | 4623.2 | 0 | 0
20 | 2722 | 0 | 1509.8 | 4231.8 | 0 | 0
21 | 6887 | 0 | 1626.6 | 8513.6 | 179.916 | 47.3199
22 | 6945 | 0 | 1319.7 | 8264.7 | 365.508 | 22.6115
23 | 7616 | 0 | 1428.5 | 9044.5 | 280.17 | 32.2822
24 | 7693 | 0 | 720.2 | 8413.2 | 354.948 | 23.7026
25 | 6561 | 0 | 1092.3 | 7653.3 | 263.01 | 29.0989
26 | 2727 | 0 | 1559.8 | 4286.8 | 0 | 0
27 | 2886 | 0 | 801.9 | 3687.9 | 0 | 0
28 | 0 | 0 | 1396.2 | 1396.2 | 258.72 | 5.3966
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 |  |  | %
MTD | 167292 | 0 | 37573.6 | 204865.6 | 6666.462 | 30.7308 | 22 | 139.6854
TARGET

## PROD.FIG.
PRODUCTION FOR SEPTEMBER 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Tuesday | 1 | [5 empty] | 493.416
Wednesday | 2 | [5 empty] | 519.42
Thursday | 3 | [5 empty] | 447.678
Friday | 4 | [5 empty] | 96.294
Saturday | 5 | [5 empty] | 0
Sunday | 6 | [5 empty] | 0
Monday | 7 | [5 empty] | 0
Tuesday | 8 | [5 empty] | 261.492
Wednesday | 9 | [5 empty] | 401.61
Thursday | 10 | [5 empty] | 402.864
Friday | 11 | [5 empty] | 266.244
Saturday | 12 | [5 empty] | 0
Sunday | 13 | [5 empty] | 0
Monday | 14 | [5 empty] | 497.904
Tuesday | 15 | [5 empty] | 602.91
Wednesday | 16 | [5 empty] | 243.342
Thursday | 17 | [5 empty] | 290.202
Friday | 18 | [5 empty] | 440.814
Saturday | 19 | [5 empty] | 0
Sunday | 20 | [5 empty] | 0
Monday | 21 | [5 empty] | 179.916
Tuesday | 22 | [5 empty] | 365.508
Wednesday | 23 | [5 empty] | 280.17
Thursday | 24 | [5 empty] | 354.948
Friday | 25 | [5 empty] | 263.01
Saturday | 26 | [5 empty] | 0
Sunday | 27 | [5 empty] | 0
Monday | 28 | [5 empty] | 258.72
Tuesday | 29 | [5 empty] | 0
Wednesday | 30 | [5 empty] | 0
| 31 | [5 empty] | 0
[6 empty] | TOTAL | 6666.462
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for SEPTEMBER 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 294.26 | 963.33 | 2728.63 | 2700 | 493.416 | 5.4721 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 307.15 | 767.17 | 2873.43 | 2900 | 519.42 | 5.5832 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 267.46 | 277.79 | 2205.94 | 2100 | 447.678 | 4.6909 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 43.3 | 132.29 | 313.67 | 1100 | 96.294 | 11.4233 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | -2400 | 0 | 0 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 113.63 | 452.58 | 700 | 0 | 0 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 142.39 | 225.46 | 1438.81 | 1900 | 261.492 | 7.266 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 222.91 | 435.2 | 1818.8 | 1900 | 401.61 | 4.731 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 219.43 | 537.62 | 1996.77 | 2500 | 402.864 | 6.2056 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 163.32 | 748.27 | 1577.97 | 1600 | 266.244 | 6.0095 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 2.46 | 0 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 271.54 | 649.37 | 2088.69 | 1700 | 497.904 | 3.4143 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 369.8 | 873.26 | 3814.19 | 3200 | 602.91 | 5.3076 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 139.28 | 678.38 | 1659.94 | 1700 | 243.342 | 6.9861 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 180.15 | 1046.59 | 2393.37 | 2400 | 290.202 | 8.2701 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 263.9 | 868.07 | 2201.56 | 2000 | 440.814 | 4.5371 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 1.9 | 0 | 0 | 0 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 97.88 | 179.99 | 875.25 | 900 | 179.916 | 5.0023 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 217.16 | 752.64 | 1889.81 | 3400 | 365.508 | 9.3021 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE!
23 | 173.92 | 112.17 | 1373.13 | 1300 | 280.17 | 4.64 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 |  | #VALUE! | 0 | 0 | 0 | #VALUE! | #VALUE!
24 | 196.83 | 152.97 | 1366 | 1600 | 354.948 | 4.5077 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 149.94 | 499.58 | 1336.75 | 1200 | 263.01 | 4.5626 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 1300 | 258.72 | 5.0247 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 3720.62 | 10013.78 | 34409.65 | 35700 | 6666.462 | 5.3552 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | #VALUE!

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-09-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 7870 | 6783 | 1459 | 0 | 0 | 0 | 3962 | 6085 | 6104 | 4034 | 0 | 0 | 7544 | 9135 | 3687 | 4397 | 6679 | 0 | 0 | 2726 | 5538 | 4245 | 5378 | 3985 | 0 | 0 | 3920 |  |  | 0 | 93531 | 96325 | -2794
HL produced | 493.416 | 519.42 | 447.678 | 96.294 | 0 | 0 | 0 | 261.492 | 401.61 | 402.864 | 266.244 | 0 | 0 | 497.904 | 602.91 | 243.342 | 290.202 | 440.814 | 0 | 0 | 179.916 | 365.508 | 280.17 | 354.948 | 263.01 | 0 | 0 | 258.72 |  |  | 0 | 6666.462
Product Type | ST/CBex. | CB | CB/ST | GO | 0 | 0 | CB | CB | CB | CB | CB/MK | 0 | 0 | MK/ST | ST/CB | CB/Cbe | Cbe | CB/SH | 0 | 0 | SH/SH | ST | ST/CBex | CBex |  | 0 | 0 | GN |  |  | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 242 | 232 | 170 | 361 | 0 | 0 | 69 | 227 | 249 | 81 | 53 | 41 | 0 | 254 | 331 | 382 | 138 | 527 | 4 | 0 | 208 | 135 | 62 | 212 | 104 | 2 | 7 | 0 | 104 | 2 | 7 | 4204
Annanale Supply | 241 | 270 | 188 | 95 | 0 | 0 | 155 | 138 | 238 | 260 | 249 | 125 | 0 | 132 | 138 | 177 | 294 | 264 | 0 | 0 | 133 | 174 | 167 | 158 | 223 | 36 | 0 | 0 | 223 | 36 | 0 | 4114
Total Water Supply | 483 | 502 | 358 | 456 | 0 | 0 | 224 | 365 | 487 | 341 | 302 | 166 | 0 | 386 | 469 | 559 | 432 | 791 | 4 | 0 | 341 | 309 | 229 | 370 | 327 | 38 | 7 | 0 | 327 | 38 | 7 | 8318
0
Theoretical permeate | 205.13 | 186.15 | 143.81 | 73 | 0 | 0 | 118.99 | 105.12 | 168.63 | 223.38 | 181.04 | 95.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101.47 | 134.32 | 56.94 | 112.42 | 170.82 | 170.82 | 170.82 | 170.82 | 170.82 | 170.82 | 0 | 2930.95 | 7569 |  | 11.3538
263.53
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 317 | 238 | 259 | 192 | 0 | 36 | 126 | 219 | 210 | 186 | 173 | 81 | 0 | 327 | 270 | 212 | 240 | 234 | 48 | 73 | 193 | 222 | 197 | 170 | 163 | 68 | 14 | 0 | 0 | 0 | 0 | 4468
Water consumption | 317 | 238 | 259 | 192 | 0 | 36 | 126 | 219 | 210 | 186 | 173 | 81 | 0 | 327 | 270 | 212 | 240 | 234 | 48 | 73 | 193 | 222 | 197 | 170 | 163 | 68 | 14 | 0 | 0 | 0 | 0 | 4468
| 6.4246 | 4.582 | 5.7854 | 19.9389 |  |  |  | 8.375 | 5.229 | 4.6169 | 6.4978 |  |  | 6.5675 | 4.4783 | 8.712 | 8.2701 | 5.3084 |  |  | 10.7272 | 6.0737 | 7.0314 | 4.7894 | 6.1975 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 132 | 180 | 135 | 147 | 0 | 0 | 185 | 115 | 196 | 104 | 141 | 0 | 0 | 87 | 147 | 181 | 148 | 100 | 0 | 0 | 158 | 94 | 168 | 148 | 73 | 0 | 0 | 0 | 73 | 0 | 0 | 2712
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.433 | 0 | 0 | 12.433
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 1 | 47
CIP Process | 79 | 39 | 55 | 87 | 0 | 0 | 50 | 27 | 36 | 17 | 29 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 0 | 0 | 72 | 41 | 56 | 16 | 40 | 0 | 0 | 0 | 40 | 0 | 0 | 783 |  |  | 15588.1818
Bottles Washer | 141 | 124 | 117 | 21 | 0 | 0 | 30 | 84 | 101 | 91 | 69 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 43 | 67 | 101 | 77 | 80 | 66 | 0 | 31 | 0 | 66 | 0 | 31 | 1379
Bottle Filler | 22 | 25 | 22 | 8 | 0 | 0 | 1 | 15 | 16 | 16 | 13 | 2 | 0 | 24 | 29 | 12 | 23 | 18 | 7 | 2 | 7 | 25 | 5 | 15 | 12 | 0 | 1 | 0 | 12 | 0 | 1 | 333
Pasteuriser | 3 | 1 | 3 | 1 | 0 | 0 | 0 | 18 | 2 | 6 | 2 | 0 | 0 | 5 | 8 | 1 | 3 | 1 | 0 | 0 | 1 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 62
Boiler Supply | 23 | 19 | 21 | 12 | 0 | 0 | 16 | 33 | 27 | 18 | 17 | 3 | 2 | 2 | 25 | 20 | 20 | 15 | 3 | 0 | 19 | 17 | 15 | 16 | 23 | 0 | 0 | 0 | 23 | 0 | 0 | 389
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 105
Personnel Consumption
Total water consumption (M3) | 400 | 388 | 353 | 276 | 0 | 0 | 282 | 292 | 378 | 252 | 375 | 36 | 2 | 118 | 209 | 247 | 228 | 200 | 18 | 45 | 324 | 279 | 322 | 278 | 215 | 0 | 32 | 0 | 240.433 | 0 | 33 | 5822.433
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 2728.63 | 2873.43 | 2205.94 | 313.67 | 0 | #REF! | #REF! | 1438.81 | 1818.8 | 1996.77 | 1577.97 | 2.46 | 0 | 2088.69 | 3814.19 | 1659.94 | 2393.37 | 180.15 | 138 | 294 | 527 | 264 | 234 | 0 | 100 | 0 | 1 | 200 | 0 | 26 | 111 | #REF!
CO2 (kg.) (Filler) | 294.26 | 307.15 | 267.46 | 43.3 | 0 | 0 | 0 | 142.39 | 222.91 | 219.43 | 163.32 | 0 | 0 | 271.54 | 369.8 | 139.28 | 180.15 | 263.9 | 0 | 0 | 97.88 | 217.16 | 173.92 | 196.83 | 149.94 | 0 | 0 | 0 | 0 | 0 | 0 | 3720.62
Electricity (Kwh.) | 8735 | 8438 | 8694 | 5679 | 3385 | 2797 | 5039 | 6654 | 8374 | 6508 | 6688 | 3127 | 4203 | 7310 | 9121 | 8169 | 8558 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 207300
Fuel (L) | 3280 | 3540 | 3460 | 2040 | 0 | 0 | 2310 | 3350 | 3850 | 2960 | 2830 | 230 | 850 | 3430 | 3640 | 3050 | 3500 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 2650 | 79420
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 9.7889 | 9.6646 | 7.9968 | 47.355 |  |  |  | 13.9584 | 12.1262 | 8.4644 | 11.343 |  |  | 7.7525 | 7.7789 | 22.9718 | 14.8862 | 17.9441 |  |  | 18.9533 | 8.454 | 8.1736 | 10.4241 | 12.433 |  |  | 0 |  |  |  | 12.4774 | 10.2 | -2.2774
Days: Consumption detail; Total: MTD | Target | Diff
Brewhouse / Old Pepsi Area | 2.6752 | 3.4654 | 3.0156 | 15.2657 |  |  |  | 4.3978 | 4.8804 | 2.5815 | 5.2959 |  |  | 1.7473 | 2.4382 | 7.4381 | 5.0999 | 2.2685 |  |  | 8.7819 | 2.5718 | 5.9964 | 4.1696 | 2.7756 |  |  | 0 |  |  |  | 4.0681 | 2.5 | -1.5681
Days: Brewhouse (Hls brewed); Sun: 3.895; Mon: 4.0268; Tue: 3.8649; Wed: 5.8636; Sat: 4.1011; Sun: 3.7841; Mon: 5.5587; Tue: 3.4483; Sat: 2.8302; Sun: 4.2; Mon: 4.0276; Tue: 3.2209; Wed: 19.5312; Sat: 4.0193; Sun: 3.7465; Total: 5.3633 | 2.5 | -2.8633
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  | 0.01865 | 0.1 | 0.08135
Days: Whirlpool | 0.1 | 0.1
Days: Filtration/Cellars; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Sat: 0; Total: 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0.034459 | 0.74862 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  | 0.070502 | 1 | 0.9295
CIP Process | 1.6011 | 0.75084 | 1.2286 | 9.0348 |  |  |  | 1.0325 | 0.89639 | 0.42198 | 1.0892 |  |  | 0 | 0 | 1.3561 | 1.1371 | 0.74862 |  |  | 4.0019 | 1.1217 | 1.9988 | 0.45077 | 1.5209 |  |  | 0 |  |  |  | 1.1745 | 0.7 | -0.47454
Bottles Washer | 2.8576 | 2.3873 | 2.6135 | 2.1808 |  |  |  | 3.2123 | 2.5149 | 2.2588 | 2.5916 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 3.724 | 2.7633 | 2.7483 | 2.2539 | 2.5094 |  |  | 0 |  |  |  | 2.0686 | 2.6 | 0.53144
Days: Bottle Washer | 2.6 | 2.6
Bottle Filler | 0.44587 | 0.48131 | 0.49142 | 0.83079 |  |  |  | 0.57363 | 0.3984 | 0.39716 | 0.48827 |  |  | 0.48202 | 0.481 | 0.49313 | 0.79255 | 0.40834 |  |  | 0.38907 | 0.68398 | 0.17846 | 0.4226 | 0.45626 |  |  | 0 |  |  |  | 0.49952 | 0.7 | 0.20048
Pasteuriser | 0.060801 | 0.019252 | 0.067012 | 0.10385 |  |  |  | 0.68836 | 0.0498 | 0.14893 | 0.075119 |  |  | 0.10042 | 0.13269 | 0.041094 | 0.10338 | 0.022685 |  |  | 0.055581 | 0.027359 | 0.035693 | 0.084519 | 0.038021 |  |  | 0 |  |  |  | 0.093003 | 0.1 | 0.0069971
Boiler Supply | 0.46614 | 0.36579 | 0.46909 | 1.2462 |  |  |  | 1.262 | 0.67229 | 0.4468 | 0.63851 |  |  | 0.040168 | 0.41466 | 0.82189 | 0.68918 | 0.34028 |  |  | 1.056 | 0.46511 | 0.53539 | 0.45077 | 0.87449 |  |  | 0 |  |  |  | 0.58352 | 0.6 | 0.016482
Backwash Supply | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  | 0 | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  | 0 | 0.3 | 0.3
Days: CO2 Scrubber | 0.4 | 0.4
Days: Personnel Consumption | 0.2 | 0.2
Water consumption (M3) | 12.0017 | 11.4967 | 11.75 | 34.5258 | 0 | 0 | 4.1011 | 14.9508 | 14.9708 | 9.7035 | 10.1786 | 0 | 0 | 5.2001 | 7.6665 | 14.1779 | 11.0775 | 24.0683 | 0 | 0 | 22.0277 | 11.3797 | 11.493 | 7.8321 | 8.1746 | 0 | 0 | 0 | 0 | 0 | 0 | 13.9397 | 15.6 | 1.6603
Bottling Hall water | 3.3643 | 2.8878 | 3.1719 | 3.1155 | 0 | 0 | 0 | 4.4743 | 2.9631 | 2.8049 | 3.155 | 0 | 0 | 0.58244 | 0.61369 | 0.53423 | 0.89593 | 0.43102 | 0 | 0 | 4.1686 | 3.4746 | 2.9625 | 2.761 | 3.0037 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6611 | 6 | 3.3389
CO2 (kg./Hl.) KPI | 5.5301 | 5.532 | 4.9275 | 3.2574 |  |  |  | 5.5023 | 4.5288 | 4.9564 | 5.9268 |  |  | 4.195 | 6.3263 | 6.8214 | 8.2473 | 0.40868 |  |  | 2.9291 | 0.72228 | 0.83521 | 0 | 0.38021 |  |  | 0.77304 |  |  |  | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI | 0.59637 | 0.59133 | 0.59744 | 0.44966 |  |  |  | 0.54453 | 0.55504 | 0.54468 | 0.61342 |  |  | 0.54537 | 0.61336 | 0.57236 | 0.62077 | 0.59867 |  |  | 0.54403 | 0.59413 | 0.62077 | 0.55453 | 0.57009 |  |  | 0 |  |  |  | 0.55811 | 1.7 | 1.1419
Electricity (Kwh./Hl.) KPI | 17.7031 | 16.245 | 19.4202 | 58.9756 |  |  |  | 25.4463 | 20.8511 | 16.1543 | 25.1198 |  |  | 14.6815 | 15.1283 | 33.57 | 29.4898 | 19.7612 |  |  | 48.417 | 23.8326 | 31.0918 | 24.5416 | 33.1204 |  |  | 33.6696 |  |  |  | 31.096 | 22 | -9.096
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 6.6475 | 6.8153 | 7.7288 | 21.1851 |  |  |  | 12.8111 | 9.5864 | 7.3474 | 10.6293 |  |  | 6.8889 | 6.0374 | 12.5338 | 12.0606 | 6.0116 |  |  | 14.7291 | 7.2502 | 9.4585 | 7.4659 | 10.0757 |  |  | 10.2427 |  |  |  | 11.9134 | 7.2 | -4.7134
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 963.33 | 767.17 | 277.79 | 132.29 | 0 | 0 | 522559.94 | 0 | 435.2 | 537.62 | 748.27 | 0 | 0 | 649.37 | 873.26 | 678.38 | 1046.59 | 868.07 | 0 | 0 | 179.99 | 752.64 | 112.17 | 152.97 | 499.58 | 0 | 0 | 0 | 0 | 0 | 0 | 532234.63
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 0% | 0% | 0% | 0% |  |  | 0% |  | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% | [6 empty] | 0%
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 338.9 | 447 | 349.3 | 250.7 | 0 | 0 | 451.1 | 303.9 | 352.6 | 301.6 | 0 | 0 | 0 | 307.4 | 350 | 449.4 | 459.5 | 51.2 | 0 | 0 | 393.1 | 250.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5056.6
Product | CB | CB | CB/MK | MK | 0 | 0 | ST | ST/CB | CB | CB | CB | 0 | 0 | CB | CB | CB | CB/GN | GN | 0 | 0 | ST | CB | CB | CB | CB | 0 | 0 | SM | 0 | 0 | 0
No. of Brews | 7 | 9 | 8 | 5 | 0 | 0 | 9 | 6 | 7 | 6 | 6 | 0 | 0 | 6 | 7 | 9 | 9 | 1 | 0 | 0 | 8 | 5 | 8 | 10 | 1 | 0 | 0 | 8 | 0 | 0 | 0 | 135
Raw Water In - Nawasa | 281 | 255 | 197 | 100 | 0 | 0 | 163 | 144 | 231 | 306 | 248 | 131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 139 | 184 | 78 | 154 | 234 | 234 | 234 | 234 | 234 | 234 | 0 | 4015
Into RO | _ | [30 empty] | 0
| 8735 | 8438 | 8694 | 5679 | 3385 | 2797 | 5039 | 6654 | 8374 | 6508 | 6688 | 3127 | 4203 | 7310 | 9121 | 8169 | 8558 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 8711 | 207300
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-09-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  |  | Monthly Target
| Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday |  |  | Total |  | Diff.
Cases Produced | 7476 | 7870 | 6783 | 1459 |  |  |  | 3962 | 6085 | 6104 | 4034 |  |  | 7544 | 9135 | 3687 | 4397 | 6679 |  |  | 2726 | 5538 | 4245 | 5378 | 3985 |  |  | 3920 |  |  |  |  | 101007 | 114150 | -13143
HL produced | 493.416 | 519.42 | 447.678 | 96.294 |  |  | 0 | 261.492 | 401.61 | 402.864 | 266.244 | 0 | 0 | 497.904 | 602.91 | 243.342 | 290.202 | 440.814 |  |  | 179.916 | 365.508 | 280.17 | 354.948 | 263.01 | 0 | 0 | 258.72 | 0 |  |  |  | 6666.462
Product Type | ST/CBex. | CB | CB/ST | GO |  |  |  | CB | CB | CB | CB/MK |  |  | MK/ST | ST/CB | CB/Cbe | Cbe | CB/SH |  |  | SH/SH | ST | ST/CBex | CBex | Cbex/GN |  |  | GN
2026-09-01: Hls Brewed; 1: 338.9; 2: 447; 3: 349.3; 4: 250.7; 7: 451.1; 8: 303.9; 9: 352.6; 10: 301.6; 14: 307.4; 15: 350; 16: 449.4; 17: 459.5; 18: 51.2; 21: 393.1; 22: 250.9 |  |  | 5056.6
Product | CB | CB | CB/MK | MK |  |  | ST | ST/CB | CB | CB | CB |  |  | CB | CB | CB | CB/GN | GN |  |  | ST | CB | CB | CB | CB |  |  | SM
No. of Brews | 7 | 9 | 8 | 5 |  |  | 9 | 6 | 7 | 6 | 6 |  |  | 6 | 7 | 9 | 9 | 1 |  |  | 8 | 5 | 8 | 10 | 1 |  |  | 8 |  |  |  |  | 135
2026-09-01: Brewhouse (Hls brewed) |  |  | 5.2189
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 242 | 232 | 170 | 361 | 0 | 0 | 69 | 227 | 249 | 81 | 53 | 41 | 0 | 254 | 331 | 382 | 138 | 527 | 4 | 0 | 208 | 135 | 62 | 212 | 104 | 2 | 7 | 0 | 0 | 0 | 0 |  | 4091
Annanale Supply | 241 | 270 | 188 | 95 | 0 | 0 | 155 | 138 | 238 | 260 | 249 | 125 | 0 | 132 | 138 | 177 | 294 | 264 | 0 | 0 | 133 | 174 | 167 | 158 | 223 | 36 | 0 | 0 | 0 | 0 | 0 |  | 3855
Total Water Supply | 483 | 502 | 358 | 456 | 0 | 0 | 224 | 365 | 487 | 341 | 302 | 166 | 0 | 386 | 469 | 559 | 432 | 791 | 4 | 0 | 341 | 309 | 229 | 370 | 327 | 38 | 7 | 0 | 0 | 0 | 0 |  | 7946
0
Theoretical permeate | 205.13 | 186.15 | 143.81 | 73 | 0 | 0 | 118.99 | 105.12 | 168.63 | 223.38 | 181.04 | 95.63 | 0 | 101.47 | 105.85 | 121.18 | 219.73 | 146 | 0 | 0 | 101.47 | 134.32 | 56.94 | 112.42 | 170.82 | 27.74 | 0 | 0 | 0 | 0 | 0 |  | 2798.82 | 7490 |  | 11.2353
263.53
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 317 | 238 | 259 | 192 | 0 | 36 | 126 | 219 | 210 | 186 | 173 | 81 | 0 | 327 | 270 | 212 | 240 | 234 | 48 | 73 | 193 | 222 | 197 | 170 | 163 | 68 | 14 | 0 | 0 | 0 | 0 |  | 4468
Brewhouse | 132 | 180 | 135 | 147 | 0 | 0 | 185 | 115 | 196 | 104 | 141 | 0 | 0 | 87 | 147 | 181 | 148 | 100 | 0 | 0 | 158 | 94 | 168 | 148 | 73 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2639
Boiler Supply | 23 | 19 | 21 | 12 | 0 | 0 | 16 | 33 | 27 | 18 | 17 | 3 | 2 | 19 | 25 | 20 | 20 | 15 | 3 | 0 | 19 | 17 | 15 | 16 | 23 | 0 | 0 | 0 | 0 | 0 | 0 |  | 383
Water consumption | 472 | 437 | 415 | 351 | 0 | 36 | 327 | 367 | 433 | 308 | 331 | 84 | 2 | 433 | 442 | 413 | 408 | 349 | 51 | 73 | 370 | 333 | 380 | 334 | 259 | 68 | 14 | 0 | 0 | 0 | 0 |  | 7490
Water Consumption detail (M3)
Brewhouse | 132 | 180 | 135 | 147 | 0 | 0 | 185 | 115 | 196 | 104 | 141 | 0 | 0 | 87 | 147 | 181 | 148 | 100 | 0 | 0 | 158 | 94 | 168 | 148 | 73 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2639
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 79 | 39 | 55 | 87 | 0 | 0 | 50 | 27 | 36 | 17 | 29 | 0 | 0 | 81 | 31 | 33 | 58 | 26 | 0 | 0 | 72 | 41 | 56 | 16 | 40 | 0 | 0 | 0 | 0 | 0 | 0 |  | 873
Bottles Washer | 141 | 124 | 117 | 21 | 0 | 0 | 30 | 84 | 101 | 91 | 69 | 31 | 0 | 148 | 126 | 85 | 104 | 111 | 8 | 43 | 67 | 101 | 77 | 80 | 66 | 0 | 31 | 0 | 0 | 0 | 0 |  | 1856
Bottle Filler | 22 | 25 | 22 | 8 | 0 | 0 | 1 | 15 | 16 | 16 | 13 | 2 | 0 | 24 | 29 | 12 | 23 | 18 | 7 | 2 | 7 | 25 | 5 | 15 | 12 | 0 | 1 | 0 | 0 | 0 | 0 |  | 320
Pasteuriser | 3 | 1 | 3 | 1 | 0 | 0 | 0 | 18 | 2 | 6 | 2 | 0 | 0 | 5 | 8 | 1 | 3 | 1 | 0 | 0 | 1 | 1 | 1 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 61
Boiler Supply | 23 | 19 | 21 | 12 | 0 | 0 | 16 | 33 | 27 | 18 | 17 | 3 | 2 | 19 | 25 | 20 | 20 | 15 | 3 | 0 | 19 | 17 | 15 | 16 | 23 | 0 | 0 | 0 | 0 | 0 | 0 |  | 383
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
2026-09-01: Backwash Supply |  |  | 0
Total water consumption (M3) | 400 | 388 | 353 | 276 | 0 | 0 | 282 | 292 | 378 | 252 | 271 | 36 | 2 | 364 | 366 | 332 | 356 | 271 | 18 | 45 | 324 | 279 | 322 | 278 | 215 | 0 | 32 | 0 | 0 | 0 | 0 |  | 6132
2026-09-01: Consumption detail |  |  | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 2.6752 | 3.4654 | 3.0156 | 15.2657 |  |  |  | 4.3978 | 4.8804 | 2.5815 | 5.2959 |  |  | 1.7473 | 2.4382 | 7.4381 | 5.0999 | 2.2685 |  |  | 8.7819 | 2.5718 | 5.9964 | 4.1696 | 2.7756 |  |  | 0 |  |  |  |  | 3.9586 | 3.2 | -0.75862
2026-09-01: Spent Grains/Wash-down Areas |  |  | 0 | 0.1 | 0.1
Whirlpool | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  |  | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  |  | 0 | 1 | 1
CIP Process | 1.6011 | 0.75084 | 1.2286 | 9.0348 |  |  |  | 1.0325 | 0.89639 | 0.42198 | 1.0892 |  |  | 1.6268 | 0.51417 | 1.3561 | 1.9986 | 0.58982 |  |  | 4.0019 | 1.1217 | 1.9988 | 0.45077 | 1.5209 |  |  | 0 |  |  |  |  | 1.3095 | 0.7 | -0.60954
Bottles Washer | 2.8576 | 2.3873 | 2.6135 | 2.1808 |  |  |  | 3.2123 | 2.5149 | 2.2588 | 2.5916 |  |  | 2.9725 | 2.0899 | 3.493 | 3.5837 | 2.5181 |  |  | 3.724 | 2.7633 | 2.7483 | 2.2539 | 2.5094 |  |  | 0 |  |  |  |  | 2.7841 | 2.1 | -0.68409
Bottle Filler | 0.44587 | 0.48131 | 0.49142 | 0.83079 |  |  |  | 0.57363 | 0.3984 | 0.39716 | 0.48827 |  |  | 0.48202 | 0.481 | 0.49313 | 0.79255 | 0.40834 |  |  | 0.38907 | 0.68398 | 0.17846 | 0.4226 | 0.45626 |  |  | 0 |  |  |  |  | 0.48001 | 0.7 | 0.21999
Pasteuriser | 0.060801 | 0.019252 | 0.067012 | 0.10385 |  |  |  | 0.68836 | 0.0498 | 0.14893 | 0.075119 |  |  | 0.10042 | 0.13269 | 0.041094 | 0.10338 | 0.022685 |  |  | 0.055581 | 0.027359 | 0.035693 | 0.084519 | 0.038021 |  |  | 0 |  |  |  |  | 0.091503 | 0.1 | 0.0084972
Boiler Supply | 0.46614 | 0.36579 | 0.46909 | 1.2462 |  |  |  | 1.262 | 0.67229 | 0.4468 | 0.63851 |  |  | 0.3816 | 0.41466 | 0.82189 | 0.68918 | 0.34028 |  |  | 1.056 | 0.46511 | 0.53539 | 0.45077 | 0.87449 |  |  | 0 |  |  |  |  | 0.57452 | 0.6 | 0.025482
2026-09-01: Backwash Supply |  |  |  | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  |  |  | 0 | 0.3 | 0.3
2026-09-01: CO2 Scrubber |  |  |  | 0.4 | 0.4
2026-09-01: Personnel Consumption |  |  |  | 0.2 | 0.2
Water consumption (M3) | 8.1067 | 7.4699 | 7.8851 | 28.6622 | 0 | 0 | 0 | 11.1667 | 9.4121 | 6.2552 | 10.1786 | 0 | 0 | 7.3106 | 6.0706 | 13.6433 | 12.2673 | 6.1477 | 0 | 0 | 18.0084 | 7.6332 | 11.493 | 7.8321 | 8.1746 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9.1983 | 9.6 | 0.40172
Bottling Hall water | 3.3643 | 2.8878 | 3.1719 | 3.1155 | 0 | 0 | 0 | 4.4743 | 2.9631 | 2.8049 | 3.155 | 0 | 0 | 3.5549 | 2.7036 | 4.0273 | 4.4796 | 2.9491 | 0 | 0 | 4.1686 | 3.4746 | 2.9625 | 2.761 | 3.0037 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.3556 | 2.9 | -0.4556
Water Plant Total (Before Sand Filter) | 281 | 255 | 197 | 100 | 0 | 0 | 163 | 144 | 231 | 306 | 248 | 131 | 0 | 139 | 145 | 166 | 301 | 200 | 0 | 0 | 139 | 184 | 78 | 154 | 234 | 38 | 0 | 0 | 0 | 0 | 0 |  | 3834
2026-09-01: CO2 (kg.) Filler |  |  | 0
CO2 (kg.) (Ex. Vap'r) | 2700 | 2900 | 2100 | 1100 | -2400 |  | 700 | 1900 | 1900 | 2500 | 1600 | 0 | 0 | 1700 | 3200 | 1700 | 2400 | 2000 | 0 |  | 900 | 3400 | 1300 | 1600 | 1200 | 0 | 0 | 1300 | 0 |  |  |  | 35700
CO2 Totalizer | 2728.63 | 2873.43 | 2205.94 | 313.67 | 0 | 0 | 452.58 | 1438.81 | 1818.8 | 1996.77 | 1577.97 | 2.46 | 0 | 2088.69 | 3814.19 | 1659.94 | 2393.37 | 2201.56 | 0 | 1.9 | 875.25 | 1889.81 | 1373.13 | 1366 | 1336.75 | 0 | 0 | 0 | 0 | 0 | 0 |  | 34409.65
CO2 (kg.) (FILLER) | 294.26 | 307.15 | 267.46 | 43.3 | 0 | 0 | 0 | 142.39 | 222.91 | 219.43 | 163.32 | 0 | 0 | 271.54 | 369.8 | 139.28 | 180.15 | 263.9 | 0 | 0 | 97.88 | 217.16 | 173.92 | 196.83 | 149.94 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3720.62
CO2 (kg.) (BBT / Carbo Cooler SECTION) | 963.33 | 767.17 | 277.79 | 132.29 | 0 | 0 | 113.63 | 225.46 | 435.2 | 537.62 | 748.27 | 0 | 0 | 649.37 | 873.26 | 678.38 | 1046.59 | 868.07 | 0 | 0 | 179.99 | 752.64 | 112.17 | 152.97 | 499.58 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10013.78
CO2 (kg.) (Fermenters?) Calculated | 1471.04 | 1799.11 | 1660.69 | 138.08 | 0 | 0 | 338.95 | 1070.96 | 1160.69 | 1239.72 | 666.38 | 2.46 | 0 | 1167.78 | 2571.13 | 842.28 | 1166.63 | 1069.59 | 0 | 1.9 | 597.38 | 920.01 | 1087.04 | 1016.2 | 687.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20675.25
CO2 (kg.)Consumption Meter | 2728.63 | 2873.43 | 2205.94 | 313.67 | 0 | #REF! | #REF! | 1438.81 | 1818.8 | 1996.77 |  | 2.46 |  | 2088.69 | 3814.19 | 1659.94 | 2393.37 | 180.15 | 138 | 294 | 527 | 264 | 234 | 0 | 100 | 0 | 1 | 200 | 111 | #REF! | 0
Electricity GRENLEC (Kwh.) | 8735 | 8438 | 8694 | 5679 | 3385 | 2797 | 5039 | 6654 | 8374 | 6508 | 6688 | 3127 | 4203 | 7310 | 9121 | 8169 | 8558 | 8711 | 3065 | 2722 | 6887 | 6945 | 7616 | 7693 | 6561 | 2727 | 2886 | 0 | 0 | 0 | 0 |  | 167292
1: #VALUE! |  |  | #VALUE!
| 10305.6 | 7221 | 4937.4 | 4371.3 | 6545.9 | 8212.3 | 9416.7 | 7047.6 | 8053.4 | 4139.4 | 4642 | 8868.7 | 10711.2 | 9682.7 | 10110.2 | 10302.1 | 4623.2 | 4231.8 | 8513.6 | 8264.7 | 9044.5 | 8413.2 | 7653.3 | 428680% | 368790% | 1396.2 | 0 | 0 | 0 | 204865.6 | 0 |  | 389548.3
Electricity PV System Target= 1373 (Kwh) | 1374.6 | 1635.3 | 1611.6 | 1542 | 1552.4 | 1574.3 | 1506.9 | 1558.3 | 1042.7 | 539.6 | 1365.4 | 1012.4 | 439 | 1558.7 | 1590.2 | 1513.7 | 1552.2 | 1591.1 | 1558.2 | 1509.8 | 1626.6 | 1319.7 | 1428.5 | 720.2 | 1092.3 | 1559.8 | 801.9 | 1396.2 | 0 | 0 | 0 |  | 37573.6
Fuel (L) | 3280 | 3540 | 3460 | 2040 | 0 | 0 | 2310 | 3350 | 3850 | 2960 | 2830 | 230 | 850 | 3430 | 3640 | 3050 | 3500 | 2650 | 300 | 140 | 3110 | 2820 | 3070 | 2920 | 2370 | 100 | 130 | 0 | 0 | 0 | 0 |  | 59930
Steam Mass Flow | 0 | 0 | 0 | 0 | 0 | 0 | 36.736 | 181.974 | 0 | 0 | 0 | 0 | 0 | 5273.87 | 1887.161 | 1210.198 | 0 | 0 | 0 | 0 | 0 | 0 | 2382.496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10972.435
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption | 9.7889 | 9.6646 | 7.9968 | 47.355 |  |  |  | 13.9584 | 12.1262 | 8.4644 | 11.343 |  |  | 7.7525 | 7.7789 | 22.9718 | 14.8862 | 17.9441 |  |  | 18.9533 | 8.454 | 8.1736 | 10.4241 | 12.433 |  |  | 0 |  |  |  |  | 11.9194 | 10.2 | -1.7194 | 116.8565
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 5.4721 | 5.5832 | 4.6909 | 11.4233 |  |  |  | 7.266 | 4.731 | 6.2056 | 6.0095 |  |  | 3.4143 | 5.3076 | 6.9861 | 8.2701 | 4.5371 |  |  | 5.0023 | 9.3021 | 4.64 | 4.5077 | 4.5626 |  |  | 5.0247 |  |  |  |  | 5.3552 | 5 | -0.35516 | 107.1033
CO2 Filler (kg./Hl.) KPI | 0.59637 | 0.59133 | 0.59744 | 0.44966 |  |  |  | 0.54453 | 0.55504 | 0.54468 | 0.61342 |  |  | 0.54537 | 0.61336 | 0.57236 | 0.62077 | 0.59867 |  |  | 0.54403 | 0.59413 | 0.62077 | 0.55453 | 0.57009 |  |  | 0 |  |  |  |  | 0.55811 | 1.7 | 1.1419 | 32.83
Electricity (Kwh./Hl.) KPI | 20.489 | 19.3934 | 23.0201 | 74.9891 |  |  |  | 31.4055 | 23.4474 | 17.4937 | 30.2482 |  |  | 17.8121 | 17.7658 | 39.7905 | 34.8385 | 23.3706 |  |  | 47.3199 | 22.6115 | 32.2822 | 23.7026 | 29.0989 |  |  | 5.3966 |  |  |  |  | 30.7308 | 22 | -8.7308 | 139.6854
[33 empty] | 31.0138 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 6.6475 | 6.8153 | 7.7288 | 21.1851 |  |  |  | 12.8111 | 9.5864 | 7.3474 | 10.6293 |  |  | 6.8889 | 6.0374 | 12.5338 | 12.0606 | 6.0116 |  |  | 17.2858 | 7.7153 | 10.9576 | 8.2266 | 9.0111 |  |  | 0 |  |  |  |  | 8.9898 | 7.2 | -1.7898 | 124.858
2026-09-01: Total Bottles Washed |  |  | 0 |  | .
2026-09-01: Bottle Washer (Including rejects) |  |  | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 963.33 | 767.17 | 277.79 | 132.29 | 0 | 0 | 522559.94 | 0 | 435.2 | 537.62 | 748.27 | 0 | 0 | 649.37 | 873.26 | 678.38 | 1046.59 | 868.07 | 0 | 0 | 179.99 | 752.64 | 112.17 | 152.97 | 499.58 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
2026-09-01: CO2 recovered (Kg - liquid) |  |  | 0
CO2 liquid conversion efficiency | 0% | 0% | 0% | 0% |  |  | 0% |  | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  |  |  | #REF! | #REF! |  |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
2026-09-01: Into RO; 1: _; 2: 255; 1904-12-04 27: _; 1904-12-04 28: _ | _ |  | 255
| 8735 |  | 8694 | 5679 | 3385 | 2797 | 5039 | 6654 | 8374 | 6508 | 6688 | 3127 | 4203 | 7310 | 9121 | 8169 | 8558 | 8711 | 3065 | 2722 | 6887 | 6945 | 7616 | 7693 | 6561 | 2727 | 2886 | 0 | 0 | 0 | 0 |  | 167292
8438
18.34%
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 0 kgs Tank B 0 kgs Tank C 18300Kgs mobile approx 17500 Kgs Approx kgs unaccounted
Note on C74: Tank A 0 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 7400 Kgs
Note on D74: Tank A 6900 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs
Note on E74: Tank A 4800 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs
Note on F74: Tank A 3700 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on H74: Tank A 3700 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on I74: Tank A 3000 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on J74: Tank A 1100 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on K74: Tank A 0 kgs Tank B 0 kgs Tank C 24900 Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on L74: Tank A 0 kgs Tank B 0 kgs Tank C 22400Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on M74: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on N74: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on O74: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx 0 Kgs -2400 kgs after adjustment for MT mobile weight
Note on P74: Tank A 0 kgs Tank B 0 kgs Tank C 19100Kgs mobile approx 19900 Kgs 0 kgs after adjustment for MT mobile weight
Note on Q74: Tank A 0 kgs Tank B 0 kgs Tank C 15900Kgs mobile approx 19000 Kgs 0 kgs after adjustment for MT mobile weight
Note on R74: Tank A 0 kgs Tank B 0 kgs Tank C 15100Kgs mobile approx 18100 Kgs 0 kgs after adjustment for MT mobile weight
Note on S74: Tank A 5100 kgs calculated Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on T74: Tank A 3100 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on V74: Tank A 3100 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on W74: Tank A 2200 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on X74: Tank A 0 kgs Tank B 0 kgs Tank C 24500 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on Y74: Tank A 0 kgs Tank B 0 kgs Tank C 23200 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on Z74: Tank A 0 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on AA74: Tank A 0 kgs Tank B 0 kgs Tank C 20400 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on AB74: Tank A 0 kgs Tank B 0 kgs Tank C 20400 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on AC74: Tank A 0 kgs Tank B 0 kgs Tank C 20400 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on AD74: Tank A 0 kgs Tank B 0 kgs Tank C 19100 Kgs mobile approx 0 Kgs 0 kgs after adjustment for MT mobile weight
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C
Note on P80: Kaylil Baptiste: Soft drink plant operational
Note on I90: Kaylil Baptiste: Double shift

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR SEPTEMBER 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 248483 | 242 | -39 | 68647 | 1361581 | 281 | 97122 | 0 | 1361581 | -1361581 | -1361581 | 0 | 22 | 484 |  |  | #DIV/0!
2 | 248725 | 232 | -23 | 0 | 1361862 | 255 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 464 |  |  | #DIV/0!
3 | 248957 | 170 | -27 | 0 | 1362117 | 197 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 340 |  |  | #DIV/0!
4 | 249127 | 361 | 261 | 0 | 1362314 | 100 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 722 |  |  | #DIV/0!
5 | 249488 | 0 | 0 | 0 | 1362414 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
6 | 249488 | 0 | 0 | 0 | 1362414 | 0 | 97122 | 0 | 0 | 480 | 480 | 0 | 0 | 0 |  |  | #DIV/0!
7 | 249488 | 69 | -94 | 0 | 1362414 | 163 | 97122 | 0 | 480 | -480 | -480 | 0 | 1 | 138 |  |  | #DIV/0!
8 | 249557 | 227 | 83 | 0 | 1362577 | 144 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 454 |  |  | #DIV/0!
9 | 249784 | 249 | 18 | 0 | 1362721 | 231 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 498 |  |  | #DIV/0!
10 | 250033 | 81 | -225 | 0 | 1362952 | 306 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 162 |  |  | #DIV/0!
11 | 250114 | 53 | -195 | 0 | 1363258 | 248 | 97122 | 0 | 0 | 0 | 0 | 0 | 13 | 106 |  |  | #DIV/0!
12 | 250167 | 41 | -90 | 0 | 1363506 | 131 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 82 |  |  | #DIV/0!
13 | 250208 | 0 | 0 | 0 | 1363637 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
14 | 250208 | 254 | 115 | 0 | 1363637 | 139 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 508 |  |  | #DIV/0!
15 | 250462 | 331 | 186 | 0 | 1363776 | 145 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 662 |  |  | #DIV/0!
16 | 250793 | 382 | 216 | 0 | 1363921 | 166 | 97122 | 0 | 0 | 0 | 0 | 0 | 12 | 764 |  |  | #DIV/0!
17 | 251175 | 138 | -163 | 0 | 1364087 | 301 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 276 |  |  | #DIV/0!
18 | 251313 | 527 | 327 | 0 | 1364388 | 200 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 1054 |  |  | #DIV/0!
19 | 251840 | 4 | 4 | 0 | 1364588 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 7 | 8 |  |  | #DIV/0!
20 | 251844 | 0 | 0 | 0 | 1364588 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | #DIV/0!
21 | 251844 | 208 | 69 | 0 | 1364588 | 139 | 97122 | 0 | 0 | 0 | 0 | 0 | 7 | 416 |  |  | #DIV/0!
22 | 252052 | 135 | -49 | 0 | 1364727 | 184 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 270 |  |  | #DIV/0!
23 | 252187 | 62 | -16 | 0 | 1364911 | 78 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 124 |  |  | #DIV/0!
24 | 252249 | 212 | 58 | 0 | 1364989 | 154 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 424 |  |  | #DIV/0!
25 | 252461 | 104 | -130 | 0 | 1365143 | 234 | 97122 | 0 | 0 | 0 | 0 | 0 | 12 | 208 |  |  | #DIV/0!
26 | 252565 | 2 | -36 | 0 | 1365377 | 38 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  |  | #DIV/0!
27 | 252567 | 7 | 7 | 0 | 1365415 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 14 |  |  | #DIV/0!
28 | 252574 | -252574 | 1112841 | 0 | 1365415 | -1365415 | 97122 | -97122 | 0 | 0 | -97122 | 0 | -6703 | -505148 |  |  | #DIV/0!
| 0 |  | 0 |  | 0 |  | 0
Total |  | -248483 | 1113098 |  |  | -1361581 |  | -97122 | 1362061 | -1361581 | -1458703 | 0 | -6383 | -496966 | 0 | 0 | #DIV/0!