## Entries April'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
-
1 | 7286550 |  |  | 60 | 3237.2 | 68209 |  | 423002 | 990124 | 468000 |  |  | 1443.16 | 175016 | 11772 | 894109 |  | 39003 |  | 20678 | 1288667 |  | 31994 | 30669 | 6258 | 97122 |  | 39679 | 259026 | [5 empty] | 7268541.245
2 | 7288980 |  |  | 60 | 3255.9 | 68209 |  | 426912 | 993809 | 468000 |  |  | 1494.01 | 175215 | 11982 | 894358 |  | 39111 |  | 20680 | 1288889 |  | 32058 | 30768 | 6324 | 97122 |  | 39703 | 259046 | [5 empty] | 7268541.245
3 | 7291010 |  |  | 60 | 3271.2 | 68209 |  | 430602 | 997285 | 468000 |  |  | 1525.97 | 175492 | 12096 | 894571 |  | 39199 |  | 20680 | 1289008 |  | 32132 | 30829 | 6370 | 97122 |  | 39719 | 259060 | [5 empty] | 7268541.245
4 | 7292990 |  |  | 60 | 3284.9 | 68209 |  | 433748 | 248 | 468000 |  |  | 1538.13 | 175552 | 12248 | 894668 |  | 39242 |  | 20680 | 1289167 |  | 32155 | 30855 | 6410 | 97122 |  | 39727 | 259140 | [5 empty] | 7268550.226
5 | 7295600 |  |  | 60 | 3303.9 | 68209 |  | 437727 | 4004 | 468000 |  |  | 1573.78 | 175748 | 12508 | 894928 |  | 39485 |  | 20684 | 1289443 |  | 32267 | 30917 | 6449 | 97122 |  | 39745 | 259140 | [5 empty] | 7268556.623
6 | 7296290 |  |  | 60 | 3308.3 | 68209 |  | 440403 | 6522 | 468000 |  |  | 1573.78 | 175748 | 12589 | 894960 |  | 39541 |  | 20690 | 1289528 |  | 32269 | 30920 | 6481 | 97122 |  | 39745 | 259140 | [5 empty] | 7268556.623
7 | 7296920 |  |  | 60 | 3311.9 | 68209 |  | 442816 | 8789 | 468000 |  |  | 1573.78 | 175866 | 12622 | 895012 |  | 39599 |  | 20690 | 1289562 |  | 32271 | 30920 | 6489 | 97122 |  | 39745 | 259140 | [5 empty] | 7268556.623
8 | 7300320 |  |  | 60 | 3333.3 | 68209 |  | 447456 | 13166 | 468000 |  |  | 1629.48 | 176057 | 12780 | 895276 |  | 39740 |  | 20691 | 1289729 |  | 32335 | 31053 | 6533 | 97122 |  | 39769 | 259140 | [5 empty] | 7268566.623
9 | 7303410 |  |  | 60 | 3353.7 | 68209 |  | 452036 | 17489 | 468000 |  |  | 1678.18 | 176109 | 13054 | 895492 |  | 39833 |  | 20691 | 1290019 |  | 32383 | 31137 | 6577 | 97122 |  | 39792 | 259140 | [5 empty] | 7268566.623
10 | 7306830 |  |  | 60 | 3374 | 68209 |  | 456519 | 21718 | 468000 |  |  | 1728.24 | 176124 | 13322 | 895740 |  | 39973 |  | 20696 | 1290300 |  | 32461 | 31230 | 6623 | 97122 |  | 39813 | 259140 | [5 empty] | 7268566.623
11 | 7309450 |  |  | 60 | 3393.2 | 68209 |  | 460551 | 25516 | 468000 |  |  | 1760.96 | 176305 | 13584 | 895920 |  | 40104 |  | 20696 | 1290575 |  | 32503 | 31294 | 6657 | 97122 |  | 39823 | 259182 | [5 empty] | 7268566.623
12 | 7310640 |  |  | 60 | 3404.1 | 68209 |  | 463447 | 28235 | 468000 |  |  | 1760.96 | 176305 | 13822 | 896037 |  | 40199 |  | 20699 | 1290823 |  | 32552 | 31327 | 6692 | 97122 |  | 39823 | 259182 | [5 empty] | 7268566.623
13 | 7311900 |  |  | 60 | 3414.5 | 68209 |  | 466577 | 31174 | 468000 |  |  | 1760.96 | 176305 | 13988 | 896100 |  | 40320 |  | 20699 | 1290996 |  | 32894 | 31327 | 6705 | 97122 |  | 39823 | 259182 | [5 empty] | 7268566.623
14 | 7314240 |  |  | 60 | 3431.8 | 68209 |  | 469560 | 33980 | 468000 |  |  | 1760.96 | 176307 | 14177 | 896144 |  | 40489 |  | 20699 | 1291196 |  | 32597 | 31328 | 6760 | 97122 |  | 39823 | 259183 | [5 empty] | 7268566.623
15 | 7317510 |  |  | 60 | 3451.5 | 68209 |  | 473815 | 37985 | 468000 |  |  | 1814.28 | 176307 | 14416 | 896336 |  | 40647 |  | 20712 | 1291432 |  | 32620 | 31417 | 6818 | 97122 |  | 39944 | 259183 | [5 empty] | 7268566.623
16 | 7321040 |  |  | 60 | 3473.3 | 68209 |  | 478485 | 42387 | 468000 |  |  | 1870.28 | 176579 | 14698 | 896569 |  | 40799 |  | 20733 | 1291748 |  | 32654 | 31506 | 6864 | 97122 |  | 39867 | 259195 | [5 empty] | 7268566.623
17 | 7324250 |  |  | 60 | 3493.7 | 68209 |  | 483313 | 46938 | 468000 |  |  | 1921.23 | 176683 | 14920 | 896829 |  | 40925 |  | 20733 | 1291991 |  | 32719 | 31592 | 6910 | 97122 |  | 39888 | 259240 | [5 empty] | 7268566.623
18 | 7327050 |  |  | 60 | 3512.3 | 68209 |  | 487766 | 51132 | 468000 |  |  | 1969.05 | 176851 | 15211 | 897080 |  | 41064 |  | 20736 | 1292289 |  | 32793 | 31682 | 6927 | 97122 |  | 39909 | 259240 | [5 empty] | 7268566.623
19 | 7327890 |  |  | 60 | 3519.4 | 68209 |  | 490282 | 53490 | 468000 |  |  | 1969.05 | 176851 | 15256 | 897144 |  | 41117 |  | 20736 | 1292336 |  | 32829 | 31682 | 6931 | 97122 |  | 39909 | 259240 | [5 empty] | 7268795.265
20 | 7328810 |  |  | 60 | 3522.1 | 68209 |  | 492773 | 55827 | 468000 |  |  | 1969.05 | 176940 | 15328 | 897208 |  | 41143 |  | 20736 | 1292412 |  | 32842 | 31702 | 6934 | 97122 |  | 39909 | 259240 | [5 empty] | 7268800.266
21 | 7330340 |  |  | 60 | 3540.5 | 68209 |  | 495978 | 58850 | 468000 |  |  | 1969.05 | 176940 | 15493 | 897265 |  | 41409 |  | 20736 | 1292586 |  | 32862 | 31702 | 6938 | 97122 |  | 39909 | 259240 | [5 empty] | 7268846.981
22 | 7331200 |  |  | 64 | 3548.4 | 68209 |  | 498927 | 61631 | 468000 |  |  | 1969.3 | 176940 | 15547 | 897283 |  | 41417 |  | 20736 | 1292643 |  | 32863 | 31702 | 6942 | 97122 |  | 39910 | 259251 | [5 empty] | 7268846.981
23 | 7333710 |  |  | 64 | 3566.6 | 68209 |  | 502571 | 65064 | 468000 |  |  | 1979.27 | 177020 | 15641 | 897409 |  | 41590 |  | 20741 | 1292741 |  | 32911 | 31717 | 6951 | 97122 |  | 39915 | 259251 | [5 empty] | 7268857.365
24 | 7336350 |  |  | 64 | 3584.9 | 68209 |  | 506745 | 68994 | 468000 |  |  | 2002.03 | 177122 | 15859 | 897572 |  | 41755 |  | 20741 | 1292981 |  | 32955 | 31763 | 6965 | 97122 |  | 39929 | 259259 | [5 empty] | 7268866.677
25 | 7339070 |  |  | 64 | 3602.9 | 68209 |  | 510916 | 72924 | 468000 |  |  | 2043.62 | 177172 | 16075 | 897736 |  | 41868 |  | 20741 | 1293199 |  | 32988 | 31821 | 6976 | 97122 |  | 39946 | 259287 | [5 empty] | 7268866.677
26 | 7341750 |  |  | 64 | 3619.6 | 68209 |  | 515475 | 77221 | 468000 |  |  | 2092.49 | 177310 | 16268 | 897950 |  | 42006 |  | 20744 | 1293402 |  | 33046 | 31891 | 6991 | 97122 |  | 39965 | 259289 | [5 empty] | 7268866.677
27 | 7341760 |  |  | 64 | 3619.9 | 68209 |  | 518096 | 79685 | 468000 |  |  | 2092.49 | 177310 | 16268 | 897981 |  | 42006 |  | 20744 | 1293402 |  | 33046 | 31893 | 6993 | 97122 |  | 39965 | 259289 | [5 empty] | 7268866.677
28 | 7342200 |  |  | 64 | 3623.5 | 68209 |  | 520425 | 81878 | 468000 |  |  | 2092.67 | 177450 | 16357 | 898078 |  | 42006 |  | 20744 | 1293459 |  | 33047 | 31928 | 6994 | 97122 |  | 39971 | 259289 | [5 empty] | 7268866.677
29 | 7345420 |  |  | 64 | 3644.2 | 68209 |  | 525083 | 86267 | 468000 |  |  | 2150.5 | 177996 | 16520 | 898338 |  | 42183 |  | 20754 | 1293662 |  | 33093 | 32015 | 7015 | 97122 |  | 39992 | 259295 | [5 empty] | 7269039.648
30 | 7347980 |  |  | 64 | 3662.6 | 68209 |  | 529269 | 90211 | 468000 |  |  | 2201.51 | 177612 | 16775 | 898563 |  | 42232 |  | 20754 | 1293935 |  | 33121 | 32101 | 7027 | 97122 |  | 40017 | 259324 | [5 empty] | 7269068.269
1 | 7350170 |  |  | 64 | 3679.4 | 68209 |  | 533489 | 94185 | 468000 |  |  | 2246.92 | 177732 | 16998 | 898842 |  | 42246 |  | 20764 | 1294170 |  | 33199 | 32187 | 7044 | 97122 |  | 40038 | 259390 | [5 empty] | 7269137.348
Note on AK3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis April 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [5 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [11 empty] | Elect | Water | Fuel | CO2
|  |  | USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 3910 | 3685 | 7595 | 0 | 7595 | 1870 | 2430 | 50.85 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 3690 | 3476 | 7166 | 0 | 7166 | 2720 | 2030 | 31.96 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 3146 | 2963 | 6109 | 0 | 6109 | 530 | 1980 | 12.16 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 3979 | 3756 | 7735 | 0 | 7735 | 1800 | 2610 | 35.65 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 2676 | 2518 | 5194 | 0 | 5194 | -40 | 690 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 2413 | 2267 | 4680 | 0 | 4680 | 1170 | 630 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 4640 | 4377 | 9017 | 0 | 9017 | 1820 | 3400 | 55.7 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 4580 | 4323 | 8903 | 0 | 8903 | 360 | 3090 | 48.7 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
9 | 4483 | 4229 | 8712 | 0 | 8712 | 20 | 3420 | 50.06 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
10 | 4032 | 3798 | 7830 | 0 | 7830 | 1680 | 2620 | 32.72 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
11 | 2896 | 2719 | 5615 | 0 | 5615 | -100 | 1190 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 3130 | 2939 | 6069 | 0 | 6069 | -70 | 1260 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 2983 | 2806 | 5789 | 0 | 5789 | -90 | 2340 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 4255 | 4005 | 8260 | 0 | 8260 | 30 | 3270 | 53.32 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 4670 | 4402 | 9072 | 0 | 9072 | 2380 | 3530 | 56 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 4828 | 4551 | 9379 | 0 | 9379 | 830 | 3210 | 50.95 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 4453 | 4194 | 8647 | 0 | 8647 | 1610 | 2800 | 47.82 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 2516 | 2358 | 4874 | 0 | 4874 | -20 | 840 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 2491 | 2337 | 4828 | 0 | 4828 | 850 | 920 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 3205 | 3023 | 6228 | 0 | 6228 | -90 | 1530 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 2949 | 2781 | 5730 | 0 | 5730 | -30 | 860 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 3644 | 3433 | 7077 | 0 | 7077 | 760 | 2510 | 9.97 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 4174 | 3930 | 8104 | 0 | 8104 | 800 | 2640 | 22.76 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 4171 | 3930 | 8101 | 0 | 8101 | 480 | 2720 | 41.59 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 4559 | 4297 | 8856 | 0 | 8856 | 1280 | 2680 | 48.87 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 2621 | 2464 | 5085 | 0 | 5085 | 0 | 10 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 2329 | 2193 | 4522 | 0 | 4522 | 1720 | 440 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 4658 | 4389 | 9047 | 0 | 9047 | 5060 | 3220 | 57.83 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 4186 | 3944 | 8130 | 0 | 8130 | -180 | 2560 | 51.01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 4220 | 3974 | 8194 | 0 | 8194 | 1080 | 2190 | 45.41 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  |  | Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
Total |  |  | 214548 | 0 | 214548 | 28230 | 63620 | 803.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 8.981
4 | 6.397
5 | 0
6 | 0
7 | 10
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 228.642
19 | 5.001
20 | 46.715
21 | 0
22 | 10.384
23 | 9.312
24 | 0
25 | 0
26 | 0
27 | 0
28 | 172.971
29 | 28.621
30 | 69.079
596.103

## Fuel
DAILY FUEL CONSUMPTION FOR APRIL 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
0
1 | 2430 | 18.7 | 0 | 0 |  |  | 129.9465 | 0 | 0 | 2430 | 639.012 | 3.8027
2 | 2030 | 15.3 | 0 | 0 |  |  | 132.6797 | 0 | 0 | 2030 | 240.108 | 8.4545
3 | 1980 | 13.7 | 0 | 0 |  |  | 144.5255 | 0 | 0 | 1980 | 105.666 | 18.7383
4 | 2610 | 19 | 0 | 0 |  |  | 137.3684 | 0 | 0 | 2610 | 370.524 | 7.0441
5 | 690 | 4.4 | 0 | 0 |  |  | 156.8182 | 0 | 0 | 690 | 0 | 0
6 | 630 | 3.6 | 0 | 0 |  |  | 175 | 0 | 0 | 630 | 0 | 0
7 | 3400 | 21.4 | 0 | 0 |  |  | 158.8785 | 0 | 0 | 3400 | 607.2 | 5.5995
8 | 3090 | 20.4 | 0 | 0 |  |  | 151.4706 | 0 | 0 | 3090 | 456.06 | 6.7754
9 | 3420 | 20.3 | 0 | 0 |  |  | 168.4729 | 0 | 0 | 3420 | 508.332 | 6.7279
10 | 2620 | 19.2 | 0 | 0 |  |  | 136.4583 | 0 | 0 | 2620 | 314.754 | 8.324
11 | 1190 | 10.9 | 0 | 0 |  |  | 109.1743 | 0 | 0 | 1190 | 0 | 0
12 | 1260 | 10.4 | 0 | 0 |  |  | 121.1538 | 0 | 0 | 1260 | 0 | 0
13 | 2340 | 17.3 | 0 | 0 |  |  | 135.2601 | 0 | 0 | 2340 | 0 | 0
14 | 3270 | 19.7 | 0 | 0 |  |  | 165.9898 | 0 | 0 | 3270 | 480.876 | 6.8001
15 | 3530 | 21.8 | 0 | 0 |  |  | 161.9266 | 0 | 0 | 3530 | 485.826 | 7.266
16 | 3210 | 20.4 | 0 | 0 |  |  | 157.3529 | 0 | 0 | 3210 | 476.85 | 6.7317
17 | 2800 | 18.6 | 0 | 0 |  |  | 150.5376 | 0 | 0 | 2800 | 481.668 | 5.8131
18 | 840 | 7.1 | 0 | 0 |  |  | 118.3099 | 0 | 0 | 840 | 0 | 0
19 | 920 | 2.7 | 0 | 0 |  |  | 340.7407 | 0 | 0 | 920 | 0 | 0
20 | 1530 | 18.4 | 0 | 0 |  |  | 83.1522 | 0 | 0 | 1530 | 0 | 0
21 | 860 | 7.9 | 0 | 0 |  |  | 108.8608 | 0 | 0 | 860 | 0 | 0
22 | 2510 | 18.2 | 0 | 0 |  |  | 137.9121 | 0 | 0 | 2510 | 19.734 | 127.1916
23 | 2640 | 18.3 | 0 | 0 |  |  | 144.2623 | 0 | 0 | 2640 | 185.658 | 14.2197
24 | 2720 | 18 | 0 | 0 |  |  | 151.1111 | 0 | 0 | 2720 | 244.86 | 11.1084
25 | 2680 | 16.7 | 0 | 0 |  |  | 160.479 | 0 | 0 | 2680 | 445.038 | 6.022
26 | 10 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 10 | 0 | 0
27 | 440 | 3.6 | 0 | 0 |  |  | 122.2222 | 0 | 0 | 440 | 29.04 | 15.1515
28 | 3220 | 20.7 | 0 | 0 |  |  | 155.5556 | 0 | 0 | 3220 | 493.614 | 6.5233
29 | 2560 | 18.4 |  | 0 |  |  | 139.1304 | 0 | 0 | 2560 | 591.36 | 4.329
30 | 2190 | 16.8 |  | 0 |  |  | 130.3571 | 0 | 0 | 2190 | 483.318 | 4.5312
0
MTD | 63620 | 441.9 | 0 | 0 |  |  | 143.9692 |  |  | 63620 | 7659.498 | 8.306 | 7.2 | 115.3615
cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 199 | 210 | 222 | 187 | 249 | 0 | 108 | 0 | 0 | 2 | 64 | 99 | 24 | 66 | 0 | 1870 | 165 | 24 | 20 | 0 | 0 | 0 | 409 | 639.012 | 6.4005
| 2 | 0 | 277 | 114 | 119 | 272 | 213 | 0 | 88 | 0 | 0 | 0 | 74 | 61 | 16 | 46 | 0 | 2720 | 135 | 16 | 14 | 0 | 0 | 0 | 391 | 240.108 | 16.2843
| 3 | 0 | 60 | 152 | 159 | 53 | 97 | 0 | 43 | 0 | 0 | 0 | 23 | 26 | 8 | 40 | 0 | 530 | 49 | 8 | 80 | 0 | 0 | 0 | 212 | 105.666 | 20.0632
| 4 | 0 | 196 | 260 | 276 | 180 | 260 | 0 | 243 | 0 | 0 | 4 | 112 | 62 | 18 | 39 | 0 | 1800 | 178 | 18 | 0 | 0 | 0 | 0 | 456 | 370.524 | 12.3069
| 5 | 0 | 0 | 81 | 85 | -4 | 32 | 0 | 56 | 0 | 0 | 6 | 2 | 3 | 0 | 32 | 0 | -40 | 11 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0
| 6 | 0 | 118 | 33 | 34 | 117 | 52 | 0 | 58 | 0 | 0 | 0 | 2 | 0 | 0 | 8 | 0 | 1170 | 2 | 0 | 0 | 0 | 0 | 0 | 151 | 0 | 0
| 7 | 0 | 191 | 158 | 167 | 182 | 264 | 0 | 141 | 0 | 0 | 1 | 64 | 133 | 24 | 44 | 0 | 1820 | 198 | 24 | 0 | 0 | 0 | 0 | 349 | 607.2 | 5.7477
| 8 | 0 | 52 | 274 | 290 | 36 | 216 | 0 | 93 | 0 | 0 | 0 | 48 | 84 | 23 | 44 | 0 | 360 | 132 | 23 | 0 | 0 | 0 | 0 | 326 | 456.06 | 7.1482
| 9 | 0 | 15 | 268 | 281 | 2 | 248 | 0 | 140 | 0 | 0 | 5 | 78 | 93 | 21 | 46 | 0 | 20 | 176 | 21 | 0 | 0 | 0 | 0 | 283 | 508.332 | 5.5672
| 10 | 0 | 181 | 262 | 275 | 168 | 180 | 0 | 131 | 0 | 0 | 0 | 42 | 64 | 10 | 34 | 0 | 1680 | 106 | 10 | 42 | 0 | 0 | 0 | 443 | 314.754 | 14.0745
| 11 | 0 | 0 | 238 | 248 | -10 | 117 | 0 | 95 | 0 | 0 | 3 | 49 | 33 | 0 | 35 | 0 | -100 | 85 | 0 | 0 | 0 | 0 | 0 | 238 | 0 | 0
| 12 | 0 | 0 | 166 | 173 | -7 | 63 | 0 | 121 | 0 | 0 | 0 | 342 | 0 | 0 | 13 | 0 | -70 | 342 | 0 | 0 | 0 | 0 | 0 | 166 | 0 | 0
| 13 | 0 | 2 | 189 | 200 | -9 | 44 | 0 | 169 | 0 | 0 | 0 | 0 | 1 | 0 | 55 | 0 | -90 | 1 | 0 | 1 | 0 | 0 | 0 | 191 | 0 | 0
| 14 | 0 | 0 | 239 | 236 | 3 | 192 | 0 | 158 | 0 | 0 | 13 | 23 | 89 | 121 | 58 | 0 | 30 | 125 | 121 | 0 | 0 | 0 | 0 | 239 | 480.876 | 4.9701
| 15 | 0 | 272 | 282 | 316 | 238 | 233 | 0 | 152 | 0 | 0 | 21 | 34 | 89 | 0 | 46 | 0 | 2380 | 144 | 0 | 12 | 0 | 0 | 0 | 554 | 485.826 | 11.4033
| 16 | 0 | 104 | 222 | 243 | 83 | 260 | 0 | 126 | 0 | 0 | 0 | 65 | 86 | 21 | 46 | 0 | 830 | 151 | 21 | 45 | 0 | 0 | 0 | 326 | 476.85 | 6.8365
| 17 | 0 | 168 | 291 | 298 | 161 | 251 | 0 | 139 | 0 | 0 | 3 | 74 | 90 | 21 | 17 | 0 | 1610 | 167 | 21 | 0 | 0 | 0 | 0 | 459 | 481.668 | 9.5294
| 18 | 0 | 0 | 45 | 47 | -2 | 64 | 0 | 53 | 0 | 0 | 0 | 36 | 0 | 0 | 4 | 0 | -20 | 36 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0
| 19 | 0 | 89 | 72 | 76 | 85 | 64 | 0 | 26 | 0 | 0 | 0 | 13 | 20 | 0 | 3 | 0 | 850 | 33 | 0 | 0 | 0 | 0 | 0 | 161 | 0 | 0
| 20 | 0 | 0 | 165 | 174 | -9 | 57 | 0 | 266 | 0 | 0 | 0 | 20 | 0 | 0 | 4 | 0 | -90 | 20 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0
| 21 | 0 | 0 | 54 | 57 | -3 | 18 | 0 | 8 | 0 | 0 | 0 | 1 | 0 | 1 | 4 | 0 | -30 | 1 | 1 | 11 | 0 | 0 | 0 | 54 | 0 | 0
| 22 | 0 | 80 | 94 | 98 | 76 | 126 | 0 | 173 | 0 | 0 | 5 | 48 | 15 | 5 | 9 | 0 | 760 | 68 | 5 | 0 | 0 | 0 | 0 | 174 | 19.734 | 88.1727
| 23 | 0 | 102 | 218 | 240 | 80 | 163 | 0 | 165 | 0 | 0 | 0 | 44 | 46 | 14 | 14 | 0 | 800 | 90 | 14 | 8 | 0 | 0 | 0 | 320 | 185.658 | 17.236
| 24 | 0 | 50 | 216 | 218 | 48 | 164 | 0 | 113 | 0 | 0 | 0 | 33 | 58 | 17 | 11 | 0 | 480 | 91 | 17 | 28 | 0 | 0 | 0 | 266 | 244.86 | 10.8634
| 25 | 0 | 138 | 193 | 203 | 128 | 214 | 0 | 138 | 0 | 0 | 3 | 58 | 70 | 19 | 15 | 0 | 1280 | 131 | 19 | 2 | 0 | 0 | 0 | 331 | 445.038 | 7.4376
| 26 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 140 | 89 | 57 | 172 | 97 | 0 | 0 | 0 | 0 | 0 | 1 | 35 | 6 | 1 | 0 | 1720 | 36 | 6 | 0 | 0 | 0 | 0 | 229 | 29.04 | 78.8567
| 28 | 0 | 546 | 163 | 203 | 506 | 260 | 0 | 177 | 0 | 0 | 10 | 46 | 87 | 21 | 21 | 0 | 5060 | 143 | 21 | 6 | 0 | 0 | 0 | 709 | 493.614 | 14.3634
| 29 | 0 | 0 | 255 | 273 | -18 | 225 | 0 | 49 | 0 | 0 | 0 | 28 | 86 | 25 | 12 | 0 | -180 | 114 | 25 | 29 | 0 | 0 | 0 | 255 | 591.36 | 4.3121
| 30 | 0 | 120 | 223 | 235 | 108 | 279 | 0 | 14 | 0 | 0 | 10 | 78 | 86 | 21 | 17 | 0 | 1080 | 174 | 21 | 66 | 0 | 0 | 0 | 343 | 483.318 | 7.0968
0
MTD | total | 0 | 3100 | 5226 | 5503 | 2823 | 4733 |  | 3243 |  | 0 | 86 | 1502 | 1518 | 436 | 786 | 0 | 28230 | 3106 | 436 | 364 |  |  |  | 8326 | 7659.498 | 10.8702 | 10.2 | 106.5702
| Gals. |  | 682000
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 10782.42
| Add basic charge |  | 278.97
11061.39
| Proxy sewage charge (2/3) |  | 7374.26
| Proxy MTD NAWASA cost |  | 18435.65
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.April'25
DAILY ELECTRICITY CONSUMPTION FOR APRIL 2025
DATE | Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr)
1 | 7595 | 0 | 7595 | 639.012 | 11.8855
2 | 7166 | 0 | 7166 | 240.108 | 29.8449
3 | 6109 | 0 | 6109 | 105.666 | 57.8142
4 | 7735 | 0 | 7735 | 370.524 | 20.8758
5 | 5194 | 0 | 5194 | 0 | 0
6 | 4680 | 0 | 4680 | 0 | 0
7 | 9017 | 0 | 9017 | 607.2 | 14.8501
8 | 8903 | 0 | 8903 | 456.06 | 19.5216
9 | 8712 | 0 | 8712 | 508.332 | 17.1384
10 | 7830 | 0 | 7830 | 314.754 | 24.8766
11 | 5615 | 0 | 5615 | 0 | 0
12 | 6069 | 0 | 6069 | 0 | 0
13 | 5789 | 0 | 5789 | 0 | 0
14 | 8260 | 0 | 8260 | 480.876 | 17.177
15 | 9072 | 0 | 9072 | 485.826 | 18.6734
16 | 9379 | 0 | 9379 | 476.85 | 19.6687
17 | 8647 | 0 | 8647 | 481.668 | 17.9522
18 | 4874 | 0 | 4874 | 0 | 0
19 | 4828 | 0 | 4828 | 0 | 0
20 | 6228 | 0 | 6228 | 0 | 0
21 | 5730 | 0 | 5730 | 0 | 0
22 | 7077 | 0 | 7077 | 19.734 | 358.6196
23 | 8104 | 0 | 8104 | 185.658 | 43.6502
24 | 8101 | 0 | 8101 | 244.86 | 33.0842
25 | 8856 | 0 | 8856 | 445.038 | 19.8994
26 | 5085 | 0 | 5085 | 0 | 0
27 | 4522 | 0 | 4522 | 29.04 | 155.7163
28 | 9047 | 0 | 9047 | 493.614 | 18.3281
29 | 8130 | 0 | 8130 | 591.36 | 13.748
30 | 8194 | 0 | 8194 | 483.318 | 16.9536
%
MTD | 214548 | 0 | 214548 | 7659.498 | 28.0107 | 22 | 127.3214
TARGET

## PROD.FIG.
PRODUCTION FOR APRIL 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Tuesday | 1 | [5 empty] | 639.012
Wednesday | 2 | [5 empty] | 240.108
Thursday | 3 | [5 empty] | 105.666
Friday | 4 | [5 empty] | 370.524
Saturday | 5 | [5 empty] | 0
Sunday | 6 | [5 empty] | 0
Monday | 7 | [5 empty] | 607.2
Tuesday | 8 | [5 empty] | 456.06
Wednesday | 9 | [5 empty] | 508.332
Thursday | 10 | [5 empty] | 314.754
Friday | 11 | [5 empty] | 0
Saturday | 12 | [5 empty] | 0
Sunday | 13 | [5 empty] | 0
Monday | 14 | [5 empty] | 480.876
Tuesday | 15 | [5 empty] | 485.826
Wednesday | 16 | [5 empty] | 476.85
Thursday | 17 | [5 empty] | 481.668
Friday | 18 | [5 empty] | 0
Saturday | 19 | [5 empty] | 0
Sunday | 20 | [5 empty] | 0
Monday | 21 | [5 empty] | 0
Tuesday | 22 | [5 empty] | 19.734
Wednesday | 23 | [5 empty] | 185.658
Thursday | 24 | [5 empty] | 244.86
Friday | 25 | [5 empty] | 445.038
Saturday | 26 | [5 empty] | 0
Sunday | 27 | [5 empty] | 29.04
Monday | 28 | [5 empty] | 493.614
Tuesday | 29 | [5 empty] | 591.36
Wednesday | 30 | [5 empty] | 483.318
0
[6 empty] | TOTAL | 7659.498
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for APRIL 2025
FILLER
DATE | FILLER Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r) | Total Prod.(HL) | CO2 ( Kg./HL) | CO2 (Ex. Vap'r) (Kg./HL) |  |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
[7 empty] | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 50.85 | 3200 | 639.012 | 0.079576 | 5.0077 |  | 0 | 50.85 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 31.96 | 1200 | 240.108 | 0.13311 | 4.9978 |  | 0 | 31.96 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 12.16 | 2100 | 105.666 | 0.11508 | 19.8739 |  | 0 | 12.16 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 35.65 | 2400 | 370.524 | 0.096215 | 6.4773 |  | 0 | 35.65 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 0 | 1000 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 55.7 | 2800 | 607.2 | 0.091733 | 4.6113 |  | 0 | 55.7 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 48.7 | 2400 | 456.06 | 0.10678 | 5.2625 |  | 0 | 48.7 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 50.06 | 2800 | 508.332 | 0.098479 | 5.5082 |  | 0 | 50.06 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 32.72 | 1600 | 314.754 | 0.10395 | 5.0833 |  | 0 | 32.72 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 53.32 | 2500 | 480.876 | 0.11088 | 5.1988 |  | 0 | 53.32 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 56 | 2400 | 485.826 | 0.11527 | 4.94 |  | 0 | 56 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 50.95 | 3300 | 476.85 | 0.10685 | 6.9204 |  | 0 | 50.95 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 47.82 | 1700 | 481.668 | 0.09928 | 3.5294 |  | 0 | 47.82 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 0 | 800 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 9.97 | 900 | 19.734 | 0.50522 | 45.6066 |  | 0 | 9.97 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 22.76 | 1200 | 185.658 | 0.12259 | 6.4635 |  | 0 | 22.76 | #VALUE! | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 41.59 | 1200 | 244.86 | 0.16985 | 4.9008 |  | 0 | 41.59 | #VALUE! | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 48.87 | 2200 | 445.038 | 0.10981 | 4.9434 |  | 0 | 48.87 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 3000 | 29.04 | 0 | 103.3058 |  | 0 | 0 | 0 | 0 | 0 | 0
28 | 57.83 | 2500 | 493.614 | 0.11716 | 5.0647 |  | 0 | 57.83 | 0 | 0 | 0 | 0
29 | 51.01 | 2000 | 591.36 | 0.086259 | 3.382
30 | 45.41 | 2800 | 483.318 | 0.093955 | 5.7933
|  | 0 | 0 |  |  | TARGET | %
MTD | 803.33 | 46000 | 7659.498 | 0.10488 | 6.0056 | 5 | 120.1123

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-04-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Total |  | Diff.
Cases Produced |  | 3638 | 1601 | 5614 | 0 | 0 | 9200 | 6910 | 7702 | 4769 | 0 | 0 | 0 | 7286 | 7361 | 7225 | 7298 | 0 | 0 | 0 | 0 | 299 | 2813 | 3710 | 6743 | 0 | 440 | 7479 |  |  | 8960 | 99048 | 96325 | 2723
HL produced | 639.012 | 240.108 | 105.666 | 370.524 | 0 | 0 | 607.2 | 456.06 | 508.332 | 314.754 | 0 | 0 | 0 | 480.876 | 485.826 | 476.85 | 481.668 | 0 | 0 | 0 | 0 | 19.734 | 185.658 | 244.86 | 445.038 | 0 | 29.04 | 493.614 |  |  | 591.36 | 7176.18
Product Type | CB/ST | ST | Cbe Pear | Cbe/CB | 0 | 0 | CB fl/ST | ST/GN/SM | ST/GN/SM | SM/CB | 0 | 0 | 0 | CB/ST/CB | CB/VM | VM/VMG/Ting | CB/ST | 0 | 0 | 0 | 0 | ST | ST/CB | CB/GN |  | 0 | Kegs | Stag |  |  | ST/CB
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 199 | 277 | 60 | 196 | 0 | 118 | 191 | 52 | 15 | 181 | 0 | 0 | 2 | 0 | 272 | 104 | 168 | 0 | 89 | 0 | 0 | 80 | 102 | 50 | 138 | 0 | 140 | 546 | 138 | 0 | 140 | 3258
Annanale Supply | 210 | 114 | 152 | 260 | 81 | 33 | 158 | 274 | 268 | 262 | 238 | 166 | 189 | 239 | 282 | 222 | 291 | 45 | 72 | 165 | 54 | 94 | 218 | 216 | 193 | 0 | 89 | 163 | 193 | 0 | 89 | 5030
Total Water Supply | 409 | 391 | 212 | 456 | 81 | 151 | 349 | 326 | 283 | 443 | 238 | 166 | 191 | 239 | 554 | 326 | 459 | 45 | 161 | 165 | 54 | 174 | 320 | 266 | 331 | 0 | 229 | 709 | 331 | 0 | 229 | 8288
0
Theoretical permeate | 162.06 | 86.87 | 116.07 | 201.48 | 62.05 | 24.82 | 121.91 | 211.7 | 205.13 | 200.75 | 181.04 | 126.29 | 146 | 146 | 146 | 146 | 146 | 146 | 55.48 | 127.02 | 41.61 | 71.54 | 175.2 | 159.14 | 148.19 | 148.19 | 148.19 | 148.19 | 148.19 | 148.19 | 199.29 | 4294.59 | 8348 |  | 11.6329
143.08
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2
Service Water Plant Supply | 249 | 213 | 97 | 260 | 32 | 52 | 264 | 216 | 248 | 180 | 117 | 63 | 44 | 192 | 233 | 260 | 251 | 64 | 64 | 57 | 18 | 126 | 163 | 164 | 214 | 31 | 97 | 260 | 0 | 0 | 0 | 4229
Water consumption | 249 | 213 | 97 | 260 | 32 | 52 | 264 | 216 | 248 | 180 | 117 | 63 | 44 | 192 | 233 | 260 | 251 | 64 | 64 | 57 | 18 | 126 | 163 | 164 | 214 | 31 | 97 | 260 | 2 | 0 | 0 | 4231
| 3.8966 | 8.871 | 9.1799 | 7.0171 |  |  | 4.3478 | 4.7362 | 4.8787 | 5.7188 |  |  |  | 3.9927 | 4.796 | 5.4524 | 5.2111 |  |  |  |  | 63.8492 | 8.7796 | 6.6977 | 4.8086 |  | 33.4022 | 5.2673 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 108 | 88 | 43 | 243 | 56 | 58 | 141 | 93 | 140 | 131 | 95 | 121 | 169 | 158 | 152 | 126 | 139 | 53 | 26 | 266 | 8 | 173 | 165 | 113 | 138 | 0 | 0 | 177 | 138 | 0 | 0 | 3318
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4376 | 0 | 78.8567 | 86.2943
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 6 | 90
CIP Process | 64 | 74 | 23 | 112 | 2 | 2 | 64 | 48 | 78 | 42 | 49 | 342 | 0 | 0 | 0 | 65 | 65 | 65 | 13 | 20 | 1 | 48 | 44 | 33 | 58 | 0 | 1 | 46 | 58 | 0 | 1 | 1418 |  |  | 15588.1818
Bottles Washer | 99 | 61 | 26 | 62 | 3 | 0 | 133 | 84 | 93 | 64 | 33 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 20 | 0 | 0 | 15 | 46 | 58 | 70 | 2 | 35 | 87 | 70 | 2 | 35 | 1104
Bottle Filler | 24 | 16 | 8 | 18 | 0 | 0 | 24 | 23 | 21 | 10 | 0 | 0 | 0 | 121 | 0 | 21 | 21 | 0 | 0 | 0 | 1 | 5 | 14 | 17 | 19 | 0 | 6 | 21 | 19 | 0 | 6 | 415
Pasteuriser | 2 | 0 | 0 | 4 | 6 | 0 | 1 | 0 | 5 | 0 | 3 | 0 | 0 | 13 | 21 | 0 | 3 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 3 | 0 | 0 | 10 | 3 | 0 | 0 | 79
Boiler Supply | 66 | 46 | 40 | 39 | 32 | 8 | 44 | 44 | 46 | 34 | 35 | 13 | 55 | 55 | 46 | 46 | 46 | 4 | 3 | 4 | 4 | 9 | 14 | 11 | 15 | 2 | 1 | 21 | 15 | 2 | 1 | 801
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 134
Personnel Consumption
Total water consumption (M3) | 363 | 285 | 140 | 478 | 99 | 68 | 407 | 292 | 383 | 281 | 346 | 476 | 225 | 348 | 220 | 259 | 275 | 188 | 62 | 290 | 14 | 255 | 283 | 232 | 303 | 4 | 43 | 362 | 332.4376 | 4 | 127.8567 | 7445.2943
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.82 | 168 | 291 | 0 | 45 | 64 | 0 | 53 | 0 | 0 | 47 | 0 | 36 | 0 | 751.82
CO2 (kg.) (Filler) | 50.85 | 31.96 | 12.16 | 35.65 | 0 | 0 | 55.7 | 48.7 | 50.06 | 32.72 | 0 | 0 | 0 | 53.32 | 56 | 50.95 | 47.82 | 0 | 0 | 0 | 0 | 9.97 | 22.76 | 41.59 | 48.87 | 0 | 0 | 57.83 | 51.01 | 45.41 | 0 | 803.33
Electricity (Kwh.) | 7595 | 7166 | 6109 | 7735 | 5194 | 4680 | 9017 | 8903 | 8712 | 7830 | 5615 | 6069 | 5789 | 8260 | 9072 | 9379 | 8647 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 179386
Fuel (L) | 2430 | 2030 | 1980 | 2610 | 690 | 630 | 3400 | 3090 | 3420 | 2620 | 1190 | 1260 | 2340 | 3270 | 3530 | 3210 | 2800 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 52260
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 6.4005 | 16.2843 | 20.0632 | 12.3069 |  |  | 5.7477 | 7.1482 | 5.5672 | 14.0745 |  |  |  | 4.9701 | 11.4033 | 6.8365 | 9.5294 |  |  |  |  | 88.1727 | 17.236 | 10.8634 | 7.4376 |  | 78.8567 | 14.3634 |  |  | 3.8724 | 11.5493 | 10.2 | -1.3493
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | 1.6901 | 3.665 | 4.0694 | 6.5583 |  |  | 2.3221 | 2.0392 | 2.7541 | 4.162 |  |  |  | 3.2857 | 3.1287 | 2.6423 | 2.8858 |  |  |  |  | 87.666 | 8.8873 | 4.6149 | 3.1009 |  | 0 | 3.5858 |  |  | 0 | 4.6236 | 2.5 | -2.1236
Brewhouse (Hls brewed) | 20.1493 |  | 4.3303 | 8.0919 |  |  | 3.1057 | 2.6286 | 3.4895 | 4.3249 | 4.696 | 3.0077 | 4.1564 | 4.0306 | 3.7503 | 3.8745 | 4.4566 |  |  |  |  | 3.7691 | 3.9807 | 2.771 | 5.3991 |  |  | 3.5161 |  |  |  | 5.1434 | 2.5 | -2.6434
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | 1.3335 | 0.12025 | 0.1 | -0.020251
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0 | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | 0.10146 | 0.12541 | 1 | 0.87459
CIP Process | 1.0015 | 3.0819 | 2.1767 | 3.0227 |  |  | 1.054 | 1.0525 | 1.5344 | 1.3344 |  |  |  | 0 | 0 | 1.3631 | 1.3495 |  |  |  |  | 24.3235 | 2.3699 | 1.3477 | 1.3033 |  | 0.34435 | 0.9319 |  |  | 0.01691 | 1.976 | 0.7 | -1.276
Bottles Washer | 1.5493 | 2.5405 | 2.4606 | 1.6733 |  |  | 2.1904 | 1.8419 | 1.8295 | 2.0333 |  |  |  | 0.020795 | 0.020584 | 0.020971 | 0.020761 |  |  |  |  | 7.6011 | 2.4777 | 2.3687 | 1.5729 |  | 12.0523 | 1.7625 |  |  | 0.59186 | 1.5384 | 2.6 | 1.0616
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | 0.37558 | 0.66637 | 0.7571 | 0.4858 |  |  | 0.39526 | 0.50432 | 0.41312 | 0.31771 |  |  |  | 2.5162 | 0 | 0.44039 | 0.43598 |  |  |  |  | 2.5337 | 0.75407 | 0.69427 | 0.42693 |  | 2.0661 | 0.42543 |  |  | 0.10146 | 0.5783 | 0.7 | 0.1217
Pasteuriser | 0.031298 | 0 | 0 | 0.10796 |  |  | 0.016469 | 0 | 0.098361 | 0 |  |  |  | 0.27034 | 0.43225 | 0 | 0.062284 |  |  |  |  | 2.5337 | 0 | 0 | 0.06741 |  | 0 | 0.20259 |  |  | 0 | 0.11009 | 0.1 | -0.010086
Boiler Supply | 1.0328 | 1.9158 | 3.7855 | 1.0526 |  |  | 0.72464 | 0.96479 | 0.90492 | 1.0802 |  |  |  | 1.1437 | 0.94684 | 0.96466 | 0.95501 |  |  |  |  | 4.5607 | 0.75407 | 0.44924 | 0.33705 |  | 0.34435 | 0.42543 |  |  | 0.01691 | 1.1162 | 0.6 | -0.51619
Backwash Supply | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 25.8299 | 11.8697 | 17.5796 | 20.9926 | 0 | 0 | 9.8086 | 9.0313 | 11.024 | 13.2525 | 4.696 | 3.0077 | 4.1564 | 11.2674 | 8.2787 | 9.306 | 10.1659 | 0 | 0 | 0 | 0 | 132.9877 | 19.2238 | 12.2458 | 12.2075 | 0 | 14.8072 | 10.8498 | 0 | 0 | 2.1621 | 15.3317 | 15.6 | 0.26833
Bottling Hall water | 1.9561 | 3.2069 | 3.2177 | 2.2671 | 0 | 0 | 2.6021 | 2.3462 | 2.341 | 2.351 | 0 | 0 | 0 | 2.8074 | 0.45284 | 0.46136 | 0.51903 | 0 | 0 | 0 | 0 | 12.6685 | 3.2317 | 3.063 | 2.0672 | 0 | 14.1185 | 2.3905 | 0 | 0 | 0.69332 | 2.2268 | 6 | 3.7732
CO2 (kg./Hl.) KPI | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 2.2803 | 0.34472 | 0 | 0.11909 |  | 0 | 0.095216 |  |  | 0 | 0.10477 | 5 | 4.8952
CO2 Filler (kg./Hl.) KPI | 0.079576 | 0.13311 | 0.11508 | 0.096215 |  |  | 0.091733 | 0.10678 | 0.098479 | 0.10395 |  |  |  | 0.11088 | 0.11527 | 0.10685 | 0.09928 |  |  |  |  | 0.50522 | 0.12259 | 0.16985 | 0.10981 |  | 0 | 0.11716 |  |  | 0 | 0.11194 | 1.7 | 1.5881
Electricity (Kwh./Hl.) KPI | 11.8855 | 29.8449 | 57.8142 | 20.8758 |  |  | 14.8501 | 19.5216 | 17.1384 | 24.8766 |  |  |  | 17.177 | 18.6734 | 19.6687 | 17.9522 |  |  |  |  | 246.9849 | 26.2526 | 19.9053 | 10.9519 |  | 167.8375 | 9.8741 |  |  | 8.242 | 24.9974 | 22 | -2.9974
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 3.8027 | 8.4545 | 18.7383 | 7.0441 |  |  | 5.5995 | 6.7754 | 6.7279 | 8.324 |  |  |  | 6.8001 | 7.266 | 6.7317 | 5.8131 |  |  |  |  | 42.5661 | 4.5244 | 3.4305 | 1.8875 |  | 28.9256 | 1.7017 |  |  | 1.4205 | 7.2824 | 7.2 | -0.082426
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 53.6 | 0 | 99.3 | 300.3 | 0 | 0 | 454 | 353.8 | 401.2 | 302.9 | 202.3 | 402.3 | 406.6 | 392 | 405.3 | 325.2 | 311.9 | 0 | 0 | 0 | 0 | 459 | 414.5 | 407.8 | 255.6 | 0 | 0 | 503.4 | 0 | 0 | 0 | 6451
Product | Guinn | 0 | Stag | Stag | 0 | 0 | Carib/SM | SM/ Carib | Carib/Stag | Stag/Carib | Carib | Stag | Carib | Vmalt | Carib | Guinn | Guinn/Mack | 0 | 0 | 0 | 0 | Carib | Stag | ST/CB | Carib | 0 | 0 | ST/CB | 0 | 0 | 0
No. of Brews | 1 | 0 | 2 | 6 | 0 | 0 | 9 | 7 | 8 | 6 | 4 | 8 | 8 | 8 | 8 | 6 | 6 | 0 | 0 | 0 | 0 | 9 | 8 | 8 | 5 | 0 | 0 | 10 | 0 | 0 | 0 | 127
Raw Water In - Nawasa | 222 | 119 | 159 | 276 | 85 | 34 | 167 | 290 | 281 | 275 | 248 | 173 | 200 | 200 | 200 | 200 | 200 | 200 | 76 | 174 | 57 | 98 | 240 | 218 | 203 | 203 | 203 | 203 | 203 | 203 | 273 | 5883
Into RO | [31 empty] | 0 | bar: Tue
| 7595 | 7166 | 6109 | 7735 | 5194 | 4680 | 9017 | 8903 | 8712 | 7830 | 5615 | 6069 | 5789 | 8260 | 9072 | 9379 | 8647 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 4874 | 179386
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-04-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
| Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Total |  | Diff.
Cases Produced | 9682 | 3638 | 1601 | 5614 |  |  | 9200 | 6910 | 7702 | 4769 |  |  |  | 7286 | 7361 | 7225 | 7298 |  |  |  |  | 299 | 2813 | 3710 | 6743 |  | 440 | 7479 | 8960 | 7323 |  | 116053 | 120500 | -4447
HL produced | 639.012 | 240.108 | 105.666 | 370.524 | 0 | 0 | 607.2 | 456.06 | 508.332 | 314.754 |  |  |  | 480.876 | 485.826 | 476.85 | 481.668 | 0 | 0 | 0 | 0 | 19.734 | 185.658 | 244.86 | 445.038 |  | 29.04 | 493.614 | 591.36 | 483.318 |  | 7659.498
Product Type | CB/ST | ST | Cbe Pear | Cbe/CB |  |  | Carib | CB fl/ST | ST/GN/SM | SM/CB |  |  |  | CB/ST/CB | CB/VM | VM/VMG/Ting | CB/ST |  |  |  |  | ST | ST/CB | CB/GN | GN/MK/CB |  | Kegs | Stag | ST/CB | CB/Guinn/CB
Hls Brewed | 53.6 |  | 99.3 | 300.3 |  |  | 454 | 353.8 | 401.2 | 302.9 | 202.3 | 402.3 | 406.6 | 392 | 405.3 | 325.2 | 311.9 |  |  |  |  | 459 | 414.5 | 407.8 | 255.6 |  |  | 503.4 |  |  |  | 6451
Product | Guinn |  | Stag | Stag |  |  | Carib/SM | SM/ Carib | Carib/Stag | Stag/Carib | Carib | Stag | Carib | Vmalt | Carib | Guinn | Guinn/Mack |  |  |  |  | Carib | Stag | ST/CB | Carib |  |  | ST/CB
No. of Brews | 1 |  | 2 | 6 |  |  | 9 | 7 | 8 | 6 | 4 | 8 | 8 | 8 | 8 | 6 | 6 |  |  |  |  | 9 | 8 | 8 | 5 |  |  | 10 |  |  |  | 127
Brewhouse (Hls brewed) | 20.1493 |  | 4.3303 | 8.0919 |  |  | 3.1057 | 2.6286 | 3.4895 | 4.3249 | 4.696 | 3.0077 | 4.1564 | 4.0306 | 3.7503 | 3.8745 | 4.4566 |  |  |  |  | 3.7691 | 3.9807 | 2.771 | 5.3991 |  |  | 3.5161 |  |  |  | 5.0271 |  | -5.0271
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 199 | 277 | 60 | 196 | 0 | 118 | 191 | 52 | 15 | 181 | 0 | 0 | 2 | 0 | 272 | 104 | 168 | 0 | 89 | 0 | 0 | 80 | 102 | 50 | 138 | 0 | 140 | 546 | 0 | 120 | 0 | 3100
Annanale Supply | 210 | 114 | 152 | 260 | 81 | 33 | 158 | 274 | 268 | 262 | 238 | 166 | 189 | 239 | 282 | 222 | 291 | 45 | 72 | 165 | 54 | 94 | 218 | 216 | 193 | 0 | 89 | 163 | 255 | 223 | 0 | 5226
Total Water Supply | 409 | 391 | 212 | 456 | 81 | 151 | 349 | 326 | 283 | 443 | 238 | 166 | 191 | 239 | 554 | 326 | 459 | 45 | 161 | 165 | 54 | 174 | 320 | 266 | 331 | 0 | 229 | 709 | 255 | 343 | 0 | 8326
0
Theoretical permeate | 162.06 | 86.87 | 116.07 | 201.48 | 62.05 | 24.82 | 121.91 | 211.7 | 205.13 | 200.75 | 181.04 | 126.29 | 146 | 172.28 | 230.68 | 177.39 | 217.54 | 34.31 | 55.48 | 127.02 | 41.61 | 71.54 | 175.2 | 159.14 | 148.19 | 0 | 41.61 | 148.19 | 199.29 | 171.55 | 0 | 4017.19 | 8762 |  | 11.4394
143.08
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 249 | 213 | 97 | 260 | 32 | 52 | 264 | 216 | 248 | 180 | 117 | 63 | 44 | 192 | 233 | 260 | 251 | 64 | 64 | 57 | 18 | 126 | 163 | 164 | 214 | 31 | 97 | 260 | 225 | 279 | 0 | 4733
Brewhouse | 108 | 88 | 43 | 243 | 56 | 58 | 141 | 93 | 140 | 131 | 95 | 121 | 169 | 158 | 152 | 126 | 139 | 53 | 26 | 266 | 8 | 173 | 165 | 113 | 138 | 0 | 0 | 177 | 49 | 14 | 0 | 3243
Boiler Supply | 66 | 46 | 40 | 39 | 32 | 8 | 44 | 44 | 46 | 34 | 35 | 13 | 55 | 58 | 46 | 46 | 17 | 4 | 3 | 4 | 4 | 9 | 14 | 11 | 15 | 2 | 1 | 21 | 12 | 17 | 0 | 786
Water consumption | 423 | 347 | 180 | 542 | 120 | 118 | 449 | 353 | 434 | 345 | 247 | 197 | 268 | 408 | 431 | 432 | 407 | 121 | 93 | 327 | 30 | 308 | 342 | 288 | 367 | 33 | 98 | 458 | 286 | 310 | 0 | 8762
| 6.6196 | 14.4518 | 17.0348 | 14.6279 |  |  | 7.3946 | 7.7402 | 8.5377 | 10.9609 |  |  |  | 8.4845 | 8.8715 | 9.0595 | 8.4498 |  |  |  |  | 156.0758 | 18.421 | 11.7618 | 8.2465 |  | 33.7466 | 9.2785 | 4.8363 | 6.414 |  | 11.4394
Water Consumption detail | [31 empty] | 0
Brewhouse | 108 | 88 | 43 | 243 | 56 | 58 | 141 | 93 | 140 | 131 | 95 | 121 | 169 | 158 | 152 | 126 | 139 | 53 | 26 | 266 | 8 | 173 | 165 | 113 | 138 | 0 | 0 | 177 | 49 | 14 | 0 | 3243
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255 | 255
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 64 | 74 | 23 | 112 | 2 | 2 | 64 | 48 | 78 | 42 | 49 | 342 | 0 | 23 | 34 | 65 | 74 | 36 | 13 | 20 | 1 | 48 | 44 | 33 | 58 | 0 | 1 | 46 | 28 | 78 | 0 | 1502
Bottles Washer | 99 | 61 | 26 | 62 | 3 | 0 | 133 | 84 | 93 | 64 | 33 | 0 | 1 | 89 | 89 | 86 | 90 | 0 | 20 | 0 | 0 | 15 | 46 | 58 | 70 | 2 | 35 | 87 | 86 | 86 | 0 | 1518
Bottle Filler | 24 | 16 | 8 | 18 | 0 | 0 | 24 | 23 | 21 | 10 | 0 | 0 | 0 | 121 | 0 | 21 | 21 | 0 | 0 | 0 | 1 | 5 | 14 | 17 | 19 | 0 | 6 | 21 | 25 | 21 | 0 | 436
Pasteuriser | 2 | 0 | 0 | 4 | 6 | 0 | 1 | 0 | 5 | 0 | 3 | 0 | 0 | 13 | 21 | 0 | 3 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 3 | 0 | 0 | 10 | 0 | 10 | 0 | 86
Boiler Supply | 66 | 46 | 40 | 39 | 32 | 8 | 44 | 44 | 46 | 34 | 35 | 13 | 55 | 58 | 46 | 46 | 17 | 4 | 3 | 4 | 4 | 9 | 14 | 11 | 15 | 2 | 1 | 21 | 12 | 17 | 0 | 786
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 363 | 285 | 140 | 478 | 99 | 68 | 407 | 292 | 383 | 281 | 215 | 476 | 225 | 462 | 342 | 344 | 344 | 93 | 62 | 290 | 14 | 255 | 283 | 232 | 303 | 4 | 43 | 362 | 200 | 226 | 255 | 7826
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 1.6901 | 3.665 | 4.0694 | 6.5583 |  |  | 2.3221 | 2.0392 | 2.7541 | 4.162 |  |  |  | 3.2857 | 3.1287 | 2.6423 | 2.8858 |  |  |  |  | 87.666 | 8.8873 | 4.6149 | 3.1009 |  | 0 | 3.5858 | 0.8286 | 0.28966 |  | 4.234 | 3.2 | -1.034
Spent Grains/Wash-down Areas | [31 empty] | 0.33292 | 0.1 | -0.23292
Whirlpool | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 1
CIP Process | 1.0015 | 3.0819 | 2.1767 | 3.0227 |  |  | 1.054 | 1.0525 | 1.5344 | 1.3344 |  |  |  | 0.47829 | 0.69984 | 1.3631 | 1.5363 |  |  |  |  | 24.3235 | 2.3699 | 1.3477 | 1.3033 |  | 0.34435 | 0.9319 | 0.47348 | 1.6138 |  | 1.961 | 0.7 | -1.261
Bottles Washer | 1.5493 | 2.5405 | 2.4606 | 1.6733 |  |  | 2.1904 | 1.8419 | 1.8295 | 2.0333 |  |  |  | 1.8508 | 1.8319 | 1.8035 | 1.8685 |  |  |  |  | 7.6011 | 2.4777 | 2.3687 | 1.5729 |  | 12.0523 | 1.7625 | 1.4543 | 1.7794 |  | 1.9819 | 2.1 | 0.11815
Bottle Filler | 0.37558 | 0.66637 | 0.7571 | 0.4858 |  |  | 0.39526 | 0.50432 | 0.41312 | 0.31771 |  |  |  | 2.5162 | 0 | 0.44039 | 0.43598 |  |  |  |  | 2.5337 | 0.75407 | 0.69427 | 0.42693 |  | 2.0661 | 0.42543 | 0.42275 | 0.4345 |  | 0.56923 | 0.7 | 0.13077
Pasteuriser | 0.031298 | 0 | 0 | 0.10796 |  |  | 0.016469 | 0 | 0.098361 | 0 |  |  |  | 0.27034 | 0.43225 | 0 | 0.062284 |  |  |  |  | 2.5337 | 0 | 0 | 0.06741 |  | 0 | 0.20259 | 0 | 0.2069 |  | 0.11228 | 0.1 | -0.012279
Boiler Supply | 1.0328 | 1.9158 | 3.7855 | 1.0526 |  |  | 0.72464 | 0.96479 | 0.90492 | 1.0802 |  |  |  | 1.2061 | 0.94684 | 0.96466 | 0.35294 |  |  |  |  | 4.5607 | 0.75407 | 0.44924 | 0.33705 |  | 0.34435 | 0.42543 | 0.20292 | 0.35174 |  | 1.0262 | 0.6 | -0.42618
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 5.6806 | 11.8697 | 13.2493 | 12.9006 | 0 | 0 | 6.7029 | 6.4027 | 7.5344 | 8.9276 | 0 | 0 | 0 | 9.6075 | 7.0396 | 7.214 | 7.1418 | 0 | 0 | 0 | 0 | 129.2186 | 15.2431 | 9.4748 | 6.8084 | 0 | 14.8072 | 7.3337 | 3.382 | 4.676 | 0 | 10.2174 | 9.6 | -0.61738
Bottling Hall water | 1.9561 | 3.2069 | 3.2177 | 2.2671 | 0 | 0 | 2.6021 | 2.3462 | 2.341 | 2.351 | 0 | 0 | 0 | 4.6374 | 2.2642 | 2.2439 | 2.3668 | 0 | 0 | 0 | 0 | 12.6685 | 3.2317 | 3.063 | 2.0672 | 0 | 14.1185 | 2.3905 | 1.877 | 2.4208 | 0 | 2.6634 | 2.9 | 0.23664
Water Plant Total (Before Sand Filter) | 222 | 119 | 159 | 276 | 85 | 34 | 167 | 290 | 281 | 275 | 248 | 173 | 200 | 236 | 316 | 243 | 298 | 47 | 76 | 174 | 57 | 98 | 240 | 218 | 203 | 0 | 57 | 203 | 273 | 235 | 0 | 5503
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 3200 | 1200 | 2100 | 2400 | 0 | 1000 | 2800 | 2400 | 2800 | 1600 | 0 | 0 | 0 | 2500 | 2400 | 3300 | 1700 | 0 | 800 | 0 | 0 | 900 | 1200 | 1200 | 2200 | 0 | 3000 | 2500 | 2000 | 2800 | 0 | 46000
0
CO2 (kg.) (Filler) | 50.85 | 31.96 | 12.16 | 35.65 | 0 | 0 | 55.7 | 48.7 | 50.06 | 32.72 | 0 | 0 | 0 | 53.32 | 56 | 50.95 | 47.82 | 0 | 0 | 0 | 0 | 9.97 | 22.76 | 41.59 | 48.87 | 0 | 0 | 57.83 | 51.01 | 45.41 | 0 | 803.33
0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 47.82 | 168 | 291 | 0 | 45 | 64 | 0 | 53 | 0 | 0 | 47 | 0 | 751.82 | 0
Electricity (Kwh.) | 7595 | 7166 | 6109 | 7735 | 5194 | 4680 | 9017 | 8903 | 8712 | 7830 | 5615 | 6069 | 5789 | 8260 | 9072 | 9379 | 8647 | 4874 | 4828 | 6228 | 5730 | 7077 | 8104 | 8101 | 8856 | 5085 | 4522 | 9047 | 8130 | 8194 | 0 | 214548
Fuel (L) | 2430 | 2030 | 1980 | 2610 | 690 | 630 | 3400 | 3090 | 3420 | 2620 | 1190 | 1260 | 2340 | 3270 | 3530 | 3210 | 2800 | 840 | 920 | 1530 | 860 | 2510 | 2640 | 2720 | 2680 | 10 | 440 | 3220 | 2560 | 2190 | 0 | 63620
Steam Mass Flow | 0 | 0 | 8.981 | 6.397 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 228.642 | 5.001 | 46.715 | 0 | 10.384 | 9.312 | 0 | 0 | 0 | 0 | 172.971 | 28.621 | 69.079 | 0 | 596.103
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  | MTD | Target | Diff | %
Total water consumption | 6.4005 | 16.2843 | 20.0632 | 12.3069 |  |  | 5.7477 | 7.1482 | 5.5672 | 14.0745 |  |  |  | 4.9701 | 11.4033 | 6.8365 | 9.5294 |  |  |  |  | 88.1727 | 17.236 | 10.8634 | 7.4376 |  | 78.8567 | 14.3634 | 4.3121 | 7.0968 |  | 10.8702 | 10.2 | -0.67016 | 106.5702
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 5.0077 | 4.9978 | 19.8739 | 6.4773 |  |  | 4.6113 | 5.2625 | 5.5082 | 5.0833 |  |  |  | 5.1988 | 4.94 | 6.9204 | 3.5294 |  |  |  |  | 45.6066 | 6.4635 | 4.9008 | 4.9434 |  | 103.3058 | 5.0647 | 3.382 | 5.7933 |  | 6.0056 | 5 | -1.0056 | 120.1123
CO2 Filler (kg./Hl.) KPI | 0.079576 | 0.13311 | 0.11508 | 0.096215 |  |  | 0.091733 | 0.10678 | 0.098479 | 0.10395 |  |  |  | 0.11088 | 0.11527 | 0.10685 | 0.09928 |  |  |  |  | 0.50522 | 0.12259 | 0.16985 | 0.10981 |  | 0 | 0.11716 | 0.086259 | 0.093955 |  | 0.10488 | 1.7 | 1.5951 | 6.1694
Electricity (Kwh./Hl.) KPI | 11.8855 | 29.8449 | 57.8142 | 20.8758 |  |  | 14.8501 | 19.5216 | 17.1384 | 24.8766 |  |  |  | 17.177 | 18.6734 | 19.6687 | 17.9522 |  |  |  |  | 358.6196 | 43.6502 | 33.0842 | 19.8994 |  | 155.7163 | 18.3281 | 13.748 | 16.9536 |  | 28.0107 | 22 | -6.0107 | 127.3214
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 3.8027 | 8.4545 | 18.7383 | 7.0441 |  |  | 5.5995 | 6.7754 | 6.7279 | 8.324 |  |  |  | 6.8001 | 7.266 | 6.7317 | 5.8131 |  |  |  |  | 127.1916 | 14.2197 | 11.1084 | 6.022 |  | 15.1515 | 6.5233 | 4.329 | 4.5312 |  | 8.306 | 7.2 | -1.106 | 115.3615
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | Tue: #REF!; Wed: #REF! | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | Tue: _; Wed: 119; Sun: _; Mon: _; Thu: _ | 119
| 7595 |  | 6109 | 7735 | 5194 | 4680 | 9017 | 8903 | 8712 | 7830 | 5615 | 6069 | 5789 | 8260 | 9072 | 9379 | 8647 | 4874 | 4828 | 6228 | 5730 | 7077 | 8104 | 8101 | 8856 | 5085 | 4522 | 9047 | 8130 | 8194 | 0 | 214548
7166
Note on L8: Reshelle Fleming: No prod. Due to bottle issues
Note on C12: Reshelle Fleming: Breakdown in brewhouse- Mash Tun issues
Note on AD12: Reshelle Fleming: Breakdown in the brewhouse due to Mash tun Motor issues
Note on B14: Reshelle Fleming: couldn’t complete the set brews on the day 3brews due to Breakdown in brewhouse- Mash Tun
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15800 Kgs Mobile aprox 0 kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C12600 Kgs Mobile aprox 0 kgs
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C11400 Kgs Mobile aprox 0 kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C9300 Kgs Mobile aprox 0 kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C6900 Kgs Mobile aprox 0 kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C6900 Kgs Mobile aprox 19600 kgs
Note on I74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs Mobile aprox 18500 kgs
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 2800 Kgs Mobile aprox 18500 kgs
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 0Kgs Mobile aprox 18500 kgs being transfered
Note on L74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15900Kgs Mobile aprox 0 kgs 17500 transferred into Tank C 1000 unaccounted
Note on O74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15900Kgs
Note on P74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400Kgs
Note on Q74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11000Kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 7700Kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6000Kgs
Note on T74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6000Kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs Mobile approx. 17800 kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs Mobile approx.16900 kgs
Note on Y74: Delano Pasea: Tank A 11400 kgs Tank B 3500 kgs Tank C 6000(5200 +800) Kgs Mobile approx.0 kgs
Note on Z74: Delano Pasea: Tank A 11400 kgs Tank B 2200 kgs Tank C 6000(5200 +800) Kgs Mobile approx.0 kgs
Note on AA74: Delano Pasea: Tank A 11400 kgs Tank B 100 kgs Tank C 6000(5200 +800) Kgs Mobile approx.0 kgs
Note on AB74: Delano Pasea: Tank A 11400 kgs Tank B 100 kgs Tank C 6000(5200 +800) Kgs Mobile approx.0 kgs
Note on AC74: Delano Pasea: Tank A 11400 kgs Tank B 100 kgs Tank C 6000(5200 +800) Kgs Mobile approx.19400 kgs
Note on AD74: Delano Pasea: Tank A 9000 kgs Tank B 0 kgs Tank C 6000(5200 +800) Kgs Mobile approx.19400 kgs
Note on AE74: Delano Pasea: Tank A 7000 kgs Tank B 0 kgs Tank C22400 Kgs Mobile approx.0 kgs
Note on AF74: Delano Pasea: Tank A 4200 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR APRIL 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 175016 | 199 | -23 | 30669 | 1288667 | 222 | 97122 | 0 | 1288667 | -1288667 | -1288667 | 0 | 24 | 398 |  |  | #DIV/0!
2 | 175215 | 277 | 158 | 0 | 1288889 | 119 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 554 |  |  | #DIV/0!
3 | 175492 | 60 | -99 | 0 | 1289008 | 159 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 120 |  |  | #DIV/0!
4 | 175552 | 196 | -80 | 0 | 1289167 | 276 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 392 |  |  | #DIV/0!
5 | 175748 | 0 | -85 | 0 | 1289443 | 85 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
6 | 175748 | 118 | 84 | 0 | 1289528 | 34 | 97122 | 0 | 0 | 20690 | 20690 | 0 | 0 | 236 |  |  | #DIV/0!
7 | 175866 | 191 | 24 | 0 | 1289562 | 167 | 97122 | 0 | 20690 | -20690 | -20690 | 0 | 24 | 382 |  |  | #DIV/0!
8 | 176057 | 52 | -238 | 0 | 1289729 | 290 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 104 |  |  | #DIV/0!
9 | 176109 | 15 | -266 | 0 | 1290019 | 281 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 30 |  |  | #DIV/0!
10 | 176124 | 181 | -94 | 0 | 1290300 | 275 | 97122 | 0 | 0 | 0 | 0 | 0 | 10 | 362 |  |  | #DIV/0!
11 | 176305 | 0 | -248 | 0 | 1290575 | 248 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 176305 | 0 | -173 | 0 | 1290823 | 173 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
13 | 176305 | 2 | -198 | 0 | 1290996 | 200 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  |  | #DIV/0!
14 | 176307 | 0 | -236 | 0 | 1291196 | 236 | 97122 | 0 | 0 | 0 | 0 | 0 | 121 | 0 |  |  | #DIV/0!
15 | 176307 | 272 | -44 | 0 | 1291432 | 316 | 97122 | 0 | 0 | 0 | 0 | 0 | -77 | 544 |  |  | #DIV/0!
16 | 176579 | 104 | -139 | 0 | 1291748 | 243 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 208 |  |  | #DIV/0!
17 | 176683 | 168 | -130 | 0 | 1291991 | 298 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 336 |  |  | #DIV/0!
18 | 176851 | 0 | -47 | 0 | 1292289 | 47 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 176851 | 89 | 13 | 0 | 1292336 | 76 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 178 |  |  | #DIV/0!
20 | 176940 | 0 | -174 | 0 | 1292412 | 174 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
21 | 176940 | 0 | -57 | 0 | 1292586 | 57 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | #DIV/0!
22 | 176940 | 80 | -18 | 0 | 1292643 | 98 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 160 |  |  | #DIV/0!
23 | 177020 | 102 | -138 | 0 | 1292741 | 240 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 204 |  |  | #DIV/0!
24 | 177122 | 50 | -168 | 0 | 1292981 | 218 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 100 |  |  | #DIV/0!
25 | 177172 | 138 | -65 | 0 | 1293199 | 203 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 276 |  |  | #DIV/0!
26 | 177310 | 0 | 0 | 0 | 1293402 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
27 | 177310 | 140 | 83 | 0 | 1293402 | 57 | 97122 | 0 | 0 | 0 | 0 | 0 | 6 | 280 |  |  | #DIV/0!
28 | 177450 | 546 | 343 | 0 | 1293459 | 203 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 1092 |  |  | #DIV/0!
| 177996 |  | 0 |  | 1293662 |  | 97122
Total |  | 2980 | -2015 |  |  | 4995 |  | 0 | 1309357 | -1288667 | -1288667 | 0 | 313 | 5960 | 0 | 0 | #DIV/0!