## Entries August'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING |  |  |  | TANK C
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BMF) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker | TAYLOR WHARTON CALIBRATION TANK |  |  | READING Today (inH2O)
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds) | inH2O | LBS_CO2 | KG_CO2 |  | POUNDS | KG
1 | 7562720 |  |  | 64 | 5058.2 | 68225 |  | 891906 | 429397 | 468000 | 45.05 | 29020.41 | 5410.2 | 189728 | 30334 | 915114 |  | 52233 |  | 21119 | 1308183 |  | 36194 | 39473 | 8744 | 97122 |  | 316 | 259951 | [5 empty] | 7294807.77 | 221 | 0 | 0 | 34392.228 | 20 | 2857 | 1295.9132
2 | 7562720 |  |  | 64 | 5058.2 | 68225 |  | 894827 | 432071 | 468000 | 45.05 | 29020.41 | 5410.2 | 189728 | 30425 | 915126 |  | 52233 |  | 21119 | 1308279 |  | 36194 | 39473 | 8744 | 97122 |  | 316 | 259951 | [5 empty] | 7294807.77 | 220 | 0 | 0 |  | 30 | 4344 | 1970.4049
3 | 7562720 |  |  | 64 | 5058.2 | 68225 |  | 896662 | 433747 | 468000 | 45.05 | 29020.41 | 5410.2 | 189743 | 30425 | 915140 |  | 52233 |  | 21119 | 1308279 |  | 36194 | 39473 | 8744 | 97122 |  | 316 | 259951 | [5 empty] | 7294807.77 | 220 | 0 | 0 |  | 40 | 6143 | 2786.4175
4 | 7563470 |  |  | 64 | 5062.9 | 68225 |  | 899475 | 436322 | 468000 | 45.05 | 29039.8 | 5410.2 | 189744 | 30425 | 915157 |  | 52233 |  | 21119 | 1308279 |  | 36195 | 39476 | 8746 | 97122 |  | 316 | 259952 | [5 empty] | 7294807.77 | 190 | 0 | 0 |  | 50 | 7941 | 3601.9764
5 | 7566970 |  |  | 64 | 5085.2 | 68225 |  | 904678 | 441097 | 468000 | 96.04 | 31069.44 | 5735.21 | 189744 | 30657 | 915450 |  | 52354 |  | 21119 | 1308522 |  | 36265 | 39613 | 8764 | 97122 |  | 348 | 259952 | [5 empty] | 7294912.009 |  | 0 | 0 |  | 60 | 9739 | 4417.5353
6 | 7569540 |  |  | 64 | 5103.8 | 68225 |  | 909158 | 445208 | 468000 | 145.47 | 33646.5 | 6116.45 | 190051 | 30784 | 915701 |  | 52471 |  | 21119 | 1308661 |  | 36327 | 39733 | 8778 | 97122 |  | 372 | 259952 | [5 empty] | 7294912.009 |  | 0 | 0 |  | 70 | 11537 | 5233.0943
7 | 7572990 |  |  | 64 | 5124.8 | 68225 |  | 913814 | 449476 | 468000 | 145.47 | 35400.2 | 6367.77 | 190434 | 30935 | 915917 |  | 52691 |  | 21119 | 1308813 |  | 36368 | 39821 | 8793 | 97122 |  | 398 | 259952 | [5 empty] | 7294912.009 | 160 | 0 | 0 |  | 80 | 13335 | 6048.6532
8 | 7576220 |  |  | 64 | 5145.8 | 68225 |  | 918644 | 453906 | 468000 | 145.47 | 37709.58 | 6720.36 | 190620 | 31140 | 916140 |  | 52855 |  | 21120 | 1309029 |  | 36417 | 39919 | 8815 | 97122 |  | 427 | 259952 | [5 empty] | 7294912.009 | 140 | 0 | 0 | 42108.2993 | 90 | 15134 | 6864.6658
9 | 7578800 |  |  | 64 | 5162.5 | 68225 |  | 923191 | 458075 | 468000 | 145.47 | 39762.51 | 7011.79 | 190724 | 31262 | 916334 |  | 52976 |  | 21120 | 1309189 |  | 36444 | 40010 | 8832 | 97122 |  | 452 | 259952 | [5 empty] | 7294912.009 | 140 | 0 | 0 | 21974 | 100 | 16932 | 7680.2247
10 | 7578800 |  |  | 64 | 5162.5 | 68225 |  | 925620 | 460294 | 468000 | 145.47 | 39762.51 | 7011.79 | 190724 | 31325 | 916361 |  | 52976 |  | 21120 | 1309224 |  | 36444 | 40015 | 8838 | 97122 |  | 452 | 259952 | [5 empty] | 7294912.009 | 130 | 11400 | 4560 |  | 110 | 18730 | 8495.7836
11 | 7579210 |  |  | 64 | 5162.5 | 68225 |  | 928665 | 463086 | 468000 | 145.47 | 39762.51 | 7011.79 | 190724 | 31430 | 916432 |  | 52976 |  | 21120 | 1309334 |  | 36444 | 40015 | 8841 | 97122 |  | 452 | 259952 | [5 empty] | 7294912.009 |  |  |  |  | 120 | 20528 | 9311.3426
12 | 7579210 |  |  | 64 | 5162.5 | 68225 |  | 930788 | 465028 | 468000 | 145.47 | 39762.51 | 7011.79 | 190724 | 31430 | 916446 |  | 52976 |  | 21120 | 1309334 |  | 36444 | 40015 | 8841 | 97122 |  | 452 | 259952 | [5 empty] | 7294912.009 |  |  |  |  | 130 | 22326 | 10126.9015
13 | 7580060 |  |  | 64 | 5171.4 | 68225 |  | 933246 | 467277 | 468000 | 145.47 | 39764.4 | 7011.79 | 190724 | 31430 | 916458 |  | 52980 |  | 21120 | 1309334 |  | 36444 | 40044 | 8848 | 97122 |  | 452 | 259952 | [5 empty] | 7295012.971 |  |  |  |  | 140 | 24125 | 10942.914
14 | 7582760 |  |  | 64 | 5189.9 | 68225 |  | 937074 | 470786 | 468000 | 145.47 | 41086.88 | 7227.93 | 190923 | 31570 | 916674 |  | 53096 |  | 21126 | 1309480 |  | 36512 | 40107 | 8871 | 97122 |  | 497 | 259962 | [5 empty] | 7295012.971 |  |  |  |  | 150 | 25923 | 11758.473
15 | 7585740 |  |  | 64 | 5210.1 | 68225 |  | 941977 | 475257 | 468000 | 145.47 | 43147.04 | 7525.07 | 191142 | 31800 | 916877 |  | 53324 |  | 21126 | 1309728 |  | 36548 | 40191 | 8899 | 97122 |  | 523 | 260020 | [5 empty] | 7295091.696 |  |  |  |  | 160 | 27721 | 12574.0319
16 | 7589070 |  |  | 64 | 5230.9 | 68225 |  | 946984 | 479878 | 468000 | 145.17 | 45166.96 | 7851.15 | 191407 | 32054 | 917109 |  | 53506 |  | 21126 | 1309987 |  | 36601 | 40287 | 8927 | 97122 |  | 550 | 260040 | [5 empty] | 7295091.696 |  |  |  |  | 170 | 29519 | 13389.5909
17 | 7590150 |  |  | 64 | 5240.5 | 68225 |  | 950058 | 482689 | 468000 | 145.17 | 45166.96 | 7851.15 | 191427 | 32162 | 917163 |  | 53644 |  | 21126 | 1310101 |  | 36601 | 40292 | 8934 | 97122 |  | 550 | 260040 | [5 empty] | 7295091.696 |  |  |  |  | 180 | 31317 | 14205.1498
18 | 7590890 |  |  | 64 | 5244.8 | 68225 |  | 952764 | 485164 | 468000 | 145.17 | 45166.96 | 7851.15 | 191491 | 32210 | 917256 |  | 53644 |  | 21126 | 1310158 |  | 36601 | 40292 | 8938 | 97122 |  | 550 | 260040 | [5 empty] | 7295091.696 |  |  |  |  | 190 | 33116 | 15021.1623
19 | 7594270 |  |  | 64 | 5265.7 | 68225 |  | 957567 | 489565 | 468000 | 145.17 | 46833.06 | 8094.68 | 191665 | 32404 | 917492 |  | 53800 |  | 21132 | 1310382 |  | 36654 | 40465 | 8967 | 97122 |  | 576 | 260048 | [5 empty] | 7295091.696 |  |  |  |  | 200 | 34914 | 15836.7213
20 | 7597380 |  |  | 64 | 5286.3 | 68225 |  | 962247 | 493855 | 468000 | 194.72 | 48641.21 | 8258.3 | 191790 | 32636 | 917661 |  | 54022 |  | 21132 | 1310598 |  | 36706 | 40516 | 8993 | 97122 |  | 594 | 260121 | [5 empty] | 7295144.566 |  |  |  |  | 210 | 36712 | 16652.2802
21 | 7600560 |  |  | 64 | 5306.4 | 68225 |  | 967139 | 498344 | 468000 | 194.72 | 50727.81 | 8538.83 | 192181 | 32683 | 917946 |  | 54218 |  | 21132 | 1310647 |  | 36771 | 40652 | 9025 | 97122 |  | 620 | 260122 | [5 empty] | 7295144.566 |  |  |  |  | 220 | 38510 | 17467.8392
22 | 7603650 |  |  | 64 | 5326.1 | 68225 |  | 971823 | 502696 | 468000 | 227.7 | 53455.7 | 8918.1 | 192458 | 32958 | 918287 |  | 54351 |  | 21132 | 1310934 |  | 36823 | 40843 | 9052 | 97122 |  | 650 | 260122 | [5 empty] | 7295144.566 |  |  |  |  | 230 | 40308 | 18283.3981
23 | 7606050 |  |  | 64 | 5343.6 | 68225 |  | 975843 | 506312 | 468000 | 227.79 | 54454.16 | 9069.17 | 192661 | 33061 | 918467 |  | 54476 |  | 21132 | 1311044 |  | 36871 | 40910 | 9073 | 97122 |  | 665 | 260122 | [5 empty] | 7295876.481 |  |  |  |  | 240 | 42107 | 19099.4106
24 | 7606950 |  |  | 64 | 5352 | 68225 |  | 978576 | 508801 | 468000 | 227.79 | 54454.16 | 9069.77 | 192661 | 33125 | 918495 |  | 54553 |  | 21132 | 1311110 |  | 36871 | 40914 | 9076 | 97122 |  | 670 | 260122 | [5 empty] | 7295876.901 |  |  |  |  | 250 | 43905 | 19914.9696
25 | 7607000 |  |  | 64 | 5352.3 | 68225 |  | 981055 | 511061 | 468000 | 227.79 | 54454.16 | 9069.77 | 192661 | 33125 | 918540 |  | 54553 |  | 21132 | 1311110 |  | 36871 | 40914 | 9076 | 97122 |  | 670 | 260122 | [5 empty] | 7295876.901 |  |  |  |  | 260 | 45703 | 20730.5285
26 | 7608880 |  |  | 64 | 5370.4 | 68225 |  | 984637 | 514331 | 468000 | 227.79 | 54534.79 | 9069.77 | 192782 | 33226 | 918631 |  | 54716 |  | 21132 | 1311215 |  | 36935 | 40914 | 9076 | 97122 |  | 670 | 260122 | [5 empty] | 7295976.901 |  |  |  |  | 270 | 47501 | 21546.0875
27 | 7611180 |  |  | 64 | 5389.4 | 68225 |  | 988209 | 517592 | 468000 | 227.79 | 54757.58 | 9069.77 | 192794 | 33374 | 918680 |  | 54858 |  | 21132 | 1311371 |  | 36942 | 40951 | 9101 | 97122 |  | 670 | 260122 | [5 empty] | 7296676.901 |  |  |  |  | 280 | 49299 | 22361.6464
28 | 7614580 |  |  | 64 | 5411.5 | 68225 |  | 992727 | 521727 | 468000 | 227.79 | 55980.13 | 9279.14 | 192980 | 33557 | 918877 |  | 55020 |  | 21136 | 1311561 |  | 36963 | 41058 | 9127 | 97122 |  | 689 | 260122 | [5 empty] | 7297987.77 |  |  |  |  | 290 | 51098 | 23177.6589
29 | 7618320 |  |  | 64 | 5432.9 | 68225 |  | 997641 | 526227 | 468000 | 227.79 | 58968.47 | 9668.89 | 193200 | 33797 | 919151 |  | 55221 |  | 21144 | 1311816 |  | 37010 | 41188 | 9159 | 97122 |  | 719 | 260127 | [5 empty] | 7297992.681 |  |  |  |  | 300 | 52896 | 23993.2179
30 | 7620810 |  |  | 64 | 5449.3 | 68225 |  | 2392 | 530572 | 468000 | 227.79 | 60838.97 | 9964.36 | 193319 | 33889 | 919372 |  | 55371 |  | 21155 | 1311912 |  | 37047 | 41268 | 9176 | 97122 |  | 743 | 260127 | [5 empty] | 7297992.681 |  |  |  |  | 310 | 54694 | 24808.7768
31 | 7621050 |  |  | 64 | 5451 | 68225 |  | 4786 | 532747 | 468000 | 227.79 | 60838.97 | 9964.36 | 193319 | 33963 | 919419 |  | 55371 |  | 21155 | 1311991 |  | 37047 | 41273 | 9180 | 97122 |  | 743 | 260127 | [5 empty] | 7297992.681 |  |  |  |  | 320 | 56492 | 25624.3358
1 | 7621570 |  |  | 64 | 5453.8 | 68225 |  | 7478 | 535202 | 468000 | 227.79 | 60838.97 | 9964.36 | 193319 | 33963 | 919465 |  | 55371 |  | 21155 | 1312021 |  | 37047 | 41306 | 9181 | 97122 |  | 743 | 260127 | [5 empty] | 7297992.681 |  |  |  |  | 330 | 58290 | 26439.8947
[40 empty] | 340 | 60089 | 27255.9072
[40 empty] | 350 | 60537 | 27459.1166

## Utility Analysis AugusT 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [5 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [11 empty] | Elect | Water | Fuel | CO2
|  |  | USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2921 | 2674 | 5595 | 0 | 5595 | 910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1835 | 1676 | 3511 | 0 | 3511 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 2813 | 2575 | 5388 | 0 | 5388 | 10 | 750 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 5203 | 4775 | 9978 | 0 | 9978 | 2320 | 3500 | 2000 | 0 | 0 | 0 | 0 | 478.104 | 20.8699 | 4.8525 | 7.3206 | 4.1832
5 | 4480 | 4111 | 8591 | 0 | 8591 | 4340 | 2570 | 2400 | 0 | 0 | 0 | 0 | 680.196 | 12.6302 | 6.3805 | 3.7783 | 3.5284
6 | 4656 | 4268 | 8924 | 0 | 8924 | 5340 | 3450 | 1200 | 0 | 0 | 0 | 0 | 458.106 | 19.4802 | 11.6567 | 7.531 | 2.6195
7 | 4830 | 4430 | 9260 | 0 | 9260 | 3910 | 3230 | 2500 | 0 | 0 | 0 | 0 | 574.2228 | 16.1261 | 6.8092 | 5.625 | 4.3537
8 | 4547 | 4169 | 8716 | 0 | 8716 | 2260 | 2580 | 2000 | 0 | 0 | 0 | 0 | 553.08 | 15.759 | 4.0862 | 4.6648 | 3.6161
9 | 2429 | 2219 | 4648 | 0 | 4648 | 630 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 3045 | 2792 | 5837 | 0 | 5837 | 1050 | 410 | 1100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 2123 | 1942 | 4065 | 0 | 4065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 2458 | 2249 | 4707 | 0 | 4707 | 0 | 850 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 3828 | 3509 | 7337 | 0 | 7337 | 3390 | 2700 | 1200 | 0 | 0 | 0 | 0 | 293.37 | 25.0094 | 11.5554 | 9.2034 | 4.0904
14 | 4903 | 4471 | 9374 | 0 | 9374 | 4490 | 2980 | 1600 | 0 | 0 | 0 | 0 | 459.162 | 20.4155 | 9.7787 | 6.4901 | 3.4846
15 | 5007 | 4621 | 9628 | 0 | 9628 | 5190 | 3330 | 2200 | 0 | 0 | 0 | 0 | 582.978 | 16.5152 | 8.9026 | 5.7121 | 3.7737
16 | 3074 | 2811 | 5885 | 0 | 5885 | 1280 | 1080 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 2706 | 2475 | 5181 | 0 | 5181 | 1120 | 740 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 4803 | 4401 | 9204 | 0 | 9204 | 3680 | 3380 | 2400 | 0 | 0 | 0 | 0 | 369.534 | 24.907 | 9.9585 | 9.1467 | 6.4947
19 | 4680 | 4290 | 8970 | 0 | 8970 | 3570 | 3110 | 3950 | 0 | 0 | 0 | 0 | 204.798 | 43.7993 | 17.4318 | 15.1857 | 19.2873
20 | 4892 | 4489 | 9381 | 0 | 9381 | 4380 | 3180 | 1600 | 0 | 0 | 0 | 0 | 540.9804 | 17.3407 | 8.0964 | 5.8782 | 2.9576
21 | 4684 | 4352 | 9036 | 0 | 9036 | 5520 | 3090 | 2400 | 0 | 0 | 0 | 0 | 609.51 | 14.825 | 9.0565 | 5.0696 | 3.9376
22 | 4020 | 3616 | 7636 | 0 | 7636 | 3060 | 2400 | 1700 | 0 | 0 | 0 | 0 | 218.526 | 34.9432 | 14.0029 | 10.9827 | 7.7794
23 | 2733 | 2489 | 5222 | 0 | 5222 | 640 | 900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 2479 | 2260 | 4739 | 0 | 4739 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 3582 | 3270 | 6852 | 0 | 6852 | 2220 | 1880 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 3572 | 3261 | 6833 | 0 | 6833 | 1600 | 2300 | 223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 4518 | 4135 | 8653 | 0 | 8653 | 3690 | 3400 | 900 | 0 | 0 | 0 | 0 | 237.996 | 36.3578 | 15.5045 | 14.286 | 3.7816
28 | 4914 | 4500 | 9414 | 0 | 9414 | 4600 | 3740 | 3200 | 0 | 0 | 0 | 0 | 580.998 | 16.2032 | 7.9174 | 6.4372 | 5.5078
29 | 4751 | 4345 | 9096 | 0 | 9096 | 2110 | 2490 | 1700 | 0 | 0 | 0 | 0 | 407.418 | 22.326 | 5.179 | 6.1117 | 4.1726
30 | 2394 | 2175 | 4569 | 0 | 4569 | 740 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2692 | 2455 | 5147 | 0 | 5147 | 0 | 520 | 0 |  |  |  |  | 30.855 | 166.8125 | 0 | 0 | 0
MTD
|  |  | Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 221377 | 0 | 221377 | 72200 | 58850 | 35073 | 0 | 0 | 0 | 0 | 7279.8342 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[14 empty] | 30.4096 | 9.9178 | 8.084 | 4.8178
#NAME?

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 104.239
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 100.962
13 | 0
14 | 78.725
15 | 0
16 | 0
17 | 0
18 | 0
19 | 52.87
20 | 0
21 | 0
22 | 731.915
23 | 0
24 | 0
25 | 100
26 | 700
27 | 1310.869
28 | 4.911
29 | 0
30 | 0
31 | 0
3184.491

## Fuel
DAILY FUEL CONSUMPTION FOR AUGUST 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 750 | 4.7 | 0 | 0 |  |  | 159.5745 | 0 | 0 | 750 | 0 | 0
4 | 3500 | 22.3 | 0 | 0 |  |  | 156.9507 | 0 | 0 | 3500 | 478.104 | 7.3206
5 | 2570 | 18.6 | 0 | 0 |  |  | 138.172 | 0 | 0 | 2570 | 680.196 | 3.7783
6 | 3450 | 21 | 0 | 0 |  |  | 164.2857 | 0 | 0 | 3450 | 458.106 | 7.531
7 | 3230 | 21 | 0 | 0 |  |  | 153.8095 | 0 | 0 | 3230 | 574.2228 | 5.625
8 | 2580 | 16.7 | 0 | 0 |  |  | 154.491 | 0 | 0 | 2580 | 553.08 | 4.6648
9 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
10 | 410 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 410 | 0 | 0
11 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 850 | 8.9 | 0 | 0 |  |  | 95.5056 | 0 | 0 | 850 | 0 | 0
13 | 2700 | 18.5 | 0 | 0 |  |  | 145.9459 | 0 | 0 | 2700 | 293.37 | 9.2034
14 | 2980 | 20.2 | 0 | 0 |  |  | 147.5248 | 0 | 0 | 2980 | 459.162 | 6.4901
15 | 3330 | 20.8 | 0 | 0 |  |  | 160.0962 | 0 | 0 | 3330 | 582.978 | 5.7121
16 | 1080 | 9.6 | 0 | 0 |  |  | 112.5 | 0 | 0 | 1080 | 0 | 0
17 | 740 | 4.3 | 0 | 0 |  |  | 172.093 | 0 | 0 | 740 | 0 | 0
18 | 3380 | 20.9 | 0 | 0 |  |  | 161.7225 | 0 | 0 | 3380 | 369.534 | 9.1467
19 | 3110 | 20.6 | 0 | 0 |  |  | 150.9709 | 0 | 0 | 3110 | 204.798 | 15.1857
20 | 3180 | 20.1 | 0 | 0 |  |  | 158.209 | 0 | 0 | 3180 | 540.9804 | 5.8782
21 | 3090 | 19.7 | 0 | 0 |  |  | 156.8528 | 0 | 0 | 3090 | 609.51 | 5.0696
22 | 2400 | 17.5 | 0 | 0 |  |  | 137.1429 | 0 | 0 | 2400 | 218.526 | 10.9827
23 | 900 | 8.4 | 0 | 0 |  |  | 107.1429 | 0 | 0 | 900 | 0 | 0
24 | 50 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 50 | 0 | 0
25 | 1880 | 18.1 | 0 | 0 |  |  | 103.8674 | 0 | 0 | 1880 | 0 | 0
26 | 2300 | 19 | 0 | 0 |  |  | 121.0526 | 0 | 0 | 2300 | 0 | 0
27 | 3400 | 22.1 | 0 | 0 |  |  | 153.8462 | 0 | 0 | 3400 | 237.996 | 14.286
28 | 3740 | 21.4 | 0 | 0 |  |  | 174.7664 | 0 | 0 | 3740 | 580.998 | 6.4372
29 | 2490 | 16.4 |  | 0 |  |  | 151.8293 | 0 | 0 | 2490 | 407.418 | 6.1117
30 | 240 | 1.7 |  | 0 |  |  | 141.1765 | 0 | 0 | 240 | 0 | 0
31 | 520 | 2.8 |  | 0 |  |  | 185.7143 | 0 | 0 | 520 | 30.855
MTD | 58850 | 395.3 | 0 | 0 |  |  | 148.8743 |  |  | 58850 | 7279.8342 | 8.084 | 7.2 | 112.2774
AVE. | 2179.6296 | 15.812 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 91 | 96 | -5 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 0 | 0
| 2 | 0 | 15 | 0 | 0 | 15 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0
| 3 | 0 | 1 | 0 | 0 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 2 | 0 | 10 | 4 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
| 4 | 0 | 0 | 232 | 243 | -11 | 293 | 0 | 121 | 0 | 0 | 0 | 70 | 137 | 32 | 18 | 0 | -110 | 207 | 32 | 0 | 0 | 0 | 0 | 232 | 478.104 | 4.8525
| 5 | 0 | 307 | 127 | 139 | 295 | 251 | 0 | 117 | 0 | 0 | 0 | 62 | 120 | 24 | 14 | 0 | 2950 | 182 | 24 | 0 | 0 | 0 | 0 | 434 | 680.196 | 6.3805
| 6 | 0 | 383 | 151 | 152 | 382 | 216 | 0 | 220 | 0 | 0 | 0 | 41 | 88 | 26 | 15 | 0 | 3820 | 129 | 26 | 0 | 0 | 0 | 0 | 534 | 458.106 | 11.6567
| 7 | 0 | 186 | 205 | 216 | 175 | 223 | 0 | 164 | 0 | 0 | 1 | 49 | 98 | 29 | 22 | 0 | 1750 | 148 | 29 | 0 | 0 | 0 | 0 | 391 | 574.2228 | 6.8092
| 8 | 0 | 104 | 122 | 160 | 66 | 194 | 0 | 121 | 0 | 0 | 0 | 27 | 91 | 25 | 17 | 0 | 660 | 118 | 25 | 0 | 0 | 0 | 0 | 226 | 553.08 | 4.0862
| 9 | 0 | 0 | 63 | 35 | 28 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 6 | 0 | 280 | 5 | 0 | 0 | 0 | 0 | 0 | 63 | 0 | 0
| 10 | 0 | 0 | 105 | 110 | -5 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0
| 11 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 4 | 0 | 0 | 0 | 0 | 29 | 0 | 7 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 0 | 199 | 140 | 146 | 193 | 216 | 0 | 116 | 0 | 0 | 6 | 68 | 63 | 45 | 23 | 0 | 1930 | 137 | 45 | 10 | 0 | 0 | 0 | 339 | 293.37 | 11.5554
| 14 | 0 | 219 | 230 | 248 | 201 | 203 | 0 | 228 | 0 | 0 | 0 | 36 | 84 | 26 | 28 | 0 | 2010 | 120 | 26 | 58 | 0 | 0 | 0 | 449 | 459.162 | 9.7787
| 15 | 0 | 265 | 254 | 259 | 260 | 232 | 0 | 182 | 0 | 0 | 0 | 53 | 96 | 27 | 28 | 0 | 2600 | 149 | 27 | 20 | 0 | 0 | 0 | 519 | 582.978 | 8.9026
| 16 | 0 | 20 | 108 | 114 | 14 | 54 | 0 | 138 | 0 | 0 | 0 | 0 | 5 | 0 | 7 | 0 | 140 | 5 | 0 | 0 | 0 | 0 | 0 | 128 | 0 | 0
| 17 | 0 | 64 | 48 | 57 | 55 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 550 | 0 | 0 | 0 | 0 | 0 | 0 | 112 | 0 | 0
| 18 | 0 | 174 | 194 | 224 | 144 | 236 | 0 | 156 | 0 | 0 | 6 | 53 | 173 | 26 | 29 | 0 | 1440 | 232 | 26 | 8 | 0 | 0 | 0 | 368 | 369.534 | 9.9585
| 19 | 0 | 125 | 232 | 216 | 141 | 169 | 0 | 222 | 0 | 0 | 0 | 52 | 51 | 18 | 26 | 0 | 1410 | 103 | 18 | 73 | 0 | 0 | 0 | 357 | 204.798 | 17.4318
| 20 | 0 | 391 | 47 | 49 | 389 | 285 | 0 | 196 | 0 | 0 | 0 | 65 | 136 | 26 | 32 | 0 | 3890 | 201 | 26 | 1 | 0 | 0 | 0 | 438 | 540.9804 | 8.0964
| 21 | 0 | 277 | 275 | 287 | 265 | 341 | 0 | 133 | 0 | 0 | 0 | 52 | 191 | 30 | 27 | 0 | 2650 | 243 | 30 | 0 | 0 | 0 | 0 | 552 | 609.51 | 9.0565
| 22 | 0 | 203 | 103 | 110 | 196 | 180 | 0 | 125 | 0 | 0 | 0 | 48 | 67 | 15 | 21 | 0 | 1960 | 115 | 15 | 0 | 0 | 0 | 0 | 306 | 218.526 | 14.0029
| 23 | 0 | 0 | 64 | 66 | -2 | 28 | 0 | 77 | 0 | 0 | 0 | 0 | 4 | 5 | 3 | 0 | -20 | 4 | 5 | 0 | 0 | 0 | 0 | 64 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 121 | 101 | 105 | 117 | 91 | 0 | 163 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 1170 | 64 | 0 | 0 | 0 | 0 | 0 | 222 | 0 | 0
| 26 | 0 | 12 | 148 | 156 | 4 | 49 | 0 | 142 | 0 | 0 | 0 | 7 | 37 | 0 | 25 | 0 | 40 | 44 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0
| 27 | 0 | 186 | 183 | 190 | 179 | 197 | 0 | 162 | 0 | 0 | 4 | 21 | 107 | 19 | 26 | 0 | 1790 | 132 | 19 | 0 | 0 | 0 | 0 | 369 | 237.996 | 15.5045
| 28 | 0 | 220 | 240 | 255 | 205 | 274 | 0 | 201 | 0 | 0 | 8 | 47 | 130 | 30 | 32 | 0 | 2050 | 185 | 30 | 5 | 0 | 0 | 0 | 460 | 580.998 | 7.9174
| 29 | 0 | 119 | 92 | 96 | 115 | 221 | 0 | 150 | 0 | 0 | 11 | 37 | 80 | 24 | 17 | 0 | 1150 | 128 | 24 | 0 | 0 | 0 | 0 | 211 | 407.418 | 5.179
| 30 | 0 | 0 | 74 | 79 | -5 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 4 | 0 | -50 | 5 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0
| 31 | 0 | 0 | 0 | 30 | -30 |  |  | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 1 | 0 | -300 |  | 0 | 0 | 0 | 0 | 0 | 0 | 30.855
MTD | total | 0 | 3591 | 3629 | 3838 | 3382 | 4305 |  | 3138 |  | 0 | 36 | 853 | 1833 | 427 | 437 | 0 | 33820 | 2689 | 427 | 176 |  |  |  | 7220 | 7279.8342 | 9.9178 | 10.2 | 97.2334
| Gals. |  | 790020
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 12490.2162
| Add basic charge |  | 278.97
12769.1862
| Proxy sewage charge (2/3) |  | 8512.7908
| Proxy MTD NAWASA cost |  | 21281.977
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.August'25
DAILY ELECTRICITY CONSUMPTION FOR AUGUST 2025
DATE | Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr)
1 | 5595 | 0 | 5595 | 0 | 0
2 | 3511 | 0 | 3511 | 0 | 0
3 | 5388 | 0 | 5388 | 0 | 0
4 | 9978 | 0 | 9978 | 478.104 | 20.8699
5 | 8591 | 0 | 8591 | 680.196 | 12.6302
6 | 8924 | 0 | 8924 | 458.106 | 19.4802
7 | 9260 | 0 | 9260 | 574.2228 | 16.1261
8 | 8716 | 0 | 8716 | 553.08 | 15.759
9 | 4648 | 0 | 4648 | 0 | 0
10 | 5837 | 0 | 5837 | 0 | 0
11 | 4065 | 0 | 4065 | 0 | 0
12 | 4707 | 0 | 4707 | 0 | 0
13 | 7337 | 0 | 7337 | 293.37 | 25.0094
14 | 9374 | 0 | 9374 | 459.162 | 20.4155
15 | 9628 | 0 | 9628 | 582.978 | 16.5152
16 | 5885 | 0 | 5885 | 0 | 0
17 | 5181 | 0 | 5181 | 0 | 0
18 | 9204 | 0 | 9204 | 369.534 | 24.907
19 | 8970 | 0 | 8970 | 204.798 | 43.7993
20 | 9381 | 0 | 9381 | 540.9804 | 17.3407
21 | 9036 | 0 | 9036 | 609.51 | 14.825
22 | 7636 | 0 | 7636 | 218.526 | 34.9432
23 | 5222 | 0 | 5222 | 0 | 0
24 | 4739 | 0 | 4739 | 0 | 0
25 | 6852 | 0 | 6852 | 0 | 0
26 | 6833 | 0 | 6833 | 0 | 0
27 | 8653 | 0 | 8653 | 237.996 | 36.3578
28 | 9414 | 0 | 9414 | 580.998 | 16.2032
29 | 9096 | 0 | 9096 | 407.418 | 22.326
30 | 4569 | 0 | 4569 | 0 | 0
31 | 5147 |  | 5147 |  |  |  | %
MTD | 221377 | 0 | 221377 | 7248.9792 | 30.5391 | 22 | 138.8139
TARGET

## PROD.FIG.
PRODUCTION FOR AUGUST 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Tuesday | 1 | [5 empty] | 0
Wednesday | 2 | [5 empty] | 0
Thursday | 3 | [5 empty] | 0
Friday | 4 | [5 empty] | 478.104
Saturday | 5 | [5 empty] | 680.196
Sunday | 6 | [5 empty] | 458.106
Monday | 7 | [5 empty] | 574.2228
Tuesday | 8 | [5 empty] | 553.08
Wednesday | 9 | [5 empty] | 0
Thursday | 10 | [5 empty] | 0
Friday | 11 | [5 empty] | 0
Saturday | 12 | [5 empty] | 0
Sunday | 13 | [5 empty] | 293.37
Monday | 14 | [5 empty] | 459.162
Tuesday | 15 | [5 empty] | 582.978
Wednesday | 16 | [5 empty] | 0
Thursday | 17 | [5 empty] | 0
Friday | 18 | [5 empty] | 369.534
Saturday | 19 | [5 empty] | 204.798
Sunday | 20 | [5 empty] | 540.9804
Monday | 21 | [5 empty] | 609.51
Tuesday | 22 | [5 empty] | 218.526
Wednesday | 23 | [5 empty] | 0
Thursday | 24 | [5 empty] | 0
Friday | 25 | [5 empty] | 0
Saturday | 26 | [5 empty] | 0
Sunday | 27 | [5 empty] | 237.996
Monday | 28 | [5 empty] | 580.998
Tuesday | 29 | [5 empty] | 407.418
Wednesday | 30 | [5 empty] | 0
Thursday | 31 | [5 empty] | 30.855
[6 empty] | TOTAL | 7279.8342
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for AUGUST 2025 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 135 | 23225.5 | 10534.9078 | 2025-08-01 | 221 | 17549.3951 | 0 | 0 | 15600.0495 | 33149.4446
2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30 | 4344 | 1970.4049 |  |  |  | 2025-08-02 | 220 | 17467.8392 | 0 | 0 | 0 | 17467.8392 | 0
3 | 0 | 0 | 19.39 | 0 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  |  | 2025-08-03 | 220 | 17467.8392 | 0 | 0 | 0 | 17467.8392 | 2446.6768
4 | 325.01 | 50.99 | 2029.64 | 2000 | 478.104 | 4.1832 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 190 | 15021.1623 | 0 | 0 | 0 | 15021.1623 | 15021.1623
5 | 381.24 | 49.43 | 2577.06 | 2400 | 680.196 | 3.5284 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 251.32 | 0 | 1753.7 | 1200 | 458.106 | 2.6195 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 12574.0319
7 | 352.59 | 0 | 2309.38 | 2500 | 574.2228 | 4.3537 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 160 | 12574.0319 | 0 | 0 | 0 | 12574.0319
8 | 291.43 | 0 | 2052.93 | 2000 | 553.08 | 3.6161 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 140 | 10942.914 | 0 | 0 | 19100 | 30042.914 | 19100
9 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 140 | 10942.914 | 0 | 0 | 9967.237 | 20910.1511
10 | 0 | 0 | 0 | 1100 | 0 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 130 | 10126.9015 | 11400 | 4560 | 0 | 26086.9015 | 26086.9015
11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 1.89 | 0 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 216.14 | 0 | 1322.48 | 1200 | 293.37 | 4.0904 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 297.14 | 0 | 2060.16 | 1600 | 459.162 | 3.4846 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 326.08 | 0 | 2019.92 | 2200 | 582.978 | 3.7737 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 243.53 | 0 | 1666.1 | 2400 | 369.534 | 6.4947 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 163.62 | 49.55 | 1808.15 | 3950 | 204.798 | 19.2873 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 280.53 | 0 | 2086.6 | 1600 | 540.9804 | 2.9576 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 379.27 | 32.98 | 2727.89 | 2400 | 609.51 | 3.9376 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 151.07 | 0 | 998.46 | 1700 | 218.526 | 7.7794 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 80.63 | 800 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 222.79 | 223 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 209.37 | 0 | 1222.55 | 900 | 237.996 | 3.7816 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 389.75 | 0 | 2988.34 | 3200 | 580.998 | 5.5078 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 295.47 | 0 | 1870.5 | 1700 | 407.418 | 4.1726 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 30.855 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 4553.56 | 182.95 | 31818.56 | 35073 | 7279.8342 | 4.8178 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 | [9 empty] | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 75228.7726
Note on A16: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on A21: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Filler Flowmeter Prowirl 200 (density, temperature) 4:00 PM

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-08-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon |  | Total |  | Diff.
Cases Produced |  | 0 | 0 | 7244 | 10306 | 6941 | 8509 | 8380 | 0 | 0 | 0 | 0 | 4445 | 6957 | 8833 | 0 | 0 | 5599 | 3103 | 7703 | 9235 | 3311 | 0 | 0 | 0 | 0 | 3606 | 8803 |  |  | 6173 | 109148 | 96325 | 12823
HL produced | 0 | 0 | 0 | 478.104 | 680.196 | 458.106 | 574.2228 | 553.08 | 0 | 0 | 0 | 0 | 293.37 | 459.162 | 582.978 | 0 | 0 | 369.534 | 204.798 | 540.9804 | 609.51 | 218.526 | 0 | 0 | 0 | 0 | 237.996 | 580.998 |  |  | 407.418 | 7248.9792
Product Type | 0 | 0 | 0 | SM/CB | CB | ST/GN | CB/ST | 0 | 0 | 0 | 0 | 0 | MK/CB | CB/ST | CB/ST | 0 | 0 | CB/GS/SS | P'seco/Rose | Rose/VM | CB/ST | ST/CB | 0 | 0 |  | 0 | CB | CB/GN |  |  | GN/CB
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 15 | 1 | 0 | 307 | 383 | 186 | 104 | 0 | 0 | 0 | 0 | 199 | 219 | 265 | 20 | 64 | 174 | 125 | 391 | 277 | 203 | 0 | 0 | 121 | 12 | 186 | 220 | 121 | 12 | 186 | 3791
Annanale Supply | 91 | 0 | 0 | 232 | 127 | 151 | 205 | 122 | 63 | 105 | 0 | 0 | 140 | 230 | 254 | 108 | 48 | 194 | 232 | 47 | 275 | 103 | 64 | 0 | 101 | 148 | 183 | 240 | 101 | 148 | 183 | 3895
Total Water Supply | 91 | 15 | 1 | 232 | 434 | 534 | 391 | 226 | 63 | 105 | 0 | 0 | 339 | 449 | 519 | 128 | 112 | 368 | 357 | 438 | 552 | 306 | 64 | 0 | 222 | 160 | 369 | 460 | 222 | 160 | 369 | 7686
0
Theoretical permeate | 70.08 | 0 | 0 | 177.39 | 101.47 | 110.96 | 157.68 | 116.8 | 25.55 | 80.3 | 0 | 0 | 106.58 | 106.58 | 106.58 | 106.58 | 106.58 | 106.58 | 157.68 | 35.77 | 209.51 | 80.3 | 48.18 | 0 | 76.65 | 76.65 | 76.65 | 76.65 | 76.65 | 76.65 | 70.08 | 2541.13 | 7956 |  | 10.9753
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 12 | 14 | 17 | 293 | 251 | 216 | 223 | 194 | 27 | 71 | 14 | 12 | 216 | 203 | 232 | 54 | 93 | 236 | 169 | 285 | 341 | 180 | 28 | 45 | 91 | 49 | 197 | 274 | 0 | 0 | 0 | 4037
Water consumption | 12 | 14 | 17 | 293 | 251 | 216 | 223 | 194 | 27 | 71 | 14 | 12 | 216 | 203 | 232 | 54 | 93 | 236 | 169 | 285 | 341 | 180 | 28 | 45 | 91 | 49 | 197 | 274 | 0 | 0 | 0 | 4037
Wed: 6.1284; Thu: 3.6901; Fri: 4.7151; Sat: 3.8835; Sun: 3.5076; Fri: 7.3627; Sat: 4.4211; Sun: 3.9796; Wed: 6.3864; Thu: 8.252; Fri: 5.2682; Sat: 5.5947; Sun: 8.237; Fri: 8.2775; Sat: 4.716 | 0
Days: Water Consumption detail |  | 0
Brewhouse / Old Pepsi Area | 0 | 0 | 0 | 121 | 117 | 220 | 164 | 121 | 0 | 0 | 0 | 4 | 116 | 228 | 182 | 138 | 0 | 156 | 222 | 196 | 133 | 125 | 77 | 0 | 163 | 142 | 162 | 201 | 163 | 142 | 162 | 3455
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.5045 | 15.5045
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 93
CIP Process | 0 | 0 | 1 | 70 | 62 | 41 | 49 | 27 | 0 | 0 | 0 | 0 | 68 | 68 | 68 | 0 | 0 | 0 | 52 | 65 | 52 | 48 | 0 | 0 | 64 | 7 | 21 | 47 | 64 | 7 | 21 | 902 |  |  | 15588.1818
Bottles Washer | 0 | 0 | 3 | 137 | 120 | 88 | 98 | 91 | 5 | 0 | 0 | 29 | 63 | 63 | 63 | 63 | 63 | 63 | 51 | 136 | 191 | 67 | 4 | 0 | 0 | 37 | 107 | 130 | 0 | 37 | 107 | 1816
Bottle Filler | 0 | 0 | 0 | 32 | 24 | 26 | 29 | 25 | 0 | 0 | 0 | 0 | 45 | 26 | 27 | 0 | 0 | 26 | 18 | 26 | 30 | 15 | 5 | 0 | 0 | 0 | 19 | 30 | 0 | 0 | 19 | 422
Pasteuriser | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 0 | 0 | 4 | 29
Boiler Supply | 0 | 0 | 2 | 18 | 14 | 15 | 22 | 17 | 6 | 3 | 0 | 7 | 23 | 23 | 28 | 7 | 7 | 29 | 26 | 32 | 27 | 21 | 3 | 0 | 0 | 25 | 26 | 32 | 0 | 25 | 26 | 464
Days: Backwash Supply |  | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4
Personnel Consumption
Total water consumption (M3) | 0 | 0 | 6 | 378 | 337 | 390 | 363 | 281 | 11 | 3 | 0 | 40 | 321 | 414 | 436 | 208 | 70 | 280 | 369 | 455 | 433 | 276 | 89 | 0 | 227 | 211 | 339 | 448 | 227 | 211 | 377.5045 | 7200.5045
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 19.39 | 2029.64 | 2577.06 | 1753.7 | 2309.38 | 2052.93 | 0 | 0 | 0 | 1.89 | 1322.48 | 2060.16 | 2019.92 | 0 | 0 | 0 | 64 | 48 | 174 | 194 | 236 | 0 | 156 | 0 | 6 | 224 | 0 | 53 | 173 | 17474.55
CO2 (kg.) (Filler) | 0 | 0 | 0 | 325.01 | 381.24 | 251.32 | 352.59 | 291.43 | 0 | 0 | 0 | 0 | 216.14 | 297.14 | 326.08 | 0 | 0 | 243.53 | 163.62 | 280.53 | 379.27 | 151.07 | 0 | 0 | 0 | 0 | 209.37 | 389.75 | 295.47 | 0 | 0 | 4553.56
Electricity (Kwh.) | 5595 | 3511 | 5388 | 9978 | 8591 | 8924 | 9260 | 8716 | 4648 | 5837 | 4065 | 4707 | 7337 | 9374 | 9628 | 5885 | 5181 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 217869
Fuel (L) | 0 | 0 | 750 | 3500 | 2570 | 3450 | 3230 | 2580 | 0 | 410 | 0 | 850 | 2700 | 2980 | 3330 | 1080 | 740 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 3380 | 75490
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Days: Total water consumption; Wed: 4.8525; Thu: 6.3805; Fri: 11.6567; Sat: 6.8092; Sun: 4.0862; Fri: 11.5554; Sat: 9.7787; Sun: 8.9026; Wed: 9.9585; Thu: 17.4318; Fri: 8.0964; Sat: 9.0565; Sun: 14.0029; Fri: 15.5045; Sat: 7.9174 | 9.057 | 10.6029 | 10.2 | -0.40287
Days: Consumption detail |  | MTD | Target | Diff
Days: Brewhouse / Old Pepsi Area; Wed: 2.5308; Thu: 1.7201; Fri: 4.8024; Sat: 2.856; Sun: 2.1877; Fri: 3.9541; Sat: 4.9656; Sun: 3.1219; Wed: 4.2215; Thu: 10.8399; Fri: 3.6231; Sat: 2.1821; Sun: 5.7201; Fri: 6.8068; Sat: 3.4596 | 3.9763 | 4.7662 | 2.5 | -2.2662
Brewhouse (Hls brewed) |  |  |  | 3.0273 | 3.3992 | 3.9314 | 3.6444 | 5.8482 |  |  |  |  | 3.6524 | 6.4883 | 3.7143 | 9.3496 |  | 3.6019 | 4.9966 | 7.7257 | 4.2945 | 4.2575 | 5.1265 |  | 3.249 | 2.8158 | 2.9551 | 4.3753 | 15.8252 |  | 15.7282 | 4.6872 | 2.5 | -2.1872
Days: Spent Grains/Wash-down Areas; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0 | 0.38055 | 0.021388 | 0.1 | 0.078612
Days: Whirlpool |  |  | 0.1 | 0.1
Days: Filtration/Cellars; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 |  | 0 | 0.7 | 0.7
Days: Processing/Cellars; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0.13067; Sun: 1.1664; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0 | 0.46635 | 0.12829 | 1 | 0.87171
Days: CIP Process; Wed: 1.4641; Thu: 0.9115; Fri: 0.89499; Sat: 0.85333; Sun: 0.48818; Fri: 2.3179; Sat: 1.481; Sun: 1.1664; Wed: 0; Thu: 2.5391; Fri: 1.2015; Sat: 0.85314; Sun: 2.1965; Fri: 0.88237; Sat: 0.80895 | 0.51544 | 1.2443 | 0.7 | -0.54431
Days: Bottles Washer; Wed: 2.8655; Thu: 1.7642; Fri: 1.921; Sat: 1.7067; Sun: 1.6453; Fri: 2.1475; Sat: 1.3721; Sun: 1.0807; Wed: 1.7048; Thu: 2.4903; Fri: 2.514; Sat: 3.1337; Sun: 3.066; Fri: 4.4959; Sat: 2.2375 | 2.6263 | 2.5052 | 2.6 | 0.09482
Days: Bottle Washer |  |  | 2.6 | 2.6
Days: Bottle Filler; Wed: 0.66931; Thu: 0.35284; Fri: 0.56755; Sat: 0.50503; Sun: 0.45201; Fri: 1.5339; Sat: 0.56625; Sun: 0.46314; Wed: 0.70359; Thu: 0.87891; Fri: 0.48061; Sat: 0.4922; Sun: 0.68642; Fri: 0.79833; Sat: 0.51635 | 0.46635 | 0.58215 | 0.7 | 0.11785
Days: Pasteuriser; Wed: 0; Thu: 0; Fri: 0; Sat: 0.017415; Sun: 0; Fri: 0.20452; Sat: 0; Sun: 0; Wed: 0.16237; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0.16807; Sat: 0.13769 | 0.098179 | 0.040006 | 0.1 | 0.059994
Days: Boiler Supply; Wed: 0.37649; Thu: 0.20582; Fri: 0.32744; Sat: 0.38313; Sun: 0.30737; Fri: 0.78399; Sat: 0.50091; Sun: 0.48029; Wed: 0.78477; Thu: 1.2695; Fri: 0.59152; Sat: 0.44298; Sun: 0.96098; Fri: 1.0925; Sat: 0.55078 | 0.63817 | 0.64009 | 0.6 | -0.04009
Days: Backwash Supply; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0 | 0 | 0 | 0.5 | 0.5
Days: Refrigeration Unit; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Fri: 0; Sat: 0 | 0 | 0 | 0.3 | 0.3
Days: CO2 Scrubber |  |  | 0.4 | 0.4
Days: Personnel Consumption |  |  | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 0 | 10.9335 | 8.3536 | 12.4447 | 9.966 | 10.9289 | 0 | 0 | 0 | 0 | 14.5942 | 15.5048 | 11.1931 | 9.3496 | 0 | 11.1791 | 23.0144 | 16.1363 | 11.3985 | 16.8876 | 5.1265 | 0 | 3.249 | 2.8158 | 17.1991 | 12.0861 | 15.8252 | 0 | 24.8958 | 14.6148 | 15.6 | 0.98523
Bottling Hall water | 0 | 0 | 0 | 3.5348 | 2.117 | 2.4885 | 2.2291 | 2.0973 | 0 | 0 | 0 | 0 | 3.8859 | 1.9383 | 1.5438 | 0 | 0 | 2.5708 | 3.3692 | 2.9946 | 3.6259 | 3.7524 | 0 | 0 | 0 | 0 | 5.4623 | 2.8916 | 0 | 0 | 3.1908 | 3.1273 | 6 | 2.8727
Days: CO2 (kg./Hl.) KPI; Wed: 4.2452; Thu: 3.7887; Fri: 3.8282; Sat: 4.0217; Sun: 3.7118; Fri: 4.5079; Sat: 4.4868; Sun: 3.4648; Wed: 0; Thu: 0.3125; Fri: 0.088728; Sat: 0.28548; Sun: 0.88777; Fri: 0.025211; Sat: 0.38554 | 0.42463 | 2.4106 | 5 | 2.5894
Days: CO2 Filler (kg./Hl.) KPI; Wed: 0.67979; Thu: 0.56049; Fri: 0.54861; Sat: 0.61403; Sun: 0.52692; Fri: 0.73675; Sat: 0.64714; Sun: 0.55934; Wed: 0.65902; Thu: 0.79893; Fri: 0.51856; Sat: 0.62225; Sun: 0.69131; Fri: 0.87972; Sat: 0.67083 | 0 | 0.62817 | 1.7 | 1.0718
Days: Electricity (Kwh./Hl.) KPI; Wed: 20.8699; Thu: 12.6302; Fri: 19.4802; Sat: 16.1261; Sun: 15.759; Fri: 25.0094; Sat: 20.4155; Sun: 16.5152; Wed: 24.907; Thu: 44.9418; Fri: 17.0136; Sat: 15.1007; Sun: 42.1186; Fri: 38.6729; Sat: 15.8417 | 22.591 | 30.0551 | 22 | -8.0551
[33 empty] | 31.2 | 31.2
Days: Fuel (L/Hl.) KPI; Wed: 7.3206; Thu: 3.7783; Fri: 7.531; Sat: 5.625; Sun: 4.6648; Fri: 9.2034; Sat: 6.4901; Sun: 5.7121; Wed: 9.1467; Thu: 16.5041; Fri: 6.2479; Sat: 5.5454; Sun: 15.4673; Fri: 14.2019; Sat: 5.8176 | 8.2961 | 10.4139 | 7.2 | -3.2139
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 50.99 | 49.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.55 | 0 | 32.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.95
Days: CO2 recovered (Kg - liquid) |  | 0
Days: CO2 liquid conversion efficiency; Wed: 0%; Thu: 0%; Thu: 0%; Sat: 0% |  | 0%
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 0 | 0 | 399.7 | 344.2 | 559.6 | 450 | 206.9 | 0 | 0 | 0 | 0 | 317.6 | 351.4 | 490 | 147.6 | 0 | 433.1 | 444.3 | 253.7 | 309.7 | 293.6 | 150.2 | 0 | 501.7 | 504.3 | 548.2 | 459.4 | 103 | 0 | 103 | 7371.2
Product | 0 | 0 | 0 | ST | VM/CB | ST/GN | Carib/Stag/Carib | CB | 0 | 0 | 0 | 0 | CB | CB | Stag/CB/Guinn | Guinn | 0 | VM | VM/CB | CB | CB | CB/ST | ST | 0 | CB | CB | ST/CB | CB\GU | GU | 0 | GU
No. of Brews | 0 | 0 | 0 | 8 | 7 | 11 | 9 | 4 | 0 | 0 | 0 | 0 | 6 | 7 | 10 | 3 | 0 | 9 | 9 | 5 | 6 | 6 | 3 | 0 | 10 | 10 | 11 | 9 | 2 | 0 | 2 | 147
Raw Water In - Nawasa | 96 | 0 | 0 | 243 | 139 | 152 | 216 | 160 | 35 | 110 | 0 | 0 | 146 | 146 | 146 | 146 | 146 | 146 | 216 | 49 | 287 | 110 | 66 | 0 | 105 | 105 | 105 | 105 | 105 | 105 | 96 | 3481
Days: Into RO; Sun: _ |  | 0
| 5595 | 3511 | 5388 | 9978 | 8591 | 8924 | 9260 | 8716 | 4648 | 5837 | 4065 | 4707 | 7337 | 9374 | 9628 | 5885 | 5181 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 9204 | 217869
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-08-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
| Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Total |  | Diff.
Cases Produced | 4 Mon: 7244; 5 Tue: 10306; 6 Wed: 6941; 7 Thu: 8509; 8 Fri: 8380; 13 Wed: 4445; 14 Thu: 6957; 15 Fri: 8833; 18 Mon: 5599; 19 Tue: 3103; 20 Wed: 7703; 21 Thu: 9235; 22 Fri: 3311; 1904-12-04 27 Wed: 3606; 1904-12-04 28 Thu: 8803; 1904-12-04 29 Fri: 6173; 1904-12-04 31 Sun: 467.5 | 109615.5 | 135225 | -25609.5
HL produced |  |  |  | 478.104 | 680.196 | 458.106 | 574.2228 | 553.08 |  |  |  |  | 293.37 | 459.162 | 582.978 | 0 | 0 | 369.534 | 204.798 | 540.9804 | 609.51 | 218.526 | 0 | 0 | 0 | 0 | 237.996 | 580.998 | 407.418 |  | 30.855 | 7279.8342
Product Type | 4 Mon: SM/CB; 5 Tue: CB; 6 Wed: ST/GN; 7 Thu: VM/CB; 8 Fri: CB/ST; 13 Wed: MK/CB; 14 Thu: CB/ST; 15 Fri: CB/ST; 18 Mon: CB/GS/SS; 19 Tue: P'seco/Rose; 20 Wed: Rose/VM; 21 Thu: CB/ST; 22 Fri: ST/CB; 1904-12-04 27 Wed: CB; 1904-12-04 28 Thu: CB/GN; 1904-12-04 29 Fri: GN/CB; 1904-12-04 31 Sun: Kegs
Hls Brewed |  |  |  | 399.7 | 344.2 | 559.6 | 450 | 206.9 |  |  |  |  | 317.6 | 351.4 | 490 | 147.6 |  | 433.1 | 444.3 | 253.7 | 309.7 | 293.6 | 150.2 |  | 501.7 | 504.3 | 548.2 | 459.4 | 103 |  |  | 7268.2
Product |  |  |  | ST | VM/CB | Carib | Carib/Stag/Carib | CB |  |  |  |  | CB | CB | Stag/CB/Guinn | Guinn |  | VM | VM/CB | CB | CB | CB/ST | ST |  | CB | CB | ST/CB | CB\GU | GU
No. of Brews |  |  |  | 8 | 7 | 11 | 9 | 4 |  |  |  |  | 6 | 7 | 10 | 3 |  | 9 | 9 | 5 | 6 | 6 | 3 |  | 10 | 10 | 11 | 9 | 2 |  |  | 145
Brewhouse (Hls brewed) |  |  |  | 3.0273 | 3.3992 | 3.9314 | 3.6444 | 5.8482 |  |  |  |  | 3.6524 | 6.4883 | 3.7143 | 9.3496 |  | 3.6019 | 4.9966 | 7.7257 | 4.2945 | 4.2575 | 5.1265 |  | 3.249 | 2.8158 | 2.9551 | 4.3753 | 14.5631 |  |  | 4.3174 |  | -4.3174
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 15 | 1 | 0 | 307 | 383 | 186 | 104 | 0 | 0 | 0 | 0 | 199 | 219 | 265 | 20 | 64 | 174 | 125 | 391 | 277 | 203 | 0 | 0 | 121 | 12 | 186 | 220 | 119 | 0 | 0 | 3591
Annanale Supply | 91 | 0 | 0 | 232 | 127 | 151 | 205 | 122 | 63 | 105 | 0 | 0 | 140 | 230 | 254 | 108 | 48 | 194 | 232 | 47 | 275 | 103 | 64 | 0 | 101 | 148 | 183 | 240 | 92 | 74 | 0 | 3629
Total Water Supply | 91 | 15 | 1 | 232 | 434 | 534 | 391 | 226 | 63 | 105 | 0 | 0 | 339 | 449 | 519 | 128 | 112 | 368 | 357 | 438 | 552 | 306 | 64 | 0 | 222 | 160 | 369 | 460 | 211 | 74 | 0 | 7220
0
Theoretical permeate | 70.08 | 0 | 0 | 177.39 | 101.47 | 110.96 | 157.68 | 116.8 | 25.55 | 80.3 | 0 | 0 | 106.58 | 181.04 | 189.07 | 83.22 | 41.61 | 163.52 | 157.68 | 35.77 | 209.51 | 80.3 | 48.18 | 0 | 76.65 | 113.88 | 138.7 | 186.15 | 70.08 | 57.67 | 21.9 | 2801.74 | 7880 |  | 10.8244
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 12 | 14 | 17 | 293 | 251 | 216 | 223 | 194 | 27 | 71 | 14 | 12 | 216 | 203 | 232 | 54 | 93 | 236 | 169 | 285 | 341 | 180 | 28 | 45 | 91 | 49 | 197 | 274 | 221 | 47 | 0 | 4305
Brewhouse | 0 | 0 | 0 | 121 | 117 | 220 | 164 | 121 | 0 | 0 | 0 | 4 | 116 | 228 | 182 | 138 | 0 | 156 | 222 | 196 | 133 | 125 | 77 | 0 | 163 | 142 | 162 | 201 | 150 | 0 | 0 | 3138
Boiler Supply | 0 | 0 | 2 | 18 | 14 | 15 | 22 | 17 | 6 | 3 | 0 | 7 | 23 | 28 | 28 | 7 | 4 | 29 | 26 | 32 | 27 | 21 | 3 | 0 | 0 | 25 | 26 | 32 | 17 | 4 | 1 | 437
Water consumption | 12 | 14 | 19 | 432 | 382 | 451 | 409 | 332 | 33 | 74 | 14 | 23 | 355 | 459 | 442 | 199 | 97 | 421 | 417 | 513 | 501 | 326 | 108 | 45 | 254 | 216 | 385 | 507 | 388 | 51 | 1 | 7880
Water Consumption detail
Brewhouse | 0 | 0 | 0 | 121 | 117 | 220 | 164 | 121 | 0 | 0 | 0 | 4 | 116 | 228 | 182 | 138 | 0 | 156 | 222 | 196 | 133 | 125 | 77 | 0 | 163 | 142 | 162 | 201 | 150 | 0 | 0 | 3138
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 211 | 211
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 0 | 1 | 70 | 62 | 41 | 49 | 27 | 0 | 0 | 0 | 0 | 68 | 36 | 53 | 0 | 0 | 53 | 52 | 65 | 52 | 48 | 0 | 0 | 64 | 7 | 21 | 47 | 37 | 0 | 0 | 853
Bottles Washer | 0 | 0 | 3 | 137 | 120 | 88 | 98 | 91 | 5 | 0 | 0 | 29 | 63 | 84 | 96 | 5 | 0 | 173 | 51 | 136 | 191 | 67 | 4 | 0 | 0 | 37 | 107 | 130 | 80 | 5 | 33 | 1833
Bottle Filler | 0 | 0 | 0 | 32 | 24 | 26 | 29 | 25 | 0 | 0 | 0 | 0 | 45 | 26 | 27 | 0 | 0 | 26 | 18 | 26 | 30 | 15 | 5 | 0 | 0 | 0 | 19 | 30 | 24 | 0 | 0 | 427
Pasteuriser | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 8 | 11 | 0 | 0 | 36
Boiler Supply | 0 | 0 | 2 | 18 | 14 | 15 | 22 | 17 | 6 | 3 | 0 | 7 | 23 | 28 | 28 | 7 | 4 | 29 | 26 | 32 | 27 | 21 | 3 | 0 | 0 | 25 | 26 | 32 | 17 | 4 | 1 | 437
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 0 | 0 | 6 | 378 | 337 | 390 | 363 | 281 | 11 | 3 | 0 | 40 | 321 | 402 | 386 | 150 | 4 | 443 | 369 | 455 | 433 | 276 | 89 | 0 | 227 | 211 | 339 | 448 | 319 | 9 | 245 | 6935
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 4 Mon: 2.5308; 5 Tue: 1.7201; 6 Wed: 4.8024; 7 Thu: 2.856; 8 Fri: 2.1877; 13 Wed: 3.9541; 14 Thu: 4.9656; 15 Fri: 3.1219; 18 Mon: 4.2215; 19 Tue: 10.8399; 20 Wed: 3.6231; 21 Thu: 2.1821; 22 Fri: 5.7201; 1904-12-04 27 Wed: 6.8068; 1904-12-04 28 Thu: 3.4596; 1904-12-04 29 Fri: 3.6817; 1904-12-04 31 Sun: 0 | 4.3105 | 3.2 | -1.1105
Spent Grains/Wash-down Areas | [31 empty] | 0.28984 | 0.1 | -0.18984
Whirlpool | 4 Mon: 0; 5 Tue: 0; 6 Wed: 0; 7 Thu: 0; 8 Fri: 0; 13 Wed: 0; 14 Thu: 0; 15 Fri: 0; 18 Mon: 0; 19 Tue: 0; 20 Wed: 0; 21 Thu: 0; 22 Fri: 0; 1904-12-04 27 Wed: 0; 1904-12-04 28 Thu: 0; 1904-12-04 29 Fri: 0; 1904-12-04 31 Sun: 0 | 0 | 0.1 | 0.1
Cellars/Filtration | 4 Mon: 0; 5 Tue: 0; 6 Wed: 0; 7 Thu: 0; 8 Fri: 0; 13 Wed: 0; 14 Thu: 0; 15 Fri: 0; 18 Mon: 0; 19 Tue: 0; 20 Wed: 0; 21 Thu: 0; 22 Fri: 0; 1904-12-04 27 Wed: 0; 1904-12-04 28 Thu: 0; 1904-12-04 29 Fri: 0; 1904-12-04 31 Sun: 0 | 0 | 0.7 | 0.7
Processing/Cellars | 4 Mon: 0; 5 Tue: 0; 6 Wed: 0; 7 Thu: 0; 8 Fri: 0; 13 Wed: 0; 14 Thu: 0; 15 Fri: 0; 18 Mon: 0; 19 Tue: 0; 20 Wed: 0; 21 Thu: 0; 22 Fri: 0; 1904-12-04 27 Wed: 0; 1904-12-04 28 Thu: 0; 1904-12-04 29 Fri: 0; 1904-12-04 31 Sun: 0 | 0 | 1 | 1
CIP Process | 4 Mon: 1.4641; 5 Tue: 0.9115; 6 Wed: 0.89499; 7 Thu: 0.85333; 8 Fri: 0.48818; 13 Wed: 2.3179; 14 Thu: 0.78404; 15 Fri: 0.90913; 18 Mon: 1.4342; 19 Tue: 2.5391; 20 Wed: 1.2015; 21 Thu: 0.85314; 22 Fri: 2.1965; 1904-12-04 27 Wed: 0.88237; 1904-12-04 28 Thu: 0.80895; 1904-12-04 29 Fri: 0.90816; 1904-12-04 31 Sun: 0 | 1.1717 | 0.7 | -0.47173
Bottles Washer | 4 Mon: 2.8655; 5 Tue: 1.7642; 6 Wed: 1.921; 7 Thu: 1.7067; 8 Fri: 1.6453; 13 Wed: 2.1475; 14 Thu: 1.8294; 15 Fri: 1.6467; 18 Mon: 4.6816; 19 Tue: 2.4903; 20 Wed: 2.514; 21 Thu: 3.1337; 22 Fri: 3.066; 1904-12-04 27 Wed: 4.4959; 1904-12-04 28 Thu: 2.2375; 1904-12-04 29 Fri: 1.9636; 1904-12-04 31 Sun: 10.6952 | 2.5179 | 2.1 | -0.41791
Bottle Filler | 4 Mon: 0.66931; 5 Tue: 0.35284; 6 Wed: 0.56755; 7 Thu: 0.50503; 8 Fri: 0.45201; 13 Wed: 1.5339; 14 Thu: 0.56625; 15 Fri: 0.46314; 18 Mon: 0.70359; 19 Tue: 0.87891; 20 Wed: 0.48061; 21 Thu: 0.4922; 22 Fri: 0.68642; 1904-12-04 27 Wed: 0.79833; 1904-12-04 28 Thu: 0.51635; 1904-12-04 29 Fri: 0.58908; 1904-12-04 31 Sun: 0 | 0.58655 | 0.7 | 0.11345
Pasteuriser | 4 Mon: 0; 5 Tue: 0; 6 Wed: 0; 7 Thu: 0.017415; 8 Fri: 0; 13 Wed: 0.20452; 14 Thu: 0; 15 Fri: 0; 18 Mon: 0.16237; 19 Tue: 0; 20 Wed: 0; 21 Thu: 0; 22 Fri: 0; 1904-12-04 27 Wed: 0.16807; 1904-12-04 28 Thu: 0.13769; 1904-12-04 29 Fri: 0.26999; 1904-12-04 31 Sun: 0 | 0.049452 | 0.1 | 0.050548
Boiler Supply | 4 Mon: 0.37649; 5 Tue: 0.20582; 6 Wed: 0.32744; 7 Thu: 0.38313; 8 Fri: 0.30737; 13 Wed: 0.78399; 14 Thu: 0.60981; 15 Fri: 0.48029; 18 Mon: 0.78477; 19 Tue: 1.2695; 20 Wed: 0.59152; 21 Thu: 0.44298; 22 Fri: 0.96098; 1904-12-04 27 Wed: 1.0925; 1904-12-04 28 Thu: 0.55078; 1904-12-04 29 Fri: 0.41726; 1904-12-04 31 Sun: 0.3241 | 0.60029 | 0.6 | -0.0002884
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit | 4 Mon: 0; 5 Tue: 0; 6 Wed: 0; 7 Thu: 0; 8 Fri: 0; 13 Wed: 0; 14 Thu: 0; 15 Fri: 0; 18 Mon: 0; 19 Tue: 0; 20 Wed: 0; 21 Thu: 0; 22 Fri: 0; 1904-12-04 27 Wed: 0; 1904-12-04 28 Thu: 0; 1904-12-04 29 Fri: 0; 1904-12-04 31 Sun: 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 0 | 7.9062 | 4.9545 | 8.5133 | 6.3216 | 5.0806 | 0 | 0 | 0 | 0 | 10.9418 | 8.7551 | 6.6212 | 0 | 0 | 11.9881 | 18.0178 | 8.4107 | 7.1041 | 12.6301 | 0 | 0 | 0 | 0 | 14.2439 | 7.7109 | 7.8298 | 0 | 11.0193 | 9.5263 | 9.6 | 0.073684
Bottling Hall water | 0 | 0 | 0 | 3.5348 | 2.117 | 2.4885 | 2.2291 | 2.0973 | 0 | 0 | 0 | 0 | 3.8859 | 2.3957 | 2.1099 | 0 | 0 | 5.5475 | 3.3692 | 2.9946 | 3.6259 | 3.7524 | 0 | 0 | 0 | 0 | 5.4623 | 2.8916 | 2.8227 | 0 | 10.6952 | 3.1539 | 2.9 | -0.25392
Water Plant Total (Before Sand Filter) | 96 | 0 | 0 | 243 | 139 | 152 | 216 | 160 | 35 | 110 | 0 | 0 | 146 | 248 | 259 | 114 | 57 | 224 | 216 | 49 | 287 | 110 | 66 | 0 | 105 | 156 | 190 | 255 | 96 | 79 | 30 | 3838
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 2000 | 2400 | 1200 | 2500 | 2000 | 0 | 1100 | 0 | 0 | 1200 | 1600 | 2200 | 0 | 0 | 2400 | 3950 | 1600 | 2400 | 1700 | 0 | 0 | 800 | 223 | 900 | 3200 | 1700 | 0 | 0 | 35073
CO2 meter | 0 | 0 | 19.39 | 2029.64 | 2577.06 | 1753.7 | 2309.38 | 2052.93 | 0 | 0 | 0 | 1.89 | 1322.48 | 2060.16 | 2019.92 | 0 | 0 | 1666.1 | 1808.15 | 2086.6 | 2727.89 | 998.46 | 0 | 0 | 80.63 | 222.79 | 1222.55 | 2988.34 | 1870.5 | 0 | 0 | 31818.56
CO2 (kg.) (Filler) | 0 | 0 | 0 | 325.01 | 381.24 | 251.32 | 352.59 | 291.43 | 0 | 0 | 0 | 0 | 216.14 | 297.14 | 326.08 | 0 | 0 | 243.53 | 163.62 | 280.53 | 379.27 | 151.07 | 0 | 0 | 0 | 0 | 209.37 | 389.75 | 295.47 | 0 | 0 | 4553.56
CO2 (kg.) (BMF) | 0 | 0 | 0 | 50.99 | 49.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.55 | 0 | 32.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
CO2 (kg.)Consumption Meter | 0 | 0 | 19.39 | 2029.64 | 2577.06 | 1753.7 | 2309.38 | 2052.93 | 0 | 0 |  | 1.89 |  | 2060.16 | 2019.92 | 0 | 0 | 0 | 64 | 48 | 174 | 194 | 236 | 0 | 156 | 0 | 6 | 224 | 173 | 17474.55 | 0
Electricity (Kwh.) | 5595 | 3511 | 5388 | 9978 | 8591 | 8924 | 9260 | 8716 | 4648 | 5837 | 4065 | 4707 | 7337 | 9374 | 9628 | 5885 | 5181 | 9204 | 8970 | 9381 | 9036 | 7636 | 5222 | 4739 | 6852 | 6833 | 8653 | 9414 | 9096 | 4569 | 5147 | 221377
Fuel (L) | 0 | 0 | 750 | 3500 | 2570 | 3450 | 3230 | 2580 | 0 | 410 | 0 | 850 | 2700 | 2980 | 3330 | 1080 | 740 | 3380 | 3110 | 3180 | 3090 | 2400 | 900 | 50 | 1880 | 2300 | 3400 | 3740 | 2490 | 240 | 520 | 58850
Steam Mass Flow | 0 | 0 | 0 | 104.239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.962 | 0 | 78.725 | 0 | 0 | 0 | 0 | 52.87 | 0 | 0 | 731.915 | 0 | 0 | 100 | 700 | 1310.869 | 4.911 | 0 | 0 | 0 | 3184.491
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption | 4 Mon: 4.8525; 5 Tue: 6.3805; 6 Wed: 11.6567; 7 Thu: 6.8092; 8 Fri: 4.0862; 13 Wed: 11.5554; 14 Thu: 9.7787; 15 Fri: 8.9026; 18 Mon: 9.9585; 19 Tue: 17.4318; 20 Wed: 8.0964; 21 Thu: 9.0565; 22 Fri: 14.0029; 1904-12-04 27 Wed: 15.5045; 1904-12-04 28 Thu: 7.9174; 1904-12-04 29 Fri: 5.179; 1904-12-04 31 Sun: 0 | 9.9178 | 10.2 | 0.28219 | 97.2334
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 4 Mon: 4.1832; 5 Tue: 3.5284; 6 Wed: 2.6195; 7 Thu: 4.3537; 8 Fri: 3.6161; 13 Wed: 4.0904; 14 Thu: 3.4846; 15 Fri: 3.7737; 18 Mon: 6.4947; 19 Tue: 19.2873; 20 Wed: 2.9576; 21 Thu: 3.9376; 22 Fri: 7.7794; 1904-12-04 27 Wed: 3.7816; 1904-12-04 28 Thu: 5.5078; 1904-12-04 29 Fri: 4.1726; 1904-12-04 31 Sun: 0 | 4.8178 | 5 | 0.18217 | 96.3566
CO2 Filler (kg./Hl.) KPI | 4 Mon: 0.67979; 5 Tue: 0.56049; 6 Wed: 0.54861; 7 Thu: 0.61403; 8 Fri: 0.52692; 13 Wed: 0.73675; 14 Thu: 0.64714; 15 Fri: 0.55934; 18 Mon: 0.65902; 19 Tue: 0.79893; 20 Wed: 0.51856; 21 Thu: 0.62225; 22 Fri: 0.69131; 1904-12-04 27 Wed: 0.87972; 1904-12-04 28 Thu: 0.67083; 1904-12-04 29 Fri: 0.72523; 1904-12-04 31 Sun: 0 | 0.6255 | 1.7 | 1.0745 | 36.7943
Electricity (Kwh./Hl.) KPI | 4 Mon: 20.8699; 5 Tue: 12.6302; 6 Wed: 19.4802; 7 Thu: 16.1261; 8 Fri: 15.759; 13 Wed: 25.0094; 14 Thu: 20.4155; 15 Fri: 16.5152; 18 Mon: 24.907; 19 Tue: 43.7993; 20 Wed: 17.3407; 21 Thu: 14.825; 22 Fri: 34.9432; 1904-12-04 27 Wed: 36.3578; 1904-12-04 28 Thu: 16.2032; 1904-12-04 29 Fri: 22.326; 1904-12-04 31 Sun: 166.8125 | 30.4096 | 22 | -8.4096 | 138.2256
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 4 Mon: 7.3206; 5 Tue: 3.7783; 6 Wed: 7.531; 7 Thu: 5.625; 8 Fri: 4.6648; 13 Wed: 9.2034; 14 Thu: 6.4901; 15 Fri: 5.7121; 18 Mon: 9.1467; 19 Tue: 15.1857; 20 Wed: 5.8782; 21 Thu: 5.0696; 22 Fri: 10.9827; 1904-12-04 27 Wed: 14.286; 1904-12-04 28 Thu: 6.4372; 1904-12-04 29 Fri: 6.1117; 1904-12-04 31 Sun: 16.853 | 8.084 | 7.2 | -0.88398 | 112.2774
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 50.99 | 49.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.55 | 0 | 32.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 4 Mon: 0%; 5 Tue: 0%; 19 Tue: 0%; 21 Thu: 0%; 1904-12-04 29 Fri: #REF!; 1904-12-04 30 Sat: #REF! | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | 1 Fri: _; 2 Sat: 0; 1904-12-04 27 Wed: _; 1904-12-04 28 Thu: _; 1904-12-04 31 Sun: _ | 0
| 5595 |  | 5388 | 9978 | 8591 | 8924 | 9260 | 8716 | 4648 | 5837 | 4065 | 4707 | 7337 | 9374 | 9628 | 5885 | 5181 | 9204 | 8970 | 9381 | 9036 | 7636 | 5222 | 4739 | 6852 | 6833 | 8653 | 9414 | 9096 | 4569 | 5147 | 221377
3511
Note on B7: Reshelle Fleming: Emancipation Day
Note on L8: Reshelle Fleming: Carnival
Note on Z8: Reshelle Fleming: Washer breakdown- Communication issues/Fault
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300Kgs Mobile approx. 18100 kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300Kgs Mobile approx. 18100 kgs
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300Kgs Mobile approx. 18100 kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300Kgs Mobile approx. 18100 kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 8500Kgs Mobile approx. 16900 kgs
Note on G74: Delano Pasea: Tank A 11400 kgs Tank B 3100 kgs (4050) Tank C 8500Kgs Mobile approx. 0 kgs
Note on H74: Delano Pasea: Tank A 11400 kgs Tank B 1900 kgs Tank C 8500Kgs Mobile approx. 0 kgs
Note on I74: Delano Pasea: Tank A 10800 kgs Tank B 0 kgs Tank C 8500Kgs Mobile approx. 19100 kgs
Note on J74: Delano Pasea: Tank A 8800 kgs Tank B 0 kgs Tank C 8500Kgs Mobile approx. 20200 kgs
Note on K74: Delano Pasea: Tank A 8800 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on N74: Delano Pasea: Tank A 8800 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on O74: Delano Pasea: Tank A 7600 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on P74: Delano Pasea: Tank A 6000 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on Q74: Delano Pasea: Tank A 3800 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on S74: Delano Pasea: Tank A 3800 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on T74: Delano Pasea: Tank A 1400 kgs Tank B 1750 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24000 Kgs Mobile approx. 0 kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx. 0 kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000 Kgs Mobile approx. 0 kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 18300 Kgs Mobile approx. 0 kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 18300 Kgs Mobile approx. 0 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 Kgs Mobile approx. 0 kgs
Note on AB74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 Kgs Mobile approx. 0 kgs
Note on AC74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 16600 Kgs Mobile approx. 0 kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx. 0 kgs
Note on AE74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11700 Kgs Mobile approx. 0 kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on Q76: Alexander Dominguez-Ramon: Another parameters change made around 2:00 pm.

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR JULY 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 189728 | 0 | -96 | 39473 | 1308183 | 96 | 97122 | 0 | 1308183 | -1308183 | -1308183 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 189728 | 15 | 15 | 0 | 1308279 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 30 |  |  | #DIV/0!
3 | 189743 | 1 | 1 | 0 | 1308279 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  |  | #DIV/0!
4 | 189744 | 0 | -243 | 0 | 1308279 | 243 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 0 |  |  | #DIV/0!
5 | 189744 | 307 | 168 | 0 | 1308522 | 139 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 614 |  |  | #DIV/0!
6 | 190051 | 383 | 231 | 0 | 1308661 | 152 | 97122 | 0 | 0 | 21119 | 21119 | 0 | 26 | 766 |  |  | #DIV/0!
7 | 190434 | 186 | -30 | 0 | 1308813 | 216 | 97122 | 0 | 21119 | -21119 | -21119 | 0 | 29 | 372 |  |  | #DIV/0!
8 | 190620 | 104 | -56 | 0 | 1309029 | 160 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 208 |  |  | #DIV/0!
9 | 190724 | 0 | -35 | 0 | 1309189 | 35 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
10 | 190724 | 0 | -110 | 0 | 1309224 | 110 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
11 | 190724 | 0 | 0 | 0 | 1309334 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 190724 | 0 | 0 | 0 | 1309334 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
13 | 190724 | 199 | 53 | 0 | 1309334 | 146 | 97122 | 0 | 0 | 0 | 0 | 0 | 45 | 398 |  |  | #DIV/0!
14 | 190923 | 219 | -29 | 0 | 1309480 | 248 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 438 |  |  | #DIV/0!
15 | 191142 | 265 | 6 | 0 | 1309728 | 259 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 530 |  |  | #DIV/0!
16 | 191407 | 20 | -94 | 0 | 1309987 | 114 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 40 |  |  | #DIV/0!
17 | 191427 | 64 | 7 | 0 | 1310101 | 57 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 128 |  |  | #DIV/0!
18 | 191491 | 174 | -50 | 0 | 1310158 | 224 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 348 |  |  | #DIV/0!
19 | 191665 | 125 | -91 | 0 | 1310382 | 216 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 250 |  |  | #DIV/0!
20 | 191790 | 391 | 342 | 0 | 1310598 | 49 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 782 |  |  | #DIV/0!
21 | 192181 | 277 | -10 | 0 | 1310647 | 287 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 554 |  |  | #DIV/0!
22 | 192458 | 203 | 93 | 0 | 1310934 | 110 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 406 |  |  | #DIV/0!
23 | 192661 | 0 | -66 | 0 | 1311044 | 66 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 0 |  |  | #DIV/0!
24 | 192661 | 0 | 0 | 0 | 1311110 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
25 | 192661 | 121 | 16 | 0 | 1311110 | 105 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 242 |  |  | #DIV/0!
26 | 192782 | 12 | -144 | 0 | 1311215 | 156 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 24 |  |  | #DIV/0!
27 | 192794 | 186 | -4 | 0 | 1311371 | 190 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 372 |  |  | #DIV/0!
28 | 192980 | 220 | -35 | 0 | 1311561 | 255 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 440 |  |  | #DIV/0!
| 193200 |  | 0 |  | 1311816 |  | 97122
Total |  | 3472 | -161 |  |  | 3633 |  | 0 | 1329302 | -1308183 | -1308183 | 0 | 403 | 6944 | 0 | 0 | #DIV/0!