## Entries December'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (FILTRATION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 7825550 |  |  | 64 | 6790.6 | 68225 |  | 129866 |  | 468000 | 6015.1 | 199070.83 | 31301.52 | 207339 | 45518 | 935429 |  | 66072 |  | 21879 | 1324115 |  | 40013 | 47792 | 10423 | 97122 |  | 2184 | 261383 | [5 empty] | 7316083.74
2 | 7828340 |  |  | 64 | 6809.4 | 68225 |  | 136224 |  | 468000 | 6240.02 | 201685.73 | 31865.52 | 207437 | 45661 | 935697 |  | 66100 |  | 21897 | 1324266 |  | 40041 | 47959 | 10483 | 97122 |  | 2211 | 261383 | [5 empty] | 7316155.056
3 | 7831470 |  |  | 64 | 6830.2 | 68225 |  | 142660 |  | 468000 | 6298.44 | 202905.14 | 32128.58 | 207675 | 45792 | 935862 |  | 66252 |  | 21904 | 1324403 |  | 40044 | 48043 | 10531 | 97122 |  | 2225 | 261383 | [5 empty] | 7316155.056
4 | 7834620 |  |  | 64 | 6849.8 | 68225 |  | 150220 |  | 468000 | 6357.95 | 205059 | 32501.08 | 207814 | 46001 | 936091 |  | 66369 |  | 21914 | 1324621 |  | 40069 | 48161 | 10608 | 97122 |  | 2255 | 261424 | [5 empty] | 7316155.056
5 | 7837540 |  |  | 64 | 6868 | 68225 |  | 158246 |  | 468000 | 6449.7 | 206755.69 | 32797.96 | 208018 | 46222 | 936317 |  | 66509 |  | 21921 | 1324862 |  | 40123 | 48246 | 10662 | 97122 |  | 2282 | 261445 | [5 empty] | 7316155.056
6 | 7840360 |  |  | 64 | 6886.8 | 68225 |  | 164131 |  | 468000 | 6696.03 | 208492.86 | 33098.96 | 208175 | 46467 | 936514 |  | 66592 |  | 21927 | 1325109 |  | 40152 | 48338 | 10710 | 97122 |  | 2299 | 261493 | [5 empty] | 7316155.056
7 | 7843730 |  |  | 64 | 6908.4 | 68225 |  | 170956 |  | 468000 | 6935.71 | 210263.42 | 33424 | 208375 | 46632 | 936721 |  | 66714 |  | 21941 | 1325283 |  | 40185 | 48439 | 10757 | 97122 |  | 2316 | 261443 | [5 empty] | 7316155.056
8 | 7847150 |  |  | 64 | 6930.2 | 68225 |  | 178510 |  | 468000 | 7120.07 | 212592.33 | 33787.57 | 208458 | 46788 | 936907 |  | 66833 |  | 21947 | 1325446 |  | 40197 | 48544 | 10790 | 97122 |  | 2339 | 261443 | [5 empty] | 7316155.056
9 | 7850780 |  |  | 64 | 6951.8 | 68225 |  | 185840 |  | 468000 | 7303.6 | 215098.28 | 34264.88 | 208501 | 47067 | 937158 |  | 66929 |  | 21951 | 1325738 |  | 40249 | 48654 | 10818 | 97122 |  | 2367 | 261443 | [5 empty] | 7316155.056
10 | 7853640 |  |  | 64 | 6969.9 | 68225 |  | 192265 |  | 468000 | 7436.3 | 216655.69 | 34532.83 | 208597 | 47257 | 937345 |  | 67093 |  | 21954 | 1325937 |  | 40262 | 48744 | 10842 | 97122 |  | 2385 | 261443 | [5 empty] | 7316155.056
11 | 7857440 |  |  | 64 | 6992.8 | 68225 |  | 200753 |  | 468000 | 7507.07 | 219974.23 | 35007.93 | 208864 | 47533 | 937678 |  | 67258 |  | 21964 | 1326228 |  | 40321 | 48887 | 10874 | 97122 |  | 2412 | 261505 | [5 empty] | 7316155.056
12 | 7860120 |  |  | 64 | 7010.3 | 68225 |  | 207485 |  | 468000 | 7717.82 | 222404.34 | 35332.72 | 209065 | 47788 | 937913 |  | 67339 |  | 21982 | 1326495 |  | 40342 | 49018 | 10899 | 97122 |  | 2433 | 261596 | [5 empty] | 7316155.056
13 | 7863210 |  |  | 64 | 7028.7 | 68225 |  | 214105 |  | 468000 | 7940.39 | 224669.91 | 35661.23 | 209127 | 47963 | 938114 |  | 67471 |  | 21993 | 1326678 |  | 40370 | 49100 | 10925 | 97122 |  | 2467 | 261596 | [5 empty] | 7316155.056
14 | 7864680 |  |  | 64 | 7039 | 68225 |  | 218624 |  | 468000 | 7940.46 | 225624.94 | 35899.77 | 209127 | 48109 | 938285 |  | 67471 |  | 21997 | 1326831 |  | 40380 | 49195 | 10941 | 97122 |  | 2476 | 261596 | [5 empty] | 7316225.616
15 | 7866820 |  |  | 64 | 7053.8 | 68225 |  | 224011 |  | 468000 | 8246.26 | 228117.9 | 36276.87 | 209215 | 48355 | 938519 |  | 67476 |  | 22005 | 1327089 |  | 40416 | 49305 | 10965 | 97122 |  | 2496 | 261596 | [5 empty] | 7316225.616
16 | 7869890 |  |  | 64 | 7072.2 | 68225 |  | 230120 |  | 468000 | 8429.34 | 230869.38 | 36793.86 | 209406 | 48486 | 938775 |  | 67603 |  | 22010 | 1327226 |  | 40474 | 49401 | 10993 | 97122 |  | 2518 | 261609 | [5 empty] | 7316250.739
17 | 7873450 |  |  | 64 | 7094.6 | 68225 |  | 239036 |  | 468000 | 8567.29 | 233296.23 | 37204.91 | 209648 | 48603 | 939061 |  | 67799 |  | 22026 | 1327348 |  | 40507 | 49534 | 11020 | 97122 |  | 2548 | 261609 | [5 empty] | 7316250.739
18 | 7876710 |  |  | 64 | 7114.3 | 68225 |  | 245851 |  | 468000 | 8681.35 | 235897.97 | 37625.91 | 209963 | 48766 | 939295 |  | 67951 |  | 22034 | 1327520 |  | 40537 | 49637 | 11047 | 97122 |  | 2577 | 261621 | [5 empty] | 7316250.739
19 | 7880240 |  |  | 64 | 7136.3 | 68225 |  | 253296 |  | 468000 | 8902.61 | 238491.81 | 38036.55 | 210138 | 48969 | 939642 |  | 68118 |  | 22039 | 1327731 |  | 40577 | 49827 | 11074 | 97122 |  | 2604 | 261621 | [5 empty] | 7316250.739
20 | 7882660 |  |  | 64 | 7152.7 | 68225 |  | 260193 |  | 468000 | 9204.2 | 241023.14 | 38439.04 | 210267 | 49267 | 939926 |  | 68129 |  | 22039 | 1327731 |  | 40629 | 50004 | 11100 | 97122 |  | 2630 | 261621 | [5 empty] | 7316250.739
21 | 7882790 |  |  | 64 | 7153.5 | 68225 |  | 264127 |  | 468000 | 9204.2 | 241023.14 | 38439.04 | 210271 | 49394 | 939995 |  | 68129 |  | 22039 | 1328177 |  | 40629 | 50039 | 11100 | 97122 |  | 2632 | 261621 | [5 empty] | 7316250.739
22 | 7883490 |  |  | 64 | 7158.8 | 68225 |  | 266693 |  | 468000 | 9204.2 | 241023.14 | 38439.04 | 210286 | 49396 | 940014 |  | 68129 |  | 22039 | 1328177 |  | 40629 | 50043 | 11110 | 97122 |  | 2632 | 261621 | [5 empty] | 7316250.739
23 | 7886090 |  |  | 64 | 7176.6 | 68225 |  | 273039 |  | 468000 | 9339.05 | 243657.88 | 38896.63 | 210415 | 49617 | 940341 |  | 68129 |  | 22045 | 1328411 |  | 40629 | 50260 | 11139 | 97122 |  | 2661 | 261621 | [5 empty] | 7316250.739
24 | 7888790 |  |  | 64 | 7194.6 | 68225 |  | 279559 |  | 468000 | 9569.97 | 246365.63 | 39414.34 | 210670 | 49734 | 940688 |  | 68160 |  | 22055 | 1328534 |  | 40690 | 50452 | 11168 | 97122 |  | 2692 | 261621 | [5 empty] | 7316250.739
25 | 7891060 |  |  | 64 | 7209.3 | 68225 |  | 284741 |  | 468000 | 9668.86 | 248190.95 | 39580.39 | 210903 | 49819 | 940904 |  | 68160 |  | 22059 | 1328623 |  | 40733 | 50548 | 11189 | 97122 |  | 2711 | 261621 | [5 empty] | 7316252.98
26 | 7891060 |  |  | 64 | 7209.3 | 68225 |  | 288619 |  | 468000 | 9668.86 | 248190.95 | 39580.39 | 210903 | 49819 | 940919 |  | 68241 |  | 22059 | 1328623 |  | 40733 | 50548 | 11190 | 97122 |  | 2711 | 261621 | [5 empty] | 7316252.98
27 | 7891060 |  |  | 64 | 7209.3 | 68225 |  | 292148 |  | 468000 | 9668.86 | 248190.95 | 39580.39 | 210931 | 49895 | 940927 |  | 68241 |  | 22059 | 1328702 |  | 40733 | 50548 | 11190 | 97122 |  | 2711 | 261621 | [5 empty] | 7316252.98
28 | 7891060 |  |  | 64 | 7209.3 | 68225 |  | 296014 |  | 468000 | 9668.86 | 248190.95 | 39580.39 | 210931 | 49895 | 940940 |  | 68241 |  | 22059 | 1328702 |  | 40733 | 50548 | 11190 | 97122 |  | 2711 | 261621 | [5 empty] | 7316252.98
29 | 7892080 |  |  | 64 | 7215.1 | 68225 |  | 299515 |  | 468000 | 9668.86 | 248190.95 | 39580.39 | 210931 | 49895 | 940968 |  | 68241 |  | 22059 | 1328702 |  | 40733 | 50548 | 11200 | 97122 |  | 2711 | 261621 | [5 empty] | 7316252.98
30 | 7895310 |  |  | 64 | 7234.6 | 68225 |  | 306556 |  | 468000 | 9942.44 | 250307.66 | 39832.17 | 211167 | 50086 | 941301 |  | 68362 |  | 22071 | 1328850 |  | 40794 | 50710 | 11228 | 97122 |  | 2737 | 261621 | [5 empty] | 7316252.98
31 | 7898970 |  |  | 64 | 7255.9 | 68225 |  | 314362 |  | 468000 | 10133.15 | 252625.65 | 40224.63 | 211349 | 50255 | 941597 |  | 68547 |  | 22071 | 1329081 |  | 40851 | 50868 | 11251 | 97122 |  | 2766 | 261621 | [5 empty] | 7316252.98
1 | 7901540 |  |  | 64 | 7271.9 | 68225 |  | 321444 |  | 468000 | 10303.43 | 254572.72 | 40557.95 | 211566 | 50353 | 941791 |  | 68637 |  | 22072 | 1329822 |  | 40874 | 50971 | 11281 | 97122 |  | 2788 | 261621 | [5 empty] | 7335297

## Utility Analysis December'25
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [8 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB |  | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 |  |  | TOTAL (KWH) | [11 empty] | Elect | Water | Fuel | CO2
[7 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 6358 | 0 | 6358 | 1096.9 | 7454.9 | 14.71% | 0 | 6358 | 2410 | 2790 | 3000 | 0 | 0 | 0 | 0 | 455.136 | 13.9695 | 5.2951 | 6.13 | 6.5914
2 | 6436 | 0 | 6436 | 891.6 | 7327.6 | 12.17% | 0 | 6436 | 3690 | 3130 | 1200 | 0 | 0 | 0 | 0 | 211.926 | 30.3691 | 17.4117 | 14.7693 | 5.6624
3 | 7560 | 0 | 7560 | 373.6 | 7933.6 | 4.709% | 0 | 7560 | 3480 | 3150 | 1700 | 0 | 0 | 0 | 0 | 346.5 | 21.8182 | 10.0433 | 9.0909 | 4.9062
4 | 8026 | 0 | 8026 | 501.5 | 8527.5 | 5.881% | 0 | 8026 | 4250 | 2920 | 1600 | 0 | 0 | 0 | 0 | 253.836 | 31.6188 | 16.7431 | 11.5035 | 6.3033
5 | 5885 | 0 | 5885 | 1161.1 | 7046.1 | 16.48% | 0 | 5885 | 4020 | 2820 | 1600 | 0 | 0 | 0 | 0 | 262.746 | 22.3981 | 15.2999 | 10.7328 | 6.0895
6 | 6825 | 0 | 6825 | 1390.7 | 8215.7 | 16.93% | 0 | 6825 | 3650 | 3370 | 800 | 0 | 0 | 0 | 0 | 302.676 | 22.5489 | 12.0591 | 11.134 | 2.6431
7 | 7554 | 0 | 7554 | 808.8 | 8362.8 | 9.671% | 0 | 7554 | 2390 | 3420 | 2900 | 0 | 0 | 0 | 0 | 388.5504 | 19.4415 | 6.1511 | 8.8019 | 7.4636
8 | 7330 | 0 | 7330 | 1313.3 | 8643.3 | 15.19% | 0 | 7330 | 3220 | 3630 | 2000 | 0 | 0 | 0 | 0 | 447.8844 | 16.3658 | 7.1894 | 8.1048 | 4.4654
9 | 6425 | 0 | 6425 | 1380 | 7805 | 17.68% | 0 | 6425 | 2860 | 2860 | 900 | 0 | 0 | 0 | 0 | 214.764 | 29.9166 | 13.3169 | 13.3169 | 4.1906
10 | 8488 | 0 | 8488 | 1372.1 | 9860.1 | 13.92% | 0 | 8488 | 5430 | 3800 | 4800 | 0 | 0 | 0 | 0 | 437.052 | 19.421 | 12.4242 | 8.6946 | 10.9827
11 | 6732 | 0 | 6732 | 1466.4 | 8198.4 | 17.89% | 0 | 6732 | 4560 | 2680 | 2000 | 0 | 0 | 0 | 0 | 332.838 | 20.2261 | 13.7004 | 8.052 | 6.0089
12 | 6620 | 0 | 6620 | 1166.2 | 7786.2 | 14.98% | 0 | 6620 | 2370 | 3090 | 1600 | 0 | 0 | 0 | 0 | 259.05 | 25.5549 | 9.1488 | 11.9282 | 6.1764
13 | 4519 | 0 | 4519 | 1223.1 | 5742.1 | 21.3% | 0 | 4519 | 1460 | 1470 | 200 | 0 | 0 | 0 | 0 | 190.608 | 23.7083 | 7.6597 | 7.7122 | 1.0493
14 | 5387 | 0 | 5387 | 1296.5 | 6683.5 | 19.4% | 0 | 5387 | 3340 | 2140 | 2300 | 0 | 0 | 0 | 0 | 389.154 | 13.8428 | 8.5827 | 5.4991 | 5.9103
15 | 6109 | 0 | 6109 | 1397.4 | 7506.4 | 18.62% | 0 | 6109 | 3220 | 3070 | 2500 | 0 | 0 | 0 | 0 | 369.456 | 16.5351 | 8.7155 | 8.3095 | 6.7667
16 | 8916 | 0 | 8916 | 1388.8 | 10304.8 | 13.48% | 0 | 8916 | 3590 | 3560 | 2400 | 0 | 0 | 0 | 0 | 362.802 | 24.5754 | 9.8952 | 9.8125 | 6.6152
17 | 6815 | 0 | 6815 | 1363 | 8178 | 16.67% | 0 | 6815 | 4780 | 3260 | 2500 | 0 | 0 | 0 | 0 | 489.06 | 13.9349 | 9.7739 | 6.6658 | 5.1118
18 | 7445 | 0 | 7445 | 1360.6 | 8805.6 | 15.45% | 0 | 7445 | 3780 | 3530 | 2500 | 0 | 0 | 0 | 0 | 459.624 | 16.198 | 8.2241 | 7.6802 | 5.4392
19 | 6897 | 0 | 6897 | 1198.5 | 8095.5 | 14.8% | 0 | 6897 | 4270 | 2420 | 2400 | 0 | 0 | 0 | 0 | 479.226 | 14.392 | 8.9102 | 5.0498 | 5.0081
20 | 3934 | 0 | 3934 | 1296.2 | 5230.2 | 24.78% | 0 | 3934 | 1310 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 2566 | 0 | 2566 | 1208.3 | 3774.3 | 32.01% | 0 | 2566 | 170 | 700 | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 6346 | 0 | 6346 | 1270.4 | 7616.4 | 16.68% | 0 | 6346 | 3500 | 2600 | 2600 | 0 | 0 | 0 | 0 | 542.982 | 11.6873 | 6.4459 | 4.7884 | 4.7884
23 | 6520 | 0 | 6520 | 1092.8 | 7612.8 | 14.35% | 0 | 6520 | 3720 | 2700 | 2700 | 0 | 0 | 0 | 0 | 451.638 | 14.4363 | 8.2367 | 5.9782 | 5.9782
24 | 5182 | 0 | 5182 | 1035.9 | 6217.9 | 16.66% | 0 | 5182 | 3180 | 2270 | 2100 | 0 | 0 | 0 | 0 | 292.38 | 17.7235 | 10.8763 | 7.7639 | 7.1824
25 | 3878 | 0 | 3878 | 1114.7 | 4992.7 | 22.33% | 0 | 3878 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 3529 | 0 | 3529 | 469.1 | 3998.1 | 11.73% | 0 | 3529 | 1040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 3866 | 0 | 3866 | 1324.5 | 5190.5 | 25.52% | 0 | 3866 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 3501 | 0 | 3501 | 561.6 | 4062.6 | 13.82% | 0 | 3501 | 0 | 1020 | 0 | 0 | 0 | 0 | 0 | 15.4275 | 226.9324 | 0 | 0 | 0
29 | 7041 | 0 | 7041 | 975.5 | 8016.5 | 12.17% | 0 | 7041 | 4270 | 3230 | 2400 | 0 | 0 | 0 | 0 | 373.23 | 18.865 | 11.4407 | 8.6542 | 6.4304
30 | 7806 | 0 | 7806 | 1196.3 | 9002.3 | 13.29% | 0 | 7806 | 3510 | 3660 | 1700 | 0 | 0 | 0 | 0 | 513.018 | 15.2158 | 6.8419 | 7.1343 | 3.3137
31 | 7082 | 0 | 7082 | 1307.3 | 8389.3 | 15.58% | 0 | 7082 | 3150 | 2570 | 1600 |  |  |  |  | 430.518 | 16.45 | 7.3168 | 5.9696 | 3.7165
MTD
|  |  | Kwhr |  |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 191578 | 35002.7 | 226580.7 | 15.45% | 0 | 191578 | 90620 | 75990 | 54700 | 0 | 0 | 0 | 0 | 9272.0823 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[17 empty] | 20.6618 | 9.7734 | 8.1956 | 5.8994

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 71.316
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 70.56
14 | 0
15 | 25.123
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 2.241
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 19044.02
19213.26

## Fuel
DAILY FUEL CONSUMPTION FOR DECEMBER 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 2790 | 18.8 | 0 | 0 |  |  | 148.4043 | 0 | 0 | 2790 | 455.136 | 6.13
2 | 3130 | 20.8 | 0 | 0 |  |  | 150.4808 | 0 | 0 | 3130 | 211.926 | 14.7693
3 | 3150 | 19.6 | 0 | 0 |  |  | 160.7143 | 0 | 0 | 3150 | 346.5 | 9.0909
4 | 2920 | 18.2 | 0 | 0 |  |  | 160.4396 | 0 | 0 | 2920 | 253.836 | 11.5035
5 | 2820 | 18.8 | 0 | 0 |  |  | 150 | 0 | 0 | 2820 | 262.746 | 10.7328
6 | 3370 | 21.6 | 0 | 0 |  |  | 156.0185 | 0 | 0 | 3370 | 302.676 | 11.134
7 | 3420 | 21.8 | 0 | 0 |  |  | 156.8807 | 0 | 0 | 3420 | 388.5504 | 8.8019
8 | 3630 | 21.6 | 0 | 0 |  |  | 168.0556 | 0 | 0 | 3630 | 447.8844 | 8.1048
9 | 2860 | 18.1 | 0 | 0 |  |  | 158.011 | 0 | 0 | 2860 | 214.764 | 13.3169
10 | 3800 | 22.9 | 0 | 0 |  |  | 165.9389 | 0 | 0 | 3800 | 437.052 | 8.6946
11 | 2680 | 17.5 | 0 | 0 |  |  | 153.1429 | 0 | 0 | 2680 | 332.838 | 8.052
12 | 3090 | 18.4 | 0 | 0 |  |  | 167.9348 | 0 | 0 | 3090 | 259.05 | 11.9282
13 | 1470 | 10.3 | 0 | 0 |  |  | 142.7184 | 0 | 0 | 1470 | 190.608 | 7.7122
14 | 2140 | 14.8 | 0 | 0 |  |  | 144.5946 | 0 | 0 | 2140 | 389.154 | 5.4991
15 | 3070 | 18.4 | 0 | 0 |  |  | 166.8478 | 0 | 0 | 3070 | 369.456 | 8.3095
16 | 3560 | 22.4 | 0 | 0 |  |  | 158.9286 | 0 | 0 | 3560 | 362.802 | 9.8125
17 | 3260 | 19.7 | 0 | 0 |  |  | 165.4822 | 0 | 0 | 3260 | 489.06 | 6.6658
18 | 3530 | 22 | 0 | 0 |  |  | 160.4545 | 0 | 0 | 3530 | 459.624 | 7.6802
19 | 2420 | 16.4 | 0 | 0 |  |  | 147.561 | 0 | 0 | 2420 | 479.226 | 5.0498
20 | 130 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 130 | 0 | 0
21 | 700 | 5.3 | 0 | 0 |  |  | 132.0755 | 0 | 0 | 700 | 0 | 0
22 | 2600 | 17.8 | 0 | 0 |  |  | 146.0674 | 0 | 0 | 2600 | 542.982 | 4.7884
23 | 2700 | 18 | 0 | 0 |  |  | 150 | 0 | 0 | 2700 | 451.638 | 5.9782
24 | 2270 | 14.7 | 0 | 0 |  |  | 154.4218 | 0 | 0 | 2270 | 292.38 | 7.7639
25 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
28 | 1020 | 5.8 | 0 | 0 |  |  | 175.8621 | 0 | 0 | 1020 | 15.4275 | 66.1157
29 | 3230 | 19.5 |  | 0 |  |  | 165.641 | 0 | 0 | 3230 | 373.23 | 8.6542
30 | 3660 | 21.3 |  | 0 |  |  | 171.831 | 0 | 0 | 3660 | 513.018 | 7.1343
31 | 2570 | 16 |  | 0 |  |  | 160.625 | 0 | 0 | 2570 | 430.518
MTD | 75990 | 480.5 | 0 | 0 |  |  | 158.1478 |  |  | 75990 | 9272.0823 | 8.1956 | 7.2 | 113.8274
AVE. | 2713.9286 | 17.7963 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 98 | 143 | 151 | 90 | 268 | 0 | 28 | 0 | 0 | 18 | 28 | 167 | 27 | 60 | 0 | 900 | 213 | 27 | 0 | 0 | 0 | 0 | 241 | 455.136 | 5.2951
| 2 | 0 | 238 | 131 | 137 | 232 | 165 | 0 | 152 | 0 | 0 | 7 | 3 | 84 | 14 | 48 | 0 | 2320 | 94 | 14 | 0 | 0 | 0 | 0 | 369 | 211.926 | 17.4117
| 3 | 0 | 139 | 209 | 218 | 130 | 229 | 0 | 117 | 0 | 0 | 10 | 25 | 118 | 30 | 77 | 0 | 1300 | 153 | 30 | 41 | 0 | 0 | 0 | 348 | 346.5 | 10.0433
| 4 | 0 | 204 | 221 | 241 | 184 | 226 | 0 | 140 | 0 | 0 | 7 | 54 | 85 | 27 | 54 | 0 | 1840 | 146 | 27 | 21 | 0 | 0 | 0 | 425 | 253.836 | 16.7431
| 5 | 0 | 157 | 245 | 247 | 155 | 197 | 0 | 83 | 0 | 0 | 6 | 29 | 92 | 17 | 48 | 0 | 1550 | 127 | 17 | 48 | 0 | 0 | 0 | 402 | 262.746 | 15.2999
| 6 | 0 | 200 | 165 | 174 | 191 | 207 | 0 | 122 | 0 | 0 | 14 | 33 | 101 | 17 | 47 | 0 | 1910 | 148 | 17 | 0 | 0 | 0 | 0 | 365 | 302.676 | 12.0591
| 7 | 0 | 83 | 156 | 163 | 76 | 186 | 0 | 119 | 0 | 0 | 6 | 12 | 105 | 23 | 33 | 0 | 760 | 123 | 23 | 0 | 0 | 0 | 0 | 239 | 388.5504 | 6.1511
| 8 | 0 | 43 | 279 | 292 | 30 | 251 | 0 | 96 | 0 | 0 | 4 | 52 | 110 | 28 | 28 | 0 | 300 | 166 | 28 | 0 | 0 | 0 | 0 | 322 | 447.8844 | 7.1894
| 9 | 0 | 96 | 190 | 199 | 87 | 187 | 0 | 164 | 0 | 0 | 3 | 13 | 90 | 18 | 24 | 0 | 870 | 106 | 18 | 0 | 0 | 0 | 0 | 286 | 214.764 | 13.3169
| 10 | 0 | 267 | 276 | 291 | 252 | 333 | 0 | 165 | 0 | 0 | 10 | 59 | 143 | 27 | 32 | 0 | 2520 | 212 | 27 | 62 | 0 | 0 | 0 | 543 | 437.052 | 12.4242
| 11 | 0 | 201 | 255 | 267 | 189 | 235 | 0 | 81 | 0 | 0 | 18 | 21 | 131 | 21 | 25 | 0 | 1890 | 170 | 21 | 91 | 0 | 0 | 0 | 456 | 332.838 | 13.7004
| 12 | 0 | 62 | 175 | 183 | 54 | 201 | 0 | 132 | 0 | 0 | 11 | 28 | 82 | 34 | 26 | 0 | 540 | 121 | 34 | 0 | 0 | 0 | 0 | 237 | 259.05 | 9.1488
| 13 | 0 | 0 | 146 | 153 | -7 | 171 | 0 | 0 | 0 | 0 | 4 | 10 | 95 | 9 | 16 | 0 | -70 | 109 | 9 | 0 | 0 | 0 | 0 | 146 | 190.608 | 7.6597
| 14 | 0 | 88 | 246 | 258 | 76 | 234 | 0 | 5 | 0 | 0 | 8 | 36 | 110 | 20 | 24 | 0 | 760 | 154 | 20 | 0 | 0 | 0 | 0 | 334 | 389.154 | 8.5827
| 15 | 0 | 191 | 131 | 137 | 185 | 256 | 0 | 127 | 0 | 0 | 5 | 58 | 96 | 22 | 28 | 0 | 1850 | 159 | 22 | 13 | 0 | 0 | 0 | 322 | 369.456 | 8.7155
| 16 | 0 | 242 | 117 | 122 | 237 | 286 | 0 | 196 | 0 | 0 | 16 | 33 | 133 | 30 | 27 | 0 | 2370 | 182 | 30 | 0 | 0 | 0 | 0 | 359 | 362.802 | 9.8952
| 17 | 0 | 315 | 163 | 172 | 306 | 234 | 0 | 152 | 0 | 0 | 8 | 30 | 103 | 29 | 27 | 0 | 3060 | 141 | 29 | 12 | 0 | 0 | 0 | 478 | 489.06 | 9.7739
| 18 | 0 | 175 | 203 | 211 | 167 | 347 | 0 | 167 | 0 | 0 | 5 | 40 | 190 | 27 | 27 | 0 | 1670 | 235 | 27 | 0 | 0 | 0 | 0 | 378 | 459.624 | 8.2241
| 19 | 0 | 129 | 298 | 0 | 427 | 284 | 0 | 11 | 0 | 0 | 0 | 52 | 177 | 26 | 26 | 0 | 4270 | 229 | 26 | 0 | 0 | 0 | 0 | 427 | 479.226 | 8.9102
| 20 | 0 | 4 | 127 | 446 | -315 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 2 | 0 | 0 | -3150 | 35 | 2 | 0 | 0 | 0 | 0 | 131 | 0 | 0
| 21 | 0 | 15 | 2 | 0 | 17 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 10 | 0 | 170 | 4 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0
| 22 | 0 | 129 | 221 | 234 | 116 | 327 | 0 | 0 | 0 | 0 | 6 | 0 | 217 | 29 | 29 | 0 | 1160 | 223 | 29 | 0 | 0 | 0 | 0 | 350 | 542.982 | 6.4459
| 23 | 0 | 255 | 117 | 123 | 249 | 347 | 0 | 31 | 0 | 0 | 10 | 61 | 192 | 31 | 29 | 0 | 2490 | 263 | 31 | 0 | 0 | 0 | 0 | 372 | 451.638 | 8.2367
| 24 | 0 | 233 | 85 | 89 | 229 | 216 | 0 | 0 | 0 | 0 | 4 | 43 | 96 | 19 | 21 | 0 | 2290 | 143 | 19 | 0 | 0 | 0 | 0 | 318 | 292.38 | 10.8763
| 25 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 28 | 76 | 79 | 25 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.4275 | 0
| 29 | 0 | 236 | 191 | 148 | 279 | 333 | 0 | 121 | 0 | 0 | 12 | 61 | 162 | 26 | 28 | 0 | 2790 | 235 | 26 | 0 | 0 | 0 | 0 | 427 | 373.23 | 11.4407
| 30 | 0 | 182 | 169 | 231 | 120 | 296 | 0 | 185 | 0 | 0 | 0 | 57 | 158 | 29 | 23 | 0 | 1200 | 215 | 29 | 0 | 0 | 0 | 0 | 351 | 513.018 | 6.8419
| 31 | 0 | 217 | 98 | 741 | -426 |  |  | 90 | 0 | 0 | 1 | 23 | 103 | 22 | 30 | 0 | -4260 |  | 22 | 0 | 0 | 0 | 0 | 315 | 430.518
MTD | total | 0 | 4227 | 4835 | 5707 | 3355 | 6168 |  | 2565 |  | 0 | 193 | 861 | 3179 | 604 | 858 | 0 | 33550 | 4106 | 604 | 288 |  |  |  | 9062 | 9272.0823 | 9.7734 | 10.2 | 95.8179
| Gals. |  | 929940
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 14702.3514
| Add basic charge |  | 278.97
14981.3214
| Proxy sewage charge (2/3) |  | 9987.5476
| Proxy MTD NAWASA cost |  | 24968.869
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.December'25
DAILY ELECTRICITY CONSUMPTION FOR DECEMBER 2025
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 6358 | 0 | 1096.9 | 6358 | 455.136 | 13.9695
2 | 6436 | 0 | 891.6 | 6436 | 211.926 | 30.3691
3 | 7560 | 0 | 373.6 | 7560 | 346.5 | 21.8182
4 | 8026 | 0 | 501.5 | 8026 | 253.836 | 31.6188
5 | 5885 | 0 | 1161.1 | 5885 | 262.746 | 22.3981
6 | 6825 | 0 | 1390.7 | 6825 | 302.676 | 22.5489
7 | 7554 | 0 | 808.8 | 7554 | 388.5504 | 19.4415
8 | 7330 | 0 | 1313.3 | 7330 | 447.8844 | 16.3658
9 | 6425 | 0 | 1380 | 6425 | 214.764 | 29.9166
10 | 8488 | 0 | 1372.1 | 8488 | 437.052 | 19.421
11 | 6732 | 0 | 1466.4 | 6732 | 332.838 | 20.2261
12 | 6620 | 0 | 1166.2 | 6620 | 259.05 | 25.5549
13 | 4519 | 0 | 1223.1 | 4519 | 190.608 | 23.7083
14 | 5387 | 0 | 1296.5 | 5387 | 389.154 | 13.8428
15 | 6109 | 0 | 1397.4 | 6109 | 369.456 | 16.5351
16 | 8916 | 0 | 1388.8 | 8916 | 362.802 | 24.5754
17 | 6815 | 0 | 1363 | 6815 | 489.06 | 13.9349
18 | 7445 | 0 | 1360.6 | 7445 | 459.624 | 16.198
19 | 6897 | 0 | 1198.5 | 6897 | 479.226 | 14.392
20 | 3934 | 0 | 1296.2 | 3934 | 0 | 0
21 | 2566 | 0 | 1208.3 | 2566 | 0 | 0
22 | 6346 | 0 | 1270.4 | 6346 | 542.982 | 11.6873
23 | 6520 | 0 | 1092.8 | 6520 | 451.638 | 14.4363
24 | 5182 | 0 | 1035.9 | 5182 | 292.38 | 17.7235
25 | 3878 | 0 | 1114.7 | 3878 | 0 | 0
26 | 3529 | 0 | 469.1 | 3529 | 0 | 0
27 | 3866 | 0 | 1324.5 | 3866 | 0 | 0
28 | 3501 | 0 | 561.6 | 3501 | 15.4275 | 226.9324
29 | 7041 | 0 | 975.5 | 7041 | 373.23 | 18.865
30 | 7806 | 0 | 1196.3 | 7806 | 513.018 | 15.2158
31 | 7082 |  | 1307.3 | 7082 |  |  |  | %
MTD | 191578 | 0 | 35002.7 | 191578 | 8841.5643 | 21.6679 | 22 | 98.4904
TARGET

## PROD.FIG.
PRODUCTION FOR DECEMBER 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Monday | 1 | [5 empty] | 455.136
Tuesday | 2 | [5 empty] | 211.926
Wednesday | 3 | [5 empty] | 346.5
Thursday | 4 | [5 empty] | 253.836
Friday | 5 | [5 empty] | 262.746
Saturday | 6 | [5 empty] | 302.676
Sunday | 7 | [5 empty] | 388.5504
Monday | 8 | [5 empty] | 447.8844
Tuesday | 9 | [5 empty] | 214.764
Wednesday | 10 | [5 empty] | 437.052
Thursday | 11 | [5 empty] | 332.838
Friday | 12 | [5 empty] | 259.05
Saturday | 13 | [5 empty] | 190.608
Sunday | 14 | [5 empty] | 389.154
Monday | 15 | [5 empty] | 369.456
Tuesday | 16 | [5 empty] | 362.802
Wednesday | 17 | [5 empty] | 489.06
Thursday | 18 | [5 empty] | 459.624
Friday | 19 | [5 empty] | 479.226
Saturday | 20 | [5 empty] | 0
Sunday | 21 | [5 empty] | 0
Monday | 22 | [5 empty] | 542.982
Tuesday | 23 | [5 empty] | 451.638
Wednesday | 24 | [5 empty] | 292.38
Thursday | 25 | [5 empty] | 0
Friday | 26 | [5 empty] | 0
Saturday | 27 | [5 empty] | 0
Sunday | 28 | [5 empty] | 15.4275
Monday | 29 | [5 empty] | 373.23
Tuesday | 30 | [5 empty] | 513.018
Wednesday | 31 | [5 empty] | 430.518
[6 empty] | TOTAL | 9272.0823
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for DECEMBER 2025 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 564 | 224.92 | 2614.9 | 3000 | 455.136 | 6.5914 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 263.06 | 58.42 | 1219.41 | 1200 | 211.926 | 5.6624 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 372.5 | 59.51 | 2153.86 | 1700 | 346.5 | 4.9062 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 296.88 | 91.75 | 1696.69 | 1600 | 253.836 | 6.3033 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 301 | 246.33 | 1737.17 | 1600 | 262.746 | 6.0895 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 325.04 | 239.68 | 1770.56 | 800 | 302.676 | 2.6431 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 363.57 | 184.36 | 2328.91 | 2900 | 388.5504 | 7.4636 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 477.31 | 183.53 | 2505.95 | 2000 | 447.8844 | 4.4654 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 267.95 | 132.7 | 1557.41 | 900 | 214.764 | 4.1906 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 475.1 | 70.77 | 3318.54 | 4800 | 437.052 | 10.9827 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 324.79 | 210.75 | 2430.11 | 2000 | 332.838 | 6.0089 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 328.51 | 222.57 | 2265.57 | 1600 | 259.05 | 6.1764 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 238.54 | 0 | 955.03 | 200 | 190.608 | 1.0493 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 377.1 | 305.8 | 2492.96 | 2300 | 389.154 | 5.9103 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 516.99 | 183.08 | 2751.48 | 2500 | 369.456 | 6.7667 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 411.05 | 137.95 | 2426.85 | 2400 | 362.802 | 6.6152 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 421 | 114.06 | 2601.74 | 2500 | 489.06 | 5.1118 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 410.64 | 221.26 | 2593.84 | 2500 | 459.624 | 5.4392 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 402.49 | 301.59 | 2531.33 | 2400 | 479.226 | 5.0081 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 2700 | 0 | 0 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 457.59 | 134.85 | 2634.74 | 2600 | 542.982 | 4.7884 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 517.71 | 230.92 | 2707.75 | 2700 | 451.638 | 5.9782 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 166.05 | 98.89 | 1825.32 | 2100 | 292.38 | 7.1824 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 15.4275 | 0 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 251.78 | 273.58 | 2116.71 | 2400 | 373.23 | 6.4304 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 392.46 | 190.71 | 2317.99 | 1700 | 513.018 | 3.3137 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 333.32 | 170.28 | 1947.07 | 1600 | 430.518 | 3.7165 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 9256.43 | 4288.26 | 55501.89 | 54700 | 9272.0823 | 5.8994 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-12-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Total |  | Diff.
Cases Produced |  | 3211 | 5250 | 3846 | 3981 | 4586 | 5488 | 6699 | 3254 | 6622 | 5043 | 3925 | 2888 | 5634 | 5567 | 5497 | 7410 | 6964 | 7261 | 0 | 0 | 8227 | 6843 | 4430 | 0 | 0 | 0 | 233.75 |  |  | 5655 | 118514.75 | 96325 | 22189.75
HL produced | 455.136 | 211.926 | 346.5 | 253.836 | 262.746 | 302.676 | 388.5504 | 447.8844 | 214.764 | 437.052 | 332.838 | 259.05 | 190.608 | 389.154 | 369.456 | 362.802 | 489.06 | 459.624 | 479.226 | 0 | 0 | 542.982 | 451.638 | 292.38 | 0 | 0 | 0 | 15.4275 |  |  | 373.23 | 8328.5463
Product Type | ST/CB | CB | CB | CB/Rose | ST | ST | VM/GN | CB | CB | CB/Rose | Rose | Rose/Psecco/SM | SM | SM/VM | VM/ST | CB | CB | CB /SS/ST/CB | CB /SM | 0 | 0 | CB | ST | GN |  | 0 | 0 | Kegs |  |  | GN/CB
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 98 | 238 | 139 | 204 | 157 | 200 | 83 | 43 | 96 | 267 | 201 | 62 | 0 | 88 | 191 | 242 | 315 | 175 | 129 | 4 | 15 | 129 | 255 | 233 | 0 | 28 | 0 | 0 | 0 | 28 | 0 | 3620
Annanale Supply | 143 | 131 | 209 | 221 | 245 | 165 | 156 | 279 | 190 | 276 | 255 | 175 | 146 | 246 | 131 | 117 | 163 | 203 | 298 | 127 | 2 | 221 | 117 | 85 | 0 | 76 | 0 | 0 | 0 | 76 | 0 | 4453
Total Water Supply | 241 | 369 | 348 | 425 | 402 | 365 | 239 | 322 | 286 | 543 | 456 | 237 | 146 | 334 | 322 | 359 | 478 | 378 | 427 | 131 | 17 | 350 | 372 | 318 | 0 | 104 | 0 | 0 | 0 | 104 | 0 | 8073
0
Theoretical permeate | 110.23 | 100.01 | 159.14 | 175.93 | 180.31 | 127.02 | 118.99 | 213.16 | 145.27 | 212.43 | 194.91 | 133.59 | 111.69 | 111.69 | 111.69 | 111.69 | 111.69 | 111.69 | 0 | 325.58 | 0 | 170.82 | 89.79 | 64.97 | 0 | 0 | 0 | 0 | 0 | 0 | 108.04 | 3300.33 | 8559 |  | 10.2767
148.92
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 268 | 165 | 229 | 226 | 197 | 207 | 186 | 251 | 187 | 333 | 235 | 201 | 171 | 234 | 256 | 286 | 234 | 347 | 284 | 69 | 19 | 327 | 347 | 216 | 15 | 8 | 13 | 28 | 0 | 0 | 0 | 5539
Water consumption | 268 | 165 | 229 | 226 | 197 | 207 | 186 | 251 | 187 | 333 | 235 | 201 | 171 | 234 | 256 | 286 | 234 | 347 | 284 | 69 | 19 | 327 | 347 | 216 | 15 | 8 | 13 | 28 | 0 | 0 | 0 | 5539
| 5.8883 | 7.7857 | 6.6089 | 8.9034 | 7.4977 | 6.839 | 4.787 | 5.6041 | 8.7072 | 7.6192 | 7.0605 | 7.7591 | 8.9713 | 6.013 | 6.9291 | 7.8831 | 4.7847 | 7.5496 | 5.9262 |  |  | 6.0223 | 7.6831 | 7.3876 |  |  |  | 18.1494 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 28 | 152 | 117 | 140 | 83 | 122 | 119 | 96 | 164 | 165 | 81 | 132 | 0 | 5 | 127 | 196 | 152 | 167 | 11 | 0 | 0 | 0 | 31 | 0 | 81 | 0 | 0 | 0 | 81 | 0 | 0 | 2250
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 10 | 0 | 16 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63
CIP Process | 28 | 3 | 25 | 54 | 29 | 33 | 12 | 52 | 13 | 59 | 21 | 28 | 10 | 10 | 10 | 33 | 33 | 33 | 52 | 0 | 0 | 0 | 61 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 642 |  |  | 15588.1818
Bottles Washer | 167 | 84 | 118 | 85 | 92 | 101 | 105 | 110 | 90 | 143 | 131 | 82 | 95 | 95 | 95 | 95 | 95 | 95 | 177 | 35 | 4 | 217 | 192 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2599
Bottle Filler | 27 | 14 | 30 | 27 | 17 | 17 | 23 | 28 | 18 | 27 | 21 | 34 | 9 | 20 | 22 | 30 | 29 | 27 | 26 | 2 | 0 | 29 | 31 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 527
Pasteuriser | 18 | 7 | 10 | 7 | 6 | 14 | 6 | 4 | 3 | 10 | 18 | 11 | 4 | 8 | 5 | 16 | 8 | 5 | 0 | 0 | 0 | 6 | 10 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180
Boiler Supply | 60 | 48 | 77 | 54 | 48 | 47 | 33 | 28 | 24 | 32 | 25 | 26 | 16 | 16 | 28 | 27 | 27 | 27 | 26 | 0 | 10 | 29 | 29 | 21 | 1 | 0 | 0 | 10 | 1 | 0 | 0 | 770
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165
Personnel Consumption
Total water consumption (M3) | 328 | 308 | 377 | 367 | 275 | 334 | 298 | 318 | 312 | 436 | 462 | 313 | 134 | 158 | 297 | 397 | 360 | 387 | 292 | 37 | 14 | 281 | 354 | 183 | 82 | 0 | 0 | 10 | 82 | 0 | 0 | 7196
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 2614.9 | 1219.41 | 2153.86 | 1696.69 | 1737.17 | 1770.56 | 2328.91 | 2505.95 | 1557.41 | 3318.54 | 2430.11 | 2265.57 | 955.03 | 2492.96 | 2751.48 | 2426.85 | 2601.74 | 421 | 315 | 163 | 175 | 203 | 347 | 0 | 167 | 0 | 5 | 211 | 0 | 40 | 190 | 39064.14
CO2 (kg.) (Filler) | 564 | 263.06 | 372.5 | 296.88 | 301 | 325.04 | 363.57 | 477.31 | 267.95 | 475.1 | 324.79 | 328.51 | 238.54 | 377.1 | 516.99 | 411.05 | 421 | 410.64 | 402.49 | 0 | 0 | 457.59 | 517.71 | 166.05 | 0 | 0 | 0 | 0 | 251.78 | 392.46 | 333.32 | 9256.43
Electricity (Kwh.) | 6358 | 6436 | 7560 | 8026 | 5885 | 6825 | 7554 | 7330 | 6425 | 8488 | 6732 | 6620 | 4519 | 5387 | 6109 | 8916 | 6815 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 197880
Fuel (L) | 2790 | 3130 | 3150 | 2920 | 2820 | 3370 | 3420 | 3630 | 2860 | 3800 | 2680 | 3090 | 1470 | 2140 | 3070 | 3560 | 3260 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 3530 | 100580
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 5.2951 | 17.4117 | 10.0433 | 16.7431 | 15.2999 | 12.0591 | 6.1511 | 7.1894 | 13.3169 | 12.4242 | 13.7004 | 9.1488 | 7.6597 | 8.5827 | 8.7155 | 9.8952 | 9.7739 | 8.2241 | 8.9102 |  |  | 6.4459 | 8.2367 | 10.8763 |  |  |  | 0 |  |  | 0 | 9.6932 | 10.2 | 0.50683
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | 0.6152 | 7.1723 | 3.3766 | 5.5154 | 3.1589 | 4.0307 | 3.0627 | 2.1434 | 7.6363 | 3.7753 | 2.4336 | 5.0955 | 0 | 0.12848 | 3.4375 | 5.4024 | 3.108 | 3.6334 | 0.22954 |  |  | 0 | 0.68639 | 0 |  |  |  | 0 |  |  | 0 | 2.7016 | 2.5 | -0.20155
Brewhouse (Hls brewed) | Wed: 5.9072; Thu: 4.5564; Fri: 4.0248; Sat: 5.7756; Sun: 2.9133; Mon: 3.3955; Tue: 3.9004; Wed: 2.7027; Thu: 5.3859; Fri: 4.6888; Sat: 4.0992; Sun: 4.666; Wed: 3.1608; Thu: 4.8671; Fri: 3.3974; Fri: 0 | 4.7244 | 2.5 | -2.2244
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | 0.1 | 0.1
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10279 | 0.27067 | 0 | 0.32716 | 0.71798 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 | 0.075643 | 1 | 0.92436
CIP Process | 0.6152 | 0.14156 | 0.7215 | 2.1274 | 1.1037 | 1.0903 | 0.30884 | 1.161 | 0.60532 | 1.35 | 0.63094 | 1.0809 | 0.52464 | 0.25697 | 0.27067 | 0.90959 | 0.67476 | 0.71798 | 1.0851 |  |  | 0 | 1.3506 | 1.4707 |  |  |  | 0 |  |  | 0 | 0.77084 | 0.7 | -0.070843
Bottles Washer | 3.6692 | 3.9636 | 3.4055 | 3.3486 | 3.5015 | 3.3369 | 2.7024 | 2.456 | 4.1906 | 3.2719 | 3.9358 | 3.1654 | 4.9841 | 2.4412 | 2.5713 | 2.6185 | 1.9425 | 2.0669 | 3.6935 |  |  | 3.9964 | 4.2512 | 3.2834 |  |  |  | 0 |  |  | 0 | 3.1206 | 2.6 | -0.52059
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | 0.59323 | 0.66061 | 0.8658 | 1.0637 | 0.64701 | 0.56166 | 0.59194 | 0.62516 | 0.83813 | 0.61778 | 0.63094 | 1.3125 | 0.47217 | 0.51394 | 0.59547 | 0.8269 | 0.59297 | 0.58744 | 0.54254 |  |  | 0.53409 | 0.68639 | 0.64984 |  |  |  | 0 |  |  | 0 | 0.63276 | 0.7 | 0.067237
Pasteuriser | 0.39549 | 0.3303 | 0.2886 | 0.27577 | 0.22836 | 0.46254 | 0.15442 | 0.089309 | 0.13969 | 0.22881 | 0.5408 | 0.42463 | 0.20985 | 0.20557 | 0.13533 | 0.44101 | 0.16358 | 0.10878 | 0 |  |  | 0.1105 | 0.22142 | 0.13681 |  |  |  | 0 |  |  | 0 | 0.21612 | 0.1 | -0.11612
Boiler Supply | 1.3183 | 2.2649 | 2.2222 | 2.1274 | 1.8269 | 1.5528 | 0.84931 | 0.62516 | 1.1175 | 0.73218 | 0.75112 | 1.0037 | 0.83942 | 0.41115 | 0.75787 | 0.74421 | 0.55208 | 0.58744 | 0.54254 |  |  | 0.53409 | 0.64211 | 0.71824 |  |  |  | 6.4819 |  |  | 0 | 0.92453 | 0.6 | -0.32453
Backwash Supply | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 13.1138 | 19.0897 | 14.905 | 20.2337 | 13.3797 | 14.4304 | 11.5699 | 9.8027 | 19.9135 | 14.6648 | 13.0225 | 16.7486 | 7.0301 | 4.0601 | 11.1996 | 15.8098 | 10.7585 | 8.4199 | 6.0932 | 0 | 0 | 5.1751 | 7.8381 | 6.259 | 0 | 0 | 0 | 6.4819 | 0 | 0 | 0 | 13.1665 | 15.6 | 2.4335
Bottling Hall water | 4.6579 | 4.9546 | 4.5599 | 4.6881 | 4.3769 | 4.3611 | 3.4487 | 3.1705 | 5.1685 | 4.1185 | 5.1076 | 4.9025 | 5.6661 | 3.1607 | 3.3022 | 3.8864 | 2.6991 | 2.7631 | 4.236 | 0 | 0 | 4.641 | 5.159 | 4.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9695 | 6 | 2.0305
CO2 (kg./Hl.) KPI | 5.7453 | 5.7539 | 6.216 | 6.6842 | 6.6116 | 5.8497 | 5.9938 | 5.5951 | 7.2517 | 7.593 | 7.3012 | 8.7457 | 5.0104 | 6.4061 | 7.4474 | 6.6892 | 5.3199 | 0.91597 | 0.65731 |  |  | 0.37386 | 0.76831 | 0 |  |  |  | 13.6769 |  |  | 0.50907 | 4.6904 | 5 | 0.30961
CO2 Filler (kg./Hl.) KPI | 1.2392 | 1.2413 | 1.075 | 1.1696 | 1.1456 | 1.0739 | 0.93571 | 1.0657 | 1.2476 | 1.0871 | 0.97582 | 1.2681 | 1.2515 | 0.96903 | 1.3993 | 1.133 | 0.86084 | 0.89343 | 0.83988 |  |  | 0.84274 | 1.1463 | 0.56793 |  |  |  | 0 |  |  | 0.89307 | 1.1114 | 1.7 | 0.58859
Electricity (Kwh./Hl.) KPI | 13.9695 | 30.3691 | 21.8182 | 31.6188 | 22.3981 | 22.5489 | 19.4415 | 16.3658 | 29.9166 | 19.421 | 20.2261 | 25.5549 | 23.7083 | 13.8428 | 16.5351 | 24.5754 | 13.9349 | 16.198 | 15.5355 |  |  | 13.7113 | 16.4844 | 25.4634 |  |  |  | 482.5798 |  |  | 19.9475 | 23.7592 | 22 | -1.7592
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 6.13 | 14.7693 | 9.0909 | 11.5035 | 10.7328 | 11.134 | 8.8019 | 8.1048 | 13.3169 | 8.6946 | 8.052 | 11.9282 | 7.7122 | 5.4991 | 8.3095 | 9.8125 | 6.6658 | 7.6802 | 7.366 |  |  | 6.5011 | 7.816 | 12.0733 |  |  |  | 228.8122 |  |  | 9.458 | 12.0765 | 7.2 | -4.8765
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 224.92 | 58.42 | 59.51 | 91.75 | 246.33 | 239.68 | 184.36 | 183.53 | 132.7 | 70.77 | 210.75 | 222.57 | 0 | 305.8 | 183.08 | 137.95 | 114.06 | 221.26 | 301.59 | 0 | 0 | 134.85 | 230.92 | 98.89 | 0 | 0 | 0 | 0 | 273.58 | 190.71 | 170.28 | 4288.26
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Wed to Sun; Tue to Sun; Wed to Fri; Wed to Fri
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 47.4 | 333.6 | 290.7 | 242.4 | 284.9 | 359.3 | 305.1 | 355.2 | 304.5 | 351.9 | 197.6 | 282.9 | 0 | 0 | 401.8 | 402.7 | 447.4 | 0 | 0 | 0 | 0 | 0 | 0 | 155.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4762.5
Product | VM | VM | ST | ST/ CB | ST | ST | SM | GU | GU/CB | CB/ST | ST | VM | 0 | 0 | CB | CB/ST | ST/SM | SM | 0 | 0 | 0 | 0 | 0 | CB | 0 | 0 | 0 | 0 | 0 | CB/ST | 0
No. of Brews | 1 | 9 | 6 | 5 | 6 | 7 | 6 | 7 | 6 | 7 | 4 | 6 | 0 | 0 | 8 | 8 | 9 | 6 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104
Raw Water In - Nawasa | 151 | 137 | 218 | 241 | 247 | 174 | 163 | 292 | 199 | 291 | 267 | 183 | 153 | 153 | 153 | 153 | 153 | 153 | 0 | 446 | 0 | 234 | 123 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 4521
Into RO | [31 empty] | 0 | bar: Wed
| 6358 | 6436 | 7560 | 8026 | 5885 | 6825 | 7554 | 7330 | 6425 | 8488 | 6732 | 6620 | 4519 | 5387 | 6109 | 8916 | 6815 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 7445 | 197880
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-12-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
| Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Total |  | Diff.
Cases Produced | 6896 | 3211 | 5250 | 3846 | 3981 | 4586 | 5488 | 6699 | 3254 | 6622 | 5043 | 3925 | 2888 | 5634 | 5567 | 5497 | 7410 | 6964 | 7261 |  |  | 8227 | 6843 | 4430 |  |  |  | 233.75 | 5655 | 7773 | 6523 | 139706.75 | 141775 | -2068.25
HL produced | 455.136 | 211.926 | 346.5 | 253.836 | 262.746 | 302.676 | 388.5504 | 447.8844 | 214.764 | 437.052 | 332.838 | 259.05 | 190.608 | 389.154 | 369.456 | 362.802 | 489.06 | 459.624 | 479.226 |  |  | 542.982 | 451.638 | 292.38 |  |  |  | 15.4275 | 373.23 | 513.018 | 430.518 | 9272.0823
Product Type | ST/CB | CB | CB | CB/Rose | ST | ST | VM | VM/GN | CB | CB/Rose | Rose | Rose/Psecco/SM | SM | SM/VM | VM/ST | CB | CB | CB /SS/ST/CB | CB /SM |  |  | CB | ST | GN |  |  |  | Kegs | GN/CB | CB /ST | ST/CB
Hls Brewed | 47.4 | 333.6 | 290.7 | 242.4 | 284.9 | 359.3 | 305.1 | 355.2 | 304.5 | 351.9 | 197.6 | 282.9 |  |  | 401.8 | 402.7 | 447.4 | [6 empty] | 155.1 | [7 empty] | 4762.5
Product | VM | VM | ST | ST/ CB | ST | ST/CB/SM | SM | GU | GU/CB | CB/ST | ST | VM |  |  | CB | CB/ST | ST/SM | SM | [5 empty] | CB | [5 empty] | CB/ST
No. of Brews | 1 | 9 | 6 | 5 | 6 | 7 | 6 | 7 | 6 | 7 | 4 | 6 |  |  | 8 | 8 | 9 | 6 | 0 | 0 | 0 | 0 |  | 3 | [7 empty] | 104
Brewhouse (Hls brewed) | 5.9072 | 4.5564 | 4.0248 | 5.7756 | 2.9133 | 3.3955 | 3.9004 | 2.7027 | 5.3859 | 4.6888 | 4.0992 | 4.666 |  |  | 3.1608 | 4.8671 | 3.3974 | [6 empty] | 0 | [7 empty] | 5.3858
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 98 | 238 | 139 | 204 | 157 | 200 | 83 | 43 | 96 | 267 | 201 | 62 | 0 | 88 | 191 | 242 | 315 | 175 | 129 | 4 | 15 | 129 | 255 | 233 | 0 | 28 | 0 | 0 | 236 | 182 | 217 | 4227
Annanale Supply | 143 | 131 | 209 | 221 | 245 | 165 | 156 | 279 | 190 | 276 | 255 | 175 | 146 | 246 | 131 | 117 | 163 | 203 | 298 | 127 | 2 | 221 | 117 | 85 | 0 | 76 | 0 | 0 | 191 | 169 | 98 | 4835
Total Water Supply | 241 | 369 | 348 | 425 | 402 | 365 | 239 | 322 | 286 | 543 | 456 | 237 | 146 | 334 | 322 | 359 | 478 | 378 | 427 | 131 | 17 | 350 | 372 | 318 | 0 | 104 | 0 | 0 | 427 | 351 | 315 | 9062
0
Theoretical permeate | 110.23 | 100.01 | 159.14 | 175.93 | 180.31 | 127.02 | 118.99 | 213.16 | 145.27 | 212.43 | 194.91 | 133.59 | 111.69 | 188.34 | 100.01 | 89.06 | 125.56 | 154.03 | 0 | 325.58 | 0 | 170.82 | 89.79 | 64.97 | 0 | 57.67 | 0 | 0 | 108.04 | 168.63 | 540.93 | 4166.11 | 9591 |  | 10.344
148.92
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 268 | 165 | 229 | 226 | 197 | 207 | 186 | 251 | 187 | 333 | 235 | 201 | 171 | 234 | 256 | 286 | 234 | 347 | 284 | 69 | 19 | 327 | 347 | 216 | 15 | 8 | 13 | 28 | 333 | 296 | 0 | 6168
Brewhouse | 28 | 152 | 117 | 140 | 83 | 122 | 119 | 96 | 164 | 165 | 81 | 132 | 0 | 5 | 127 | 196 | 152 | 167 | 11 | 0 | 0 | 0 | 31 | 0 | 81 | 0 | 0 | 0 | 121 | 185 | 90 | 2565
Boiler Supply | 60 | 48 | 77 | 54 | 48 | 47 | 33 | 28 | 24 | 32 | 25 | 26 | 16 | 24 | 28 | 27 | 27 | 27 | 26 | 0 | 10 | 29 | 29 | 21 | 1 | 0 | 0 | 10 | 28 | 23 | 30 | 858
Water consumption | 356 | 365 | 423 | 420 | 328 | 376 | 338 | 375 | 375 | 530 | 341 | 359 | 187 | 263 | 411 | 509 | 413 | 541 | 321 | 69 | 29 | 356 | 407 | 237 | 97 | 8 | 13 | 38 | 482 | 504 | 120 | 9591
Water Consumption detail
Brewhouse | 28 | 152 | 117 | 140 | 83 | 122 | 119 | 96 | 164 | 165 | 81 | 132 | 0 | 5 | 127 | 196 | 152 | 167 | 11 | 0 | 0 | 0 | 31 | 0 | 81 | 0 | 0 | 0 | 121 | 185 | 90 | 2565
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 28 | 3 | 25 | 54 | 29 | 33 | 12 | 52 | 13 | 59 | 21 | 28 | 10 | 36 | 58 | 33 | 30 | 40 | 52 | 0 | 0 | 0 | 61 | 43 | 0 | 0 | 0 | 0 | 61 | 57 | 23 | 861
Bottles Washer | 167 | 84 | 118 | 85 | 92 | 101 | 105 | 110 | 90 | 143 | 131 | 82 | 95 | 110 | 96 | 133 | 103 | 190 | 177 | 35 | 4 | 217 | 192 | 96 | 0 | 0 | 0 | 0 | 162 | 158 | 103 | 3179
Bottle Filler | 27 | 14 | 30 | 27 | 17 | 17 | 23 | 28 | 18 | 27 | 21 | 34 | 9 | 20 | 22 | 30 | 29 | 27 | 26 | 2 | 0 | 29 | 31 | 19 | 0 | 0 | 0 | 0 | 26 | 29 | 22 | 604
Pasteuriser | 18 | 7 | 10 | 7 | 6 | 14 | 6 | 4 | 3 | 10 | 18 | 11 | 4 | 4 | 5 | 16 | 8 | 5 | 0 | 0 | 0 | 6 | 10 | 4 | 0 | 0 | 0 | 0 | 12 | 0 | 1 | 189
Boiler Supply | 60 | 48 | 77 | 54 | 48 | 47 | 33 | 28 | 24 | 32 | 25 | 26 | 16 | 24 | 28 | 27 | 27 | 27 | 26 | 0 | 10 | 29 | 29 | 21 | 1 | 0 | 0 | 10 | 28 | 23 | 30 | 858
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 328 | 308 | 377 | 367 | 275 | 334 | 298 | 318 | 312 | 436 | 297 | 313 | 134 | 199 | 336 | 435 | 349 | 456 | 292 | 37 | 14 | 281 | 354 | 183 | 82 | 0 | 0 | 10 | 410 | 452 | 269 | 8256
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 0.6152 | 7.1723 | 3.3766 | 5.5154 | 3.1589 | 4.0307 | 3.0627 | 2.1434 | 7.6363 | 3.7753 | 2.4336 | 5.0955 | 0 | 0.12848 | 3.4375 | 5.4024 | 3.108 | 3.6334 | 0.22954 |  |  | 0 | 0.68639 | 0 |  |  |  | 0 | 3.242 | 3.6061 | 2.0905 | 2.7664 | 3.2 | 0.43363
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 1
CIP Process | 0.6152 | 0.14156 | 0.7215 | 2.1274 | 1.1037 | 1.0903 | 0.30884 | 1.161 | 0.60532 | 1.35 | 0.63094 | 1.0809 | 0.52464 | 0.92508 | 1.5699 | 0.90959 | 0.61342 | 0.87028 | 1.0851 |  |  | 0 | 1.3506 | 1.4707 |  |  |  | 0 | 1.6344 | 1.1111 | 0.53424 | 0.92859 | 0.7 | -0.22859
Bottles Washer | 3.6692 | 3.9636 | 3.4055 | 3.3486 | 3.5015 | 3.3369 | 2.7024 | 2.456 | 4.1906 | 3.2719 | 3.9358 | 3.1654 | 4.9841 | 2.8266 | 2.5984 | 3.6659 | 2.1061 | 4.1338 | 3.6935 |  |  | 3.9964 | 4.2512 | 3.2834 |  |  |  | 0 | 4.3405 | 3.0798 | 2.3925 | 3.4286 | 2.1 | -1.3286
Bottle Filler | 0.59323 | 0.66061 | 0.8658 | 1.0637 | 0.64701 | 0.56166 | 0.59194 | 0.62516 | 0.83813 | 0.61778 | 0.63094 | 1.3125 | 0.47217 | 0.51394 | 0.59547 | 0.8269 | 0.59297 | 0.58744 | 0.54254 |  |  | 0.53409 | 0.68639 | 0.64984 |  |  |  | 0 | 0.69662 | 0.56528 | 0.51101 | 0.65142 | 0.7 | 0.048582
Pasteuriser | 0.39549 | 0.3303 | 0.2886 | 0.27577 | 0.22836 | 0.46254 | 0.15442 | 0.089309 | 0.13969 | 0.22881 | 0.5408 | 0.42463 | 0.20985 | 0.10279 | 0.13533 | 0.44101 | 0.16358 | 0.10878 | 0 |  |  | 0.1105 | 0.22142 | 0.13681 |  |  |  | 0 | 0.32152 | 0 | 0.023228 | 0.20384 | 0.1 | -0.10384
Boiler Supply | 1.3183 | 2.2649 | 2.2222 | 2.1274 | 1.8269 | 1.5528 | 0.84931 | 0.62516 | 1.1175 | 0.73218 | 0.75112 | 1.0037 | 0.83942 | 0.61672 | 0.75787 | 0.74421 | 0.55208 | 0.58744 | 0.54254 |  |  | 0.53409 | 0.64211 | 0.71824 |  |  |  | 6.4819 | 0.75021 | 0.44833 | 0.69683 | 0.92536 | 0.6 | -0.32536
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 7.2066 | 14.5334 | 10.8802 | 14.4582 | 10.4664 | 11.0349 | 7.6695 | 7.1 | 14.5276 | 9.9759 | 8.9233 | 12.0826 | 7.0301 | 5.1137 | 9.0945 | 11.99 | 7.1361 | 9.9212 | 6.0932 | 0 | 0 | 5.1751 | 7.8381 | 6.259 | 0 | 0 | 0 | 6.4819 | 10.9852 | 8.8106 | 6.2483 | 8.9041 | 9.6 | 0.69585
Bottling Hall water | 4.6579 | 4.9546 | 4.5599 | 4.6881 | 4.3769 | 4.3611 | 3.4487 | 3.1705 | 5.1685 | 4.1185 | 5.1076 | 4.9025 | 5.6661 | 3.4434 | 3.3292 | 4.9338 | 2.8626 | 4.83 | 4.236 | 0 | 0 | 4.641 | 5.159 | 4.07 | 0 | 0 | 0 | 0 | 5.3586 | 3.6451 | 2.9267 | 4.2838 | 2.9 | -1.3838
Water Plant Total (Before Sand Filter) | 151 | 137 | 218 | 241 | 247 | 174 | 163 | 292 | 199 | 291 | 267 | 183 | 153 | 258 | 137 | 122 | 172 | 211 | 0 | 446 | 0 | 234 | 123 | 89 | 0 | 79 | 0 | 0 | 148 | 231 | 741 | 5707
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 3000 | 1200 | 1700 | 1600 | 1600 | 800 | 2900 | 2000 | 900 | 4800 | 2000 | 1600 | 200 | 2300 | 2500 | 2400 | 2500 | 2500 | 2400 | 0 | 2700 | 2600 | 2700 | 2100 |  |  |  |  | 2400 | 1700 | 1600 | 54700
CO2 Totalizer | 2614.9 | 1219.41 | 2153.86 | 1696.69 | 1737.17 | 1770.56 | 2328.91 | 2505.95 | 1557.41 | 3318.54 | 2430.11 | 2265.57 | 955.03 | 2492.96 | 2751.48 | 2426.85 | 2601.74 | 2593.84 | 2531.33 | 0 | 0 | 2634.74 | 2707.75 | 1825.32 | 0 | 0 | 0 | 0 | 2116.71 | 2317.99 | 1947.07 | 55501.89
CO2 (kg.) (Filler) | 564 | 263.06 | 372.5 | 296.88 | 301 | 325.04 | 363.57 | 477.31 | 267.95 | 475.1 | 324.79 | 328.51 | 238.54 | 377.1 | 516.99 | 411.05 | 421 | 410.64 | 402.49 | 0 | 0 | 457.59 | 517.71 | 166.05 | 0 | 0 | 0 | 0 | 251.78 | 392.46 | 333.32 | 9256.43
CO2 (kg.) (FILTRATION) | 224.92 | 58.42 | 59.51 | 91.75 | 246.33 | 239.68 | 184.36 | 183.53 | 132.7 | 70.77 | 210.75 | 222.57 | 0 | 305.8 | 183.08 | 137.95 | 114.06 | 221.26 | 301.59 | 0 | 0 | 134.85 | 230.92 | 98.89 | 0 | 0 | 0 | 0 | 273.58 | 190.71 | 170.28 | 4288.26
0
CO2 (kg.)Consumption Meter | 2614.9 | 1219.41 | 2153.86 | 1696.69 | 1737.17 | 1770.56 | 2328.91 | 2505.95 | 1557.41 | 3318.54 |  | 2265.57 |  | 2492.96 | 2751.48 | 2426.85 | 2601.74 | 421 | 315 | 163 | 175 | 203 | 347 | 0 | 167 | 0 | 5 | 211 | 190 | 39064.14 | 0
Electricity (Kwh.) | 6358 | 6436 | 7560 | 8026 | 5885 | 6825 | 7554 | 7330 | 6425 | 8488 | 6732 | 6620 | 4519 | 5387 | 6109 | 8916 | 6815 | 7445 | 6897 | 3934 | 2566 | 6346 | 6520 | 5182 | 3878 | 3529 | 3866 | 3501 | 7041 | 7806 | 7082 | 191578
| #VALUE! | [30 empty] | #VALUE!
| 7560 | 8026 | 5885 | 6825 | 7554 | 7330 | 6425 | 8488 | 6732 | 6620 | 4519 | 5387 | 6109 | 8916 | 6815 | 7445 | 6897 | 3934 | 2566 | 6346 | 6520 | 5182 | 3878 | 352900% | 386600% | 3501 | 7041 | 7806 | 7082 | 191578 | 0 | 370362
Generation Solar System (Kw-H) | 1096.9 | 891.6 | 373.6 | 501.5 | 1161.1 | 1390.7 | 808.8 | 1313.3 | 1380 | 1372.1 | 1466.4 | 1166.2 | 1223.1 | 1296.5 | 1397.4 | 1388.8 | 1363 | 1360.6 | 1198.5 | 1296.2 | 1208.3 | 1270.4 | 1092.8 | 1035.9 | 1114.7 | 469.1 | 1324.5 | 561.6 | 975.5 | 1196.3 | 1307.3 | 35002.7
Fuel (L) | 2790 | 3130 | 3150 | 2920 | 2820 | 3370 | 3420 | 3630 | 2860 | 3800 | 2680 | 3090 | 1470 | 2140 | 3070 | 3560 | 3260 | 3530 | 2420 | 130 | 700 | 2600 | 2700 | 2270 | 0 | 0 | 0 | 1020 | 3230 | 3660 | 2570 | 75990
Steam Mass Flow | 71.316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70.56 | 0 | 25.123 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.241 | 0 | 0 | 0 | 0 | 0 | 0 | 19044.02 | 19213.26
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption | 5.2951 | 17.4117 | 10.0433 | 16.7431 | 15.2999 | 12.0591 | 6.1511 | 7.1894 | 13.3169 | 12.4242 | 13.7004 | 9.1488 | 7.6597 | 8.5827 | 8.7155 | 9.8952 | 9.7739 | 8.2241 | 8.9102 |  |  | 6.4459 | 8.2367 | 10.8763 |  |  |  | 0 | 11.4407 | 6.8419 | 7.3168 | 9.7734 | 10.2 | 0.42658 | 95.8179
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 6.5914 | 5.6624 | 4.9062 | 6.3033 | 6.0895 | 2.6431 | 7.4636 | 4.4654 | 4.1906 | 10.9827 | 6.0089 | 6.1764 | 1.0493 | 5.9103 | 6.7667 | 6.6152 | 5.1118 | 5.4392 | 5.0081 |  |  | 4.7884 | 5.9782 | 7.1824 |  |  |  | 0 | 6.4304 | 3.3137 | 3.7165 | 5.8994 | 5 | -0.89943 | 117.9886
CO2 Filler (kg./Hl.) KPI | 1.2392 | 1.2413 | 1.075 | 1.1696 | 1.1456 | 1.0739 | 0.93571 | 1.0657 | 1.2476 | 1.0871 | 0.97582 | 1.2681 | 1.2515 | 0.96903 | 1.3993 | 1.133 | 0.86084 | 0.89343 | 0.83988 |  |  | 0.84274 | 1.1463 | 0.56793 |  |  |  | 0 | 0.6746 | 0.765 | 0.77423 | 0.99831 | 1.7 | 0.70169 | 58.7242
Electricity (Kwh./Hl.) KPI | 13.9695 | 30.3691 | 21.8182 | 31.6188 | 22.3981 | 22.5489 | 19.4415 | 16.3658 | 29.9166 | 19.421 | 20.2261 | 25.5549 | 23.7083 | 13.8428 | 16.5351 | 24.5754 | 13.9349 | 16.198 | 14.392 |  |  | 11.6873 | 14.4363 | 17.7235 |  |  |  | 226.9324 | 18.865 | 15.2158 | 16.45 | 20.6618 | 22 | 1.3382 | 93.9173
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 6.13 | 14.7693 | 9.0909 | 11.5035 | 10.7328 | 11.134 | 8.8019 | 8.1048 | 13.3169 | 8.6946 | 8.052 | 11.9282 | 7.7122 | 5.4991 | 8.3095 | 9.8125 | 6.6658 | 7.6802 | 5.0498 |  |  | 4.7884 | 5.9782 | 7.7639 |  |  |  | 66.1157 | 8.6542 | 7.1343 | 5.9696 | 8.1956 | 7.2 | -0.99557 | 113.8274
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 224.92 | 58.42 | 59.51 | 91.75 | 246.33 | 239.68 | 184.36 | 183.53 | 132.7 | 70.77 | 210.75 | 222.57 | 0 | 305.8 | 183.08 | 137.95 | 114.06 | 221.26 | 301.59 | 0 | 0 | 134.85 | 230.92 | 98.89 | 0 | 0 | 0 | 0 | #REF! | #REF! | 190.71 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% | 0% |  |  |  |  | #REF! | #REF! | 0% | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | _ | 137 | [24 empty] | _ | _ |  |  | _ | 137
| 6358 |  | 7560 | 8026 | 5885 | 6825 | 7554 | 7330 | 6425 | 8488 | 6732 | 6620 | 4519 | 5387 | 6109 | 8916 | 6815 | 7445 | 6897 | 3934 | 2566 | 6346 | 6520 | 5182 | 3878 | 3529 | 3866 | 3501 | 7041 | 7806 | 7082 | 191578
6436
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 3000kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs Tank C gage did not move
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs Tank C gage did not move on Tuesday pressure was high
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24000Kgs Mobile approx. 0 kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 22400Kgs Mobile approx. 0 kgs
Note on G74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs Mobile approx. 0 kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs Mobile approx. 0 kgs
Note on I74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17100Kgs Mobile approx. 21600 kgs
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15100Kgs Mobile approx. 21600 kgs
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 14200Kgs Mobile approx. 21600 kgs Daily reading includes unaccounted CO2 from Mobile 1500Kgs
Note on L74: Delano Pasea: Tank A 0 kgs Tank B 5300 kgs (Tank B was filled) Tank C 25700Kgs (adjusted) Mobile approx. 0 kgs
Note on M74: Delano Pasea: Tank A 0 kgs Tank B 4100 kgs Tank C 24900Kgs Mobile approx. 0 kgs
Note on N74: Delano Pasea: Tank A 0 kgs Tank B 2500 kgs Tank C 24900Kgs Mobile approx. 0 kgs
Note on O74: Delano Pasea: Tank A 0 kgs Tank B 2300 kgs Tank C 24900Kgs Mobile approx. 0 kgs
Note on P74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24900Kgs Mobile approx. 0 kgs
Note on Q74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 22400Kgs Mobile approx. 0 kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs Mobile approx. 0 kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500Kgs Mobile approx. 0 kgs
Note on T74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs Mobile approx. 0 kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600Kgs Mobile approx. 0 kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600Kgs Mobile approx. 0 kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600Kgs Mobile approx. 20700 kgs
Note on X74: Delano Pasea: Tank A 0 kgs ( filled to 2700) Tank B 0 kgs Tank C 25300Kgs Mobile approx. 5400 kgs (MT at 930 into Tank A)
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 25300Kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs
Note on AB74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs
Note on AC74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs
Note on AE74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs
Note on AF74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 19100Kgs
Note on AG74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500Kgs

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR NOVEMBER 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 207339 | 98 | -53 | 47792 | 1324115 | 151 | 97122 | 0 | 1324115 | -1324115 | -1324115 | 0 | 27 | 196 |  |  | #DIV/0!
2 | 207437 | 238 | 101 | 0 | 1324266 | 137 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 476 |  |  | #DIV/0!
3 | 207675 | 139 | -79 | 0 | 1324403 | 218 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 278 |  |  | #DIV/0!
4 | 207814 | 204 | -37 | 0 | 1324621 | 241 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 408 |  |  | #DIV/0!
5 | 208018 | 157 | -90 | 0 | 1324862 | 247 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 314 |  |  | #DIV/0!
6 | 208175 | 200 | 26 | 0 | 1325109 | 174 | 97122 | 0 | 0 | 21941 | 21941 | 0 | 17 | 400 |  |  | #DIV/0!
7 | 208375 | 83 | -80 | 0 | 1325283 | 163 | 97122 | 0 | 21941 | -21941 | -21941 | 0 | 23 | 166 |  |  | #DIV/0!
8 | 208458 | 43 | -249 | 0 | 1325446 | 292 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 86 |  |  | #DIV/0!
9 | 208501 | 96 | -103 | 0 | 1325738 | 199 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 192 |  |  | #DIV/0!
10 | 208597 | 267 | -24 | 0 | 1325937 | 291 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 534 |  |  | #DIV/0!
11 | 208864 | 201 | -66 | 0 | 1326228 | 267 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 402 |  |  | #DIV/0!
12 | 209065 | 62 | -121 | 0 | 1326495 | 183 | 97122 | 0 | 0 | 0 | 0 | 0 | 34 | 124 |  |  | #DIV/0!
13 | 209127 | 0 | -153 | 0 | 1326678 | 153 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 0 |  |  | #DIV/0!
14 | 209127 | 88 | -170 | 0 | 1326831 | 258 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 176 |  |  | #DIV/0!
15 | 209215 | 191 | 54 | 0 | 1327089 | 137 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 382 |  |  | #DIV/0!
16 | 209406 | 242 | 120 | 0 | 1327226 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 484 |  |  | #DIV/0!
17 | 209648 | 315 | 143 | 0 | 1327348 | 172 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 630 |  |  | #DIV/0!
18 | 209963 | 175 | -36 | 0 | 1327520 | 211 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 350 |  |  | #DIV/0!
19 | 210138 | 129 | 129 | 0 | 1327731 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 258 |  |  | #DIV/0!
20 | 210267 | 4 | -442 | 0 | 1327731 | 446 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 8 |  |  | #DIV/0!
21 | 210271 | 15 | 15 | 0 | 1328177 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 30 |  |  | #DIV/0!
22 | 210286 | 129 | -105 | 0 | 1328177 | 234 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 258 |  |  | #DIV/0!
23 | 210415 | 255 | 132 | 0 | 1328411 | 123 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 510 |  |  | #DIV/0!
24 | 210670 | 233 | 144 | 0 | 1328534 | 89 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 466 |  |  | #DIV/0!
25 | 210903 | 0 | 0 | 0 | 1328623 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
26 | 210903 | 28 | -51 | 0 | 1328623 | 79 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 56 |  |  | #DIV/0!
27 | 210931 | 0 | 0 | 0 | 1328702 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
28 | 210931 | 0 | 0 | 0 | 1328702 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
| 210931 |  | 0 |  | 1328702 |  | 97122
Total |  | 3592 | -995 |  |  | 4587 |  | 0 | 1346056 | -1324115 | -1324115 | 0 | 527 | 7184 | 0 | 0 | #DIV/0!