## Entries Feb.'25
| ENTRIES FOR DAILY CONS. MONITOR | [13 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [9 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) |  | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (l) | (l) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) |  | DATE | [9 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
- | [17 empty] | 5140
1 | 7160920 |  |  | 70 | 2366.4 | 68208 |  | 212780 | 791664 | 466400 |  |  | 262.89 | 1 | 166764 | 3348 | 885472 |  | 30820 |  | 20538 | 1280318 |  | 30060 | 27709 | 4869 | 97122 |  | 38942 | 258494 | [5 empty] | 7258604.692
2 | 7161120 |  |  | 70 | 2367.7 | 68208 |  | 216276 | 794023 | 466400 |  |  | 262.89 | 2 | 166764 | 3603 | 885492 |  | 30820 |  | 20538 | 1280318 |  | 30060 | 27742 | 4910 | 97122 |  | 38942 | 258494 | [5 empty] | 7258604.692
3 | 7161880 |  |  | 70 | 2372 | 68208 |  | 217568 | 796191 | 466400 |  |  | 262.89 | 3 | 166766 | 3682 | 885575 |  | 30820 |  | 20538 | 1280670 |  | 30060 | 27744 | 4928 | 97122 |  | 38942 | 258494 | [5 empty] | 7258604.692
4 | 7164980 |  |  | 70 | 2393.9 | 68208 |  | 221617 | 800017 | 466400 |  |  | 292.23 | 4 | 166838 | 3870 | 885824 |  | 31018 |  | 20545 | 1280867 |  | 30139 | 27825 | 4988 | 97122 |  | 38969 | 258494 | [5 empty] | 7258886.569
5 | 7168010 |  |  | 70 | 2413.4 | 68208 |  | 225604 | 803786 | 466400 |  |  | 335.28 | 5 | 166991 | 4077 | 886034 |  | 31199 |  | 20548 | 1281086 |  | 30183 | 27895 | 5039 | 97122 |  | 38993 | 258494 | [5 empty] | 7258886.569
6 | 7171410 |  |  | 70 | 2435.7 | 68208 |  | 229962 | 807905 | 466400 |  |  | 376 | 6 | 167279 | 4219 | 886287 |  | 31477 |  | 20553 | 1281235 |  | 30244 | 27986 | 5081 | 97122 |  | 39017 | 258494 | [5 empty] | 7258886.569
7 | 7174330 |  |  | 70 | 2456.2 | 68208 |  | 233971 | 811693 | 466400 |  |  | 380.39 | 7 | 167426 | 4432 | 886495 |  | 31695 |  | 20553 | 1281459 |  | 30295 | 28046 | 5113 | 97122 |  | 39037 | 258494 | [5 empty] | 7258887.233
8 | 7174330 |  |  | 70 | 2456.2 | 68208 |  | 235871 | 813490 | 466400 |  |  | 380.39 | 8 | 167725 | 4432 | 886507 |  | 31695 |  | 20553 | 1281459 |  | 30295 | 28046 | 5113 | 97122 |  | 39037 | 258494 | [5 empty] | 7258887.233
9 | 7174740 |  |  | 70 | 2459.9 | 68209 |  | 238265 | 815755 | 466400 |  |  | 380.39 | 9 | 167780 | 4432 | 886579 |  | 31700 |  | 20553 | 1281495 |  | 30295 | 28046 | 5121 | 97122 |  | 39037 | 258494 | [5 empty] | 7258887.233
10 | 7175840 |  |  | 70 | 2467 | 68209 |  | 241040 | 818387 | 466400 |  |  | 380.39 | 10 | 167897 | 4432 | 886597 |  | 31700 |  | 20553 | 1281495 |  | 30295 | 28078 | 5129 | 97122 |  | 39037 | 258494 | [5 empty] | 7258923.635
11 | 7178550 |  |  | 70 | 2485 | 68209 |  | 244511 | 821671 | 466400 |  |  | 400.39 | 11 | 168104 | 4538 | 886820 |  | 31885 |  | 20567 | 1281570 |  | 30360 | 28153 | 5151 | 97122 |  | 39060 | 258494 | [5 empty] | 7258937
12 | 7181770 |  |  | 70 | 2505.9 | 68209 |  | 248842 | 825769 | 466400 |  |  | 434.97 | 12 | 168260 | 4756 | 887095 |  | 32150 |  | 20577 | 1281800 |  | 30415 | 28250 | 5178 | 97122 |  | 39086 | 258494 | [5 empty] | 7258954.898
13 | 7185050 |  |  | 70 | 2526.6 | 68209 |  | 253095 | 829789 | 466400 |  |  | 466.37 | 13 | 168537 | 4924 | 887294 |  | 32365 |  | 20577 | 1281977 |  | 30444 | 28336 | 5209 | 97122 |  | 39110 | 258494 | [5 empty] | 7258954.898
14 | 7188620 |  |  | 70 | 2548.9 | 68209 |  | 257441 | 833895 | 466400 |  |  | 503.51 | 14 | 168708 | 5180 | 887530 |  | 32623 |  | 20582 | 1282247 |  | 30506 | 28421 | 5237 | 97122 |  | 39133 | 258494 | [5 empty] | 7258954.898
15 | 7191430 |  |  | 70 | 2568.4 | 68209 |  | 261216 | 837460 | 466400 |  |  | 526.71 | 15 | 168922 | 5436 | 887699 |  | 32832 |  | 20586 | 1282516 |  | 30544 | 28478 | 5259 | 97122 |  | 39150 | 258494 | [5 empty] | 7258954.898
16 | 7191810 |  |  | 70 | 2572.1 | 68209 |  | 263327 | 839449 | 466400 |  |  | 526.71 | 16 | 168922 | 5626 | 887760 |  | 32832 |  | 20586 | 1282716 |  | 30544 | 28501 | 5267 | 97122 |  | 39152 | 258494 | [5 empty] | 7258954.898
17 | 7192460 |  |  | 70 | 2577.3 | 68209 |  | 265516 | 841516 | 466400 |  |  | 526.71 | 17 | 168972 | 5626 | 887786 |  | 32832 |  | 20586 | 1282716 |  | 30546 | 28508 | 5278 | 97122 |  | 39152 | 258496 | [5 empty] | 7258954.898
18 | 7195310 |  |  | 70 | 2598.6 | 68209 |  | 269576 | 845353 | 466400 |  |  | 547.8 | 18 | 169108 | 5826 | 887983 |  | 33059 |  | 20586 | 1282927 |  | 30583 | 28565 | 5301 | 97122 |  | 39175 | 258508 | [5 empty] | 7266143.246
19 | 7198330 |  |  | 70 | 2619.2 | 68209 |  | 274042 | 849573 | 466400 |  |  | 568.09 | 19 | 169369 | 5959 | 888192 |  | 33268 |  | 20586 | 1283067 |  | 30647 | 28625 | 5327 | 97122 |  | 39194 | 258575 | [5 empty] | 7266601.484
20 | 7201490 |  |  | 70 | 2640.6 | 68209 |  | 278581 | 853860 | 466400 |  |  | 592.43 | 20 | 169549 | 6197 | 888391 |  | 33454 |  | 20587 | 1283318 |  | 30701 | 28689 | 5360 | 97122 |  | 39216 | 258669 | [5 empty] | 7266601.484
21 | 7204460 |  |  | 70 | 2662 | 68209 |  | 283010 | 858046 | 466400 |  |  | 610.87 | 21 | 169712 | 6457 | 888623 |  | 33668 |  | 20590 | 1283592 |  | 30773 | 28750 | 5384 | 97122 |  | 39228 | 258711 | [5 empty] | 7266602.392
22 | 7206870 |  |  | 70 | 2679.9 | 68209 |  | 287163 | 861967 | 466400 |  |  | 625.79 | 22 | 169866 | 6705 | 888778 |  | 33870 |  | 20590 | 1283854 |  | 30805 | 28814 | 5405 | 97122 |  | 39239 | 258778 | [5 empty] | 7266602.392
23 | 7207210 |  |  | 70 | 2682 | 68209 |  | 289403 | 864082 | 466400 |  |  | 625.79 | 23 | 169981 | 6712 | 888817 |  | 33870 |  | 20590 | 1283861 |  | 30805 | 28825 | 5410 | 97122 |  | 39239 | 258778 | [5 empty] | 7266602.392
24 | 7208220 |  |  | 70 | 2689.2 | 68209 |  | 291909 | 866456 | 466400 |  |  | 625.99 | 24 | 169981 | 6795 | 888883 |  | 33923 |  | 20590 | 1283948 |  | 30825 | 28825 | 5420 | 97122 |  | 39239 | 258778 | [5 empty] | 7266602.392
25 | 7211330 |  |  | 70 | 2710.2 | 68209 |  | 295949 | 870273 | 466400 |  |  | 640.33 | 25 | 170027 | 7022 | 889123 |  | 34139 |  | 20622 | 1284189 |  | 30889 | 28905 | 5437 | 97122 |  | 39257 | 258781 | [5 empty] | 7266604.938
26 | 7214580 |  |  | 70 | 2731.5 | 68209 |  | 300220 | 874308 | 466400 |  |  | 659.34 | 26 | 170027 | 7296 | 889312 |  | 34382 |  | 20627 | 1284476 |  | 30919 | 28982 | 5453 | 97122 |  | 39280 | 258781 | [5 empty] | 7266612.973
27 | 7217390 |  |  | 70 | 2750.4 | 68209 |  | 304284 | 878150 | 466400 |  |  | 687.43 | 27 | 170385 | 7558 | 889488 |  | 34626 |  | 20627 | 1284732 |  | 30964 | 29045 | 5465 | 97122 |  | 39297 | 258781 | [5 empty] | 7266612.973
28 | 7220330 |  |  | 70 | 2772.4 | 68209 |  | 308594 | 882226 | 466400 |  |  | 694 | 28 | 170538 | 7748 | 889677 |  | 34865 |  | 20633 | 1284954 |  | 31006 | 29106 | 5476 | 97122 |  | 39320 | 258781 | [5 empty] | 7266612.973
29 | 7222980 |  |  | 70 | 2791 | 68209 |  | 312699 | 886109 | 466400 |  |  | 710 | 29 | 170538 | 8010 | 889883 |  | 35099 |  | 20636 | 1285230 |  | 31073 | 29173 | 5490 | 97122 |  | 39340 | 258781 | [5 empty] | 7266613
1 | [13 empty] | 1
2 | [13 empty] | 2
3 | [13 empty] | 3
| 62060 | 0 | 0 | 0 | 424.6 | 1 | 0 | 99919 | 94445 | 0 | 0 | 0 | 447.11 | 28 | 3774 | 4662 | 4411 | 0 | 4279 | 0 | 98 | 4912 | 0 | 1013 | 1464 | 621 | 0 | 0 | 398 | 287 | 0 | 0 | 0 | 0 | 0 | 8008.308 | 0 | 0 | 0 | 0
| 4430 | 0
0
[8 empty] | 4040 | 3817
2339980.75
2339980.75
2354366.5
2373680.25
Note on AL3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis Feb. 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: |  | 2007-08-01
DATE | ELECTRICITY | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
[10 empty] | Elect | Water | Fuel | CO2 | Comments
| USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 5855 | 2550 | 200 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 3460 | -2710 | 760 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 7875 | 630 | 3100 | 29.34 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 7756 | 1410 | 3030 | 43.05 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 8477 | 2810 | 3400 | 40.72 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 7797 | 1360 | 2920 | 4.39 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 3697 | 2990 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 4659 | 190 | 410 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
9 | 5407 | 1170 | 1100 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
10 | 6755 | 2380 | 2710 | 20 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
11 | 8429 | 1440 | 3220 | 34.58 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 8273 | 2680 | 3280 | 31.4 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 8452 | 1570 | 3570 | 37.14 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 7340 | 2010 | 2810 | 23.2 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 4100 | -100 | 380 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 4256 | 500 | 650 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 7897 | 1250 | 2850 | 21.09 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 8686 | 2540 | 3020 | 20.29 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 8826 | 1670 | 3160 | 24.34 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 8615 | 1490 | 2970 | 18.44 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 8074 | 1400 | 2410 | 14.92 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 4355 | 1150 | 340 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 4880 | -40 | 4120 | 0.2 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 7857 | 320 | 3250 | 14.34 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 8306 | -130 | 2810 | 19.01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 7906 | 3640 | 2940 | 28.09 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 8386 | 1210 | 2650 | 6.57 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 7988 | -140 | 0 | 16 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 0 | 0 | 62060 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
Total | 194364 | 35240 | 62060 | 447.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 281.877
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 36.402
10 | 13.365
11 | 17.898
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 7188.348
18 | 458.238
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 2.546
25 | 8.035
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0

## Co2
CO2 Daily Consumption for MAR. '12
DATE | Total Cons. (Kg.) | CO2 ( Kg./Hl.) |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
|  |  | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 29.34 | #DIV/0! | 0 | 29.34 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 43.05 | #DIV/0! | 0 | 43.05 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 40.72 | #DIV/0! | 0 | 40.72 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 4.39 | #DIV/0! | 0 | 4.39 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 20 | #DIV/0! | 0 | 20 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 34.58 | #DIV/0! | 0 | 34.58 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 31.4 | #DIV/0! | 0 | 31.4 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 37.14 | #DIV/0! | 0 | 37.14 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 23.2 | #DIV/0! | 0 | 23.2 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 21.09 | #DIV/0! | 0 | 21.09 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 20.29 | #DIV/0! | 0 | 20.29 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 24.34 | #DIV/0! | 0 | 24.34 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 18.44 | #DIV/0! | 0 | 18.44 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 14.92 | #DIV/0! | 0 | 14.92 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 0.2 | #DIV/0! | 0 | 0.2 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 14.34 | #DIV/0! | 0 | 14.34 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 19.01 | #DIV/0! | 0 | 19.01 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 28.09 | #DIV/0! | 0 | 28.09 | 0 | 0 | 0 | 0
27 | 6.57 | #DIV/0! | 0 | 6.57 | 0 | 0 | 0 | 0
28 | 16 | #DIV/0! | 0 | 16 | 0 | 0 | 0 | 0
29 |  | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
30 |  | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
31 |  | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
447.11
Note on B20: CO2 was being pumped into Tank A and simultaneously being drawn from it. To confirm Log details.

## Fuel
DAILY FUEL CONSUMPTION FOR Mar. '12
| Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | TOTAL Prod. | Fuel
DATE | Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres) | Total Prod. | Litres/hl
- | 0
1 | 200 | 1.3 | 0 | 0 | 560 | #REF! | 153.8462 | #DIV/0! | #REF! | 200 |  | #DIV/0! | 200
2 | 760 | 4.3 | 0 | 0 | 2340 | #REF! | 176.7442 | #DIV/0! | #REF! | 760 |  | #DIV/0! | 760
3 | 3100 | 21.9 | 0 | 0 | -70 | #REF! | 141.5525 | #DIV/0! | #REF! | 3100 |  | #DIV/0! | 3100
4 | 3030 | 19.5 | 0 | 0 | 370 | #REF! | 155.3846 | #DIV/0! | #REF! | 3030 | 0 | #DIV/0! | 3030
5 | 3400 | 22.3 | 0 | 0 | -480 | #REF! | 152.4664 | #DIV/0! | #REF! | 3400 | 0 | #DIV/0! | 3400
6 | 2920 | 20.5 | 0 | 0 | -2920 | #REF! | 142.439 | #DIV/0! | #REF! | 2920 | 0 | #DIV/0! | 2920
7 | 0 | 0 | 0 | 0 | 410 | #REF! | #DIV/0! | #DIV/0! | #REF! | 0 |  | #DIV/0! | 0
8 | 410 | 3.7 | 0 | 1 | 690 | #REF! | 110.8108 | 0 | #REF! | 410 |  | #DIV/0! | 410
9 | 1100 | 7.1 | 0 | 0 | 1610 | #REF! | 154.9296 | #DIV/0! | #REF! | 1100 |  | #DIV/0! | 1100
10 | 2710 | 18 | 0 | 0 | 510 | #REF! | 150.5556 | #DIV/0! | #REF! | 2710 |  | #DIV/0! | 2710
11 | 3220 | 20.9 | 0 | 0 | 60 | #REF! | 154.067 | #DIV/0! | #REF! | 3220 |  | #DIV/0! | 3220
12 | 3280 | 20.7 | 0 | 0 | 290 | #REF! | 158.4541 | #DIV/0! | #REF! | 3280 |  | #DIV/0! | 3280
13 | 3570 | 22.3 | 0 | 0 | -760 | #REF! | 160.0897 | #DIV/0! | #REF! | 3570 |  | #DIV/0! | 3570
14 | 2810 | 23.2 | 0 | 0 | -2430 | #REF! | 121.1207 | #DIV/0! | #REF! | 2810 |  | #DIV/0! | 2810
15 | 380 | 30.2 | 0 | 0 | 270 | #REF! | 12.5828 | #DIV/0! | #REF! | 380 |  | #DIV/0! | 380
16 | 650 | 47.1 | 0 | 0 | 2200 | #REF! | 13.8004 | #DIV/0! | #REF! | 650 |  | #DIV/0! | 650
17 | 2850 | 63.3 | 0 | 0 | 170 | #REF! | 45.0237 | #DIV/0! | #REF! | 2850 |  | #DIV/0! | 2850
18 | 3020 | 63.4 | 0 | 0 | 140 | #REF! | 47.6341 | #DIV/0! | #REF! | 3020 |  | #DIV/0! | 3020
19 | 3160 | 60.7 | 0 | 0 | -190 | #REF! | 52.0593 | #DIV/0! | #REF! | 3160 |  | #DIV/0! | 3160
20 | 2970 | 41.4 | 0 | 0 | -560 | #REF! | 71.7391 | #DIV/0! | #REF! | 2970 |  | #DIV/0! | 2970
21 | 2410 | 17.9 | 0 | 0 | -2070 | #REF! | 134.6369 | #DIV/0! | #REF! | 2410 |  | #DIV/0! | 2410
22 | 340 | 2.1 | 0 | 0 | 670 | #REF! | 161.9048 | #DIV/0! | #REF! | 340 |  | #DIV/0! | 340
23 | 1010 | 7.2 | 0 | 0 | 2100 | #REF! | 140.2778 | #DIV/0! | #REF! | 1010 |  | #DIV/0! | 1010
24 | 3110 | 21 | 0 | 0 | 140 | #REF! | 148.0952 | #DIV/0! | #REF! | 3110 |  | #DIV/0! | 3110
25 | 3250 | 21.3 | 0 | 0 | -440 | #REF! | 152.5822 | #DIV/0! | #REF! | 3250 |  | #DIV/0! | 3250
26 | 2810 | 18.9 | 0 | 0 | 130 | #REF! | 148.6772 | #DIV/0! | #REF! | 2810 |  | #DIV/0! | 2810
27 | 2940 | 22 | 0 | 0 | -290 | #REF! | 133.6364 | #DIV/0! | #REF! | 2940 |  | #DIV/0! | 2940
28 | 2650 | 18.6 | 0 | 0 | -2650 | #REF! | 142.4731 | #DIV/0! | #REF! | 2650 |  | #DIV/0! | 2650
29 |  | 0 | 0 | 0 | 0 | #REF! | #DIV/0! | #DIV/0! | #REF! | 0 |  | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | #REF! | #DIV/0! | #DIV/0! | #REF! | 0 |  | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 62060 | #REF! | #DIV/0! | #DIV/0! | #REF! | 0 |  | #DIV/0! | 0
| 62060 | 640.8 | 0 | 1 | [5 empty] | 62060
|  | 1 | 200
|  | 2 | 760
|  | 3 | 3100
|  | 4 | 3030
|  | 5 | 3400
|  | 6 | 2920
|  | 7 | 0
|  | 8 | 410
|  | 9 | 1100
|  | 10 | 2710
|  | 11 | 3220
|  | 12 | 3280
|  | 13 | 3570
|  | 14 | 2810
|  | 15 | 380
|  | 16 | 650
|  | 17 | 2850
|  | 18 | 3020
|  | 19 | 3160
|  | 20 | 2970
|  | 21 | 2410
|  | 22 | 340
|  | 23 | 1010
|  | 24 | 3110
|  | 25 | 3250
|  | 26 | 2810
|  | 27 | 2940
|  | 28 | 2650
|  | 29 | 0
|  | 30 | 0
|  | 31 | 0
62060

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  | Permeate Produced (m3) | Plant Cons (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | Comments | Total Prod. | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
| - | [12 empty] | 27709 | 4869 | 97122 |  |  | 0 | 258494
| 1 | 0 | 0 | 255 | 0 | 255 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 41 | 0 | 2550 | 33 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
| 2 | 0 | 2 | 79 | 352 | -271 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 18 | 0 | -2710 | 2 | 0 | 0 | #REF! | 0 | 0 |  | 0 | #DIV/0!
| 3 | 0 | 72 | 188 | 197 | 63 | 249 | 0 | 198 | 0 | 0 | 7 | 79 | 81 | 60 | 0 | 630 | 167 | 27 | 0 | #REF! | 0 | 0 |  | 0 | #DIV/0!
| 4 | 0 | 153 | 207 | 219 | 141 | 210 | 0 | 181 | 0 | 0 | 3 | 44 | 70 | 51 | 0 | 1410 | 117 | 24 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 5 | 0 | 288 | 142 | 149 | 281 | 253 | 0 | 278 | 0 | 0 | 5 | 61 | 91 | 42 | 0 | 2810 | 157 | 24 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 6 | 0 | 147 | 213 | 224 | 136 | 208 | 0 | 218 | 0 | 0 | 0 | 51 | 60 | 32 | 0 | 1360 | 111 | 20 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 7 | 0 | 299 | 0 | 0 | 299 | 12 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2990 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 8 | 0 | 55 | 0 | 36 | 19 | 72 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 190 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 9 | 0 | 117 | 0 | 0 | 117 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 8 | 0 | 1170 | 32 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 10 | 0 | 207 | 106 | 75 | 238 | 223 | 0 | 185 | 0 | 0 | 14 | 65 | 75 | 22 | 0 | 2380 | 154 | 23 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 11 | 0 | 156 | 218 | 230 | 144 | 275 | 0 | 265 | 0 | 0 | 10 | 55 | 97 | 27 | 0 | 1440 | 162 | 26 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 12 | 0 | 277 | 168 | 177 | 268 | 199 | 0 | 215 | 0 | 0 | 0 | 29 | 86 | 31 | 0 | 2680 | 115 | 24 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 13 | 0 | 171 | 256 | 270 | 157 | 236 | 0 | 258 | 0 | 0 | 5 | 62 | 85 | 28 | 0 | 1570 | 152 | 23 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 14 | 0 | 214 | 256 | 269 | 201 | 169 | 0 | 209 | 0 | 0 | 4 | 38 | 57 | 22 | 0 | 2010 | 99 | 17 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 15 | 0 | 0 | 190 | 200 | -10 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 8 | 0 | -100 | 23 | 2 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 16 | 0 | 50 | 0 | 0 | 50 | 26 | 0 | 0 | 0 | 0 | 0 | 2 | 7 | 11 | 0 | 500 | 9 | 0 | 2 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 17 | 0 | 136 | 200 | 211 | 125 | 197 | 0 | 227 | 0 | 0 | 0 | 37 | 57 | 23 | 0 | 1250 | 94 | 23 | 12 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 18 | 0 | 261 | 133 | 140 | 254 | 209 | 0 | 209 | 0 | 0 | 0 | 64 | 60 | 26 | 0 | 2540 | 124 | 19 | 161 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 19 | 0 | 180 | 238 | 251 | 167 | 199 | 0 | 186 | 0 | 0 | 1 | 54 | 64 | 33 | 0 | 1670 | 119 | 22 | #REF! | 0 | 0 | 0 |  | 0 | #DIV/0!
| 20 | 0 | 163 | 260 | 274 | 149 | 232 | 0 | 214 | 0 | 0 | 3 | 72 | 61 | 24 | 0 | 1490 | 136 | 12 | #REF! | 0 | 0 | 0 |  | 0 | #DIV/0!
| 21 | 0 | 154 | 248 | 262 | 140 | 155 | 0 | 202 | 0 | 0 | 0 | 32 | 64 | 21 | 0 | 1400 | 96 | 11 | 67 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 22 | 0 | 115 | 7 | 7 | 115 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 5 | 0 | 1150 | 11 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 23 | 0 | 0 | 83 | 87 | -4 | 66 | 0 | 53 | 0 | 0 | 0 | 20 | 0 | 10 | 0 | -40 | 20 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 24 | 0 | 46 | 227 | 241 | 32 | 240 | 0 | 216 | 0 | 0 | 32 | 64 | 80 | 17 | 0 | 320 | 176 | 18 | 3 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 25 | 0 | 0 | 274 | 287 | -13 | 189 | 0 | 243 | 0 | 0 | 5 | 30 | 77 | 16 | 0 | -130 | 112 | 23 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 26 | 0 | 358 | 262 | 256 | 364 | 176 | 0 | 244 | 0 | 0 | 0 | 45 | 63 | 12 | 0 | 3640 | 108 | 17 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 27 | 0 | 153 | 190 | 222 | 121 | 189 | 0 | 239 | 0 | 0 | 6 | 42 | 61 | 11 | 0 | 1210 | 109 | 23 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 28 | 0 | 0 | 262 | 276 | -14 | 206 | 0 | 234 | 0 | 0 | 3 | 67 | 67 | 14 | 0 | -140 | 137 | 20 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -258781 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 |  | 0 | #DIV/0!
| 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 |  | 0 | #DIV/0!
MTD | total | 0 | 3774 | 4662 | 4912 | 3524 |  |  | 4279 |  | 0 | 98 | 1013 | 1464 | 621 | 0 | 35240 | 2575 | [6 empty] | 0 | #DIV/0!
| Gals. |  | 830280
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 13126.7268 |  | 1 | 41
| Add basic charge |  | 278.97 |  | 2 | 18 |  |  |  |  | 23 | 17 | 2 | 0 | 23 | 19 | 23 | 23 | 22 |  |  |  |  | 12 | 11 | 0 | 0 | 18 | 23 | 17 | 23 | 20 | 0 | 0 | 0
|  |  | 13405.6968 |  | 3 | 60
[5 empty] | 4 | 51
| Proxy sewage charge (2/3) |  | 8937.1312 |  | 5 | 42
[5 empty] | 6 | 32
| Proxy MTD NAWASA cost |  | 22342.828 |  | 7 | 0
[5 empty] | 8 | 8
[5 empty] | 9 | 8
[5 empty] | 10 | 22
[5 empty] | 11 | 27
[5 empty] | 12 | 31
[5 empty] | 13 | 28
[5 empty] | 14 | 22
[5 empty] | 15 | 8
[5 empty] | 16 | 11
[5 empty] | 17 | 23
[5 empty] | 18 | 26
[5 empty] | 19 | 33
[5 empty] | 20 | 24
[5 empty] | 21 | 21
[5 empty] | 22 | 5
[5 empty] | 23 | 10
[5 empty] | 24 | 17
[5 empty] | 25 | 16
[5 empty] | 26 | 12
[5 empty] | 27 | 11
[5 empty] | 28 | 14
[5 empty] | 29 | 0
[5 empty] | 30 | 0
[5 empty] | 31 | 0
[5 empty] | 1 | 0
[5 empty] | 2 | 0
[5 empty] | 3 | 198
[5 empty] | 4 | 181
[5 empty] | 5 | 278
[5 empty] | 6 | 218
[5 empty] | 7 | 0
[5 empty] | 8 | 5
[5 empty] | 9 | 0
[5 empty] | 10 | 185
[5 empty] | 11 | 265
[5 empty] | 12 | 215
[5 empty] | 13 | 258
[5 empty] | 14 | 209
[5 empty] | 15 | 0
[5 empty] | 16 | 0
[5 empty] | 17 | 227
[5 empty] | 18 | 209
[5 empty] | 19 | 186
[5 empty] | 20 | 214
[5 empty] | 21 | 202
[5 empty] | 22 | 0
[5 empty] | 23 | 53
[5 empty] | 24 | 216
[5 empty] | 25 | 243
[5 empty] | 26 | 244
[5 empty] | 27 | 239
[5 empty] | 28 | 234
[5 empty] | 29 | 0
[5 empty] | 30 | 0
[5 empty] | 31 | 0
Note on R4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.Feb'25
DAILY ELECTRICITY CONSUMPTION FOR Oct. 20
| Grenlec | In -house | Total Cons.
DATE | In-feed (Kwhr) | Gen. (Kwhr) | (Kwhr) | Total Prod. | Elect
- |  |  |  |  | KWH/Hl
1 | 5855 | 0 | 5855 | 0 | #DIV/0!
2 | 3460 |  | 3460 | 0 | #DIV/0! | 1292 | 3826 | 5118 | #DIV/0!
3 | 7875 |  | 7875 | 0 | #DIV/0!
4 | 7756 | 0 | 7756 | 0 | #DIV/0!
5 | 8477 |  | 8477 | 0 | #DIV/0!
6 | 7797 |  | 7797 | 0 | #DIV/0!
7 | 3697 |  | 3697 | 0 | #DIV/0!
8 | 4659 |  | 4659 | 0 | #DIV/0!
9 | 5407 |  | 5407 | 0 | #DIV/0!
10 | 6755 |  | 6755 | 0 | #DIV/0!
11 | 8429 |  | 8429 | 0 | #DIV/0!
12 | 8273 |  | 8273 | 0 | #DIV/0!
13 | 8452 |  | 8452 | 0 | #DIV/0!
14 | 7340 |  | 7340 | 0 | #DIV/0!
15 | 4100 |  | 4100 | 0 | #DIV/0!
16 | 4256 |  | 4256 | 0 | #DIV/0!
17 | 7897 |  | 7897 | 0 | #DIV/0!
18 | 8686 |  | 8686 | 0 | #DIV/0!
19 | 8826 |  | 8826 | 0 | #DIV/0!
20 | 8615 |  | 8615 | 0 | #DIV/0!
21 | 8074 |  | 8074 | 0 | #DIV/0!
22 | 4355 |  | 4355 | 0 | #DIV/0!
23 | 4880 |  | 4880 | 0 | #DIV/0!
24 | 7857 |  | 7857 | 0 | #DIV/0!
25 | 8306 |  | 8306 | 0 | #DIV/0!
26 | 7906 |  | 7906 | 0 | #DIV/0!
27 | 8386 |  | 8386 | 0 | #DIV/0!
28 | 7988 |  | 7988 | 0 | #DIV/0!
29 | 0 |  | 0 | 0 | #DIV/0!
30 | 0 |  | 0 | 0 | #DIV/0!
31 | 0 |  | 0 | 0 | #DIV/0!
MTD | 194364 |  | 194364
186376

## PROD.FIG.
PRODUCTION FOR MAR. 2012
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Sunday | 1 | [5 empty] | 0
Monday | 2
Tuesday | 3
Wednesday | 4
Thursday | 5
Friday | 6
Saturday | 7
Sunday | 8
Monday | 9
Tuesday | 10
Wednesday | 11
Thursday | 12
Friday | 13
Saturday | 14
Sunday | 15
Monday | 16
Tuesday | 17
Wednesday | 18
Thursday | 19
Friday | 20
Saturday | 21
Sunday | 22
Monday | 23
Tuesday | 24
Wednesday | 25
Thursday | 26
Friday | 27
Saturday | 28
Sunday | 29
Note on C4: Note: Unit of measurement

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR FEBRUARY 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 166764 | 0 | -1250258 | 27709 | 30060 | 1250258 | 20538 | 10282 | 1280318 | -1280318 | -1270036 | 0 |  | 0 |  |  | #DIV/0!
2 | 166764 | 2 | -350 | 0 | 1280318 | 352 | 30820 | 0 | 0 | 0 | 0 | 0 |  | 4 |  |  | #DIV/0!
3 | 166766 | 72 | -125 | 0 | 1280670 | 197 | 30820 | 198 | 0 | 0 | 198 | 0 |  | 144 |  |  | #DIV/0!
4 | 166838 | 153 | -66 | 0 | 1280867 | 219 | 31018 | 181 | 0 | 0 | 181 | 0 |  | 306 |  |  | #DIV/0!
5 | 166991 | 288 | 139 | 0 | 1281086 | 149 | 31199 | 278 | 0 | 0 | 278 | 0 |  | 576 |  |  | #DIV/0!
6 | 167279 | 147 | -77 | 0 | 1281235 | 224 | 31477 | 218 | 0 | 20553 | 20771 | 0 |  | 294 |  |  | #DIV/0!
7 | 167426 | 299 | 299 | 0 | 1281459 | 0 | 31695 | 0 | 20553 | -20553 | -20553 | 0 |  | 598 |  |  | #DIV/0!
8 | 167725 | 55 | 19 | 0 | 1281459 | 36 | 31695 | 5 | 0 | 0 | 5 | 0 |  | 110 |  |  | #DIV/0!
9 | 167780 | 117 | 117 | 0 | 1281495 | 0 | 31700 | 0 | 0 | 0 | 0 | 0 |  | 234 |  |  | #DIV/0!
10 | 167897 | 207 | 132 | 0 | 1281495 | 75 | 31700 | 185 | 0 | 0 | 185 | 0 |  | 414 |  |  | #DIV/0!
11 | 168104 | 156 | -74 | 0 | 1281570 | 230 | 31885 | 265 | 0 | 0 | 265 | 0 |  | 312 |  |  | #DIV/0!
12 | 168260 | 277 | 100 | 0 | 1281800 | 177 | 32150 | 215 | 0 | 0 | 215 | 0 |  | 554 |  |  | #DIV/0!
13 | 168537 | 171 | -99 | 0 | 1281977 | 270 | 32365 | 258 | 0 | 0 | 258 | 0 | 23 | 342 |  |  | #DIV/0!
14 | 168708 | 214 | -55 | 0 | 1282247 | 269 | 32623 | 209 | 0 | 0 | 209 | 0 | 17 | 428 |  |  | #DIV/0!
15 | 168922 | 0 | -200 | 0 | 1282516 | 200 | 32832 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | #DIV/0!
16 | 168922 | 50 | 50 | 0 | 1282716 | 0 | 32832 | 0 | 0 | 0 | 0 | 0 | 0 | 100 |  |  | #DIV/0!
17 | 168972 | 136 | -75 | 0 | 1282716 | 211 | 32832 | 227 | 0 | 0 | 227 | 0 | 23 | 272 |  |  | #DIV/0!
18 | 169108 | 261 | 121 | 0 | 1282927 | 140 | 33059 | 209 | 0 | 0 | 209 | 0 | 19 | 522 |  |  | #DIV/0!
19 | 169369 | 180 | -71 | 0 | 1283067 | 251 | 33268 | 186 | 0 | 0 | 186 | 0 | 22 | 360 |  |  | #DIV/0!
20 | 169549 | 163 | -111 | 0 | 1283318 | 274 | 33454 | 214 | 0 | 0 | 214 | 0 | 12 | 326 |  |  | #DIV/0!
21 | 169712 | 154 | -108 | 0 | 1283592 | 262 | 33668 | 202 | 0 | 0 | 202 | 0 | 11 | 308 |  |  | #DIV/0!
22 | 169866 | 115 | 108 | 0 | 1283854 | 7 | 33870 | 0 | 0 | 0 | 0 | 0 | 0 | 230 |  |  | #DIV/0!
23 | 169981 | 0 | -87 | 0 | 1283861 | 87 | 33870 | 53 | 0 | 0 | 53 | 0 | 0 | 0 |  |  | #DIV/0!
24 | 169981 | 46 | -195 | 0 | 1283948 | 241 | 33923 | 216 | 0 | 0 | 216 | 0 | 18 | 92 |  |  | #DIV/0!
25 | 170027 | 0 | -287 | 0 | 1284189 | 287 | 34139 | 243 | 0 | 0 | 243 | 0 | 23 | 0 |  |  | #DIV/0!
26 | 170027 | 358 | 102 | 0 | 1284476 | 256 | 34382 | 244 | 0 | 0 | 244 | 0 | 17 | 716 |  |  | #DIV/0!
27 | 170385 | 153 | -69 | 0 | 1284732 | 222 | 34626 | 239 | 0 | 0 | 239 | 0 | 23 | 306 |  |  | #DIV/0!
28 | 170538 | 0 | -276 | 0 | 1284954 | 276 | 34865 | 234 | 0 | 0 | 234 | 0 | 20 | 0 |  |  | #DIV/0!
29 | 170538 | -170538 | 1114692 | 0 | 1285230 | -1285230 | 35099 | -35099 | 0 | 0 | -35099 | 0 | -39340 | -341076 |  |  | #DIV/0!
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
Total | [13 empty] | -333528

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-02-02
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1
Days | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Sat | Total
Cases Produced |  | 0 | 7710 | 8123 | 9422 | 6025 | 0 | 0 | 0 | 6249 | 10439 | 9388 | 8459 | 4501 | 0 | 0 | 4751 | 5335 | 5911 | 4927 | 6836 | 332.75 | 0 | 4711 | 8715 | 6251 | 5900 | 7608 | 0 | 0 | 0 | 131593.75
HL produced | 0 | 0 | 522.5976 | 536.118 | 621.852 | 397.65 | 0 | 0 | 0 | 412.434 | 688.974 | 619.608 | 558.294 | 297.066 | 0 | 0 | 313.566 | 352.11 | 390.126 | 337.9596 | 451.176 | 21.9615 | 0 | 310.926 | 575.19 | 412.566 | 389.4 | 502.128 | 0 | 0 | 0 | 8711.7027
Product Type | 0 | 0 | VMCl/Ginger/Stag | Stag/Carib | CB/GN | GN/Pils/ST | 0 | 0 | 0 | ST/CB | CB/ST/CB | CB/ST | SM/GN | CB/ST | 0 | 0 | ST/CB | CB/CbeR/CbeP | Sh.Gin/ Ting/ Sh. Sor | Sh.So/VM/Jcool | Jcool/CB | KEGS | 0 | CB/ST |  | CB | CB/GUINN/CB | CB/ST | 0 | 0 | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 2 | 72 | 153 | 288 | 147 | 299 | 55 | 117 | 207 | 156 | 277 | 171 | 214 | 0 | 50 | 136 | 261 | 180 | 163 | 154 | 115 | 0 | 46 | 0 | 358 | 153 | 0 | 0 | 0 |  | 3774
Annanale Supply | 255 | 79 | 188 | 207 | 142 | 213 | 0 | 0 | 0 | 106 | 218 | 168 | 256 | 256 | 190 | 0 | 200 | 133 | 238 | 260 | 248 | 7 | 83 | 227 | 274 | 262 | 190 | 262 | 0 | 0 | 0 | 4662
Total Water Supply | 255 | 81 | 260 | 360 | 430 | 360 | 299 | 55 | 117 | 313 | 374 | 445 | 427 | 470 | 190 | 50 | 336 | 394 | 418 | 423 | 402 | 122 | 83 | 273 | 274 | 620 | 343 | 262 | 0 | 0 | 0 | 8436
0
Theoretical permeate | 0 | 256.96 | 143.81 | 159.87 | 108.77 | 163.52 | 0 | 26.28 | 0 | 54.75 | 167.9 | 129.21 | 197.1 | 197.1 | 197.1 | 197.1 | 197.1 | 197.1 | 183.23 | 200.02 | 191.26 | 5.11 | 63.51 | 175.93 | 209.51 | 186.88 | 162.06 | 201.48 | 0 | 0 | 0 | 3972.66 | 9305 |  | 10.681
111.69
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 20 | 83 | 249 | 210 | 253 | 208 | 12 | 72 | 18 | 223 | 275 | 199 | 236 | 169 | 61 | 26 | 197 | 209 | 199 | 232 | 155 | 39 | 66 | 240 | 189 | 176 | 189 | 206 | 0 | 0 | 0 | 4411
Water consumption | 20 | 83 | 249 | 210 | 253 | 208 | 12 | 72 | 18 | 223 | 275 | 199 | 236 | 169 | 61 | 26 | 197 | 209 | 199 | 232 | 155 | 39 | 66 | 240 | 189 | 176 | 189 | 206 | 0 | 0 | 0 | 4411
|  |  | 4.7647 | 3.917 | 4.0685 | 5.2307 |  |  |  | 5.4069 | 3.9914 | 3.2117 | 4.2272 | 5.689 |  |  | 6.2826 | 5.9356 | 5.1009 | 6.8647 | 3.4355 | 17.7583 |  | 7.7189 | 3.2859 | 4.266 | 4.8536 | 4.1025
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 0 | 198 | 181 | 278 | 218 | 0 | 5 | 0 | 185 | 265 | 215 | 258 | 209 | 0 | 0 | 227 | 209 | 186 | 214 | 202 | 0 | 53 | 216 | 243 | 244 | 239 | 234 | 0 | 0 | 0 | 4279
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF!
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 62 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69
CIP Process | 0 | 0 | 79 | 44 | 61 | 51 | 0 | 0 | 0 | 65 | 55 | 29 | 62 | 62 | 62 | 2 | 2 | 2 | 54 | 72 | 32 | 0 | 20 | 64 | 30 | 45 | 42 | 67 | 0 | 0 | 0 | 1002 |  |  | 15588.1818
Bottles Washer | 33 | 2 | 81 | 70 | 91 | 60 | 0 | 0 | 32 | 75 | 97 | 86 | 85 | 85 | 85 | 85 | 85 | 85 | 64 | 61 | 64 | 11 | 0 | 80 | 77 | 63 | 61 | 67 | 0 | 0 | 0 | 1685
Bottle Filler | 0 | 0 | 27 | 24 | 24 | 20 | 0 | 0 | 0 | 23 | 26 | 24 | 23 | 17 | 2 | 0 | 23 | 19 | 22 | 12 | 11 | 0 | 0 | 18 | 23 | 17 | 23 | 20 | 0 | 0 | 0 | 398
Pasteuriser | 0 | 0 | 7 | 3 | 5 | 0 | 0 | 0 | 0 | 14 | 10 | 0 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 32 | 5 | 0 | 6 | 3 | 0 | 0 | 0 | 98
Boiler Supply | 41 | 18 | 60 | 51 | 42 | 32 | 0 | 8 | 8 | 22 | 27 | 31 | 28 | 28 | 8 | 11 | 11 | 26 | 33 | 24 | 21 | 5 | 10 | 17 | 16 | 12 | 11 | 14 | 0 | 0 | 0 | 615
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 234 | 0 | 0 | 419
Personnel Consumption
Total water consumption (M3) | 74 | 20 | 452 | 373 | 501 | 381 | 0 | 13 | 40 | 384 | 665 | 385 | 461 | 410 | 219 | 98 | 348 | 343 | 360 | 386 | 330 | 16 | 83 | 427 | 394 | 381 | 382 | 405 | 234 | #REF! | 0 | #REF!
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 (kg.) (Filler) | 0 | 0 | 29.34 | 43.05 | 40.72 | 4.39 | 0 | 0 | 0 | 0 | 20 | 34.58 | 31.4 | 37.14 | 23.2 | 0 | 0 | 21.09 | 20.29 | 24.34 | 18.44 | 14.92 | 0 | 0 | 14.34 | 19.01 | 28.09 | 6.57 | 16 | 0 | 0 | 446.91
Electricity (Kwh.) | 5855 | 3460 | 7875 | 7756 | 8477 | 7797 | 3697 | 4659 | 5407 | 6755 | 8429 | 8273 | 8452 | 7340 | 4100 | 4256 | 7897 | 8686 | 8826 | 8615 | 8074 | 4355 | 4880 | 7857 | 7857 | 7906 | 8386 | 7988 | 0 | 0 | 0 | 193915
Fuel (L) | 200 | 760 | 3100 | 3030 | 3400 | 2920 | 0 | 410 | 1100 | 2710 | 3220 | 3280 | 3570 | 2810 | 380 | 650 | 2850 | 3020 | 3160 | 2970 | 2410 | 340 | 1010 | 3110 | 3250 | 2810 | 2940 | 2650 | 0 | 0 | 0 | 62060
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  |  | 4.9751 | 6.7149 | 6.9148 | 9.0532 |  |  |  | 7.5891 | 5.4284 | 7.182 | 7.6483 | 15.8214 |  |  | 10.7154 | 11.1897 | 10.7145 | 12.5163 | 8.91 | 55.5518 |  | 8.7802 | 4.7636 | 15.0279 | 8.8084 | 5.2178 |  |  |  | 9.6835 | 10.2 | 0.51647
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  |  | 3.7888 | 3.3761 | 4.4705 | 5.4822 |  |  |  | 4.4856 | 3.8463 | 3.4699 | 4.6212 | 7.0355 |  |  | 7.2393 | 5.9356 | 4.7677 | 6.3321 | 4.4772 | 0 |  | 6.947 | 4.2247 | 5.9142 | 6.1376 | 4.6602 |  |  |  | 4.9118 | 2.5 | -2.4118
Brewhouse (Hls brewed) |  |  | 4.7425 | 7.2866 | 7.0184 | 10.6863 |  |  |  | 4.4968 | 7.3387 | 4.6943 | 6.6154 | 6.9114 |  |  | 5.0022 | 5.1301 | 4.604 | 5.326 | 7.7902 |  |  | 5.2928 | 6.0403 | 5.4066 | 6.8698 | 7.7793 |  |  |  | 6.0906 | 2.5 | -3.5906
Spent Grains/Wash-down Areas |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | #REF! | 0.1 | #REF!
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0.16831 |  |  | 0 | 0.0568 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0.079204 | 1 | 0.9208
CIP Process |  |  | 1.5117 | 0.82071 | 0.98094 | 1.2825 |  |  |  | 1.576 | 0.79829 | 0.46804 | 1.1105 | 2.0871 |  |  | 0.063782 | 0.0568 | 1.3842 | 2.1304 | 0.70926 | 0 |  | 2.0584 | 0.52157 | 1.0907 | 1.0786 | 1.3343 |  |  |  | 1.1502 | 0.7 | -0.45018
Bottles Washer |  |  | 1.5499 | 1.3057 | 1.4634 | 1.5089 |  |  |  | 1.8185 | 1.4079 | 1.388 | 1.5225 | 2.8613 |  |  | 2.7108 | 2.414 | 1.6405 | 1.8049 | 1.4185 | 5.0088 |  | 2.573 | 1.3387 | 1.527 | 1.5665 | 1.3343 |  |  |  | 1.9342 | 2.6 | 0.66582
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  |  | 0.51665 | 0.44766 | 0.38594 | 0.50295 |  |  |  | 0.55766 | 0.37737 | 0.38734 | 0.41197 | 0.57226 |  |  | 0.7335 | 0.5396 | 0.56392 | 0.35507 | 0.24381 | 0 |  | 0.57892 | 0.39987 | 0.41206 | 0.59065 | 0.3983 |  |  |  | 0.45686 | 0.7 | 0.24314
Pasteuriser |  |  | 0.13395 | 0.055958 | 0.080405 | 0 |  |  |  | 0.33945 | 0.14514 | 0 | 0.089559 | 0.13465 |  |  | 0 | 0 | 0.025633 | 0.088768 | 0 | 0 |  | 1.0292 | 0.086928 | 0 | 0.15408 | 0.059746 |  |  |  | 0.11249 | 0.1 | -0.012492
Boiler Supply |  |  | 1.1481 | 0.95128 | 0.6754 | 0.80473 |  |  |  | 0.53342 | 0.39189 | 0.50032 | 0.50153 | 0.94255 |  |  | 0.3508 | 0.73841 | 0.84588 | 0.71014 | 0.46545 | 2.2767 |  | 0.54675 | 0.27817 | 0.29086 | 0.28249 | 0.27881 |  |  |  | 0.70595 | 0.6 | -0.10595
Backwash Supply |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 13.3916 | 14.2441 | 15.075 | 20.2676 | 0 | 0 | 0 | 13.8074 | 14.3056 | 10.9079 | 14.8727 | 20.713 | 0 | 0 | 16.1003 | 14.8714 | 13.8317 | 16.7475 | 15.1044 | 7.2855 | 0 | 19.026 | 12.8902 | 14.6415 | 16.6798 | 15.8449 | 0 | 0 | 0 | #REF! | 15.6 | #REF!
Bottling Hall water | 0 | 0 | 2.2005 | 1.8093 | 1.9297 | 2.0118 | 0 | 0 | 0 | 2.7156 | 1.9304 | 1.7753 | 2.024 | 3.5682 | 0 | 0 | 3.4443 | 2.9536 | 2.23 | 2.2488 | 1.6623 | 5.0088 | 0 | 4.1811 | 1.8255 | 1.9391 | 2.3112 | 1.7924 | 0 | 0 | 0 | 2.5035 | 6 | 3.4965
CO2 (kg./Hl.) KPI |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 5 | 5
CO2 Filler (kg./Hl.) KPI |  |  | 0.056143 | 0.080299 | 0.065482 | 0.01104 |  |  |  | 0 | 0.029029 | 0.055809 | 0.056243 | 0.12502 |  |  | 0 | 0.059896 | 0.052009 | 0.07202 | 0.040871 | 0.67937 |  | 0 | 0.024931 | 0.046077 | 0.072137 | 0.013084 |  |  |  | 0.0513 | 1.7 | 1.6487
Electricity (Kwh./Hl.) KPI |  |  | 15.069 | 14.467 | 13.6319 | 19.6077 |  |  |  | 16.3784 | 12.2341 | 13.352 | 15.139 | 24.7083 |  |  | 25.1845 | 24.6684 | 22.6235 | 25.4912 | 17.8955 | 198.3016 |  | 25.2697 | 13.6598 | 19.163 | 21.5357 | 15.9083 |  |  |  | 22.2591 | 22 | -0.25914
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  |  | 5.9319 | 5.6517 | 5.4675 | 7.3431 |  |  |  | 6.5707 | 4.6736 | 5.2937 | 6.3945 | 9.4592 |  |  | 9.089 | 8.5769 | 8.0999 | 8.788 | 5.3416 | 15.4816 |  | 10.0024 | 5.6503 | 6.811 | 7.5501 | 5.2775 |  |  |  | 7.1238 | 7.2 | 0.076249
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.14 | 1 | 171 | 256 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 465.14
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Sat to Tue
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 0 | 417.5 | 248.4 | 396.1 | 204 | 0 | 0 | 0 | 411.4 | 361.1 | 458 | 390 | 302.4 | 0 | 0 | 453.8 | 407.4 | 404 | 401.8 | 259.3 | 0 | 0 | 408.1 | 402.3 | 451.3 | 347.9 | 300.8 | 0 | 0 | 0 | 7025.6
Product | 0 | 0 | Guinn/Carib | Carib | Carib/Stag | GN/Pils/ST | 0 | 0 | 0 | Carib | Starmalt/ Carib | Carib | Carib/Stag | Stag | 0 | 0 | Carib/ Vitamalt | Vitamalt/ Guinn | Guinn/ Stag | Stag/Carib | Stag/Carib | 0 | 0 | Carib | Carib | Carib/ Stag | Stag | Stag/ Carib | 0 | 0 | 0
No. of Brews | 0 | 0 | 8 | 5 | 8 | 5 | 0 | 0 | 0 | 8 | 7 | 9 | 8 | 6 | 0 | 0 | 9 | 8 | 8 | 8 | 5 | 0 | 0 | 8 | 8 | 9 | 7 | 6 | 0 | 0 | 0 | 140
Raw Water In - Nawasa | 0 | 352 | 197 | 219 | 149 | 224 | 0 | 36 | 0 | 75 | 230 | 177 | 270 | 270 | 270 | 270 | 270 | 270 | 251 | 274 | 262 | 7 | 87 | 241 | 287 | 256 | 222 | 276 | 0 | 0 | 0 | 5442
Into RO | [31 empty] | 0 | bar: Sat; Thu to Fri
| 5855 | 3460 | 7875 | 7756 | 8477 | 7797 | 3697 | 4659 | 5407 | 6755 | 8429 | 8273 | 8452 | 7340 | 4100 | 4256 | 7897 | 8686 | 8826 | 8615 | 8074 | 4355 | 4880 | 7857 | 7857 | 7906 | 8386 | 7988 | 0 | 0 |  | 193915
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-02-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 1 | 2 | 31 |  |  | Monthly Target
| Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Sat |  | Total |  | Diff.
Cases Produced |  |  | 7710 | 8123 | 9422 | 6025 |  |  |  | 6249 | 10439 | 9388 | 8459 | 4501 |  |  | 4751 | 5335 | 5911 | 4927 | 6836 | 332.75 |  | 4711 | 8715 | 6251 | 5900 | 7608 |  |  |  |  | 131593.75 | 96325 | 35268.75
HL produced | 0 | 0 | 522.5976 | 536.118 | 621.852 | 397.65 | 0 | 0 | 0 | 412.434 | 688.974 | 619.608 | 558.294 | 297.066 | 0 | 0 | 313.566 | 352.11 | 390.126 | 337.9596 | 451.176 | 21.9615 | 0 | 310.926 | 575.19 | 412.566 | 389.4 | 502.128 | 0 | 0 | 0 | 0 | 8711.7027
Product Type |  |  | VMCl/Ginger/Stag | Stag/Carib | CB/GN | GN/Pils/ST |  |  |  | ST/CB | CB/ST/CB | CB/ST | SM/GN | CB/ST |  |  | ST/CB | CB/CbeR/CbeP | Sh.Gin/ Ting/ Sh. Sor | Sh.So/VM/Jcool | Jcool/CB | KEGS |  | CB/ST | ST/CB | CB | CB/GUINN/CB | CB/ST
Hls Brewed |  |  | 417.5 | 248.4 | 396.1 | 204 |  |  |  | 411.4 | 361.1 | 458 | 390 | 302.4 |  |  | 453.8 | 407.4 | 404 | 401.8 | 259.3 |  |  | 408.1 | 402.3 | 451.3 | 347.9 | 300.8 |  |  |  |  | 7025.6
Product |  |  | Guinn/Carib | Carib | Carib/Stag | Carib/Stag |  |  |  | Carib | Starmalt/ Carib | Carib | Carib/Stag | Stag |  |  | Carib/ Vitamalt | Vitamalt/ Guinn | Guinn/ Stag | Stag/Carib | Stag/Carib |  |  | Carib | Carib | Carib/ Stag | Stag | Stag/ Carib
No. of Brews |  |  | 8 | 5 | 8 | 5 |  |  |  | 8 | 7 | 9 | 8 | 6 |  |  | 9 | 8 | 8 | 8 | 5 |  |  | 8 | 8 | 9 | 7 | 6 |  |  |  |  | 140
Brewhouse (Hls brewed) |  |  | 4.7425 | 7.2866 | 7.0184 | 10.6863 |  |  |  | 4.4968 | 7.3387 | 4.6943 | 6.6154 | 6.9114 |  |  | 5.0022 | 5.1301 | 4.604 | 5.326 | 7.7902 |  |  | 5.2928 | 6.0403 | 5.4066 | 6.8698 | 7.7793 |  |  |  |  | 6.0906 | 3.2 | -2.8906
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 0 | 2 | 72 | 153 | 288 | 147 | 299 | 55 | 117 | 207 | 156 | 277 | 171 | 214 | 0 | 50 | 136 | 261 | 180 | 163 | 154 | 115 | 0 | 46 | 0 | 358 | 153 | 0 | 0 | 0 | 0 |  | 3774
Annanale Supply | 255 | 79 | 188 | 207 | 142 | 213 | 0 | 0 | 0 | 106 | 218 | 168 | 256 | 256 | 190 | 0 | 200 | 133 | 238 | 260 | 248 | 7 | 83 | 227 | 274 | 262 | 190 | 262 | 0 | 0 | 0 |  | 4662
Total Water Supply | 255 | 81 | 260 | 360 | 430 | 360 | 299 | 55 | 117 | 313 | 374 | 445 | 427 | 470 | 190 | 50 | 336 | 394 | 418 | 423 | 402 | 122 | 83 | 273 | 274 | 620 | 343 | 262 | 0 | 0 | 0 |  | 8436
0
Theoretical permeate | 0 | 256.96 | 143.81 | 159.87 | 108.77 | 163.52 | 0 | 26.28 | 0 | 54.75 | 167.9 | 129.21 | 197.1 | 196.37 | 146 | 0 | 154.03 | 102.2 | 183.23 | 200.02 | 191.26 | 5.11 | 63.51 | 175.93 | 209.51 | 186.88 | 162.06 | 201.48 | 0 | 0 | 0 |  | 3585.76 | 9311 |  | 10.6879
| Tue: 111.69 |  | 111.69
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 20 | 83 | 249 | 210 | 253 | 208 | 12 | 72 | 18 | 223 | 275 | 199 | 236 | 169 | 61 | 26 | 197 | 209 | 199 | 232 | 155 | 39 | 66 | 240 | 189 | 176 | 189 | 206 | 0 | 0 | 0 |  | 4411
Brewhouse | 0 | 0 | 198 | 181 | 278 | 218 | 0 | 5 | 0 | 185 | 265 | 215 | 258 | 209 | 0 | 0 | 227 | 209 | 186 | 214 | 202 | 0 | 53 | 216 | 243 | 244 | 239 | 234 | 0 | 0 | 0 |  | 4279
Boiler Supply | 41 | 18 | 60 | 51 | 42 | 32 | 0 | 8 | 8 | 22 | 27 | 31 | 28 | 22 | 8 | 11 | 23 | 26 | 33 | 24 | 21 | 5 | 10 | 17 | 16 | 12 | 11 | 14 | 0 | 0 | 0 |  | 621
Water consumption | 61 | 101 | 507 | 442 | 573 | 458 | 12 | 85 | 26 | 430 | 567 | 445 | 522 | 400 | 69 | 37 | 447 | 444 | 418 | 470 | 378 | 44 | 129 | 473 | 448 | 432 | 439 | 454 | 0 | 0 | 0 |  | 9311
|  |  | 9.7015 | 8.2445 | 9.2144 | 11.5177 |  |  |  | 10.4259 | 8.2296 | 7.182 | 9.3499 | 13.465 |  |  | 14.2554 | 12.6097 | 10.7145 | 13.907 | 8.3781 | 20.0351 |  | 15.2126 | 7.7887 | 10.4711 | 11.2738 | 9.0415 |  |  |  |  | 10.6879
Water Consumption detail | [32 empty] | 0
Brewhouse | 0 | 0 | 198 | 181 | 278 | 218 | 0 | 5 | 0 | 185 | 265 | 215 | 258 | 209 | 0 | 0 | 227 | 209 | 186 | 214 | 202 | 0 | 53 | 216 | 243 | 244 | 239 | 234 | 0 | 0 | 0 |  | 4279
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 0 | 0 | 79 | 44 | 61 | 51 | 0 | 0 | 0 | 65 | 55 | 29 | 62 | 38 | 0 | 2 | 37 | 64 | 54 | 72 | 32 | 0 | 20 | 64 | 30 | 45 | 42 | 67 | 0 | 0 | 0 |  | 1013
Bottles Washer | 33 | 2 | 81 | 70 | 91 | 60 | 0 | 0 | 32 | 75 | 97 | 86 | 85 | 57 | 23 | 7 | 57 | 60 | 64 | 61 | 64 | 11 | 0 | 80 | 77 | 63 | 61 | 67 | 0 | 0 | 0 |  | 1464
Bottle Filler | 0 | 0 | 27 | 24 | 24 | 20 | 0 | 0 | 0 | 23 | 26 | 24 | 23 | 17 | 2 | 0 | 23 | 19 | 22 | 12 | 11 | 0 | 0 | 18 | 23 | 17 | 23 | 20 | 0 | 0 | 0 |  | 398
Pasteuriser | 0 | 0 | 7 | 3 | 5 | 0 | 0 | 0 | 0 | 14 | 10 | 0 | 5 | 4 | 0 | 0 | 0 | 0 | 1 | 3 | 0 | 0 | 0 | 32 | 5 | 0 | 6 | 3 | 0 | 0 | 0 |  | 98
Boiler Supply | 41 | 18 | 60 | 51 | 42 | 32 | 0 | 8 | 8 | 22 | 27 | 31 | 28 | 22 | 8 | 11 | 23 | 26 | 33 | 24 | 21 | 5 | 10 | 17 | 16 | 12 | 11 | 14 | 0 | 0 | 0 |  | 621
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 74 | 20 | 452 | 373 | 501 | 381 | 0 | 13 | 40 | 384 | 480 | 385 | 461 | 347 | 33 | 20 | 367 | 378 | 360 | 386 | 330 | 16 | 83 | 427 | 394 | 381 | 382 | 405 | 0 | 0 | 0 |  | 7873
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  |  | 3.7888 | 3.3761 | 4.4705 | 5.4822 |  |  |  | 4.4856 | 3.8463 | 3.4699 | 4.6212 | 7.0355 |  |  | 7.2393 | 5.9356 | 4.7677 | 6.3321 | 4.4772 | 0 |  | 6.947 | 4.2247 | 5.9142 | 6.1376 | 4.6602 |  |  |  |  | 4.9118 | 3.2 | -1.7118
Spent Grains/Wash-down Areas | [32 empty] | 0 | 0.1 | 0.1
Whirlpool |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0.1 | 0.1
Cellars/Filtration |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 1 | 1
CIP Process |  |  | 1.5117 | 0.82071 | 0.98094 | 1.2825 |  |  |  | 1.576 | 0.79829 | 0.46804 | 1.1105 | 1.2792 |  |  | 1.18 | 1.8176 | 1.3842 | 2.1304 | 0.70926 | 0 |  | 2.0584 | 0.52157 | 1.0907 | 1.0786 | 1.3343 |  |  |  |  | 1.1628 | 0.7 | -0.4628
Bottles Washer |  |  | 1.5499 | 1.3057 | 1.4634 | 1.5089 |  |  |  | 1.8185 | 1.4079 | 1.388 | 1.5225 | 1.9188 |  |  | 1.8178 | 1.704 | 1.6405 | 1.8049 | 1.4185 | 5.0088 |  | 2.573 | 1.3387 | 1.527 | 1.5665 | 1.3343 |  |  |  |  | 1.6805 | 2.1 | 0.4195
Bottle Filler |  |  | 0.51665 | 0.44766 | 0.38594 | 0.50295 |  |  |  | 0.55766 | 0.37737 | 0.38734 | 0.41197 | 0.57226 |  |  | 0.7335 | 0.5396 | 0.56392 | 0.35507 | 0.24381 | 0 |  | 0.57892 | 0.39987 | 0.41206 | 0.59065 | 0.3983 |  |  |  |  | 0.45686 | 0.7 | 0.24314
Pasteuriser |  |  | 0.13395 | 0.055958 | 0.080405 | 0 |  |  |  | 0.33945 | 0.14514 | 0 | 0.089559 | 0.13465 |  |  | 0 | 0 | 0.025633 | 0.088768 | 0 | 0 |  | 1.0292 | 0.086928 | 0 | 0.15408 | 0.059746 |  |  |  |  | 0.11249 | 0.1 | -0.012492
Boiler Supply |  |  | 1.1481 | 0.95128 | 0.6754 | 0.80473 |  |  |  | 0.53342 | 0.39189 | 0.50032 | 0.50153 | 0.74058 |  |  | 0.7335 | 0.73841 | 0.84588 | 0.71014 | 0.46545 | 2.2767 |  | 0.54675 | 0.27817 | 0.29086 | 0.28249 | 0.27881 |  |  |  |  | 0.71283 | 0.6 | -0.11283
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 8.6491 | 6.9574 | 8.0566 | 9.5813 | 0 | 0 | 0 | 9.3106 | 6.9669 | 6.2136 | 8.2573 | 11.6809 | 0 | 0 | 11.7041 | 10.7353 | 9.2278 | 11.4215 | 7.3142 | 7.2855 | 0 | 13.7332 | 6.8499 | 9.2349 | 9.81 | 8.0657 | 0 | 0 | 0 |  | 9.0373 | 9.6 | 0.56273
Bottling Hall water | 0 | 0 | 2.2005 | 1.8093 | 1.9297 | 2.0118 | 0 | 0 | 0 | 2.7156 | 1.9304 | 1.7753 | 2.024 | 2.6257 | 0 | 0 | 2.5513 | 2.2436 | 2.23 | 2.2488 | 1.6623 | 5.0088 | 0 | 4.1811 | 1.8255 | 1.9391 | 2.3112 | 1.7924 | 0 | 0 | 0 |  | 2.2498 | 2.9 | 0.65015
Water Plant Total (Before Sand Filter) | 0 | 352 | 197 | 219 | 149 | 224 | 0 | 36 | 0 | 75 | 230 | 177 | 270 | 269 | 200 | 0 | 211 | 140 | 251 | 274 | 262 | 7 | 87 | 241 | 287 | 256 | 222 | 276 | 0 | 0 | 0 |  | 4912
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) |  | 900 | 1900 | 2400 | 1750 | 2050 |  |  | 700 | 1700 | 2400 | 2400 | 2500 | 2300 | 0 | 2800 | 1600 | 1600 | 1300 | 2000 | 1500 |  |  | 1600 | 2400 | 2200 | 1900 | 2600 | 0 |  |  |  | 42500
0
CO2 (kg.) (Filler) | 0 | 0 | 29.34 | 43.05 | 40.72 | 4.39 | 0 | 0 | 0 | 0 | 20 | 34.58 | 31.4 | 37.14 | 23.2 | 0 | 0 | 21.09 | 20.29 | 24.34 | 18.44 | 14.92 | 0 | 0 | 14.34 | 19.01 | 28.09 | 6.57 | 16 | 0 | 0 |  | 430.91
0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Electricity (Kwh.) | 5855 | 3460 | 7875 | 7756 | 8477 | 7797 | 3697 | 4659 | 5407 | 6755 | 8429 | 8273 | 8452 | 7340 | 4100 | 4256 | 7897 | 8686 | 8826 | 8615 | 8074 | 4355 | 4880 | 7857 | 8306 | 7906 | 8386 | 7988 | 0 | 0 | 0 |  | 194364
Fuel (L) | 200 | 760 | 3100 | 3030 | 3400 | 2920 | 0 | 410 | 1100 | 2710 | 3220 | 3280 | 3570 | 2810 | 380 | 650 | 2850 | 3020 | 3160 | 2970 | 2410 | 340 | 1010 | 3110 | 3250 | 2810 | 2940 | 2650 | 0 | 0 | 0 |  | 62060
Steam Mass Flow | 0 | 0 | 281.877 | 0 | 0 | 0 | 0 | 0 | 36.402 | 13.365 | 17.898 | 0 | 0 | 0 | 0 | 0 | 7188.348 | 458.238 | 0 | 0 | 0 | 0 | 0 | 2.546 | 8.035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8006.709
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff
Total water consumption |  |  | 4.9751 | 6.7149 | 6.9148 | 9.0532 |  |  |  | 7.5891 | 5.4284 | 7.182 | 7.6483 | 15.8214 |  |  | 10.7154 | 11.1897 | 10.7145 | 12.5163 | 8.91 | 55.5518 |  | 8.7802 | 4.7636 | 15.0279 | 8.8084 | 5.2178 |  |  |  |  | 9.6835 | 10.2 | 0.51647
CO2 (kg./Hl.) KPI |  |  | 3.6357 | 4.4766 | 2.8142 | 5.1553 |  |  |  | 4.1219 | 3.4834 | 3.8734 | 4.4779 | 7.7424 |  |  | 5.1026 | 4.544 | 3.3323 | 5.9179 | 3.3246 | 0 |  | 5.1459 | 4.1725 | 5.3325 | 4.8793 | 5.178 |  |  |  |  | 4.8785 | 5 | 0.1215
CO2 Filler (kg./Hl.) KPI |  |  | 0.056143 | 0.080299 | 0.065482 | 0.01104 |  |  |  | 0 | 0.029029 | 0.055809 | 0.056243 | 0.12502 |  |  | 0 | 0.059896 | 0.052009 | 0.07202 | 0.040871 | 0.67937 |  | 0 | 0.024931 | 0.046077 | 0.072137 | 0.013084 |  |  |  |  | 0.049463 | 1.7 | 1.6505
Electricity (Kwh./Hl.) KPI |  |  | 15.069 | 14.467 | 13.6319 | 19.6077 |  |  |  | 16.3784 | 12.2341 | 13.352 | 15.139 | 24.7083 |  |  | 25.1845 | 24.6684 | 22.6235 | 25.4912 | 17.8955 | 198.3016 |  | 25.2697 | 14.4404 | 19.163 | 21.5357 | 15.9083 |  |  |  |  | 22.3107 | 22 | -0.31068
Fuel (L/Hl.) KPI |  |  | 5.9319 | 5.6517 | 5.4675 | 7.3431 |  |  |  | 6.5707 | 4.6736 | 5.2937 | 6.3945 | 9.4592 |  |  | 9.089 | 8.5769 | 8.0999 | 8.788 | 5.3416 | 15.4816 |  | 10.0024 | 5.6503 | 6.811 | 7.5501 | 5.2775 |  |  |  |  | 7.1238 | 7.2 | 0.076249
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Tanks on Collection
Into RO | Sat: _; Sun: 352; Thu: _; Fri: _; Sat: _ |  | 352
| 5855 |  | 7875 | 7756 | 8477 | 7797 | 3697 | 4659 | 5407 | 6755 | 8429 | 8273 | 8452 | 7340 | 4100 | 4256 | 7897 | 8686 | 8826 | 8615 | 8074 | 4355 | 4880 | 7857 | 8306 | 7906 | 8386 | 7988 | 0 | 0 | 0 |  | 194364
3460
Note on H7: Reshelle Fleming: Independence
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 1100 kgs Tank B 0 kgs Tank C 25700Kgs Mobile aprox 0 kgs
Note on C74: Delano Pasea: Unaccounted CO2 NMHU0000094
Note on D74: Delano Pasea: Tank A 1100 kgs Tank B 0 kgs Tank C 25700Kgs Mobile aprox 17400 kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24900Kgs Mobile aprox 17400 kgs
Note on F74: Delano Pasea: Tank A 11400 kgs Tank B 1750 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on G74: Delano Pasea: Tank A 11400 kgs Tank B 1750 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on I74: Delano Pasea: Tank A 11100 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on J74: Delano Pasea: Tank A 11100 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on K74: Delano Pasea: Tank A 10400 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on L74: Delano Pasea: Tank A 8700 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on M74: Delano Pasea: Tank A 6300 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on N74: Delano Pasea: Tank A 3900 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on O74: Delano Pasea: Tank A 1400 kgs Tank B 0 kgs Tank C 24100Kgs Mobile aprox 0 kgs
Note on P74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs Mobile aprox 21500 kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs Mobile aprox 19100 kgs
Note on S74: Delano Pasea: Tank A 11400 kgs Tank B 4900 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on T74: Delano Pasea: Tank A 11400 kgs Tank B 3300 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on U74: Delano Pasea: Tank A 11400 kgs Tank B 2000kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on V74: Delano Pasea: Tank A 11400 kgs Tank B 0kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on W74: Delano Pasea: Tank A 9900 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on X74: Delano Pasea: Tank A 9900 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on Y74: Delano Pasea: Tank A 9900 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on Z74: Delano Pasea: Tank A 8300 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on AA74: Delano Pasea: Tank A 5900 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on AB74: Delano Pasea: Tank A 3700 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on AC74: Delano Pasea: Tank A 1800 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs Mobile aprox 0 kgs