## Entries Jan.'25
| ENTRIES FOR DAILY CONS. MONITOR | [13 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [9 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) |  | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (l) | (l) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) |  | DATE | [9 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
- | [17 empty] | 5140
1 | 7099820 |  |  | 70 | 1958 | 68151 |  | 1113373 | 698016 | 466400 |  |  |  | 1 | 164330 | 82357 | 881734 |  | 26885 |  | 20523 | 1274438 |  | 29099 | 26575 | 3628 | 97122 |  | 38695 | 258241 | [5 empty] | 7257267
2 | 7100320 |  |  | 70 | 1961 | 68151 |  | 1115635 | 700137 | 466400 |  |  |  | 2 | 164472 | 82358 | 881734 |  | 26885 |  | 20523 | 1274478 |  | 29099 | 26575 | 3630 | 97122 |  | 38695 | 258241 | [5 empty] | 7257267
3 | 7103150 |  |  | 70 | 1982 | 68151 |  | 1119323 | 703607 | 466400 |  |  |  | 3 | 164532 | 82361 | 881746 |  | 27018 |  | 20526 | 1274625 |  | 29122 | 26636 | 3728 | 97122 |  | 38712 | 258241 | [5 empty] | 7257573
4 | 7104630 |  |  | 70 | 1993 | 68151 |  | 1122307 | 706417 | 466400 |  |  |  | 4 | 164582 | 82370 | 882005 |  | 27166 |  | 20526 | 1274850 |  | 29158 | 26651 | 3772 | 97122 |  | 38716 | 258241 | [5 empty] | 7257769
5 | 7104630 |  |  | 70 | 1993 | 68151 |  | 1124566 | 708541 | 466400 |  |  |  | 5 | 164582 | 82373 | 882055 |  | 27166 |  | 20526 | 1274932 |  | 29158 | 26651 | 3772 | 97122 |  | 38716 | 258241 | [5 empty] | 7257769
6 | 7106450 |  |  | 70 | 1999 | 68151 |  | 1126545 | 710406 | 466400 |  |  |  | 6 | 164582 | 82373 | 882072 |  | 27166 |  | 20526 | 1274978 |  | 29158 | 26651 | 3772 | 97122 |  | 38716 | 258241 | [5 empty] | 7257769
7 | 7108550 |  |  | 70 | 2020 | 68151 |  | 1130760 | 714376 | 466400 |  |  |  | 7 | 164722 | 82383 | 882301 |  | 27301 |  | 20526 | 1275187 |  | 29225 | 26677 | 3838 | 97122 |  | 38733 | 258241 | [5 empty] | 7257844
8 | 7111750 |  |  | 70 | 2042 | 68151 |  | 1134706 | 718093 | 466400 |  |  |  | 8 | 164949 | 82398 | 882507 |  | 27512 |  | 20527 | 1275425 |  | 29267 | 26837 | 3901 | 97122 |  | 38760 | 258251 | [5 empty] | 7257844
9 | 7114960 |  |  | 70 | 2063 | 68151 |  | 1138888 | 722032 | 466400 |  |  |  | 9 | 165085 | 82412 | 882745 |  | 27700 |  | 20529 | 1275627 |  | 29331 | 26908 | 3952 | 97122 |  | 38781 | 258285 | [5 empty] | 7257844
10 | 7118020 |  |  | 70 | 2085 | 68151 |  | 1142835 | 725750 | 466400 |  |  |  | 10 | 165406 | 82415 | 882968 |  | 27871 |  | 20529 | 1275880 |  | 29408 | 26974 | 3985 | 97122 |  | 38797 | 258324 | [5 empty] | 7257844
11 | 7119190 |  |  | 70 | 2095 | 68151 |  | 1145640 | 728383 | 466400 |  |  |  | 11 | 165439 | 82420 | 883016 |  | 28036 |  | 20529 | 1276137 |  | 29416 | 26975 | 4018 | 97122 |  | 38797 | 258324 | [5 empty] | 7257844
12 | 7119940 |  |  | 70 | 2102 | 68151 |  | 1147840 | 730451 | 466400 |  |  |  | 12 | 165439 | 82422 | 883073 |  | 28096 |  | 20529 | 1276228 |  | 29422 | 27004 | 4034 | 97122 |  | 38797 | 258324 | [5 empty] | 7257844
13 | 7120010 |  |  | 70 | 2103 | 68151 |  | 1149919 | 732411 | 466400 |  |  |  | 13 | 165439 | 82422 | 883133 |  | 28100 |  | 20529 | 1276359 |  | 29422 | 27051 | 4037 | 97122 |  | 38797 | 258342 | [5 empty] | 7257845
14 | 7120630 |  |  | 70 | 2108 | 68151 |  | 1152294 | 734636 | 466400 |  |  |  | 14 | 165439 | 82422 | 883194 |  | 28114 |  | 20529 | 1276505 |  | 29450 | 27051 | 4078 | 97122 |  | 38797 | 258342 | [5 empty] | 7257845
15 | 7121600 |  |  | 70 | 2116 | 68151 |  | 1154649 | 736847 | 466400 |  |  |  | 15 | 165439 | 82422 | 883266 |  | 28170 |  | 20529 | 1276688 |  | 29495 | 27051 | 4117 | 97122 |  | 38797 | 258342 | [5 empty] | 7257895
16 | 7123300 |  |  | 70 | 2134 | 68151 |  | 1157283 | 739327 | 466400 |  |  |  | 16 | 165440 | 82606 | 883342 |  | 28322 |  | 20529 | 1276907 |  | 29513 | 27051 | 4153 | 97122 |  | 38797 | 258342 | [5 empty] | 7257916
17 | 7126410 |  |  | 70 | 2155 | 68151 |  | 1160989 | 742821 | 466400 |  |  |  | 17 | 165440 | 82835 | 883480 |  | 28464 |  | 20531 | 1277146 |  | 29552 | 27093 | 4195 | 97122 |  | 38809 | 258342 | [5 empty] | 7258068
18 | 7129290 |  |  | 70 | 2178 | 68151 |  | 1164673 | 746296 | 466400 |  |  |  | 18 | 165440 | 83064 | 883617 |  | 28583 |  | 20531 | 1277388 |  | 29582 | 27138 | 4231 | 97122 |  | 38822 | 258342 | [5 empty] | 7258069
19 | 7130900 |  |  | 70 | 2193 | 68151 |  | 1167441 | 748908 | 466400 |  |  |  | 19 | 165440 | 83452 | 883694 |  | 28884 |  | 20531 | 1277640 |  | 29618 | 27142 | 4264 | 97122 |  | 38822 | 258342 | [5 empty] | 7258240
20 | 7132600 |  |  | 70 | 2210 | 68151 |  | 1170229 | 751543 | 466400 |  |  |  | 20 | 165440 | 83672 | 883917 |  | 29012 |  | 20531 | 1277881 |  | 29626 | 27167 | 4294 | 97122 |  | 38822 | 258342 | [5 empty] | 7258402
21 | 7135630 |  |  | 70 | 2230 | 68151 |  | 1173893 | 754995 | 466400 |  |  |  | 21 | 165440 | 84093 | 884084 |  | 29205 |  | 20531 | 1278102 |  | 29653 | 27222 | 4344 | 97122 |  | 38835 | 258342 | [5 empty] | 7258411
22 | 7138660 |  |  | 70 | 2250 | 68151 |  | 1177989 | 758828 | 466400 |  |  |  | 22 | 165566 | 84093 | 884269 |  | 29444 |  | 20531 | 1278323 |  | 29707 | 27277 | 4401 | 97122 |  | 38849 | 258342 | [5 empty] | 7258543
23 | 7141500 |  |  | 70 | 2270 | 68151 |  | 1182045 | 762680 | 466400 |  |  |  | 23 | 165780 | 84276 | 884449 |  | 29579 |  | 20531 | 1278514 |  | 29771 | 27333 | 4455 | 97122 |  | 38862 | 258342 | [5 empty] | 7258543
24 | 7144730 |  |  | 70 | 2291.7 | 68151 |  | 1185755 | 766176 | 466400 |  |  |  | 24 | 165945 | 84432 | 884590 |  | 29816 |  | 20531 | 1278667 |  | 29824 | 27390 | 4505 | 97122 |  | 38875 | 258353 | [5 empty] | 7258546
25 | 7146910 |  |  | 70 | 2300 | 68164 |  | 1189510 | 769713 | 466400 |  |  |  | 25 | 166335 | 84488 | 884668 |  | 29951 |  | 20531 | 1278721 |  | 29854 | 27439 | 4556 | 97122 |  | 38887 | 258389 | [5 empty] | 7258546
26 | 7147510 |  |  | 70 | 2301.2 | 68170 |  | 1191757 | 771828 | 466400 |  |  |  | 26 | 166335 | 84717 | 884679 |  | 29952 |  | 20531 | 1278966 |  | 29854 | 27483 | 4595 | 97122 |  | 38887 | 258389 | [5 empty] | 7258546
27 | 7147670 |  |  | 70 | 2301 | 68170 |  | 1193810 | 773764 | 466400 |  |  |  | 28 | 166335 | 84744 | 884679 |  | 29952 |  | 20531 | 1278995 |  | 29854 | 27483 | 4601 | 97122 |  | 38887 | 258389 | [5 empty] | 7258546
28 | 7150350 |  |  | 70 | 2305 | 68184 |  | 1197416 | 777165 | 466400 |  |  |  | 28 | 166405 | 84998 | 884829 |  | 30102 |  | 20531 | 1279262 |  | 29907 | 27524 | 4662 | 97122 |  | 38899 | 258491 | [5 empty] | 7258565
29 | 7153030 |  |  | 70 | 2305 | 68208 |  | 1201021 | 780566 | 466400 |  |  |  | 29 | 166475 | 85251 | 884979 |  | 30252 |  | 20531 | 1279530 |  | 29959 | 27565 | 4723 | 97122 |  | 38911 | 258491 | [5 empty] | 7258583
30 | 7155711 |  |  | 70 | 2329 | 68208 |  | 1204834 | 784162 | 466400 |  |  |  | 30 | 166546 | 85505 | 885129 |  | 30419 |  | 20531 | 1279797 |  | 29989 | 27606 | 4784 | 97122 |  | 38922 | 258491 | [5 empty] | 7258584
31 | 7158450 |  |  | 70 | 2348.5 | 68208 |  | 1209058 | 788151 | 466400 |  |  |  | 31 | 166669 | 85807 | 885312 |  | 30608 |  | 20531 | 1280068 |  | 30035 | 27664 | 4830 | 97122 |  | 38936 | 258491 | [5 empty] | 7258599
1 | 7160920 |  |  | 70 | 2366.4 | 68208 |  | 1212780 | 791664 | 466400 |  |  |  | 1 | 166764 | 86036 | 885472 |  | 30820 |  | 20538 | 1280318 |  | 30060 | 27709 | 4869 | 97122 |  | 38942 | 258494 | [5 empty] | 7258604.692
| 61100 | 0 | 0 |  | 408.4 | 57 | 0 | 99407 | 93648 | 0 | 0 | 0 | 0 | 0 | 2434 | 3679 | 3738 | 0 | 3935 | 0 | 15 | 5880 | 0 | 961 | 1134 | 1241 | 0 | 0 | 247 | 253 | 0 | 0 | 0 | 0 | 0
| 11570 | 0
0
[8 empty] | 3755 | 3537
2339980.75
2339980.75
2354366.5
2373680.25
Note on AL3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis Jan. 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: |  | 2007-08-01
DATE | ELECTRICITY | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
[10 empty] | Elect | Water | Fuel | CO2 | Comments
| USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 296936 | 1030 | 500 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 17 | -840 | 2830 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 4 | -1660 | 1480 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 0 | -790 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 0 | -460 | 1820 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 17 | -590 | 2100 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 37 | 40 | 3200 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 55 | -520 | 3210 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
9 | 55 | 710 | 3060 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
10 | 0 | -2190 | 1170 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
11 | 0 | -890 | 750 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 18 | -1310 | 70 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 0 | -1460 | 620 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 0 | -1830 | 970 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 0 | -340 | 1700 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 12 | -100 | 3110 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 13 | -130 | 2880 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 0 | 1360 | 1610 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 0 | -210 | 1700 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 13 | 2000 | 3030 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 14 | -950 | 3030 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 13 | 2060 | 2840 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 24 | 1680 | 5410 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 48 | 3920 | 600 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 0 | -160 | 160 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 0 | -20 | 2680 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 114 | 570 | 2680 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 12 | 550 | 2681 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 11 | 580 | 2739 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 14 | 1540 | 2470 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 7235 | 740 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
Total | 304662 | 2330 | 61100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 306
3 | 196
4 | 0
5 | 0
6 | 75
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 1
13 | 0
14 | 50
15 | 21
16 | 152
17 | 1
18 | 171
19 | 162
20 | 9
21 | 132
22 | 0
23 | 3
24 | 0
25 | 0
26 | 0
27 | 19
28 | 18
29 | 1
30 | 15
31 | 5.692

## Co2
CO2 Daily Consumption for MAR. '12
DATE | Total Cons. (Kg.) | CO2 ( Kg./Hl.) |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
|  |  | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0
0
Note on B20: CO2 was being pumped into Tank A and simultaneously being drawn from it. To confirm Log details.

## Fuel
DAILY FUEL CONSUMPTION FOR Mar. '12
| Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | TOTAL Prod. | Fuel
DATE | Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres) | Total Prod. | Litres/hl
- | 0
1 | 7099820 | 3 | 0 | 0 | -7099320 | #REF! | 2366606.6667 | #DIV/0! | #REF! | 500 |  | #DIV/0! | 500
2 | 500 | 21 | 0 | 0 | 2330 | #REF! | 23.8095 | #DIV/0! | #REF! | 2830 |  | #DIV/0! | 2830
3 | 2830 | 11 | 0 | 0 | -1350 | #REF! | 257.2727 | #DIV/0! | #REF! | 1480 |  | #DIV/0! | 1480
4 | 1480 | 0 | 0 | 0 | -1480 | #REF! | #DIV/0! | #DIV/0! | #REF! | 0 | 0 | #DIV/0! | 0
5 | 0 | 6 | 0 | 0 | 1820 | #REF! | 0 | #DIV/0! | #REF! | 1820 | 0 | #DIV/0! | 1820
6 | 1820 | 21 | 0 | 0 | 280 | #REF! | 86.6667 | #DIV/0! | #REF! | 2100 | 0 | #DIV/0! | 2100
7 | 2100 | 22 | 0 | 0 | 1100 | #REF! | 95.4545 | #DIV/0! | #REF! | 3200 |  | #DIV/0! | 3200
8 | 3200 | 21 | 0 | 0 | 10 | #REF! | 152.381 | #DIV/0! | #REF! | 3210 |  | #DIV/0! | 3210
9 | 3210 | 22 | 0 | 0 | -150 | #REF! | 145.9091 | #DIV/0! | #REF! | 3060 |  | #DIV/0! | 3060
10 | 3060 | 10 | 0 | 0 | -1890 | #REF! | 306 | #DIV/0! | #REF! | 1170 |  | #DIV/0! | 1170
11 | 1170 | 7 | 0 | 0 | -420 | #REF! | 167.1429 | #DIV/0! | #REF! | 750 |  | #DIV/0! | 750
12 | 750 | 1 | 0 | 0 | -680 | #REF! | 750 | #DIV/0! | #REF! | 70 |  | #DIV/0! | 70
13 | 70 | 5 | 0 | 0 | 550 | #REF! | 14 | #DIV/0! | #REF! | 620 |  | #DIV/0! | 620
14 | 620 | 26 | 0 | 0 | 350 | #REF! | 23.8462 | #DIV/0! | #REF! | 970 |  | #DIV/0! | 970
15 | 970 | 62 | 0 | 0 | 730 | #REF! | 15.6452 | #DIV/0! | #REF! | 1700 |  | #DIV/0! | 1700
16 | 1700 | 59 | 0 | 0 | 1410 | #REF! | 28.8136 | #DIV/0! | #REF! | 3110 |  | #DIV/0! | 3110
17 | 3110 | 55 | 0 | 0 | -230 | #REF! | 56.5455 | #DIV/0! | #REF! | 2880 |  | #DIV/0! | 2880
18 | 2880 | 52 | 0 | 0 | -1270 | #REF! | 55.3846 | #DIV/0! | #REF! | 1610 |  | #DIV/0! | 1610
19 | 1610 | 57 | 0 | 0 | 90 | #REF! | 28.2456 | #DIV/0! | #REF! | 1700 |  | #DIV/0! | 1700
20 | 1700 | 60 | 0 | 0 | 1330 | #REF! | 28.3333 | #DIV/0! | #REF! | 3030 |  | #DIV/0! | 3030
21 | 3030 | 20 | 0 | 0 | 0 | #REF! | 151.5 | #DIV/0! | #REF! | 3030 |  | #DIV/0! | 3030
22 | 3030 | 20 | 0 | 0 | -190 | #REF! | 151.5 | #DIV/0! | #REF! | 2840 |  | #DIV/0! | 2840
23 | 2840 | 21.7 | 0 | 0 | 390 | #REF! | 130.8756 | #DIV/0! | #REF! | 3230 |  | #DIV/0! | 3230
24 | 3230 | 8.3 | 0 | 13 | -1050 | #REF! | 389.1566 | 0 | #REF! | 2180 |  | #DIV/0! | 2180
25 | 2180 | 1.2 | 0 | 6 | -1580 | #REF! | 1816.6667 | 0 | #REF! | 600 |  | #DIV/0! | 600
26 | 600 | 0 | 0 | 0 | -440 | #REF! | #DIV/0! | #DIV/0! | #REF! | 160 |  | #DIV/0! | 160
27 | 160 | 4 | 0 | 14 | 2520 | #REF! | 40 | 0 | #REF! | 2680 |  | #DIV/0! | 2680
28 | 2680 | 0 | 0 | 24 | 0 | #REF! | #DIV/0! | 0 | #REF! | 2680 |  | #DIV/0! | 2680
29 | 2680 | 24 | 0 | 0 | 1 | #REF! | 111.6667 | #DIV/0! | #REF! | 2681 |  | #DIV/0! | 2681
30 | 2681 | 19.5 | 0 | 0 | 58 | #REF! | 137.4872 | #DIV/0! | #REF! | 2739 |  | #DIV/0! | 2739
31 | 2739 | 17.9 | 0 | 0 | -2739 | #REF! | 153.0168 | #DIV/0! | #REF! | 2470 |  | #DIV/0! | 2470
|  | 657.6 |  | 57 | [5 empty] | 32780
|  | 1 | 7099820 | 714.6
|  | 2 | 500
|  | 3 | 2830
|  | 4 | 1480
|  | 5 | 0
|  | 6 | 1820
|  | 7 | 2100
|  | 8 | 3200
|  | 9 | 3210
|  | 10 | 3060
|  | 11 | 1170
|  | 12 | 750
|  | 13 | 70
|  | 14 | 620
|  | 15 | 970
|  | 16 | 1700
|  | 17 | 3110
|  | 18 | 2880
|  | 19 | 1610
|  | 20 | 1700
|  | 21 | 3030
|  | 22 | 3030
|  | 23 | 2840
|  | 24 | 3230
|  | 25 | 2180
|  | 26 | 600
|  | 27 | 160
|  | 28 | 2680
|  | 29 | 2680
|  | 30 | 2681
|  | 31 | 2739
0

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  | Permeate Produced (m3) | Plant Cons (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | Comments | Total Prod. | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
| - | [12 empty] | 26575 | 3628 | 97122 |  |  | 0 | 258241
| 1 | 0 | 142 | 1 | 40 | 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1030 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
| 2 | 0 | 60 | 3 | 147 | -84 | 12 | 0 | 133 | 0 | 0 | 3 | 23 | 61 | 98 | 0 | -840 | 87 | 17 | 0 | #REF! | 0 | 0 |  | 0 | #DIV/0!
| 3 | 0 | 50 | 9 | 225 | -166 | 259 | 0 | 148 | 0 | 0 | 0 | 36 | 15 | 44 | 0 | -1660 | 51 | 4 | 0 | #REF! | 0 | 0 |  | 0 | #DIV/0!
| 4 | 0 | 0 | 3 | 82 | -79 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -790 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 5 | 0 | 0 | 0 | 46 | -46 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -460 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 6 | 0 | 140 | 10 | 209 | -59 | 229 | 0 | 135 | 0 | 0 | 0 | 67 | 26 | 66 | 0 | -590 | 93 | 17 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 7 | 0 | 227 | 15 | 238 | 4 | 206 |  | 211 | 0 | 0 | 0 | 42 | 160 | 63 | 0 | 40 | 202 | 27 | 10 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 8 | 0 | 136 | 14 | 202 | -52 | 238 | 0 | 188 | 0 | 0 | 2 | 64 | 71 | 51 | 0 | -520 | 137 | 21 | 34 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 9 | 0 | 321 | 3 | 253 | 71 | 223 | 0 | 171 | 0 | 0 | 0 | 77 | 66 | 33 | 0 | 710 | 143 | 16 | 39 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 10 | 0 | 33 | 5 | 257 | -219 | 48 | 0 | 165 | 0 | 0 | 0 | 8 | 1 | 33 | 0 | -2190 | 9 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 11 | 0 | 0 | 2 | 91 | -89 | 57 | 0 | 60 | 0 | 0 | 0 | 6 | 29 | 16 | 0 | -890 | 35 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 12 | 0 | 0 | 0 | 131 | -131 | 60 | 0 | 4 | 0 | 0 | 0 | 0 | 47 | 3 | 0 | -1310 | 47 | 0 | 18 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 13 | 0 | 0 | 0 | 146 | -146 | 61 | 0 | 14 | 0 | 0 | 0 | 28 | 0 | 41 | 0 | -1460 | 28 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 14 | 0 | 0 | 0 | 183 | -183 | 72 | 0 | 56 | 0 | 0 | 0 | 45 | 0 | 39 | 0 | -1830 | 45 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 15 | 0 | 1 | 184 | 219 | -34 | 76 | 0 | 152 | 0 | 0 | 0 | 18 | 0 | 36 | 0 | -340 | 18 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 16 | 0 | 0 | 229 | 239 | -10 | 138 | 0 | 142 | 0 | 0 | 2 | 39 | 42 | 42 | 0 | -100 | 83 | 12 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 17 | 0 | 0 | 229 | 242 | -13 | 137 | 0 | 119 | 0 | 0 | 0 | 30 | 45 | 36 | 0 | -130 | 75 | 13 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 18 | 0 | 0 | 388 | 252 | 136 | 77 | 0 | 301 | 0 | 0 | 0 | 36 | 4 | 33 | 0 | 1360 | 40 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 19 | 0 | 0 | 220 | 241 | -21 | 223 | 0 | 128 | 0 | 0 | 0 | 8 | 25 | 30 | 0 | -210 | 33 | 0 | #REF! | 0 | 0 | 0 |  | 0 | #DIV/0!
| 20 | 0 | 0 | 421 | 221 | 200 | 167 | 0 | 193 | 0 | 0 | 0 | 27 | 55 | 50 | 0 | 2000 | 82 | 13 | #REF! | 0 | 0 | 0 |  | 0 | #DIV/0!
| 21 | 0 | 126 | 0 | 221 | -95 | 185 | 0 | 239 | 0 | 0 | 0 | 54 | 55 | 57 | 0 | -950 | 109 | 14 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 22 | 0 | 214 | 183 | 191 | 206 | 180 | 0 | 135 | 0 | 0 | 0 | 64 | 56 | 54 | 0 | 2060 | 120 | 13 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 23 | 0 | 165 | 156 | 153 | 168 | 141 | 0 | 237 | 0 | 0 | 0 | 53 | 57 | 50 | 0 | 1680 | 110 | 13 | 11 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 24 | 0 | 390 | 56 | 54 | 392 | 78 | 0 | 135 | 0 | 0 | 0 | 30 | 49 | 51 | 0 | 3920 | 79 | 12 | 36 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 25 | 0 | 0 | 229 | 245 | -16 | 11 | 0 | 1 | 0 | 0 | 0 | 0 | 44 | 39 | 0 | -160 | 44 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 26 | 0 | 0 | 27 | 29 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 27 | 0 | 70 | 254 | 267 | 57 | 150 | 0 | 150 | 0 | 0 | 0 | 53 | 41 | 61 | 0 | 570 | 94 | 12 | 102 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 28 | 0 | 70 | 253 | 268 | 55 | 150 | 0 | 150 | 0 | 0 | 0 | 52 | 41 | 61 | 0 | 550 | 93 | 12 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 29 | 0 | 71 | 254 | 267 | 58 | 150 | 0 | 167 | 0 | 0 | 0 | 30 | 41 | 61 | 0 | 580 | 71 | 11 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0!
| 30 | 0 | 123 | 302 | 271 | 154 | 183 | 0 | 189 | 0 | 0 | 0 | 46 | 58 | 46 | 0 | 1540 | 104 | 14 | 0 | 0 | #REF! | 0 |  | 0 | #DIV/0!
| 31 | 0 | 95 | 229 | 250 | 74 | 160 | 0 | 212 | 0 | 0 | 7 | 25 | 45 | 39 | 0 | 740 | 77 | 6 | 3 | 0 | #REF! | 0 |  | 0 | #DIV/0!
MTD | total | 0 | 2434 | 3679 | 5880 | 233 |  |  | 3935 |  | 0 | 14 | 961 | 1134 | 1241 | 0 | 2330 | 2109 | [6 empty] | 0 | #DIV/0!
| Gals. |  | 535480
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 8465.9388 |  | 1 | 2
| Add basic charge |  | 278.97 |  | 2 | 98 |  |  |  |  | 0 | 0 | 0 | 12 | 13 | 0 | 13 | 13 | 0 |  |  |  |  | 13 | 14 | 13 | 13 | 12 | 0 | 0 | 12 | 12 | 11 | 14 | 6
|  |  | 8744.9088 |  | 3 | 44
[5 empty] | 4 | 0
| Proxy sewage charge (2/3) |  | 5829.9392 |  | 5 | 0
[5 empty] | 6 | 66
| Proxy MTD NAWASA cost |  | 14574.848 |  | 7 | 63
[5 empty] | 8 | 51
[5 empty] | 9 | 33
[5 empty] | 10 | 33
[5 empty] | 11 | 16
[5 empty] | 12 | 3
[5 empty] | 13 | 41
[5 empty] | 14 | 39
[5 empty] | 15 | 36
[5 empty] | 16 | 42
[5 empty] | 17 | 36
[5 empty] | 18 | 33
[5 empty] | 19 | 30
[5 empty] | 20 | 50
[5 empty] | 21 | 57
[5 empty] | 22 | 54
[5 empty] | 23 | 50
[5 empty] | 24 | 51
[5 empty] | 25 | 39
[5 empty] | 26 | 6
[5 empty] | 27 | 61
[5 empty] | 28 | 61
[5 empty] | 29 | 61
[5 empty] | 30 | 46
[5 empty] | 31 | 39
[5 empty] | 1 | 0
[5 empty] | 2 | 133
[5 empty] | 3 | 148
[5 empty] | 4 | 0
[5 empty] | 5 | 0
[5 empty] | 6 | 135
[5 empty] | 7 | 211
[5 empty] | 8 | 188
[5 empty] | 9 | 171
[5 empty] | 10 | 165
[5 empty] | 11 | 60
[5 empty] | 12 | 4
[5 empty] | 13 | 14
[5 empty] | 14 | 56
[5 empty] | 15 | 152
[5 empty] | 16 | 142
[5 empty] | 17 | 119
[5 empty] | 18 | 301
[5 empty] | 19 | 128
[5 empty] | 20 | 193
[5 empty] | 21 | 239
[5 empty] | 22 | 135
[5 empty] | 23 | 237
[5 empty] | 24 | 135
[5 empty] | 25 | 1
[5 empty] | 26 | 0
[5 empty] | 27 | 150
[5 empty] | 28 | 150
[5 empty] | 29 | 167
[5 empty] | 30 | 189
[5 empty] | 31 | 212
Note on R4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec. Jan'25
DAILY ELECTRICITY CONSUMPTION FOR JANUARY 2025
| Grenlec | In -house | Total Cons.
DATE | In-feed (Kwhr) | Gen. (Kwhr) | (Kwhr) | Total Prod. | Elect
- |  |  |  |  | KWH/Hl
1 | 4383 | 0 | 4383 | 0 | #DIV/0!
2 | 7158 |  | 7158 | 0 | #DIV/0! | 3688 | 2810 | 6498 | #DIV/0!
3 | 5794 |  | 5794 | 0 | #DIV/0!
4 | 4383 | 0 | 4383 | 0 | #DIV/0!
5 | 3844 |  | 3844 | 0 | #DIV/0!
6 | 8185 |  | 8185 | 0 | #DIV/0!
7 | 7663 |  | 7663 | 0 | #DIV/0!
8 | 8121 |  | 8121 | 0 | #DIV/0!
9 | 7665 |  | 7665 | 0 | #DIV/0!
10 | 5438 |  | 5438 | 0 | #DIV/0!
11 | 4268 |  | 4268 | 0 | #DIV/0!
12 | 4039 |  | 4039 | 0 | #DIV/0!
13 | 4600 |  | 4600 | 0 | #DIV/0!
14 | 4566 |  | 4566 | 0 | #DIV/0!
15 | 5114 |  | 5114 | 0 | #DIV/0!
16 | 7200 |  | 7200 | 0 | #DIV/0!
17 | 7159 |  | 7159 | 0 | #DIV/0!
18 | 5380 |  | 5380 | 0 | #DIV/0!
19 | 5423 |  | 5423 | 0 | #DIV/0!
20 | 7116 |  | 7116 | 0 | #DIV/0!
21 | 7929 |  | 7929 | 0 | #DIV/0!
22 | 7908 |  | 7908 | 0 | #DIV/0!
23 | 7206 |  | 7206 | 0 | #DIV/0!
24 | 7292 |  | 7292 | 0 | #DIV/0!
25 | 4362 |  | 4362 | 0 | #DIV/0!
26 | 3989 |  | 3989 | 0 | #DIV/0!
27 | 7007 |  | 7007 | 0 | #DIV/0!
28 | 7006 |  | 7006 | 0 | #DIV/0!
29 | 7409 |  | 7409 | 0 | #DIV/0!
30 | 8213 |  | 8213 | 0 | #DIV/0!
31 | 7235 |  | 7235 | 0 | #DIV/0!
MTD | 193055 |  | 193055
147834

## PROD.FIG.
PRODUCTION FOR MAR. 2012
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Sunday | 1 | [5 empty] | 0
Monday | 2
Tuesday | 3
Wednesday | 4
Thursday | 5
Friday | 6
Saturday | 7
Sunday | 8
Monday | 9
Tuesday | 10
Wednesday | 11
Thursday | 12
Friday | 13
Saturday | 14
Sunday | 15
Monday | 16
Tuesday | 17
Wednesday | 18
Thursday | 19
Friday | 20
Saturday | 21
Sunday | 22
Monday | 23
Tuesday | 24
Wednesday | 25
Thursday | 26
Friday | 27
Saturday | 28
Sunday | 29
Note on C4: Note: Unit of measurement

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR MAR. 2012
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 164330 | 142 | -1245237 | 26575 | 29099 | 1245379 | 20523 | 6362 | 1274438 | -1274438 | -1268076 | 0 |  | 284 |  |  | #DIV/0!
2 | 164472 | 60 | -87 | 0 | 1274478 | 147 | 26885 | 133 | 0 | 0 | 133 | 0 |  | 120 |  |  | #DIV/0!
3 | 164532 | 50 | -175 | 0 | 1274625 | 225 | 27018 | 148 | 0 | 0 | 148 | 0 |  | 100 |  |  | #DIV/0!
4 | 164582 | 0 | -82 | 0 | 1274850 | 82 | 27166 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | #DIV/0!
5 | 164582 | 0 | -46 | 0 | 1274932 | 46 | 27166 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | #DIV/0!
6 | 164582 | 140 | -69 | 0 | 1274978 | 209 | 27166 | 135 | 0 | 20526 | 20661 | 0 |  | 280 |  |  | #DIV/0!
7 | 164722 | 227 | -11 | 0 | 1275187 | 238 | 27301 | 211 | 20526 | -20526 | -20315 | 0 |  | 454 |  |  | #DIV/0!
8 | 164949 | 136 | -66 | 0 | 1275425 | 202 | 27512 | 188 | 0 | 0 | 188 | 0 |  | 272 |  |  | #DIV/0!
9 | 165085 | 321 | 68 | 0 | 1275627 | 253 | 27700 | 171 | 0 | 0 | 171 | 0 |  | 642 |  |  | #DIV/0!
10 | 165406 | 33 | -224 | 0 | 1275880 | 257 | 27871 | 165 | 0 | 0 | 165 | 0 |  | 66 |  |  | #DIV/0!
11 | 165439 | 0 | -91 | 0 | 1276137 | 91 | 28036 | 60 | 0 | 0 | 60 | 0 |  | 0 |  |  | #DIV/0!
12 | 165439 | 0 | -131 | 0 | 1276228 | 131 | 28096 | 4 | 0 | 0 | 4 | 0 |  | 0 |  |  | #DIV/0!
13 | 165439 | 0 | -146 | 0 | 1276359 | 146 | 28100 | 14 | 0 | 0 | 14 | 0 | 0 | 0 |  |  | #DIV/0!
14 | 165439 | 0 | -183 | 0 | 1276505 | 183 | 28114 | 56 | 0 | 0 | 56 | 0 | 0 | 0 |  |  | #DIV/0!
15 | 165439 | 1 | -218 | 0 | 1276688 | 219 | 28170 | 152 | 0 | 0 | 152 | 0 | 0 | 2 |  |  | #DIV/0!
16 | 165440 | 0 | -239 | 0 | 1276907 | 239 | 28322 | 142 | 0 | 0 | 142 | 0 | 12 | 0 |  |  | #DIV/0!
17 | 165440 | 0 | -242 | 0 | 1277146 | 242 | 28464 | 119 | 0 | 0 | 119 | 0 | 13 | 0 |  |  | #DIV/0!
18 | 165440 | 0 | -252 | 0 | 1277388 | 252 | 28583 | 301 | 0 | 0 | 301 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 165440 | 0 | -241 | 0 | 1277640 | 241 | 28884 | 128 | 0 | 0 | 128 | 0 | 0 | 0 |  |  | #DIV/0!
20 | 165440 | 0 | -221 | 0 | 1277881 | 221 | 29012 | 193 | 0 | 0 | 193 | 0 | 13 | 0 |  |  | #DIV/0!
21 | 165440 | 126 | -95 | 0 | 1278102 | 221 | 29205 | 239 | 0 | 0 | 239 | 0 | 14 | 252 |  |  | #DIV/0!
22 | 165566 | 214 | 23 | 0 | 1278323 | 191 | 29444 | 135 | 0 | 0 | 135 | 0 | 13 | 428 |  |  | #DIV/0!
23 | 165780 | 165 | 12 | 0 | 1278514 | 153 | 29579 | 237 | 0 | 0 | 237 | 0 | 13 | 330 |  |  | #DIV/0!
24 | 165945 | 390 | 336 | 0 | 1278667 | 54 | 29816 | 135 | 0 | 0 | 135 | 0 | 12 | 780 |  |  | #DIV/0!
25 | 166335 | 0 | -245 | 0 | 1278721 | 245 | 29951 | 1 | 0 | 0 | 1 | 0 | 0 | 0 |  |  | #DIV/0!
26 | 166335 | 0 | -29 | 0 | 1278966 | 29 | 29952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
27 | 166335 | 70 | -197 | 0 | 1278995 | 267 | 29952 | 150 | 0 | 0 | 150 | 0 | 12 | 140 |  |  | #DIV/0!
28 | 166405 | 70 | -198 | 0 | 1279262 | 268 | 30102 | 150 | 0 | 0 | 150 | 0 | 12 | 140 |  |  | #DIV/0!
29 | 166475 | 71 | -196 | 0 | 1279530 | 267 | 30252 | 167 | 0 | 0 | 167 | 0 | 11 | 142 |  |  | #DIV/0!
30 | 166546 | 123 | -148 | 0 | 1279797 | 271 | 30419 | 189 | 0 | 0 | 189 | 0 | 14 | 246 |  |  | #DIV/0!
31 | 166669 | -166669 | 1113399 | 0 | 1280068 | -1280068 | 30608 | -30608 | 0 | 0 | -30608 | 0 | 6 | -333338 |  |  | #DIV/0!
Total | [13 empty] | -328660

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-01-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1
Days | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Total
Cases Produced |  | 5497 | 1292 | 0 | 0 | 8415 | 6752 | 7085 | 6459 | 0 | 0 | 0 | 0 | 0 | 0 | 3098 | 4789 | 0 | 0 | 4929 | 5185 | 5884 | 4509 | 4952 | 0 | 247.5 | 3557 | 3443 | 2632 | 5588 | 4504 | 88817.5
HL produced | 0 | 362.802 | 85.272 | 0 | 0 | 555.39 | 447.36 | 478.6116 | 426.294 | 0 | 0 | 0 | 0 | 0 | 0 | 204.468 | 316.074 | 0 | 0 | 325.314 | 342.21 | 388.344 | 297.594 | 326.832 | 0 | 16.335 | 234.762 | 227.238 | 173.712 | 368.808 | 303.192 | 5880.6126
Product Type | 0 | ST/CB | CB | 0 | 0 | CB/ST | VM/GUI/CB | CB | CB | 0 | 0 | 0 | 0 | 0 | 0 | Carib/Stag | ST/CB | 0 | 0 | CB/ST | CB/MK | SM | MK/CB | CB/GO |  | KEGS | STG/CB | CB/SHLime | SHLime/Pearseco | Pearseco/CB | CB/VM
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 142 | 60 | 50 | 0 | 0 | 140 | 227 | 136 | 321 | 33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 126 | 214 | 165 | 390 | 0 | 0 | 70 | 70 | 71 | 123 |  | 2339
Annanale Supply | 1 | 3 | 9 | 3 | 0 | 10 | 15 | 14 | 3 | 5 | 2 | 0 | 0 | 0 | 184 | 229 | 229 | 388 | 220 | 421 | 0 | 183 | 156 | 56 | 229 | 27 | 254 | 253 | 254 | 302 | 229 | 3679
Total Water Supply | 143 | 63 | 59 | 3 | 0 | 150 | 242 | 150 | 324 | 38 | 2 | 0 | 0 | 0 | 185 | 229 | 229 | 388 | 220 | 421 | 126 | 397 | 321 | 446 | 229 | 27 | 324 | 323 | 325 | 425 | 229 | 6018
0
Theoretical permeate | 29.2 | 107.31 | 164.25 | 59.86 | 33.58 | 152.57 | 173.74 | 147.46 | 184.69 | 187.61 | 66.43 | 95.63 | 106.58 | 106.58 | 106.58 | 106.58 | 106.58 | 106.58 | 175.93 | 161.33 | 161.33 | 139.43 | 111.69 | 39.42 | 178.85 | 21.17 | 194.91 | 195.64 | 194.91 | 197.83 | 197.83 | 4012.08 | 8922 |  | 15.1719
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 0 | 12 | 259 | 50 | 17 | 229 | 206 | 238 | 223 | 48 | 57 | 60 | 61 | 72 | 76 | 138 | 137 | 77 | 223 | 167 | 185 | 180 | 141 | 78 | 11 | 0 | 150 | 150 | 150 | 183 | 160 | 3738
Water consumption | 0 | 12 | 259 | 50 | 17 | 229 | 206 | 238 | 223 | 48 | 57 | 60 | 61 | 72 | 76 | 138 | 137 | 77 | 223 | 167 | 185 | 180 | 141 | 78 | 11 | 0 | 150 | 150 | 150 | 183 | 160 | 3738
|  | 0.33076 | 30.3734 |  |  | 4.1232 | 4.6048 | 4.9727 | 5.2311 | [6 empty] | 6.7492 | 4.3344 |  |  | 5.1335 | 5.406 | 4.6351 | 4.738 | 2.3865 |  | 0 | 6.3894 | 6.601 | 8.635 | 4.9619 | 5.2772
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 133 | 148 | 0 | 0 | 135 | 211 | 188 | 171 | 165 | 60 | 4 | 14 | 56 | 152 | 142 | 119 | 301 | 128 | 193 | 239 | 135 | 237 | 135 | 1 | 0 | 150 | 150 | 167 | 189 | 212 | 3935
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0 | #REF!
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 2 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 76
CIP Process | 0 | 23 | 36 | 0 | 0 | 67 | 42 | 64 | 77 | 8 | 6 | 0 | 28 | 28 | 28 | 39 | 39 | 39 | 8 | 27 | 54 | 64 | 53 | 30 | 0 | 0 | 53 | 52 | 30 | 46 | 25 | 966 |  |  | 15588.1818
Bottles Washer | 0 | 61 | 15 | 0 | 0 | 26 | 160 | 71 | 66 | 1 | 29 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 55 | 55 | 56 | 57 | 49 | 44 | 0 | 41 | 41 | 41 | 58 | 45 | 1043
Bottle Filler | 0 | 17 | 4 | 0 | 0 | 17 | 27 | 21 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 13 | 0 | 0 | 13 | 14 | 13 | 13 | 12 | 0 | 0 | 12 | 12 | 11 | 14 | 6 | 247
Pasteuriser | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 14
Boiler Supply | 2 | 98 | 44 | 0 | 0 | 66 | 63 | 51 | 33 | 33 | 16 | 3 | 41 | 41 | 36 | 42 | 42 | 33 | 30 | 50 | 57 | 54 | 50 | 51 | 39 | 6 | 61 | 61 | 61 | 46 | 39 | 1249
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 212 | 527
Personnel Consumption
Total water consumption (M3) | 2 | 335 | 247 | 0 | 0 | 311 | 503 | 397 | 363 | 207 | 276 | 54 | 83 | 125 | 244 | 237 | 215 | 412 | 191 | 338 | 419 | 322 | 410 | 277 | 84 | 6 | 317 | 316 | 460 | #REF! | 553 | #REF!
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 (kg.) (Filler) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electricity (Kwh.) | 4383 | 7158 | 5794 | 4383 | 3844 | 8185 | 7663 | 8121 | 7665 | 5438 | 4268 | 4039 | 4600 | 4566 | 5114 | 7200 | 7159 | 5380 | 5423 | 7116 | 7929 | 7908 | 7206 | 7292 | 7292 | 3989 | 7007 | 7006 | 7409 | 8213 | 7235 | 195985
Fuel (L) | 500 | 2830 | 1480 | 0 | 1820 | 2100 | 3200 | 3210 | 3060 | 1170 | 750 | 70 | 620 | 970 | 1700 | 3110 | 2880 | 1610 | 1700 | 3030 | 3030 | 2840 | 3230 | 2180 | 600 | 160 | 2680 | 2680 | 2681 | 2739 | 2470 | 61100
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  | 1.7365 | 6.919 |  |  | 2.7008 | 5.4095 | 3.1341 | 7.6004 | [6 empty] | 11.1998 | 7.2451 |  |  | 12.9413 | 3.6819 | 10.2229 | 10.7865 | 13.6462 |  | 16.5289 | 13.8012 | 14.2142 | 18.7091 | 11.5236 | 7.553 | 10.2336 | 10.2 | -0.033628
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  | 3.6659 | 17.3562 |  |  | 2.4307 | 4.7166 | 3.928 | 4.0113 | [6 empty] | 6.9449 | 3.7649 |  |  | 5.9327 | 6.984 | 3.4763 | 7.9639 | 4.1306 |  | 0 | 6.3894 | 6.601 | 9.6136 | 5.1246 | 6.9923 | 6.6915 | 2.5 | -4.1915
Brewhouse (Hls brewed) |  | 5.3157 | 5.9557 |  |  | 7.1656 | 4.79 | 4.5865 | 4.8983 |  |  |  |  | 1.5995 | 4.4851 | 3.507 | 2.9772 | 7.4211 | 2.8287 | 4.8142 | 5.8694 | 3.1425 | 4.954 | 3.5914 |  |  | 9.4044 | 4.5551 | 2.4944 | 4.7321 | 5.3862 | 4.9886 | 2.5 | -2.4886
Spent Grains/Wash-down Areas |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | #REF! | 0 | #REF! | 0.1 | #REF!
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0.063276 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.23088 | 0.12924 | 1 | 0.87076
CIP Process |  | 0.63395 | 4.2218 |  |  | 1.2064 | 0.93884 | 1.3372 | 1.8063 | [6 empty] | 1.9074 | 1.2339 |  |  | 0.82997 | 1.578 | 1.648 | 1.7809 | 0.9179 |  | 0 | 2.2576 | 2.2883 | 1.727 | 1.2473 | 0.82456 | 1.6427 | 0.7 | -0.94269
Bottles Washer |  | 1.6814 | 1.7591 |  |  | 0.46814 | 3.5765 | 1.4835 | 1.5482 | [6 empty] | 0 | 0 |  |  | 1.6907 | 1.6072 | 1.442 | 1.9154 | 1.4992 |  | 0 | 1.7464 | 1.8043 | 2.3602 | 1.5726 | 1.4842 | 1.7736 | 2.6 | 0.82638
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  | 0.46858 | 0.46909 |  |  | 0.30609 | 0.60354 | 0.43877 | 0.37533 | [6 empty] | 0.58689 | 0.4113 |  |  | 0.39961 | 0.40911 | 0.33475 | 0.43684 | 0.36716 |  | 0 | 0.51116 | 0.52808 | 0.63323 | 0.3796 | 0.19789 | 0.42002 | 0.7 | 0.27998
Pasteuriser |  | 0.08269 | 0 |  |  | 0 | 0 | 0.041788 | 0 | [6 empty] | 0.097815 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0.23088 | 0.023807 | 0.1 | 0.076193
Boiler Supply |  | 2.7012 | 5.16 |  |  | 1.1884 | 1.4083 | 1.0656 | 0.77411 | [6 empty] | 2.0541 | 1.3288 |  |  | 1.537 | 1.6656 | 1.3905 | 1.6801 | 1.5604 |  | 3.6731 | 2.5984 | 2.6844 | 3.5116 | 1.2473 | 1.2863 | 2.1239 | 0.6 | -1.5239
Backwash Supply |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0.5
Refrigeration Unit |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 14.5494 | 34.9219 | 0 | 0 | 12.7653 | 16.0338 | 12.8813 | 13.4136 | 0 | 0 | 0 | 0 | 1.5995 | 4.4851 | 15.0981 | 9.7794 | 7.4211 | 2.8287 | 15.2041 | 18.1133 | 11.4341 | 18.7312 | 12.0667 | 0 | 3.6731 | 22.9074 | 18.4612 | 20.34 | #REF! | 16.6332 | #REF! | 15.6 | #REF!
Bottling Hall water | 0 | 2.2326 | 2.2282 | 0 | 0 | 0.77423 | 4.1801 | 1.964 | 1.9236 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6847 | 0.4113 | 0 | 0 | 2.0903 | 2.0163 | 1.7768 | 2.3522 | 1.8664 | 0 | 0 | 2.2576 | 2.3324 | 2.9935 | 1.9522 | 1.913 | 2.2175 | 6 | 3.7825
CO2 (kg./Hl.) KPI |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5
CO2 Filler (kg./Hl.) KPI |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7 | 1.7
Electricity (Kwh./Hl.) KPI |  | 19.7298 | 67.9473 |  |  | 14.7374 | 17.1294 | 16.9678 | 17.9805 | [6 empty] | 35.2133 | 22.6498 |  |  | 21.8743 | 23.17 | 20.3634 | 24.2142 | 22.3112 |  | 244.1996 | 29.8472 | 30.8311 | 42.6511 | 22.269 | 23.8628 | 33.3273 | 22 | -11.3273
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  | 7.8004 | 17.3562 |  |  | 3.7811 | 7.1531 | 6.7069 | 7.1781 | [6 empty] | 15.2102 | 9.1118 |  |  | 9.3141 | 8.8542 | 7.3131 | 10.8537 | 6.6701 |  | 9.7949 | 11.4158 | 11.7938 | 15.4336 | 7.4266 | 8.1467 | 10.3901 | 7.2 | -3.1901
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Thu
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 250.2 | 248.5 | 0 | 0 | 188.4 | 440.5 | 409.9 | 349.1 | 0 | 0 | 0 | 0 | 350.1 | 338.9 | 404.9 | 399.7 | 405.6 | 452.5 | 400.9 | 407.2 | 429.6 | 478.4 | 375.9 | 0 | 0 | 159.5 | 329.3 | 669.5 | 399.4 | 393.6 | 7888
Product | 0 | STG | STG | 0 | 0 | CB/ST | ST/HR-P | MK | CB | 0 | 0 | 0 | 0 | CB | CB/ST | CB/ST | CB | CB | CB/ST | #REF! | SM/ST | STG/CB | STG/CB | SGT/CB | 0 | 0 | #REF! | VM/GU | GU/CB | STG/CB | Carib
No. of Brews | 0 | 5 | 5 | 0 | 0 | 4 | 8 | 8 | 7 | 0 | 0 | 0 | 0 | 7 | 7 | 8 | 8 | 8 | 9 | #REF! | 8 | 8 | 9 | 7 | 0 | 0 | 3 | 6 | 7 | 8 | 8 | #REF!
Raw Water In - Nawasa | 40 | 147 | 225 | 82 | 46 | 209 | 238 | 202 | 253 | 257 | 91 | 131 | 146 | 146 | 146 | 146 | 146 | 146 | 241 | 221 | 221 | 191 | 153 | 54 | 245 | 29 | 267 | 268 | 267 | 271 | 271 | 5225
Into RO | [31 empty] | 0 | bar: Wed; Mon to Tue
| 4383 | 7158 | 5794 | 4383 | 3844 | 8185 | 7663 | 8121 | 7665 | 5438 | 4268 | 4039 | 4600 | 4566 | 5114 | 7200 | 7159 | 5380 | 5423 | 7116 | 7929 | 7908 | 7206 | 7292 | 7292 | 3989 | 7007 | 7006 | 7409 | 8213 |  | 195985
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-01-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1 |  | Monthly Target
| Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Total |  | Diff.
Cases Produced | Thu: 5497; Fri: 1292; Mon: 8415; Tue: 6752; Wed: 7085; Thu: 6459; Thu: 3098; Fri: 4789; Mon: 4929; Tue: 5185; Wed: 5884; Thu: 4509; Fri: 4952; Sun: 247.5; Mon: 3557; Tue: 3443; Wed: 2632; Thu: 5588; Fri: 4504 | 88817.5 | 95625 | -6807.5
HL produced |  | 362.802 | 85.272 | 0 | 0 | 555.39 | 447.36 | 478.6116 | 426.294 | 0 | 0 | 0 | 0 | 0 | 0 | 204.468 | 316.074 | 0 | 0 | 325.314 | 342.21 | 388.344 | 297.594 | 326.832 | 0 | 16.335 | 234.762 | 227.238 | 173.712 | 368.808 | 303.192 | 0 | 5880.6126
Product Type | Thu: ST/CB; Fri: CB; Mon: CB/ST; Tue: ST/CB/VM; Wed: VM/GUI/CB; Thu: CB; Thu: Carib/Stag; Fri: ST/CB; Mon: CB/ST; Tue: CB/MK; Wed: SM; Thu: MK/CB; Fri: CB/GO; Sun: KEGS; Mon: STG/CB; Tue: CB/SHLime; Wed: SHLime/Pearseco; Thu: Pearseco/CB; Fri: CB/VM
Hls Brewed |  | 250.2 | 248.5 |  |  | 188.4 | 440.5 | 409.9 | 349.1 |  |  |  |  | 350.1 | 338.9 | 404.9 | 399.7 | 405.6 | 452.5 | 400.9 | 407.2 | 429.6 | 478.4 | 375.9 |  |  | 159.5 | 329.3 | 669.5 | 399.4 | 393.6
Product |  | STG | STG |  |  | VM | ST/HR-P | MK | CB |  |  |  |  | CB | CB/ST | CB/ST | CB | CB | CB/ST | CB/SM | SM/ST | STG/CB | STG/CB | SGT/CB |  |  | VM | VM/GU | GU/CB | STG/CB | Carib
No. of Brews |  | 5 | 5 |  |  | 4 | 8 | 8 | 7 |  |  |  |  | 7 | 7 | 8 | 8 | 8 | 9 | 8 | 8 | 8 | 9 | 7 |  |  | 3 | 6 | 7 | 8 | 8
Brewhouse (Hls brewed) |  | 5.3157 | 5.9557 |  |  | 7.1656 | 4.79 | 4.5865 | 4.8983 |  |  |  |  | 1.5995 | 4.4851 | 3.507 | 2.9772 | 7.4211 | 2.8287 | 4.8142 | 5.8694 | 3.1425 | 4.954 | 3.5914 |  |  | 9.4044 | 4.5551 | 2.4944 | 4.7321 | 5.3862 |  | 4.7488 | 3.2 | -1.5488
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 142 | 60 | 50 | 0 | 0 | 140 | 227 | 136 | 321 | 33 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 126 | 214 | 165 | 390 | 0 | 0 | 70 | 70 | 71 | 123 | 95 |  | 2434
Annanale Supply | 1 | 3 | 9 | 3 | 0 | 10 | 15 | 14 | 3 | 5 | 2 | 0 | 0 | 0 | 184 | 229 | 229 | 388 | 220 | 421 | 0 | 183 | 156 | 56 | 229 | 27 | 254 | 253 | 254 | 302 | 229 |  | 3679
Total Water Supply | 143 | 63 | 59 | 3 | 0 | 150 | 242 | 150 | 324 | 38 | 2 | 0 | 0 | 0 | 185 | 229 | 229 | 388 | 220 | 421 | 126 | 397 | 321 | 446 | 229 | 27 | 324 | 323 | 325 | 425 | 324 |  | 6113
0
Theoretical permeate | 29.2 | 107.31 | 164.25 | 59.86 | 33.58 | 152.57 | 173.74 | 147.46 | 184.69 | 187.61 | 66.43 | 95.63 | 106.58 | 133.59 | 159.87 | 174.47 | 176.66 | 183.96 | 175.93 | 161.33 | 161.33 | 139.43 | 111.69 | 39.42 | 178.85 | 21.17 | 194.91 | 195.64 | 194.91 | 197.83 | 182.5 |  | 4292.4 | 8914 |  | 15.1583
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 0 | 12 | 259 | 50 | 17 | 229 | 206 | 238 | 223 | 48 | 57 | 60 | 61 | 72 | 76 | 138 | 137 | 77 | 223 | 167 | 185 | 180 | 141 | 78 | 11 | 0 | 150 | 150 | 150 | 183 | 160 |  | 3738
Brewhouse | 0 | 133 | 148 | 0 | 0 | 135 | 211 | 188 | 171 | 165 | 60 | 4 | 14 | 56 | 152 | 142 | 119 | 301 | 128 | 193 | 239 | 135 | 237 | 135 | 1 | 0 | 150 | 150 | 167 | 189 | 212 |  | 3935
Boiler Supply | 2 | 98 | 44 | 0 | 0 | 66 | 63 | 51 | 33 | 33 | 16 | 3 | 41 | 39 | 36 | 42 | 36 | 33 | 30 | 50 | 57 | 54 | 50 | 51 | 39 | 6 | 61 | 61 | 61 | 46 | 39 |  | 1241
Water consumption | 2 | 243 | 451 | 50 | 17 | 430 | 480 | 477 | 427 | 246 | 133 | 67 | 116 | 167 | 264 | 322 | 292 | 411 | 381 | 410 | 481 | 369 | 428 | 264 | 51 | 6 | 361 | 361 | 378 | 418 | 411 |  | 8914
| Thu: 6.6979; Fri: 52.8896; Mon: 7.7423; Tue: 10.7296; Wed: 9.9663; Thu: 10.0166; Thu: 15.7482; Fri: 9.2383; Mon: 12.6032; Tue: 14.0557; Wed: 9.5019; Thu: 14.382; Fri: 8.0775; Sun: 3.6731; Mon: 15.3773; Tue: 15.8864; Wed: 21.7602; Thu: 11.3338; Fri: 13.5558 | 15.1583
Water Consumption detail | [32 empty] | 0
Brewhouse | 0 | 133 | 148 | 0 | 0 | 135 | 211 | 188 | 171 | 165 | 60 | 4 | 14 | 56 | 152 | 142 | 119 | 301 | 128 | 193 | 239 | 135 | 237 | 135 | 1 | 0 | 150 | 150 | 167 | 189 | 212 |  | 3935
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 0 | 23 | 36 | 0 | 0 | 67 | 42 | 64 | 77 | 8 | 6 | 0 | 28 | 45 | 18 | 39 | 30 | 36 | 8 | 27 | 54 | 64 | 53 | 30 | 0 | 0 | 53 | 52 | 30 | 46 | 25 |  | 961
Bottles Washer | 0 | 61 | 15 | 0 | 0 | 26 | 160 | 71 | 66 | 1 | 29 | 47 | 0 | 0 | 0 | 42 | 45 | 4 | 25 | 55 | 55 | 56 | 57 | 49 | 44 | 0 | 41 | 41 | 41 | 58 | 45 |  | 1134
Bottle Filler | 0 | 17 | 4 | 0 | 0 | 17 | 27 | 21 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 13 | 0 | 0 | 13 | 14 | 13 | 13 | 12 | 0 | 0 | 12 | 12 | 11 | 14 | 6 |  | 247
Pasteuriser | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 |  | 14
Boiler Supply | 2 | 98 | 44 | 0 | 0 | 66 | 63 | 51 | 33 | 33 | 16 | 3 | 41 | 39 | 36 | 42 | 36 | 33 | 30 | 50 | 57 | 54 | 50 | 51 | 39 | 6 | 61 | 61 | 61 | 46 | 39 |  | 1241
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 2 | 335 | 247 | 0 | 0 | 311 | 503 | 397 | 363 | 207 | 111 | 54 | 83 | 140 | 206 | 279 | 243 | 374 | 191 | 338 | 419 | 322 | 410 | 277 | 84 | 6 | 317 | 316 | 310 | 353 | 334 |  | 7532
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | Thu: 3.6659; Fri: 17.3562; Mon: 2.4307; Tue: 4.7166; Wed: 3.928; Thu: 4.0113; Thu: 6.9449; Fri: 3.7649; Mon: 5.9327; Tue: 6.984; Wed: 3.4763; Thu: 7.9639; Fri: 4.1306; Sun: 0; Mon: 6.3894; Tue: 6.601; Wed: 9.6136; Thu: 5.1246; Fri: 6.9923 | 6.6915 | 3.2 | -3.4915
Spent Grains/Wash-down Areas | [32 empty] | 0 | 0.1 | 0.1
Whirlpool | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.1 | 0.1
Cellars/Filtration | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.7 | 0.7
Processing/Cellars | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 1 | 1
CIP Process | Thu: 0.63395; Fri: 4.2218; Mon: 1.2064; Tue: 0.93884; Wed: 1.3372; Thu: 1.8063; Thu: 1.9074; Fri: 0.94914; Mon: 0.82997; Tue: 1.578; Wed: 1.648; Thu: 1.7809; Fri: 0.9179; Sun: 0; Mon: 2.2576; Tue: 2.2883; Wed: 1.727; Thu: 1.2473; Fri: 0.82456 | 1.6342 | 0.7 | -0.93418
Bottles Washer | Thu: 1.6814; Fri: 1.7591; Mon: 0.46814; Tue: 3.5765; Wed: 1.4835; Thu: 1.5482; Thu: 2.0541; Fri: 1.4237; Mon: 1.6907; Tue: 1.6072; Wed: 1.442; Thu: 1.9154; Fri: 1.4992; Sun: 0; Mon: 1.7464; Tue: 1.8043; Wed: 2.3602; Thu: 1.5726; Fri: 1.4842 | 1.9284 | 2.1 | 0.17163
Bottle Filler | Thu: 0.46858; Fri: 0.46909; Mon: 0.30609; Tue: 0.60354; Wed: 0.43877; Thu: 0.37533; Thu: 0.58689; Fri: 0.4113; Mon: 0.39961; Tue: 0.40911; Wed: 0.33475; Thu: 0.43684; Fri: 0.36716; Sun: 0; Mon: 0.51116; Tue: 0.52808; Wed: 0.63323; Thu: 0.3796; Fri: 0.19789 | 0.42002 | 0.7 | 0.27998
Pasteuriser | Thu: 0.08269; Fri: 0; Mon: 0; Tue: 0; Wed: 0.041788; Thu: 0; Thu: 0.097815; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0.23088 | 0.023807 | 0.1 | 0.076193
Boiler Supply | Thu: 2.7012; Fri: 5.16; Mon: 1.1884; Tue: 1.4083; Wed: 1.0656; Thu: 0.77411; Thu: 2.0541; Fri: 1.139; Mon: 1.537; Tue: 1.6656; Wed: 1.3905; Thu: 1.6801; Fri: 1.5604; Sun: 3.6731; Mon: 2.5984; Tue: 2.6844; Wed: 3.5116; Thu: 1.2473; Fri: 1.2863 | 2.1103 | 0.6 | -1.5103
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 9.2337 | 28.9661 | 0 | 0 | 5.5997 | 11.2437 | 8.2948 | 8.5153 | 0 | 0 | 0 | 0 | 0 | 0 | 13.6452 | 7.6881 | 0 | 0 | 10.39 | 12.2439 | 8.2916 | 13.7772 | 8.4753 | 0 | 3.6731 | 13.503 | 13.9061 | 17.8456 | 9.5714 | 11.0161 |  | 12.8082 | 9.6 | -3.2082
Bottling Hall water | 0 | 2.2326 | 2.2282 | 0 | 0 | 0.77423 | 4.1801 | 1.964 | 1.9236 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7388 | 1.835 | 0 | 0 | 2.0903 | 2.0163 | 1.7768 | 2.3522 | 1.8664 | 0 | 0 | 2.2576 | 2.3324 | 2.9935 | 1.9522 | 1.913 |  | 2.3722 | 2.9 | 0.5278
Water Plant Total (Before Sand Filter) | 40 | 147 | 225 | 82 | 46 | 209 | 238 | 202 | 253 | 257 | 91 | 131 | 146 | 183 | 219 | 239 | 242 | 252 | 241 | 221 | 221 | 191 | 153 | 54 | 245 | 29 | 267 | 268 | 267 | 271 | 250 |  | 5630
CO2 (kg.) (Tank Gauges) | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) |  | 900 | 800 | 0 | 0 | 3000 | 2600 | 1400 | 1000 | 500 | 0 | 0 | 600 | 700 | 200 | 2200 | 1400 | 2900 | 0 | 800 | 1100 | 2300 | 1200 | 1200 | 0 | 0 | 1200 | 1900 | 1300 | 1400 | 1700 |  | 32300
CO2 (kg.) (Ex. Vap'r) | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | [32 empty] | 0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Electricity (Kwh.) | 4383 | 7158 | 5794 | 4383 | 3844 | 8185 | 7663 | 8121 | 7665 | 5438 | 4268 | 4039 | 4600 | 4566 | 5114 | 7200 | 7159 | 5380 | 5423 | 7116 | 7929 | 7908 | 7206 | 7292 | 4362 | 3989 | 7007 | 7006 | 7409 | 8213 | 7235 |  | 193055
Fuel (L) | 500 | 2830 | 1480 | 0 | 1820 | 2100 | 3200 | 3210 | 3060 | 1170 | 750 | 70 | 620 | 970 | 1700 | 3110 | 2880 | 1610 | 1700 | 3030 | 3030 | 2840 | 3230 | 2180 | 600 | 160 | 2680 | 2680 | 2681 | 2739 | 2470 |  | 61100
Steam Mass Flow | 0 | 306 | 196 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 50 | 21 | 152 | 1 | 171 | 162 | 9 | 132 | 0 | 3 | 0 | 0 | 0 | 19 | 18 | 1 | 15 | 5.692 | 0 | 1337.692
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff
Total water consumption | Thu: 1.7365; Fri: 6.919; Mon: 2.7008; Tue: 5.4095; Wed: 3.1341; Thu: 7.6004; Thu: 11.1998; Fri: 7.2451; Mon: 12.9413; Tue: 3.6819; Wed: 10.2229; Thu: 10.7865; Fri: 13.6462; Sun: 16.5289; Mon: 13.8012; Tue: 14.2142; Wed: 18.7091; Thu: 11.5236; Fri: 10.6863 | 10.3952 | 10.2 | -0.19518
CO2 (kg./Hl.) KPI | Thu: 2.4807; Fri: 9.3817; Mon: 5.4016; Tue: 5.8119; Wed: 2.9251; Thu: 2.3458; Thu: 10.7596; Fri: 4.4293; Mon: 2.4592; Tue: 3.2144; Wed: 5.9226; Thu: 4.0323; Fri: 3.6716; Sun: 0; Mon: 5.1116; Tue: 8.3613; Wed: 7.4837; Thu: 3.796; Fri: 5.607 | 5.4926 | 5 | -0.49263
CO2 Filler (kg./Hl.) KPI | Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 1.7 | 1.7
Electricity (Kwh./Hl.) KPI | Thu: 19.7298; Fri: 67.9473; Mon: 14.7374; Tue: 17.1294; Wed: 16.9678; Thu: 17.9805; Thu: 35.2133; Fri: 22.6498; Mon: 21.8743; Tue: 23.17; Wed: 20.3634; Thu: 24.2142; Fri: 22.3112; Sun: 244.1996; Mon: 29.8472; Tue: 30.8311; Wed: 42.6511; Thu: 22.269; Fri: 23.8628 | 32.8291 | 22 | -10.8291
Fuel (L/Hl.) KPI | Thu: 7.8004; Fri: 17.3562; Mon: 3.7811; Tue: 7.1531; Wed: 6.7069; Thu: 7.1781; Thu: 15.2102; Fri: 9.1118; Mon: 9.3141; Tue: 8.8542; Wed: 7.3131; Thu: 10.8537; Fri: 6.6701; Sun: 9.7949; Mon: 11.4158; Tue: 11.7938; Wed: 15.4336; Thu: 7.4266; Fri: 8.1467 | 10.3901 | 7.2 | -3.1901
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Tanks on Collection
Into RO | Wed: _; Thu: 147; Mon: _; Tue: _; Fri: _ | 147
| 4383 |  | 5794 | 4383 | 3844 | 8185 | 7663 | 8121 | 7665 | 5438 | 4268 | 4039 | 4600 | 4566 | 5114 | 7200 | 7159 | 5380 | 5423 | 7116 | 7929 | 7908 | 7206 | 7292 | 4362 | 3989 | 7007 | 7006 | 7409 | 8213 | 7235 |  | 193055
7158
Note on B7: Reshelle Fleming: holiday
Note on AE7: Reshelle Fleming: Public Holiday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 3200 Kgs Tank B 6800 kgs Tank C 11800 (3600+8200) kgs
Note on AG74: Delano Pasea: Tank A 1100 kgs Tank B 0kgs Tank C approx. Kgs 25700 Mobile aprox 0 kgs