## Entries June'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
-
1 | 7416560 |  |  | 64 | 4131.1 | 68225 |  | 651300 | 204968 | 468000 |  |  | 3052.19 | 180743 | 21238 | 903351 |  | 45913 |  | 20888 | 1298636 |  | 34117 | 33760 | 7492 | 97122 |  | 40368 | 259432 | [5 empty] | 7288160.767
2 | 7417290 |  |  | 64 | 4135.5 | 68225 |  | 654282 | 207771 | 468000 |  |  | 3052.19 | 180743 | 21309 | 903363 |  | 45913 |  | 20888 | 1298708 |  | 34117 | 33787 | 7493 | 97122 |  | 40368 | 259432 | [5 empty] | 7288189.291
3 | 7420570 |  |  | 64 | 4156.6 | 68225 |  | 658919 | 212138 | 468000 |  |  | 3112.78 | 181010 | 21497 | 903698 |  | 46026 |  | 20907 | 1298908 |  | 34202 | 33900 | 7518 | 97122 |  | 40368 | 259432 | [5 empty] | 7288189.291
4 | 7423950 |  |  | 64 | 4177.7 | 68225 |  | 663548 | 216496 | 468000 |  |  | 3165.58 | 181298 | 21629 | 903992 |  | 46156 |  | 20907 | 1299047 |  | 34253 | 34058 | 7538 | 97122 |  | 40410 | 259432 | [5 empty] | 7288297.346
5 | 7427080 |  |  | 64 | 4197.9 | 68225 |  | 668191 | 220866 | 468000 |  |  | 3215.28 | 181496 | 21800 | 904220 |  | 46329 |  | 20907 | 1299228 |  | 34284 | 34171 | 7554 | 97122 |  | 40432 | 259432 | [5 empty] | 7288301.164
6 | 7430590 |  |  | 64 | 4219.8 | 68225 |  | 673137 | 225529 | 468000 |  |  | 3276.42 | 181637 | 22062 | 904525 |  | 46551 |  | 20915 | 1299504 |  | 34340 | 34321 | 7574 | 97122 |  | 40455 | 259448 | [5 empty] | 7288301.164
7 | 7433250 |  |  | 64 | 4238.1 | 68225 |  | 677816 | 229936 | 468000 |  |  | 3324.64 | 181860 | 22349 | 904750 |  | 46673 |  | 20915 | 1299806 |  | 34400 | 34415 | 7589 | 97122 |  | 40472 | 259448 | [5 empty] | 7288301.164
8 | 7433550 |  |  | 64 | 4240.2 | 68225 |  | 679982 | 231968 | 468000 |  |  | 3324.97 | 181860 | 22349 | 904797 |  | 46674 |  | 20915 | 1299806 |  | 34405 | 34420 | 7589 | 97122 |  | 40474 | 259448 | [5 empty] | 7288301.164
9 | 7433550 |  |  | 64 | 4240.2 | 68225 |  | 682776 | 234539 | 468000 |  |  | 3324.97 | 181860 | 22437 | 904868 |  | 46674 |  | 20915 | 1299899 |  | 34405 | 34479 | 7590 | 97122 |  | 40474 | 259448 | [5 empty] | 7288301.164
10 | 7434380 |  |  | 64 | 4245.2 | 68225 |  | 685080 | 236740 | 468000 |  |  | 3324.97 | 181860 | 22437 | 904874 |  | 46674 |  | 20915 | 1299899 |  | 34405 | 34479 | 7593 | 97122 |  | 40474 | 259448 | [5 empty] | 7288301.164
11 | 7437280 |  |  | 64 | 4264.3 | 68225 |  | 689299 | 240709 | 468000 |  |  | 3384.18 | 182031 | 22573 | 905144 |  | 46774 |  | 20921 | 1300042 |  | 34452 | 34619 | 7610 | 97122 |  | 40474 | 259448 | [5 empty] | 7288304.058
12 | 7440680 |  |  | 64 | 4285.8 | 68225 |  | 693826 | 244973 | 468000 |  |  | 3458.97 | 182335 | 22745 | 905431 |  | 46954 |  | 20921 | 1300216 |  | 34495 | 34777 | 7628 | 97122 |  | 40474 | 259448 | [5 empty] | 7288304.058
13 | 7443620 |  |  | 64 | 4305.2 | 68225 |  | 698186 | 249076 | 468000 |  |  | 3507.93 | 182359 | 23014 | 905690 |  | 47083 |  | 20921 | 1300506 |  | 34559 | 34887 | 7655 | 97122 |  | 40539 | 259448 | [5 empty] | 7288304.058
14 | 7446640 |  |  | 64 | 4324.2 | 68225 |  | 702516 | 253152 | 468000 |  |  | 3570.38 | 182428 | 23291 | 905938 |  | 47218 |  | 20924 | 1300799 |  | 34590 | 35013 | 7682 | 97122 |  | 40559 | 259448 | [5 empty] | 7288304.058
15 | 7447660 |  |  | 64 | 4333.9 | 68225 |  | 705394 | 255851 | 468000 |  |  | 3570.38 | 182428 | 23440 | 906090 |  | 47292 |  | 20939 | 1300999 |  | 34608 | 35040 | 7687 | 97122 |  | 40560 | 259448 | [5 empty] | 7288306.141
16 | 7448350 |  |  | 64 | 4337.7 | 68225 |  | 708113 | 258399 | 468000 |  |  | 3570.38 | 182428 | 23528 | 906099 |  | 47292 |  | 20939 | 1301045 |  | 34608 | 35040 | 7694 | 97122 |  | 40560 | 259448 | [5 empty] | 7288306.141
17 | 7452030 |  |  | 64 | 4360 | 68225 |  | 712404 | 262436 | 468000 |  |  | 3635.92 | 182588 | 23728 | 906357 |  | 47399 |  | 20977 | 1301258 |  | 34655 | 35172 | 7727 | 97122 |  | 40580 | 259502 | [5 empty] | 7288336.384
18 | 7455650 |  |  | 64 | 4381.7 | 68225 |  | 717164 | 266920 | 468000 |  |  | 3709.07 | 182946 | 23874 | 906645 |  | 47576 |  | 20985 | 1301413 |  | 34702 | 35322 | 7759 | 97122 |  | 40604 | 259502 | [5 empty] | 7288336.384
19 | 7458700 |  |  | 64 | 4401.4 | 68225 |  | 721406 | 270910 | 468000 |  |  | 3806.13 | 183169 | 24017 | 906912 |  | 47681 |  | 20995 | 1301563 |  | 34740 | 35450 | 7780 | 97122 |  | 40623 | 259502 | [5 empty] | 7288339.956
20 | 7459400 |  |  | 64 | 4406 | 68225 |  | 723839 | 273185 | 468000 |  |  | 3806.13 | 183169 | 24017 | 906923 |  | 47681 |  | 20995 | 1301563 |  | 34740 | 35450 | 7798 | 97122 |  | 40623 | 259502 | [5 empty] | 7288339.956
21 | 7461720 |  |  | 64 | 4422.4 | 68225 |  | 727504 | 276631 | 468000 |  |  | 3850.26 | 183435 | 24225 | 906147 |  | 47693 |  | 21011 | 1301779 |  | 34761 | 35565 | 7875 | 97122 |  | 40639 | 259502 | [5 empty] | 7288339.956
22 | 7461990 |  |  | 64 | 4424.5 | 68225 |  | 729883 | 278858 | 468000 |  |  | 3850.26 | 183435 | 24243 | 907204 |  | 47693 |  | 21011 | 1301796 |  | 34761 | 35596 | 7899 | 97122 |  | 40639 | 259502 | [5 empty] | 7288339.956
23 | 7461990 |  |  | 64 | 4424.5 | 68225 |  | 732397 | 281220 | 468000 |  |  | 3850.26 | 183435 | 24321 | 907208 |  | 47693 |  | 21011 | 1301877 |  | 34761 | 35596 | 7899 | 97122 |  | 40639 | 259502 | [5 empty] | 7288339.956
24 | 7465240 |  |  | 64 | 4447.2 | 68225 |  | 736220 | 285289 | 468000 |  |  | 3909.64 | 183561 | 24510 | 907503 |  | 47760 |  | 21021 | 1302075 |  | 34825 | 35741 | 7933 | 97122 |  | 40651 | 259502 | [5 empty] | 7288940.689
25 | 7468760 |  |  | 64 | 4468.6 | 68225 |  | 740867 | 289184 | 468000 |  |  | 3955.25 | 183824 | 24601 | 907736 |  | 47974 |  | 21021 | 1302171 |  | 34864 | 35844 | 7956 | 97122 |  | 40673 | 259502 | [5 empty] | 7288997.255
26 | 7472690 |  |  | 64 | 4490.6 | 68225 |  | 745772 | 293801 | 468000 |  |  | 4026.74 | 184210 | 24737 | 908048 |  | 48136 |  | 21021 | 1302312 |  | 34902 | 36021 | 7987 | 97122 |  | 40697 | 259502 | [5 empty] | 7288997.255
27 | 7476110 |  |  | 64 | 4512 | 68225 |  | 750521 | 298265 | 468000 |  |  | 4094.51 | 184415 | 25003 | 908305 |  | 48331 |  | 21021 | 1302593 |  | 34945 | 36162 | 8015 | 97122 |  | 40717 | 259509 | [5 empty] | 7288997.255
28 | 7479350 |  |  | 64 | 4533 | 68225 |  | 755273 | 302728 | 468000 |  |  | 4146.26 | 184524 | 25275 | 908554 |  | 48479 |  | 21031 | 1302887 |  | 35009 | 36274 | 8044 | 97122 |  | 40773 | 259511 | [5 empty] | 7289000.714
29 | 7481230 |  |  | 64 | 4550.8 | 68225 |  | 758334 | 305601 | 468000 |  |  | 4146.26 | 184529 | 25443 | 908650 |  | 48688 |  | 21031 | 1303054 |  | 35028 | 36281 | 8051 | 97122 |  | 40773 | 259554 | [5 empty] | 7289000.714
30 | 7482710 |  |  | 64 | 4561 | 68225 |  | 761270 | 308359 | 468000 |  |  | 4146.26 | 184702 | 25444 | 908724 |  | 48765 |  | 21031 | 1303054 |  | 35046 | 36281 | 8061 | 97122 |  | 40773 | 259554 | [5 empty] | 7289000.714
1 | 7486040 |  |  | 64 | 4583 | 68225 |  | 765750 | 312573 | 468000 |  |  | 4185.99 | 184851 | 25619 | 908959 |  | 48949 |  | 21043 | 1303314 |  | 35100 | 36417 | 8088 | 97122 |  | 40783 | 259968 | [5 empty] | 7289001.946
Note on AK3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis June 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [5 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [11 empty] | Elect | Water | Fuel | CO2
|  |  | USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2982 | 2803 | 5785 | 0 | 5785 | 710 | 730 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4637 | 4367 | 9004 | 0 | 9004 | 4550 | 3280 | 2700 | 0 | 0 | 0 | 0 | 455.6052 | 19.7627 | 9.9867 | 7.1992 | 5.9262
3 | 4629 | 4358 | 8987 | 0 | 8987 | 4200 | 3380 | 3100 | 0 | 0 | 0 | 0 | 644.754 | 13.9386 | 6.5141 | 5.2423 | 4.808
4 | 4643 | 4370 | 9013 | 0 | 9013 | 3690 | 3130 | 2500 | 0 | 0 | 0 | 0 | 398.442 | 22.6206 | 9.2611 | 7.8556 | 6.2744
5 | 4946 | 4663 | 9609 | 0 | 9609 | 4030 | 3510 | 3900 | 0 | 0 | 0 | 0 | 496.584 | 19.3502 | 8.1154 | 7.0683 | 7.8537
6 | 4679 | 4407 | 9086 | 0 | 9086 | 5100 | 2660 | 3200 | 0 | 0 | 0 | 0 | 263.934 | 34.4253 | 19.323 | 10.0783 | 12.1242
7 | 2166 | 2032 | 4198 | 0 | 4198 | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 2794 | 2571 | 5365 | 0 | 5365 | 880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 2304 | 2201 | 4505 | 0 | 4505 | 0 | 830 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 4219 | 3969 | 8188 | 0 | 8188 | 3070 | 2900 | 1700 | 0 | 0 | 0 | 0 | 418.11 | 19.5834 | 7.3426 | 6.936 | 4.0659
11 | 4527 | 4264 | 8791 | 0 | 8791 | 4760 | 3400 | 2300 | 0 | 0 | 0 | 0 | 475.992 | 18.4688 | 10.0002 | 7.143 | 4.832
12 | 4360 | 4103 | 8463 | 0 | 8463 | 2930 | 2940 | 2500 | 0 | 0 | 0 | 0 | 339.834 | 24.9033 | 8.6219 | 8.6513 | 7.3565
13 | 4330 | 4076 | 8406 | 0 | 8406 | 3460 | 3020 | 2500 | 0 | 0 | 0 | 0 | 411.576 | 20.4239 | 8.4067 | 7.3376 | 6.0742
14 | 2878 | 2699 | 5577 | 0 | 5577 | 1490 | 1020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 2719 | 2548 | 5267 | 0 | 5267 | 880 | 690 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 4291 | 4037 | 8328 | 0 | 8328 | 3600 | 3680 | 2400 | 0 | 0 | 0 | 0 | 400.62 | 20.7878 | 8.9861 | 9.1858 | 5.9907
17 | 4760 | 4484 | 9244 | 0 | 9244 | 5040 | 3620 | 2500 | 0 | 0 | 0 | 0 | 550.242 | 16.7999 | 9.1596 | 6.5789 | 4.5435
18 | 4242 | 3990 | 8232 | 0 | 8232 | 3660 | 3050 | 3200 | 0 | 0 | 0 | 0 | 446.5428 | 18.435 | 8.1963 | 6.8303 | 7.1662
19 | 2433 | 2275 | 4708 | 0 | 4708 | 0 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 3665 | 3446 | 7111 | 0 | 7111 | 4740 | 2320 | 2500 | 0 | 0 | 0 | 0 | 365.0208 | 19.4811 | 12.9856 | 6.3558 | 6.8489
21 | 2379 | 2227 | 4606 | 0 | 4606 | 180 | 270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 2514 | 2362 | 4876 | 0 | 4876 | 780 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 3823 | 4069 | 7892 | 0 | 7892 | 3150 | 3250 | 3100 | 0 | 0 | 0 | 0 | 475.86 | 16.5847 | 6.6196 | 6.8297 | 6.5145
24 | 4647 | 3895 | 8542 | 0 | 8542 | 3540 | 3520 | 1800 | 0 | 0 | 0 | 0 | 367.752 | 23.2276 | 9.6261 | 9.5717 | 4.8946
25 | 4905 | 4617 | 9522 | 0 | 9522 | 5220 | 3930 | 2500 | 0 | 0 | 0 | 0 | 663.3 | 14.3555 | 7.8697 | 5.9249 | 3.769
26 | 4749 | 4464 | 9213 | 0 | 9213 | 4710 | 3420 | 3800 | 0 | 0 | 0 | 0 | 526.284 | 17.5058 | 8.9495 | 6.4984 | 7.2204
27 | 4752 | 4463 | 9215 | 0 | 9215 | 3810 | 3240 | 2100 | 0 | 0 | 0 | 0 | 402.204 | 22.9113 | 9.4728 | 8.0556 | 5.2212
28 | 3061 | 2873 | 5934 | 0 | 5934 | 1730 | 1880 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 2936 | 2758 | 5694 | 0 | 5694 | 1740 | 1480 | 0 | 0 | 0 | 0 | 0 | 29.04 | 196.0744 | 59.9174 | 50.9642 | 0
30 | 4480 | 4214 | 8694 | 0 | 8694 | 3240 | 3330 | 2000 | 0 | 0 | 0 | 0 | 272.844 | 31.8644 | 11.8749 | 12.2048 | 7.3302
|  |  | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 222055 | 0 | 222055 | 84890 | 69480 | 50700 | 0 | 0 | 0 | 0 | 8404.5408 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[14 empty] | 26.4208 | 10.1005 | 8.267 | 6.0325
Note on A14: Alexander Dominguez-Ramon: Glycol Leaking in FV5

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 28.524
2 | 0
3 | 108.055
4 | 3.818
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 2.894
11 | 0
12 | 0
13 | 0
14 | 2.083
15 | 0
16 | 30.243
17 | 0
18 | 3.572
19 | 0
20 | 0
21 | 0
22 | 0
23 | 600.733
24 | 56.566
25 | 0
26 | 0
27 | 3.459
28 | 0
29 | 0
30 | 1.232
841.179

## Fuel
DAILY FUEL CONSUMPTION FOR JUNE 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
0
1 | 730 | 4.4 | 0 | 0 |  |  | 165.9091 | 0 | 0 | 730 | 0 | 0
2 | 3280 | 21.1 | 0 | 0 |  |  | 155.4502 | 0 | 0 | 3280 | 455.6052 | 7.1992
3 | 3380 | 21.1 | 0 | 0 |  |  | 160.1896 | 0 | 0 | 3380 | 644.754 | 5.2423
4 | 3130 | 20.2 | 0 | 0 |  |  | 154.9505 | 0 | 0 | 3130 | 398.442 | 7.8556
5 | 3510 | 21.9 | 0 | 0 |  |  | 160.274 | 0 | 0 | 3510 | 496.584 | 7.0683
6 | 2660 | 18.3 | 0 | 0 |  |  | 145.3552 | 0 | 0 | 2660 | 263.934 | 10.0783
7 | 300 | 2.1 | 0 | 0 |  |  | 142.8571 | 0 | 0 | 300 | 0 | 0
8 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 | 830 | 5 | 0 | 0 |  |  | 166 | 0 | 0 | 830 | 0 | 0
10 | 2900 | 19.1 | 0 | 0 |  |  | 151.8325 | 0 | 0 | 2900 | 418.11 | 6.936
11 | 3400 | 21.5 | 0 | 0 |  |  | 158.1395 | 0 | 0 | 3400 | 475.992 | 7.143
12 | 2940 | 19.4 | 0 | 0 |  |  | 151.5464 | 0 | 0 | 2940 | 339.834 | 8.6513
13 | 3020 | 19 | 0 | 0 |  |  | 158.9474 | 0 | 0 | 3020 | 411.576 | 7.3376
14 | 1020 | 9.7 | 0 | 0 |  |  | 105.1546 | 0 | 0 | 1020 | 0 | 0
15 | 690 | 3.8 | 0 | 0 |  |  | 181.5789 | 0 | 0 | 690 | 0 | 0
16 | 3680 | 22.3 | 0 | 0 |  |  | 165.0224 | 0 | 0 | 3680 | 400.62 | 9.1858
17 | 3620 | 21.7 | 0 | 0 |  |  | 166.8203 | 0 | 0 | 3620 | 550.242 | 6.5789
18 | 3050 | 19.7 | 0 | 0 |  |  | 154.8223 | 0 | 0 | 3050 | 446.5428 | 6.8303
19 | 700 | 4.6 | 0 | 0 |  |  | 152.1739 | 0 | 0 | 700 | 0 | 0
20 | 2320 | 16.4 | 0 | 0 |  |  | 141.4634 | 0 | 0 | 2320 | 365.0208 | 6.3558
21 | 270 | 2.1 | 0 | 0 |  |  | 128.5714 | 0 | 0 | 270 | 0 | 0
22 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
23 | 3250 | 22.7 | 0 | 0 |  |  | 143.1718 | 0 | 0 | 3250 | 475.86 | 6.8297
24 | 3520 | 21.4 | 0 | 0 |  |  | 164.486 | 0 | 0 | 3520 | 367.752 | 9.5717
25 | 3930 | 22 | 0 | 0 |  |  | 178.6364 | 0 | 0 | 3930 | 663.3 | 5.9249
26 | 3420 | 21.4 | 0 | 0 |  |  | 159.8131 | 0 | 0 | 3420 | 526.284 | 6.4984
27 | 3240 | 21 | 0 | 0 |  |  | 154.2857 | 0 | 0 | 3240 | 402.204 | 8.0556
28 | 1880 | 17.8 | 0 | 0 |  |  | 105.618 | 0 | 0 | 1880 | 0 | 0
29 | 1480 | 10.2 |  | 0 |  |  | 145.098 | 0 | 0 | 1480 | 29.04 | 50.9642
30 | 3330 | 22 |  | 0 |  |  | 151.3636 | 0 | 0 | 3330 | 272.844 | 12.2048
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0
MTD | 69480 | 451.9 | 0 | 0 |  |  | 153.7508 |  |  | 69480 | 8404.5408 | 8.267 | 7.2 | 114.8189
AVE. | 2481.4286 | 16.1393 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 71 | 72 | -1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 1 | 0 | -10 | 27 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0
| 2 | 0 | 267 | 188 | 200 | 255 | 335 | 0 | 113 | 0 | 0 | 19 | 85 | 113 | 0 | 25 | 0 | 2550 | 217 | 0 | 0 | 0 | 0 | 0 | 455 | 455.6052 | 9.9867
| 3 | 0 | 288 | 132 | 139 | 281 | 294 | 0 | 130 | 0 | 0 | 0 | 51 | 158 | 42 | 20 | 0 | 2810 | 209 | 42 | 0 | 0 | 0 | 0 | 420 | 644.754 | 6.5141
| 4 | 0 | 198 | 171 | 181 | 188 | 228 | 0 | 173 | 0 | 0 | 0 | 31 | 113 | 22 | 16 | 0 | 1880 | 144 | 22 | 0 | 0 | 0 | 0 | 369 | 398.442 | 9.2611
| 5 | 0 | 141 | 262 | 276 | 127 | 305 | 0 | 222 | 0 | 0 | 8 | 56 | 150 | 23 | 20 | 0 | 1270 | 214 | 23 | 16 | 0 | 0 | 0 | 403 | 496.584 | 8.1154
| 6 | 0 | 223 | 287 | 302 | 208 | 225 | 0 | 122 | 0 | 0 | 0 | 60 | 94 | 17 | 15 | 0 | 2080 | 154 | 17 | 0 | 0 | 0 | 0 | 510 | 263.934 | 19.323
| 7 | 0 | 0 | 0 | 0 | 0 | 47 | 0 | 1 | 0 | 0 | 0 | 5 | 5 | 2 | 0 | 0 | 0 | 10 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | 0 | 0 | 88 | 93 | -5 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 1 | 0 | -50 | 59 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0
| 9 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10 | 0 | 171 | 136 | 143 | 164 | 270 | 0 | 100 | 0 | 0 | 6 | 47 | 140 | 0 | 17 | 0 | 1640 | 193 | 0 | 0 | 0 | 0 | 0 | 307 | 418.11 | 7.3426
| 11 | 0 | 304 | 172 | 174 | 302 | 287 | 0 | 180 | 0 | 0 | 0 | 43 | 158 | 0 | 18 | 0 | 3020 | 201 | 0 | 0 | 0 | 0 | 0 | 476 | 475.992 | 10.0002
| 12 | 0 | 24 | 269 | 290 | 3 | 259 | 0 | 129 | 0 | 0 | 0 | 64 | 110 | 65 | 27 | 0 | 30 | 174 | 65 | 0 | 0 | 0 | 0 | 293 | 339.834 | 8.6219
| 13 | 0 | 69 | 277 | 293 | 53 | 248 | 0 | 135 | 0 | 0 | 3 | 31 | 126 | 20 | 27 | 0 | 530 | 160 | 20 | 0 | 0 | 0 | 0 | 346 | 411.576 | 8.4067
| 14 | 0 | 0 | 149 | 200 | -51 | 152 | 0 | 74 | 0 | 0 | 15 | 18 | 27 | 1 | 5 | 0 | -510 | 60 | 1 | 0 | 0 | 0 | 0 | 149 | 0 | 0
| 15 | 0 | 0 | 88 | 46 | 42 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 420 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0
| 16 | 0 | 160 | 200 | 213 | 147 | 258 | 0 | 107 | 0 | 0 | 38 | 47 | 132 | 20 | 33 | 0 | 1470 | 217 | 20 | 54 | 0 | 0 | 0 | 360 | 400.62 | 8.9861
| 17 | 0 | 358 | 146 | 155 | 349 | 288 | 0 | 177 | 0 | 0 | 8 | 47 | 150 | 24 | 32 | 0 | 3490 | 205 | 24 | 0 | 0 | 0 | 0 | 504 | 550.242 | 9.1596
| 18 | 0 | 223 | 143 | 150 | 216 | 267 | 0 | 105 | 0 | 0 | 10 | 38 | 128 | 19 | 21 | 0 | 2160 | 176 | 19 | 0 | 0 | 0 | 0 | 366 | 446.5428 | 8.1963
| 19 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 266 | 208 | 216 | 258 | 0 | 0 | 12 | 0 | 0 | 16 | 21 | 115 | 16 | 77 | 0 | 2580 | 152 | 16 | 0 | 0 | 0 | 0 | 474 | 365.0208 | 12.9856
| 21 | 0 | 0 | 18 | 17 | 1 | 1057 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 24 | 0 | 10 | 31 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0
| 22 | 0 | 0 | 78 | 81 | -3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0
| 23 | 0 | 126 | 189 | 198 | 117 | 295 | 0 | 67 | 0 | 0 | 10 | 64 | 145 | 12 | 34 | 0 | 1170 | 219 | 12 | 0 | 0 | 0 | 0 | 315 | 475.86 | 6.6196
| 24 | 0 | 263 | 91 | 96 | 258 | 233 | 0 | 214 | 0 | 0 | 0 | 39 | 103 | 22 | 23 | 0 | 2580 | 142 | 22 | 0 | 0 | 0 | 0 | 354 | 367.752 | 9.6261
| 25 | 0 | 386 | 136 | 141 | 381 | 312 | 0 | 162 | 0 | 0 | 0 | 38 | 177 | 24 | 31 | 0 | 3810 | 215 | 24 | 0 | 0 | 0 | 0 | 522 | 663.3 | 7.8697
| 26 | 0 | 205 | 266 | 281 | 190 | 257 | 0 | 195 | 0 | 0 | 0 | 43 | 141 | 20 | 28 | 0 | 1900 | 184 | 20 | 7 | 0 | 0 | 0 | 471 | 526.284 | 8.9495
| 27 | 0 | 109 | 272 | 294 | 87 | 249 | 0 | 148 | 0 | 0 | 10 | 64 | 112 | 56 | 29 | 0 | 870 | 186 | 56 | 2 | 0 | 0 | 0 | 381 | 402.204 | 9.4728
| 28 | 0 | 5 | 168 | 167 | 6 | 96 | 0 | 209 | 0 | 0 | 0 | 19 | 7 | 0 | 7 | 0 | 60 | 26 | 0 | 43 | 0 | 0 | 0 | 173 | 0 | 0
| 29 | 0 | 173 | 1 | 0 | 174 | 74 | 0 | 77 | 0 | 0 | 0 | 18 | 0 | 0 | 10 | 0 | 1740 | 18 | 0 | 0 | 0 | 0 | 0 | 174 | 29.04 | 59.9174
| 30 | 0 | 149 | 175 | 260 | 64 | 235 | 0 | 184 | 0 | 0 | 12 | 54 | 136 | 10 | 27 | 0 | 640 | 202 | 10 | 414 | 0 | 0 | 0 | 324 | 272.844 | 11.8749
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 4108 | 4381 | 4678 | 3811 | 6384 |  | 3036 |  | 0 | 155 | 983 | 2657 | 415 | 596 | 0 | 38110 | 3795 | 415 | 536 |  |  |  | 8489 | 8404.5408 | 10.1005 | 10.2 | 99.0244
| Gals. |  | 903760
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 14288.4456
| Add basic charge |  | 278.97
14567.4156
| Proxy sewage charge (2/3) |  | 9711.6104
| Proxy MTD NAWASA cost |  | 24279.026
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.June'25
DAILY ELECTRICITY CONSUMPTION FOR JUNE 2025
DATE | Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr)
1 | 5785 | 0 | 5785 | 0 | 0
2 | 9004 | 0 | 9004 | 455.6052 | 19.7627
3 | 8987 | 0 | 8987 | 644.754 | 13.9386
4 | 9013 | 0 | 9013 | 398.442 | 22.6206
5 | 9609 | 0 | 9609 | 496.584 | 19.3502
6 | 9086 | 0 | 9086 | 263.934 | 34.4253
7 | 4198 | 0 | 4198 | 0 | 0
8 | 5365 | 0 | 5365 | 0 | 0
9 | 4505 | 0 | 4505 | 0 | 0
10 | 8188 | 0 | 8188 | 418.11 | 19.5834
11 | 8791 | 0 | 8791 | 475.992 | 18.4688
12 | 8463 | 0 | 8463 | 339.834 | 24.9033
13 | 8406 | 0 | 8406 | 411.576 | 20.4239
14 | 5577 | 0 | 5577 | 0 | 0
15 | 5267 | 0 | 5267 | 0 | 0
16 | 8328 | 0 | 8328 | 400.62 | 20.7878
17 | 9244 | 0 | 9244 | 550.242 | 16.7999
18 | 8232 | 0 | 8232 | 446.5428 | 18.435
19 | 4708 | 0 | 4708 | 0 | 0
20 | 7111 | 0 | 7111 | 365.0208 | 19.4811
21 | 4606 | 0 | 4606 | 0 | 0
22 | 4876 | 0 | 4876 | 0 | 0
23 | 7892 | 0 | 7892 | 475.86 | 16.5847
24 | 8542 | 0 | 8542 | 367.752 | 23.2276
25 | 9522 | 0 | 9522 | 663.3 | 14.3555
26 | 9213 | 0 | 9213 | 526.284 | 17.5058
27 | 9215 | 0 | 9215 | 402.204 | 22.9113
28 | 5934 | 0 | 5934 | 0 | 0
29 | 5694 | 0 | 5694 | 29.04 | 196.0744
30 | 8694 | 0 | 8694 | 272.844 | 31.8644
| 0 | [5 empty] | %
MTD | 222055 | 0 | 222055 | 8404.5408 | 26.4208 | 22 | 120.0947
TARGET

## PROD.FIG.
PRODUCTION FOR JUNE 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Sunday | 1 | [5 empty] | 0
Monday | 2 | [5 empty] | 455.6052
Tuesday | 3 | [5 empty] | 644.754
Wednesday | 4 | [5 empty] | 398.442
Thursday | 5 | [5 empty] | 496.584
Friday | 6 | [5 empty] | 263.934
Saturday | 7 | [5 empty] | 0
Sunday | 8 | [5 empty] | 0
Monday | 9 | [5 empty] | 0
Tuesday | 10 | [5 empty] | 418.11
Wednesday | 11 | [5 empty] | 475.992
Thursday | 12 | [5 empty] | 339.834
Friday | 13 | [5 empty] | 411.576
Saturday | 14 | [5 empty] | 0
Sunday | 15 | [5 empty] | 0
Monday | 16 | [5 empty] | 400.62
Tuesday | 17 | [5 empty] | 550.242
Wednesday | 18 | [5 empty] | 446.5428
Thursday | 19 | [5 empty] | 0
Friday | 20 | [5 empty] | 365.0208
Saturday | 21 | [5 empty] | 0
Sunday | 22 | [5 empty] | 0
Monday | 23 | [5 empty] | 475.86
Tuesday | 24 | [5 empty] | 367.752
Wednesday | 25 | [5 empty] | 663.3
Thursday | 26 | [5 empty] | 526.284
Friday | 27 | [5 empty] | 402.204
Saturday | 28 | [5 empty] | 0
Sunday | 29 | [5 empty] | 29.04
Monday | 30 | [5 empty] | 272.844
0
[6 empty] | TOTAL | 8404.5408
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for JUNE 2025
FILLER
DATE | FILLER Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r) | Total Prod.(HL) | CO2 ( Kg./HL) | CO2 (Ex. Vap'r) (Kg./HL) |  |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
[7 empty] | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 60.59 | 2700 | 455.6052 | 0.13299 | 5.9262 |  | 0 | 60.59 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 52.8 | 3100 | 644.754 | 0.081892 | 4.808 |  | 0 | 52.8 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 49.7 | 2500 | 398.442 | 0.12474 | 6.2744 |  | 0 | 49.7 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 61.14 | 3900 | 496.584 | 0.12312 | 7.8537 |  | 0 | 61.14 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 48.22 | 3200 | 263.934 | 0.1827 | 12.1242 |  | 0 | 48.22 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 0 | 400 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 59.21 | 1700 | 418.11 | 0.14161 | 4.0659 |  | 0 | 59.21 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 74.79 | 2300 | 475.992 | 0.15712 | 4.832 |  | 0 | 74.79 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 48.96 | 2500 | 339.834 | 0.14407 | 7.3565 |  | 0 | 48.96 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 62.45 | 2500 | 411.576 | 0.15173 | 6.0742 |  | 0 | 62.45 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 65.54 | 2400 | 400.62 | 0.1636 | 5.9907 |  | 0 | 65.54 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 73.15 | 2500 | 550.242 | 0.13294 | 4.5435 |  | 0 | 73.15 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 97.06 | 3200 | 446.5428 | 0.21736 | 7.1662 |  | 0 | 97.06 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 44.13 | 2500 | 365.0208 | 0.1209 | 6.8489 |  | 0 | 44.13 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 59.38 | 3100 | 475.86 | 0.12478 | 6.5145 |  | 0 | 59.38 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 45.61 | 1800 | 367.752 | 0.12402 | 4.8946 |  | 0 | 45.61 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 71.49 | 2500 | 663.3 | 0.10778 | 3.769 |  | 0 | 71.49 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 67.77 | 3800 | 526.284 | 0.12877 | 7.2204 |  | 0 | 67.77 | 0 | 0 | 0 | 0
27 | 51.75 | 2100 | 402.204 | 0.12867 | 5.2212 |  | 0 | 51.75 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 29.04 | 0 | 0
30 | 39.73 | 2000 | 272.844 | 0.14561 | 7.3302
| 0 | 0 | 0 | 0 | 0 | TARGET | %
MTD | 1133.47 | 50700 | 8404.5408 | 0.13486 | 6.0325 | 5 | 120.6491

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-06-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon |  | Total |  | Diff.
Cases Produced |  | 6609 | 9769 | 6037 | 7524 | 3999 | 0 | 0 | 0 | 6335 | 7212 | 5149 | 6236 | 0 | 0 | 6070 | 8337 | 6685 | 0 | 5352 | 0 | 0 | 7210 | 5572 | 10050 | 7974 | 6094 | 0 |  |  | 440 | 122654 | 96325 | 26329
HL produced | 0 | 455.6052 | 644.754 | 398.442 | 496.584 | 263.934 | 0 | 0 | 0 | 418.11 | 475.992 | 339.834 | 411.576 | 0 | 0 | 400.62 | 550.242 | 446.5428 | 0 | 365.0208 | 0 | 0 | 475.86 | 367.752 | 663.3 | 526.284 | 402.204 | 0 |  |  | 29.04 | 8131.6968
Product Type | 0 | VM/ST | ST | ST/CB | CB/SM/GN | GN/CR | 0 | 0 | 0 | CB | CB/Cbex | Cbex/Rose/CB | CB/GN | 0 | 0 | MK/ST | ST | CB/VM | 0 | VM// VMG/SM | 0 | 0 | GN/CB | CB |  | ST/CB | CB/GO | 0 |  |  | KEGS
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 267 | 288 | 198 | 141 | 223 | 0 | 0 | 0 | 171 | 304 | 24 | 69 | 0 | 0 | 160 | 358 | 223 | 0 | 266 | 0 | 0 | 126 | 263 | 386 | 205 | 109 | 5 | 386 | 205 | 109 | 4486
Annanale Supply | 71 | 188 | 132 | 171 | 262 | 287 | 0 | 88 | 0 | 136 | 172 | 269 | 277 | 149 | 88 | 200 | 146 | 143 | 0 | 208 | 18 | 78 | 189 | 91 | 136 | 266 | 272 | 168 | 136 | 266 | 272 | 4879
Total Water Supply | 71 | 455 | 420 | 369 | 403 | 510 | 0 | 88 | 0 | 307 | 476 | 293 | 346 | 149 | 88 | 360 | 504 | 366 | 0 | 474 | 18 | 78 | 315 | 354 | 522 | 471 | 381 | 173 | 522 | 471 | 381 | 9365
0
Theoretical permeate | 52.56 | 146 | 101.47 | 132.13 | 201.48 | 220.46 | 0 | 67.89 | 0 | 104.39 | 127.02 | 211.7 | 213.89 | 213.89 | 213.89 | 213.89 | 213.89 | 213.89 | 0 | 157.68 | 12.41 | 59.13 | 144.54 | 70.08 | 102.93 | 102.93 | 102.93 | 102.93 | 102.93 | 102.93 | 0 | 3709.86 | 10025 |  | 12.3283
144.54
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 2 | 9
Service Water Plant Supply | 12 | 335 | 294 | 228 | 305 | 225 | 47 | 71 | 6 | 270 | 287 | 259 | 248 | 152 | 9 | 258 | 288 | 267 | 11 | 0 | 1057 | 4 | 295 | 233 | 312 | 257 | 249 | 96 | 0 | 0 | 0 | 6075
Water consumption | 12 | 335 | 294 | 228 | 305 | 225 | 47 | 71 | 6 | 270 | 287 | 259 | 248 | 152 | 9 | 258 | 288 | 267 | 11 | 0 | 1057 | 4 | 295 | 233 | 312 | 257 | 249 | 96 | 0 | 7 | 2 | 6084
|  | 7.3529 | 4.5599 | 5.7223 | 6.142 | 8.5249 |  |  |  | 6.4576 | 6.0295 | 7.6214 | 6.0256 |  |  | 6.44 | 5.2341 | 5.9793 |  | 0 |  |  | 6.1993 | 6.3358 | 4.7038 | 4.8833 | 6.1909 |  |  |  | 0.68871
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 113 | 130 | 173 | 222 | 122 | 1 | 0 | 0 | 100 | 180 | 129 | 135 | 74 | 0 | 107 | 177 | 105 | 0 | 12 | 0 | 0 | 67 | 214 | 162 | 195 | 148 | 209 | 162 | 195 | 148 | 3280
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.8697 | 8.9495 | 9.4728 | 26.2921
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 31 | 0 | 38 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 20 | 56 | 219
CIP Process | 0 | 85 | 51 | 31 | 56 | 60 | 5 | 0 | 0 | 47 | 43 | 64 | 31 | 31 | 31 | 47 | 47 | 47 | 0 | 21 | 0 | 0 | 64 | 39 | 38 | 43 | 64 | 19 | 38 | 43 | 64 | 1109 |  |  | 15588.1818
Bottles Washer | 27 | 113 | 158 | 113 | 150 | 94 | 5 | 59 | 0 | 140 | 158 | 110 | 126 | 126 | 126 | 126 | 126 | 126 | 0 | 115 | 31 | 0 | 145 | 103 | 177 | 141 | 112 | 7 | 177 | 141 | 112 | 3144
Bottle Filler | 0 | 0 | 42 | 22 | 23 | 17 | 2 | 0 | 0 | 0 | 0 | 65 | 20 | 1 | 0 | 20 | 24 | 19 | 0 | 16 | 0 | 0 | 12 | 22 | 24 | 20 | 56 | 0 | 24 | 20 | 56 | 505
Pasteuriser | 0 | 19 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 3 | 15 | 0 | 38 | 8 | 10 | 0 | 16 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | 153
Boiler Supply | 1 | 25 | 20 | 16 | 20 | 15 | 0 | 1 | 3 | 17 | 18 | 27 | 27 | 27 | 7 | 33 | 33 | 21 | 18 | 77 | 24 | 0 | 34 | 23 | 31 | 28 | 29 | 7 | 31 | 28 | 29 | 670
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 110
Personnel Consumption
Total water consumption (M3) | 28 | 355 | 401 | 355 | 479 | 308 | 13 | 60 | 3 | 310 | 499 | 395 | 342 | 277 | 195 | 371 | 453 | 375 | 18 | 257 | 55 | 0 | 332 | 401 | 432 | 427 | 419 | 242 | 463.8697 | 455.9495 | 494.4728 | 9216.2921
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.15 | 358 | 146 | 223 | 143 | 267 | 0 | 105 | 0 | 10 | 150 | 0 | 38 | 128 | 1641.15
CO2 (kg.) (Filler) | 0 | 60.59 | 52.8 | 49.7 | 61.14 | 48.22 | 0 | 0 | 0 | 59.21 | 74.79 | 48.96 | 62.45 | 0 | 0 | 65.54 | 73.15 | 97.06 | 0 | 44.13 | 0 | 0 | 59.38 | 45.61 | 71.49 | 67.77 | 51.75 | 0 | 0 | 39.73 | 0 | 1133.47
Electricity (Kwh.) | 5785 | 9004 | 8987 | 9013 | 9609 | 9086 | 4198 | 5365 | 4505 | 8188 | 8791 | 8463 | 8406 | 5577 | 5267 | 8328 | 9244 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 218368
Fuel (L) | 730 | 3280 | 3380 | 3130 | 3510 | 2660 | 300 | 0 | 830 | 2900 | 3400 | 2940 | 3020 | 1020 | 690 | 3680 | 3620 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 3050 | 81790
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  | 9.9867 | 6.5141 | 9.2611 | 8.1154 | 19.323 |  |  |  | 7.3426 | 10.0002 | 8.6219 | 8.4067 |  |  | 8.9861 | 9.1596 | 8.1963 |  | 12.9856 |  |  | 6.6196 | 9.6261 | 7.8697 | 8.9495 | 9.4728 |  |  |  | 131.1983 | 11.5167 | 10.2 | -1.3167
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  | 2.4802 | 2.0163 | 4.3419 | 4.4705 | 4.6224 |  |  |  | 2.3917 | 3.7816 | 3.796 | 3.2801 |  |  | 2.6709 | 3.2168 | 2.3514 |  | 0.32875 |  |  | 1.408 | 5.8191 | 2.4423 | 3.7052 | 3.6797 |  |  |  | 50.9642 | 4.0336 | 2.5 | -1.5336
Brewhouse (Hls brewed) |  | 5.5176 | 3.5852 | 3.46 | 4.9104 | 5.9223 |  |  |  | 2.8185 | 3.9241 | 3.6534 | 5.2838 | 3.4117 |  | 2.9379 | 5.0528 | 4.9528 |  |  |  |  | 3.3736 | 6.0265 | 3.213 | 3.499 | 4.1702 | 4.5723 | 7.8565 | 3.8056 | 7.1775 | 4.2915 | 2.5 | -1.7915
Spent Grains/Wash-down Areas |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 3.262 | 0.032333 | 0.1 | 0.067667
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Fri: 0 |  | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0.69061 | 1.0525 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 19.2837 | 0.26932 | 1 | 0.73068
CIP Process |  | 1.8657 | 0.791 | 0.77803 | 1.1277 | 2.2733 |  |  |  | 1.1241 | 0.90338 | 1.8833 | 0.7532 |  |  | 1.1732 | 0.85417 | 1.0525 |  | 0.57531 |  |  | 1.3449 | 1.0605 | 0.57289 | 0.81705 | 1.5912 |  |  |  | 22.0386 | 1.3638 | 0.7 | -0.6638
Bottles Washer |  | 2.4802 | 2.4505 | 2.836 | 3.0206 | 3.5615 |  |  |  | 3.3484 | 3.3194 | 3.2369 | 3.0614 |  |  | 3.1451 | 2.2899 | 2.8217 |  | 3.1505 |  |  | 3.0471 | 2.8008 | 2.6685 | 2.6792 | 2.7847 |  |  |  | 38.5675 | 3.8664 | 2.6 | -1.2664
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  | 0 | 0.65141 | 0.55215 | 0.46316 | 0.6441 |  |  |  | 0 | 0 | 1.9127 | 0.48594 |  |  | 0.49923 | 0.43617 | 0.42549 |  | 0.43833 |  |  | 0.25218 | 0.59823 | 0.36183 | 0.38002 | 1.3923 |  |  |  | 19.2837 | 0.62103 | 0.7 | 0.078973
Pasteuriser |  | 0.41703 | 0 | 0 | 0.1611 | 0 |  |  |  | 0.1435 | 0 | 0 | 0.072891 |  |  | 0.94853 | 0.14539 | 0.22394 |  | 0.43833 |  |  | 0.21015 | 0 | 0 | 0 | 0.24863 |  |  |  | 3.4435 | 0.18815 | 0.1 | -0.088153
Boiler Supply |  | 0.54872 | 0.3102 | 0.40156 | 0.40275 | 0.56832 |  |  |  | 0.40659 | 0.37816 | 0.79451 | 0.65601 |  |  | 0.82372 | 0.59974 | 0.47028 |  | 2.1095 |  |  | 0.7145 | 0.62542 | 0.46736 | 0.53203 | 0.72103 |  |  |  | 9.9862 | 0.82394 | 0.6 | -0.22394
Backwash Supply |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 13.3094 | 9.8046 | 12.3697 | 14.5563 | 17.5919 | 0 | 0 | 0 | 10.2328 | 12.3066 | 15.2767 | 13.5933 | 3.4117 | 0 | 12.1986 | 13.2856 | 13.3507 | 0 | 7.0407 | 0 | 0 | 10.3505 | 16.9306 | 9.7259 | 11.6125 | 14.5878 | 4.5723 | 7.8565 | 3.8056 | 174.007 | 15.49 | 15.6 | 0.10998
Bottling Hall water | 0 | 2.8972 | 3.102 | 3.3882 | 3.6449 | 4.2056 | 0 | 0 | 0 | 3.4919 | 3.3194 | 5.1496 | 3.6202 | 0 | 0 | 4.5929 | 2.8715 | 3.4711 | 0 | 4.0272 | 0 | 0 | 3.5094 | 3.399 | 3.0303 | 3.0592 | 4.4256 | 0 | 0 | 0 | 61.2948 | 4.6755 | 6 | 1.3245
CO2 (kg./Hl.) KPI |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.16381 |  | 0.39998 |  |  | 0.56109 | 0 | 0.1583 | 0 | 0.024863 |  |  |  | 4.4077 | 0.20182 | 5 | 4.7982
CO2 Filler (kg./Hl.) KPI |  | 0.13299 | 0.081892 | 0.12474 | 0.12312 | 0.1827 |  |  |  | 0.14161 | 0.15712 | 0.14407 | 0.15173 |  |  | 0.1636 | 0.13294 | 0.21736 |  | 0.1209 |  |  | 0.12478 | 0.12402 | 0.10778 | 0.12877 | 0.12867 |  |  |  | 0 | 0.13939 | 1.7 | 1.5606
Electricity (Kwh./Hl.) KPI |  | 19.7627 | 13.9386 | 22.6206 | 19.3502 | 34.4253 |  |  |  | 19.5834 | 18.4688 | 24.9033 | 20.4239 |  |  | 20.7878 | 16.7999 | 18.435 |  | 22.5521 |  |  | 17.2992 | 22.3847 | 12.4107 | 15.6417 | 20.4672 |  |  |  | 283.4711 | 26.8539 | 22 | -4.8539
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  | 7.1992 | 5.2423 | 7.8556 | 7.0683 | 10.0783 |  |  |  | 6.936 | 7.143 | 8.6513 | 7.3376 |  |  | 9.1858 | 6.5789 | 6.8303 |  | 8.3557 |  |  | 6.4094 | 8.2936 | 4.5982 | 5.7954 | 7.5832 |  |  |  | 105.0275 | 10.0582 | 7.2 | -2.8582
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 204.8 | 362.6 | 500 | 452.1 | 206 | 0 | 0 | 0 | 354.8 | 458.7 | 353.1 | 255.5 | 216.9 | 0 | 364.2 | 350.3 | 212 | 0 | 0 | 0 | 0 | 198.6 | 355.1 | 504.2 | 557.3 | 354.9 | 457.1 | 206.2 | 512.4 | 206.2 | 7643
Product | 0 | Smalt | SM/CB | CB | CB/ST | GN/CR | 0 | 0 | 0 | CB | CB | Stag | Stag | HP | 0 | SM/VM | CB/VM | CB | 0 | 0 | 0 | 0 | CB | Carib | Carib/Stag | Stag/Carib | CB/APA/IPA/ST | ST/CB | CB | CB | CB
No. of Brews | 0 | 4 | 7 | 10 | 9 | 4 | 0 | 0 | 0 | 7 | 9 | 7 | 5 | 4 | 0 | 7 | 7 | 4 | 0 | 0 | 0 | 0 | 4 | 7 | 10 | 11 | 5 | 9 | 4 | 10 | 4 | 148
Raw Water In - Nawasa | 72 | 200 | 139 | 181 | 276 | 302 | 0 | 93 | 0 | 143 | 174 | 290 | 293 | 293 | 293 | 293 | 293 | 293 | 0 | 216 | 17 | 81 | 198 | 96 | 141 | 141 | 141 | 141 | 141 | 141 | 0 | 5082
Into RO | [31 empty] | 0 | bar: Sun
| 5785 | 9004 | 8987 | 9013 | 9609 | 9086 | 4198 | 5365 | 4505 | 8188 | 8791 | 8463 | 8406 | 5577 | 5267 | 8328 | 9244 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 8232 | 218368
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-06-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1 |  | Monthly Target
| Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 6609 | 9769 | 6037 | 7524 | 3999 |  |  |  | 6335 | 7212 | 5149 | 6236 |  |  | 6070 | 8337 | 6685 |  | 5352 |  |  | 7210 | 5572 | 10050 | 7974 | 6094 |  | 440 | 4134 |  | 126788 | 108850 | 17938
HL produced |  | 455.6052 | 644.754 | 398.442 | 496.584 | 263.934 | 0 | 0 | 0 | 418.11 | 475.992 | 339.834 | 411.576 | 0 | 0 | 400.62 | 550.242 | 446.5428 | 0 | 365.0208 | 0 | 0 | 475.86 | 367.752 | 663.3 | 526.284 | 402.204 | 0 | 29.04 | 272.844 | 0 | 8404.5408
Product Type |  | VM/ST | ST | ST/CB | CB/SM/GN | GN/CR |  |  |  | CB | CB/Cbex | Cbex/Rose/CB | CB/GN |  |  | MK/ST | ST | CB/VM |  | VM// VMG/SM |  |  | GN/CB | CB | CB/ST | ST/CB | CB/GO |  | KEGS | GO/ST
Hls Brewed |  | 204.8 | 362.6 | 500 | 452.1 | 206 |  |  |  | 354.8 | 458.7 | 353.1 | 255.5 | 216.9 |  | 364.2 | 350.3 | 212 |  |  |  |  | 198.6 | 355.1 | 504.2 | 557.3 | 354.9 | 457.1 | 206.2 | 512.4 |  | 7436.8
Product |  | Smalt | SM/CB | CB | CB/ST | MK |  |  |  | CB | CB | Stag | Stag | HP |  | SM/VM | CB/VM | CB |  |  |  |  | CB | Carib | Carib/Stag | Stag/Carib | CB/APA/IPA/ST | ST/CB | CB | CB
No. of Brews |  | 4 | 7 | 10 | 9 | 4 |  |  |  | 7 | 9 | 7 | 5 | 4 |  | 7 | 7 | 4 |  |  |  |  | 4 | 7 | 10 | 11 | 5 | 9 | 4 | 10 |  | 144
Brewhouse (Hls brewed) |  | 5.5176 | 3.5852 | 3.46 | 4.9104 | 5.9223 |  |  |  | 2.8185 | 3.9241 | 3.6534 | 5.2838 | 3.4117 |  | 2.9379 | 5.0528 | 4.9528 |  |  |  |  | 3.3736 | 6.0265 | 3.213 | 3.499 | 4.1702 | 4.5723 | 3.7342 | 3.5909 |  | 4.0824 |  | -4.0824
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 267 | 288 | 198 | 141 | 223 | 0 | 0 | 0 | 171 | 304 | 24 | 69 | 0 | 0 | 160 | 358 | 223 | 0 | 266 | 0 | 0 | 126 | 263 | 386 | 205 | 109 | 5 | 173 | 149 | 0 | 4108
Annanale Supply | 71 | 188 | 132 | 171 | 262 | 287 | 0 | 88 | 0 | 136 | 172 | 269 | 277 | 149 | 88 | 200 | 146 | 143 | 0 | 208 | 18 | 78 | 189 | 91 | 136 | 266 | 272 | 168 | 1 | 175 | 0 | 4381
Total Water Supply | 71 | 455 | 420 | 369 | 403 | 510 | 0 | 88 | 0 | 307 | 476 | 293 | 346 | 149 | 88 | 360 | 504 | 366 | 0 | 474 | 18 | 78 | 315 | 354 | 522 | 471 | 381 | 173 | 174 | 324 | 0 | 8489
0
Theoretical permeate | 52.56 | 146 | 101.47 | 132.13 | 201.48 | 220.46 | 0 | 67.89 | 0 | 104.39 | 127.02 | 211.7 | 213.89 | 146 | 33.58 | 155.49 | 113.15 | 109.5 | 0 | 157.68 | 12.41 | 59.13 | 144.54 | 70.08 | 102.93 | 205.13 | 214.62 | 121.91 | 0 | 189.8 | 0 | 3414.94 | 10016 |  | 11.9174
144.54
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 12 | 335 | 294 | 228 | 305 | 225 | 47 | 71 | 6 | 270 | 287 | 259 | 248 | 152 | 9 | 258 | 288 | 267 | 11 | 0 | 1057 | 4 | 295 | 233 | 312 | 257 | 249 | 96 | 74 | 235 | 0 | 6384
Brewhouse | 0 | 113 | 130 | 173 | 222 | 122 | 1 | 0 | 0 | 100 | 180 | 129 | 135 | 74 | 0 | 107 | 177 | 105 | 0 | 12 | 0 | 0 | 67 | 214 | 162 | 195 | 148 | 209 | 77 | 184 | 0 | 3036
Boiler Supply | 1 | 25 | 20 | 16 | 20 | 15 | 0 | 1 | 3 | 17 | 18 | 27 | 27 | 5 | 7 | 33 | 32 | 21 | 18 | 77 | 24 | 0 | 34 | 23 | 31 | 28 | 29 | 7 | 10 | 27 | 0 | 596
Water consumption | 13 | 473 | 444 | 417 | 547 | 362 | 48 | 72 | 9 | 387 | 485 | 415 | 410 | 231 | 16 | 398 | 497 | 393 | 29 | 89 | 1081 | 4 | 396 | 470 | 505 | 480 | 426 | 312 | 161 | 446 | 0 | 10016
Water Consumption detail
Brewhouse | 0 | 113 | 130 | 173 | 222 | 122 | 1 | 0 | 0 | 100 | 180 | 129 | 135 | 74 | 0 | 107 | 177 | 105 | 0 | 12 | 0 | 0 | 67 | 214 | 162 | 195 | 148 | 209 | 77 | 184 | 0 | 3036
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 174 | 174
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 85 | 51 | 31 | 56 | 60 | 5 | 0 | 0 | 47 | 43 | 64 | 31 | 18 | 0 | 47 | 47 | 38 | 0 | 21 | 0 | 0 | 64 | 39 | 38 | 43 | 64 | 19 | 18 | 54 | 0 | 983
Bottles Washer | 27 | 113 | 158 | 113 | 150 | 94 | 5 | 59 | 0 | 140 | 158 | 110 | 126 | 27 | 0 | 132 | 150 | 128 | 0 | 115 | 31 | 0 | 145 | 103 | 177 | 141 | 112 | 7 | 0 | 136 | 0 | 2657
Bottle Filler | 0 | 0 | 42 | 22 | 23 | 17 | 2 | 0 | 0 | 0 | 0 | 65 | 20 | 1 | 0 | 20 | 24 | 19 | 0 | 16 | 0 | 0 | 12 | 22 | 24 | 20 | 56 | 0 | 0 | 10 | 0 | 415
Pasteuriser | 0 | 19 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 3 | 15 | 0 | 38 | 8 | 10 | 0 | 16 | 0 | 0 | 10 | 0 | 0 | 0 | 10 | 0 | 0 | 12 | 0 | 155
Boiler Supply | 1 | 25 | 20 | 16 | 20 | 15 | 0 | 1 | 3 | 17 | 18 | 27 | 27 | 5 | 7 | 33 | 32 | 21 | 18 | 77 | 24 | 0 | 34 | 23 | 31 | 28 | 29 | 7 | 10 | 27 | 0 | 596
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 28 | 355 | 401 | 355 | 479 | 308 | 13 | 60 | 3 | 310 | 399 | 395 | 342 | 140 | 7 | 377 | 438 | 321 | 18 | 257 | 55 | 0 | 332 | 401 | 432 | 427 | 419 | 242 | 105 | 423 | 174 | 8016
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  | 2.4802 | 2.0163 | 4.3419 | 4.4705 | 4.6224 |  |  |  | 2.3917 | 3.7816 | 3.796 | 3.2801 |  |  | 2.6709 | 3.2168 | 2.3514 |  | 0.32875 |  |  | 1.408 | 5.8191 | 2.4423 | 3.7052 | 3.6797 |  | 26.5152 | 6.7438 |  | 3.6123 | 3.2 | -0.41233
Spent Grains/Wash-down Areas | [31 empty] | 0.20703 | 0.1 | -0.10703
Whirlpool |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 1 | 1
CIP Process |  | 1.8657 | 0.791 | 0.77803 | 1.1277 | 2.2733 |  |  |  | 1.1241 | 0.90338 | 1.8833 | 0.7532 |  |  | 1.1732 | 0.85417 | 0.85098 |  | 0.57531 |  |  | 1.3449 | 1.0605 | 0.57289 | 0.81705 | 1.5912 |  | 6.1983 | 1.9792 |  | 1.1696 | 0.7 | -0.46961
Bottles Washer |  | 2.4802 | 2.4505 | 2.836 | 3.0206 | 3.5615 |  |  |  | 3.3484 | 3.3194 | 3.2369 | 3.0614 |  |  | 3.2949 | 2.7261 | 2.8665 |  | 3.1505 |  |  | 3.0471 | 2.8008 | 2.6685 | 2.6792 | 2.7847 |  | 0 | 4.9845 |  | 3.1614 | 2.1 | -1.0614
Bottle Filler |  | 0 | 0.65141 | 0.55215 | 0.46316 | 0.6441 |  |  |  | 0 | 0 | 1.9127 | 0.48594 |  |  | 0.49923 | 0.43617 | 0.42549 |  | 0.43833 |  |  | 0.25218 | 0.59823 | 0.36183 | 0.38002 | 1.3923 |  | 0 | 0.36651 |  | 0.49378 | 0.7 | 0.20622
Pasteuriser |  | 0.41703 | 0 | 0 | 0.1611 | 0 |  |  |  | 0.1435 | 0 | 0 | 0.072891 |  |  | 0.94853 | 0.14539 | 0.22394 |  | 0.43833 |  |  | 0.21015 | 0 | 0 | 0 | 0.24863 |  | 0 | 0.43981 |  | 0.18442 | 0.1 | -0.084424
Boiler Supply |  | 0.54872 | 0.3102 | 0.40156 | 0.40275 | 0.56832 |  |  |  | 0.40659 | 0.37816 | 0.79451 | 0.65601 |  |  | 0.82372 | 0.58156 | 0.47028 |  | 2.1095 |  |  | 0.7145 | 0.62542 | 0.46736 | 0.53203 | 0.72103 |  | 3.4435 | 0.98958 |  | 0.70914 | 0.6 | -0.10914
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 7.7918 | 6.2194 | 8.9097 | 9.6459 | 11.6696 | 0 | 0 | 0 | 7.4143 | 8.3825 | 11.6233 | 8.3095 | 0 | 0 | 9.4104 | 7.9601 | 7.1886 | 0 | 7.0407 | 0 | 0 | 6.9768 | 10.9041 | 6.5129 | 8.1135 | 10.4176 | 0 | 36.157 | 15.5034 | 0 | 9.5377 | 9.6 | 0.062299
Bottling Hall water | 0 | 2.8972 | 3.102 | 3.3882 | 3.6449 | 4.2056 | 0 | 0 | 0 | 3.4919 | 3.3194 | 5.1496 | 3.6202 | 0 | 0 | 4.7426 | 3.3076 | 3.5159 | 0 | 4.0272 | 0 | 0 | 3.5094 | 3.399 | 3.0303 | 3.0592 | 4.4256 | 0 | 0 | 5.7909 | 0 | 3.8396 | 2.9 | -0.93959
Water Plant Total (Before Sand Filter) | 72 | 200 | 139 | 181 | 276 | 302 | 0 | 93 | 0 | 143 | 174 | 290 | 293 | 200 | 46 | 213 | 155 | 150 | 0 | 216 | 17 | 81 | 198 | 96 | 141 | 281 | 294 | 167 | 0 | 260 | 0 | 4678
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) |  | 2700 | 3100 | 2500 | 3900 | 3200 |  |  | 400 | 1700 | 2300 | 2500 | 2500 | 0 |  | 2400 | 2500 | 3200 | 0 | 2500 | 0 |  | 3100 | 1800 | 2500 | 3800 | 2100 | 0 | 0 | 2000 | 0 | 50700
CO2 meter | Mon: 563 | 563
CO2 (kg.) (Filler) | 0 | 60.59 | 52.8 | 49.7 | 61.14 | 48.22 | 0 | 0 | 0 | 59.21 | 74.79 | 48.96 | 62.45 | 0 | 0 | 65.54 | 73.15 | 97.06 | 0 | 44.13 | 0 | 0 | 59.38 | 45.61 | 71.49 | 67.77 | 51.75 | 0 | 0 | 39.73 | 0 | 1133.47
0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 73.15 | 358 | 146 | 223 | 143 | 267 | 0 | 105 | 0 | 10 | 150 | 128 | 1641.15 | 0
Electricity (Kwh.) | 5785 | 9004 | 8987 | 9013 | 9609 | 9086 | 4198 | 5365 | 4505 | 8188 | 8791 | 8463 | 8406 | 5577 | 5267 | 8328 | 9244 | 8232 | 4708 | 7111 | 4606 | 4876 | 7892 | 8542 | 9522 | 9213 | 9215 | 5934 | 5694 | 8694 | 0 | 222055
Fuel (L) | 730 | 3280 | 3380 | 3130 | 3510 | 2660 | 300 | 0 | 830 | 2900 | 3400 | 2940 | 3020 | 1020 | 690 | 3680 | 3620 | 3050 | 700 | 2320 | 270 | 0 | 3250 | 3520 | 3930 | 3420 | 3240 | 1880 | 1480 | 3330 | 0 | 69480
Steam Mass Flow | 28.524 | 0 | 108.055 | 3.818 | 0 | 0 | 0 | 0 | 0 | 2.894 | 0 | 0 | 0 | 2.083 | 0 | 30.243 | 0 | 3.572 | 0 | 0 | 0 | 0 | 600.733 | 56.566 | 0 | 0 | 3.459 | 0 | 0 | 1.232 | 0 | 841.179
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption |  | 9.9867 | 6.5141 | 9.2611 | 8.1154 | 19.323 |  |  |  | 7.3426 | 10.0002 | 8.6219 | 8.4067 |  |  | 8.9861 | 9.1596 | 8.1963 |  | 12.9856 |  |  | 6.6196 | 9.6261 | 7.8697 | 8.9495 | 9.4728 |  | 59.9174 | 11.8749 |  | 10.1005 | 10.2 | 0.099508 | 99.0244
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  | 5.9262 | 4.808 | 6.2744 | 7.8537 | 12.1242 |  |  |  | 4.0659 | 4.832 | 7.3565 | 6.0742 |  |  | 5.9907 | 4.5435 | 7.1662 |  | 6.8489 |  |  | 6.5145 | 4.8946 | 3.769 | 7.2204 | 5.2212 |  | 0 | 7.3302 |  | 6.0325 | 5 | -1.0325 | 120.6491
CO2 Filler (kg./Hl.) KPI |  | 0.13299 | 0.081892 | 0.12474 | 0.12312 | 0.1827 |  |  |  | 0.14161 | 0.15712 | 0.14407 | 0.15173 |  |  | 0.1636 | 0.13294 | 0.21736 |  | 0.1209 |  |  | 0.12478 | 0.12402 | 0.10778 | 0.12877 | 0.12867 |  | 0 | 0.14561 |  | 0.13486 | 1.7 | 1.5651 | 7.9332
Electricity (Kwh./Hl.) KPI |  | 19.7627 | 13.9386 | 22.6206 | 19.3502 | 34.4253 |  |  |  | 19.5834 | 18.4688 | 24.9033 | 20.4239 |  |  | 20.7878 | 16.7999 | 18.435 |  | 19.4811 |  |  | 16.5847 | 23.2276 | 14.3555 | 17.5058 | 22.9113 |  | 196.0744 | 31.8644 |  | 26.4208 | 22 | -4.4208 | 120.0947
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  | 7.1992 | 5.2423 | 7.8556 | 7.0683 | 10.0783 |  |  |  | 6.936 | 7.143 | 8.6513 | 7.3376 |  |  | 9.1858 | 6.5789 | 6.8303 |  | 6.3558 |  |  | 6.8297 | 9.5717 | 5.9249 | 6.4984 | 8.0556 |  | 50.9642 | 12.2048 |  | 8.267 | 7.2 | -1.067 | 114.8189
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | Sun: #REF!; Mon: #REF! | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | Sun: _; Mon: 200; Fri: _; Sat: _; Tue: _ | 200
| 5785 |  | 8987 | 9013 | 9609 | 9086 | 4198 | 5365 | 4505 | 8188 | 8791 | 8463 | 8406 | 5577 | 5267 | 8328 | 9244 | 8232 | 4708 | 7111 | 4606 | 4876 | 7892 | 8542 | 9522 | 9213 | 9215 | 5934 | 5694 | 8694 | 0 | 222055
9004
Note on J6: Reshelle Fleming: public Holiday
Note on T6: Reshelle Fleming: Public Holiday
Note on S12: Reshelle Fleming: Finish brewing by mid day- Lautern gearbox to be repaired
Note on U12: Reshelle Fleming: Repair in progress
Note on C42: Reshelle Fleming: San Martin propose fix for caustic carry over- increase overall flow rate
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 9700 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on C74: Delano Pasea: Tank A 9700 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on D74: Delano Pasea: Tank A 7000 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on E74: Delano Pasea: Tank A 3900 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on F74: Delano Pasea: Tank A 1400 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on G74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300 Kgs Mobile approx.19100 kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6100 Kgs Mobile approx.19100 kgs
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6100 Kgs Mobile approx.18300 kgs
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6100 Kgs Mobile approx.18300 kgs
Note on L74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 4400Kgs Mobile approx.18300 kgs
Note on M74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs Mobile approx.0 kgs
Note on N74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500Kgs Mobile approx.0 kgs
Note on O74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs Mobile approx.0 kgs
Note on Q74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs Mobile approx.0 kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600Kgs Mobile approx.0 kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 10100Kgs Mobile approx.0 kgs
Note on T74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6900Kgs Mobile approx.0 kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6900Kgs Mobile approx.0 kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 4400Kgs Mobile approx.0 kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 4400Kgs Mobile approx.0 kgs
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 1300Kgs Mobile approx.18000 kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 Kgs Mobile approx.0 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs Mobile approx.0 kgs
Note on AB74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on AC74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9700Kgs Mobile approx.15400 kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9700Kgs Mobile approx.15400 kgs
Note on AE74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9700Kgs Mobile approx.15400 kgs
Note on AF74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 7700Kgs Mobile approx.15400 kgs
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR JUNE 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 180743 | 0 | -72 | 33760 | 1298636 | 72 | 97122 | 0 | 1298636 | -1298636 | -1298636 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 180743 | 267 | 67 | 0 | 1298708 | 200 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 534 |  |  | #DIV/0!
3 | 181010 | 288 | 149 | 0 | 1298908 | 139 | 97122 | 0 | 0 | 0 | 0 | 0 | 42 | 576 |  |  | #DIV/0!
4 | 181298 | 198 | 17 | 0 | 1299047 | 181 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 396 |  |  | #DIV/0!
5 | 181496 | 141 | -135 | 0 | 1299228 | 276 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 282 |  |  | #DIV/0!
6 | 181637 | 223 | -79 | 0 | 1299504 | 302 | 97122 | 0 | 0 | 20915 | 20915 | 0 | 17 | 446 |  |  | #DIV/0!
7 | 181860 | 0 | 0 | 0 | 1299806 | 0 | 97122 | 0 | 20915 | -20915 | -20915 | 0 | 2 | 0 |  |  | #DIV/0!
8 | 181860 | 0 | -93 | 0 | 1299806 | 93 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
9 | 181860 | 0 | 0 | 0 | 1299899 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
10 | 181860 | 171 | 28 | 0 | 1299899 | 143 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 342 |  |  | #DIV/0!
11 | 182031 | 304 | 130 | 0 | 1300042 | 174 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 608 |  |  | #DIV/0!
12 | 182335 | 24 | -266 | 0 | 1300216 | 290 | 97122 | 0 | 0 | 0 | 0 | 0 | 65 | 48 |  |  | #DIV/0!
13 | 182359 | 69 | -224 | 0 | 1300506 | 293 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 138 |  |  | #DIV/0!
14 | 182428 | 0 | -200 | 0 | 1300799 | 200 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | #DIV/0!
15 | 182428 | 0 | -46 | 0 | 1300999 | 46 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
16 | 182428 | 160 | -53 | 0 | 1301045 | 213 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 320 |  |  | #DIV/0!
17 | 182588 | 358 | 203 | 0 | 1301258 | 155 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 716 |  |  | #DIV/0!
18 | 182946 | 223 | 73 | 0 | 1301413 | 150 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 446 |  |  | #DIV/0!
19 | 183169 | 0 | 0 | 0 | 1301563 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
20 | 183169 | 266 | 50 | 0 | 1301563 | 216 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 532 |  |  | #DIV/0!
21 | 183435 | 0 | -17 | 0 | 1301779 | 17 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
22 | 183435 | 0 | -81 | 0 | 1301796 | 81 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
23 | 183435 | 126 | -72 | 0 | 1301877 | 198 | 97122 | 0 | 0 | 0 | 0 | 0 | 12 | 252 |  |  | #DIV/0!
24 | 183561 | 263 | 167 | 0 | 1302075 | 96 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 526 |  |  | #DIV/0!
25 | 183824 | 386 | 245 | 0 | 1302171 | 141 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 772 |  |  | #DIV/0!
26 | 184210 | 205 | -76 | 0 | 1302312 | 281 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 410 |  |  | #DIV/0!
27 | 184415 | 109 | -185 | 0 | 1302593 | 294 | 97122 | 0 | 0 | 0 | 0 | 0 | 56 | 218 |  |  | #DIV/0!
28 | 184524 | 5 | -162 | 0 | 1302887 | 167 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 10 |  |  | #DIV/0!
| 184529 |  | 0 |  | 1303054 |  | 97122
Total |  | 3786 | -632 |  |  | 4418 |  | 0 | 1319551 | -1298636 | -1298636 | 0 | 405 | 7572 | 0 | 0 | #DIV/0!