## Entries March.'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
-
1 | 7222980 |  |  | 70 | 2790.8 | 68209 |  | 312699 | 886109 | 466400 |  |  | 709.64 | 170538 | 8010 | 889883 |  | 35099 |  | 20636 | 1285230 |  | 31073 | 29173 | 5490 | 97122 |  | 39340 | 258781 | [5 empty] | 7266612.973
2 | 7223390 |  |  | 70 | 2797.3 | 68209 |  | 315005 | 888285 | 466400 |  |  | 709.64 | 170538 | 8196 | 889957 |  | 35100 |  | 20636 | 1285426 |  | 31073 | 29209 | 5496 | 97122 |  | 39340 | 258781 | [5 empty] | 7266612.973
3 | 7223930 |  |  | 70 | 2800.2 | 68209 |  | 317175 | 890331 | 466400 |  |  | 709.64 | 170538 | 8196 | 889988 |  | 35100 |  | 20636 | 1285426 |  | 31073 | 29209 | 5496 | 97122 |  | 39340 | 258781 | [5 empty] | 7266612.973
4 | 7226410 |  |  | 70 | 2818.2 | 68209 |  | 321262 | 894192 | 466400 |  |  | 709.64 | 170917 | 8208 | 890095 |  | 35287 |  | 20636 | 1285438 |  | 31094 | 29272 | 5505 | 97122 |  | 39342 | 258893 | [5 empty] | 7266766.586
5 | 7229680 |  |  | 70 | 2840.5 | 68209 |  | 325655 | 898346 | 466400 |  |  | 851.51 | 171359 | 8208 | 890327 |  | 35499 |  | 20644 | 1285439 |  | 31139 | 29355 | 5523 | 97122 |  | 39364 | 258947 | [5 empty] | 7266891.053
6 | 7232720 |  |  | 70 | 2861.3 | 68209 |  | 329893 | 902349 | 466400 |  |  | 880.47 | 171795 | 8208 | 890533 |  | 35672 |  | 20644 | 1285439 |  | 31209 | 29415 | 5538 | 97122 |  | 39379 | 258993 | [5 empty] | 7266901.538
7 | 7235440 |  |  | 70 | 2881.5 | 68209 |  | 334041 | 906267 | 466400 |  |  | 915.52 | 172053 | 8208 | 890734 |  | 35865 |  | 20644 | 1285439 |  | 31294 | 29473 | 5556 | 97122 |  | 39402 | 259023 | [5 empty] | 7267605.164
8 | 7237820 |  |  | 70 | 2899 | 68209 |  | 337821 | 909835 | 466400 |  |  | 953.19 | 172294 | 8328 | 890888 |  | 36081 |  | 20644 | 1285569 |  | 31315 | 29521 | 5556 | 97122 |  | 39415 | 259023 | [5 empty] | 7267940.947
9 | 7238820 |  |  | 70 | 2907.6 | 68209 |  | 340200 | 912080 | 466400 |  |  | 958.15 | 172436 | 8409 | 890988 |  | 36152 |  | 20644 | 1285651 |  | 31329 | 29546 | 5571 | 97122 |  | 39415 | 259023 | [5 empty] | 7268276.731
10 | 7238920 |  |  | 70 | 2908.5 | 68209 |  | 342345 | 914108 | 466400 |  |  | 958.15 | 172513 | 8430 | 890998 |  | 36152 |  | 20644 | 1285673 |  | 31329 | 29546 | 5572 | 97122 |  | 39415 | 259023 | [5 empty] | 7268276.731
11 | 7242020 |  |  | 70 | 2928 | 68209 |  | 346459 | 917994 | 466400 |  |  | 978.29 | 172578 | 8525 | 891163 |  | 36343 |  | 20666 | 1285825 |  | 31388 | 29585 | 5598 | 97122 |  | 39429 | 259023 | [5 empty] | 7268280.537
12 | 7245060 |  |  | 70 | 2949.9 | 68209 |  | 350745 | 922046 | 466400 |  |  | 1003.78 | 172826 | 8643 | 891285 |  | 36491 |  | 20669 | 1285825 |  | 31407 | 29620 | 5634 | 97122 |  | 39443 | 259023 | [5 empty] | 7268410.908
13 | 7247860 |  |  | 70 | 2971.2 | 68209 |  | 355102 | 926164 | 466400 |  |  | 1020.52 | 172958 | 8827 | 891439 |  | 36682 |  | 20672 | 1285938 |  | 31449 | 29661 | 5672 | 97122 |  | 39451 | 259024 | [5 empty] | 7268465.786
14 | 7250870 |  |  | 70 | 2992.2 | 68209 |  | 359136 | 929971 | 466400 |  |  | 1053.61 | 172963 | 9080 | 891606 |  | 36930 |  | 20672 | 1285938 |  | 31495 | 29720 | 5732 | 97122 |  | 39465 | 259024 | [5 empty] | 7268473.402
15 | 7253280 |  |  | 70 | 3010.7 | 68209 |  | 363090 | 933696 | 466400 |  |  | 1077.48 | 173189 | 9331 | 891747 |  | 37088 |  | 20672 | 1286109 |  | 31532 | 29767 | 5769 | 97122 |  | 39476 | 259025 | [5 empty] | 7268473.402
16 | 7253280 |  |  | 70 | 3010.9 | 68209 |  | 365597 | 936056 | 466400 |  |  | 1077.48 | 173225 | 9411 | 891760 |  | 37088 |  | 20672 | 1286191 |  | 31532 | 29767 | 5772 | 97122 |  | 39476 | 259025 | [5 empty] | 7268473.402
17 | 7254600 |  |  | 70 | 3018.9 | 68209 |  | 368448 | 938741 | 466400 |  |  | 1077.48 | 173227 | 9507 | 891870 |  | 37121 |  | 20672 | 1286292 |  | 31548 | 29803 | 5779 | 97122 |  | 39476 | 259025 | [5 empty] | 7268473.402
18 | 7257110 |  |  | 70 | 3037.6 | 68209 |  | 372733 | 942777 | 466400 |  |  | 1104.37 | 173332 | 9640 | 892005 |  | 37282 |  | 20677 | 1286433 |  | 31581 | 29835 | 5806 | 97122 |  | 39497 | 259025 | [5 empty] | 7268473.402
19 | 7259600 |  |  | 60 | 3054.3 | 68209 |  | 376411 | 946249 | 468000 |  |  | 1135.04 | 173584 | 9678 | 892172 |  | 37426 |  | 20677 | 1286463 |  | 31612 | 29896 | 5819 | 97122 |  | 39516 | 259025 | [5 empty] | 7268492.185
20 | 7262811 |  |  | 60 | 3075.8 | 68209 |  | 381415 | 950967 | 468000 |  |  | 1180.95 | 173959 | 9762 | 892368 |  | 37668 |  | 20677 | 1286553 |  | 31643 | 29969 | 5851 | 97122 |  | 39540 | 259025 | [5 empty] | 7268492.185
21 | 7265830 |  |  | 60 | 3097 | 68209 |  | 385993 | 952280 | 468000 |  |  | 1213 | 174022 | 10016 | 892556 |  | 37859 |  | 20677 | 1286820 |  | 31686 | 30045 | 5881 | 97122 |  | 39563 | 259025 | [5 empty] | 7268492
22 | 7267100 |  |  | 60 | 3106.8 | 68209 |  | 389957 | 959012 | 468000 |  |  | 1219.35 | 174058 | 10187 | 892670 |  | 37949 |  | 20677 | 1287001 |  | 31703 | 30083 | 5890 | 97122 |  | 39568 | 259025 | [5 empty] | 7268492.185
23 | 7267320 |  |  | 60 | 3108.5 | 68209 |  | 392305 | 961206 | 468000 |  |  | 1219.35 | 174058 | 10187 | 892670 |  | 37949 |  | 20677 | 1287001 |  | 31703 | 30083 | 5901 | 97122 |  | 39568 | 259025 | [5 empty] | 7268508.439
24 | 7268120 |  |  | 60 | 3122.9 | 68209 |  | 394687 | 963458 | 468000 |  |  | 1219.35 | 174058 | 10321 | 892737 |  | 37949 |  | 20677 | 1287142 |  | 31703 | 30116 | 5901 | 97122 |  | 39568 | 259025 | [5 empty] | 7268509.528
25 | 7270870 |  |  | 60 | 3132.7 | 68209 |  | 398013 | 966588 | 468000 |  |  | 1234.8 | 174089 | 10528 | 892872 |  | 38098 |  | 20677 | 1287362 |  | 31734 | 30176 | 5944 | 97122 |  | 39576 | 259025 | [5 empty] | 7268509.884
26 | 7273970 |  |  | 60 | 3152.9 | 68209 |  | 402094 | 970434 | 468000 |  |  | 1290.7 | 174262 | 10651 | 893148 |  | 38258 |  | 20677 | 1287486 |  | 31779 | 30319 | 5979 | 97122 |  | 39601 | 259025 | [5 empty] | 7268509.884
27 | 7277170 |  |  | 60 | 3173.1 | 68209 |  | 406550 | 974630 | 468000 |  |  | 1339.65 | 174722 | 10807 | 893391 |  | 38524 |  | 20677 | 1287651 |  | 31823 | 30427 | 6024 | 97122 |  | 39624 | 259021 | [5 empty] | 7268510.046
28 | 7278032 |  |  | 60 | 3193.5 | 68209 |  | 410695 | 978536 | 468000 |  |  | 1386.86 | 174774 | 11089 | 893631 |  | 38742 |  | 20678 | 1287945 |  | 31860 | 30522 | 6071 | 97122 |  | 39647 | 259025 | [5 empty] | 7268510.046
29 | 7282490 |  |  | 60 | 3210.9 | 68209 |  | 414280 | 981911 | 468000 |  |  | 1401.1 | 174941 | 11364 | 893852 |  | 38899 |  | 20678 | 1288242 |  | 31941 | 30583 | 6115 | 97122 |  | 39657 | 259026 | [5 empty] | 7268510.046
30 | 7283070 |  |  | 60 | 3215.6 | 68209 |  | 416675 | 984164 | 468000 |  |  | 1401.1 | 174941 | 11521 | 893889 |  | 38928 |  | 20678 | 1288403 |  | 31959 | 30583 | 6145 | 97122 |  | 39657 | 259026 | [5 empty] | 7268516.817
31 | 7283880 |  |  | 60 | 3219.6 | 68209 |  | 419161 | 986503 | 468000 |  |  | 1401.1 | 174941 | 11521 | 893902 |  | 38928 |  | 20678 | 1288403 |  | 31959 | 30583 | 6165 | 97122 |  | 39657 | 259026 | [5 empty] | 7268516.817
1 | 7286550 |  |  | 60 | 3237.2 | 68209 |  | 423002 | 990124 | 468000 |  |  | 1443.16 | 175016 | 11772 | 894109 |  | 39003 |  | 20678 | 1288667 |  | 31994 | 30669 | 6258 | 97122 |  | 39679 | 259026 | [5 empty] | 7268541.245
Note on AK3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis March. 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: |  |  |  | 2007-08-01
DATE | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
[12 empty] | Elect | Water | Fuel | CO2 | Comments
| USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 4482 | 0 | 4482 | -100 | 410 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 4216 | 0 | 4216 | 0 | 540 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 7948 | 0 | 7948 | 3790 | 2480 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 8547 | 0 | 8547 | 4410 | 3270 | 141.87 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 8241 | 0 | 8241 | 4360 | 3040 | 28.96 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 8066 | 0 | 8066 | 2580 | 2720 | 35.05 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 7348 | 0 | 7348 | 2310 | 2380 | 37.67 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 4624 | 0 | 4624 | 1410 | 1000 | 4.96 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
9 | 4173 | 0 | 4173 | 760 | 100 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
10 | 8000 | 0 | 8000 | 80 | 3100 | 20.14 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
11 | 8338 | 0 | 8338 | 3660 | 3040 | 25.49 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 8475 | 0 | 8475 | 2030 | 2800 | 16.74 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 7841 | 0 | 7841 | 2580 | 3010 | 33.09 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 7679 | 0 | 7679 | 3060 | 2410 | 23.87 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 4867 | 0 | 4867 | 340 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 5536 | 0 | 5536 | -30 | 1320 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 8321 | 0 | 8321 | 970 | 2510 | 26.89 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 7150 | 1600 | 8750 | 2600 | 2490 | 30.67 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 9722 | 0 | 9722 | 3690 | 3211 | 45.91 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 5891 | 0 | 5891 | 500 | 3019 | 32.05 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 10696 | 0 | 10696 | 260 | 1270 | 6.35 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 4542 | 0 | 4542 | 0 | 220 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 4634 | 0 | 4634 | -70 | 800 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 6456 | 0 | 6456 | 180 | 2750 | 15.45 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 7927 | 0 | 7927 | 1720 | 3100 | 55.9 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 8652 | 0 | 8652 | 4510 | 3200 | 48.95 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 8051 | 0 | 8051 | 400 | 862 | 47.21 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 6960 | 0 | 6960 | 1450 | 4458 | 14.24 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 4648 | 0 | 4648 | -40 | 580 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 4825 | 0 | 4825 | 0 | 810 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 7462 | 0 | 7462 | 620 | 2670 | 42.06 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
Total | 214318 | 1600 | 215918 | 48030 | 63570 | 733.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 153.613
4 | 124.467
5 | 10.485
6 | 703.626
7 | 335.783
8 | 335.784
9 | 0
10 | 3.806
11 | 130.371
12 | 54.878
13 | 7.616
14 | 0
15 | 0
16 | 0
17 | 0
18 | 18.783
19 | 0
20 | 0
21 | 0
22 | 16.254
23 | 1.089
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 6.771
30 | 0
31 | 24.428
1927.754

## CO2
CO2 Daily Consumption for MARCH 2025
FILLER
DATE | FILLER Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r) | Total Prod.(HL) | CO2 ( Kg./HL) | CO2 (Ex. Vap'r) (Kg./HL) |  |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
[7 empty] | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 0 | 3700 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 0 | 2500 | 356.4 | 0 | 7.0146 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 141.87 | 2100 | 476.982 | 0.29743 | 4.4027 |  | 0 | 141.87 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 28.96 | 1500 | 345.114 | 0.083914 | 4.3464 |  | 0 | 28.96 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 35.05 | 1500 | 383.79 | 0.091326 | 3.9084 |  | 0 | 35.05 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 37.67 | 1400 | 328.482 | 0.11468 | 4.262 |  | 0 | 37.67 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 4.96 | 600 | 0 | 0 | 0 |  | 0 | 4.96 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 20.14 | 900 | 228.36 | 0.088194 | 3.9411 |  | 0 | 20.14 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 25.49 | 1500 | 187.11 | 0.13623 | 8.0167 |  | 0 | 25.49 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 16.74 | 1400 | 135.036 | 0.12397 | 10.3676 |  | 0 | 16.74 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 33.09 | 1500 | 360.624 | 0.091758 | 4.1595 |  | 0 | 33.09 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 23.87 | 900 | 272.448 | 0.087613 | 3.3034 |  | 0 | 23.87 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 0 | 3900 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 26.89 | 400 | 151.734 | 0.17722 | 2.6362 |  | 0 | 26.89 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 30.67 | 1800 | 429.726 | 0.071371 | 4.1887 |  | 0 | 30.67 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 45.91 | 3100 | 501.402 | 0.091563 | 6.1827 |  | 0 | 45.91 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 32.05 | 1600 | 267.498 | 0.11981 | 5.9814 |  | 0 | 32.05 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 6.35 | 600 | 116.886 | 0.054326 | 5.1332 |  | 0 | 6.35 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 15.45 | 1200 | 67.386 | 0.22928 | 17.8079 |  | 0 | 15.45 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 55.9 | 3100 | 623.436 | 0.089664 | 4.9724 |  | 0 | 55.9 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 48.95 | 2400 | 589.314 | 0.083063 | 4.0725 |  | 0 | 48.95 | 0 | 0 | 0 | 0
27 | 47.21 | 2500 | 535.854 | 0.088102 | 4.6654 |  | 0 | 47.21 | 0 | 0 | 0 | 0
28 | 14.24 | 1600 | 181.8144 | 0.078322 | 8.8002 |  | 0 | 14.24 | 0 | 0 | 0 | 0
29 | 0 | 0 | 31.7625 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0
31 | 42.06 | 1700 | 423.126 | 0.099403 | 4.0177 | TARGET | %
MTD | 733.52 | 43400 | 6994.2849 | 0.10487 | 6.2051 | 5 | 124.1013

## Fuel
DAILY FUEL CONSUMPTION FOR MARCH 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
0
1 | 410 | 6.5 | 0 | 0 |  |  | 63.0769 | 0 | 0 | 410 | 0 | 0
2 | 540 | 2.9 | 0 | 0 |  |  | 186.2069 | 0 | 0 | 540 | 0 | 0
3 | 2480 | 18 | 0 | 0 |  |  | 137.7778 | 0 | 0 | 2480 | 356.4 | 6.9585
4 | 3270 | 22.3 | 0 | 0 |  |  | 146.6368 | 0 | 0 | 3270 | 476.982 | 6.8556
5 | 3040 | 20.8 | 0 | 0 |  |  | 146.1538 | 0 | 0 | 3040 | 345.114 | 8.8087
6 | 2720 | 20.2 | 0 | 0 |  |  | 134.6535 | 0 | 0 | 2720 | 383.79 | 7.0872
7 | 2380 | 17.5 | 0 | 0 |  |  | 136 | 0 | 0 | 2380 | 328.482 | 7.2455
8 | 1000 | 8.6 | 0 | 0 |  |  | 116.2791 | 0 | 0 | 1000 | 0 | 0
9 | 100 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 100 | 0 | 0
10 | 3100 | 19.5 | 0 | 0 |  |  | 158.9744 | 0 | 0 | 3100 | 228.36 | 13.5751
11 | 3040 | 21.9 | 0 | 0 |  |  | 138.8128 | 0 | 0 | 3040 | 187.11 | 16.2471
12 | 2800 | 21.3 | 0 | 0 |  |  | 131.4554 | 0 | 0 | 2800 | 135.036 | 20.7352
13 | 3010 | 21 | 0 | 0 |  |  | 143.3333 | 0 | 0 | 3010 | 360.624 | 8.3466
14 | 2410 | 18.5 | 0 | 0 |  |  | 130.2703 | 0 | 0 | 2410 | 272.448 | 8.8457
15 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
16 | 1320 | 8 | 0 | 0 |  |  | 165 | 0 | 0 | 1320 | 0 | 0
17 | 2510 | 18.7 | 0 | 0 |  |  | 134.2246 | 0 | 0 | 2510 | 151.734 | 16.5421
18 | 2490 | 16.7 | 0 | 0 |  |  | 149.1018 | 0 | 0 | 2490 | 429.726 | 5.7944
19 | 3211 | 21.5 | 0 | 0 |  |  | 149.3488 | 0 | 0 | 3211 | 501.402 | 6.404
20 | 3019 | 21.2 | 0 | 0 |  |  | 142.4057 | 0 | 0 | 3019 | 267.498 | 11.2861
21 | 1270 | 9.8 | 0 | 0 |  |  | 129.5918 | 0 | 0 | 1270 | 116.886 | 10.8653
22 | 220 | 1.7 | 0 | 0 |  |  | 129.4118 | 0 | 0 | 220 | 0 | 0
23 | 800 | 14.4 | 0 | 0 |  |  | 55.5556 | 0 | 0 | 800 | 0 | 0
24 | 2750 | 9.8 | 0 | 0 |  |  | 280.6122 | 0 | 0 | 2750 | 67.386 | 40.8097
25 | 3100 | 20.2 | 0 | 0 |  |  | 153.4653 | 0 | 0 | 3100 | 623.436 | 4.9724
26 | 3200 | 20.2 | 0 | 0 |  |  | 158.4158 | 0 | 0 | 3200 | 589.314 | 5.43
27 | 862 | 20.4 | 0 | 0 |  |  | 42.2549 | 0 | 0 | 862 | 535.854 | 1.6086
28 | 4458 | 17.4 | 0 | 0 |  |  | 256.2069 | 0 | 0 | 4458 | 181.8144 | 24.5195
29 | 580 | 4.7 |  | 0 |  |  | 123.4043 | 0 | 0 | 580 | 31.7625 | 18.2605
30 | 810 | 4 |  | 0 |  |  | 202.5 | 0 | 0 | 810 | 0 | 0
31 | 2670 | 17.6 | 0 | 0 |  |  | 151.7045 | 0 | 0 | 2670 | 423.126 | 6.3102 | TARGET | %
MTD | 63570 | 445.3 | 0 | 0 |  |  | 142.7577 |  |  | 63570 | 6994.2849 | 9.0888 | 7.2 | 126.234
cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 186 | 196 | -10 | 74 | 0 | 1 | 0 | 0 | 0 | 0 | 36 | 0 | 6 | 0 | -100 | 36 | 0 | 0 | 0 | 0 | 0 | 186 | 0 | 0
| 2 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0 | 379 | 12 | 12 | 379 | 107 | 0 | 187 | 0 | 0 | 0 | 21 | 63 | 2 | 9 | 0 | 3790 | 84 | 2 | 112 | 0 | 0 | 0 | 391 | 356.4 | 10.9708
| 4 | 0 | 442 | 0 | 1 | 441 | 232 | 0 | 212 | 0 | 0 | 8 | 45 | 83 | 22 | 18 | 0 | 4410 | 136 | 22 | 54 | 0 | 0 | 0 | 442 | 476.982 | 9.2666
| 5 | 0 | 436 | 0 | 0 | 436 | 206 | 0 | 173 | 0 | 0 | 0 | 70 | 60 | 15 | 15 | 0 | 4360 | 130 | 15 | 46 | 0 | 0 | 0 | 436 | 345.114 | 12.6335
| 6 | 0 | 258 | 0 | 0 | 258 | 201 | 0 | 193 | 0 | 0 | 0 | 85 | 58 | 23 | 18 | 0 | 2580 | 143 | 23 | 30 | 0 | 0 | 0 | 258 | 383.79 | 6.7224
| 7 | 0 | 241 | 120 | 130 | 231 | 154 | 0 | 216 | 0 | 0 | 0 | 21 | 48 | 13 | 0 | 0 | 2310 | 69 | 13 | 0 | 0 | 0 | 0 | 361 | 328.482 | 10.9899
| 8 | 0 | 142 | 81 | 82 | 141 | 100 | 0 | 71 | 0 | 0 | 0 | 14 | 25 | 0 | 15 | 0 | 1410 | 39 | 0 | 0 | 0 | 0 | 0 | 223 | 0 | 0
| 9 | 0 | 77 | 21 | 22 | 76 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 760 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0
| 10 | 0 | 65 | 95 | 152 | 8 | 165 | 0 | 191 | 0 | 0 | 22 | 59 | 39 | 14 | 26 | 0 | 80 | 120 | 14 | 0 | 0 | 0 | 0 | 160 | 228.36 | 7.0065
| 11 | 0 | 248 | 118 | 0 | 366 | 122 | 0 | 148 | 0 | 0 | 3 | 19 | 35 | 14 | 36 | 0 | 3660 | 57 | 14 | 0 | 0 | 0 | 0 | 366 | 187.11 | 19.5607
| 12 | 0 | 132 | 184 | 113 | 203 | 154 | 0 | 191 | 0 | 0 | 3 | 42 | 41 | 8 | 38 | 0 | 2030 | 86 | 8 | 1 | 0 | 0 | 0 | 316 | 135.036 | 23.4012
| 13 | 0 | 5 | 253 | 0 | 258 | 167 | 0 | 248 | 0 | 0 | 0 | 46 | 59 | 14 | 60 | 0 | 2580 | 105 | 14 | 0 | 0 | 0 | 0 | 258 | 360.624 | 7.1543
| 14 | 0 | 226 | 251 | 171 | 306 | 141 | 0 | 158 | 0 | 0 | 0 | 37 | 47 | 11 | 37 | 0 | 3060 | 84 | 11 | 1 | 0 | 0 | 0 | 477 | 272.448 | 17.5079
| 15 | 0 | 36 | 80 | 82 | 34 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 340 | 0 | 0 | 0 | 0 | 0 | 0 | 116 | 0 | 0
| 16 | 0 | 2 | 96 | 101 | -3 | 110 | 0 | 33 | 0 | 0 | 0 | 16 | 36 | 0 | 7 | 0 | -30 | 52 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0
| 17 | 0 | 105 | 133 | 141 | 97 | 135 | 0 | 161 | 0 | 0 | 5 | 33 | 32 | 21 | 27 | 0 | 970 | 70 | 21 | 0 | 0 | 0 | 0 | 238 | 151.734 | 15.6853
| 18 | 0 | 252 | 38 | 30 | 260 | 167 | 0 | 144 | 0 | 0 | 0 | 31 | 61 | 19 | 13 | 0 | 2600 | 92 | 19 | 0 | 0 | 0 | 0 | 290 | 429.726 | 6.7485
| 19 | 0 | 375 | 84 | 90 | 369 | 196 | 0 | 242 | 0 | 0 | 0 | 31 | 73 | 24 | 32 | 0 | 3690 | 104 | 24 | 0 | 0 | 0 | 0 | 459 | 501.402 | 9.1543
| 20 | 0 | 63 | 254 | 267 | 50 | 188 | 0 | 191 | 0 | 0 | 0 | 43 | 76 | 23 | 30 | 0 | 500 | 119 | 23 | 0 | 0 | 0 | 0 | 317 | 267.498 | 11.8506
| 21 | 0 | 36 | 171 | 181 | 26 | 114 | 0 | 90 | 0 | 0 | 0 | 17 | 38 | 5 | 9 | 0 | 260 | 55 | 5 | 0 | 0 | 0 | 0 | 207 | 116.886 | 17.7096
| 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 134 | 141 | -7 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | -70 | 33 | 0 | 0 | 0 | 0 | 0 | 134 | 0 | 0
| 24 | 0 | 31 | 207 | 220 | 18 | 135 | 0 | 149 | 0 | 0 | 0 | 31 | 60 | 8 | 43 | 0 | 180 | 91 | 8 | 0 | 0 | 0 | 0 | 238 | 67.386 | 35.3189
| 25 | 0 | 173 | 123 | 124 | 172 | 276 | 0 | 160 | 0 | 0 | 0 | 45 | 143 | 25 | 35 | 0 | 1720 | 188 | 25 | 0 | 0 | 0 | 0 | 296 | 623.436 | 4.7479
| 26 | 0 | 460 | 156 | 165 | 451 | 243 | 0 | 266 | 0 | 0 | 0 | 44 | 108 | 23 | 45 | 0 | 4510 | 152 | 23 | 0 | 0 | 0 | 0 | 616 | 589.314 | 10.4528
| 27 | 0 | 52 | 282 | 294 | 40 | 240 | 0 | 218 | 0 | 0 | 1 | 37 | 95 | 23 | 47 | 0 | 400 | 133 | 23 | 4 | 0 | 0 | 0 | 334 | 535.854 | 6.233
| 28 | 0 | 167 | 275 | 297 | 145 | 221 | 0 | 157 | 0 | 0 | 0 | 81 | 61 | 10 | 44 | 0 | 1450 | 142 | 10 | 1 | 0 | 0 | 0 | 442 | 181.8144 | 24.3105
| 29 | 0 | 0 | 157 | 161 | -4 | 37 | 0 | 29 | 0 | 0 | 0 | 18 | 0 | 0 | 30 | 0 | -40 | 18 | 0 | 0 | 0 | 0 | 0 | 157 | 31.7625 | 49.4294
| 30 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 75 | 251 | 264 | 62 | 207 | 0 | 75 | 0 | 0 | 0 | 35 | 86 | 22 | 93 | 0 | 620 | 121 | 22 | 0 | 0 | 0 | 0 | 326 | 423.126 | 7.7046 | TARGET | %
MTD | total | 0 | 4478 | 3762 | 3437 | 4803 | 4226 |  | 3904 |  | 0 | 42 | 921 | 1496 | 339 | 768 | 0 | 48030 | 2459 | 339 | 249 |  |  |  | 8240 | 6994.2849 | 11.781 | 10.2 | 115.5005
| Gals. |  | 985160
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 15575.3796
| Add basic charge |  | 278.97
15854.3496
| Proxy sewage charge (2/3) |  | 10569.5664
| Proxy MTD NAWASA cost |  | 26423.916
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.March'25
DAILY ELECTRICITY CONSUMPTION FOR MARCH 2025
| Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
DATE | In-feed (Kwhr) | Gen. (Kwhr)
-
1 | 4482 | 0 | 4482 | 0 | 0
2 | 4216 | 0 | 4216 | 0 | 0
3 | 7948 | 0 | 7948 | 356.4 | 22.3008
4 | 8547 | 0 | 8547 | 476.982 | 17.9189
5 | 8241 | 0 | 8241 | 345.114 | 23.8791
6 | 8066 | 0 | 8066 | 383.79 | 21.0167
7 | 7348 | 0 | 7348 | 328.482 | 22.3696
8 | 4624 | 0 | 4624 | 0 | 0
9 | 4173 | 0 | 4173 | 0 | 0
10 | 8000 | 0 | 8000 | 228.36 | 35.0324
11 | 8338 | 0 | 8338 | 187.11 | 44.562
12 | 8475 | 0 | 8475 | 135.036 | 62.761
13 | 7841 | 0 | 7841 | 360.624 | 21.7429
14 | 7679 | 0 | 7679 | 272.448 | 28.1852
15 | 4867 | 0 | 4867 | 0 | 0
16 | 5536 | 0 | 5536 | 0 | 0
17 | 8321 | 0 | 8321 | 151.734 | 54.8394
18 | 7150 | 1600 | 8750 | 429.726 | 20.3618
19 | 9722 | 0 | 9722 | 501.402 | 19.3896
20 | 5891 | 0 | 5891 | 267.498 | 22.0226
21 | 10696 | 0 | 10696 | 116.886 | 91.508
22 | 4542 | 0 | 4542 | 0 | 0
23 | 4634 | 0 | 4634 | 0 | 0
24 | 6456 | 0 | 6456 | 67.386 | 95.8063
25 | 7927 | 0 | 7927 | 623.436 | 12.715
26 | 8652 | 0 | 8652 | 589.314 | 14.6815
27 | 8051 | 0 | 8051 | 535.854 | 15.0246
28 | 6960 | 0 | 6960 | 181.8144 | 38.2808
29 | 4648 | 0 | 4648 | 31.7625 | 146.3361
30 | 4825 | 0 | 4825 | 0 | 0
31 | 7462 | 0 | 7462 | 423.126 | 17.6354 |  | %
MTD | 214318 | 1600 | 215918 | 6994.2849 | 30.8706 | 22 | 140.3211
TARGET

## PROD.FIG.
PRODUCTION FOR MARCH 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Saturday | 1 | [5 empty] | 0
Sunday | 2 | [5 empty] | 0
Monday | 3 | [5 empty] | 356.4
Tuesday | 4 | [5 empty] | 476.982
Wednesday | 5 | [5 empty] | 345.114
Thursday | 6 | [5 empty] | 383.79
Friday | 7 | [5 empty] | 328.482
Saturday | 8 | [5 empty] | 0
Sunday | 9 | [5 empty] | 0
Monday | 10 | [5 empty] | 228.36
Tuesday | 11 | [5 empty] | 187.11
Wednesday | 12 | [5 empty] | 135.036
Thursday | 13 | [5 empty] | 360.624
Friday | 14 | [5 empty] | 272.448
Saturday | 15 | [5 empty] | 0
Sunday | 16 | [5 empty] | 0
Monday | 17 | [5 empty] | 151.734
Tuesday | 18 | [5 empty] | 429.726
Wednesday | 19 | [5 empty] | 501.402
Thursday | 20 | [5 empty] | 267.498
Friday | 21 | [5 empty] | 116.886
Saturday | 22 | [5 empty] | 0
Sunday | 23 | [5 empty] | 0
Monday | 24 | [5 empty] | 67.386
Tuesday | 25 | [5 empty] | 623.436
Wednesday | 26 | [5 empty] | 589.314
Thursday | 27 | [5 empty] | 535.854
Friday | 28 | [5 empty] | 181.8144
Saturday | 29 | [5 empty] | 31.7625
Sunday | 30 | [5 empty] | 0
Monday | 31 | [5 empty] | 423.126
[6 empty] | TOTAL | 6994.2849
0
Note on C4: Note: Unit of measurement

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-03-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Total |  | Diff.
Cases Produced |  | 0 | 5400 | 7227 | 5229 | 5815 | 4977 | 0 | 0 | 3460 | 2835 | 2046 | 5464 | 4128 | 0 | 0 | 2299 | 6511 | 7597 | 4053 | 1771 | 0 | 0 | 1021 | 9446 | 8929 | 8119 | 2568 |  |  | 481.25 | 99376.25 | 96325 | 3051.25
HL produced | 0 | 0 | 356.4 | 476.982 | 345.114 | 383.79 | 328.482 | 0 | 0 | 228.36 | 187.11 | 135.036 | 360.624 | 272.448 | 0 | 0 | 151.734 | 429.726 | 501.402 | 267.498 | 116.886 | 0 | 0 | 67.386 | 623.436 | 589.314 | 535.854 | 181.8144 |  |  | 31.7625 | 6571.1589
Product Type | 0 | 0 | Juicy Cool | ST/CB | GO/GA/JCool | GN/SM/ST | 0 | 0 | 0 | CB | CB/ST/SM | SM | CB | ST/CB | 0 | 0 | CB/ST | ST/CB | CB/ST | Gness | Gness | 0 | 0 | CB |  | ST/CB | CB | VitaMalt |  |  | KEGS
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 0 | 379 | 442 | 436 | 258 | 241 | 142 | 77 | 65 | 248 | 132 | 5 | 226 | 36 | 2 | 105 | 252 | 375 | 63 | 36 | 0 | 0 | 31 | 173 | 460 | 52 | 167 | 173 | 460 | 52 | 5088
Annanale Supply | 186 | 0 | 12 | 0 | 0 | 0 | 120 | 81 | 21 | 95 | 118 | 184 | 253 | 251 | 80 | 96 | 133 | 38 | 84 | 254 | 171 | 0 | 134 | 207 | 123 | 156 | 282 | 275 | 123 | 156 | 282 | 3915
Total Water Supply | 186 | 0 | 391 | 442 | 436 | 258 | 361 | 223 | 98 | 160 | 366 | 316 | 258 | 477 | 116 | 98 | 238 | 290 | 459 | 317 | 207 | 0 | 134 | 238 | 296 | 616 | 334 | 442 | 296 | 616 | 334 | 9003
0
Theoretical permeate | 143.08 | 0 | 8.76 | 0.73 | 0 | 0 | 94.9 | 59.86 | 16.06 | 110.96 | 0 | 82.49 | 0 | 0 | 0 | 0 | 0 | 0 | 65.7 | 194.91 | 132.13 | 0 | 102.93 | 160.6 | 90.52 | 90.52 | 90.52 | 90.52 | 90.52 | 90.52 | 117.53 | 1833.76 | 9168 |  | 13.9519
322.66
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4
Service Water Plant Supply | 74 | 31 | 107 | 232 | 206 | 201 | 154 | 100 | 10 | 165 | 122 | 154 | 167 | 141 | 13 | 110 | 135 | 167 | 196 | 188 | 114 | 0 | 67 | 135 | 276 | 243 | 240 | 221 | 0 | 0 | 0 | 3969
Water consumption | 74 | 31 | 107 | 232 | 206 | 201 | 154 | 100 | 10 | 165 | 122 | 154 | 167 | 141 | 13 | 110 | 135 | 167 | 196 | 188 | 114 | 0 | 67 | 135 | 276 | 243 | 240 | 221 | 0 | 0 | 4 | 3973
|  |  | 3.0022 | 4.8639 | 5.969 | 5.2372 | 4.6882 |  |  | 7.2254 | 6.5202 | 11.4044 | 4.6309 | 5.1753 |  |  | 8.8971 | 3.8862 | 3.909 | 7.0281 | 9.7531 |  |  | 20.0338 | 4.4271 | 4.1234 | 4.4788 | 12.1553 |  |  | 1.2593
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 1 | 0 | 187 | 212 | 173 | 193 | 216 | 71 | 0 | 191 | 148 | 191 | 248 | 158 | 0 | 33 | 161 | 144 | 242 | 191 | 90 | 0 | 0 | 149 | 160 | 266 | 218 | 157 | 160 | 266 | 218 | 4444
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7479 | 10.4528 | 6.233 | 21.4338
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 23 | 23 | 133
CIP Process | 0 | 0 | 21 | 45 | 70 | 85 | 21 | 14 | 0 | 59 | 19 | 42 | 46 | 46 | 46 | 16 | 16 | 16 | 31 | 43 | 17 | 0 | 0 | 31 | 45 | 44 | 37 | 81 | 45 | 44 | 37 | 1017 |  |  | 15588.1818
Bottles Washer | 36 | 0 | 63 | 83 | 60 | 58 | 48 | 25 | 0 | 39 | 35 | 41 | 59 | 59 | 59 | 59 | 59 | 59 | 73 | 76 | 38 | 0 | 33 | 60 | 143 | 108 | 95 | 61 | 143 | 108 | 95 | 1875
Bottle Filler | 0 | 0 | 2 | 22 | 15 | 23 | 13 | 0 | 0 | 14 | 14 | 8 | 14 | 11 | 0 | 0 | 21 | 19 | 24 | 23 | 5 | 0 | 0 | 8 | 25 | 23 | 23 | 10 | 25 | 23 | 23 | 388
Pasteuriser | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 22 | 3 | 3 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 43
Boiler Supply | 6 | 0 | 9 | 18 | 15 | 18 | 0 | 15 | 1 | 26 | 36 | 38 | 60 | 60 | 3 | 7 | 7 | 13 | 32 | 30 | 9 | 11 | 0 | 43 | 35 | 45 | 47 | 44 | 35 | 45 | 47 | 755
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 192
Personnel Consumption
Total water consumption (M3) | 43 | 0 | 282 | 388 | 333 | 377 | 298 | 125 | 1 | 351 | 446 | 323 | 427 | 334 | 154 | 115 | 269 | 267 | 402 | 363 | 159 | 11 | 33 | 291 | 408 | 486 | 421 | 353 | 437.7479 | 519.4528 | 451.233 | 8868.4338
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.89 | 105 | 133 | 252 | 38 | 167 | 0 | 144 | 0 | 0 | 30 | 0 | 31 | 61 | 987.89
CO2 (kg.) (Filler) | 0 | 0 | 0 | 141.87 | 28.96 | 35.05 | 37.67 | 4.96 | 0 | 20.14 | 25.49 | 16.74 | 33.09 | 23.87 | 0 | 0 | 26.89 | 30.67 | 45.91 | 32.05 | 6.35 | 0 | 0 | 15.45 | 55.9 | 48.95 | 47.21 | 14.24 | 0 | 0 | 42.06 | 733.52
Electricity (Kwh.) | 4482 | 4216 | 7948 | 8547 | 8241 | 8066 | 7348 | 4624 | 4173 | 8000 | 8338 | 8475 | 7841 | 7679 | 4867 | 5536 | 8321 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 195352
Fuel (L) | 410 | 540 | 2480 | 3270 | 3040 | 2720 | 2380 | 1000 | 100 | 3100 | 3040 | 2800 | 3010 | 2410 | 0 | 1320 | 2510 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 2490 | 68990
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  |  | 10.9708 | 9.2666 | 12.6335 | 6.7224 | 10.9899 |  |  | 7.0065 | 19.5607 | 23.4012 | 7.1543 | 17.5079 |  |  | 15.6853 | 6.7485 | 9.1543 | 11.8506 | 17.7096 |  |  | 35.3189 | 4.7479 | 10.4528 | 6.233 | 24.3105 |  |  | 105.1555 | 13.7008 | 10.2 | -3.5008
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  |  | 5.2469 | 4.4446 | 5.0128 | 5.0288 | 6.5757 |  |  | 8.364 | 7.9098 | 14.1444 | 6.877 | 5.7993 |  |  | 10.6107 | 3.351 | 4.8265 | 7.1402 | 7.6998 |  |  | 22.1114 | 2.5664 | 4.5137 | 4.0683 | 8.6352 |  |  | 68.6344 | 6.7629 | 2.5 | -4.2629
Brewhouse (Hls brewed) |  |  | 4.5811 | 4.9965 | 3.6124 | 5.1784 | 8.514 | 7.0717 |  | 4.4804 | 4.813 | 5.4092 | 5.5001 | 7.7794 |  | 2.1429 | 4.5622 | 4.8144 | 6.8633 | 4.6699 | 16.6667 |  |  | 3.6763 | 5.3999 | 6.675 | 6.2126 |  |  |  |  | 6.486 | 2.5 | -3.986
Spent Grains/Wash-down Areas |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 1.9624 | 0.032618 | 0.1 | 0.067382
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.37233 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 7.2412 | 0.2024 | 1 | 0.7976
CIP Process |  |  | 0.58923 | 0.94343 | 2.0283 | 2.2148 | 0.6393 |  |  | 2.5836 | 1.0154 | 3.1103 | 1.2756 | 1.6884 |  |  | 1.0545 | 0.37233 | 0.61827 | 1.6075 | 1.4544 |  |  | 4.6004 | 0.72181 | 0.74663 | 0.69049 | 4.4551 |  |  | 11.649 | 1.5477 | 0.7 | -0.84767
Bottles Washer |  |  | 1.7677 | 1.7401 | 1.7386 | 1.5112 | 1.4613 |  |  | 1.7078 | 1.8706 | 3.0362 | 1.6361 | 2.1656 |  |  | 3.8884 | 1.373 | 1.4559 | 2.8411 | 3.251 |  |  | 8.9039 | 2.2937 | 1.8326 | 1.7729 | 3.3551 |  |  | 29.9095 | 2.8534 | 2.6 | -0.25338
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  |  | 0.056117 | 0.46123 | 0.43464 | 0.59929 | 0.39576 |  |  | 0.61307 | 0.74822 | 0.59243 | 0.38822 | 0.40375 |  |  | 1.384 | 0.44214 | 0.47866 | 0.85982 | 0.42777 |  |  | 1.1872 | 0.401 | 0.39028 | 0.42922 | 0.55001 |  |  | 7.2412 | 0.59046 | 0.7 | 0.10954
Pasteuriser |  |  | 0 | 0.16772 | 0 | 0 | 0 |  |  | 0.96339 | 0.16033 | 0.22216 | 0 | 0 |  |  | 0.32952 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0.018662 | 0 |  |  | 0.31484 | 0.065437 | 0.1 | 0.034563
Boiler Supply |  |  | 0.25253 | 0.37737 | 0.43464 | 0.46901 | 0 |  |  | 1.1386 | 1.924 | 2.8141 | 1.6638 | 2.2023 |  |  | 0.46133 | 0.30252 | 0.63821 | 1.1215 | 0.76998 |  |  | 6.3811 | 0.5614 | 0.7636 | 0.8771 | 2.4201 |  |  | 14.7973 | 1.149 | 0.6 | -0.54896
Backwash Supply |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 12.4935 | 13.1309 | 13.2614 | 15.0015 | 17.586 | 7.0717 | 0 | 19.8509 | 18.4414 | 29.3288 | 17.3407 | 20.0386 | 0 | 2.1429 | 22.2906 | 11.0277 | 14.8808 | 18.2401 | 30.2697 | 0 | 0 | 46.8603 | 11.9443 | 14.9219 | 14.0692 | 19.4154 | 0 | 0 | 141.7499 | 19.6898 | 15.6 | -4.0898
Bottling Hall water | 0 | 0 | 1.8238 | 2.3691 | 2.1732 | 2.1105 | 1.857 | 0 | 0 | 3.2843 | 2.7791 | 3.8508 | 2.0243 | 2.5693 | 0 | 0 | 5.6019 | 1.8151 | 1.9346 | 3.701 | 3.6788 | 0 | 0 | 10.0911 | 2.6947 | 2.2229 | 2.2208 | 3.9051 | 0 | 0 | 37.4656 | 3.5093 | 6 | 2.4907
CO2 (kg./Hl.) KPI |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.062575 | 0.20941 | 0.4972 | 2.1559 |  |  | 0 | 0.23098 | 0 | 0 | 0.165 |  |  | 1.9205 | 0.15034 | 5 | 4.8497
CO2 Filler (kg./Hl.) KPI |  |  | 0 | 0.29743 | 0.083914 | 0.091326 | 0.11468 |  |  | 0.088194 | 0.13623 | 0.12397 | 0.091758 | 0.087613 |  |  | 0.17722 | 0.071371 | 0.091563 | 0.11981 | 0.054326 |  |  | 0.22928 | 0.089664 | 0.083063 | 0.088102 | 0.078322 |  |  | 1.3242 | 0.11163 | 1.7 | 1.5884
Electricity (Kwh./Hl.) KPI |  |  | 22.3008 | 17.9189 | 23.8791 | 21.0167 | 22.3696 |  |  | 35.0324 | 44.562 | 62.761 | 21.7429 | 28.1852 |  |  | 54.8394 | 16.6385 | 14.26 | 26.7292 | 61.1707 |  |  | 106.1051 | 11.4687 | 12.1328 | 13.3432 | 39.3258 |  |  | 225.1082 | 29.7287 | 22 | -7.7287
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  |  | 6.9585 | 6.8556 | 8.8087 | 7.0872 | 7.2455 |  |  | 13.5751 | 16.2471 | 20.7352 | 8.3466 | 8.8457 |  |  | 16.5421 | 5.7944 | 4.9661 | 9.3085 | 21.3028 |  |  | 36.9513 | 3.994 | 4.2253 | 4.6468 | 13.6953 |  |  | 78.3943 | 10.4989 | 7.2 | -3.2989
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 0 | 408.2 | 424.3 | 478.9 | 372.7 | 253.7 | 100.4 | 0 | 426.3 | 307.5 | 353.1 | 450.9 | 203.1 | 0 | 154 | 352.9 | 299.1 | 352.6 | 409 | 54 | 0 | 0 | 405.3 | 296.3 | 398.5 | 350.9 | 0 | 0 | 0 | 0 | 6851.7
Product | 0 | 0 | Starmalt | Carib/Stag | Stag/ Carib | GN/SM/ST | Carib/ Stag | Stag | 0 | Guinness | Carib | Carib/Stag | Stag/ Carib | Carib | 0 | Stag | Stag/ Carib | Carib | Carib | Carib | Carib | 0 | 0 | Stag | Carib | Carib/Vmalt | Vmalt/Carib | 0 | 0 | 0 | 0
No. of Brews | 0 | 0 | 8 | 8 | 9 | 7 | 5 | 2 | 0 | 8 | 6 | 7 | 9 | 4 | 0 | 3 | 7 | 6 | 7 | 8 | 1 | 0 | 0 | 8 | 6 | 8 | 7 | 0 | 0 | 0 | 0 | 134
Raw Water In - Nawasa | 196 | 0 | 12 | 1 | 0 | 0 | 130 | 82 | 22 | 152 | 0 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 267 | 181 | 0 | 141 | 220 | 124 | 124 | 124 | 124 | 124 | 124 | 161 | 2512
Into RO | [31 empty] | 0 | bar: Sat
| 4482 | 4216 | 7948 | 8547 | 8241 | 8066 | 7348 | 4624 | 4173 | 8000 | 8338 | 8475 | 7841 | 7679 | 4867 | 5536 | 8321 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 7150 | 195352
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-03-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  |  | Monthly Target
| Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon |  | Total |  | Diff.
Cases Produced |  |  | 5400 | 7227 | 5229 | 5815 | 4977 |  |  | 3460 | 2835 | 2046 | 5464 | 4128 |  |  | 2299 | 6511 | 7597 | 4053 | 1771 |  |  | 1021 | 9446 | 8929 | 8119 | 2568 | 481.25 |  | 6411 |  | 105787.25 | 106825 | -1037.75
HL produced |  |  | 356.4 | 476.982 | 345.114 | 383.79 | 328.482 | 0 | 0 | 228.36 | 187.11 | 135.036 | 360.624 | 272.448 | 0 | 0 | 151.734 | 429.726 | 501.402 | 267.498 | 116.886 | 0 | 0 | 67.386 | 623.436 | 589.314 | 535.854 | 181.8144 | 31.7625 |  | 423.126 |  | 6994.2849
Product Type |  |  | Juicy Cool | ST/CB | GO/GA/JCool | GN/SM/ST | ST |  |  | CB | CB/ST/SM | SM | CB | ST/CB |  |  | CB/ST | ST/CB | CB/ST | Gness | Gness |  |  | CB | CB/ST | ST/CB | CB | VitaMalt | KEGS |  | ST/CB
Hls Brewed |  |  | 408.2 | 424.3 | 478.9 | 372.7 | 253.7 | 100.4 |  | 426.3 | 307.5 | 353.1 | 450.9 | 203.1 |  | 154 | 352.9 | 299.1 | 352.6 | 409 | 54 |  |  | 405.3 | 296.3 | 398.5 | 350.9 | [5 empty] | 6851.7
Product |  |  | Starmalt | Carib/Stag | Stag/ Carib | Carib | Carib/ Stag | Stag |  | Guinness | Carib | Carib/Stag | Stag/ Carib | Carib |  | Stag | Stag/ Carib | Carib | Carib | Carib | Carib |  |  | Stag | Carib | Carib/Vmalt | Vmalt/Carib
No. of Brews |  |  | 8 | 8 | 9 | 7 | 5 | 2 |  | 8 | 6 | 7 | 9 | 4 |  | 3 | 7 | 6 | 7 | 8 | 1 |  |  | 8 | 6 | 8 | 7 | [5 empty] | 134
Brewhouse (Hls brewed) |  |  | 4.5811 | 4.9965 | 3.6124 | 5.1784 | 8.514 | 7.0717 |  | 4.4804 | 4.813 | 5.4092 | 5.5001 | 7.7794 |  | 2.1429 | 4.5622 | 4.8144 | 6.8633 | 4.6699 | 16.6667 |  |  | 3.6763 | 5.3999 | 6.675 | 6.2126 | [5 empty] | 5.6979 | 3.2 | -2.4979
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 0 | 0 | 379 | 442 | 436 | 258 | 241 | 142 | 77 | 65 | 248 | 132 | 5 | 226 | 36 | 2 | 105 | 252 | 375 | 63 | 36 | 0 | 0 | 31 | 173 | 460 | 52 | 167 | 0 | 0 | 75 |  | 4478
Annanale Supply | 186 | 0 | 12 | 0 | 0 | 0 | 120 | 81 | 21 | 95 | 118 | 184 | 253 | 251 | 80 | 96 | 133 | 38 | 84 | 254 | 171 | 0 | 134 | 207 | 123 | 156 | 282 | 275 | 157 | 0 | 251 |  | 3762
Total Water Supply | 186 | 0 | 391 | 442 | 436 | 258 | 361 | 223 | 98 | 160 | 366 | 316 | 258 | 477 | 116 | 98 | 238 | 290 | 459 | 317 | 207 | 0 | 134 | 238 | 296 | 616 | 334 | 442 | 157 | 0 | 326 |  | 8240
0
Theoretical permeate | 143.08 | 0 | 8.76 | 0.73 | 0 | 0 | 94.9 | 59.86 | 16.06 | 110.96 | 0 | 82.49 | 0 | 124.83 | 59.86 | 73.73 | 102.93 | 21.9 | 65.7 | 194.91 | 132.13 | 0 | 102.93 | 160.6 | 90.52 | 120.45 | 214.62 | 216.81 | 117.53 | 0 | 192.72 |  | 2509.01 | 8898 |  | 12.7218
322.66
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 74 | 31 | 107 | 232 | 206 | 201 | 154 | 100 | 10 | 165 | 122 | 154 | 167 | 141 | 13 | 110 | 135 | 167 | 196 | 188 | 114 | 0 | 67 | 135 | 276 | 243 | 240 | 221 | 37 | 13 | 207 |  | 4226
Brewhouse | 1 | 0 | 187 | 212 | 173 | 193 | 216 | 71 | 0 | 191 | 148 | 191 | 248 | 158 | 0 | 33 | 161 | 144 | 242 | 191 | 90 | 0 | 0 | 149 | 160 | 266 | 218 | 157 | 29 | 0 | 75 |  | 3904
Boiler Supply | 6 | 0 | 9 | 18 | 15 | 18 | 0 | 15 | 1 | 26 | 36 | 38 | 60 | 37 | 3 | 7 | 27 | 13 | 32 | 30 | 9 | 11 | 0 | 43 | 35 | 45 | 47 | 44 | 30 | 20 | 93 |  | 768
Water consumption | 81 | 31 | 303 | 462 | 394 | 412 | 370 | 186 | 11 | 382 | 306 | 383 | 475 | 336 | 16 | 150 | 323 | 324 | 470 | 409 | 213 | 11 | 67 | 327 | 471 | 554 | 505 | 422 | 96 | 33 | 375 |  | 8898
|  |  | 8.5017 | 9.6859 | 11.4165 | 10.735 | 11.2639 |  |  | 16.728 | 16.354 | 28.3628 | 13.1716 | 12.3326 |  |  | 21.2873 | 7.5397 | 9.3737 | 15.2898 | 18.2229 |  |  | 48.5264 | 7.5549 | 9.4008 | 9.4242 | 23.2105 | 30.2243 |  | 8.8626 |  | 12.7218
Water Consumption detail | [32 empty] | 0
Brewhouse | 1 | 0 | 187 | 212 | 173 | 193 | 216 | 71 | 0 | 191 | 148 | 191 | 248 | 158 | 0 | 33 | 161 | 144 | 242 | 191 | 90 | 0 | 0 | 149 | 160 | 266 | 218 | 157 | 29 | 0 | 75 |  | 3904
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 157 |  | 157
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 0 | 0 | 21 | 45 | 70 | 85 | 21 | 14 | 0 | 59 | 19 | 42 | 46 | 37 | 0 | 16 | 33 | 31 | 31 | 43 | 17 | 0 | 0 | 31 | 45 | 44 | 37 | 81 | 18 | 0 | 35 |  | 921
Bottles Washer | 36 | 0 | 63 | 83 | 60 | 58 | 48 | 25 | 0 | 39 | 35 | 41 | 59 | 47 | 0 | 36 | 32 | 61 | 73 | 76 | 38 | 0 | 33 | 60 | 143 | 108 | 95 | 61 | 0 | 0 | 86 |  | 1496
Bottle Filler | 0 | 0 | 2 | 22 | 15 | 23 | 13 | 0 | 0 | 14 | 14 | 8 | 14 | 11 | 0 | 0 | 21 | 19 | 24 | 23 | 5 | 0 | 0 | 8 | 25 | 23 | 23 | 10 | 0 | 0 | 22 |  | 339
Pasteuriser | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 22 | 3 | 3 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  | 42
Boiler Supply | 6 | 0 | 9 | 18 | 15 | 18 | 0 | 15 | 1 | 26 | 36 | 38 | 60 | 37 | 3 | 7 | 27 | 13 | 32 | 30 | 9 | 11 | 0 | 43 | 35 | 45 | 47 | 44 | 30 | 20 | 93 |  | 768
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 43 | 0 | 282 | 388 | 333 | 377 | 298 | 125 | 1 | 351 | 255 | 323 | 427 | 290 | 3 | 92 | 279 | 268 | 402 | 363 | 159 | 11 | 33 | 291 | 408 | 486 | 421 | 353 | 77 | 20 | 468 |  | 7627
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  |  | 5.2469 | 4.4446 | 5.0128 | 5.0288 | 6.5757 |  |  | 8.364 | 7.9098 | 14.1444 | 6.877 | 5.7993 |  |  | 10.6107 | 3.351 | 4.8265 | 7.1402 | 7.6998 |  |  | 22.1114 | 2.5664 | 4.5137 | 4.0683 | 8.6352 | 9.1303 |  | 1.7725 |  | 5.5817 | 3.2 | -2.3817
Spent Grains/Wash-down Areas | [32 empty] | 0.22447 | 0.1 | -0.12447
Whirlpool |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 1 | 1
CIP Process |  |  | 0.58923 | 0.94343 | 2.0283 | 2.2148 | 0.6393 |  |  | 2.5836 | 1.0154 | 3.1103 | 1.2756 | 1.3581 |  |  | 2.1749 | 0.72139 | 0.61827 | 1.6075 | 1.4544 |  |  | 4.6004 | 0.72181 | 0.74663 | 0.69049 | 4.4551 | 5.6671 |  | 0.82718 |  | 1.3168 | 0.7 | -0.61679
Bottles Washer |  |  | 1.7677 | 1.7401 | 1.7386 | 1.5112 | 1.4613 |  |  | 1.7078 | 1.8706 | 3.0362 | 1.6361 | 1.7251 |  |  | 2.109 | 1.4195 | 1.4559 | 2.8411 | 3.251 |  |  | 8.9039 | 2.2937 | 1.8326 | 1.7729 | 3.3551 | 0 |  | 2.0325 |  | 2.1389 | 2.1 | -0.038889
Bottle Filler |  |  | 0.056117 | 0.46123 | 0.43464 | 0.59929 | 0.39576 |  |  | 0.61307 | 0.74822 | 0.59243 | 0.38822 | 0.40375 |  |  | 1.384 | 0.44214 | 0.47866 | 0.85982 | 0.42777 |  |  | 1.1872 | 0.401 | 0.39028 | 0.42922 | 0.55001 | 0 |  | 0.51994 |  | 0.48468 | 0.7 | 0.21532
Pasteuriser |  |  | 0 | 0.16772 | 0 | 0 | 0 |  |  | 0.96339 | 0.16033 | 0.22216 | 0 | 0 |  |  | 0.32952 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0.018662 | 0 | 0 |  | 0 |  | 0.060049 | 0.1 | 0.039951
Boiler Supply |  |  | 0.25253 | 0.37737 | 0.43464 | 0.46901 | 0 |  |  | 1.1386 | 1.924 | 2.8141 | 1.6638 | 1.3581 |  |  | 1.7794 | 0.30252 | 0.63821 | 1.1215 | 0.76998 |  |  | 6.3811 | 0.5614 | 0.7636 | 0.8771 | 2.4201 | 9.4451 |  | 2.1979 |  | 1.098 | 0.6 | -0.49804
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 7.9125 | 8.1345 | 9.649 | 9.8231 | 9.072 | 0 | 0 | 15.3705 | 13.6283 | 23.9195 | 11.8406 | 10.6442 | 0 | 0 | 18.3874 | 6.2365 | 8.0175 | 13.5702 | 13.603 | 0 | 0 | 43.184 | 6.5444 | 8.2469 | 7.8566 | 19.4154 | 24.2424 | 0 | 7.3501 |  | 10.9046 | 9.6 | -1.3046
Bottling Hall water | 0 | 0 | 1.8238 | 2.3691 | 2.1732 | 2.1105 | 1.857 | 0 | 0 | 3.2843 | 2.7791 | 3.8508 | 2.0243 | 2.1288 | 0 | 0 | 3.8225 | 1.8617 | 1.9346 | 3.701 | 3.6788 | 0 | 0 | 10.0911 | 2.6947 | 2.2229 | 2.2208 | 3.9051 | 0 | 0 | 2.5524 |  | 2.6836 | 2.9 | 0.21638
Water Plant Total (Before Sand Filter) | 196 | 0 | 12 | 1 | 0 | 0 | 130 | 82 | 22 | 152 | 0 | 113 | 0 | 171 | 82 | 101 | 141 | 30 | 90 | 267 | 181 | 0 | 141 | 220 | 124 | 165 | 294 | 297 | 161 | 0 | 264 |  | 3437
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 0 | 3700 | 2500 | 2100 | 1500 | 1500 | 1400 | 600 | 0 | 900 | 1500 | 1400 | 1500 | 900 | 0 | 3900 | 400 | 1800 | 3100 | 1600 | 600 | 0 |  | 1200 | 3100 | 2400 | 2500 | 1600 | 0 | 0 | 1700 | 0 | 43400
0
CO2 (kg.) (Filler) | 0 | 0 | 0 | 141.87 | 28.96 | 35.05 | 37.67 | 4.96 | 0 | 20.14 | 25.49 | 16.74 | 33.09 | 23.87 | 0 | 0 | 26.89 | 30.67 | 45.91 | 32.05 | 6.35 | 0 | 0 | 15.45 | 55.9 | 48.95 | 47.21 | 14.24 | 0 | 0 | 42.06 |  | 733.52
0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 26.89 | 105 | 133 | 252 | 38 | 167 | 0 | 144 | 0 | 0 | 30 | 61 | 987.89 | 0
Electricity (Kwh.) | 4482 | 4216 | 7948 | 8547 | 8241 | 8066 | 7348 | 4624 | 4173 | 8000 | 8338 | 8475 | 7841 | 7679 | 4867 | 5536 | 8321 | 8750 | 9722 | 5891 | 10696 | 4542 | 4634 | 6456 | 7927 | 8652 | 8051 | 6960 | 4648 | 4825 | 7462 |  | 215918
Fuel (L) | 410 | 540 | 2480 | 3270 | 3040 | 2720 | 2380 | 1000 | 100 | 3100 | 3040 | 2800 | 3010 | 2410 | 0 | 1320 | 2510 | 2490 | 3211 | 3019 | 1270 | 220 | 800 | 2750 | 3100 | 3200 | 862 | 4458 | 580 | 810 | 2670 |  | 63570
Steam Mass Flow | 0 | 0 | 153.613 | 124.467 | 10.485 | 703.626 | 335.783 | 335.784 | 0 | 3.806 | 130.371 | 54.878 | 7.616 | 0 | 0 | 0 | 0 | 18.783 | 0 | 0 | 0 | 16.254 | 1.089 | 0 | 0 | 0 | 0 | 0 | 6.771 | 0 | 24.428 |  | 1927.754
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption |  |  | 10.9708 | 9.2666 | 12.6335 | 6.7224 | 10.9899 |  |  | 7.0065 | 19.5607 | 23.4012 | 7.1543 | 17.5079 |  |  | 15.6853 | 6.7485 | 9.1543 | 11.8506 | 17.7096 |  |  | 35.3189 | 4.7479 | 10.4528 | 6.233 | 24.3105 | 49.4294 |  | 7.7046 |  | 11.781 | 10.2 | -1.581 | 115.5005
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  |  | 7.0146 | 4.4027 | 4.3464 | 3.9084 | 4.262 |  |  | 3.9411 | 8.0167 | 10.3676 | 4.1595 | 3.3034 |  |  | 2.6362 | 4.1887 | 6.1827 | 5.9814 | 5.1332 |  |  | 17.8079 | 4.9724 | 4.0725 | 4.6654 | 8.8002 | 0 |  | 4.0177 |  | 6.2051 | 5 | -1.2051 | 124.1013
CO2 Filler (kg./Hl.) KPI |  |  | 0 | 0.29743 | 0.083914 | 0.091326 | 0.11468 |  |  | 0.088194 | 0.13623 | 0.12397 | 0.091758 | 0.087613 |  |  | 0.17722 | 0.071371 | 0.091563 | 0.11981 | 0.054326 |  |  | 0.22928 | 0.089664 | 0.083063 | 0.088102 | 0.078322 | 0 |  | 0.099403 |  | 0.10487 | 1.7 | 1.5951 | 6.1691
Electricity (Kwh./Hl.) KPI |  |  | 22.3008 | 17.9189 | 23.8791 | 21.0167 | 22.3696 |  |  | 35.0324 | 44.562 | 62.761 | 21.7429 | 28.1852 |  |  | 54.8394 | 20.3618 | 19.3896 | 22.0226 | 91.508 |  |  | 95.8063 | 12.715 | 14.6815 | 15.0246 | 38.2808 | 146.3361 |  | 17.6354 |  | 30.8706 | 22 | -8.8706 | 140.3211
[33 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  |  | 6.9585 | 6.8556 | 8.8087 | 7.0872 | 7.2455 |  |  | 13.5751 | 16.2471 | 20.7352 | 8.3466 | 8.8457 |  |  | 16.5421 | 5.7944 | 6.404 | 11.2861 | 10.8653 |  |  | 40.8097 | 4.9724 | 5.43 | 1.6086 | 24.5195 | 18.2605 |  | 6.3102 |  | 9.0888 | 7.2 | -1.8888 | 126.234
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency | Sat: #REF!; Sun: #REF! |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
Into RO | Sat: _; Sun: 0; Thu: _; Fri: _; Mon: _ |  | 0
| 4482 |  | 7948 | 8547 | 8241 | 8066 | 7348 | 4624 | 4173 | 8000 | 8338 | 8475 | 7841 | 7679 | 4867 | 5536 | 8321 | 8750 | 9722 | 5891 | 10696 | 4542 | 4634 | 6456 | 7927 | 8652 | 8051 | 6960 | 4648 | 4825 | 7462 |  | 215918
4216
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs Mobile aprox 19100 kgs
Note on C74: Delano Pasea: Unaccounted CO2 from mobile FTIU2120688
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs Mobile aprox 20000kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 18300 Kgs Mobile aprox 20000 kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 Kgs Mobile aprox 18700 kgs
Note on G74: Delano Pasea: Tank A 11400 kgs Tank B (filled to 3600) 2900 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on H74: Delano Pasea: Tank A 11400 kgs Tank B 1400 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on I74: Delano Pasea: Tank A 11400 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on J74: Delano Pasea: Tank A 10800 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on K74: Delano Pasea: Tank A 10800 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on L74: Delano Pasea: Tank A 9900 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on M74: Delano Pasea: Tank A 8400 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 0 kgs
Note on N74: Delano Pasea: Tank A 7000 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 18400 kgs
Note on O74: Delano Pasea: Tank A 5500 kgs Tank B 0 kgs Tank C 16700 Kgs Mobile aprox 18400 kgs
Note on P74: Delano Pasea: Tank A 4600 kgs Tank B 4400 kgs Tank C 24800Kgs Mobile aprox 5900 kgs
Note on Q74: Delano Pasea: Unaccounted CO2 Mobile NMHU0000005
Note on R74: Delano Pasea: Tank A 4600 kgs Tank B 4400 kgs Tank C 24800Kgs Mobile aprox 5900 kgs
Note on S74: Delano Pasea: Tank A 4200 kgs Tank B 6400 kgs Tank C 24800Kgs Mobile aprox 3900 kgs
Note on T74: Delano Pasea: Tank A 2400 kgs Tank B 6400 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 5700 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 4100 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 3500 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 3500 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 2300 kgs Tank C 24800Kgs Mobile aprox 0 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24000Kgs Mobile aprox 0 kgs
Note on AB74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 21600Kgs Mobile aprox 0 kgs
Note on AC74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 19100 Kgs Mobile aprox 0 kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C17500 Kgs Mobile aprox 0 kgs
Note on AE74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C17500 Kgs Mobile aprox 0 kgs
Note on AF74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C17500 Kgs Mobile aprox 0 kgs
Note on AG74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15800 Kgs Mobile aprox 0 kgs

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR FEBRUARY 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 170538 | 0 | -196 | 29173 | 1285230 | 196 | 97122 | 0 | 1285230 | -1285230 | -1285230 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 170538 | 0 | 0 | 0 | 1285426 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
3 | 170538 | 379 | 367 | 0 | 1285426 | 12 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 758 |  |  | #DIV/0!
4 | 170917 | 442 | 441 | 0 | 1285438 | 1 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 884 |  |  | #DIV/0!
5 | 171359 | 436 | 436 | 0 | 1285439 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 872 |  |  | #DIV/0!
6 | 171795 | 258 | 258 | 0 | 1285439 | 0 | 97122 | 0 | 0 | 20644 | 20644 | 0 | 23 | 516 |  |  | #DIV/0!
7 | 172053 | 241 | 111 | 0 | 1285439 | 130 | 97122 | 0 | 20644 | -20644 | -20644 | 0 | 13 | 482 |  |  | #DIV/0!
8 | 172294 | 142 | 60 | 0 | 1285569 | 82 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 284 |  |  | #DIV/0!
9 | 172436 | 77 | 55 | 0 | 1285651 | 22 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 154 |  |  | #DIV/0!
10 | 172513 | 65 | -87 | 0 | 1285673 | 152 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 130 |  |  | #DIV/0!
11 | 172578 | 248 | 248 | 0 | 1285825 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 496 |  |  | #DIV/0!
12 | 172826 | 132 | 19 | 0 | 1285825 | 113 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 264 |  |  | #DIV/0!
13 | 172958 | 5 | 5 | 0 | 1285938 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 10 |  |  | #DIV/0!
14 | 172963 | 226 | 55 | 0 | 1285938 | 171 | 97122 | 0 | 0 | 0 | 0 | 0 | 11 | 452 |  |  | #DIV/0!
15 | 173189 | 36 | -46 | 0 | 1286109 | 82 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 72 |  |  | #DIV/0!
16 | 173225 | 2 | -99 | 0 | 1286191 | 101 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  |  | #DIV/0!
17 | 173227 | 105 | -36 | 0 | 1286292 | 141 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 210 |  |  | #DIV/0!
18 | 173332 | 252 | 222 | 0 | 1286433 | 30 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 504 |  |  | #DIV/0!
19 | 173584 | 375 | 285 | 0 | 1286463 | 90 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 750 |  |  | #DIV/0!
20 | 173959 | 63 | -204 | 0 | 1286553 | 267 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 126 |  |  | #DIV/0!
21 | 174022 | 36 | -145 | 0 | 1286820 | 181 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 72 |  |  | #DIV/0!
22 | 174058 | 0 | 0 | 0 | 1287001 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
23 | 174058 | 0 | -141 | 0 | 1287001 | 141 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
24 | 174058 | 31 | -189 | 0 | 1287142 | 220 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 62 |  |  | #DIV/0!
25 | 174089 | 173 | 49 | 0 | 1287362 | 124 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 346 |  |  | #DIV/0!
26 | 174262 | 460 | 295 | 0 | 1287486 | 165 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 920 |  |  | #DIV/0!
27 | 174722 | 52 | -242 | 0 | 1287651 | 294 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 104 |  |  | #DIV/0!
28 | 174774 | 167 | -130 | 0 | 1287945 | 297 | 97122 | 0 | 0 | 0 | 0 | 0 | 10 | 334 |  |  | #DIV/0!
| 174941 |  | 0 |  | 1288242 |  | 97122
Total |  | 4403 | 1391 |  |  | 3012 |  | 0 | 1305874 | -1285230 | -1285230 | 0 | 317 | 8806 | 0 | 0 | #DIV/0!