## Entries May'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Collection | Consumption | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | (Kg.) | ` | (Lbs.) | (Kg.)
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) | Meter (kg) | Meter (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | Tank "A" | Tank "B" | Mobile Tanker | Inside Tank
-
1 | 7350170 |  |  | 64 | 3679.4 | 68209 |  | 533489 | 94185 | 468000 |  |  | 2246.92 | 177732 | 16998 | 898842 |  | 42246 |  | 20764 | 1294170 |  | 33199 | 32187 | 7044 | 97122 |  | 40038 | 259390 | [5 empty] | 7269137.348
2 | 7350820 |  |  | 64 | 3683.4 | 68209 |  | 536192 | 96722 | 468000 |  |  | 2246.92 | 177869 | 17011 | 898880 |  | 42246 |  | 20764 | 1294184 |  | 33199 | 32187 | 7044 | 97122 |  | 40038 | 259390 | [5 empty] | 7269137.348
3 | 7352900 |  |  | 64 | 3699.3 | 68209 |  | 539829 | 100144 | 468000 |  |  | 2268.75 | 177985 | 17112 | 898995 |  | 42385 |  | 20773 | 1294256 |  | 33249 | 32221 | 7059 | 97122 |  | 40048 | 259390 | [5 empty] | 7269138.141
4 | 7354510 |  |  | 64 | 3714.6 | 68209 |  | 542976 | 103104 | 468000 |  |  | 2268.75 | 178011 | 17278 | 899165 |  | 42524 |  | 20773 | 1294465 |  | 33275 | 32261 | 7063 | 97122 |  | 40048 | 259390 | [5 empty] | 7269138.141
5 | 7355370 |  |  | 64 | 3720.7 | 68209 |  | 545345 | 105801 | 468000 |  |  | 2268.75 | 178023 | 17387 | 899184 |  | 42580 |  | 20773 | 1294579 |  | 33275 | 32261 | 7063 | 97122 |  | 40048 | 25930 | [5 empty] | 7269138.141
6 | 7357800 |  |  | 64 | 3738.7 | 68209 |  | 549917 | 109631 | 468000 |  |  | 2312.09 | 178108 | 17544 | 899335 |  | 42727 |  | 20774 | 1294795 |  | 33309 | 32310 | 7076 | 97122 |  | 40062 | 259390 | [5 empty] | 7269164.965
7 | 7360840 |  |  | 64 | 3759.9 | 68209 |  | 554478 | 113924 | 468000 |  |  | 2352 | 178381 | 17668 | 899593 |  | 42945 |  | 20780 | 1294896 |  | 33373 | 32392 | 7092 | 97122 |  | 40088 | 259390 | [5 empty] | 7269164.965
8 | 7364000 |  |  | 64 | 3781.8 | 68209 |  | 559339 | 118504 | 468000 |  |  | 2415.44 | 178759 | 17733 | 899830 |  | 43127 |  | 20790 | 1294943 |  | 33429 | 32477 | 7118 | 97122 |  | 40108 | 259409 | [5 empty] | 7269164.965
9 | 7367190 |  |  | 64 | 3803.5 | 68209 |  | 564047 | 122939 | 468000 |  |  | 2466.67 | 178761 | 17974 | 900069 |  | 43284 |  | 20804 | 1295196 |  | 33495 | 32547 | 7140 | 97122 |  | 40124 | 259409 | [5 empty] | 7269164.965
10 | 7369810 |  |  | 64 | 3822.5 | 68209 |  | 568721 | 127336 | 468000 |  |  | 2520.08 | 179093 | 18179 | 900297 |  | 43452 |  | 20812 | 1295413 |  | 33568 | 32613 | 7156 | 97122 |  | 40143 | 259409 | [5 empty] | 7269164.965
11 | 7371010 |  |  | 64 | 3833.4 | 68209 |  | 571658 | 130091 | 468000 |  |  | 2520.08 | 179098 | 18179 | 900369 |  | 43547 |  | 20814 | 1295413 |  | 33588 | 32619 | 7161 | 97122 |  | 40145 | 259409 | [5 empty] | 7269164.965
12 | 7372270 |  |  | 64 | 3842 | 68209 |  | 574334 | 132608 | 468000 |  |  | 2520.08 | 179098 | 18338 | 900422 |  | 43647 |  | 20814 | 1295582 |  | 33594 | 32653 | 7166 | 97122 |  | 40145 | 259409 | [5 empty] | 7270815.402
13 | 7374690 |  |  | 64 | 3861.2 | 68209 |  | 578526 | 136551 | 468000 |  |  | 2574.31 | 179131 | 18541 | 900632 |  | 43667 |  | 20817 | 1295795 |  | 33637 | 32735 | 7184 | 97122 |  | 40167 | 259409 | [5 empty] | 7287358.247
14 | 7377820 |  |  | 64 | 3880.6 | 68209 |  | 582744 | 140522 | 468000 |  |  | 2596.91 | 179396 | 18665 | 900793 |  | 43846 |  | 20827 | 1295914 |  | 33680 | 32770 | 7276 | 97122 |  | 40185 | 259409 | [5 empty] | 7287626.963
15 | 7380650 |  |  | 64 | 3899.9 | 68209 |  | 586784 | 144324 | 468000 |  |  | 2622.44 | 179637 | 18694 | 900931 |  | 44039 |  | 20833 | 1295956 |  | 33714 | 32801 | 7258 | 97122 |  | 40198 | 259423 | [5 empty] | 7287644.564
16 | 7383390 |  |  | 64 | 3912.9 | 68217 |  | 590794 | 148096 | 468000 |  |  | 2656.01 | 179694 | 18894 | 901085 |  | 44184 |  | 20837 | 1296166 |  | 33770 | 32824 | 7287 | 97122 |  | 40206 | 259423 | [5 empty] | 7287693.169
17 | 7385830 |  |  | 64 | 3927.3 | 68219 |  | 594695 | 151763 | 468000 |  |  | 2682.67 | 179642 | 19123 | 901235 |  | 44372 |  | 20845 | 1296408 |  | 33818 | 32856 | 7300 | 97122 |  | 40214 | 259423 | [5 empty] | 7287693.169
18 | 7386420 |  |  | 64 | 3931.9 | 68219 |  | 597846 | 154717 | 468000 |  |  | 2682.67 | 179693 | 19218 | 901268 |  | 44459 |  | 20845 | 1296509 |  | 33818 | 32856 | 7304 | 97122 |  | 40214 | 259423 | [5 empty] | 7287693.169
19 | 7386750 |  |  | 64 | 3934.1 | 68219 |  | 600591 | 157293 | 468000 |  |  | 2682.67 | 179693 | 19328 | 901312 |  | 44459 |  | 20845 | 1296625 |  | 33818 | 32856 | 7304 | 97122 |  | 40214 | 259423 | [5 empty] | 7287693.169
20 | 7389970 |  |  | 64 | 3954.1 | 68219 |  | 604731 | 161185 | 468000 |  |  | 2728.12 | 179781 | 19455 | 901497 |  | 44586 |  | 20856 | 1296758 |  | 33857 | 32957 | 7320 | 97122 |  | 40228 | 259423 | [5 empty] | 7288066.276
21 | 7393000 |  |  | 64 | 3974.3 | 68219 |  | 609190 | 165379 | 468000 |  |  | 2781.79 | 180012 | 19577 | 901726 |  | 44714 |  | 20860 | 1296887 |  | 33884 | 33071 | 7339 | 97122 |  | 40252 | 259423 | [5 empty] | 7288040.231
22 | 7396380 |  |  | 64 | 3993.2 | 68219 |  | 613969 | 169875 | 468000 |  |  | 2829.77 | 180180 | 19749 | 901985 |  | 44925 |  | 20861 | 1297068 |  | 33917 | 33202 | 7360 | 97122 |  | 40275 | 259425 | [5 empty] | 7288044.177
23 | 7399170 |  |  | 64 | 4012.7 | 68219 |  | 618469 | 174110 | 468000 |  |  | 2851.11 | 180320 | 19923 | 902150 |  | 45110 |  | 20863 | 1297294 |  | 33942 | 33289 | 7378 | 97122 |  | 40290 | 259425 | [5 empty] | 7288044.177
24 | 7402190 |  |  | 64 | 4033.4 | 68225 |  | 622199 | 178181 | 468000 |  |  | 2884.98 | 180391 | 20061 | 902352 |  | 45273 |  | 20866 | 1297394 |  | 33973 | 33368 | 7397 | 97122 |  | 40298 | 259432 | [5 empty] | 7288044.177
25 | 7402490 |  |  | 64 | 4035.9 | 68225 |  | 625602 | 180812 | 468000 |  |  | 2884.98 | 180391 | 20298 | 902497 |  | 45273 |  | 20866 | 1297652 |  | 33973 | 33456 | 7401 | 97122 |  | 40298 | 259432 | [5 empty] | 7288044.177
26 | 7403270 |  |  | 64 | 4039.9 | 68225 |  | 628315 | 183364 | 468000 |  |  | 2884.98 | 180391 | 20323 | 902535 |  | 45273 |  | 20866 | 1297671 |  | 33973 | 33472 | 7403 | 97122 |  | 40298 | 259432 | [5 empty] | 7288044.177
27 | 7406520 |  |  | 64 | 4060.5 | 68225 |  | 632753 | 187589 | 468000 |  |  | 2936.34 | 180460 | 20532 | 902718 |  | 45452 |  | 20891 | 1297892 |  | 34007 | 33540 | 7426 | 97122 |  | 40315 | 259432 | [5 empty] | 7288044.177
28 | 7409600 |  |  | 64 | 4080.3 | 68225 |  | 637138 | 191664 | 468000 |  |  | 2979.04 | 180944 | 20650 | 902887 |  | 45624 |  | 20871 | 1298016 |  | 34054 | 33589 | 7450 | 97122 |  | 40334 | 259432 | [5 empty] | 7288044.177
29 | 7411640 |  |  | 64 | 4096.7 | 68225 |  | 640519 | 194836 | 468000 |  |  | 2979.27 | 180743 | 20764 | 902976 |  | 45772 |  | 20871 | 1298136 |  | 34090 | 33604 | 7464 | 97122 |  | 40338 | 259432 | [5 empty] | 7288044.177
30 | 7413220 |  |  | 64 | 4107.8 | 68225 |  | 644056 | 198159 | 468000 |  |  | 2996.8 | 180743 | 20841 | 903055 |  | 45772 |  | 20878 | 1298218 |  | 34095 | 33634 | 7472 | 97122 |  | 40344 | 259432 | [5 empty] | 7288144.9
31 | 7416290 |  |  | 64 | 4126.3 | 68225 |  | 648387 | 202243 | 468000 |  |  | 3052.19 | 180743 | 21080 | 903289 |  | 45852 |  | 20888 | 1298494 |  | 34117 | 33758 | 7488 | 97122 |  | 40364 | 259432 | [5 empty] | 7288160.767
1 | 7416560 |  |  | 64 | 4131.1 | 68225 |  | 651300 | 204968 | 468000 |  |  | 3052.19 | 180743 | 21238 | 903351 |  | 45913 |  | 20888 | 1298636 |  | 34117 | 33760 | 7492 | 97122 |  | 40368 | 259432 | [5 empty] | 7288160.767
Note on AK3: Ellon: Please insert CO2 readings from CO2 Gas Collection sheet. Readings should be 6:30 Hrs. Readings.

## Utility Analysis May 2025
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [5 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [11 empty] | Elect | Water | Fuel | CO2
|  |  | USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2703 | 2537 | 5240 | 0 | 5240 | 1500 | 650 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2 | 3637 | 3422 | 7059 | 0 | 7059 | 2170 | 2080 | 1400 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
3 | 3147 | 2960 | 6107 | 0 | 6107 | 1920 | 1610 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
4 | 2369 | 2697 | 5066 | 0 | 5066 | 1210 | 860 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
5 | 4572 | 3830 | 8402 | 0 | 8402 | 2420 | 2430 | 2800 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
6 | 4561 | 4293 | 8854 | 0 | 8854 | 3970 | 3040 | 2400 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
7 | 4861 | 4580 | 9441 | 0 | 9441 | 4430 | 3160 | 2500 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
8 | 4708 | 4435 | 9143 | 0 | 9143 | 2430 | 3190 | 2500 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
9 | 4674 | 4397 | 9071 | 0 | 9071 | 5370 | 2620 | 2400 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
10 | 2937 | 2755 | 5692 | 0 | 5692 | 50 | 1200 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
11 | 2676 | 2517 | 5193 | 0 | 5193 | 1590 | 1260 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 4192 | 3943 | 8135 | 0 | 8135 | 2360 | 2420 | 2500 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 4218 | 3971 | 8189 | 0 | 8189 | 3890 | 3130 | 1600 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 4040 | 3802 | 7842 | 0 | 7842 | 2700 | 2830 | 1600 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 4010 | 3772 | 7782 | 0 | 7782 | 2570 | 2740 | 900 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 3901 | 3667 | 7568 | 0 | 7568 | 2290 | 2440 | 800 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 3151 | 2954 | 6105 | 0 | 6105 | 1460 | 590 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 2745 | 2576 | 5321 | 0 | 5321 | 1100 | 330 | 1800 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 4140 | 3892 | 8032 | 0 | 8032 | 2150 | 3220 | 1000 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 4459 | 4194 | 8653 | 0 | 8653 | 3530 | 3030 | 4000 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 4779 | 4496 | 9275 | 0 | 9275 | 3400 | 3380 | 2500 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 4500 | 4235 | 8735 | 0 | 8735 | 3140 | 2790 | 1600 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 3730 | 4071 | 7801 | 0 | 7801 | 2090 | 3020 | 2400 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 3403 | 2631 | 6034 | 0 | 6034 | 2370 | 300 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 2713 | 2552 | 5265 | 0 | 5265 | 250 | 780 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 4438 | 4225 | 8663 | 0 | 8663 | 2780 | 3250 | 900 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 4385 | 4075 | 8460 | 0 | 8460 | 6020 | 3080 | 700 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 3381 | 3172 | 6553 | 0 | 6553 | 1140 | 2040 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 3537 | 3323 | 6860 | 0 | 6860 | 770 | 1580 | 900 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 4331 | 4084 | 8415 | 0 | 8415 | 2390 | 3070 | 2900 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 2913 | 2725 | 5638 | 0 | 5638 | 1580 | 270 | 0
|  |  | Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
Total |  |  | 228594 | 0 | 228594 | 75040 | 66390 | 40100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on A22: Alexander Dominguez-Ramon: New settings of A421 Controllers (3:00 PM)

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 26.824
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 1650.437
12 | 16542.845
13 | 268.716
14 | 17.601
15 | 48.605
16 | 0
17 | 0
18 | 0
19 | 373.107
20 | 0
21 | 3.946
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 100.723
30 | 15.867
31 | 0
19048.671

## Fuel
DAILY FUEL CONSUMPTION FOR MAY 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1+2 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
0
1 | 650 | 4 | 0 | 0 |  |  | 162.5 | 0 | 0 | 650 | 0 | 0
2 | 2080 | 15.9 | 0 | 0 |  |  | 130.8176 | 0 | 0 | 2080 | 130.746 | 15.9087
3 | 1610 | 15.3 | 0 | 0 |  |  | 105.2288 | 0 | 0 | 1610 | 0 | 0
4 | 860 | 6.1 | 0 | 0 |  |  | 140.9836 | 0 | 0 | 860 | 0 | 0
5 | 2430 | 18 | 0 | 0 |  |  | 135 | 0 | 0 | 2430 | 200.442 | 12.1232
6 | 3040 | 21.2 | 0 | 0 |  |  | 143.3962 | 0 | 0 | 3040 | 494.538 | 6.1472
7 | 3160 | 21.9 | 0 | 0 |  |  | 144.2922 | 0 | 0 | 3160 | 469.986 | 6.7236
8 | 3190 | 21.7 | 0 | 0 |  |  | 147.0046 | 0 | 0 | 3190 | 412.83 | 7.7272
9 | 2620 | 19 | 0 | 0 |  |  | 137.8947 | 0 | 0 | 2620 | 519.09 | 5.0473
10 | 1200 | 10.9 | 0 | 0 |  |  | 110.0917 | 0 | 0 | 1200 | 0 | 0
11 | 1260 | 8.6 | 0 | 0 |  |  | 146.5116 | 0 | 0 | 1260 | 0 | 0
12 | 2420 | 19.2 | 0 | 0 |  |  | 126.0417 | 0 | 0 | 2420 | 515.13 | 4.6978
13 | 3130 | 19.4 | 0 | 0 |  |  | 161.3402 | 0 | 0 | 3130 | 172.722 | 18.1216
14 | 2830 | 19.3 | 0 | 0 |  |  | 146.6321 | 0 | 0 | 2830 | 40.9224 | 69.1553
15 | 2740 | 13 | 0 | 8 |  |  | 130.4762 | 0 | 0 | 2740 | 96.1464 | 28.4982
16 | 2440 | 14.4 | 0 | 2 |  |  | 148.7805 | 0 | 0 | 2440 | 158.8596 | 15.3595
17 | 590 | 4.6 | 0 | 0 |  |  | 128.2609 | 0 | 0 | 590 | 0 | 0
18 | 330 | 2.2 | 0 | 0 |  |  | 150 | 0 | 0 | 330 | 0 | 0
19 | 3220 | 20 | 0 | 0 |  |  | 161 | 0 | 0 | 3220 | 347.82 | 9.2577
20 | 3030 | 20.2 | 0 | 0 |  |  | 150 | 0 | 0 | 3030 | 492.36 | 6.154
21 | 3380 | 18.9 | 0 | 0 |  |  | 178.836 | 0 | 0 | 3380 | 438.306 | 7.7115
22 | 2790 | 19.5 | 0 | 0 |  |  | 143.0769 | 0 | 0 | 2790 | 157.806 | 17.6799
23 | 3020 | 20.7 | 0 | 6 |  |  | 113.1086 | 0 | 0 | 3020 | 318.384 | 9.4854
24 | 300 | 2.5 | 0 | 0 |  |  | 120 | 0 | 0 | 300 | 0 | 0
25 | 780 | 4 | 0 | 0 |  |  | 195 | 0 | 0 | 780 | 0 | 0
26 | 3250 | 20.6 | 0 | 0 |  |  | 157.767 | 0 | 0 | 3250 | 315.546 | 10.2996
27 | 3080 | 19.8 | 0 | 0 |  |  | 155.5556 | 0 | 0 | 3080 | 297.858 | 10.3405
28 | 2040 | 16.4 | 0 | 0 |  |  | 124.3902 | 0 | 0 | 2040 | 0 | 0
29 | 1580 | 11.1 |  | 0 |  |  | 142.3423 | 0 | 0 | 1580 | 111.078 | 14.2242
30 | 3070 | 18.5 |  | 0 |  |  | 165.9459 | 0 | 0 | 3070 | 527.604 | 5.8188
31 | 270 | 4.8 |  | 0 |  |  | 56.25 | 0 | 0 | 270 | 13.6125
MTD | 66390 | 451.7 | 0 | 16 |  |  | 141.95 |  |  | 66390 | 6231.7869 | 10.6534 | 7.2 | 147.9645
cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 137 | 13 | 14 | 136 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1360 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0
| 2 | 0 | 116 | 101 | 72 | 145 | 115 | 0 | 139 | 0 | 0 | 9 | 50 | 34 | 10 | 15 | 0 | 1450 | 93 | 10 | 0 | 0 | 0 | 0 | 217 | 130.746 | 16.5971
| 3 | 0 | 26 | 166 | 209 | -17 | 170 | 0 | 139 | 0 | 0 | 0 | 26 | 40 | 0 | 4 | 0 | -170 | 66 | 0 | 0 | 0 | 0 | 0 | 192 | 0 | 0
| 4 | 0 | 12 | 109 | 114 | 7 | 19 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 121 | 0 | 0
| 5 | 0 | 85 | 157 | 216 | 26 | 151 | 0 | 147 | 0 | 0 | 1 | 34 | 49 | 14 | 13 | 0 | 260 | 84 | 14 | 233460 | 0 | 0 | 0 | 242 | 200.442 | 12.0733
| 6 | 0 | 273 | 124 | 101 | 296 | 258 | 0 | 218 | 0 | 0 | 6 | 64 | 82 | 26 | 16 | 0 | 2960 | 152 | 26 | 0 | 0 | 0 | 0 | 397 | 494.538 | 8.0277
| 7 | 0 | 378 | 65 | 47 | 396 | 237 | 0 | 182 | 0 | 0 | 10 | 56 | 85 | 20 | 26 | 0 | 3960 | 151 | 20 | 19 | 0 | 0 | 0 | 443 | 469.986 | 9.4258
| 8 | 0 | 2 | 241 | 253 | -10 | 239 | 0 | 157 | 0 | 0 | 14 | 66 | 70 | 16 | 22 | 0 | -100 | 150 | 16 | 0 | 0 | 0 | 0 | 243 | 412.83 | 5.8862
| 9 | 0 | 332 | 205 | 217 | 320 | 228 | 0 | 168 | 0 | 0 | 8 | 73 | 66 | 19 | 16 | 0 | 3200 | 147 | 19 | 0 | 0 | 0 | 0 | 537 | 519.09 | 10.345
| 10 | 0 | 5 | 0 | 0 | 5 | 72 | 0 | 95 | 0 | 0 | 2 | 20 | 6 | 2 | 5 | 0 | 50 | 28 | 2 | 0 | 0 | 0 | 0 | 5 | 0 | 0
| 11 | 0 | 0 | 159 | 169 | -10 | 53 | 0 | 100 | 0 | 0 | 0 | 6 | 34 | 0 | 5 | 0 | -100 | 40 | 0 | 0 | 0 | 0 | 0 | 159 | 0 | 0
| 12 | 0 | 33 | 203 | 213 | 23 | 210 | 0 | 20 | 0 | 0 | 3 | 43 | 82 | 22 | 18 | 0 | 230 | 128 | 22 | 0 | 0 | 0 | 0 | 236 | 515.13 | 4.5814
| 13 | 0 | 265 | 124 | 119 | 270 | 161 | 0 | 179 | 0 | 0 | 10 | 43 | 35 | 18 | 92 | 0 | 2700 | 88 | 18 | 0 | 0 | 0 | 0 | 389 | 172.722 | 22.5217
| 14 | 0 | 241 | 29 | 42 | 228 | 138 | 0 | 193 | 0 | 0 | 6 | 34 | 31 | 13 | 0 | 0 | 2280 | 71 | 13 | 14 | 0 | 0 | 0 | 270 | 40.9224 | 65.9785
| 15 | 0 | 57 | 200 | 210 | 47 | 154 | 0 | 145 | 0 | 0 | 4 | 56 | 23 | 8 | 29 | 0 | 470 | 83 | 8 | 0 | 0 | 0 | 0 | 257 | 96.1464 | 26.7301
| 16 | 0 | 0 | 229 | 242 | -13 | 150 | 0 | 188 | 0 | 0 | 8 | 48 | 32 | 8 | 13 | 0 | -130 | 88 | 8 | 0 | 0 | 0 | 0 | 229 | 158.8596 | 14.4152
| 17 | 0 | 51 | 95 | 101 | 45 | 33 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 146 | 0 | 0
| 18 | 0 | 0 | 110 | 116 | -6 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 0
| 19 | 0 | 88 | 127 | 133 | 82 | 185 | 0 | 127 | 0 | 0 | 11 | 39 | 101 | 14 | 16 | 0 | 820 | 151 | 14 | 0 | 0 | 0 | 0 | 215 | 347.82 | 6.1814
| 20 | 0 | 231 | 122 | 129 | 224 | 229 | 0 | 128 | 0 | 0 | 4 | 27 | 114 | 24 | 19 | 0 | 2240 | 145 | 24 | 0 | 0 | 0 | 0 | 353 | 492.36 | 7.1696
| 21 | 0 | 168 | 172 | 181 | 159 | 259 | 0 | 211 | 0 | 0 | 1 | 33 | 131 | 23 | 21 | 0 | 1590 | 165 | 23 | 2 | 0 | 0 | 0 | 340 | 438.306 | 7.7571
| 22 | 0 | 140 | 174 | 226 | 88 | 165 | 0 | 185 | 0 | 0 | 2 | 25 | 87 | 15 | 18 | 0 | 880 | 114 | 15 | 0 | 0 | 0 | 0 | 314 | 157.806 | 19.8978
| 23 | 0 | 71 | 138 | 100 | 109 | 202 | 0 | 163 | 0 | 0 | 3 | 31 | 79 | 8 | 19 | 0 | 1090 | 113 | 8 | 7 | 0 | 0 | 0 | 209 | 318.384 | 6.5644
| 24 | 0 | 0 | 237 | 258 | -21 | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 4 | 0 | -210 | 88 | 0 | 0 | 0 | 0 | 0 | 237 | 0 | 0
| 25 | 0 | 0 | 25 | 19 | 6 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 2 | 0 | 60 | 16 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0
| 26 | 0 | 69 | 209 | 221 | 57 | 183 | 0 | 179 | 0 | 0 | 25 | 34 | 68 | 17 | 23 | 0 | 570 | 127 | 17 | 0 | 0 | 0 | 0 | 278 | 315.546 | 8.8101
| 27 | 0 | 484 | 118 | 124 | 478 | 169 | 0 | 172 | 0 | 0 | 0 | 47 | 49 | 19 | 24 | 0 | 4780 | 96 | 19 | 0 | 0 | 0 | 0 | 602 | 297.858 | 20.211
| 28 | 0 | 0 | 114 | 120 | -6 | 89 | 0 | 148 | 0 | 0 | 0 | 36 | 15 | 4 | 14 | 0 | -60 | 51 | 4 | 0 | 0 | 0 | 0 | 114 | 0 | 0
| 29 | 0 | 0 | 77 | 82 | -5 | 79 | 0 | 0 | 0 | 0 | 7 | 5 | 30 | 6 | 8 | 0 | -50 | 42 | 6 | 0 | 0 | 0 | 0 | 77 | 111.078 | 6.9321
| 30 | 0 | 0 | 239 | 276 | -37 | 234 | 0 | 80 | 0 | 0 | 10 | 22 | 124 | 20 | 16 | 0 | -370 | 156 | 20 | 0 | 0 | 0 | 0 | 239 | 527.604 | 4.5299
| 31 | 0 | 0 | 158 | 142 | 16 |  |  | 61 | 0 | 0 | 0 | 0 | 2 | 4 | 4 | 0 | 160 |  | 4 | 0 | 0 | 0 | 0 | 158 | 13.6125
MTD | total | 0 | 3264 | 4240 | 4466 | 3038 | 4447 |  | 3667 |  | 0 | 144 | 918 | 1573 | 330 | 466 | 0 | 30380 | 2633 | 330 | 233502 |  |  |  | 7504 | 6231.7869 | 12.0415 | 10.2 | 118.0538
| Gals. |  | 718080
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 11352.8448
| Add basic charge |  | 278.97
11631.8148
| Proxy sewage charge (2/3) |  | 7754.5432
| Proxy MTD NAWASA cost |  | 19386.358
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.MY'25
DAILY ELECTRICITY CONSUMPTION FOR MAY 2025
DATE | Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr)
1 | 5240 | 0 | 5240 | 0 | 0
2 | 7059 | 0 | 7059 | 130.746 | 53.9902
3 | 6107 | 0 | 6107 | 0 | 0
4 | 5066 | 0 | 5066 | 0 | 0
5 | 8402 | 0 | 8402 | 200.442 | 41.9174
6 | 8854 | 0 | 8854 | 494.538 | 17.9036
7 | 9441 | 0 | 9441 | 469.986 | 20.0878
8 | 9143 | 0 | 9143 | 412.83 | 22.1471
9 | 9071 | 0 | 9071 | 519.09 | 17.4748
10 | 5692 | 0 | 5692 | 0 | 0
11 | 5193 | 0 | 5193 | 0 | 0
12 | 8135 | 0 | 8135 | 515.13 | 15.7921
13 | 8189 | 0 | 8189 | 172.722 | 47.4114
14 | 7842 | 0 | 7842 | 40.9224 | 191.631
15 | 7782 | 0 | 7782 | 96.1464 | 80.9391
16 | 7568 | 0 | 7568 | 158.8596 | 47.6396
17 | 6105 | 0 | 6105 | 0 | 0
18 | 5321 | 0 | 5321 | 0 | 0
19 | 8032 | 0 | 8032 | 347.82 | 23.0924
20 | 8653 | 0 | 8653 | 492.36 | 17.5745
21 | 9275 | 0 | 9275 | 438.306 | 21.161
22 | 8735 | 0 | 8735 | 157.806 | 55.3528
23 | 7801 | 0 | 7801 | 318.384 | 24.5019
24 | 6034 | 0 | 6034 | 0 | 0
25 | 5265 | 0 | 5265 | 0 | 0
26 | 8663 | 0 | 8663 | 315.546 | 27.454
27 | 8460 | 0 | 8460 | 297.858 | 28.4028
28 | 6553 | 0 | 6553 | 0 | 0
29 | 6860 | 0 | 6860 | 111.078 | 61.7584
30 | 8415 | 0 | 8415 | 527.604 | 15.9495
31 | 5638 |  | 5638 |  |  |  | %
MTD | 228594 | 0 | 228594 | 6218.1744 | 36.7622 | 22 | 167.1011
TARGET

## PROD.FIG.
PRODUCTION FOR MAY 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Thursday | 1 | [5 empty] | 0
Friday | 2 | [5 empty] | 130.746
Saturday | 3 | [5 empty] | 0
Sunday | 4 | [5 empty] | 0
Monday | 5 | [5 empty] | 200.442
Tuesday | 6 | [5 empty] | 494.538
Wednesday | 7 | [5 empty] | 469.986
Thursday | 8 | [5 empty] | 412.83
Friday | 9 | [5 empty] | 519.09
Saturday | 10 | [5 empty] | 0
Sunday | 11 | [5 empty] | 0
Monday | 12 | [5 empty] | 515.13
Tuesday | 13 | [5 empty] | 172.722
Wednesday | 14 | [5 empty] | 40.9224
Thursday | 15 | [5 empty] | 96.1464
Friday | 16 | [5 empty] | 158.8596
Saturday | 17 | [5 empty] | 0
Sunday | 18 | [5 empty] | 0
Monday | 19 | [5 empty] | 347.82
Tuesday | 20 | [5 empty] | 492.36
Wednesday | 21 | [5 empty] | 438.306
Thursday | 22 | [5 empty] | 157.806
Friday | 23 | [5 empty] | 318.384
Saturday | 24 | [5 empty] | 0
Sunday | 25 | [5 empty] | 0
Monday | 26 | [5 empty] | 315.546
Tuesday | 27 | [5 empty] | 297.858
Wednesday | 28 | [5 empty] | 0
Thursday | 29 | [5 empty] | 111.078
Friday | 30 | [5 empty] | 527.604
Saturday | 31 | [5 empty] | 13.6125
[6 empty] | TOTAL | 6231.7869
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for MAY 2025
FILLER
DATE | FILLER Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r) | Total Prod.(HL) | CO2 ( Kg./HL) | CO2 (Ex. Vap'r) (Kg./HL) |  |  |  | Tank A | Tank B | Mobile | Inside Tank | 4 | Usage | time | 5 | Usage | Time | 6 | Usage | time | 7 | Usage | Time | 8 | Usage | time | 9 | Usage | Time | 10 | Usage | time | 11 | Usage | Time | 12 | Usage | time | 13 | Usage | Time | 14 | Usage | time | 15 | Usage | Time | 16 | Usage | time | 17 | Usage | Time | 18 | Usage | time | 19 | Usage | Time | 20 | Usage | time | 21 | Usage | Time | 22 | Usage | time | 23 | Usage | Time | 24 | Usage | time | 25 | Usage | Time | 26 | Usage | time | 27 | Usage | Time | 28 | Usage | time | 29 | Usage | Time | 30 | Usage | time | 31 | Usage | Time | 2 | Usage
[7 empty] | Collection | [7 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630 | [5 empty] | 630
1 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0 | 730 |  | 0 |  |  | 0
2 | 21.83 | 1400 | 130.746 | 0.16696 | 10.7078 |  | 0 | 21.83 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
3 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
5 | 43.34 | 2800 | 200.442 | 0.21622 | 13.9691 |  | 0 | 43.34 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | 39.91 | 2400 | 494.538 | 0.080702 | 4.853 |  | 0 | 39.91 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
7 | 63.44 | 2500 | 469.986 | 0.13498 | 5.3193 |  | 0 | 63.44 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 | 51.23 | 2500 | 412.83 | 0.12409 | 6.0558 |  | 0 | 51.23 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
9 | 53.41 | 2400 | 519.09 | 0.10289 | 4.6235 |  | 0 | 53.41 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
10 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
11 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | 54.23 | 2500 | 515.13 | 0.10527 | 4.8531 |  | 0 | 54.23 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
13 | 22.6 | 1600 | 172.722 | 0.13085 | 9.2634 |  | 0 | 22.6 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
14 | 25.53 | 1600 | 40.9224 | 0.62386 | 39.0984 |  | 0 | 25.53 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
15 | 33.57 | 900 | 96.1464 | 0.34916 | 9.3607 |  | 0 | 33.57 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
16 | 26.66 | 800 | 158.8596 | 0.16782 | 5.0359 |  | 0 | 26.66 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
17 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
18 | 0 | 1800 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
19 | 45.45 | 1000 | 347.82 | 0.13067 | 2.8751 |  | 0 | 45.45 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
20 | 53.67 | 4000 | 492.36 | 0.10901 | 8.1241 |  | 0 | 53.67 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
21 | 47.98 | 2500 | 438.306 | 0.10947 | 5.7038 |  | 0 | 47.98 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | 21.34 | 1600 | 157.806 | 0.13523 | 10.139 |  | 0 | 21.34 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
23 | 33.87 | 2400 | 318.384 | 0.10638 | 7.5381 |  | 0 | 33.87 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
24 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
25 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
26 | 51.36 | 900 | 315.546 | 0.16277 | 2.8522 |  | 0 | 51.36 | 0 | 0 | 0 | 0
27 | 42.7 | 700 | 297.858 | 0.14336 | 2.3501 |  | 0 | 42.7 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
29 | 17.53 | 900 | 111.078 | 0.15782 | 8.1024
30 | 55.39 | 2900 | 527.604 | 0.10498 | 5.4965
31 | 0 | 0 | 13.6125 | 0 | 0 | TARGET | %
MTD | 805.04 | 40100 | 6231.7869 | 0.12918 | 6.4348 | 5 | 128.695

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-05-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Total |  | Diff.
Cases Produced |  | 1981 | 0 | 0 | 3037 | 7493 | 7121 | 6255 | 7865 | 0 | 0 | 7805 | 2617 | 578 | 1358 | 2253 | 0 | 0 | 5270 | 7460 | 6641 | 2391 | 4824 | 0 | 0 | 4781 | 4513 | 0 |  |  | 1683 | 85926 | 96325 | -10399
HL produced | 0 | 130.746 | 0 | 0 | 200.442 | 494.538 | 469.986 | 412.83 | 519.09 | 0 | 0 | 515.13 | 172.722 | 40.9224 | 96.1464 | 158.8596 | 0 | 0 | 347.82 | 492.36 | 438.306 | 157.806 | 318.384 | 0 | 0 | 315.546 | 297.858 | 0 |  |  | 111.078 | 5690.5704
Product Type | 0 | CB/SL | 0 | 0 | SG/SS | SS/CB/SG | SM/CB | CB/ST | CB/ST | 0 | 0 | ST/CB | CB | VM | VM | VM/VMG/ST | 0 | 0 | Stag | ST/CB/CB(Ex) | Cbex/CB | CB | CB/ ST | 0 |  | ST/GN | Cb/Cbex | 0 |  |  | Cbex/Cb
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 137 | 116 | 26 | 12 | 85 | 273 | 378 | 2 | 332 | 5 | 0 | 33 | 265 | 241 | 57 | 0 | 51 | 0 | 88 | 231 | 168 | 140 | 71 | 0 | 0 | 69 | 484 | 0 | 0 | 69 | 484 | 3817
Annanale Supply | 13 | 101 | 166 | 109 | 157 | 124 | 65 | 241 | 205 | 0 | 159 | 203 | 124 | 29 | 200 | 229 | 95 | 110 | 127 | 122 | 172 | 174 | 138 | 237 | 25 | 209 | 118 | 114 | 25 | 209 | 118 | 4118
Total Water Supply | 150 | 217 | 192 | 121 | 242 | 397 | 443 | 243 | 537 | 5 | 159 | 236 | 389 | 270 | 257 | 229 | 146 | 110 | 215 | 353 | 340 | 314 | 209 | 237 | 25 | 278 | 602 | 114 | 25 | 278 | 602 | 7935
0
Theoretical permeate | 10.22 | 52.56 | 152.57 | 83.22 | 157.68 | 73.73 | 34.31 | 184.69 | 158.41 | 0 | 123.37 | 155.49 | 86.87 | 86.87 | 86.87 | 86.87 | 86.87 | 86.87 | 97.09 | 94.17 | 132.13 | 164.98 | 73 | 188.34 | 13.87 | 13.87 | 13.87 | 13.87 | 13.87 | 13.87 | 59.86 | 2600.26 | 8599 |  | 15.111
8.76
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 38 | 115 | 170 | 19 | 151 | 258 | 237 | 239 | 228 | 72 | 53 | 210 | 161 | 138 | 154 | 150 | 33 | 44 | 185 | 229 | 259 | 165 | 202 | 145 | 38 | 183 | 169 | 89 | 0 | 0 | 0 | 4134
Water consumption | 38 | 115 | 170 | 19 | 151 | 258 | 237 | 239 | 228 | 72 | 53 | 210 | 161 | 138 | 154 | 150 | 33 | 44 | 185 | 229 | 259 | 165 | 202 | 145 | 38 | 183 | 169 | 89 | 0 | 0 | 0 | 4134
|  | 8.7957 |  |  | 7.5334 | 5.217 | 5.0427 | 5.7893 | 4.3923 |  |  | 4.0766 | 9.3213 | 33.7224 | 16.0172 | 9.4423 |  |  | 5.3188 | 4.6511 | 5.9091 | 10.4559 | 6.3445 |  |  | 5.7995 | 5.6738 |  |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 139 | 139 | 56 | 147 | 218 | 182 | 157 | 168 | 95 | 100 | 20 | 179 | 193 | 145 | 188 | 87 | 0 | 127 | 128 | 211 | 185 | 163 | 0 | 0 | 179 | 172 | 148 | 0 | 179 | 172 | 3877
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8101 | 20.211 | 29.0211
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 43 | 0 | 8 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 19 | 145
CIP Process | 0 | 50 | 26 | 0 | 34 | 64 | 56 | 66 | 73 | 20 | 6 | 43 | 43 | 43 | 43 | 48 | 48 | 48 | 39 | 27 | 33 | 25 | 31 | 0 | 0 | 34 | 47 | 36 | 0 | 34 | 47 | 1064 |  |  | 15588.1818
Bottles Washer | 0 | 34 | 40 | 0 | 49 | 82 | 85 | 70 | 66 | 6 | 34 | 82 | 35 | 35 | 35 | 35 | 35 | 35 | 101 | 114 | 131 | 87 | 79 | 88 | 16 | 68 | 49 | 15 | 16 | 68 | 49 | 1639
Bottle Filler | 0 | 10 | 0 | 0 | 14 | 26 | 20 | 16 | 19 | 2 | 0 | 22 | 18 | 13 | 8 | 8 | 0 | 0 | 14 | 24 | 23 | 15 | 8 | 0 | 0 | 17 | 19 | 4 | 0 | 17 | 19 | 336
Pasteuriser | 0 | 9 | 0 | 0 | 1 | 6 | 10 | 14 | 8 | 2 | 0 | 3 | 10 | 6 | 4 | 8 | 0 | 0 | 11 | 4 | 1 | 2 | 3 | 0 | 0 | 25 | 0 | 0 | 0 | 25 | 0 | 152
Boiler Supply | 0 | 15 | 4 | 0 | 13 | 16 | 26 | 22 | 16 | 5 | 5 | 18 | 92 | 92 | 29 | 13 | 13 | 0 | 16 | 19 | 21 | 18 | 19 | 4 | 2 | 23 | 24 | 14 | 2 | 23 | 24 | 588
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 120
Personnel Consumption
Total water consumption (M3) | 0 | 257 | 209 | 56 | 258 | 412 | 379 | 345 | 350 | 130 | 240 | 188 | 377 | 392 | 307 | 300 | 191 | 131 | 308 | 316 | 420 | 332 | 303 | 92 | 18 | 346 | 311 | 217 | 18 | 396.8101 | 350.211 | 7950.0211
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 95 | 0 | 110 | 44 | 0 | 0 | 0 | 0 | 116 | 0 | 0 | 0 | 416
CO2 (kg.) (Filler) | 0 | 21.83 | 0 | 0 | 43.34 | 39.91 | 63.44 | 51.23 | 53.41 | 0 | 0 | 54.23 | 22.6 | 25.53 | 33.57 | 26.66 | 0 | 0 | 45.45 | 53.67 | 47.98 | 21.34 | 33.87 | 0 | 0 | 51.36 | 42.7 | 0 | 17.53 | 55.39 | 0 | 805.04
Electricity (Kwh.) | 5240 | 7059 | 6107 | 5066 | 8402 | 8854 | 9441 | 9143 | 9071 | 5692 | 5193 | 8135 | 8189 | 7842 | 7782 | 7568 | 6105 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 183420
Fuel (L) | 650 | 2080 | 1610 | 860 | 2430 | 3040 | 3160 | 3190 | 2620 | 1200 | 1260 | 2420 | 3130 | 2830 | 2740 | 2440 | 590 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 40870
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  | 16.5971 |  |  | 12.0733 | 8.0277 | 9.4258 | 5.8862 | 10.345 |  |  | 4.5814 | 22.5217 | 65.9785 | 26.7301 | 14.4152 |  |  | 6.1814 | 7.1696 | 7.7571 | 19.8978 | 6.5644 |  |  | 8.8101 | 20.211 |  |  |  | 54.1962 | 13.9441 | 10.2 | -3.7441
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  | 10.6313 |  |  | 7.3338 | 4.4082 | 3.8725 | 3.803 | 3.2364 |  |  | 0.38825 | 10.3635 | 47.1624 | 15.0812 | 11.8343 |  |  | 3.6513 | 2.5997 | 4.814 | 11.7233 | 5.1196 |  |  | 5.6727 | 5.7746 |  |  |  | 15.4846 | 6.813 | 2.5 | -4.313
Brewhouse (Hls brewed) |  | 3.9078 | 3.027 |  | 3.2033 | 4.4865 | 4.2925 | 3.3793 | 6.4591 | 2.4259 |  | 1.2928 | 7.0807 | 3.7888 | 3.1646 | 4.6569 |  |  | 4.19 | 3.5704 | 5.1932 | 3.6561 | 4.9484 |  |  | 4.2407 | 4.4376 | 4.8303 |  | 6.0269 |  | 4.6181 | 2.5 | -2.1181
Spent Grains/Wash-down Areas |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 1.8195 | 0.050999 | 0.1 | 0.049001
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0 | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 2.4436 | 4.4723 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 1.7105 | 0.25481 | 1 | 0.74519
CIP Process |  | 3.8242 |  |  | 1.6963 | 1.2941 | 1.1915 | 1.5987 | 1.4063 |  |  | 0.83474 | 2.4895 | 10.5077 | 4.4723 | 3.0215 |  |  | 1.1213 | 0.54838 | 0.7529 | 1.5842 | 0.97367 |  |  | 1.0775 | 1.5779 |  |  |  | 4.2313 | 1.8698 | 0.7 | -1.1698
Bottles Washer |  | 2.6005 |  |  | 2.4446 | 1.6581 | 1.8086 | 1.6956 | 1.2715 |  |  | 1.5918 | 2.0264 | 8.5528 | 3.6403 | 2.2032 |  |  | 2.9038 | 2.3154 | 2.9888 | 5.5131 | 2.4813 |  |  | 2.155 | 1.6451 |  |  |  | 4.4113 | 2.8802 | 2.6 | -0.2802
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  | 0.76484 |  |  | 0.69846 | 0.52574 | 0.42554 | 0.38757 | 0.36603 |  |  | 0.42708 | 1.0421 | 3.1767 | 0.83206 | 0.50359 |  |  | 0.40251 | 0.48745 | 0.52475 | 0.95053 | 0.25127 |  |  | 0.53875 | 0.63789 |  |  |  | 1.7105 | 0.59045 | 0.7 | 0.10955
Pasteuriser |  | 0.68836 |  |  | 0.04989 | 0.12133 | 0.21277 | 0.33912 | 0.15412 |  |  | 0.058238 | 0.57897 | 1.4662 | 0.41603 | 0.50359 |  |  | 0.31626 | 0.081241 | 0.022815 | 0.12674 | 0.094226 |  |  | 0.79228 | 0 |  |  |  | 0 | 0.26711 | 0.1 | -0.16711
Boiler Supply |  | 1.1473 |  |  | 0.64857 | 0.32353 | 0.55321 | 0.53291 | 0.30823 |  |  | 0.34943 | 5.3265 | 22.4816 | 3.0162 | 0.81833 |  |  | 0.46001 | 0.3859 | 0.47912 | 1.1406 | 0.59676 |  |  | 0.7289 | 0.80575 |  |  |  | 2.1606 | 1.0333 | 0.6 | -0.43329
Backwash Supply |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 23.5642 | 3.027 | 0 | 16.0749 | 12.8175 | 12.3565 | 11.7362 | 13.2016 | 2.4259 | 0 | 4.9424 | 28.9077 | 99.5798 | 35.095 | 23.5415 | 0 | 0 | 13.0452 | 9.9885 | 14.7756 | 24.6946 | 14.4652 | 0 | 0 | 15.2058 | 14.8788 | 4.8303 | 0 | 6.0269 | 31.5284 | 18.3778 | 15.6 | -2.7778
Bottling Hall water | 0 | 4.0537 | 0 | 0 | 3.1929 | 2.3052 | 2.4469 | 2.4223 | 1.7916 | 0 | 0 | 2.0771 | 3.6475 | 13.1957 | 4.8884 | 3.2104 | 0 | 0 | 3.6226 | 2.8841 | 3.5363 | 6.5904 | 2.8268 | 0 | 0 | 3.486 | 2.283 | 0 | 0 | 0 | 6.1218 | 3.7378 | 6 | 2.2622
CO2 (kg./Hl.) KPI |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0.14663 | 0.19295 | 0 | 0.69706 | 0.1382 |  |  | 0 | 0 |  |  |  | 0 | 0.073103 | 5 | 4.9269
CO2 Filler (kg./Hl.) KPI |  | 0.16696 |  |  | 0.21622 | 0.080702 | 0.13498 | 0.12409 | 0.10289 |  |  | 0.10527 | 0.13085 | 0.62386 | 0.34916 | 0.16782 |  |  | 0.13067 | 0.10901 | 0.10947 | 0.13523 | 0.10638 |  |  | 0.16277 | 0.14336 |  |  |  | 0 | 0.14147 | 1.7 | 1.5585
Electricity (Kwh./Hl.) KPI |  | 53.9902 |  |  | 41.9174 | 17.9036 | 20.0878 | 22.1471 | 17.4748 |  |  | 15.7921 | 47.4114 | 191.631 | 80.9391 | 47.6396 |  |  | 15.2981 | 10.8071 | 12.1399 | 33.7186 | 16.7125 |  |  | 16.8628 | 17.8642 |  |  |  | 47.9033 | 32.2323 | 22 | -10.2323
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  | 15.9087 |  |  | 12.1232 | 6.1472 | 6.7236 | 7.7272 | 5.0473 |  |  | 4.6978 | 18.1216 | 69.1553 | 28.4982 | 15.3595 |  |  | 0.94877 | 0.67024 | 0.7529 | 2.0912 | 1.0365 |  |  | 1.0458 | 1.1079 |  |  |  | 2.9709 | 7.1821 | 7.2 | 0.017943
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 355.7 | 459.2 | 0 | 458.9 | 485.9 | 424 | 464.6 | 260.1 | 391.6 | 0 | 154.7 | 252.8 | 509.4 | 458.2 | 403.7 | 0 | 0 | 303.1 | 358.5 | 406.3 | 506 | 329.4 | 0 | 0 | 422.1 | 387.6 | 306.4 | 0 | 297 | 0 | 8395.2
Product | 0 | Carib | Carib | 0 | Stag\Starmalt | SS/CB/SG | Guinn/ Carib | Carib/Stag | Stag | Vmalt/CB | 0 | CB | CB | ST/CB | CB/ST | ST | 0 | 0 | Carib | Carib | Carib | Carib/ Stag | Stag | 0 | 0 | Guinn | Vmalt/Stag | Stag/Carib | 0 | CB | 0
No. of Brews | 0 | 7 | 9 | 0 | 9 | 9 | 8 | 9 | 5 | 8 | 0 | 3 | 5 | 10 | 9 | 8 | 0 | 0 | 6 | 7 | 8 | 10 | 6 | 0 | 0 | 8 | 8 | 6 | 0 | 6 | 0 | 164
Raw Water In - Nawasa | 14 | 72 | 209 | 114 | 216 | 101 | 47 | 253 | 217 | 0 | 169 | 213 | 119 | 119 | 119 | 119 | 119 | 119 | 133 | 129 | 181 | 226 | 100 | 258 | 19 | 19 | 19 | 19 | 19 | 19 | 82 | 3562
Into RO | [31 empty] | 0 | bar: Thu
| 5240 | 7059 | 6107 | 5066 | 8402 | 8854 | 9441 | 9143 | 9071 | 5692 | 5193 | 8135 | 8189 | 7842 | 7782 | 7568 | 6105 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 5321 | 183420
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-05-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
| Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Total |  | Diff.
Cases Produced |  | 1981 |  |  | 3037 | 7493 | 7121 | 6255 | 7865 |  |  | 7805 | 2617 | 578 | 1358 | 2253 |  |  | 5270 | 7460 | 6641 | 2391 | 4824 |  |  | 4781 | 4513 |  | 1683 | 7994 | 206.25 | 94126.25 | 103250 | -9123.75
HL produced |  | 130.746 | 0 | 0 | 200.442 | 494.538 | 469.986 | 412.83 | 519.09 | 0 | 0 | 515.13 | 172.722 | 40.9224 | 96.1464 | 158.8596 | 0 | 0 | 347.82 | 492.36 | 438.306 | 157.806 | 318.384 | 0 | 0 | 315.546 | 297.858 | 0 | 111.078 | 527.604 | 13.6125 | 6231.7869
Product Type |  | CB/SL |  |  | SG/SS | SS/CB/SG | Stag | SM/CB | CB/ST |  |  | ST/CB | CB | VM | VM | VM/VMG/ST |  |  | Stag | ST/CB/CB(Ex) | Cbex/CB | CB | CB/ ST |  |  | ST/GN | Cb/Cbex |  | Cbex/Cb | CB | KEGS
Hls Brewed |  | 355.7 | 459.2 |  | 458.9 | 485.9 | 424 | 464.6 | 260.1 | 391.6 |  | 154.7 | 252.8 | 509.4 | 458.2 | 403.7 |  |  | 303.1 | 358.5 | 406.3 | 506 | 329.4 |  |  | 422.1 | 387.6 | 306.4 |  | 297 | 101.6 | 8496.8
Product |  | Carib | Carib |  | Stag\Starmalt | Starmalt/Guinn | Guinn/ Carib | Carib/Stag | Stag | Vmalt/CB |  | CB | CB | ST/CB | CB/ST | ST |  |  | Carib | Carib | Carib | Carib/ Stag | Stag |  |  | Guinn | Vmalt/Stag | Stag/Carib |  | CB | CB
No. of Brews |  | 7 | 9 |  | 9 | 9 | 8 | 9 | 5 | 8 |  | 3 | 5 | 10 | 9 | 8 |  |  | 6 | 7 | 8 | 10 | 6 |  |  | 8 | 8 | 6 |  | 6 | 2 | 166
Brewhouse (Hls brewed) |  | 3.9078 | 3.027 |  | 3.2033 | 4.4865 | 4.2925 | 3.3793 | 6.4591 | 2.4259 |  | 1.2928 | 7.0807 | 3.7888 | 3.1646 | 4.6569 |  |  | 4.19 | 3.5704 | 5.1932 | 3.6561 | 4.9484 |  |  | 4.2407 | 4.4376 | 4.8303 |  | 2.6936 | 6.0039 | 4.3157 |  | -4.3157
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 137 | 116 | 26 | 12 | 85 | 273 | 378 | 2 | 332 | 5 | 0 | 33 | 265 | 241 | 57 | 0 | 51 | 0 | 88 | 231 | 168 | 140 | 71 | 0 | 0 | 69 | 484 | 0 | 0 | 0 | 0 | 3264
Annanale Supply | 13 | 101 | 166 | 109 | 157 | 124 | 65 | 241 | 205 | 0 | 159 | 203 | 124 | 29 | 200 | 229 | 95 | 110 | 127 | 122 | 172 | 174 | 138 | 237 | 25 | 209 | 118 | 114 | 77 | 239 | 158 | 4240
Total Water Supply | 150 | 217 | 192 | 121 | 242 | 397 | 443 | 243 | 537 | 5 | 159 | 236 | 389 | 270 | 257 | 229 | 146 | 110 | 215 | 353 | 340 | 314 | 209 | 237 | 25 | 278 | 602 | 114 | 77 | 239 | 158 | 7504
0
Theoretical permeate | 10.22 | 52.56 | 152.57 | 83.22 | 157.68 | 73.73 | 34.31 | 184.69 | 158.41 | 0 | 123.37 | 155.49 | 86.87 | 30.66 | 153.3 | 176.66 | 73.73 | 84.68 | 97.09 | 94.17 | 132.13 | 164.98 | 73 | 188.34 | 13.87 | 161.33 | 90.52 | 87.6 | 59.86 | 201.48 | 103.66 | 3260.18 | 8580 |  | 13.7681
8.76
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 38 | 115 | 170 | 19 | 151 | 258 | 237 | 239 | 228 | 72 | 53 | 210 | 161 | 138 | 154 | 150 | 33 | 44 | 185 | 229 | 259 | 165 | 202 | 145 | 38 | 183 | 169 | 89 | 79 | 234 | 0 | 4447
Brewhouse | 0 | 139 | 139 | 56 | 147 | 218 | 182 | 157 | 168 | 95 | 100 | 20 | 179 | 193 | 145 | 188 | 87 | 0 | 127 | 128 | 211 | 185 | 163 | 0 | 0 | 179 | 172 | 148 | 0 | 80 | 61 | 3667
Boiler Supply | 0 | 15 | 4 | 0 | 13 | 16 | 26 | 22 | 16 | 5 | 5 | 18 | 92 | 0 | 29 | 13 | 4 | 0 | 16 | 19 | 21 | 18 | 19 | 4 | 2 | 23 | 24 | 14 | 8 | 16 | 4 | 466
Water consumption | 38 | 269 | 313 | 75 | 311 | 492 | 445 | 418 | 412 | 172 | 158 | 248 | 432 | 331 | 328 | 351 | 124 | 44 | 328 | 376 | 491 | 368 | 384 | 149 | 40 | 385 | 365 | 251 | 87 | 330 | 65 | 8580
|  | 20.5742 |  |  | 15.5157 | 9.9487 | 9.4684 | 10.1252 | 7.937 |  |  | 4.8143 | 25.0113 | 80.8848 | 34.1146 | 22.095 |  |  | 9.4302 | 7.6367 | 11.2022 | 23.3198 | 12.0609 |  |  | 12.2011 | 12.2542 |  | 7.8323 | 6.2547 | 47.7502 | 13.7681
Water Consumption detail | [31 empty] | 0
Brewhouse | 0 | 139 | 139 | 56 | 147 | 218 | 182 | 157 | 168 | 95 | 100 | 20 | 179 | 193 | 145 | 188 | 87 | 0 | 127 | 128 | 211 | 185 | 163 | 0 | 0 | 179 | 172 | 148 | 0 | 80 | 61 | 3667
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 77
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 50 | 26 | 0 | 34 | 64 | 56 | 66 | 73 | 20 | 6 | 43 | 43 | 34 | 56 | 48 | 0 | 0 | 39 | 27 | 33 | 25 | 31 | 0 | 0 | 34 | 47 | 36 | 5 | 22 | 0 | 918
Bottles Washer | 0 | 34 | 40 | 0 | 49 | 82 | 85 | 70 | 66 | 6 | 34 | 82 | 35 | 31 | 23 | 32 | 0 | 0 | 101 | 114 | 131 | 87 | 79 | 88 | 16 | 68 | 49 | 15 | 30 | 124 | 2 | 1573
Bottle Filler | 0 | 10 | 0 | 0 | 14 | 26 | 20 | 16 | 19 | 2 | 0 | 22 | 18 | 13 | 8 | 8 | 0 | 0 | 14 | 24 | 23 | 15 | 8 | 0 | 0 | 17 | 19 | 4 | 6 | 20 | 4 | 330
Pasteuriser | 0 | 9 | 0 | 0 | 1 | 6 | 10 | 14 | 8 | 2 | 0 | 3 | 10 | 6 | 4 | 8 | 0 | 0 | 11 | 4 | 1 | 2 | 3 | 0 | 0 | 25 | 0 | 0 | 7 | 10 | 0 | 144
Boiler Supply | 0 | 15 | 4 | 0 | 13 | 16 | 26 | 22 | 16 | 5 | 5 | 18 | 92 | 0 | 29 | 13 | 4 | 0 | 16 | 19 | 21 | 18 | 19 | 4 | 2 | 23 | 24 | 14 | 8 | 16 | 4 | 466
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 0 | 257 | 209 | 56 | 258 | 412 | 379 | 345 | 350 | 130 | 145 | 188 | 377 | 277 | 265 | 297 | 91 | 0 | 308 | 316 | 420 | 332 | 303 | 92 | 18 | 346 | 311 | 217 | 56 | 272 | 148 | 7175
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  | 10.6313 |  |  | 7.3338 | 4.4082 | 3.8725 | 3.803 | 3.2364 |  |  | 0.38825 | 10.3635 | 47.1624 | 15.0812 | 11.8343 |  |  | 3.6513 | 2.5997 | 4.814 | 11.7233 | 5.1196 |  |  | 5.6727 | 5.7746 |  | 0 | 1.5163 | 44.8118 | 5.8843 | 3.2 | -2.6843
Spent Grains/Wash-down Areas | [31 empty] | 0.12356 | 0.1 | -0.02356
Whirlpool |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.1 | 0.1
Cellars/Filtration |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 1
CIP Process |  | 3.8242 |  |  | 1.6963 | 1.2941 | 1.1915 | 1.5987 | 1.4063 |  |  | 0.83474 | 2.4895 | 8.3084 | 5.8245 | 3.0215 |  |  | 1.1213 | 0.54838 | 0.7529 | 1.5842 | 0.97367 |  |  | 1.0775 | 1.5779 |  | 0.45013 | 0.41698 | 0 | 1.4731 | 0.7 | -0.77309
Bottles Washer |  | 2.6005 |  |  | 2.4446 | 1.6581 | 1.8086 | 1.6956 | 1.2715 |  |  | 1.5918 | 2.0264 | 7.5753 | 2.3922 | 2.0144 |  |  | 2.9038 | 2.3154 | 2.9888 | 5.5131 | 2.4813 |  |  | 2.155 | 1.6451 |  | 2.7008 | 2.3502 | 1.4692 | 2.5242 | 2.1 | -0.42416
Bottle Filler |  | 0.76484 |  |  | 0.69846 | 0.52574 | 0.42554 | 0.38757 | 0.36603 |  |  | 0.42708 | 1.0421 | 3.1767 | 0.83206 | 0.50359 |  |  | 0.40251 | 0.48745 | 0.52475 | 0.95053 | 0.25127 |  |  | 0.53875 | 0.63789 |  | 0.54016 | 0.37907 | 2.9385 | 0.52954 | 0.7 | 0.17046
Pasteuriser |  | 0.68836 |  |  | 0.04989 | 0.12133 | 0.21277 | 0.33912 | 0.15412 |  |  | 0.058238 | 0.57897 | 1.4662 | 0.41603 | 0.50359 |  |  | 0.31626 | 0.081241 | 0.022815 | 0.12674 | 0.094226 |  |  | 0.79228 | 0 |  | 0.63019 | 0.18954 | 0 | 0.23107 | 0.1 | -0.13107
Boiler Supply |  | 1.1473 |  |  | 0.64857 | 0.32353 | 0.55321 | 0.53291 | 0.30823 |  |  | 0.34943 | 5.3265 | 0 | 3.0162 | 0.81833 |  |  | 0.46001 | 0.3859 | 0.47912 | 1.1406 | 0.59676 |  |  | 0.7289 | 0.80575 |  | 0.72021 | 0.30326 | 2.9385 | 0.74778 | 0.6 | -0.14778
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 19.6564 | 0 | 0 | 12.8716 | 8.331 | 8.0641 | 8.357 | 6.7426 | 0 | 0 | 3.6496 | 21.827 | 67.6891 | 27.5621 | 18.6958 | 0 | 0 | 8.8552 | 6.4181 | 9.5823 | 21.0385 | 9.5168 | 0 | 0 | 10.9651 | 10.4412 | 0 | 5.0415 | 5.1554 | 52.1579 | 11.5136 | 9.6 | -1.9136
Bottling Hall water | 0 | 4.0537 | 0 | 0 | 3.1929 | 2.3052 | 2.4469 | 2.4223 | 1.7916 | 0 | 0 | 2.0771 | 3.6475 | 12.2182 | 3.6403 | 3.0215 | 0 | 0 | 3.6226 | 2.8841 | 3.5363 | 6.5904 | 2.8268 | 0 | 0 | 3.486 | 2.283 | 0 | 3.8712 | 2.9189 | 4.4077 | 3.2848 | 2.9 | -0.38477
Water Plant Total (Before Sand Filter) | 14 | 72 | 209 | 114 | 216 | 101 | 47 | 253 | 217 | 0 | 169 | 213 | 119 | 42 | 210 | 242 | 101 | 116 | 133 | 129 | 181 | 226 | 100 | 258 | 19 | 221 | 124 | 120 | 82 | 276 | 142 | 4466
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 0 | 1400 | 0 | 0 | 2800 | 2400 | 2500 | 2500 | 2400 | 0 | 0 | 2500 | 1600 | 1600 | 900 | 800 | 0 | 1800 | 1000 | 4000 | 2500 | 1600 | 2400 | 0 | 0 | 900 | 700 | 0 | 900 | 2900 | 0 | 40100
0
CO2 (kg.) (Filler) | 0 | 21.83 | 0 | 0 | 43.34 | 39.91 | 63.44 | 51.23 | 53.41 | 0 | 0 | 54.23 | 22.6 | 25.53 | 33.57 | 26.66 | 0 | 0 | 45.45 | 53.67 | 47.98 | 21.34 | 33.87 | 0 | 0 | 51.36 | 42.7 | 0 | 17.53 | 55.39 | 0 | 805.04
0
CO2 (kg.)Consumption Meter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 51 | 95 | 0 | 110 | 44 | 0 | 0 | 0 | 0 | 116 | 0 | 416 | 0
Electricity (Kwh.) | 5240 | 7059 | 6107 | 5066 | 8402 | 8854 | 9441 | 9143 | 9071 | 5692 | 5193 | 8135 | 8189 | 7842 | 7782 | 7568 | 6105 | 5321 | 8032 | 8653 | 9275 | 8735 | 7801 | 6034 | 5265 | 8663 | 8460 | 6553 | 6860 | 8415 | 5638 | 228594
Fuel (L) | 650 | 2080 | 1610 | 860 | 2430 | 3040 | 3160 | 3190 | 2620 | 1200 | 1260 | 2420 | 3130 | 2830 | 2740 | 2440 | 590 | 330 | 3220 | 3030 | 3380 | 2790 | 3020 | 300 | 780 | 3250 | 3080 | 2040 | 1580 | 3070 | 270 | 66390
Steam Mass Flow | 0 | 0 | 0 | 0 | 26.824 | 0 | 0 | 0 | 0 | 0 | 1650.437 | 16542.845 | 268.716 | 17.601 | 48.605 | 0 | 0 | 0 | 373.107 | 0 | 3.946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100.723 | 15.867 | 0 | 19048.671
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  | MTD | Target | Diff | %
Total water consumption |  | 16.5971 |  |  | 12.0733 | 8.0277 | 9.4258 | 5.8862 | 10.345 |  |  | 4.5814 | 22.5217 | 65.9785 | 26.7301 | 14.4152 |  |  | 6.1814 | 7.1696 | 7.7571 | 19.8978 | 6.5644 |  |  | 8.8101 | 20.211 |  | 6.9321 | 4.5299 | 116.0698 | 12.0415 | 10.2 | -1.8415 | 118.0538
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  | 10.7078 |  |  | 13.9691 | 4.853 | 5.3193 | 6.0558 | 4.6235 |  |  | 4.8531 | 9.2634 | 39.0984 | 9.3607 | 5.0359 |  |  | 2.8751 | 8.1241 | 5.7038 | 10.139 | 7.5381 |  |  | 2.8522 | 2.3501 |  | 8.1024 | 5.4965 | 0 | 6.4348 | 5 | -1.4348 | 128.695
CO2 Filler (kg./Hl.) KPI |  | 0.16696 |  |  | 0.21622 | 0.080702 | 0.13498 | 0.12409 | 0.10289 |  |  | 0.10527 | 0.13085 | 0.62386 | 0.34916 | 0.16782 |  |  | 0.13067 | 0.10901 | 0.10947 | 0.13523 | 0.10638 |  |  | 0.16277 | 0.14336 |  | 0.15782 | 0.10498 | 0 | 0.12918 | 1.7 | 1.5708 | 7.599
Electricity (Kwh./Hl.) KPI |  | 53.9902 |  |  | 41.9174 | 17.9036 | 20.0878 | 22.1471 | 17.4748 |  |  | 15.7921 | 47.4114 | 191.631 | 80.9391 | 47.6396 |  |  | 23.0924 | 17.5745 | 21.161 | 55.3528 | 24.5019 |  |  | 27.454 | 28.4028 |  | 61.7584 | 15.9495 | 414.1781 | 36.6819 | 22 | -14.6819 | 166.7361
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  | 15.9087 |  |  | 12.1232 | 6.1472 | 6.7236 | 7.7272 | 5.0473 |  |  | 4.6978 | 18.1216 | 69.1553 | 28.4982 | 15.3595 |  |  | 9.2577 | 6.154 | 7.7115 | 17.6799 | 9.4854 |  |  | 10.2996 | 10.3405 |  | 14.2242 | 5.8188 | 19.8347 | 10.6534 | 7.2 | -3.4534 | 147.9645
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | Thu: #REF!; Fri: #REF! | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | Thu: _; Fri: 72; Tue: _; Wed: _; Sat: _ | 72
| 5240 |  | 6107 | 5066 | 8402 | 8854 | 9441 | 9143 | 9071 | 5692 | 5193 | 8135 | 8189 | 7842 | 7782 | 7568 | 6105 | 5321 | 8032 | 8653 | 9275 | 8735 | 7801 | 6034 | 5265 | 8663 | 8460 | 6553 | 6860 | 8415 | 5638 | 228594
7059
Note on AC6: Reshelle Fleming: Breakdown on the Labeller
Note on B7: Reshelle Fleming: Public Holiday
Note on AD12: Reshelle Fleming: No Tank Space. Breakdown on the labeller from the 28th to 29th
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 4200 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on C74: Delano Pasea: Tank A 4200 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on D74: Delano Pasea: Tank A 2800 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on E74: Delano Pasea: Tank A 2800 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on F74: Delano Pasea: Tank A 2800 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on G74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx.0 kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000 Kgs Mobile approx.0 kgs
Note on I74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 Kgs Mobile approx.0 kgs
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000 Kgs Mobile approx.0 kgs
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600 Kgs Mobile approx.0 kgs
Note on M74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 12600 Kgs Mobile approx.19100 kgs adjusted from 20800. mobile can only hold max 19100
Note on N74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 10100 Kgs Mobile approx.19100 kgs
Note on O74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 8500 Kgs Mobile approx.19100 kgs
Note on P74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6900 Kgs Mobile approx.19100 kgs
Note on Q74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 6000 Kgs Mobile approx.19100 kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs Mobile approx.19100 kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 5200 Kgs Mobile approx.19100 kgs adjusted from 20800 mobile can hold max. 19100
Note on T74: Delano Pasea: Tank A 5000 kgs Tank B 0 kgs Tank C 17500 (12300+5200) Kgs Mobile approx.0 kgs
Note on U74: Delano Pasea: Tank A 4000 kgs Tank B 0 kgs Tank C 17500 (12300+5200) Kgs Mobile approx.0 kgs
Note on V74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500 (12300+5200) Kgs Mobile approx.0 kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000 Kgs Mobile approx.0 kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx.18400kgs
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11000 Kgs Mobile approx.19100 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11000 Kgs Mobile approx.18400 kgs
Note on AB74: Delano Pasea: Tank A 0 kgs filled to 11400 Tank B 0 kgs filled to 2800 Tank C 10100 - 1600 added Kgs Mobile approx.0 kgs
Note on AC74: Delano Pasea: Tank A 11400 kgs Tank B 2100 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on AD74: Delano Pasea: Tank A 11400 kgs Tank B 2100 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on AE74: Delano Pasea: Tank A 11400 kgs Tank B 1200 kgs Tank C 11800 Kgs Mobile approx.0 kgs
Note on AF74: Delano Pasea: Tank A 9700 kgs Tank B 0kgs Tank C 11800 Kgs Mobile approx.0 kgs

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR MAY 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 177732 | 137 | 123 | 32187 | 1294170 | 14 | 97122 | 0 | 1294170 | -1294170 | -1294170 | 0 | 0 | 274 |  |  | #DIV/0!
2 | 177869 | 116 | 44 | 0 | 1294184 | 72 | 97122 | 0 | 0 | 0 | 0 | 0 | 10 | 232 |  |  | #DIV/0!
3 | 177985 | 26 | -183 | 0 | 1294256 | 209 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 52 |  |  | #DIV/0!
4 | 178011 | 12 | -102 | 0 | 1294465 | 114 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 24 |  |  | #DIV/0!
5 | 178023 | 85 | -131 | 0 | 1294579 | 216 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 170 |  |  | #DIV/0!
6 | 178108 | 273 | 172 | 0 | 1294795 | 101 | 97122 | 0 | 0 | 20780 | 20780 | 0 | 26 | 546 |  |  | #DIV/0!
7 | 178381 | 378 | 331 | 0 | 1294896 | 47 | 97122 | 0 | 20780 | -20780 | -20780 | 0 | 20 | 756 |  |  | #DIV/0!
8 | 178759 | 2 | -251 | 0 | 1294943 | 253 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 4 |  |  | #DIV/0!
9 | 178761 | 332 | 115 | 0 | 1295196 | 217 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 664 |  |  | #DIV/0!
10 | 179093 | 5 | 5 | 0 | 1295413 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 10 |  |  | #DIV/0!
11 | 179098 | 0 | -169 | 0 | 1295413 | 169 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 179098 | 33 | -180 | 0 | 1295582 | 213 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 66 |  |  | #DIV/0!
13 | 179131 | 265 | 146 | 0 | 1295795 | 119 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 530 |  |  | #DIV/0!
14 | 179396 | 241 | 199 | 0 | 1295914 | 42 | 97122 | 0 | 0 | 0 | 0 | 0 | 13 | 482 |  |  | #DIV/0!
15 | 179637 | 57 | -153 | 0 | 1295956 | 210 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 114 |  |  | #DIV/0!
16 | 179694 | -52 | -294 | 0 | 1296166 | 242 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | -104 |  |  | #DIV/0!
17 | 179642 | 51 | -50 | 0 | 1296408 | 101 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 102 |  |  | #DIV/0!
18 | 179693 | 0 | -116 | 0 | 1296509 | 116 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 179693 | 88 | -45 | 0 | 1296625 | 133 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 176 |  |  | #DIV/0!
20 | 179781 | 231 | 102 | 0 | 1296758 | 129 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 462 |  |  | #DIV/0!
21 | 180012 | 168 | -13 | 0 | 1296887 | 181 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 336 |  |  | #DIV/0!
22 | 180180 | 140 | -86 | 0 | 1297068 | 226 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 280 |  |  | #DIV/0!
23 | 180320 | 71 | -29 | 0 | 1297294 | 100 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 142 |  |  | #DIV/0!
24 | 180391 | 0 | -258 | 0 | 1297394 | 258 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
25 | 180391 | 0 | -19 | 0 | 1297652 | 19 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
26 | 180391 | 69 | -152 | 0 | 1297671 | 221 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 138 |  |  | #DIV/0!
27 | 180460 | 484 | 360 | 0 | 1297892 | 124 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 968 |  |  | #DIV/0!
28 | 180944 | -201 | -321 | 0 | 1298016 | 120 | 97122 | 0 | 0 | 0 | 0 | 0 | 4 | -402 |  |  | #DIV/0!
| 180743 |  | 0 |  | 1298136 |  | 97122
Total |  | 3011 | -955 |  |  | 3966 |  | 0 | 1314950 | -1294170 | -1294170 | 0 | 300 | 6022 | 0 | 0 | #DIV/0!