## Entries November'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (FILTRATION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 7757140 |  |  | 64 | 6321.9 | 68225 |  | 250949 | 758148 | 468000 | 2762.8 | 152717.86 | 24152.66 | 202043 | 42122 | 929647 |  | 62984 |  | 21584 | 1320561 |  | 39028 | 45266 | 9949 | 97122 |  | 1715 | 260868 | [5 empty] | 7315747.721
2 | 7757140 |  |  | 64 | 6321.9 | 68225 |  | 253683 | 760644 | 468000 | 2762.8 | 152717.86 | 24152.66 | 202043 | 42122 | 929684 |  | 62984 |  | 21587 | 1320561 |  | 39028 | 45266 | 9950 | 97122 |  | 1715 | 260868 | [5 empty] | 7315747.721
3 | 7757850 |  |  | 64 | 6325.6 | 68225 |  | 256235 | 762989 | 468000 | 2762.8 | 152717.86 | 24152.66 | 202135 | 42211 | 929750 |  | 62984 |  | 21587 | 1320654 |  | 39028 | 45320 | 9958 | 97122 |  | 1720 | 260868 | [5 empty] | 7315747.721
4 | 7761320 |  |  | 64 | 6347 | 68225 |  | 260229 | 766655 | 468000 | 2897 | 154284.16 | 24417.84 | 202297 | 42334 | 929984 |  | 63115 |  | 21607 | 1320783 |  | 39058 | 45413 | 9993 | 97122 |  | 1742 | 260877 | [5 empty] | 7315773.284
5 | 7765060 |  |  | 64 | 6368.8 | 68225 |  | 265248 | 771277 | 468000 | 3146.25 | 157268.77 | 24911.66 | 202668 | 42451 | 930274 |  | 63305 |  | 21626 | 1320906 |  | 39109 | 45543 | 10023 | 97122 |  | 1773 | 260955 | [5 empty] | 7315773.284
6 | 7768610 |  |  | 64 | 6390.6 | 68225 |  | 270145 | 775785 | 468000 | 3453.5 | 159936.36 | 25365.5 | 202978 | 42601 | 930550 |  | 63499 |  | 21645 | 1321064 |  | 39167 | 45654 | 10052 | 97122 |  | 1803 | 260958 | [5 empty] | 7315773.284
7 | 7772000 |  |  | 64 | 6411.5 | 68225 |  | 274980 | 780228 | 468000 | 3695.5 | 162506.34 | 25783.21 | 203187 | 42810 | 930826 |  | 63669 |  | 21668 | 1321282 |  | 39207 | 45755 | 10080 | 97122 |  | 1832 | 260972 | [5 empty] | 7315773.284
8 | 7775310 |  |  | 64 | 6433.5 | 68225 |  | 279750 | 784610 | 468000 | 3769.44 | 164407.14 | 26104.9 | 203634 | 42810 | 931099 |  | 63853 |  | 21684 | 1321283 |  | 39284 | 45841 | 10104 | 97122 |  | 1852 | 261037 | [5 empty] | 7315773.284
9 | 7776320 |  |  | 64 | 6443 | 68225 |  | 282713 | 787323 | 468000 | 3769.44 | 164409.05 | 26110.43 | 203637 | 42878 | 931185 |  | 63963 |  | 21684 | 1321355 |  | 39284 | 45888 | 10109 | 97122 |  | 1863 | 261037 | [5 empty] | 7315773.284
10 | 7776540 |  |  | 64 | 6444.5 | 68225 |  | 283639 | 788174 | 468000 | 3769.44 | 164409.05 | 26110.43 | 203763 | 42909 | 931196 |  | 63963 |  | 21684 | 1321381 |  | 39285 | 45888 | 10109 | 97122 |  | 1863 | 261037 | [5 empty] | 7315773.284
11 | 7779440 |  |  | 64 | 6461.7 | 68225 |  | 8614 |  | 468000 | 3936.13 | 165643.22 | 26267.04 | 204003 | 42909 | 931414 |  | 64113 |  | 21701 | 1321381 |  | 39372 | 45959 | 10135 | 97122 |  | 1871 | 261044 | [5 empty] | 7315773.284
12 | 7781680 |  |  | 64 | 6477.7 | 68225 |  | 15024 |  | 468000 | 3936.13 | 167046.47 | 26530.55 | 204323 | 42909 | 931602 |  | 64206 |  | 21715 | 1321381 |  | 39405 | 46012 | 10155 | 97122 |  | 1890 | 261054 | [5 empty] | 7315773.284
13 | 7784590 |  |  | 64 | 6494.7 | 68225 |  | 21568 |  | 468000 | 4097.03 | 168791.41 | 26796.7 | 204634 | 42909 | 931806 |  | 64331 |  | 21723 | 1321381 |  | 39463 | 46086 | 10167 | 97122 |  | 1910 | 261108 | [5 empty] | 7315773.284
14 | 7786640 |  |  | 64 | 6510.7 | 68225 |  | 27979 |  | 468000 | 4264.3 | 170386 | 26996.54 | 205091 | 42909 | 932023 |  | 64448 |  | 21728 | 1321381 |  | 39483 | 46188 | 10180 | 97122 |  | 1925 | 261168 | [5 empty] | 7315980.438
15 | 7788650 |  |  | 64 | 6525.8 | 68225 |  | 33147 |  | 468000 | 4310.12 | 171228.48 | 27185.35 | 205335 | 42984 | 932212 |  | 64519 |  | 21743 | 1321460 |  | 39518 | 46271 | 10190 | 97122 |  | 1939 | 261168 | [5 empty] | 7315980.438
16 | 7790150 |  |  | 64 | 6541.1 | 68225 |  | 37720 |  | 468000 | 4310.12 | 171228.48 | 27185.35 | 205404 | 43049 | 932297 |  | 64670 |  | 21756 | 1321528 |  | 39524 | 46298 | 10195 | 97122 |  | 1939 | 261168 | [5 empty] | 7315980.438
17 | 7790890 |  |  | 64 | 6546.2 | 68225 |  | 41351 |  | 468000 | 4310.12 | 171228.48 | 27185.35 | 205404 | 43049 | 932337 |  | 64670 |  | 21756 | 1321528 |  | 39525 | 46298 | 10197 | 97122 |  | 1939 | 261168 | [5 empty] | 7315980.438
18 | 7792220 |  |  | 64 | 6555.8 | 68225 |  | 46012 |  | 468000 | 4384.39 | 172175.83 | 27399.16 | 205420 | 43195 | 932465 |  | 64672 |  | 21759 | 1321682 |  | 39534 | 46386 | 10208 | 97122 |  | 1953 | 261168 | [5 empty] | 7315980.438
19 | 7795210 |  |  | 64 | 6574.8 | 68225 |  | 52711 |  | 468000 | 4536.09 | 174613.66 | 27824.77 | 205651 | 43288 | 932774 |  | 64763 |  | 21777 | 1321780 |  | 39580 | 46551 | 10227 | 97122 |  | 1975 | 261168 | [5 empty] | 7315980.438
20 | 7798340 |  |  | 64 | 6595.6 | 68225 |  | 60299 |  | 468000 | 4735.49 | 176781 | 28219.75 | 205941 | 43461 | 933048 |  | 64938 |  | 21785 | 1321961 |  | 39600 | 46702 | 10240 | 97122 |  | 2001 | 261221 | [5 empty] | 7315980.438
21 | 7800750 |  |  | 64 | 6612.8 | 68225 |  | 66632 |  | 468000 | 4735.49 | 179388.09 | 28502.34 | 206117 | 43729 | 933304 |  | 64949 |  | 21796 | 1322243 |  | 39672 | 46865 | 10256 | 97122 |  | 2024 | 261265 | [5 empty] | 7315980.438
22 | 7803570 |  |  | 64 | 6631.1 | 68225 |  | 73584 |  | 468000 | 5213.38 | 182307.55 | 29115.42 | 206245 | 43999 | 933706 |  | 65062 |  | 21803 | 1322526 |  | 39737 | 47032 | 10269 | 97122 |  | 2051 | 261265 | [5 empty] | 7315980.438
23 | 7806550 |  |  | 64 | 6652 | 68225 |  | 80194 |  | 468000 | 5411.34 | 184090.68 | 29376.22 | 206368 | 44206 | 933894 |  | 65241 |  | 21818 | 1322943 |  | 39778 | 47106 | 10281 | 97122 |  | 2066 | 261265 | [5 empty] | 7315980.438
24 | 7809250 |  |  | 64 | 6671 | 68225 |  | 86749 |  | 468000 | 5551.95 | 185913.83 | 29724.8 | 206495 | 44408 | 934125 |  | 65322 |  | 21830 | 1322954 |  | 39799 | 47241 | 10294 | 97122 |  | 2084 | 261265 | [5 empty] | 7316023.743
25 | 7811250 |  |  | 64 | 6689.8 | 68225 |  | 92262 |  | 468000 | 5562.8 | 186332.88 | 29764.51 | 206496 | 44548 | 934298 |  | 65452 |  | 21833 | 1323104 |  | 39859 | 47274 | 10303 | 97122 |  | 2088 | 261265 | [5 empty] | 7316023.743
26 | 7814770 |  |  | 64 | 6712.8 | 68225 |  | 100182 |  | 468000 | 5610.13 | 189258.19 | 30128.18 | 206654 | 44765 | 934549 |  | 65648 |  | 21850 | 1323329 |  | 39877 | 47420 | 10326 | 97122 |  | 2109 | 261272 | [5 empty] | 7316023.743
27 | 7817320 |  |  | 64 | 6730.1 | 68225 |  | 107322 |  | 468000 | 5610.13 | 193335.45 | 30580.1 | 206889 | 44945 | 934806 |  | 65735 |  | 21858 | 1323525 |  | 39886 | 47566 | 10356 | 97122 |  | 2137 | 261328 | [5 empty] | 7316023.743
28 | 7820070 |  |  | 64 | 6749.3 | 68225 |  | 113872 |  | 468000 | 5858.56 | 195904.3 | 30933 | 207096 | 45171 | 935056 |  | 65806 |  | 21868 | 1323753 |  | 39913 | 47693 | 10378 | 97122 |  | 2161 | 261383 | [5 empty] | 7316023.743
29 | 7822710 |  |  | 64 | 6768.3 | 68225 |  | 120161 |  | 468000 | 6015.1 | 198973.5 | 31036.25 | 207257 | 45280 | 938299 |  | 65847 |  | 21879 | 1323867 |  | 39969 | 47791 | 10405 | 97122 |  | 2184 | 261383 | [5 empty] | 7316023.743
30 | 7824430 |  |  | 64 | 6781.5 | 68225 |  | 125871 |  | 468000 | 6015.1 | 199070.83 | 31301.52 | 207339 | 45391 | 938348 |  | 65978 |  | 21879 | 1323983 |  | 39995 | 47792 | 10414 | 97122 |  | 2184 | 261383 | [5 empty] | 7316083.74
1 | 7825550 |  |  | 64 | 6790.6 | 68225 |  | 129866 |  | 468000 | 6015.1 | 199070.83 | 31301.52 | 207339 | 45518 | 935429 |  | 66072 |  | 21879 | 1324115 |  | 40013 | 47792 | 10423 | 97122 |  | 2184 | 261383 | [5 empty] | 7316083.74
Note on I15: Alexander Dominguez-Ramon: Last Meter Reading: 9/11/2025 11:00 am 2337 kw-h
Note on J15: Alexander Dominguez-Ramon: Last Meter Reading 9/11/2025 11:00 am

## Utility Analysis November'25
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2734 | 2496 | 5230 |  | 0% | 0 | 5230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2552 | 2345 | 4897 |  | 0% | 0 | 4897 | 1810 | 710 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3994 | 3666 | 7660 |  | 0% | 0 | 7660 | 2850 | 3470 | 1600 | 0 | 0 | 0 | 0 | 305.778 | 25.0509 | 9.3205 | 11.3481 | 5.2326
4 | 5019 | 4622 | 9641 |  | 0% | 0 | 9641 | 4880 | 3740 | 2400 | 0 | 0 | 0 | 0 | 605.22 | 15.9297 | 8.0632 | 6.1796 | 3.9655
5 | 4897 | 4508 | 9405 |  | 0% | 0 | 9405 | 4600 | 3550 | 2500 | 0 | 0 | 0 | 0 | 505.362 | 18.6104 | 9.1024 | 7.0247 | 4.9469
6 | 4835 | 4443 | 9278 |  | 0% | 0 | 9278 | 4180 | 3390 | 2400 | 0 | 0 | 0 | 0 | 430.6248 | 21.5454 | 9.7068 | 7.8723 | 5.5733
7 | 4770 | 4382 | 9152 |  | 0% | 0 | 9152 | 4470 | 3310 | 1700 | 0 | 0 | 0 | 0 | 390.2352 | 23.4525 | 11.4546 | 8.4821 | 4.3563
8 | 2963 | 2713 | 5676 |  | 0% | 0 | 5676 | 710 | 1010 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 3263 | 851 | 4114 | 179.2 | 4.174% | 0 | 4114 | 1570 | 220 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 6277 | 0 | 6277 | 1213.7 | 16.2% | 0 | 6277 | 2400 | 2900 | 1300 | 0 | 0 | 0 | 0 | 176.55 | 35.5537 | 13.5939 | 16.4259 | 7.3634
11 | 6410 | 0 | 6410 | 1114.9 | 14.82% | 0 | 6410 | 3200 | 2240 | 800 | 0 | 0 | 0 | 0 | 212.85 | 30.1151 | 15.0341 | 10.5238 | 3.7585
12 | 6544 | 0 | 6544 | 1425.7 | 17.89% | 0 | 6544 | 3110 | 2910 | 2500 | 0 | 0 | 0 | 0 | 260.172 | 25.1526 | 11.9536 | 11.1849 | 9.609
13 | 6411 | 0 | 6411 | 1478.4 | 18.74% | 0 | 6411 | 4570 | 2050 | 1600 | 0 | 0 | 0 | 0 | 212.19 | 30.2135 | 21.5373 | 9.6612 | 7.5404
14 | 5168 | 0 | 5168 | 1443.4 | 21.83% | 0 | 5168 | 3190 | 2010 | 900 | 0 | 0 | 0 | 0 | 141.57 | 36.5049 | 22.533 | 14.1979 | 6.3573
15 | 4573 | 0 | 4573 | 1227.8 | 21.17% | 0 | 4573 | 1340 | 1500 | 0 | 0 | 0 | 0 | 0 | 9.9825 | 458.1017 | 134.2349 | 150.263 | 0
16 | 3631 | 0 | 3631 | 1420.9 | 28.13% | 0 | 3631 | 0 | 740 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 4661 | 0 | 4661 | 1443.8 | 23.65% | 0 | 4661 | 1620 | 1330 | 800 | 0 | 0 | 0 | 0 | 220.242 | 21.1631 | 7.3555 | 6.0388 | 3.6324
18 | 6699 | 0 | 6699 | 1417.4 | 17.46% | 0 | 6699 | 3240 | 2990 | 2500 | 0 | 0 | 0 | 0 | 412.434 | 16.2426 | 7.8558 | 7.2496 | 6.0616
19 | 7588 | 0 | 7588 | 847.8 | 10.05% | 0 | 7588 | 4630 | 3130 | 2200 | 0 | 0 | 0 | 0 | 390.258 | 19.4435 | 11.8639 | 8.0203 | 5.6373
20 | 6333 | 0 | 6333 | 1221.2 | 16.17% | 0 | 6333 | 4440 | 2410 | 2400 | 0 | 0 | 0 | 0 | 376.002 | 16.843 | 11.8084 | 6.4095 | 6.3829
21 | 6952 | 0 | 6952 | 1151.3 | 14.21% | 0 | 6952 | 3980 | 2820 | 2900 | 0 | 0 | 0 | 0 | 575.85 | 12.0726 | 6.9115 | 4.8971 | 5.036
22 | 6610 | 0 | 6610 | 1256.2 | 15.97% | 0 | 6610 | 3300 | 2980 | 800 | 0 | 0 | 0 | 0 | 250.074 | 26.4322 | 13.1961 | 11.9165 | 3.1991
23 | 6555 | 0 | 6555 | 1287.3 | 16.41% | 0 | 6555 | 3290 | 2700 | 1600 | 0 | 0 | 0 | 0 | 285.648 | 22.9478 | 11.5177 | 9.4522 | 5.6013
24 | 5513 | 0 | 5513 | 1011.8 | 15.51% | 0 | 5513 | 1410 | 2000 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 7920 | 0 | 7920 | 596.5 | 7.004% | 0 | 7920 | 3750 | 3520 | 1700 | 0 | 0 | 0 | 0 | 253.902 | 31.1931 | 14.7695 | 13.8636 | 6.6955
26 | 7140 | 0 | 7140 | 1017 | 12.47% | 0 | 7140 | 4150 | 2550 | 3800 | 0 | 0 | 0 | 0 | 402.204 | 17.7522 | 10.3181 | 6.3401 | 9.4479
27 | 6550 | 0 | 6550 | 1381.3 | 17.42% | 0 | 6550 | 4330 | 2750 | 2000 | 0 | 0 | 0 | 0 | 290.598 | 22.5397 | 14.9003 | 9.4632 | 6.8824
28 | 6289 | 0 | 6289 | 1310.9 | 17.25% | 0 | 6289 | 2700 | 2640 | 2100 | 0 | 0 | 0 | 0 | 391.512 | 16.0634 | 6.8963 | 6.7431 | 5.3638
29 | 5710 | 0 | 5710 | 1185.4 | 17.19% | 0 | 5710 | 1930 | 1720 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 3995 | 0 | 3995 | 1280.3 | 24.27% | 0 | 3995 | 1270 | 1120 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 192582 | 25912.2 | 11.86% | 0 | 192582 | 86920 | 68410 | 45800 | 0 | 0 | 0 | 0 | 7099.2585 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[16 empty] | 27.1271 | 12.2435 | 9.6362 | 6.4514
Note on B18: Alexander Dominguez-Ramon: The 2337 KW-H belong new Smart Meter
Note on E18: Alexander Dominguez-Ramon: First Synchronization Inverter 1 Disconnected (204: String issue)
Note on E20: Alexander Dominguez-Ramon: Rainy Day

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 25.563
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 207.154
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 43.305
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 59.997
30 | 0
31 | 0
336.019

## Fuel
DAILY FUEL CONSUMPTION FOR NOVEMBER 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 710 | 3.7 | 0 | 0 |  |  | 191.8919 | 0 | 0 | 710 | 0 | 0
3 | 3470 | 21.4 | 0 | 0 |  |  | 162.1495 | 0 | 0 | 3470 | 305.778 | 11.3481
4 | 3740 | 21.8 | 0 | 0 |  |  | 171.5596 | 0 | 0 | 3740 | 605.22 | 6.1796
5 | 3550 | 21.8 | 0 | 0 |  |  | 162.844 | 0 | 0 | 3550 | 505.362 | 7.0247
6 | 3390 | 20.9 | 0 | 0 |  |  | 162.201 | 0 | 0 | 3390 | 430.6248 | 7.8723
7 | 3310 | 22 | 0 | 0 |  |  | 150.4545 | 0 | 0 | 3310 | 390.2352 | 8.4821
8 | 1010 | 9.5 | 0 | 0 |  |  | 106.3158 | 0 | 0 | 1010 | 0 | 0
9 | 220 | 1.5 | 0 | 0 |  |  | 146.6667 | 0 | 0 | 220 | 0 | 0
10 | 2900 | 17.2 | 0 | 0 |  |  | 168.6047 | 0 | 0 | 2900 | 176.55 | 16.4259
11 | 2240 | 16 | 0 | 0 |  |  | 140 | 0 | 0 | 2240 | 212.85 | 10.5238
12 | 2910 | 17 | 0 | 0 |  |  | 171.1765 | 0 | 0 | 2910 | 260.172 | 11.1849
13 | 2050 | 16 | 0 | 0 |  |  | 128.125 | 0 | 0 | 2050 | 212.19 | 9.6612
14 | 2010 | 15.1 | 0 | 0 |  |  | 133.1126 | 0 | 0 | 2010 | 141.57 | 14.1979
15 | 1500 | 15.3 | 0 | 0 |  |  | 98.0392 | 0 | 0 | 1500 | 9.9825 | 150.263
16 | 740 | 5.1 | 0 | 0 |  |  | 145.098 | 0 | 0 | 740 | 0 | 0
17 | 1330 | 9.6 | 0 | 0 |  |  | 138.5417 | 0 | 0 | 1330 | 220.242 | 6.0388
18 | 2990 | 19 | 0 | 0 |  |  | 157.3684 | 0 | 0 | 2990 | 412.434 | 7.2496
19 | 3130 | 20.8 | 0 | 0 |  |  | 150.4808 | 0 | 0 | 3130 | 390.258 | 8.0203
20 | 2410 | 17.2 | 0 | 0 |  |  | 140.1163 | 0 | 0 | 2410 | 376.002 | 6.4095
21 | 2820 | 18.3 | 0 | 0 |  |  | 154.0984 | 0 | 0 | 2820 | 575.85 | 4.8971
22 | 2980 | 20.9 | 0 | 0 |  |  | 142.5837 | 0 | 0 | 2980 | 250.074 | 11.9165
23 | 2700 | 19 | 0 | 0 |  |  | 142.1053 | 0 | 0 | 2700 | 285.648 | 9.4522
24 | 2000 | 18.8 | 0 | 0 |  |  | 106.383 | 0 | 0 | 2000 | 0 | 0
25 | 3520 | 23 | 0 | 0 |  |  | 153.0435 | 0 | 0 | 3520 | 253.902 | 13.8636
26 | 2550 | 17.3 | 0 | 0 |  |  | 147.3988 | 0 | 0 | 2550 | 402.204 | 6.3401
27 | 2750 | 19.2 | 0 | 0 |  |  | 143.2292 | 0 | 0 | 2750 | 290.598 | 9.4632
28 | 2640 | 19 | 0 | 0 |  |  | 138.9474 | 0 | 0 | 2640 | 391.512 | 6.7431
29 | 1720 | 13.2 |  | 0 |  |  | 130.303 | 0 | 0 | 1720 | 0 | 0
30 | 1120 | 9.1 |  | 0 |  |  | 123.0769 | 0 | 0 | 1120 | 0 | 0
1 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0
MTD | 68410 | 468.7 | 0 | 0 |  |  | 145.9569 |  |  | 68410 | 7099.2585 | 9.6362 | 7.2 | 133.8364
AVE. | 2358.9655 | 16.1621 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 92 | 89 | 93 | 88 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 5 | 8 | 0 | 880 | 54 | 5 | 0 | 0 | 0 | 0 | 181 | 0 | 0
| 3 | 0 | 162 | 123 | 129 | 156 | 234 | 0 | 131 | 0 | 0 | 20 | 30 | 93 | 22 | 35 | 0 | 1560 | 143 | 22 | 9 | 0 | 0 | 0 | 285 | 305.778 | 9.3205
| 4 | 0 | 371 | 117 | 123 | 365 | 290 | 0 | 190 | 0 | 0 | 19 | 51 | 130 | 31 | 30 | 0 | 3650 | 200 | 31 | 78 | 0 | 0 | 0 | 488 | 605.22 | 8.0632
| 5 | 0 | 310 | 150 | 158 | 302 | 276 | 0 | 194 | 0 | 0 | 19 | 58 | 111 | 30 | 29 | 0 | 3020 | 188 | 30 | 3 | 0 | 0 | 0 | 460 | 505.362 | 9.1024
| 6 | 0 | 209 | 209 | 218 | 200 | 276 | 0 | 170 | 0 | 0 | 23 | 40 | 101 | 29 | 28 | 0 | 2000 | 164 | 29 | 14 | 0 | 0 | 0 | 418 | 430.6248 | 9.7068
| 7 | 0 | 447 | 0 | 1 | 446 | 273 | 0 | 184 | 0 | 0 | 16 | 77 | 86 | 20 | 24 | 0 | 4460 | 179 | 20 | 65 | 0 | 0 | 0 | 447 | 390.2352 | 11.4546
| 8 | 0 | 3 | 68 | 72 | -1 | 86 | 0 | 110 | 0 | 0 | 0 | 0 | 47 | 11 | 5 | 0 | -10 | 47 | 11 | 0 | 0 | 0 | 0 | 71 | 0 | 0
| 9 | 0 | 126 | 31 | 26 | 131 | 11 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1310 | 1 | 0 | 0 | 0 | 0 | 0 | 157 | 0 | 0
| 10 | 0 | 240 | 0 | 0 | 240 | 218 | 0 | 150 | 0 | 0 | 17 | 87 | 71 | 8 | 26 | 0 | 2400 | 175 | 8 | 7 | 0 | 0 | 0 | 240 | 176.55 | 13.5939
| 11 | 0 | 320 | 0 | 0 | 320 | 188 | 0 | 93 | 0 | 0 | 14 | 33 | 53 | 19 | 20 | 0 | 3200 | 100 | 19 | 10 | 0 | 0 | 0 | 320 | 212.85 | 15.0341
| 12 | 0 | 311 | 0 | 0 | 311 | 204 | 0 | 125 | 0 | 0 | 8 | 58 | 74 | 20 | 12 | 0 | 3110 | 140 | 20 | 54 | 0 | 0 | 0 | 311 | 260.172 | 11.9536
| 13 | 0 | 457 | 0 | 0 | 457 | 217 | 0 | 117 | 0 | 0 | 5 | 20 | 102 | 15 | 13 | 0 | 4570 | 127 | 15 | 60 | 0 | 0 | 0 | 457 | 212.19 | 21.5373
| 14 | 0 | 244 | 75 | 79 | 240 | 189 | 0 | 71 | 0 | 0 | 15 | 35 | 83 | 14 | 10 | 0 | 2400 | 133 | 14 | 0 | 0 | 0 | 0 | 319 | 141.57 | 22.533
| 15 | 0 | 69 | 65 | 68 | 66 | 85 | 0 | 151 | 0 | 0 | 13 | 6 | 27 | 0 | 5 | 0 | 660 | 46 | 0 | 0 | 0 | 0 | 0 | 134 | 9.9825 | 134.2349
| 16 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 16 | 146 | 154 | 8 | 128 | 0 | 2 | 0 | 0 | 3 | 9 | 88 | 14 | 11 | 0 | 80 | 100 | 14 | 0 | 0 | 0 | 0 | 162 | 220.242 | 7.3555
| 18 | 0 | 231 | 93 | 98 | 226 | 309 | 0 | 91 | 0 | 0 | 18 | 46 | 165 | 22 | 19 | 0 | 2260 | 229 | 22 | 0 | 0 | 0 | 0 | 324 | 412.434 | 7.8558
| 19 | 0 | 290 | 173 | 181 | 282 | 274 | 0 | 175 | 0 | 0 | 8 | 20 | 151 | 26 | 13 | 0 | 2820 | 179 | 26 | 53 | 0 | 0 | 0 | 463 | 390.258 | 11.8639
| 20 | 0 | 176 | 268 | 282 | 162 | 256 | 0 | 11 | 0 | 0 | 11 | 72 | 163 | 23 | 16 | 0 | 1620 | 246 | 23 | 44 | 0 | 0 | 0 | 444 | 376.002 | 11.8084
| 21 | 0 | 128 | 270 | 283 | 115 | 402 | 0 | 113 | 0 | 0 | 7 | 65 | 167 | 27 | 13 | 0 | 1150 | 239 | 27 | 0 | 0 | 0 | 0 | 398 | 575.85 | 6.9115
| 22 | 0 | 123 | 207 | 417 | -87 | 188 | 0 | 179 | 0 | 0 | 15 | 41 | 74 | 15 | 12 | 0 | -870 | 130 | 15 | 0 | 0 | 0 | 0 | 330 | 250.074 | 13.1961
| 23 | 0 | 127 | 202 | 11 | 318 | 231 | 0 | 81 | 0 | 0 | 12 | 21 | 135 | 18 | 13 | 0 | 3180 | 168 | 18 | 0 | 0 | 0 | 0 | 329 | 285.648 | 11.5177
| 24 | 0 | 1 | 140 | 150 | -9 | 173 | 0 | 130 | 0 | 0 | 3 | 60 | 33 | 4 | 9 | 0 | -90 | 96 | 4 | 0 | 0 | 0 | 0 | 141 | 0 | 0
| 25 | 0 | 158 | 217 | 225 | 150 | 251 | 0 | 196 | 0 | 0 | 17 | 18 | 146 | 21 | 23 | 0 | 1500 | 181 | 21 | 7 | 0 | 0 | 0 | 375 | 253.902 | 14.7695
| 26 | 0 | 235 | 180 | 196 | 219 | 257 | 0 | 87 | 0 | 0 | 8 | 9 | 146 | 28 | 30 | 0 | 2190 | 163 | 28 | 56 | 0 | 0 | 0 | 415 | 402.204 | 10.3181
| 27 | 0 | 207 | 226 | 228 | 205 | 250 | 0 | 71 | 0 | 0 | 10 | 27 | 127 | 24 | 22 | 0 | 2050 | 164 | 24 | 55 | 0 | 0 | 0 | 433 | 290.598 | 14.9003
| 28 | 0 | 161 | 109 | 114 | 156 | 3243 | 0 | 41 | 0 | 0 | 11 | 56 | 98 | 23 | 27 | 0 | 1560 | 165 | 23 | 0 | 0 | 0 | 0 | 270 | 391.512 | 6.8963
| 29 | 0 | 82 | 111 | 116 | 77 | 49 | 0 | 131 | 0 | 0 | 0 | 26 | 1 | 0 | 9 | 0 | 770 | 27 | 0 | 0 | 0 | 0 | 0 | 193 | 0 | 0
| 30 | 0 | 0 | 127 | 132 | -5 | 0 | 0 | 94 | 0 | 0 | 0 | 18 | 0 | 0 | 9 | 0 | -50 | 18 | 0 | 0 | 0 | 0 | 0 | 127 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 5296 | 3396 | 3554 | 5138 | 8701 |  | 3088 |  | 0 | 295 | 985 | 2526 | 469 | 474 | 0 | 51380 | 3806 | 469 | 515 |  |  |  | 8692 | 7099.2585 | 12.2435 | 10.2 | 120.0346
| Gals. |  | 1165120
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 18420.5472
| Add basic charge |  | 278.97
18699.5172
| Proxy sewage charge (2/3) |  | 12466.3448
| Proxy MTD NAWASA cost |  | 31165.862
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.November'25
DAILY ELECTRICITY CONSUMPTION FOR NOVEMBER 2025
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 5230 | 0 | 0 | 5230 | 0 | 0
2 | 4897 | 0 | 0 | 4897 | 0 | 0
3 | 7660 | 0 | 0 | 7660 | 305.778 | 25.0509
4 | 9641 | 0 | 0 | 9641 | 605.22 | 15.9297
5 | 9405 | 0 | 0 | 9405 | 505.362 | 18.6104
6 | 9278 | 0 | 0 | 9278 | 430.6248 | 21.5454
7 | 9152 | 0 | 0 | 9152 | 390.2352 | 23.4525
8 | 5676 | 0 | 0 | 5676 | 0 | 0
9 | 4114 | 0 | 179.2 | 4114 | 0 | 0
10 | 6277 | 0 | 1213.7 | 6277 | 176.55 | 35.5537
11 | 6410 | 0 | 1114.9 | 6410 | 212.85 | 30.1151
12 | 6544 | 0 | 1425.7 | 6544 | 260.172 | 25.1526
13 | 6411 | 0 | 1478.4 | 6411 | 212.19 | 30.2135
14 | 5168 | 0 | 1443.4 | 5168 | 141.57 | 36.5049
15 | 4573 | 0 | 1227.8 | 4573 | 9.9825 | 458.1017
16 | 3631 | 0 | 1420.9 | 3631 | 0 | 0
17 | 4661 | 0 | 1443.8 | 4661 | 220.242 | 21.1631
18 | 6699 | 0 | 1417.4 | 6699 | 412.434 | 16.2426
19 | 7588 | 0 | 847.8 | 7588 | 390.258 | 19.4435
20 | 6333 | 0 | 1221.2 | 6333 | 376.002 | 16.843
21 | 6952 | 0 | 1151.3 | 6952 | 575.85 | 12.0726
22 | 6610 | 0 | 1256.2 | 6610 | 250.074 | 26.4322
23 | 6555 | 0 | 1287.3 | 6555 | 285.648 | 22.9478
24 | 5513 | 0 | 1011.8 | 5513 | 0 | 0
25 | 7920 | 0 | 596.5 | 7920 | 253.902 | 31.1931
26 | 7140 | 0 | 1017 | 7140 | 402.204 | 17.7522
27 | 6550 | 0 | 1381.3 | 6550 | 290.598 | 22.5397
28 | 6289 | 0 | 1310.9 | 6289 | 391.512 | 16.0634
29 | 5710 | 0 | 1185.4 | 5710 | 0 | 0
30 | 3995 | 0 | 1280.3 | 3995 | 0 | 0
| 0 |  |  | 0 |  |  |  | %
MTD | 192582 | 0 | 25912.2 | 192582 | 7099.2585 | 27.1271 | 22 | 123.3048
TARGET

## PROD.FIG.
PRODUCTION FOR NOVEMBER 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Saturday | 1 | [5 empty] | 0
Sunday | 2 | [5 empty] | 0
Monday | 3 | [5 empty] | 305.778
Tuesday | 4 | [5 empty] | 605.22
Wednesday | 5 | [5 empty] | 505.362
Thursday | 6 | [5 empty] | 430.6248
Friday | 7 | [5 empty] | 390.2352
Saturday | 8 | [5 empty] | 0
Sunday | 9 | [5 empty] | 0
Monday | 10 | [5 empty] | 176.55
Tuesday | 11 | [5 empty] | 212.85
Wednesday | 12 | [5 empty] | 260.172
Thursday | 13 | [5 empty] | 212.19
Friday | 14 | [5 empty] | 141.57
Saturday | 15 | [5 empty] | 9.9825
Sunday | 16 | [5 empty] | 0
Monday | 17 | [5 empty] | 220.242
Tuesday | 18 | [5 empty] | 412.434
Wednesday | 19 | [5 empty] | 390.258
Thursday | 20 | [5 empty] | 376.002
Friday | 21 | [5 empty] | 575.85
Saturday | 22 | [5 empty] | 250.074
Sunday | 23 | [5 empty] | 285.648
Monday | 24 | [5 empty] | 0
Tuesday | 25 | [5 empty] | 253.902
Wednesday | 26 | [5 empty] | 402.204
Thursday | 27 | [5 empty] | 290.598
Friday | 28 | [5 empty] | 391.512
Saturday | 29 | [5 empty] | 0
Sunday | 30 | [5 empty] | 0
0
[6 empty] | TOTAL | 7099.2585
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for NOVEMBER 2025 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 35 | 5243.5 | 2378.4112 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30 | 4344 | 1970.4049 |  |  |  | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 265.18 | 134.2 | 1566.3 | 1600 | 305.778 | 5.2326 |  | 40 | 6143 | 2786.4175 |  |  |  | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 493.82 | 249.25 | 2984.61 | 2400 | 605.22 | 3.9655 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 453.84 | 307.25 | 2667.59 | 2500 | 505.362 | 4.9469 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 417.71 | 242 | 2569.98 | 2400 | 430.6248 | 5.5733 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 321.69 | 73.94 | 1900.8 | 1700 | 390.2352 | 4.3563 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 5.53 | 0 | 1.91 | 0 | 0 | 0 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 1800 | 0 | 0 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 156.61 | 166.69 | 1234.17 | 1300 | 176.55 | 7.3634 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 263.51 | 0 | 1403.25 | 800 | 212.85 | 3.7585 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 266.15 | 160.9 | 1744.94 | 2500 | 260.172 | 9.609 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 199.84 | 167.27 | 1594.59 | 1600 | 212.19 | 7.5404 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 188.81 | 45.82 | 842.48 | 900 | 141.57 | 6.3573 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 9.9825 | 0 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 1800 | 0 | 0 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 213.81 | 74.27 | 947.35 | 800 | 220.242 | 3.6324 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 425.61 | 151.7 | 2437.83 | 2500 | 412.434 | 6.0616 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 394.98 | 199.4 | 2167.34 | 2200 | 390.258 | 5.6373 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 282.59 | 0 | 2607.09 | 2400 | 376.002 | 6.3829 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 613.08 | 477.89 | 2919.46 | 2900 | 575.85 | 5.036 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 260.8 | 197.96 | 1783.13 | 800 | 250.074 | 3.1991 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 348.58 | 140.61 | 1823.15 | 1600 | 285.648 | 5.6013 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 39.71 | 10.85 | 419.05 | 800 | 0 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 363.67 | 47.33 | 2925.31 | 1700 | 253.902 | 6.6955 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 451.92 | 0 | 4077.26 | 3800 | 402.204 | 9.4479 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 352.9 | 248.43 | 2568.85 | 2000 | 290.598 | 6.8824 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 103.25 | 156.54 | 3069.2 | 2100 | 391.512 | 5.3638 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 265.27 | 0 | 97.33 | 600 | 0 | 0 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 300 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 7148.86 | 3252.3 | 46352.97 | 45800 | 7099.2585 | 6.4514 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-11-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Total |  | Diff.
Cases Produced |  | 0 | 4633 | 9170 | 7657 | 6334 | 5709 | 0 | 0 | 2675 | 3225 | 3942 | 3215 | 2145 | 151.25 | 0 | 3337 | 6249 | 5913 | 5697 | 8725 | 3789 | 4328 | 0 | 3847 | 6094 | 4403 | 5932 |  |  | 0 | 107170.25 | 96325 | 10845.25
HL produced | 0 | 0 | 305.778 | 605.22 | 505.362 | 430.6248 | 390.2352 | 0 | 0 | 176.55 | 212.85 | 260.172 | 212.19 | 141.57 | 9.9825 | 0 | 220.242 | 412.434 | 390.258 | 376.002 | 575.85 | 250.074 | 285.648 | 0 | 253.902 | 402.204 | 290.598 | 391.512 |  |  | 0 | 7099.2585
Product Type | 0 | 0 | CB/GN | CB | CB/SM/ST | ST/VM | 0 | 0 | 0 | GU | CB | CB | CB | CB | KEGS | 0 | CB | CB/ST | ST/Rose | CBRose/GN | GN/CB | CB | CB | 0 |  | CB/ Pearsecco | CBe P./Rose | CBeRose/ST |  |  | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 92 | 162 | 371 | 310 | 209 | 447 | 3 | 126 | 240 | 320 | 311 | 457 | 244 | 69 | 0 | 16 | 231 | 290 | 176 | 128 | 123 | 127 | 1 | 158 | 235 | 207 | 161 | 158 | 235 | 207 | 5814
Annanale Supply | 0 | 89 | 123 | 117 | 150 | 209 | 0 | 68 | 31 | 0 | 0 | 0 | 0 | 75 | 65 | 0 | 146 | 93 | 173 | 268 | 270 | 207 | 202 | 140 | 217 | 180 | 226 | 109 | 217 | 180 | 226 | 3781
Total Water Supply | 0 | 181 | 285 | 488 | 460 | 418 | 447 | 71 | 157 | 240 | 320 | 311 | 457 | 319 | 134 | 0 | 162 | 324 | 463 | 444 | 398 | 330 | 329 | 141 | 375 | 415 | 433 | 270 | 375 | 415 | 433 | 9595
0
Theoretical permeate | 0 | 67.89 | 94.17 | 89.79 | 115.34 | 159.14 | 0.73 | 52.56 | 18.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 132.13 | 205.86 | 206.59 | 304.41 | 8.03 | 109.5 | 164.25 | 164.25 | 164.25 | 164.25 | 164.25 | 164.25 | 84.68 | 2635.3 | 12394 |  | 17.4582
270.83
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 56 | 55 | 118
Service Water Plant Supply | 37 | 66 | 234 | 290 | 276 | 276 | 273 | 86 | 11 | 218 | 188 | 204 | 217 | 189 | 85 | 40 | 128 | 309 | 274 | 256 | 402 | 188 | 231 | 173 | 251 | 257 | 250 | 3243 | 0 | 0 | 0 | 8652
Water consumption | 37 | 66 | 234 | 290 | 276 | 276 | 273 | 86 | 11 | 218 | 188 | 204 | 217 | 189 | 85 | 40 | 128 | 309 | 274 | 256 | 402 | 188 | 231 | 173 | 251 | 257 | 250 | 3243 | 7 | 56 | 55 | 8770
|  |  | 7.6526 | 4.7916 | 5.4614 | 6.4093 | 6.9958 |  |  | 12.3478 | 8.8325 | 7.841 | 10.2267 | 13.3503 | 85.149 |  | 5.8118 | 7.4921 | 7.021 | 6.8085 | 6.981 | 7.5178 | 8.0869 |  | 9.8857 | 6.3898 | 8.6029 | 82.8327
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 0 | 131 | 190 | 194 | 170 | 184 | 110 | 0 | 150 | 93 | 125 | 117 | 71 | 151 | 0 | 2 | 91 | 175 | 11 | 113 | 179 | 81 | 130 | 196 | 87 | 71 | 41 | 196 | 87 | 71 | 3217
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.7695 | 10.3181 | 14.9003 | 39.9879
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 20 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 28 | 24 | 99
CIP Process | 0 | 0 | 30 | 51 | 58 | 40 | 77 | 0 | 1 | 87 | 33 | 58 | 20 | 20 | 20 | 1 | 1 | 1 | 20 | 72 | 65 | 41 | 21 | 60 | 18 | 9 | 27 | 56 | 18 | 9 | 27 | 941 |  |  | 15588.1818
Bottles Washer | 0 | 54 | 93 | 130 | 111 | 101 | 86 | 47 | 0 | 71 | 53 | 74 | 102 | 102 | 102 | 102 | 102 | 102 | 151 | 163 | 167 | 74 | 135 | 33 | 146 | 146 | 127 | 98 | 146 | 146 | 127 | 3091
Bottle Filler | 0 | 5 | 22 | 31 | 30 | 29 | 20 | 11 | 0 | 8 | 19 | 20 | 15 | 14 | 0 | 0 | 14 | 22 | 26 | 23 | 27 | 15 | 18 | 4 | 21 | 28 | 24 | 23 | 21 | 28 | 24 | 542
Pasteuriser | 3 | 0 | 20 | 19 | 19 | 23 | 16 | 0 | 0 | 17 | 14 | 8 | 5 | 15 | 13 | 0 | 3 | 18 | 8 | 11 | 7 | 15 | 12 | 3 | 17 | 8 | 10 | 11 | 17 | 8 | 10 | 330
Boiler Supply | 1 | 8 | 35 | 30 | 29 | 28 | 24 | 5 | 0 | 26 | 20 | 12 | 13 | 13 | 5 | 2 | 2 | 19 | 13 | 16 | 13 | 12 | 13 | 9 | 23 | 30 | 22 | 27 | 23 | 30 | 22 | 525
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 8 | 10 | 185
Personnel Consumption
Total water consumption (M3) | 4 | 67 | 331 | 451 | 441 | 391 | 407 | 173 | 1 | 359 | 382 | 297 | 272 | 240 | 311 | 105 | 124 | 254 | 393 | 296 | 392 | 336 | 280 | 239 | 421 | 308 | 281 | 256 | 473.7695 | 354.3181 | 329.9003 | 8969.9879
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 1566.3 | 2984.61 | 2667.59 | 2569.98 | 1900.8 | 1.91 | 0 | 1234.17 | 1403.25 | 1744.94 | 1594.59 | 842.48 | 0 | 0 | 947.35 | 213.81 | 16 | 146 | 231 | 93 | 309 | 0 | 91 | 0 | 18 | 98 | 0 | 46 | 165 | 20884.78
CO2 (kg.) (Filler) | 0 | 0 | 265.18 | 493.82 | 453.84 | 417.71 | 321.69 | 5.53 | 0 | 156.61 | 263.51 | 266.15 | 199.84 | 188.81 | 0 | 0 | 213.81 | 425.61 | 394.98 | 282.59 | 613.08 | 260.8 | 348.58 | 39.71 | 363.67 | 451.92 | 352.9 | 103.25 | 265.27 | 0 | 0 | 7148.86
Electricity (Kwh.) | 5230 | 4897 | 7660 | 9641 | 9405 | 9278 | 9152 | 5676 | 4114 | 6277 | 6410 | 6544 | 6411 | 5168 | 4573 | 3631 | 4661 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 182417
Fuel (L) | 0 | 710 | 3470 | 3740 | 3550 | 3390 | 3310 | 1010 | 220 | 2900 | 2240 | 2910 | 2050 | 2010 | 1500 | 740 | 1330 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 2990 | 76940
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  |  | 9.3205 | 8.0632 | 9.1024 | 9.7068 | 11.4546 |  |  | 13.5939 | 15.0341 | 11.9536 | 21.5373 | 22.533 | 134.2349 |  | 7.3555 | 7.8558 | 11.8639 | 11.8084 | 6.9115 | 13.1961 | 11.5177 |  | 14.7695 | 10.3181 | 14.9003 | 6.8963 |  |  |  | 13.5155 | 10.2 | -3.3155
Days: Consumption detail; Total: MTD | Target | Diff
Brewhouse / Old Pepsi Area |  |  | 4.2842 | 3.1394 | 3.8388 | 3.9478 | 4.7151 |  |  | 8.4962 | 4.3693 | 4.8045 | 5.5139 | 5.0152 | 151.2647 |  | 0.090809 | 2.2064 | 4.4842 | 0.29255 | 1.9623 | 7.1579 | 2.8357 |  | 7.7195 | 2.1631 | 2.4432 | 1.0472 |  |  |  | 4.5315 | 2.5 | -2.0315
Brewhouse (Hls brewed) |  |  | 4.3989 | 4.1233 | 3.7883 | 3.742 | 5.3133 | 4.4971 |  | 3.7323 | 4.6078 | 5.9581 | 2.8446 | 3.7212 | 5.265 |  |  | 3.0122 | 8.2083 |  | 4.4629 | 5.0896 | 2.4317 | 3.2903 | 4.8157 | 8.5799 | 7.0788 |  |  |  |  | 4.968 | 2.5 | -2.468
Spent Grains/Wash-down Areas |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0.056327 | 0.1 | 0.043673
Days: Whirlpool | 0.1 | 0.1
Days: Filtration/Cellars; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Total: 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0.35318 | 20.0351 |  | 0 | 0.024246 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0.13945 | 1 | 0.86055
CIP Process |  |  | 0.9811 | 0.84267 | 1.1477 | 0.92888 | 1.9732 |  |  | 4.9278 | 1.5504 | 2.2293 | 0.94255 | 1.4127 | 20.0351 |  | 0.045405 | 0.024246 | 0.51248 | 1.9149 | 1.1288 | 1.6395 | 0.73517 |  | 0.70893 | 0.22377 | 0.92912 | 1.4304 |  |  |  | 1.3255 | 0.7 | -0.62549
Bottles Washer |  |  | 3.0414 | 2.148 | 2.1964 | 2.3454 | 2.2038 |  |  | 4.0215 | 2.49 | 2.8443 | 4.807 | 7.2049 | 102.1788 |  | 4.6313 | 2.4731 | 3.8692 | 4.3351 | 2.9001 | 2.9591 | 4.7261 |  | 5.7503 | 3.63 | 4.3703 | 2.5031 |  |  |  | 4.354 | 2.6 | -1.754
Days: Bottle Washer | 2.6 | 2.6
Bottle Filler |  |  | 0.71948 | 0.51221 | 0.59363 | 0.67344 | 0.51251 |  |  | 0.45313 | 0.89265 | 0.76872 | 0.70691 | 0.98891 | 0 |  | 0.63566 | 0.53342 | 0.66623 | 0.6117 | 0.46887 | 0.59982 | 0.63015 |  | 0.82709 | 0.69616 | 0.82588 | 0.58747 |  |  |  | 0.76346 | 0.7 | -0.06346
Pasteuriser |  |  | 0.65407 | 0.31394 | 0.37597 | 0.53411 | 0.41001 |  |  | 0.9629 | 0.65774 | 0.30749 | 0.23564 | 1.0595 | 13.0228 |  | 0.13621 | 0.43643 | 0.20499 | 0.29255 | 0.12156 | 0.59982 | 0.4201 |  | 0.66955 | 0.1989 | 0.34412 | 0.28096 |  |  |  | 0.46484 | 0.1 | -0.36484
Boiler Supply |  |  | 1.1446 | 0.49569 | 0.57385 | 0.65022 | 0.61501 |  |  | 1.4727 | 0.93963 | 0.46123 | 0.61266 | 0.91827 | 5.0088 |  | 0.090809 | 0.46068 | 0.33311 | 0.42553 | 0.22575 | 0.47986 | 0.45511 |  | 0.90586 | 0.74589 | 0.75706 | 0.68963 |  |  |  | 0.73951 | 0.6 | -0.13951
Backwash Supply |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.3 | 0.3
Days: CO2 Scrubber | 0.4 | 0.4
Days: Personnel Consumption | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 15.2238 | 11.5751 | 12.5147 | 12.8219 | 15.7429 | 4.4971 | 0 | 24.0665 | 15.5075 | 17.3736 | 15.6633 | 20.6739 | 316.8102 | 0 | 5.6302 | 9.1708 | 18.2785 | 7.8723 | 11.2702 | 18.5256 | 12.234 | 3.2903 | 21.3969 | 16.2377 | 16.7485 | 6.5388 | 0 | 0 | 0 | 17.3425 | 15.6 | -1.7425
Bottling Hall water | 0 | 0 | 4.415 | 2.9741 | 3.166 | 3.553 | 3.1263 | 0 | 0 | 5.4376 | 4.0404 | 3.9205 | 5.7496 | 9.2534 | 115.2016 | 0 | 5.4031 | 3.443 | 4.7405 | 5.2393 | 3.4905 | 4.1588 | 5.7763 | 0 | 7.2469 | 4.5251 | 5.5403 | 3.3715 | 0 | 0 | 0 | 5.5823 | 6 | 0.41773
CO2 (kg./Hl.) KPI |  |  | 5.1223 | 4.9314 | 5.2786 | 5.968 | 4.8709 |  |  | 6.9905 | 6.5927 | 6.7069 | 7.5149 | 5.951 | 0 |  | 4.3014 | 0.51841 | 0.040999 | 0.3883 | 0.40115 | 0.37189 | 1.0818 |  | 0.35841 | 0 | 0.061941 | 0.25031 |  |  |  | 2.9418 | 5 | 2.0582
CO2 Filler (kg./Hl.) KPI |  |  | 0.86723 | 0.81593 | 0.89805 | 0.97001 | 0.82435 |  |  | 0.88706 | 1.238 | 1.023 | 0.9418 | 1.3337 | 0 |  | 0.9708 | 1.0319 | 1.0121 | 0.75157 | 1.0647 | 1.0429 | 1.2203 |  | 1.4323 | 1.1236 | 1.2144 | 0.26372 |  |  |  | 1.007 | 1.7 | 0.69301
Electricity (Kwh./Hl.) KPI |  |  | 25.0509 | 15.9297 | 18.6104 | 21.5454 | 23.4525 |  |  | 35.5537 | 30.1151 | 25.1526 | 30.2135 | 36.5049 | 458.1017 |  | 21.1631 | 16.2426 | 17.1656 | 17.8164 | 11.6332 | 26.7881 | 23.4519 |  | 26.3842 | 16.6557 | 23.0525 | 17.1106 |  |  |  | 25.6952 | 22 | -3.6952
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  |  | 11.3481 | 6.1796 | 7.0247 | 7.8723 | 8.4821 |  |  | 16.4259 | 10.5238 | 11.1849 | 9.6612 | 14.1979 | 150.263 |  | 6.0388 | 7.2496 | 7.6616 | 7.9521 | 5.1923 | 11.9565 | 10.4674 |  | 11.7762 | 7.434 | 10.2891 | 7.6371 |  |  |  | 10.8378 | 7.2 | -3.6378
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 134.2 | 249.25 | 307.25 | 242 | 73.94 | 0 | 0 | 166.69 | 0 | 160.9 | 167.27 | 45.82 | 0 | 0 | 74.27 | 151.7 | 199.4 | 0 | 477.89 | 197.96 | 140.61 | 10.85 | 47.33 | 0 | 248.43 | 156.54 | 0 | 0 | 0 | 3252.3
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% |  | 0% | 0% | 0% |  |  | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% |  |  |  | 0%
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 0 | 297.8 | 460.8 | 512.1 | 454.3 | 346.3 | 244.6 | 0 | 401.9 | 201.83 | 209.8 | 411.3 | 190.8 | 286.8 | 0 | 0 | 302.1 | 213.2 | 0 | 253.2 | 351.7 | 333.1 | 395.1 | 407 | 101.4 | 100.3 | 0 | 0 | 0 | 0 | 6475.43
Product | 0 | 0 | SM/VM | VM/CB | CB | ST/VM | ST | ST | 0 | CB | CB | CB | CB | ST | ST | 0 | 0 | CB | CB/ ST | 0 | CB | CB | ST | CB/ST | CB/GU | GU | GU | 0 | 0 | 0 | 0
No. of Brews | 0 | 0 | 6 | 9 | 10 | 9 | 7 | 5 | 0 | 8 | 4 | 4 | 8 | 4 | 6 | 0 | 0 | 6 | 4 | 0 | 5 | 7 | 7 | 8 | 8 | 2 | 2 | 0 | 0 | 0 | 0 | 129
Raw Water In - Nawasa | 0 | 93 | 129 | 123 | 158 | 218 | 1 | 72 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 181 | 282 | 283 | 417 | 11 | 150 | 225 | 225 | 225 | 225 | 225 | 225 | 116 | 3610
Into RO | _ | [30 empty] | 0
| 5230 | 4897 | 7660 | 9641 | 9405 | 9278 | 9152 | 5676 | 4114 | 6277 | 6410 | 6544 | 6411 | 5168 | 4573 | 3631 | 4661 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 6699 | 182417
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-11-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 1 |  | Monthly Target
| Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Total |  | Diff.
Cases Produced |  |  | 4633 | 9170 | 7657 | 6334 | 5709 |  |  | 2675 | 3225 | 3942 | 3215 | 2145 | 151.25 |  | 3337 | 6249 | 5913 | 5697 | 8725 | 3789 | 4328 | 0 | 3847 | 6094 | 4403 | 5932 |  |  |  | 107170.25 | 132100 | -24929.75
HL produced |  |  | 305.778 | 605.22 | 505.362 | 430.6248 | 390.2352 |  |  | 176.55 | 212.85 | 260.172 | 212.19 | 141.57 | 9.9825 |  | 220.242 | 412.434 | 390.258 | 376.002 | 575.85 | 250.074 | 285.648 | 0 | 253.902 | 402.204 | 290.598 | 391.512 |  |  |  | 7099.2585
Product Type |  |  | CB/GN | CB | CB/SM/ST | ST/VM | SH LIME/SH GIN/VM |  |  | GU | CB | CB | CB | CB | KEGS |  | CB | CB/ST | ST/Rose | CBRose/GN | GN/CB | CB | CB |  | CB | CB/ Pearsecco | CBe P./Rose | CBeRose/ST
CB
Hls Brewed |  |  | 297.8 | 460.8 | 512.1 | 454.3 | 346.3 | 244.6 |  | 401.9 | 201.83 | 209.8 | 411.3 | 190.8 | 286.8 |  |  | 302.1 | 213.2 |  | 253.2 | 351.7 | 333.1 | 395.1 | 407 | 101.4 | 100.3 |  |  |  |  | 6475.43
Product |  |  | SM/VM | VM/CB | CB | CB | ST | ST |  | CB | CB | CB | CB | ST | ST |  |  | CB | CB/ ST |  | CB | CB | ST | CB/ST | CB/GU | GU | GU
No. of Brews |  |  | 6 | 9 | 10 | 9 | 7 | 5 |  | 8 | 4 | 4 | 8 | 4 | 6 |  |  | 6 | 4 |  | 5 | 7 | 7 | 8 | 8 | 2 | 2 |  |  |  |  | 129
Brewhouse (Hls brewed) |  |  | 4.3989 | 4.1233 | 3.7883 | 3.742 | 5.3133 | 4.4971 |  | 3.7323 | 4.6078 | 5.9581 | 2.8446 | 3.7212 | 5.265 |  |  | 3.0122 | 8.2083 |  | 4.4629 | 5.0896 | 2.4317 | 3.2903 | 4.8157 | 8.5799 | 7.0788 |  |  |  |  | 4.7688
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 92 | 162 | 371 | 310 | 209 | 447 | 3 | 126 | 240 | 320 | 311 | 457 | 244 | 69 | 0 | 16 | 231 | 290 | 176 | 128 | 123 | 127 | 1 | 158 | 235 | 207 | 161 | 82 | 0 | 0 | 5296
Annanale Supply | 0 | 89 | 123 | 117 | 150 | 209 | 0 | 68 | 31 | 0 | 0 | 0 | 0 | 75 | 65 | 0 | 146 | 93 | 173 | 268 | 270 | 207 | 202 | 140 | 217 | 180 | 226 | 109 | 111 | 127 | 0 | 3396
Total Water Supply | 0 | 181 | 285 | 488 | 460 | 418 | 447 | 71 | 157 | 240 | 320 | 311 | 457 | 319 | 134 | 0 | 162 | 324 | 463 | 444 | 398 | 330 | 329 | 141 | 375 | 415 | 433 | 270 | 193 | 127 | 0 | 8692
0
Theoretical permeate | 0 | 67.89 | 94.17 | 89.79 | 115.34 | 159.14 | 0.73 | 52.56 | 18.98 | 0 | 0 | 0 | 0 | 57.67 | 49.64 | 0 | 112.42 | 71.54 | 132.13 | 205.86 | 206.59 | 304.41 | 8.03 | 109.5 | 164.25 | 143.08 | 166.44 | 83.22 | 84.68 | 96.36 | 0 | 2594.42 | 12263 |  | 17.2736
270.83
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 37 | 66 | 234 | 290 | 276 | 276 | 273 | 86 | 11 | 218 | 188 | 204 | 217 | 189 | 85 | 40 | 128 | 309 | 274 | 256 | 402 | 188 | 231 | 173 | 251 | 257 | 250 | 3243 | 49 | 0 | 0 | 8701
Brewhouse | 0 | 0 | 131 | 190 | 194 | 170 | 184 | 110 | 0 | 150 | 93 | 125 | 117 | 71 | 151 | 0 | 2 | 91 | 175 | 11 | 113 | 179 | 81 | 130 | 196 | 87 | 71 | 41 | 131 | 94 | 0 | 3088
Boiler Supply | 1 | 8 | 35 | 30 | 29 | 28 | 24 | 5 | 0 | 26 | 20 | 12 | 13 | 10 | 5 | 2 | 11 | 19 | 13 | 16 | 13 | 12 | 13 | 9 | 23 | 30 | 22 | 27 | 9 | 9 | 0 | 474
Water consumption | 38 | 74 | 400 | 510 | 499 | 474 | 481 | 201 | 11 | 394 | 301 | 341 | 347 | 270 | 241 | 42 | 141 | 419 | 462 | 283 | 528 | 379 | 325 | 312 | 470 | 374 | 343 | 3311 | 189 | 103 | 0 | 12263
Water Consumption detail
Brewhouse | 0 | 0 | 131 | 190 | 194 | 170 | 184 | 110 | 0 | 150 | 93 | 125 | 117 | 71 | 151 | 0 | 2 | 91 | 175 | 11 | 113 | 179 | 81 | 130 | 196 | 87 | 71 | 41 | 131 | 94 | 0 | 3088
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 0 | 30 | 51 | 58 | 40 | 77 | 0 | 1 | 87 | 33 | 58 | 20 | 35 | 6 | 1 | 9 | 46 | 20 | 72 | 65 | 41 | 21 | 60 | 18 | 9 | 27 | 56 | 26 | 18 | 0 | 985
Bottles Washer | 0 | 54 | 93 | 130 | 111 | 101 | 86 | 47 | 0 | 71 | 53 | 74 | 102 | 83 | 27 | 0 | 88 | 165 | 151 | 163 | 167 | 74 | 135 | 33 | 146 | 146 | 127 | 98 | 1 | 0 | 0 | 2526
Bottle Filler | 0 | 5 | 22 | 31 | 30 | 29 | 20 | 11 | 0 | 8 | 19 | 20 | 15 | 14 | 0 | 0 | 14 | 22 | 26 | 23 | 27 | 15 | 18 | 4 | 21 | 28 | 24 | 23 | 0 | 0 | 0 | 469
Pasteuriser | 3 | 0 | 20 | 19 | 19 | 23 | 16 | 0 | 0 | 17 | 14 | 8 | 5 | 15 | 13 | 0 | 3 | 18 | 8 | 11 | 7 | 15 | 12 | 3 | 17 | 8 | 10 | 11 | 0 | 0 | 0 | 295
Boiler Supply | 1 | 8 | 35 | 30 | 29 | 28 | 24 | 5 | 0 | 26 | 20 | 12 | 13 | 10 | 5 | 2 | 11 | 19 | 13 | 16 | 13 | 12 | 13 | 9 | 23 | 30 | 22 | 27 | 9 | 9 | 0 | 474
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 4 | 67 | 331 | 451 | 441 | 391 | 407 | 173 | 1 | 359 | 232 | 297 | 272 | 228 | 202 | 3 | 127 | 361 | 393 | 296 | 392 | 336 | 280 | 239 | 421 | 308 | 281 | 256 | 167 | 121 | 0 | 7837
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  |  | 4.2842 | 3.1394 | 3.8388 | 3.9478 | 4.7151 |  |  | 8.4962 | 4.3693 | 4.8045 | 5.5139 | 5.0152 | 151.2647 |  | 0.090809 | 2.2064 | 4.4842 | 0.29255 | 1.9623 | 7.1579 | 2.8357 |  | 7.7195 | 2.1631 | 2.4432 | 1.0472 |  |  |  | 4.3498 | 3.2 | -1.1498
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.1 | 0.1
Cellars/Filtration |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 1 | 1
CIP Process |  |  | 0.9811 | 0.84267 | 1.1477 | 0.92888 | 1.9732 |  |  | 4.9278 | 1.5504 | 2.2293 | 0.94255 | 2.4723 | 6.0105 |  | 0.40864 | 1.1153 | 0.51248 | 1.9149 | 1.1288 | 1.6395 | 0.73517 |  | 0.70893 | 0.22377 | 0.92912 | 1.4304 |  |  |  | 1.3875 | 0.7 | -0.68747
Bottles Washer |  |  | 3.0414 | 2.148 | 2.1964 | 2.3454 | 2.2038 |  |  | 4.0215 | 2.49 | 2.8443 | 4.807 | 5.8628 | 27.0473 |  | 3.9956 | 4.0006 | 3.8692 | 4.3351 | 2.9001 | 2.9591 | 4.7261 |  | 5.7503 | 3.63 | 4.3703 | 2.5031 |  |  |  | 3.5581 | 2.1 | -1.4581
Bottle Filler |  |  | 0.71948 | 0.51221 | 0.59363 | 0.67344 | 0.51251 |  |  | 0.45313 | 0.89265 | 0.76872 | 0.70691 | 0.98891 | 0 |  | 0.63566 | 0.53342 | 0.66623 | 0.6117 | 0.46887 | 0.59982 | 0.63015 |  | 0.82709 | 0.69616 | 0.82588 | 0.58747 |  |  |  | 0.66063 | 0.7 | 0.039368
Pasteuriser |  |  | 0.65407 | 0.31394 | 0.37597 | 0.53411 | 0.41001 |  |  | 0.9629 | 0.65774 | 0.30749 | 0.23564 | 1.0595 | 13.0228 |  | 0.13621 | 0.43643 | 0.20499 | 0.29255 | 0.12156 | 0.59982 | 0.4201 |  | 0.66955 | 0.1989 | 0.34412 | 0.28096 |  |  |  | 0.41554 | 0.1 | -0.31554
Boiler Supply |  |  | 1.1446 | 0.49569 | 0.57385 | 0.65022 | 0.61501 |  |  | 1.4727 | 0.93963 | 0.46123 | 0.61266 | 0.70636 | 5.0088 |  | 0.49945 | 0.46068 | 0.33311 | 0.42553 | 0.22575 | 0.47986 | 0.45511 |  | 0.90586 | 0.74589 | 0.75706 | 0.68963 |  |  |  | 0.66768 | 0.6 | -0.067675
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 10.8248 | 7.4518 | 8.7264 | 9.0798 | 10.4296 | 0 | 0 | 20.3342 | 10.8997 | 11.4155 | 12.8187 | 16.1051 | 202.3541 | 0 | 5.7664 | 8.7529 | 10.0703 | 7.8723 | 6.8073 | 13.436 | 9.8023 | 0 | 16.5812 | 7.6578 | 9.6697 | 6.5388 | 0 | 0 | 0 | 11.0392 | 9.6 | -1.4392
Bottling Hall water | 0 | 0 | 4.415 | 2.9741 | 3.166 | 3.553 | 3.1263 | 0 | 0 | 5.4376 | 4.0404 | 3.9205 | 5.7496 | 7.9113 | 40.0701 | 0 | 4.7675 | 4.9705 | 4.7405 | 5.2393 | 3.4905 | 4.1588 | 5.7763 | 0 | 7.2469 | 4.5251 | 5.5403 | 3.3715 | 0 | 0 | 0 | 4.6343 | 2.9 | -1.7343
Water Plant Total (Before Sand Filter) | 0 | 93 | 129 | 123 | 158 | 218 | 1 | 72 | 26 | 0 | 0 | 0 | 0 | 79 | 68 | 0 | 154 | 98 | 181 | 282 | 283 | 417 | 11 | 150 | 225 | 196 | 228 | 114 | 116 | 132 | 0 | 3554
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Gauges) |  |  | 1600 | 2400 | 2500 | 2400 | 1700 | 0 | 1800 | 1300 | 800 | 2500 | 1600 | 900 |  | 1800 | 800 | 2500 | 2200 | 2400 | 2900 | 800 | 1600 | 800 | 1700 | 3800 | 2000 | 2100 | 600 | 300 | 0 | 45800
CO2 Totalizer (Ex. Vap'r) | 0 | 0 | 1566.3 | 2984.61 | 2667.59 | 2569.98 | 1900.8 | 1.91 | 0 | 1234.17 | 1403.25 | 1744.94 | 1594.59 | 842.48 | 0 | 0 | 947.35 | 2437.83 | 2167.34 | 2607.09 | 2919.46 | 1783.13 | 1823.15 | 419.05 | 2925.31 | 4077.26 | 2568.85 | 3069.2 | 97.33 | 0 | 0 | 46352.97
CO2 (kg.) (Filler) | 0 | 0 | 265.18 | 493.82 | 453.84 | 417.71 | 321.69 | 5.53 | 0 | 156.61 | 263.51 | 266.15 | 199.84 | 188.81 | 0 | 0 | 213.81 | 425.61 | 394.98 | 282.59 | 613.08 | 260.8 | 348.58 | 39.71 | 363.67 | 451.92 | 352.9 | 103.25 | 265.27 | 0 | 0 | 7148.86
CO2 (kg.) (FILTRATION) | 0 | 0 | 134.2 | 249.25 | 307.25 | 242 | 73.94 | 0 | 0 | 166.69 | 0 | 160.9 | 167.27 | 45.82 | 0 | 0 | 74.27 | 151.7 | 199.4 | 0 | 477.89 | 197.96 | 140.61 | 10.85 | 47.33 | 0 | 248.43 | 156.54 | 0 | 0 | 0 | 3252.3
0
CO2 (kg.)Consumption Meter | 0 | 0 | 1566.3 | 2984.61 | 2667.59 | 2569.98 | 1900.8 | 1.91 | 0 | 1234.17 |  | 1744.94 |  | 842.48 | 0 | 0 | 947.35 | 213.81 | 16 | 146 | 231 | 93 | 309 | 0 | 91 | 0 | 18 | 98 | 165 | 20884.78 | 0
Electricity (Kwh.) | 5230 | 4897 | 7660 | 9641 | 9405 | 9278 | 9152 | 5676 | 4114 | 6277 | 6410 | 6544 | 6411 | 5168 | 4573 | 3631 | 4661 | 6699 | 7588 | 6333 | 6952 | 6610 | 6555 | 5513 | 7920 | 7140 | 6550 | 6289 | 5710 | 3995 | 0 | 192582
| 1 Sat: #VALUE! | #VALUE!
| 7660 | 9641 | 9405 | 9278 | 9152 | 5676 | 4114 | 6277 | 6410 | 6544 | 6411 | 5168 | 4573 | 3631 | 4661 | 6699 | 7588 | 6333 | 6952 | 6610 | 6555 | 5513 | 7920 | 714000% | 655000% | 6289 | 5710 | 3995 | 0 | 192582 | 0 | 375037
Generation Solar System (Kw-H) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 179.2 | 1213.7 | 1114.9 | 1425.7 | 1478.4 | 1443.4 | 1227.8 | 1420.9 | 1443.8 | 1417.4 | 847.8 | 1221.2 | 1151.3 | 1256.2 | 1287.3 | 1011.8 | 596.5 | 1017 | 1381.3 | 1310.9 | 1185.4 | 1280.3 |  | 25912.2
Fuel (L) | 0 | 710 | 3470 | 3740 | 3550 | 3390 | 3310 | 1010 | 220 | 2900 | 2240 | 2910 | 2050 | 2010 | 1500 | 740 | 1330 | 2990 | 3130 | 2410 | 2820 | 2980 | 2700 | 2000 | 3520 | 2550 | 2750 | 2640 | 1720 | 1120 | 0 | 68410
Steam Mass Flow | 0 | 0 | 25.563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207.154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.305 | 0 | 0 | 0 | 0 | 0 | 59.997 | 0 | 0 | 336.019
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption |  |  | 9.3205 | 8.0632 | 9.1024 | 9.7068 | 11.4546 |  |  | 13.5939 | 15.0341 | 11.9536 | 21.5373 | 22.533 | 134.2349 |  | 7.3555 | 7.8558 | 11.8639 | 11.8084 | 6.9115 | 13.1961 | 11.5177 |  | 14.7695 | 10.3181 | 14.9003 | 6.8963 |  |  |  | 12.2435 | 10.2 | -2.0435 | 120.0346
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  |  | 5.2326 | 3.9655 | 4.9469 | 5.5733 | 4.3563 |  |  | 7.3634 | 3.7585 | 9.609 | 7.5404 | 6.3573 | 0 |  | 3.6324 | 6.0616 | 5.6373 | 6.3829 | 5.036 | 3.1991 | 5.6013 |  | 6.6955 | 9.4479 | 6.8824 | 5.3638 |  |  |  | 6.4514 | 5 | -1.4514 | 129.0276
CO2 Filler (kg./Hl.) KPI |  |  | 0.86723 | 0.81593 | 0.89805 | 0.97001 | 0.82435 |  |  | 0.88706 | 1.238 | 1.023 | 0.9418 | 1.3337 | 0 |  | 0.9708 | 1.0319 | 1.0121 | 0.75157 | 1.0647 | 1.0429 | 1.2203 |  | 1.4323 | 1.1236 | 1.2144 | 0.26372 |  |  |  | 1.007 | 1.7 | 0.69301 | 59.2345
Electricity (Kwh./Hl.) KPI |  |  | 25.0509 | 15.9297 | 18.6104 | 21.5454 | 23.4525 |  |  | 35.5537 | 30.1151 | 25.1526 | 30.2135 | 36.5049 | 458.1017 |  | 21.1631 | 16.2426 | 19.4435 | 16.843 | 12.0726 | 26.4322 | 22.9478 |  | 31.1931 | 17.7522 | 22.5397 | 16.0634 |  |  |  | 27.1271 | 22 | -5.1271 | 123.3048
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  |  | 11.3481 | 6.1796 | 7.0247 | 7.8723 | 8.4821 |  |  | 16.4259 | 10.5238 | 11.1849 | 9.6612 | 14.1979 | 150.263 |  | 6.0388 | 7.2496 | 8.0203 | 6.4095 | 4.8971 | 11.9165 | 9.4522 |  | 13.8636 | 6.3401 | 9.4632 | 6.7431 |  |  |  | 9.6362 | 7.2 | -2.4362 | 133.8364
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 134.2 | 249.25 | 307.25 | 242 | 73.94 | 0 | 0 | 166.69 | 0 | 160.9 | 167.27 | 45.82 | 0 | 0 | 74.27 | 151.7 | 199.4 | 0 | 477.89 | 197.96 | 140.61 | 10.85 | 47.33 | 0 | 248.43 | 156.54 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency |  |  | 0% | 0% | 0% |  | 0% |  |  | 0% |  | 0% | 0% | 0% |  |  | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | #REF! | #REF! |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | 1 Sat: _; 2 Sun: 93; 1904-12-04 27 Thu: _; 1904-12-04 28 Fri: _; 1904-12-04 1 Mon: _ | 93
| 5230 |  | 7660 | 9641 | 9405 | 9278 | 9152 | 5676 | 4114 | 6277 | 6410 | 6544 | 6411 | 5168 | 4573 | 3631 | 4661 | 6699 | 7588 | 6333 | 6952 | 6610 | 6555 | 5513 | 7920 | 7140 | 6550 | 6289 | 5710 | 3995 | 0 | 192582
4897
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000 Kgs Mobile approx. 0 kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000 Kgs Mobile approx. 0 kgs
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000 Kgs Mobile approx. 0 kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C13400Kgs Mobile approx. 0 kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C11000 Kgs Mobile approx. 0 kgs
Note on G74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 8500Kgs Mobile approx. 0 kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C6100Kgs Mobile approx. 0 kgs
Note on I74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C4400Kgs Mobile approx. 19500 kgs
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C4400Kgs Mobile approx. 19500 kgs
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C4400Kgs Mobile approx. 19500 kgs
Note on L74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800 Kgs Mobile approx. 0 kgs
Note on M74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20000 Kgs Mobile approx. 0 kgs
Note on N74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C17500Kgs Mobile approx. 0 kgs
Note on O74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15900Kgs Mobile approx. 0 kgs
Note on P74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15000Kgs Mobile approx. 0 kgs
Note on Q74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15000Kgs Mobile approx. 0 kgs
Note on R74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C15000Kgs Mobile approx. 21600 kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C14200Kgs Mobile approx. 21600kgs
Note on T74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C14200Kgs Mobile approx. 19100 kgs
Note on U74: Delano Pasea: Tank A 3600 kgs Tank B 0 kgs Tank C25700Kgs Mobile approx. 0kgs
Note on V74: Delano Pasea: Tank A 2000 kgs Tank B 0 kgs Tank C24900Kgs Mobile approx. 0kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C24000Kgs Mobile approx. 0kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs Mobile approx. 0kgs
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 21600Kgs Mobile approx. 18400 kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs Mobile approx. 18400 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 19100Kgs Mobile approx. 18400 kgs
Note on AB74: Delano Pasea: Tank A 8000 kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on AC74: Delano Pasea: Tank A 6000 kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on AD74: Delano Pasea: Tank A 3900kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on AE74: Delano Pasea: Tank A 3300kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on AF74: Delano Pasea: Tank A 3000kgs Tank B 0 kgs Tank C 25700Kgs Mobile approx. 0 kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on J83: Alexander Dominguez-Ramon: First Synchronization

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR NOVEMBER 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 202043 | 0 | 0 | 45266 | 1320561 | 0 | 97122 | 0 | 1320561 | -1320561 | -1320561 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 202043 | 92 | -1 | 0 | 1320561 | 93 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 184 |  |  | #DIV/0!
3 | 202135 | 162 | 33 | 0 | 1320654 | 129 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 324 |  |  | #DIV/0!
4 | 202297 | 371 | 248 | 0 | 1320783 | 123 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 742 |  |  | #DIV/0!
5 | 202668 | 310 | 152 | 0 | 1320906 | 158 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 620 |  |  | #DIV/0!
6 | 202978 | 209 | -9 | 0 | 1321064 | 218 | 97122 | 0 | 0 | 21668 | 21668 | 0 | 29 | 418 |  |  | #DIV/0!
7 | 203187 | 447 | 446 | 0 | 1321282 | 1 | 97122 | 0 | 21668 | -21668 | -21668 | 0 | 20 | 894 |  |  | #DIV/0!
8 | 203634 | 3 | -69 | 0 | 1321283 | 72 | 97122 | 0 | 0 | 0 | 0 | 0 | 11 | 6 |  |  | #DIV/0!
9 | 203637 | 126 | 100 | 0 | 1321355 | 26 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 252 |  |  | #DIV/0!
10 | 203763 | 240 | 240 | 0 | 1321381 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 480 |  |  | #DIV/0!
11 | 204003 | 320 | 320 | 0 | 1321381 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 640 |  |  | #DIV/0!
12 | 204323 | 311 | 311 | 0 | 1321381 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 622 |  |  | #DIV/0!
13 | 204634 | 457 | 457 | 0 | 1321381 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 914 |  |  | #DIV/0!
14 | 205091 | 244 | 165 | 0 | 1321381 | 79 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 488 |  |  | #DIV/0!
15 | 205335 | 69 | 1 | 0 | 1321460 | 68 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 138 |  |  | #DIV/0!
16 | 205404 | 0 | 0 | 0 | 1321528 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
17 | 205404 | 16 | -138 | 0 | 1321528 | 154 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 32 |  |  | #DIV/0!
18 | 205420 | 231 | 133 | 0 | 1321682 | 98 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 462 |  |  | #DIV/0!
19 | 205651 | 290 | 109 | 0 | 1321780 | 181 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 580 |  |  | #DIV/0!
20 | 205941 | 176 | -106 | 0 | 1321961 | 282 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 352 |  |  | #DIV/0!
21 | 206117 | 128 | -155 | 0 | 1322243 | 283 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 256 |  |  | #DIV/0!
22 | 206245 | 123 | -294 | 0 | 1322526 | 417 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 246 |  |  | #DIV/0!
23 | 206368 | 127 | 116 | 0 | 1322943 | 11 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 254 |  |  | #DIV/0!
24 | 206495 | 1 | -149 | 0 | 1322954 | 150 | 97122 | 0 | 0 | 0 | 0 | 0 | 4 | 2 |  |  | #DIV/0!
25 | 206496 | 158 | -67 | 0 | 1323104 | 225 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 316 |  |  | #DIV/0!
26 | 206654 | 235 | 39 | 0 | 1323329 | 196 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 470 |  |  | #DIV/0!
27 | 206889 | 207 | -21 | 0 | 1323525 | 228 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 414 |  |  | #DIV/0!
28 | 207096 | 161 | 47 | 0 | 1323753 | 114 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 322 |  |  | #DIV/0!
| 207257 |  | 0 |  | 1323867 |  | 97122
Total |  | 5214 | 1908 |  |  | 3306 |  | 0 | 1342229 | -1320561 | -1320561 | 0 | 469 | 10428 | 0 | 0 | #DIV/0!