## Entries September'25
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
|  | old |  |  | old | [8 empty] | Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BMF) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 7621570 |  |  | 64 | 5453.8 | 68225 |  | 7478 | 535202 | 468000 | 227.79 | 60838.97 | 9964.36 | 193319 | 33963 | 919465 |  | 55371 |  | 21155 | 1312021 |  | 37047 | 41306 | 9181 | 97122 |  | 743 | 260127 | [5 empty] | 7297992.681
2 | 7624590 |  |  | 64 | 5472.8 | 68225 |  | 11905 | 539254 | 468000 | 227.79 | 63352.87 | 10246.66 | 193765 | 34207 | 919717 |  | 55537 |  | 21161 | 1312247 |  | 37133 | 41384 | 9192 | 97122 |  | 769 | 260127 | [5 empty] | 7298375.336 | 220 | 0 | 0
3 | 7627550 |  |  | 64 | 5493.2 | 68225 |  | 16674 | 543617 | 468000 | 227.79 | 65344.93 | 10493.58 | 193861 | 34344 | 919959 |  | 55745 |  | 21170 | 1312390 |  | 37205 | 41454 | 9215 | 97122 |  | 787 | 260127 | [5 empty] | 7298375.336 | 220 | 0 | 0
4 | 7630460 |  |  | 64 | 5512.9 | 68225 |  | 20831 | 547421 | 468000 | 227.79 | 67011.84 | 10740.68 | 194068 | 34519 | 920129 |  | 55910 |  | 21178 | 1312395 |  | 37227 | 41522 | 9230 | 97122 |  | 807 | 260127 | [5 empty] | 7298375.336 | 190 | 0 | 0
5 | 7633640 |  |  | 64 | 5532.3 | 68225 |  | 25153 | 551375 | 468000 | 227.79 | 68434.22 | 11009.6 | 194139 | 34809 | 920352 |  | 56090 |  | 21186 | 1312874 |  | 37295 | 41597 | 9249 | 97122 |  | 826 | 260127 | [5 empty] | 7298375.336 |  | 0 | 0
6 | 7636470 |  |  | 64 | 5550.4 | 68225 |  | 29416 | 555275 | 468000 | 227.79 | 69950.75 | 11226 | 194221 | 35063 | 920530 |  | 56297 |  | 21191 | 1313146 |  | 37347 | 41656 | 9264 | 97122 |  | 841 | 260160 | [5 empty] | 7298375.336 |  | 0 | 0
7 | 7636760 |  |  | 64 | 5552.7 | 68225 |  | 32164 | 557786 | 468000 | 227.79 | 69950.75 | 11226 | 194221 | 35152 | 920613 |  | 56297 |  | 21191 | 1313239 |  | 37347 | 41696 | 9265 | 97122 |  | 841 | 260160 | [5 empty] | 7298375.336 | 160 | 0 | 0
8 | 7636930 |  |  | 64 | 5553.3 | 68225 |  | 34795 | 560192 | 468000 | 227.79 | 69950.75 | 11226 | 194221 | 35152 | 920613 |  | 56297 |  | 21191 | 1313239 |  | 37347 | 41696 | 9267 | 97122 |  | 841 | 260160 | [5 empty] | 7298375.336 | 140 | 0 | 0 | 42108.2993
9 | 7640320 |  |  | 64 | 5573.6 | 68225 |  | 38973 | 564017 | 468000 | 227.79 | 71384.99 | 11454.92 | 194403 | 35297 | 920779 |  | 56488 |  | 21206 | 1313391 |  | 37359 | 41760 | 9285 | 97122 |  | 856 | 260160 | [5 empty] | 7299271.76 | 140 | 0 | 0 | 21974
10 | 7643380 |  |  | 64 | 5593.6 | 68225 |  | 43584 | 568243 | 468000 | 227.79 | 73336.36 | 11755.98 | 194736 | 35349 | 920985 |  | 56699 |  | 21216 | 1313445 |  | 37389 | 41835 | 9299 | 97122 |  | 875 | 260160 | [5 empty] | 7299271.76 | 130 | 11400 | 4560
11 | 7646190 |  |  | 64 | 5611.3 | 68225 |  | 48177 | 572447 | 468000 | 227.79 | 74844.41 | 12008.01 | 194919 | 35458 | 921189 |  | 56888 |  | 21225 | 1313560 |  | 37438 | 41905 | 9312 | 97122 |  | 893 | 260160 | [5 empty] | 7299271.76
12 | 7648560 |  |  | 64 | 5629.3 | 68225 |  | 51936 | 575885 | 468000 | 227.79 | 75116.63 | 12093.9 | 194973 | 35689 | 921287 |  | 57052 |  | 21231 | 1313802 |  | 37468 | 41926 | 9322 | 97122 |  | 898 | 260160 | [5 empty] | 7299271.76
13 | 7649900 |  |  | 64 | 5629.3 | 68225 |  | 55698 | 579318 | 468000 | 227.79 | 75518.24 | 12120.96 | 194973 | 35769 | 921368 |  | 57102 |  | 21235 | 1313886 |  | 37480 | 41949 | 9329 | 97122 |  | 902 | 260160 | [5 empty] | 7299413.205
14 | 7649900 |  |  | 64 | 5629.3 | 68225 |  | 58519 | 581890 | 468000 | 227.79 | 75518.24 | 12120.96 | 194973 | 35845 | 921390 |  | 57102 |  | 21235 | 1313966 |  | 37480 | 41953 | 9329 | 97122 |  | 902 | 260160 | [5 empty] | 7299413.205
15 | 7650850 |  |  | 64 | 5644.1 | 68225 |  | 61384 | 584507 | 468000 | 227.79 | 75518.24 | 12124.1 | 194973 | 35913 | 921464 |  | 57108 |  | 21235 | 1314040 |  | 37484 | 41982 | 9331 | 97122 |  | 919 | 260160 | [5 empty] | 7299413.205
16 | 7653990 |  |  | 64 | 5664.1 | 68225 |  | 66125 | 588852 | 468000 | 227.79 | 77738.36 | 12526.18 | 195222 | 36016 | 921713 |  | 57208 |  | 21250 | 1314209 |  | 37530 | 42082 | 9352 | 97122 |  | 945 | 260160 | [5 empty] | 7299446.629
17 | 7656270 |  |  | 64 | 5680.3 | 68225 |  | 70120 | 592512 | 468000 | 227.79 | 80081.15 | 12881.28 | 195424 | 36201 | 921914 |  | 57327 |  | 21261 | 1314340 |  | 37567 | 42166 | 9364 | 97122 |  | 965 | 260160 | [5 empty] | 7299446.629
18 | 7659460 |  |  | 64 | 5700.9 | 68225 |  | 74799 | 596805 | 468000 | 227.79 | 82454.88 | 13310.16 | 195535 | 36388 | 922154 |  | 57476 |  | 21275 | 1314536 |  | 37599 | 42265 | 9381 | 97122 |  | 994 | 260160 | [5 empty] | 7299446.629
19 | 7663070 |  |  | 64 | 5721.3 | 68225 |  | 79826 | 601416 | 468000 | 321.6 | 85808.84 | 13907.03 | 195744 | 36622 | 922445 |  | 57638 |  | 21288 | 1314772 |  | 37656 | 42393 | 9403 | 97122 |  | 1026 | 260160 | [5 empty] | 7299446.629
20 | 7665980 |  |  | 64 | 5739.5 | 68225 |  | 84348 | 605558 | 468000 | 426.44 | 88685.08 | 14322.87 | 195942 | 36847 | 922655 |  | 57806 |  | 21297 | 1315015 |  | 37695 | 42482 | 9418 | 97122 |  | 1050 | 260160 | [5 empty] | 7299446.629
21 | 7665980 |  |  | 64 | 5739.5 | 68225 |  | 87376 | 608310 | 468000 | 426.44 | 88685.08 | 14322.87 | 195942 | 36847 | 922692 |  | 57806 |  | 21299 | 1315015 |  | 37695 | 42488 | 9421 | 97122 |  | 1050 | 260160 | [5 empty] | 7305318.84
22 | 7667310 |  |  | 64 | 5746.2 | 68225 |  | 89902 | 610606 | 468000 | 426.44 | 88686.95 | 14322.93 | 196016 | 36892 | 922715 |  | 57807 |  | 21300 | 1315067 |  | 37695 | 42513 | 9428 | 97122 |  | 1064 | 260160 | [5 empty] | 7305439.998
23 | 7670220 |  |  | 64 | 5765 | 68225 |  | 94475 | 614791 | 468000 | 482.07 | 90389.85 | 14635.1 | 196215 | 37028 | 922982 |  | 57938 |  | 21310 | 1315209 |  | 37737 | 42600 | 9445 | 97122 |  | 1064 | 260160 | [5 empty] | 7305439.998
24 | 7673440 |  |  | 64 | 5785.8 | 68225 |  | 99569 | 619457 | 468000 | 573.79 | 92765.4 | 15032.33 | 196611 | 37085 | 923241 |  | 58130 |  | 21321 | 1315268 |  | 37802 | 42695 | 9458 | 97122 |  | 1112 | 260160 | [5 empty] | 7305439.998
25 | 7674980 |  |  | 64 | 5799.2 | 68225 |  | 103003 | 622598 | 468000 | 595.34 | 93081.25 | 15032.33 | 196713 | 37206 | 923343 |  | 58293 |  | 21321 | 1315398 |  | 37859 | 42696 | 9463 | 97122 |  | 1114 | 260160 | [5 empty] | 7305439.998
26 | 7678090 |  |  | 64 | 5819.4 | 68225 |  | 107475 | 626692 | 468000 | 603.13 | 94749.16 | 15297.69 | 196964 | 37335 | 923539 |  | 58472 |  | 21327 | 1315530 |  | 37904 | 42773 | 9476 | 97122 |  | 1132 | 260190 | [5 empty] | 7305439.998
27 | 7680900 |  |  | 64 | 5837.9 | 68225 |  | 112003 | 630838 | 468000 | 666.52 | 97623.45 | 15704.65 | 197105 | 37518 | 923779 |  | 58585 |  | 21333 | 1315723 |  | 37955 | 42872 | 9491 | 97122 |  | 1158 | 260259 | [5 empty] | 7305439.998
28 | 7681590 |  |  | 64 | 5842.5 | 68225 |  | 115338 | 633879 | 468000 | 666.52 | 97623.45 | 15704.65 | 197105 | 37665 | 923847 |  | 58620 |  | 21338 | 1315877 |  | 37955 | 42902 | 9492 | 97122 |  | 1159 | 260259 | [5 empty] | 7305439.998
29 | 7682330 |  |  | 64 | 5847.6 | 68225 |  | 117773 | 636098 | 468000 | 666.52 | 97623.45 | 15704.65 | 197105 | 37665 | 923866 |  | 58621 |  | 21338 | 1315877 |  | 37955 | 42903 | 9494 | 97122 |  | 1159 | 260259 | [5 empty] | 7305530.471
30 | 7684820 |  |  | 64 | 5865.1 | 68225 |  | 121776 | 639753 | 468000 | 678.5 | 99397.08 | 16001.53 | 197400 | 37726 | 924066 |  | 58664 |  | 21362 | 1315942 |  | 38003 | 42973 | 9509 | 97122 |  | 1180 | 260317 | [5 empty] | 7305590.893
1 | 7688000 |  |  | 64 | 5885.9 | 68225 |  | 126545 | 644115 | 468000 | 698.99 | 100759.27 | 16327.16 | 197585 | 37910 | 924266 |  | 58897 |  | 21369 | 1316136 |  | 38049 | 43045 | 9523 | 97122 |  | 1208 | 260317 | [5 empty] | 7305590.893
2

## Utility Analysis September'25
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [5 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [11 empty] | Elect | Water | Fuel | CO2
|  |  | USAGE (kwh) | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 4427 | 4052 | 8479 | 0 | 8479 | 6900 | 3020 | 2400 | 0 | 0 | 0 | 0 | 390.852 | 21.6936 | 17.6537 | 7.7267 | 6.1404
2 | 4769 | 4363 | 9132 | 0 | 9132 | 2330 | 2960 | 2000 | 0 | 0 | 0 | 0 | 311.388 | 29.3268 | 7.4826 | 9.5058 | 6.4229
3 | 4157 | 3804 | 7961 | 0 | 7961 | 3820 | 2910 | 1800 | 0 | 0 | 0 | 0 | 297.858 | 26.7275 | 12.8249 | 9.7698 | 6.0431
4 | 4322 | 3954 | 8276 | 0 | 8276 | 3610 | 3180 | 1400 | 0 | 0 | 0 | 0 | 392.106 | 21.1065 | 9.2067 | 8.1101 | 3.5705
5 | 4263 | 3900 | 8163 | 0 | 8163 | 3360 | 2830 | 1500 | 0 | 0 | 0 | 0 | 274.494 | 29.7384 | 12.2407 | 10.3099 | 5.4646
6 | 2748 | 2511 | 5259 | 0 | 5259 | 890 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2631 | 2406 | 5037 | 0 | 5037 | 0 | 170 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 4178 | 3825 | 8003 | 0 | 8003 | 3270 | 3390 | 1600 | 0 | 0 | 0 | 0 | 306.372 | 26.1218 | 10.6733 | 11.065 | 5.2224
9 | 4611 | 4226 | 8837 | 0 | 8837 | 3850 | 3060 | 1400 | 0 | 0 | 0 | 0 | 360.096 | 24.5407 | 10.6916 | 8.4977 | 3.8879
10 | 4593 | 4204 | 8797 | 0 | 8797 | 2920 | 2810 | 1100 | 0 | 0 | 0 | 0 | 320.826 | 27.4198 | 9.1015 | 8.7586 | 3.4286
11 | 3759 | 3438 | 7197 | 0 | 7197 | 2850 | 2370 | 0 | 0 | 0 | 0 | 0 | 5.676 | 1267.9704 | 502.1142 | 417.5476 | 0
12 | 3762 | 3433 | 7195 | 0 | 7195 | 800 | 1340 | 300 | 0 | 0 | 0 | 0 | 64.878 | 110.9005 | 12.3308 | 20.6542 | 4.6241
13 | 2821 | 2572 | 5393 | 0 | 5393 | 760 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 2865 | 2617 | 5482 | 0 | 5482 | 680 | 950 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 4741 | 4345 | 9086 | 0 | 9086 | 3520 | 3140 | 2200 | 0 | 0 | 0 | 0 | 518.4312 | 17.526 | 6.7897 | 6.0567 | 4.2436
16 | 3995 | 3660 | 7655 | 0 | 7655 | 3870 | 2280 | 2300 | 0 | 0 | 0 | 0 | 442.332 | 17.306 | 8.7491 | 5.1545 | 5.1997
17 | 4679 | 4293 | 8972 | 0 | 8972 | 2980 | 3190 | 3000 | 0 | 0 | 0 | 0 | 439.758 | 20.4021 | 6.7765 | 7.254 | 6.8219
18 | 5027 | 4611 | 9638 | 0 | 9638 | 4430 | 3610 | 2400 | 0 | 0 | 0 | 0 | 814.044 | 11.8397 | 5.442 | 4.4346 | 2.9482
19 | 4522 | 4142 | 8664 | 0 | 8664 | 4230 | 2910 | 3300 | 0 | 0 | 0 | 0 | 524.37 | 16.5227 | 8.0668 | 5.5495 | 6.2933
20 | 3028 | 2752 | 5780 | 0 | 5780 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 2526 | 2296 | 4822 | 0 | 4822 | 1190 | 1330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 4573 | 4185 | 8758 | 0 | 8758 | 3350 | 2910 | 800 | 0 | 0 | 0 | 0 | 349.47 | 25.0608 | 9.5859 | 8.3269 | 2.2892
23 | 5094 | 4666 | 9760 | 0 | 9760 | 4530 | 3220 | 2400 | 0 | 0 | 0 | 0 | 484.242 | 20.1552 | 9.3548 | 6.6496 | 4.9562
24 | 3434 | 3141 | 6575 | 0 | 6575 | 2230 | 1540 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 4472 | 4094 | 8566 | 0 | 8566 | 3800 | 3110 | 1000 | 0 | 0 | 0 | 0 | 282.942 | 30.2748 | 13.4303 | 10.9917 | 3.5343
26 | 4528 | 4146 | 8674 | 0 | 8674 | 3240 | 2810 | 3100 | 0 | 0 | 0 | 0 | 523.248 | 16.5772 | 6.1921 | 5.3703 | 5.9245
27 | 3335 | 3041 | 6376 | 0 | 6376 | 1470 | 690 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 2435 | 2219 | 4654 | 0 | 4654 | 0 | 740 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 4003 | 3655 | 7658 | 0 | 7658 | 3560 | 2490 | 1800 | 0 | 0 | 0 | 0 | 189.09 | 40.4992 | 18.827 | 13.1683 | 9.5193
30 | 4769 | 4362 | 9131 | 0 | 9131 | 3690 | 3180 | 1300 | 0 | 0 | 0 | 0 | 198.528 | 45.9935 | 18.5868 | 16.0179 | 6.5482
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 227980 | 0 | 227980 | 82130 | 66430 | 44700 | 0 | 0 | 0 | 0 | 7491.0012 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[14 empty] | 30.4338 | 10.9638 | 8.868 | 5.9672

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 382.655
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 896.424
9 | 0
10 | 0
11 | 0
12 | 141.445
13 | 0
14 | 0
15 | 33.424
16 | 0
17 | 0
18 | 0
19 | 0
20 | 5872.211
21 | 121.158
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 90.473
29 | 60.422
30 | 0
1
7598.212

## Fuel
DAILY FUEL CONSUMPTION FOR SEPTEMBER 2025
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 3020 | 19 | 0 | 0 |  |  | 158.9474 | 0 | 0 | 3020 | 390.852 | 7.7267
2 | 2960 | 20.4 | 0 | 0 |  |  | 145.098 | 0 | 0 | 2960 | 311.388 | 9.5058
3 | 2910 | 19.7 | 0 | 0 |  |  | 147.7157 | 0 | 0 | 2910 | 297.858 | 9.7698
4 | 3180 | 19.4 | 0 | 0 |  |  | 163.9175 | 0 | 0 | 3180 | 392.106 | 8.1101
5 | 2830 | 18.1 | 0 | 0 |  |  | 156.3536 | 0 | 0 | 2830 | 274.494 | 10.3099
6 | 290 | 2.3 | 0 | 0 |  |  | 126.087 | 0 | 0 | 290 | 0 | 0
7 | 170 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 170 | 0 | 0
8 | 3390 | 20.3 | 0 | 0 |  |  | 166.9951 | 0 | 0 | 3390 | 306.372 | 11.065
9 | 3060 | 20 | 0 | 0 |  |  | 153 | 0 | 0 | 3060 | 360.096 | 8.4977
10 | 2810 | 17.7 | 0 | 0 |  |  | 158.7571 | 0 | 0 | 2810 | 320.826 | 8.7586
11 | 2370 | 18 | 0 | 0 |  |  | 131.6667 | 0 | 0 | 2370 | 5.676 | 417.5476
12 | 1340 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 1340 | 64.878 | 20.6542
13 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
14 | 950 | 14.8 | 0 | 0 |  |  | 64.1892 | 0 | 0 | 950 | 0 | 0
15 | 3140 | 20 | 0 | 0 |  |  | 157 | 0 | 0 | 3140 | 518.4312 | 6.0567
16 | 2280 | 16.2 | 0 | 0 |  |  | 140.7407 | 0 | 0 | 2280 | 442.332 | 5.1545
17 | 3190 | 20.6 | 0 | 0 |  |  | 154.8544 | 0 | 0 | 3190 | 439.758 | 7.254
18 | 3610 | 20.4 | 0 | 0 |  |  | 176.9608 | 0 | 0 | 3610 | 814.044 | 4.4346
19 | 2910 | 18.2 | 0 | 0 |  |  | 159.8901 | 0 | 0 | 2910 | 524.37 | 5.5495
20 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
21 | 1330 | 6.7 | 0 | 0 |  |  | 198.5075 | 0 | 0 | 1330 | 0 | 0
22 | 2910 | 18.8 | 0 | 0 |  |  | 154.7872 | 0 | 0 | 2910 | 349.47 | 8.3269
23 | 3220 | 20.8 | 0 | 0 |  |  | 154.8077 | 0 | 0 | 3220 | 484.242 | 6.6496
24 | 1540 | 13.4 | 0 | 0 |  |  | 114.9254 | 0 | 0 | 1540 | 0 | 0
25 | 3110 | 20.2 | 0 | 0 |  |  | 153.9604 | 0 | 0 | 3110 | 282.942 | 10.9917
26 | 2810 | 18.5 | 0 | 0 |  |  | 151.8919 | 0 | 0 | 2810 | 523.248 | 5.3703
27 | 690 | 4.6 | 0 | 0 |  |  | 150 | 0 | 0 | 690 | 0 | 0
28 | 740 | 5.1 | 0 | 0 |  |  | 145.098 | 0 | 0 | 740 | 0 | 0
29 | 2490 | 17.5 |  | 0 |  |  | 142.2857 | 0 | 0 | 2490 | 189.09 | 13.1683
30 | 3180 | 20.8 |  | 0 |  |  | 152.8846 | 0 | 0 | 3180 | 198.528 | 16.0179
1 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0
MTD | 66430 | 431.5 | 0 | 0 |  |  | 153.9513 |  |  | 66430 | 7491.0012 | 8.868 | 7.2 | 123.1663
AVE. | 2372.5 | 16.5962 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 446 | 244 | 226 | 464 | 252 | 0 | 166 | 0 | 0 | 6 | 86 | 78 | 26 | 11 | 0 | 4640 | 170 | 26 | 0 | 0 | 0 | 0 | 690 | 390.852 | 17.6537
| 2 | 0 | 96 | 137 | 143 | 90 | 242 | 0 | 208 | 0 | 0 | 9 | 72 | 70 | 18 | 23 | 0 | 900 | 151 | 18 | 0 | 0 | 0 | 0 | 233 | 311.388 | 7.4826
| 3 | 0 | 207 | 175 | 5 | 377 | 170 | 0 | 165 | 0 | 0 | 8 | 22 | 68 | 20 | 15 | 0 | 3770 | 98 | 20 | 0 | 0 | 0 | 0 | 382 | 297.858 | 12.8249
| 4 | 0 | 71 | 290 | 479 | -118 | 223 | 0 | 180 | 0 | 0 | 8 | 68 | 75 | 19 | 19 | 0 | -1180 | 151 | 19 | 0 | 0 | 0 | 0 | 361 | 392.106 | 9.2067
| 5 | 0 | 82 | 254 | 272 | 64 | 178 | 0 | 207 | 0 | 0 | 5 | 52 | 59 | 15 | 15 | 0 | 640 | 116 | 15 | 33 | 0 | 0 | 0 | 336 | 274.494 | 12.2407
| 6 | 0 | 0 | 89 | 93 | -4 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 1 | 0 | -40 | 40 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0
| 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | 0 | 182 | 145 | 152 | 175 | 166 | 0 | 191 | 0 | 0 | 15 | 12 | 64 | 15 | 18 | 0 | 1750 | 91 | 15 | 0 | 0 | 0 | 0 | 327 | 306.372 | 10.6733
| 9 | 0 | 333 | 52 | 54 | 331 | 206 | 0 | 211 | 0 | 0 | 10 | 30 | 75 | 19 | 14 | 0 | 3310 | 115 | 19 | 0 | 0 | 0 | 0 | 385 | 360.096 | 10.6916
| 10 | 0 | 183 | 109 | 115 | 177 | 204 | 0 | 189 | 0 | 0 | 9 | 49 | 70 | 18 | 13 | 0 | 1770 | 128 | 18 | 0 | 0 | 0 | 0 | 292 | 320.826 | 9.1015
| 11 | 0 | 54 | 231 | 242 | 43 | 98 | 0 | 164 | 0 | 0 | 6 | 30 | 21 | 5 | 10 | 0 | 430 | 57 | 5 | 0 | 0 | 0 | 0 | 285 | 5.676 | 502.1142
| 12 | 0 | 0 | 80 | 84 | -4 | 81 | 0 | 50 | 0 | 0 | 4 | 12 | 23 | 4 | 7 | 0 | -40 | 39 | 4 | 0 | 0 | 0 | 0 | 80 | 64.878 | 12.3308
| 13 | 0 | 0 | 76 | 80 | -4 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | -40 | 4 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0
| 14 | 0 | 0 | 68 | 74 | -6 | 74 | 0 | 6 | 0 | 0 | 0 | 4 | 29 | 17 | 2 | 0 | -60 | 33 | 17 | 0 | 0 | 0 | 0 | 68 | 0 | 0
| 15 | 0 | 249 | 103 | 169 | 183 | 249 | 0 | 100 | 0 | 0 | 15 | 46 | 100 | 26 | 21 | 0 | 1830 | 161 | 26 | 0 | 0 | 0 | 0 | 352 | 518.4312 | 6.7897
| 16 | 0 | 202 | 185 | 131 | 256 | 201 | 0 | 119 | 0 | 0 | 11 | 37 | 84 | 20 | 12 | 0 | 2560 | 132 | 20 | 0 | 0 | 0 | 0 | 387 | 442.332 | 8.7491
| 17 | 0 | 111 | 187 | 196 | 102 | 240 | 0 | 149 | 0 | 0 | 14 | 32 | 99 | 29 | 17 | 0 | 1020 | 145 | 29 | 0 | 0 | 0 | 0 | 298 | 439.758 | 6.7765
| 18 | 0 | 209 | 234 | 236 | 207 | 291 | 0 | 162 | 0 | 0 | 13 | 57 | 128 | 32 | 22 | 0 | 2070 | 198 | 32 | 0 | 0 | 0 | 0 | 443 | 814.044 | 5.442
| 19 | 0 | 198 | 225 | 243 | 180 | 210 | 0 | 168 | 0 | 0 | 9 | 39 | 89 | 24 | 15 | 0 | 1800 | 137 | 24 | 0 | 0 | 0 | 0 | 423 | 524.37 | 8.0668
| 20 | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 2 | 0 | 6 | 0 | 3 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 74 | 45 | 52 | 67 | 23 | 0 | 1 | 0 | 0 | 1 | 0 | 25 | 14 | 7 | 0 | 670 | 26 | 14 | 0 | 0 | 0 | 0 | 119 | 0 | 0
| 22 | 0 | 199 | 136 | 142 | 193 | 267 | 0 | 131 | 0 | 0 | 10 | 42 | 87 | 0 | 17 | 0 | 1930 | 139 | 0 | 0 | 0 | 0 | 0 | 335 | 349.47 | 9.5859
| 23 | 0 | 396 | 57 | 59 | 394 | 259 | 0 | 192 | 0 | 0 | 11 | 65 | 95 | 48 | 13 | 0 | 3940 | 171 | 48 | 0 | 0 | 0 | 0 | 453 | 484.242 | 9.3548
| 24 | 0 | 102 | 121 | 130 | 93 | 102 | 0 | 163 | 0 | 0 | 0 | 57 | 1 | 2 | 5 | 0 | 930 | 58 | 2 | 0 | 0 | 0 | 0 | 223 | 0 | 0
| 25 | 0 | 251 | 129 | 132 | 248 | 196 | 0 | 179 | 0 | 0 | 6 | 45 | 77 | 18 | 13 | 0 | 2480 | 128 | 18 | 30 | 0 | 0 | 0 | 380 | 282.942 | 13.4303
| 26 | 0 | 141 | 183 | 193 | 131 | 240 | 0 | 113 | 0 | 0 | 6 | 51 | 99 | 26 | 15 | 0 | 1310 | 156 | 26 | 69 | 0 | 0 | 0 | 324 | 523.248 | 6.1921
| 27 | 0 | 0 | 147 | 154 | -7 | 68 | 0 | 35 | 0 | 0 | 5 | 0 | 30 | 1 | 1 | 0 | -70 | 35 | 1 | 0 | 0 | 0 | 0 | 147 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 295 | 61 | 65 | 291 | 200 | 0 | 43 | 0 | 0 | 24 | 48 | 70 | 21 | 15 | 0 | 2910 | 142 | 21 | 58 | 0 | 0 | 0 | 356 | 189.09 | 18.827
| 30 | 0 | 185 | 184 | 194 | 175 | 200 | 0 | 233 | 0 | 0 | 7 | 46 | 72 | 28 | 14 | 0 | 1750 | 125 | 28 | 0 | 0 | 0 | 0 | 369 | 198.528 | 18.5868
| 1 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 4266 | 3947 | 4115 | 4098 | 4801 |  | 3526 |  | 0 | 214 | 1002 | 1739 | 465 | 342 | 0 | 40980 | 2955 | 465 | 190 |  |  |  | 8213 | 7491.0012 | 10.9638 | 10.2 | 107.4884
| Gals. |  | 938520
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 14838.0012
| Add basic charge |  | 278.97
15116.9712
| Proxy sewage charge (2/3) |  | 10077.9808
| Proxy MTD NAWASA cost |  | 25194.952
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.September'25
DAILY ELECTRICITY CONSUMPTION FOR SEPTEMBER 2025
DATE | Grenlec | In -house | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr)
1 | 8479 | 0 | 8479 | 390.852 | 21.6936
2 | 9132 | 0 | 9132 | 311.388 | 29.3268
3 | 7961 | 0 | 7961 | 297.858 | 26.7275
4 | 8276 |  | 8276 | 392.106 | 21.1065
5 | 8163 | 0 | 8163 | 274.494 | 29.7384
6 | 5259 | 0 | 5259 | 0 | 0
7 | 5037 | 0 | 5037 | 0 | 0
8 | 8003 | 0 | 8003 | 306.372 | 26.1218
9 | 8837 | 0 | 8837 | 360.096 | 24.5407
10 | 8797 | 0 | 8797 | 320.826 | 27.4198
11 | 7197 | 0 | 7197 | 5.676 | 1267.9704
12 | 7195 | 0 | 7195 | 64.878 | 110.9005
13 | 5393 | 0 | 5393 | 0 | 0
14 | 5482 | 0 | 5482 | 0 | 0
15 | 9086 | 0 | 9086 | 518.4312 | 17.526
16 | 7655 | 0 | 7655 | 442.332 | 17.306
17 | 8972 | 0 | 8972 | 439.758 | 20.4021
18 | 9638 | 0 | 9638 | 814.044 | 11.8397
19 | 8664 | 0 | 8664 | 524.37 | 16.5227
20 | 5780 | 0 | 5780 | 0 | 0
21 | 4822 | 0 | 4822 | 0 | 0
22 | 8758 | 0 | 8758 | 349.47 | 25.0608
23 | 9760 | 0 | 9760 | 484.242 | 20.1552
24 | 6575 | 0 | 6575 | 0 | 0
25 | 8566 | 0 | 8566 | 282.942 | 30.2748
26 | 8674 | 0 | 8674 | 523.248 | 16.5772
27 | 6376 | 0 | 6376 | 0 | 0
28 | 4654 | 0 | 4654 | 0 | 0
29 | 7658 | 0 | 7658 | 189.09 | 40.4992
30 | 9131 | 0 | 9131 | 198.528 | 45.9935
1 | 0 |  | 0 |  |  |  | %
MTD | 227980 | 0 | 227980 | 7491.0012 | 30.4338 | 22 | 138.3357
TARGET

## PROD.FIG.
PRODUCTION FOR SEPTEMBER 2025
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Monday | 1 | [5 empty] | 390.852
Tuesday | 2 | [5 empty] | 311.388
Wednesday | 3 | [5 empty] | 297.858
Thursday | 4 | [5 empty] | 392.106
Friday | 5 | [5 empty] | 274.494
Saturday | 6 | [5 empty] | 0
Sunday | 7 | [5 empty] | 0
Monday | 8 | [5 empty] | 306.372
Tuesday | 9 | [5 empty] | 360.096
Wednesday | 10 | [5 empty] | 320.826
Thursday | 11 | [5 empty] | 5.676
Friday | 12 | [5 empty] | 64.878
Saturday | 13 | [5 empty] | 0
Sunday | 14 | [5 empty] | 0
Monday | 15 | [5 empty] | 518.4312
Tuesday | 16 | [5 empty] | 442.332
Wednesday | 17 | [5 empty] | 439.758
Thursday | 18 | [5 empty] | 814.044
Friday | 19 | [5 empty] | 524.37
Saturday | 20 | [5 empty] | 0
Sunday | 21 | [5 empty] | 0
Monday | 22 | [5 empty] | 349.47
Tuesday | 23 | [5 empty] | 484.242
Wednesday | 24 | [5 empty] | 0
Thursday | 25 | [5 empty] | 282.942
Friday | 26 | [5 empty] | 523.248
Saturday | 27 | [5 empty] | 0
Sunday | 28 | [5 empty] | 0
Monday | 29 | [5 empty] | 189.09
Tuesday | 30 | [5 empty] | 198.528
Wednesday | 1 | [5 empty] | 0
[6 empty] | TOTAL | 7491.0012
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for SEPTEMBER 2025 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 282.3 | 0 | 2513.9 | 2400 | 390.852 | 6.1404 |  | 20 | 2857 | 1295.9132 | 200 | 34914 | 15836.7213 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 246.92 | 0 | 1992.06 | 2000 | 311.388 | 6.4229 |  | 30 | 4344 | 1970.4049 |  |  |  | 2025-08-02 | 220 | 17467.8392 | 0 | 0 | 0 | 17467.8392 | 0
3 | 247.1 | 0 | 1666.91 | 1800 | 297.858 | 6.0431 |  | 40 | 6143 | 2786.4175 |  |  |  | 2025-08-03 | 220 | 17467.8392 | 0 | 0 | 0 | 17467.8392 | 2446.6768
4 | 268.92 | 0 | 1422.38 | 1400 | 392.106 | 3.5705 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 190 | 15021.1623 | 0 | 0 | 0 | 15021.1623 | 15021.1623
5 | 216.4 | 0 | 1516.53 | 1500 | 274.494 | 5.4646 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 12574.0319
7 | 0 | 0 | 0 | 3000 | 0 | 0 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 160 | 12574.0319 | 0 | 0 | 0 | 12574.0319
8 | 228.92 | 0 | 1434.24 | 1600 | 306.372 | 5.2224 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 140 | 10942.914 | 0 | 0 | 0 | 10942.914 | 0
9 | 301.06 | 0 | 1951.37 | 1400 | 360.096 | 3.8879 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 140 | 10942.914 | 0 | 0 | 19100 | 30042.914
10 | 252.03 | 0 | 1508.05 | 1100 | 320.826 | 3.4286 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 130 | 10126.9015 | 0 | 0 | 9967.237 | 20094.1385 | 4134.1385
11 | 85.89 | 0 | 272.22 | 0 | 5.676 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 11400 | 4560 | 0 | 15960 | 15960
12 | 27.06 | 0 | 401.61 | 300 | 64.878 | 4.6241 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 3.14 | 0 | 0 | 1800 | 0 | 0 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 402.08 | 0 | 2220.12 | 2200 | 518.4312 | 4.2436 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 355.1 | 0 | 2342.79 | 2300 | 442.332 | 5.1997 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 428.88 | 0 | 2373.73 | 3000 | 439.758 | 6.8219 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 596.87 | 93.81 | 3353.96 | 2400 | 814.044 | 2.9482 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 415.84 | 104.84 | 2876.24 | 3300 | 524.37 | 6.2933 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 1.87 | 0 | 0 | 0 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 312.17 | 55.63 | 1702.9 | 800 | 349.47 | 2.2892 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 397.23 | 91.72 | 2375.55 | 2400 | 484.242 | 4.9562 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 21.55 | 315.85 | 800 | 0 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 265.36 | 7.79 | 1667.91 | 1000 | 282.942 | 3.5343 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 406.96 | 63.39 | 2874.29 | 3100 | 523.248 | 5.9245 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 2000 | 0 | 0 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 296.88 | 11.98 | 1773.63 | 1800 | 189.09 | 9.5193 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 325.63 | 20.49 | 1362.19 | 1300 | 198.528 | 6.5482 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 6362.74 | 471.2 | 39920.3 | 44700 | 7491.0012 | 5.9672 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 50136.0096

## Daily KPIs CO2
Utilities Daily Consumption
1364
2025-09-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
Days | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue |  | Total |  | Diff.
Cases Produced |  | 4718 | 4513 | 5941 | 4159 | 0 | 0 | 4642 | 5456 | 4861 | 86 | 983 | 0 | 0 | 7466 | 6702 | 6663 | 12334 | 7945 | 0 | 0 | 5295 | 7337 | 0 | 4287 | 7928 | 0 | 0 |  |  | 2865 | 104181 | 96325 | 7856
HL produced | 390.852 | 311.388 | 297.858 | 392.106 | 274.494 | 0 | 0 | 306.372 | 360.096 | 320.826 | 5.676 | 64.878 | 0 | 0 | 518.4312 | 442.332 | 439.758 | 814.044 | 524.37 | 0 | 0 | 349.47 | 484.242 | 0 | 282.942 | 523.248 | 0 | 0 |  |  | 189.09 | 7292.4732
Product Type | CB/ST | ST/CB | CB | SM | CB | 0 | CB | CB | CB | CB/GN | GN | GN | 0 | 0 | VM/ ST | ST | CB | CB | CB/ST | 0 | 0 | ST | ST/CB | 0 |  | MK/CB | 0 | 0 |  |  | CB
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 446 | 96 | 207 | 71 | 82 | 0 | 0 | 182 | 333 | 183 | 54 | 0 | 0 | 0 | 249 | 202 | 111 | 209 | 198 | 0 | 74 | 199 | 396 | 102 | 251 | 141 | 0 | 0 | 251 | 141 | 0 | 4178
Annanale Supply | 244 | 137 | 175 | 290 | 254 | 89 | 0 | 145 | 52 | 109 | 231 | 80 | 76 | 68 | 103 | 185 | 187 | 234 | 225 | 0 | 45 | 136 | 57 | 121 | 129 | 183 | 147 | 0 | 129 | 183 | 147 | 4161
Total Water Supply | 690 | 233 | 382 | 361 | 336 | 89 | 0 | 327 | 385 | 292 | 285 | 80 | 76 | 68 | 352 | 387 | 298 | 443 | 423 | 0 | 119 | 335 | 453 | 223 | 380 | 324 | 147 | 0 | 380 | 324 | 147 | 8339
0
Theoretical permeate | 164.98 | 104.39 | 3.65 | 349.67 | 198.56 | 67.89 | 0 | 110.96 | 39.42 | 83.95 | 176.66 | 61.32 | 58.4 | 58.4 | 58.4 | 58.4 | 58.4 | 58.4 | 177.39 | 0 | 37.96 | 103.66 | 43.07 | 94.9 | 96.36 | 96.36 | 96.36 | 96.36 | 96.36 | 96.36 | 47.45 | 2794.44 | 8313 |  | 11.3994
51.83
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 69 | 0 | 99
Service Water Plant Supply | 252 | 242 | 170 | 223 | 178 | 83 | 0 | 166 | 206 | 204 | 98 | 81 | 22 | 74 | 249 | 201 | 240 | 291 | 210 | 37 | 23 | 267 | 259 | 102 | 196 | 240 | 68 | 19 | 0 | 0 | 0 | 4401
Water consumption | 252 | 242 | 170 | 223 | 178 | 83 | 0 | 166 | 206 | 204 | 98 | 81 | 22 | 74 | 249 | 201 | 240 | 291 | 210 | 37 | 23 | 267 | 259 | 102 | 196 | 240 | 68 | 19 | 30 | 69 | 0 | 4500
| 6.4475 | 7.7717 | 5.7074 | 5.6872 | 6.4847 |  |  | 5.4182 | 5.7207 | 6.3586 | 172.6568 | 12.485 |  |  | 4.803 | 4.5441 | 5.4575 | 3.5747 | 4.0048 |  |  | 7.6401 | 5.3486 |  | 6.9272 | 4.5867 |  |  |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 166 | 208 | 165 | 180 | 207 | 0 | 0 | 191 | 211 | 189 | 164 | 50 | 0 | 6 | 100 | 119 | 149 | 162 | 168 | 0 | 1 | 131 | 192 | 163 | 179 | 113 | 35 | 1 | 179 | 113 | 35 | 3577
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.4303 | 6.1921 | 0 | 19.6224
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 26 | 1 | 93
CIP Process | 86 | 72 | 22 | 68 | 52 | 0 | 0 | 12 | 30 | 49 | 30 | 12 | 0 | 0 | 0 | 37 | 37 | 37 | 39 | 0 | 0 | 42 | 65 | 57 | 45 | 51 | 0 | 0 | 45 | 51 | 0 | 939 |  |  | 15588.1818
Bottles Washer | 78 | 70 | 68 | 75 | 59 | 40 | 0 | 64 | 75 | 70 | 21 | 23 | 4 | 4 | 4 | 4 | 4 | 4 | 89 | 6 | 25 | 87 | 95 | 1 | 77 | 99 | 30 | 1 | 77 | 99 | 30 | 1383
Bottle Filler | 26 | 18 | 20 | 19 | 15 | 0 | 0 | 15 | 19 | 18 | 5 | 4 | 0 | 17 | 26 | 20 | 29 | 32 | 24 | 0 | 14 | 0 | 48 | 2 | 18 | 26 | 1 | 0 | 18 | 26 | 1 | 461
Pasteuriser | 6 | 9 | 8 | 8 | 5 | 0 | 0 | 15 | 10 | 9 | 6 | 4 | 0 | 0 | 15 | 11 | 14 | 13 | 9 | 2 | 1 | 10 | 11 | 0 | 6 | 6 | 5 | 0 | 6 | 6 | 5 | 200
Boiler Supply | 11 | 23 | 15 | 19 | 15 | 1 | 2 | 18 | 14 | 13 | 10 | 7 | 0 | 0 | 21 | 12 | 12 | 22 | 15 | 3 | 7 | 17 | 13 | 5 | 13 | 15 | 1 | 2 | 13 | 15 | 1 | 335
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 5 | 206
Personnel Consumption
Total water consumption (M3) | 373 | 400 | 298 | 369 | 353 | 41 | 2 | 315 | 359 | 348 | 425 | 100 | 4 | 27 | 166 | 203 | 256 | 307 | 344 | 11 | 48 | 287 | 424 | 228 | 338 | 310 | 72 | 4 | 375.4303 | 348.1921 | 78 | 7213.6224
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 2513.9 | 1992.06 | 1666.91 | 1422.38 | 1516.53 | 0 | 0 | 1434.24 | 1951.37 | 1508.05 | 272.22 | 401.61 | 0 | 0 | 2220.12 | 2342.79 | 2373.73 | 428.88 | 111 | 187 | 209 | 234 | 291 | 0 | 162 | 0 | 13 | 236 | 0 | 57 | 128 | 23672.79
CO2 (kg.) (Filler) | 282.3 | 246.92 | 247.1 | 268.92 | 216.4 | 0 | 0 | 228.92 | 301.06 | 252.03 | 85.89 | 27.06 | 0 | 3.14 | 402.08 | 355.1 | 428.88 | 596.87 | 415.84 | 0 | 0 | 312.17 | 397.23 | 0 | 265.36 | 406.96 | 0 | 0 | 296.88 | 325.63 | 0 | 6362.74
Electricity (Kwh.) | 8479 | 9132 | 7961 | 8276 | 8163 | 5259 | 5037 | 8003 | 8837 | 8797 | 7197 | 7195 | 5393 | 5482 | 9086 | 7655 | 8972 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 234942
Fuel (L) | 3020 | 2960 | 2910 | 3180 | 2830 | 290 | 170 | 3390 | 3060 | 2810 | 2370 | 1340 | 0 | 950 | 3140 | 2280 | 3190 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 3610 | 88430
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 17.6537 | 7.4826 | 12.8249 | 9.2067 | 12.2407 |  |  | 10.6733 | 10.6916 | 9.1015 | 502.1142 | 12.3308 |  |  | 6.7897 | 8.7491 | 6.7765 | 5.442 | 8.0668 |  |  | 9.5859 | 9.3548 |  | 13.4303 | 6.1921 |  |  |  |  | 7.7741 | 11.4351 | 10.2 | -1.2351
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | 4.2471 | 6.6798 | 5.5396 | 4.5906 | 7.5411 |  |  | 6.2343 | 5.8595 | 5.891 | 288.9359 | 7.7068 |  |  | 1.9289 | 2.6903 | 3.3882 | 1.9901 | 3.2038 |  |  | 3.7485 | 3.965 |  | 6.3264 | 2.1596 |  |  |  |  | 1.851 | 4.9051 | 2.5 | -2.4051
Brewhouse (Hls brewed) | 3.615 | 5.1909 | 3.241 |  | 6.0438 |  |  | 5.8161 | 4.7458 | 4.1842 | 3.5973 |  |  |  | 5.144 | 7.8912 | 4.9305 | 4.0139 | 4.139 |  |  | 2.8798 | 4.2207 | 3.9669 | 4.0009 | 5.5941 |  |  | 11.8937 | 2.7111 | 2.3256 | 4.746 | 2.5 | -2.246
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  |  |  | 0 | 0.026908 | 0.1 | 0.073092
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.25014 | 0.45452 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  |  |  | 0.052885 | 0.12753 | 1 | 0.87247
CIP Process | 2.2003 | 2.3122 | 0.73861 | 1.7342 | 1.8944 |  |  | 0.39168 | 0.83311 | 1.5273 | 52.8541 | 1.8496 |  |  | 0 | 0.83648 | 0.84137 | 0.45452 | 0.74375 |  |  | 1.2018 | 1.3423 |  | 1.5904 | 0.97468 |  |  |  |  | 0 | 1.2876 | 0.7 | -0.58763
Bottles Washer | 1.9956 | 2.248 | 2.283 | 1.9127 | 2.1494 |  |  | 2.089 | 2.0828 | 2.1819 | 36.9979 | 3.5451 |  |  | 0.077156 | 0.09043 | 0.090959 | 0.049137 | 1.6973 |  |  | 2.4895 | 1.9618 |  | 2.7214 | 1.892 |  |  |  |  | 1.5865 | 1.8965 | 2.6 | 0.70352
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | 0.66521 | 0.57806 | 0.67146 | 0.48456 | 0.54646 |  |  | 0.4896 | 0.52764 | 0.56105 | 8.809 | 0.61654 |  |  | 0.50151 | 0.45215 | 0.65945 | 0.3931 | 0.45769 |  |  | 0 | 0.99124 |  | 0.63617 | 0.4969 |  |  |  |  | 0.052885 | 0.63216 | 0.7 | 0.067841
Pasteuriser | 0.15351 | 0.28903 | 0.26858 | 0.20403 | 0.18215 |  |  | 0.4896 | 0.2777 | 0.28053 | 10.5708 | 0.61654 |  |  | 0.28933 | 0.24868 | 0.31836 | 0.1597 | 0.17163 |  |  | 0.28615 | 0.22716 |  | 0.21206 | 0.11467 |  |  |  |  | 0.26442 | 0.27426 | 0.1 | -0.17426
Boiler Supply | 0.28144 | 0.73863 | 0.5036 | 0.48456 | 0.54646 |  |  | 0.58752 | 0.38879 | 0.4052 | 17.618 | 1.0789 |  |  | 0.40507 | 0.27129 | 0.27288 | 0.27026 | 0.28606 |  |  | 0.48645 | 0.26846 |  | 0.45946 | 0.28667 |  |  |  |  | 0.052885 | 0.45938 | 0.6 | 0.14062
Backwash Supply | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 13.1582 | 18.0366 | 13.2458 | 9.4107 | 18.9038 | 0 | 0 | 16.0977 | 14.7154 | 15.0312 | 419.383 | 15.4135 | 0 | 0 | 8.346 | 12.4806 | 10.7519 | 7.7852 | 10.6992 | 0 | 0 | 11.0922 | 12.9767 | 3.9669 | 15.9468 | 11.5186 | 0 | 0 | 11.8937 | 2.7111 | 6.1862 | 14.3554 | 15.6 | 1.2446
Bottling Hall water | 2.8144 | 3.1151 | 3.223 | 2.6013 | 2.878 | 0 | 0 | 3.0682 | 2.8881 | 3.0234 | 56.3777 | 4.7782 | 0 | 0 | 0.868 | 0.79126 | 1.0688 | 0.60193 | 2.3266 | 0 | 0 | 2.7756 | 3.1802 | 0 | 3.5696 | 2.5036 | 0 | 0 | 0 | 0 | 1.9039 | 2.8029 | 6 | 3.1971
CO2 (kg./Hl.) KPI | 6.4318 | 6.3974 | 5.5963 | 3.6275 | 5.5248 |  |  | 4.6814 | 5.419 | 4.7005 | 47.9598 | 6.1902 |  |  | 4.2824 | 5.2965 | 5.3978 | 0.52685 | 0.21168 |  |  | 0.66959 | 0.60094 |  | 0.57256 | 0 |  |  |  |  | 0.67693 | 3.2462 | 5 | 1.7538
CO2 Filler (kg./Hl.) KPI | 0.72227 | 0.79297 | 0.82959 | 0.68583 | 0.78836 |  |  | 0.7472 | 0.83605 | 0.78557 | 15.1321 | 0.41709 |  |  | 0.77557 | 0.80279 | 0.97526 | 0.73322 | 0.79303 |  |  | 0.89327 | 0.82031 |  | 0.93786 | 0.77776 |  |  |  |  | 0 | 0.87251 | 1.7 | 0.82749
Electricity (Kwh./Hl.) KPI | 21.6936 | 29.3268 | 26.7275 | 21.1065 | 29.7384 |  |  | 26.1218 | 24.5407 | 27.4198 | 1267.9704 | 110.9005 |  |  | 17.526 | 17.306 | 20.4021 | 11.8397 | 18.3802 |  |  | 27.5789 | 19.9033 |  | 34.0635 | 18.4196 |  |  |  |  | 50.9704 | 32.2171 | 22 | -10.2171
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 7.7267 | 9.5058 | 9.7698 | 8.1101 | 10.3099 |  |  | 11.065 | 8.4977 | 8.7586 | 417.5476 | 20.6542 |  |  | 6.0567 | 5.1545 | 7.254 | 4.4346 | 6.8845 |  |  | 10.3299 | 7.455 |  | 12.7588 | 6.8992 |  |  |  |  | 19.0914 | 12.1262 | 7.2 | -4.9262
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.81 | 104.84 | 0 | 0 | 55.63 | 91.72 | 21.55 | 7.79 | 63.39 | 0 | 0 | 11.98 | 20.49 | 0 | 471.2
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Thu to Fri; Mon to Fri; Mon to Tue
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 459.2 | 400.7 | 509.1 | 0 | 342.5 | 0 | 0 | 328.4 | 444.6 | 451.7 | 455.9 | 0 | 0 | 0 | 194.4 | 150.8 | 302.2 | 403.6 | 405.9 | 0 | 0 | 454.9 | 454.9 | 410.9 | 447.4 | 202 | 0 | 0 | 150.5 | 416.8 | 150.5 | 7536.9
Product | CB/SM | SM/CB | CB | CB/ST | ST | 0 | 0 | VM | VM/ CB | CB | CB/ ST | 0 | 0 | 0 | ST | MK | MK/CB | CB | CB/ ST | 0 | 0 | CB | CB | CB/ST | ST | GN | 0 | 0 | SM | SM/ST | SM
No. of Brews | 9 | 8 | 10 | 10 | 7 | 0 | 0 | 7 | 9 | 9 | 9 | 0 | 0 | 0 | 4 | 3 | 6 | 7 | 8 | 0 | 0 | 9 | 9 | 8 | 9 | 4 | 0 | 0 | 3 | 8 | 3 | 159
Raw Water In - Nawasa | 226 | 143 | 5 | 479 | 272 | 93 | 0 | 152 | 54 | 115 | 242 | 84 | 80 | 80 | 80 | 80 | 80 | 80 | 243 | 0 | 52 | 142 | 59 | 130 | 132 | 132 | 132 | 132 | 132 | 132 | 65 | 3828
Into RO | [31 empty] | 0 | bar: Mon
| 8479 | 9132 | 7961 | 8276 | 8163 | 5259 | 5037 | 8003 | 8837 | 8797 | 7197 | 7195 | 5393 | 5482 | 9086 | 7655 | 8972 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 9638 | 234942
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2025-09-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  |  | Monthly Target
| Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue |  |  | Total |  | Diff.
Cases Produced | 5922 | 4718 | 4513 | 5941 | 4159 |  |  | 4642 | 5456 | 4861 | 86 | 983 |  |  | 7466 | 6702 | 6663 | 12334 | 7945 |  |  | 5295 | 7337 |  | 4287 | 7928 |  |  | 2865 | 3008 |  |  | 113111 | 77500 | 35611
HL produced | 390.852 | 311.388 | 297.858 | 392.106 | 274.494 |  |  | 306.372 | 360.096 | 320.826 | 5.676 | 64.878 |  |  | 518.4312 | 442.332 | 439.758 | 814.044 | 524.37 |  |  | 349.47 | 484.242 |  | 282.942 | 523.248 |  |  | 189.09 | 198.528 |  |  | 7491.0012
Product Type | CB/ST | ST/CB | CB | SM | CB |  |  | CB | CB | CB/GN | GN | GN |  |  | VM/ ST | ST | CB | CB | CB/ST |  |  | ST | ST/CB |  | CB/GN | MK/CB |  |  | CB | CB/LSh/GSh
Hls Brewed | 459.2 | 400.7 | 509.1 |  | 342.5 |  |  | 328.4 | 444.6 | 451.7 | 455.9 |  |  |  | 194.4 | 150.8 | 302.2 | 403.6 | 405.9 |  |  | 454.9 | 454.9 | 410.9 | 447.4 | 202 |  |  | 150.5 | 416.8 |  |  | 7386.4
Product | CB/SM | SM/CB | CB | CB/ST | ST |  |  | VM | VM/ CB | CB | CB/ ST |  |  |  | ST | MK | MK/CB | CB | CB/ ST |  |  | CB | CB | CB/ST | ST | GN |  |  | SM | SM/ST
No. of Brews | 9 | 8 | 10 | 10 | 7 |  |  | 7 | 9 | 9 | 9 |  |  |  | 4 | 3 | 6 | 7 | 8 |  |  | 9 | 9 | 8 | 9 | 4 |  |  | 3 | 8 |  |  | 156
Brewhouse (Hls brewed) | 3.615 | 5.1909 | 3.241 |  | 6.0438 |  |  | 5.8161 | 4.7458 | 4.1842 | 3.5973 |  |  |  | 5.144 | 7.8912 | 4.9305 | 4.0139 | 4.139 |  |  | 2.8798 | 4.2207 | 3.9669 | 4.0009 | 5.5941 |  |  | 2.8571 | 5.5902 |  |  | 4.7736
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 446 | 96 | 207 | 71 | 82 | 0 | 0 | 182 | 333 | 183 | 54 | 0 | 0 | 0 | 249 | 202 | 111 | 209 | 198 | 0 | 74 | 199 | 396 | 102 | 251 | 141 | 0 | 0 | 295 | 185 | 0 |  | 4266
Annanale Supply | 244 | 137 | 175 | 290 | 254 | 89 | 0 | 145 | 52 | 109 | 231 | 80 | 76 | 68 | 103 | 185 | 187 | 234 | 225 | 0 | 45 | 136 | 57 | 121 | 129 | 183 | 147 | 0 | 61 | 184 | 0 |  | 3947
Total Water Supply | 690 | 233 | 382 | 361 | 336 | 89 | 0 | 327 | 385 | 292 | 285 | 80 | 76 | 68 | 352 | 387 | 298 | 443 | 423 | 0 | 119 | 335 | 453 | 223 | 380 | 324 | 147 | 0 | 356 | 369 | 0 |  | 8213
0
Theoretical permeate | 164.98 | 104.39 | 3.65 | 349.67 | 198.56 | 67.89 | 0 | 110.96 | 39.42 | 83.95 | 176.66 | 61.32 | 58.4 | 54.02 | 123.37 | 95.63 | 143.08 | 172.28 | 177.39 | 0 | 37.96 | 103.66 | 43.07 | 94.9 | 96.36 | 140.89 | 112.42 | 0 | 47.45 | 141.62 | 0 |  | 3003.95 | 8669 |  | 11.5726
51.83
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 252 | 242 | 170 | 223 | 178 | 83 | 0 | 166 | 206 | 204 | 98 | 81 | 22 | 74 | 249 | 201 | 240 | 291 | 210 | 37 | 23 | 267 | 259 | 102 | 196 | 240 | 68 | 19 | 200 | 200 | 0 |  | 4801
Brewhouse | 166 | 208 | 165 | 180 | 207 | 0 | 0 | 191 | 211 | 189 | 164 | 50 | 0 | 6 | 100 | 119 | 149 | 162 | 168 | 0 | 1 | 131 | 192 | 163 | 179 | 113 | 35 | 1 | 43 | 233 | 0 |  | 3526
Boiler Supply | 11 | 23 | 15 | 19 | 15 | 1 | 2 | 18 | 14 | 13 | 10 | 7 | 0 | 2 | 21 | 12 | 17 | 22 | 15 | 3 | 7 | 17 | 13 | 5 | 13 | 15 | 1 | 2 | 15 | 14 | 0 |  | 342
Water consumption | 429 | 473 | 350 | 422 | 400 | 84 | 2 | 375 | 431 | 406 | 272 | 138 | 22 | 82 | 370 | 332 | 406 | 475 | 393 | 40 | 31 | 415 | 464 | 270 | 388 | 368 | 104 | 22 | 258 | 447 | 0 |  | 8669
Water Consumption detail
Brewhouse | 166 | 208 | 165 | 180 | 207 | 0 | 0 | 191 | 211 | 189 | 164 | 50 | 0 | 6 | 100 | 119 | 149 | 162 | 168 | 0 | 1 | 131 | 192 | 163 | 179 | 113 | 35 | 1 | 43 | 233 | 0 |  | 3526
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 356 |  | 356
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 86 | 72 | 22 | 68 | 52 | 0 | 0 | 12 | 30 | 49 | 30 | 12 | 0 | 4 | 46 | 37 | 32 | 57 | 39 | 0 | 0 | 42 | 65 | 57 | 45 | 51 | 0 | 0 | 48 | 46 | 0 |  | 1002
Bottles Washer | 78 | 70 | 68 | 75 | 59 | 40 | 0 | 64 | 75 | 70 | 21 | 23 | 4 | 29 | 100 | 84 | 99 | 128 | 89 | 6 | 25 | 87 | 95 | 1 | 77 | 99 | 30 | 1 | 70 | 72 | 0 |  | 1739
Bottle Filler | 26 | 18 | 20 | 19 | 15 | 0 | 0 | 15 | 19 | 18 | 5 | 4 | 0 | 17 | 26 | 20 | 29 | 32 | 24 | 0 | 14 | 0 | 48 | 2 | 18 | 26 | 1 | 0 | 21 | 28 | 0 |  | 465
Pasteuriser | 6 | 9 | 8 | 8 | 5 | 0 | 0 | 15 | 10 | 9 | 6 | 4 | 0 | 0 | 15 | 11 | 14 | 13 | 9 | 2 | 1 | 10 | 11 | 0 | 6 | 6 | 5 | 0 | 24 | 7 | 0 |  | 214
Boiler Supply | 11 | 23 | 15 | 19 | 15 | 1 | 2 | 18 | 14 | 13 | 10 | 7 | 0 | 2 | 21 | 12 | 17 | 22 | 15 | 3 | 7 | 17 | 13 | 5 | 13 | 15 | 1 | 2 | 15 | 14 | 0 |  | 342
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 373 | 400 | 298 | 369 | 353 | 41 | 2 | 315 | 359 | 348 | 236 | 100 | 4 | 58 | 308 | 283 | 340 | 414 | 344 | 11 | 48 | 287 | 424 | 228 | 338 | 310 | 72 | 4 | 221 | 400 | 356 |  | 7644
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 4.2471 | 6.6798 | 5.5396 | 4.5906 | 7.5411 |  |  | 6.2343 | 5.8595 | 5.891 | 288.9359 | 7.7068 |  |  | 1.9289 | 2.6903 | 3.3882 | 1.9901 | 3.2038 |  |  | 3.7485 | 3.965 |  | 6.3264 | 2.1596 |  |  | 2.274 | 11.7364 |  |  | 4.707 | 3.2 | -1.507
Spent Grains/Wash-down Areas | [32 empty] | 0.47524 | 0.1 | -0.37524
Whirlpool | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 1 | 1
CIP Process | 2.2003 | 2.3122 | 0.73861 | 1.7342 | 1.8944 |  |  | 0.39168 | 0.83311 | 1.5273 | 52.8541 | 1.8496 |  |  | 0.88729 | 0.83648 | 0.72767 | 0.70021 | 0.74375 |  |  | 1.2018 | 1.3423 |  | 1.5904 | 0.97468 |  |  | 2.5385 | 2.3171 |  |  | 1.3376 | 0.7 | -0.6376
Bottles Washer | 1.9956 | 2.248 | 2.283 | 1.9127 | 2.1494 |  |  | 2.089 | 2.0828 | 2.1819 | 36.9979 | 3.5451 |  |  | 1.9289 | 1.899 | 2.2512 | 1.5724 | 1.6973 |  |  | 2.4895 | 1.9618 |  | 2.7214 | 1.892 |  |  | 3.7019 | 3.6267 |  |  | 2.3215 | 2.1 | -0.22145
Bottle Filler | 0.66521 | 0.57806 | 0.67146 | 0.48456 | 0.54646 |  |  | 0.4896 | 0.52764 | 0.56105 | 8.809 | 0.61654 |  |  | 0.50151 | 0.45215 | 0.65945 | 0.3931 | 0.45769 |  |  | 0 | 0.99124 |  | 0.63617 | 0.4969 |  |  | 1.1106 | 1.4104 |  |  | 0.62074 | 0.7 | 0.079255
Pasteuriser | 0.15351 | 0.28903 | 0.26858 | 0.20403 | 0.18215 |  |  | 0.4896 | 0.2777 | 0.28053 | 10.5708 | 0.61654 |  |  | 0.28933 | 0.24868 | 0.31836 | 0.1597 | 0.17163 |  |  | 0.28615 | 0.22716 |  | 0.21206 | 0.11467 |  |  | 1.2692 | 0.3526 |  |  | 0.28568 | 0.1 | -0.18568
Boiler Supply | 0.28144 | 0.73863 | 0.5036 | 0.48456 | 0.54646 |  |  | 0.58752 | 0.38879 | 0.4052 | 17.618 | 1.0789 |  |  | 0.40507 | 0.27129 | 0.38658 | 0.27026 | 0.28606 |  |  | 0.48645 | 0.26846 |  | 0.45946 | 0.28667 |  |  | 0.79327 | 0.70519 |  |  | 0.45655 | 0.6 | 0.14345
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 9.5433 | 12.8457 | 10.0048 | 9.4107 | 12.86 | 0 | 0 | 10.2816 | 9.9696 | 10.847 | 415.7858 | 15.4135 | 0 | 0 | 5.941 | 6.3979 | 7.7315 | 5.0857 | 6.5603 | 0 | 0 | 8.2124 | 8.756 | 0 | 11.9459 | 5.9245 | 0 | 0 | 11.6876 | 20.1483 | 0 |  | 10.2042 | 9.6 | -0.60424
Bottling Hall water | 2.8144 | 3.1151 | 3.223 | 2.6013 | 2.878 | 0 | 0 | 3.0682 | 2.8881 | 3.0234 | 56.3777 | 4.7782 | 0 | 0 | 2.7197 | 2.5999 | 3.229 | 2.1252 | 2.3266 | 0 | 0 | 2.7756 | 3.1802 | 0 | 3.5696 | 2.5036 | 0 | 0 | 6.0818 | 5.3897 | 0 |  | 3.2279 | 2.9 | -0.32787
Water Plant Total (Before Sand Filter) | 226 | 143 | 5 | 479 | 272 | 93 | 0 | 152 | 54 | 115 | 242 | 84 | 80 | 74 | 169 | 131 | 196 | 236 | 243 | 0 | 52 | 142 | 59 | 130 | 132 | 193 | 154 | 0 | 65 | 194 | 0 |  | 4115
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 2400 | 2000 | 1800 | 1400 | 1500 |  | 3000 | 1600 | 1400 | 1100 | 0 | 300 | 0 | 1800 | 2200 | 2300 | 3000 | 2400 | 3300 | 0 |  | 800 | 2400 | 800 | 1000 | 3100 | 0 | 2000 | 1800 | 1300 | 0 | 0 | 44700
CO2 meter | 2513.9 | 1992.06 | 1666.91 | 1422.38 | 1516.53 | 0 | 0 | 1434.24 | 1951.37 | 1508.05 | 272.22 | 401.61 | 0 | 0 | 2220.12 | 2342.79 | 2373.73 | 3353.96 | 2876.24 | 0 | 1.87 | 1702.9 | 2375.55 | 315.85 | 1667.91 | 2874.29 | 0 | 0 | 1773.63 | 1362.19 | 0 |  | 39920.3
CO2 (kg.) (Filler) | 282.3 | 246.92 | 247.1 | 268.92 | 216.4 | 0 | 0 | 228.92 | 301.06 | 252.03 | 85.89 | 27.06 | 0 | 3.14 | 402.08 | 355.1 | 428.88 | 596.87 | 415.84 | 0 | 0 | 312.17 | 397.23 | 0 | 265.36 | 406.96 | 0 | 0 | 296.88 | 325.63 | 0 |  | 6362.74
CO2 (kg.) (BMF) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.81 | 104.84 | 0 | 0 | 55.63 | 91.72 | 21.55 | 7.79 | 63.39 | 0 | 0 | 11.98 | 20.49 | 0
0
CO2 (kg.)Consumption Meter | 2513.9 | 1992.06 | 1666.91 | 1422.38 | 1516.53 | 0 | 0 | 1434.24 | 1951.37 | 1508.05 |  | 401.61 |  | 0 | 2220.12 | 2342.79 | 2373.73 | 428.88 | 111 | 187 | 209 | 234 | 291 | 0 | 162 | 0 | 13 | 236 | 128 | 23672.79 | 0
Electricity (Kwh.) | 8479 | 9132 | 7961 | 8276 | 8163 | 5259 | 5037 | 8003 | 8837 | 8797 | 7197 | 7195 | 5393 | 5482 | 9086 | 7655 | 8972 | 9638 | 8664 | 5780 | 4822 | 8758 | 9760 | 6575 | 8566 | 8674 | 6376 | 4654 | 7658 | 9131 | 0 |  | 227980
Fuel (L) | 3020 | 2960 | 2910 | 3180 | 2830 | 290 | 170 | 3390 | 3060 | 2810 | 2370 | 1340 | 0 | 950 | 3140 | 2280 | 3190 | 3610 | 2910 | 0 | 1330 | 2910 | 3220 | 1540 | 3110 | 2810 | 690 | 740 | 2490 | 3180 | 0 |  | 66430
Steam Mass Flow | 382.655 | 0 | 0 | 0 | 0 | 0 | 0 | 896.424 | 0 | 0 | 0 | 141.445 | 0 | 0 | 33.424 | 0 | 0 | 0 | 0 | 5872.211 | 121.158 | 0 | 0 | 0 | 0 | 0 | 0 | 90.473 | 60.422 | 0 | 0 |  | 7598.212
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption | 17.6537 | 7.4826 | 12.8249 | 9.2067 | 12.2407 |  |  | 10.6733 | 10.6916 | 9.1015 | 502.1142 | 12.3308 |  |  | 6.7897 | 8.7491 | 6.7765 | 5.442 | 8.0668 |  |  | 9.5859 | 9.3548 |  | 13.4303 | 6.1921 |  |  | 18.827 | 18.5868 |  |  | 10.9638 | 10.2 | -0.76382 | 107.4884
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 6.1404 | 6.4229 | 6.0431 | 3.5705 | 5.4646 |  |  | 5.2224 | 3.8879 | 3.4286 | 0 | 4.6241 |  |  | 4.2436 | 5.1997 | 6.8219 | 2.9482 | 6.2933 |  |  | 2.2892 | 4.9562 |  | 3.5343 | 5.9245 |  |  | 9.5193 | 6.5482 |  |  | 5.9672 | 5 | -0.96716 | 119.3432
CO2 Filler (kg./Hl.) KPI | 0.72227 | 0.79297 | 0.82959 | 0.68583 | 0.78836 |  |  | 0.7472 | 0.83605 | 0.78557 | 15.1321 | 0.41709 |  |  | 0.77557 | 0.80279 | 0.97526 | 0.73322 | 0.79303 |  |  | 0.89327 | 0.82031 |  | 0.93786 | 0.77776 |  |  | 1.57 | 1.6402 |  |  | 0.84938 | 1.7 | 0.85062 | 49.9638
Electricity (Kwh./Hl.) KPI | 21.6936 | 29.3268 | 26.7275 | 21.1065 | 29.7384 |  |  | 26.1218 | 24.5407 | 27.4198 | 1267.9704 | 110.9005 |  |  | 17.526 | 17.306 | 20.4021 | 11.8397 | 16.5227 |  |  | 25.0608 | 20.1552 |  | 30.2748 | 16.5772 |  |  | 40.4992 | 45.9935 |  |  | 30.4338 | 22 | -8.4338 | 138.3357
[33 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 7.7267 | 9.5058 | 9.7698 | 8.1101 | 10.3099 |  |  | 11.065 | 8.4977 | 8.7586 | 417.5476 | 20.6542 |  |  | 6.0567 | 5.1545 | 7.254 | 4.4346 | 5.5495 |  |  | 8.3269 | 6.6496 |  | 10.9917 | 5.3703 |  |  | 13.1683 | 16.0179 |  |  | 8.868 | 7.2 | -1.668 | 123.1663
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.81 | 104.84 | 0 | 0 | 55.63 | 91.72 | 21.55 | 7.79 | 63.39 | 0 | 0 | #REF! | #REF! | 20.49 |  | #REF!
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency | Thu: 0%; Fri: 0%; Mon: 0%; Tue: 0%; Wed: 0%; Thu: 0%; Fri: 0%; Mon: #REF!; Tue: #REF! | 0% |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
Into RO | Mon: _; Tue: 143; Sat: _; Sun: _ | _ |  | 143
| 8479 |  | 7961 | 8276 | 8163 | 5259 | 5037 | 8003 | 8837 | 8797 | 7197 | 7195 | 5393 | 5482 | 9086 | 7655 | 8972 | 9638 | 8664 | 5780 | 4822 | 8758 | 9760 | 6575 | 8566 | 8674 | 6376 | 4654 | 7658 | 9131 | 0 |  | 227980
9132
Note on Y8: Kaylil Baptiste: No production due to damaged shaft on Washer
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11700 Kgs Mobile approx. 19100 kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 9300 Kgs Mobile approx. 0 kgs
Note on D74: Delano Pasea: Tank A 11400 kgs Tank B 0 kgs Tank C 14300 Kgs Mobile approx. 0 kgs
Note on E74: Delano Pasea: Tank A 9600 kgs Tank B 0 kgs Tank C 14300 Kgs Mobile approx. 0 kgs
Note on F74: Delano Pasea: Tank A 9600 kgs Tank B 0 kgs Tank C 14300 Kgs Mobile approx. 0 kgs
Note on G74: Delano Pasea: Tank A 9600 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx. 0 kgs
Note on I74: Delano Pasea: Tank A 9600 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx. 15500 kgs
Note on J74: Delano Pasea: Tank A 8000 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx. 15500 kgs
Note on K74: Delano Pasea: Tank A 6600 kgs Tank B 0 kgs Tank C 13400 Kgs Mobile approx. 15500 kgs
Note on L74: Delano Pasea: Tank A7800 (5500+2300) kgs Tank B 0 kgs Tank C 24800(13400+11400) Kgs Mobile approx. 0 kgs
Note on M74: Delano Pasea: Tank A7800 (5500+2300) kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on N74: Delano Pasea: Tank A7500 kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on P74: Delano Pasea: Tank A7500 (5500+2300) kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on Q74: Delano Pasea: Tank A5300 kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on R74: Delano Pasea: Tank A 3000 kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on S74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 24800 Kgs Mobile approx. 0 kgs
Note on T74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 22400 Kgs Mobile approx. 0 kgs
Note on U74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 19100 Kgs Mobile approx. 0 kgs
Note on W74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 19100 Kgs Mobile approx. 0 kgs
Note on X74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 18300 Kgs Mobile approx. 0 kgs
Note on Y74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15900 Kgs Mobile approx. 0 kgs
Note on Z74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15100 Kgs Mobile approx. 0 kgs
Note on AA74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 14100 Kgs Mobile approx. 19100 kgs
Note on AB74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11000 Kgs Mobile approx. 0 kgs
Note on AD74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 11000 Kgs Mobile approx. 20900 kgs
Note on AE74: Delano Pasea: Tank A 2500 kgs Tank B 0 kgs Tank C 24900 Kgs Mobile approx. 0 kgs
Note on AF74: Delano Pasea: Tank A 1200 kgs Tank B 0 kgs Tank C 24900 Kgs Mobile approx. 0 kgs
Note on AG74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 14100 Kgs Mobile approx. 0 kgs

## Water Analysis. '25
DAILY WATER CONSUMPTION FOR SEPTEMBER 2025
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 193319 | 446 | 220 | 41306 | 1312021 | 226 | 97122 | 0 | 1312021 | -1312021 | -1312021 | 0 | 26 | 892 |  |  | #DIV/0!
2 | 193765 | 96 | -47 | 0 | 1312247 | 143 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 192 |  |  | #DIV/0!
3 | 193861 | 207 | 202 | 0 | 1312390 | 5 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 414 |  |  | #DIV/0!
4 | 194068 | 71 | -408 | 0 | 1312395 | 479 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 142 |  |  | #DIV/0!
5 | 194139 | 82 | -190 | 0 | 1312874 | 272 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 164 |  |  | #DIV/0!
6 | 194221 | 0 | -93 | 0 | 1313146 | 93 | 97122 | 0 | 0 | 21191 | 21191 | 0 | 0 | 0 |  |  | #DIV/0!
7 | 194221 | 0 | 0 | 0 | 1313239 | 0 | 97122 | 0 | 21191 | -21191 | -21191 | 0 | 0 | 0 |  |  | #DIV/0!
8 | 194221 | 182 | 30 | 0 | 1313239 | 152 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 364 |  |  | #DIV/0!
9 | 194403 | 333 | 279 | 0 | 1313391 | 54 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 666 |  |  | #DIV/0!
10 | 194736 | 183 | 68 | 0 | 1313445 | 115 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 366 |  |  | #DIV/0!
11 | 194919 | 54 | -188 | 0 | 1313560 | 242 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 108 |  |  | #DIV/0!
12 | 194973 | 0 | -84 | 0 | 1313802 | 84 | 97122 | 0 | 0 | 0 | 0 | 0 | 4 | 0 |  |  | #DIV/0!
13 | 194973 | 0 | -80 | 0 | 1313886 | 80 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
14 | 194973 | 0 | -74 | 0 | 1313966 | 74 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 0 |  |  | #DIV/0!
15 | 194973 | 249 | 80 | 0 | 1314040 | 169 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 498 |  |  | #DIV/0!
16 | 195222 | 202 | 71 | 0 | 1314209 | 131 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 404 |  |  | #DIV/0!
17 | 195424 | 111 | -85 | 0 | 1314340 | 196 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 222 |  |  | #DIV/0!
18 | 195535 | 209 | -27 | 0 | 1314536 | 236 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 418 |  |  | #DIV/0!
19 | 195744 | 198 | -45 | 0 | 1314772 | 243 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 396 |  |  | #DIV/0!
20 | 195942 | 0 | 0 | 0 | 1315015 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
21 | 195942 | 74 | 22 | 0 | 1315015 | 52 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 148 |  |  | #DIV/0!
22 | 196016 | 199 | 57 | 0 | 1315067 | 142 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 398 |  |  | #DIV/0!
23 | 196215 | 396 | 337 | 0 | 1315209 | 59 | 97122 | 0 | 0 | 0 | 0 | 0 | 48 | 792 |  |  | #DIV/0!
24 | 196611 | 102 | -28 | 0 | 1315268 | 130 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 204 |  |  | #DIV/0!
25 | 196713 | 251 | 119 | 0 | 1315398 | 132 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 502 |  |  | #DIV/0!
26 | 196964 | 141 | -52 | 0 | 1315530 | 193 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 282 |  |  | #DIV/0!
27 | 197105 | 0 | -154 | 0 | 1315723 | 154 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | #DIV/0!
28 | 197105 | 0 | 0 | 0 | 1315877 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
| 197105 |  | 0 |  | 1315877 |  | 97122
Total |  | 3786 | -70 |  |  | 3856 |  | 0 | 1333212 | -1312021 | -1312021 | 0 | 416 | 7572 | 0 | 0 | #DIV/0!