## Entries October 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1. AUTO FLAME CONTROL | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8521060 | 1664248 |  | 64 | 11257.8 | 68225 |  | 1879366 |  | 468000 | 86618.26 | 630345.15 | 84635.48 | 252994 | 85776 | 989503 |  | 97233 |  | 538 | 1366036 |  | 49130 | 70773 | 15697 | 97122 |  | 6750 | 263787 | [5 empty] | 7383497.2
2 | 8522020 | 1667565.2 |  | 64 | 11278.3 | 68225 |  | 1886735 |  | 468000 | 87182.39 | 631924.63 | 84829.82 | 253049 | 85956 | 989752 |  | 97390 |  | 540 | 1366284 |  | 49189 | 70872 | 15716 | 97122 |  | 6766 | 263787 | [5 empty] | 7383497.2
3 | 8522020 | 1669800.3 |  | 64 | 11294.9 | 68225 |  | 1893824 |  | 468000 | 87657.8 | 633066.25 | 84975.92 | 253181 | 86136 | 989942 |  | 97516 |  | 543 | 1366475 |  | 49233 | 70953 | 15732 | 97122 |  | 6781 | 263787 | [5 empty] | 7383497.2
4 | 8522020 | 1670038.6 |  | 64 | 11296.5 | 68225 |  | 1897596 |  | 468000 | 87657.8 | 633066.25 | 84975.92 | 253181 | 86263 | 989987 |  | 97516 |  | 543 | 1366609 |  | 49233 | 70953 | 15735 | 97122 |  | 6781 | 263787 | [5 empty] | 7383497.2
5 | 8522020 | 1670373.5 |  | 64 | 11298.4 | 68225 |  | 1901658 |  | 468000 | 87657.8 | 633066.25 | 84975.92 | 253245 | 86263 | 990034 |  | 97516 |  | 543 | 1366609 |  | 49233 | 70953 | 15737 | 97122 |  | 6781 | 263787 | [5 empty] | 7383497.2
6 | 8522020 | 1673725.1 |  | 64 | 11318.3 | 68225 |  | 1906432 |  | 468000 | 88065.59 | 634649.56 | 85154.74 | 253318 | 86332 | 990220 |  | 97698 |  | 544 | 1366609 |  | 49271 | 71065 | 15757 | 97122 |  | 6798 | 263787 | [5 empty] | 7383497.2
7 | 8522020 | 1676379.8 |  | 64 | 11338.7 | 68225 |  | 1913658 |  | 468000 | 88532.83 | 636153.12 | 85356.25 | 253568 | 86424 | 990423 |  | 97932 |  | 547 | 1366778 |  | 49310 | 71164 | 15773 | 97122 |  | 6815 | 263787 | [5 empty] | 7383613.878
8 | 8522020 | 1679130.4 |  | 64 | 11357.9 | 68225 |  | 1920264 |  | 468000 | 88837.55 | 637569.31 | 85576.66 | 253802 | 86571 | 990642 |  | 98159 |  | 550 | 1366929 |  | 49360 | 71255 | 15789 | 97122 |  | 6832 | 263787 | [5 empty] | 7383613.878
9 | 8522020 | 1682101.2 |  | 64 | 11378.1 | 68225 |  | 1927851 |  | 468000 | 89615.13 | 639340.81 | 85799.84 | 254161 | 86661 | 990860 |  | 98346 |  | 554 | 1367136 |  | 49427 | 71344 | 15806 | 97122 |  | 6850 | 263787 | [5 empty] | 7383613.878
10 | 8522020 | 1685007.4 |  | 64 | 11396.3 | 68225 |  | 1934192 |  | 468000 | 90054.81 | 640872.81 | 85980.74 | 254539 | 86922 | 991066 |  | 98538 |  | 557 | 1367294 |  | 49468 | 71420 | 15830 | 97122 |  | 6864 | 263787 | [5 empty] | 7383613.878
11 | 8522020 | 1686556.9 |  | 64 | 11412.8 | 68225 |  | 1938692 |  | 468000 | 90382.36 | 641233.58 | 85985.83 | 254694 | 87082 | 991123 |  | 98700 |  | 557 | 1367464 |  | 49473 | 71425 | 15841 | 97122 |  | 6865 | 263787 | [5 empty] | 7383613.878
12 | 8522020 | 1687099 |  | 64 | 11415.6 | 68225 |  | 1941606 |  | 468000 | 90382.36 | 641233.58 | 85985.83 | 254694 | 87085 | 991166 |  | 98718 |  | 557 | 1367469 |  | 49473 | 71425 | 15850 | 97122 |  | 6865 | 263787 | [5 empty] | 7383613.878
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
1
Note on B7: Alexander Dominguez-Ramon: Diesel Meter Not Working

## Utility Analysis October 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 7369 | 0 | 7369 | 1057.5 | 12.55% | 0 | 8426.5 | 2350 | 960 | 1600 | 0 | 0 | 0 | 0 | 367.5648 | 22.9252 | 6.3934 | 2.6118 | 4.353
2 | 7089 | 0 | 7089 | 1571.3 | 18.14% | 0 | 8660.3 | 3120 | 0 | 1142 | 0 | 0 | 0 | 0 | 283.536 | 30.5439 | 11.0039 | 0 | 0
3 | 3772 | 0 | 3772 | 801.3 | 17.52% | 0 | 4573.3 | 1270 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 4062 | 0 | 4062 | 694.6 | 14.6% | 0 | 4756.6 | 640 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 4774 | 0 | 4774 | 1421 | 22.94% | 0 | 6195 | 1420 | 0 | 1583 | 0 | 0 | 0 | 0 | 326.502 | 18.9739 | 4.3491 | 0 | 0
6 | 7226 | 0 | 7226 | 1201.9 | 14.26% | 0 | 8427.9 | 3420 | 0 | 1504 | 0 | 0 | 0 | 0 | 357.192 | 23.5949 | 9.5747 | 0 | 0
7 | 6606 | 0 | 6606 | 1346.2 | 16.93% | 0 | 7952.2 | 3810 | 0 | 1416 | 0 | 0 | 0 | 0 | 406.428 | 19.5661 | 9.3744 | 0 | 0
8 | 7587 | 0 | 7587 | 1358.1 | 15.18% | 0 | 8945.1 | 4490 | 0 | 1772 | 0 | 0 | 0 | 0 | 361.218 | 24.7637 | 12.4302 | 0 | 0
9 | 6341 | 0 | 6341 | 1373.4 | 17.8% | 0 | 7714.4 | 6390 | 0 | 1532 | 0 | 0 | 0 | 0 | 308.484 | 25.0075 | 20.7142 | 0 | 0
10 | 4500 | 0 | 4500 | 1567.4 | 25.83% | 0 | 6067.4 | 3150 | 0 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 2914 | 0 | 2914 | 1119.5 | 27.76% | 0 | 4033.5 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 62240 | 13512.2 | 17.84% | 0 | 75752.2 | 30090 | 960 | 10910 | 0 | 0 | 0 | 0 | 2410.9248 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 75752.2 | [11 empty] | 31.4204 | 12.4807 | 0.39819 | 4.5252

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 116.678
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
116.678

## Fuel
DAILY FUEL CONSUMPTION FOR OCTOBER 2026
[12 empty] | KPI WITH ORIGINAL METER | KPI WITH AUTO FLAME METER
DATE | Boiler 1 | Boiler 1 | Boiler 1. (AF Control) | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 | Gen. | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL) | Fuel(Litres/HL) | DIFERENCE (LTS)
| Cons ( l ) | Hrs | Cons ( l ) | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 960 | 20.5 | 3317.2 | 0 | 0 |  |  | 46.8293 | 0 | 960 | 367.5648 | 2.6118 | 9.0248 | -2357.2
2 | 0 | 16.6 | 2235.1 | 0 | 0 |  |  | 0 | 0 | 0 | 283.536 | 0 | 7.8829 | -2235.1
3 | 0 | 1.6 | 238.3 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -238.3
4 | 0 | 1.9 | 334.9 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -334.9
5 | 0 | 19.9 | 3351.6 | 0 | 0 |  |  | 0 | 0 | 0 | 326.502 | 0 | 10.2652 | -3351.6
6 | 0 | 20.4 | 2654.7 | 0 | 0 |  |  | 0 | 0 | 0 | 357.192 | 0 | 7.4321 | -2654.7
7 | 0 | 19.2 | 2750.6 | 0 | 0 |  |  | 0 | 0 | 0 | 406.428 | 0 | 6.7677 | -2750.6
8 | 0 | 20.2 | 2970.8 | 0 | 0 |  |  | 0 | 0 | 0 | 361.218 | 0 | 8.2244 | -2970.8
9 | 0 | 18.2 | 2906.2 | 0 | 0 |  |  | 0 | 0 | 0 | 308.484 | 0 | 9.4209 | -2906.2
10 | 0 | 16.5 | 1549.5 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -1549.5
11 | 0 | 2.8 | 542.1 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -542.1
12 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 960 | 157.8 | 22851 |  | 0 | 0 | 0 | 6.0837 |  | 960 | 2410.9248 | 0.39819 | 9.4781
AVE. | 960 | 14.3455 | [5 empty] | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 55 | 180 | 248 | -13 | 249 | 0 | 157 | 0 | 0 | 2 | 59 | 99 | 16 | 19 | 0 | -130 | 160 | 16 | 0 | 0 | 0 | 0 | 235 | 367.5648 | 6.3934
| 2 | 0 | 132 | 180 | 191 | 121 | 190 | 0 | 126 | 0 | 0 | 3 | 44 | 81 | 15 | 16 | 0 | 1210 | 128 | 15 | 0 | 0 | 0 | 0 | 312 | 283.536 | 11.0039
| 3 | 0 | 0 | 127 | 134 | -7 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 127 | 0 | 0
| 4 | 0 | 64 | 0 | 0 | 64 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 640 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0
| 5 | 0 | 73 | 69 | 0 | 142 | 186 | 0 | 182 | 0 | 0 | 1 | 38 | 112 | 17 | 20 | 0 | 1420 | 151 | 17 | 0 | 0 | 0 | 0 | 142 | 326.502 | 4.3491
| 6 | 0 | 250 | 92 | 169 | 173 | 203 | 0 | 234 | 0 | 0 | 3 | 39 | 99 | 17 | 16 | 0 | 1730 | 141 | 17 | 0 | 0 | 0 | 0 | 342 | 357.192 | 9.5747
| 7 | 0 | 234 | 147 | 151 | 230 | 219 | 0 | 227 | 0 | 0 | 3 | 50 | 91 | 17 | 16 | 0 | 2300 | 144 | 17 | 0 | 0 | 0 | 0 | 381 | 406.428 | 9.3744
| 8 | 0 | 359 | 90 | 207 | 242 | 218 | 0 | 187 | 0 | 0 | 4 | 67 | 89 | 18 | 17 | 0 | 2420 | 160 | 18 | 0 | 0 | 0 | 0 | 449 | 361.218 | 12.4302
| 9 | 0 | 378 | 261 | 158 | 481 | 206 | 0 | 192 | 0 | 0 | 3 | 41 | 76 | 14 | 24 | 0 | 4810 | 120 | 14 | 0 | 0 | 0 | 0 | 639 | 308.484 | 20.7142
| 10 | 0 | 155 | 160 | 170 | 145 | 57 | 0 | 162 | 0 | 0 | 0 | 5 | 5 | 1 | 11 | 0 | 1450 | 10 | 1 | 0 | 0 | 0 | 0 | 315 | 0 | 0
| 11 | 0 | 0 | 3 | 5 | -2 | 43 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 1700 | 1309 | 1433 | 1576 | 1663 |  | 1485 |  | 0 | 19 | 343 | 652 | 115 | 153 | 0 | 15760 | 1014 | 115 | 0 |  |  |  | 3009 | 2410.9248 | 12.4807 | 10.2 | 122.3597
| Gals. |  | 374000
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 5912.94
| Add basic charge |  | 278.97
6191.91
| Proxy sewage charge (2/3) |  | 4127.94
| Proxy MTD NAWASA cost |  | 10319.85
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.OCTOBER 2026
DAILY ELECTRICITY CONSUMPTION FOR OCTOBER 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 7369 | 0 | 1057.5 | 8426.5 | 367.5648 | 22.9252
2 | 7089 | 0 | 1571.3 | 8660.3 | 283.536 | 30.5439
3 | 3772 | 0 | 801.3 | 4573.3 | 0 | 0
4 | 4062 | 0 | 694.6 | 4756.6 | 0 | 0
5 | 4774 | 0 | 1421 | 6195 | 326.502 | 18.9739
6 | 7226 | 0 | 1201.9 | 8427.9 | 357.192 | 23.5949
7 | 6606 | 0 | 1346.2 | 7952.2 | 406.428 | 19.5661
8 | 7587 | 0 | 1358.1 | 8945.1 | 361.218 | 24.7637
9 | 6341 | 0 | 1373.4 | 7714.4 | 308.484 | 25.0075
10 | 4500 | 0 | 1567.4 | 6067.4 | 0 | 0
11 | 2914 | 0 | 1119.5 | 4033.5 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 |  |  | %
MTD | 62240 | 0 | 13512.2 | 75752.2 | 2410.9248 | 31.4204 | 22 | 142.82
TARGET

## PROD.FIG.
PRODUCTION FOR OCTOBER 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Tuesday | 1 | [5 empty] | 367.5648
Wednesday | 2 | [5 empty] | 283.536
Thursday | 3 | [5 empty] | 0
Friday | 4 | [5 empty] | 0
Saturday | 5 | [5 empty] | 326.502
Sunday | 6 | [5 empty] | 357.192
Monday | 7 | [5 empty] | 406.428
Tuesday | 8 | [5 empty] | 361.218
Wednesday | 9 | [5 empty] | 308.484
Thursday | 10 | [5 empty] | 0
Friday | 11 | [5 empty] | 0
Saturday | 12 | [5 empty] | 0
Sunday | 13 | [5 empty] | 0
Monday | 14 | [5 empty] | 0
Tuesday | 15 | [5 empty] | 0
Wednesday | 16 | [5 empty] | 0
Thursday | 17 | [5 empty] | 0
Friday | 18 | [5 empty] | 0
Saturday | 19 | [5 empty] | 0
Sunday | 20 | [5 empty] | 0
Monday | 21 | [5 empty] | 0
Tuesday | 22 | [5 empty] | 0
Wednesday | 23 | [5 empty] | 0
Thursday | 24 | [5 empty] | 0
Friday | 25 | [5 empty] | 0
Saturday | 26 | [5 empty] | 0
Sunday | 27 | [5 empty] | 0
Monday | 28 | [5 empty] | 0
Tuesday | 29 | [5 empty] | 0
Wednesday | 30 | [5 empty] | 0
| 31 | [5 empty] | 0
[6 empty] | TOTAL | 2410.9248
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for OCTOBER 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 194.34 | 564.13 | 1579.48 | 1600 | 367.5648 | 4.353 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 146.1 | 475.41 | 1141.62 | 1142 | 283.536 | 4.0277 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 178.82 | 407.79 | 1583.31 | 1583 | 326.502 | 4.8484 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 201.51 | 467.24 | 1503.56 | 1504 | 357.192 | 4.2106 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 220.41 | 304.72 | 1416.19 | 1416 | 406.428 | 3.484 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 223.18 | 777.58 | 1771.5 | 1772 | 361.218 | 4.9056 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 180.9 | 439.68 | 1532 | 1532 | 308.484 | 4.9662 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 5.09 | 327.55 | 360.77 | 361 | 0 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE!
23 | 0 | 0 | 0 | 0 | 0 | 0 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 |  | #VALUE! | 0 | 0 | 0 | #VALUE! | #VALUE!
24 | 0 | 0 | 0 | 0 | 0 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 1350.35 | 3764.1 | 10888.43 | 10910 | 2410.9248 | 4.5252 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | #VALUE!

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-10-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 4296 | 0 | 0 | 4947 | 5412 | 6158 | 5473 | 4674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 30960 | 96325 | -65365
HL produced | 367.5648 | 283.536 | 0 | 0 | 326.502 | 357.192 | 406.428 | 361.218 | 308.484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 2410.9248
Product Type | ST/VM | VM/VMg | 0 | 0 | CB | CB | CB/ST | ST | ST | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 55 | 132 | 0 | 64 | 73 | 250 | 234 | 359 | 378 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1700
Annanale Supply | 180 | 180 | 127 | 0 | 69 | 92 | 147 | 90 | 261 | 160 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1309
Total Water Supply | 235 | 312 | 127 | 64 | 142 | 342 | 381 | 449 | 639 | 315 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3009
0
Theoretical permeate | 181.04 | 139.43 | 97.82 | 0 | 0 | 123.37 | 110.23 | 151.11 | 115.34 | 124.1 | 3.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1046.09 | 3301 |  | 13.6918
46.72
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 249 | 190 | 45 | 47 | 186 | 203 | 219 | 218 | 206 | 57 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1663
Water consumption | 249 | 190 | 45 | 47 | 186 | 203 | 219 | 218 | 206 | 57 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1663
| 6.7743 | 6.7011 |  |  | 5.6967 | 5.6832 | 5.3884 | 6.0351 | 6.6778
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 157 | 126 | 0 | 0 | 182 | 234 | 227 | 187 | 192 | 162 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1485
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 59 | 44 | 0 | 0 | 38 | 39 | 50 | 67 | 41 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 343 |  |  | 15588.1818
Bottles Washer | 99 | 81 | 0 | 0 | 112 | 99 | 91 | 89 | 76 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 652
Bottle Filler | 16 | 15 | 0 | 0 | 17 | 17 | 17 | 18 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115
Pasteuriser | 2 | 3 | 0 | 0 | 1 | 3 | 3 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
Boiler Supply | 19 | 16 | 3 | 2 | 20 | 16 | 16 | 17 | 24 | 11 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 153
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162
Personnel Consumption
Total water consumption (M3) | 352 | 285 | 3 | 2 | 370 | 408 | 404 | 382 | 350 | 184 | 189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2929
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 1579.48 | 1141.62 | 0 | 0 | 1583.31 | #REF! | #REF! | 1771.5 | 1532 | 360.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF!
CO2 (kg.) (Filler) | 194.34 | 146.1 | 0 | 0 | 178.82 | 201.51 | 220.41 | 223.18 | 180.9 | 5.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1350.35
Electricity (Kwh.) | 7369 | 7089 | 3772 | 4062 | 4774 | 7226 | 6606 | 7587 | 6341 | 4500 | 2914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62240
Fuel (L) | 960 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 960
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Days: Total water consumption; Sun: 6.3934; Mon: 11.0039; Thu: 4.3491; Fri: 9.5747; Sat: 9.3744; Sun: 12.4302; Mon: 20.7142; Total: 12.4807 | 10.2 | -2.2807
Days: Consumption detail; Total: MTD | Target | Diff
Days: Brewhouse / Old Pepsi Area; Sun: 4.2714; Mon: 4.4439; Thu: 5.5742; Fri: 6.5511; Sat: 5.5852; Sun: 5.1769; Mon: 6.224; Total: 6.1595 | 2.5 | -3.6595
Days: Brewhouse (Hls brewed); Sun: 6.2976; Mon: 8.3333; Thu: 4.5752; Fri: 5.2443; Sat: 6.5569; Sun: 5.4124; Total: 7.6697 | 2.5 | -5.1697
Days: Spent Grains/Wash-down Areas; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0 | 0.1 | 0.1
Days: Whirlpool | 0.1 | 0.1
Days: Filtration/Cellars; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0 | 0.7 | 0.7
Days: Processing/Cellars; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0 | 1 | 1
Days: CIP Process; Sun: 1.6052; Mon: 1.5518; Thu: 1.1639; Fri: 1.0918; Sat: 1.2302; Sun: 1.8548; Mon: 1.3291; Total: 1.4227 | 0.7 | -0.72269
Days: Bottles Washer; Sun: 2.6934; Mon: 2.8568; Thu: 3.4303; Fri: 2.7716; Sat: 2.239; Sun: 2.4639; Mon: 2.4637; Total: 2.7044 | 2.6 | -0.10436
Days: Bottle Washer | 2.6 | 2.6
Days: Bottle Filler; Sun: 0.4353; Mon: 0.52903; Thu: 0.52067; Fri: 0.47593; Sat: 0.41828; Sun: 0.49831; Mon: 0.45383; Total: 0.477 | 0.7 | 0.223
Days: Pasteuriser; Sun: 0.054412; Mon: 0.10581; Thu: 0.030628; Fri: 0.083988; Sat: 0.073814; Sun: 0.11074; Mon: 0.09725; Total: 0.078808 | 0.1 | 0.021192
Days: Boiler Supply; Sun: 0.51692; Mon: 0.5643; Thu: 0.61255; Fri: 0.44794; Sat: 0.39367; Sun: 0.47063; Mon: 0.778; Total: 0.63461 | 0.6 | -0.034611
Days: Backwash Supply; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0 | 0.5 | 0.5
Days: Refrigeration Unit; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0 | 0.3 | 0.3
Days: CO2 Scrubber | 0.4 | 0.4
Days: Personnel Consumption | 0.2 | 0.2
Water consumption (M3) | 15.8742 | 18.385 | 0 | 0 | 15.9074 | 16.6667 | 16.4972 | 15.9878 | 11.3458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.1466 | 15.6 | -3.5466
Bottling Hall water | 3.1831 | 3.4916 | 0 | 0 | 3.9816 | 3.3315 | 2.7311 | 3.0729 | 3.0147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2602 | 6 | 2.7398
Days: CO2 (kg./Hl.) KPI; Sun: 4.2971; Mon: 4.0264; Thu: 4.8493; Fri: #REF!; Sat: #REF!; Sun: 4.9042; Mon: 4.9662; Total: #REF! | 5 | #REF!
Days: CO2 Filler (kg./Hl.) KPI; Sun: 0.52872; Mon: 0.51528; Thu: 0.54768; Fri: 0.56415; Sat: 0.54231; Sun: 0.61785; Mon: 0.58642; Total: 0.5601 | 1.7 | 1.1399
Days: Electricity (Kwh./Hl.) KPI; Sun: 20.0482; Mon: 25.0021; Thu: 14.6217; Fri: 20.23; Sat: 16.2538; Sun: 21.0039; Mon: 20.5554; Total: 25.8158 | 22 | -3.8158
[33 empty] | 31.2 | 31.2
Days: Fuel (L/Hl.) KPI; Sun: 2.6118; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Total: 0.39819 | 7.2 | 6.8018
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 564.13 | 475.41 | 0 | 0 | 407.79 | 467.24 | 547620.29 | 0 | 439.68 | 327.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 550302.09
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 0% | 0% |  |  | 0% | 0% | 0% |  | 0% | 0% | [21 empty] | 0%
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 249.3 | 151.2 | 0 | 0 | 397.8 | 446.2 | 346.2 | 345.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1936.2
Product | CB | CB | 0 | 0 | CB | CB | ST | ST/CB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No. of Brews | 5 | 3 | 0 | 0 | 8 | 9 | 7 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39
Raw Water In - Nawasa | 248 | 191 | 134 | 0 | 0 | 169 | 151 | 207 | 158 | 170 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1433
Into RO | _ | [30 empty] | 0
| 7369 | 7089 | 3772 | 4062 | 4774 | 7226 | 6606 | 7587 | 6341 | 4500 | 2914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62240
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-10-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  |  | Monthly Target
| Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Total |  | Diff.
2026-10-01: Cases Produced; 1: 5484; 2: 4296; 5: 4947; 6: 5412; 7: 6158; 8: 5473; 9: 4674 |  | 36444 | 123950 | -87506
HL produced | 367.5648 | 283.536 | 0 | 0 | 326.502 | 357.192 | 406.428 | 361.218 | 308.484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2410.9248
Product Type | ST/VM | VM/VMg |  |  | CB | CB | CB | CB/ST | ST
2026-10-01: Hls Brewed; 1: 249.3; 2: 151.2; 5: 397.8; 6: 446.2; 7: 346.2; 8: 345.5 |  | 1936.2
Product | CB | CB |  |  | CB | CB/ST | ST | ST/CB
2026-10-01: No. of Brews; 1: 5; 2: 3; 5: 8; 6: 9; 7: 7; 8: 7 |  | 39
2026-10-01: Brewhouse (Hls brewed) |  | 7.6697
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 55 | 132 | 0 | 64 | 73 | 250 | 234 | 359 | 378 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1700
Annanale Supply | 180 | 180 | 127 | 0 | 69 | 92 | 147 | 90 | 261 | 160 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1309
Total Water Supply | 235 | 312 | 127 | 64 | 142 | 342 | 381 | 449 | 639 | 315 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3009
0
Theoretical permeate | 181.04 | 139.43 | 97.82 | 0 | 0 | 123.37 | 110.23 | 151.11 | 115.34 | 124.1 | 3.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1046.09 | 3301 |  | 13.6918
46.72
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 249 | 190 | 45 | 47 | 186 | 203 | 219 | 218 | 206 | 57 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1663
Brewhouse | 157 | 126 | 0 | 0 | 182 | 234 | 227 | 187 | 192 | 162 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1485
Boiler Supply | 19 | 16 | 3 | 2 | 20 | 16 | 16 | 17 | 24 | 11 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 153
Water consumption | 425 | 332 | 48 | 49 | 388 | 453 | 462 | 422 | 422 | 230 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3301
Water Consumption detail (M3)
Brewhouse | 157 | 126 | 0 | 0 | 182 | 234 | 227 | 187 | 192 | 162 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1485
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 59 | 44 | 0 | 0 | 38 | 39 | 50 | 67 | 41 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 343
Bottles Washer | 99 | 81 | 0 | 0 | 112 | 99 | 91 | 89 | 76 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 652
Bottle Filler | 16 | 15 | 0 | 0 | 17 | 17 | 17 | 18 | 14 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 115
Pasteuriser | 2 | 3 | 0 | 0 | 1 | 3 | 3 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 19
Boiler Supply | 19 | 16 | 3 | 2 | 20 | 16 | 16 | 17 | 24 | 11 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 153
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
2026-10-01: Backwash Supply |  | 0
Total water consumption (M3) | 352 | 285 | 3 | 2 | 370 | 408 | 404 | 382 | 350 | 184 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2767
2026-10-01: Consumption detail |  | MTD | Target | Diff
2026-10-01: Brewhouse/Filtration/Cellar; 1: 4.2714; 2: 4.4439; 5: 5.5742; 6: 6.5511; 7: 5.5852; 8: 5.1769; 9: 6.224 |  | 6.1595 | 3.2 | -2.9595
2026-10-01: Spent Grains/Wash-down Areas |  | 0 | 0.1 | 0.1
2026-10-01: Whirlpool; 1: 0; 2: 0; 5: 0; 6: 0; 7: 0; 8: 0; 9: 0 |  | 0 | 0.1 | 0.1
2026-10-01: Cellars/Filtration; 1: 0; 2: 0; 5: 0; 6: 0; 7: 0; 8: 0; 9: 0 |  | 0 | 0.7 | 0.7
2026-10-01: Processing/Cellars; 1: 0; 2: 0; 5: 0; 6: 0; 7: 0; 8: 0; 9: 0 |  | 0 | 1 | 1
2026-10-01: CIP Process; 1: 1.6052; 2: 1.5518; 5: 1.1639; 6: 1.0918; 7: 1.2302; 8: 1.8548; 9: 1.3291 |  | 1.4227 | 0.7 | -0.72269
2026-10-01: Bottles Washer; 1: 2.6934; 2: 2.8568; 5: 3.4303; 6: 2.7716; 7: 2.239; 8: 2.4639; 9: 2.4637 |  | 2.7044 | 2.1 | -0.60436
2026-10-01: Bottle Filler; 1: 0.4353; 2: 0.52903; 5: 0.52067; 6: 0.47593; 7: 0.41828; 8: 0.49831; 9: 0.45383 |  | 0.477 | 0.7 | 0.223
2026-10-01: Pasteuriser; 1: 0.054412; 2: 0.10581; 5: 0.030628; 6: 0.083988; 7: 0.073814; 8: 0.11074; 9: 0.09725 |  | 0.078808 | 0.1 | 0.021192
2026-10-01: Boiler Supply; 1: 0.51692; 2: 0.5643; 5: 0.61255; 6: 0.44794; 7: 0.39367; 8: 0.47063; 9: 0.778 |  | 0.63461 | 0.6 | -0.034611
2026-10-01: Backwash Supply |  |  | 0.5 | 0.5
2026-10-01: Refrigeration Unit; 1: 0; 2: 0; 5: 0; 6: 0; 7: 0; 8: 0; 9: 0 |  | 0 | 0.3 | 0.3
2026-10-01: CO2 Scrubber |  |  | 0.4 | 0.4
2026-10-01: Personnel Consumption |  |  | 0.2 | 0.2
Water consumption (M3) | 9.5765 | 10.0516 | 0 | 0 | 11.3322 | 11.4224 | 9.9403 | 10.5753 | 11.3458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 11.4769 | 9.6 | -1.8769
Bottling Hall water | 3.1831 | 3.4916 | 0 | 0 | 3.9816 | 3.3315 | 2.7311 | 3.0729 | 3.0147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.2602 | 2.9 | -0.36016
Water Plant Total (Before Sand Filter) | 248 | 191 | 134 | 0 | 0 | 169 | 151 | 207 | 158 | 170 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1433
2026-10-01: CO2 (kg.) Filler |  | 0
2026-10-01: CO2 (kg.) (Ex. Vap'r); 1: 1600; 2: 1142; 3: 0; 4: 0; 5: 1583; 6: 1504; 7: 1416; 8: 1772; 9: 1532; 10: 361 |  | 10910
CO2 Totalizer | 1579.48 | 1141.62 | 0 | 0 | 1583.31 | 1503.56 | 1416.19 | 1771.5 | 1532 | 360.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10888.43
CO2 (kg.) (FILLER) | 194.34 | 146.1 | 0 | 0 | 178.82 | 201.51 | 220.41 | 223.18 | 180.9 | 5.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1350.35
CO2 (kg.) (BBT / Carbo Cooler SECTION) | 564.13 | 475.41 | 0 | 0 | 407.79 | 467.24 | 304.72 | 777.58 | 439.68 | 327.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3764.1
CO2 (kg.) (Fermenters?) Calculated | 821.01 | 520.11 | 0 | 0 | 996.7 | 834.81 | 891.06 | 770.74 | 911.42 | 28.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5773.98
CO2 (kg.)Consumption Meter | 1579.48 | 1141.62 | 0 | 0 | 1583.31 | #REF! | #REF! | 1771.5 | 1532 | 360.77 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | 0
Electricity GRENLEC (Kwh.) | 7369 | 7089 | 3772 | 4062 | 4774 | 7226 | 6606 | 7587 | 6341 | 4500 | 2914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 62240
1: #VALUE! |  | #VALUE!
| 4573.3 | 4756.6 | 6195 | 8427.9 | 7952.2 | 8945.1 | 7714.4 | 6067.4 | 4033.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 | 75752.2 | 0 |  | 134417.6
Electricity PV System Target= 1332 (Kwh) | 1057.5 | 1571.3 | 801.3 | 694.6 | 1421 | 1201.9 | 1346.2 | 1358.1 | 1373.4 | 1567.4 | 1119.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 13512.2
Fuel (L) | 3317.2 | 2235.1 | 238.3 | 334.9 | 3351.6 | 2654.7 | 2750.6 | 2970.8 | 2906.2 | 1549.5 | 542.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 22851
Steam Mass Flow | 0 | 0 | 0 | 0 | 0 | 116.678 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 116.678
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
2026-10-01: Total water consumption; 1: 6.3934; 2: 11.0039; 5: 4.3491; 6: 9.5747; 7: 9.3744; 8: 12.4302; 9: 20.7142 |  | 12.4807 | 10.2 | -2.2807 | 122.3597
[33 empty] | 0 |  |  | #DIV/0!
2026-10-01: CO2 (kg./Hl.) KPI; 1: 4.353; 2: 4.0277; 5: 4.8484; 6: 4.2106; 7: 3.484; 8: 4.9056; 9: 4.9662 |  | 4.5252 | 5 | 0.47477 | 90.5047
2026-10-01: CO2 Filler (kg./Hl.) KPI; 1: 0.52872; 2: 0.51528; 5: 0.54768; 6: 0.56415; 7: 0.54231; 8: 0.61785; 9: 0.58642 |  | 0.5601 | 1.7 | 1.1399 | 32.9468
2026-10-01: Electricity (Kwh./Hl.) KPI; 1: 22.9252; 2: 30.5439; 5: 18.9739; 6: 23.5949; 7: 19.5661; 8: 24.7637; 9: 25.0075 |  | 31.4204 | 22 | -9.4204 | 142.82
[33 empty] | 23.9492 |  |  | #DIV/0!
2026-10-01: Fuel (L/Hl.) KPI; 1: 9.0248; 2: 7.8829; 5: 10.2652; 6: 7.4321; 7: 6.7677; 8: 8.2244; 9: 9.4209 |  | 9.4781 | 7.2 | -2.2781 | 131.6404
2026-10-01: Total Bottles Washed |  | 0 |  | .
2026-10-01: Bottle Washer (Including rejects) |  | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 564.13 | 475.41 | 0 | 0 | 407.79 | 467.24 | 547620.29 | 0 | 439.68 | 327.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
2026-10-01: CO2 recovered (Kg - liquid) |  | 0
2026-10-01: CO2 liquid conversion efficiency; 1: 0%; 2: 0%; 5: 0%; 7: 0%; 9: 0%; 10: 0%; 1904-12-04 29: #REF!; 1904-12-04 30: #REF! |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
2026-10-01: Into RO; 1: _; 2: 191; 1904-12-04 27: _; 1904-12-04 28: _; 1904-12-04 31: _ |  | 191
| 7369 |  | 3772 | 4062 | 4774 | 7226 | 6606 | 7587 | 6341 | 4500 | 2914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 62240
7089
17.84%
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 0 kgs Tank B 0 kgs Tank C 16300 Kgs mobile approx 19600 Kgs 0 kgs after adjustment for MT mobile weight
Note on C74: Tank A 0 kgs Tank B 0 kgs Tank C 25700 Kgs mobile approx 8600 Kgs 0 kgs after adjustment for MT mobile weight

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR OCTOBER 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 252994 | 55 | -193 | 70773 | 1366036 | 248 | 97122 | 0 | 1366036 | -1366036 | -1366036 | 0 | 16 | 110 |  |  | #DIV/0!
2 | 253049 | 132 | -59 | 0 | 1366284 | 191 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 264 |  |  | #DIV/0!
3 | 253181 | 0 | -134 | 0 | 1366475 | 134 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
4 | 253181 | 64 | 64 | 0 | 1366609 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 128 |  |  | #DIV/0!
5 | 253245 | 73 | 73 | 0 | 1366609 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 146 |  |  | #DIV/0!
6 | 253318 | 250 | 81 | 0 | 1366609 | 169 | 97122 | 0 | 0 | 547 | 547 | 0 | 17 | 500 |  |  | #DIV/0!
7 | 253568 | 234 | 83 | 0 | 1366778 | 151 | 97122 | 0 | 547 | -547 | -547 | 0 | 17 | 468 |  |  | #DIV/0!
8 | 253802 | 359 | 152 | 0 | 1366929 | 207 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 718 |  |  | #DIV/0!
9 | 254161 | 378 | 220 | 0 | 1367136 | 158 | 97122 | 0 | 0 | 0 | 0 | 0 | 14 | 756 |  |  | #DIV/0!
10 | 254539 | 155 | -15 | 0 | 1367294 | 170 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 310 |  |  | #DIV/0!
11 | 254694 | 0 | -5 | 0 | 1367464 | 5 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 254694 | -254694 | 1112775 | 0 | 1367469 | -1367469 | 97122 | -97122 | 0 | 0 | -97122 | 0 | -6865 | -509388 |  |  | #DIV/0!
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
| 0 |  | 0 |  | 0 |  | 0
Total |  | -252994 | 1113042 |  |  | -1366036 |  | -97122 | 1366583 | -1366036 | -1463158 | 0 | -6750 | -505988 | 0 | 0 | #DIV/0!