## Entries April 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (FILTRATION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8119100 |  |  | 64 | 8658.6 | 68225 |  | 825474 |  | 468000 | 19274.65 | 377633.25 | 58084.65 | 227533 | 61994 | 959930 |  | 78247 |  | 22559 | 1341402 |  | 43639 | 59389 | 13039 | 97122 |  | 4267 | 262820 | [5 empty] | 7360518.265
2 | 8121800 |  |  | 64 | 8675.8 | 68225 |  | 831401 |  | 468000 | 19386.46 | 379260.63 | 58202.47 | 227740 | 62150 | 960141 |  | 78343 |  | 22561 | 1341566 |  | 43707 | 59449 | 13052 | 97122 |  | 4280 | 262846 | [5 empty] | 7361047.373
3 | 8124250 |  |  | 64 | 8693.4 | 68225 |  | 837233 |  | 468000 | 19624.64 | 381077.13 | 58342.52 | 227864 | 62318 | 960307 |  | 78419 |  | 22563 | 1341743 |  | 43730 | 59506 | 13056 | 97122 |  | 4301 | 262846 | [5 empty] | 7361047.373
4 | 8124400 |  |  | 64 | 8695.1 | 68225 |  | 839927 |  | 468000 | 19624.64 | 381077.13 | 58342.52 | 227864 | 62318 | 960320 |  | 78419 |  | 22563 | 1341743 |  | 43730 | 59506 | 13073 | 97122 |  | 4301 | 262846 | [5 empty] | 7361047.373
5 | 8124760 |  |  | 64 | 8697.6 | 68225 |  | 842898 |  | 468000 | 19624.64 | 381077.13 | 58342.52 | 227891 | 62438 | 960378 |  | 78419 |  | 22563 | 1341869 |  | 43730 | 59540 | 13075 | 97122 |  | 4301 | 262846 | [5 empty] | 7361047.373
6 | 8124760 |  |  | 64 | 8697.6 | 68225 |  | 845809 |  | 468000 | 19624.64 | 381077.13 | 58342.52 | 227891 | 62438 | 960386 |  | 78419 |  | 22563 | 1341869 |  | 43730 | 59540 | 13075 | 97122 |  | 4301 | 262846 | [5 empty] | 7361047.373
7 | 8125540 |  |  | 64 | 8702.2 | 68225 |  | 848408 |  | 468000 | 19624.64 | 381077.13 | 58342.52 | 227891 | 62438 | 960392 |  | 78419 |  | 22563 | 1341869 |  | 43730 | 59540 | 13079 | 97122 |  | 4301 | 262846 | [5 empty] | 7361047.373
8 | 8128770 |  |  | 64 | 8723.1 | 68225 |  | 853622 |  | 468000 | 19652.22 | 381750.11 | 58478.74 | 227925 | 62622 | 960544 |  | 78559 |  | 22566 | 1342062 |  | 43772 | 59578 | 13094 | 97122 |  | 4318 | 262846 | [5 empty] | 7361475.039
9 | 8131570 |  |  | 64 | 8742 | 68225 |  | 859472 |  | 468000 | 19811.83 | 384862.26 | 58796.08 | 228097 | 62769 | 960807 |  | 78612 |  | 22567 | 1342217 |  | 43820 | 59698 | 13109 | 97122 |  | 4350 | 262857 | [5 empty] | 7361475.039
10 | 8135360 |  |  | 64 | 8762.4 | 68225 |  | 866373 |  | 468000 | 20086.56 | 388373.94 | 59204.72 | 228334 | 62907 | 961065 |  | 78779 |  | 22568 | 1342361 |  | 43851 | 59834 | 13126 | 97122 |  | 4383 | 262878 | [5 empty] | 7361475.039
11 | 8137760 |  |  | 64 | 8779.8 | 68225 |  | 873219 |  | 468000 | 20422.05 | 391468.13 | 59491.2 | 228545 | 63073 | 961269 |  | 78891 |  | 22568 | 1342535 |  | 43881 | 59913 | 13142 | 97122 |  | 4408 | 262902 | [5 empty] | 7361475.039
12 | 8137760 |  |  | 64 | 8779.8 | 68225 |  | 876202 |  | 468000 | 20422.05 | 391468.13 | 59491.2 | 228576 | 63105 | 961320 |  | 78891 |  | 22568 | 1342569 |  | 43881 | 59939 | 13143 | 97122 |  | 4408 | 262902 | [5 empty] | 7361475.039
13 | 8138460 |  |  | 64 | 8783.8 | 68225 |  | 878154 |  | 468000 | 20422.05 | 391468.13 | 59491.2 | 228578 | 63105 | 961329 |  | 78891 |  | 22568 | 1342569 |  | 43881 | 59939 | 13145 | 97122 |  | 4408 | 262902 | [5 empty] | 7361475.039
14 | 8141980 |  |  | 64 | 8804.8 | 68225 |  | 884391 |  | 468000 | 20533.08 | 393561.44 | 59763.87 | 228818 | 63255 | 961600 |  | 79049 |  | 22570 | 1342727 |  | 43953 | 60042 | 13164 | 97122 |  | 4436 | 262902 | [5 empty] | 7361475.039
15 | 8145070 |  |  | 64 | 8824.3 | 68225 |  | 891771 |  | 468000 | 20637.37 | 395684.94 | 60021.52 | 229130 | 63400 | 961853 |  | 79206 |  | 22570 | 1342878 |  | 44018 | 60136 | 13182 | 97122 |  | 4465 | 262932 | [5 empty] | 7361736.478
16 | 8148440 |  |  | 64 | 8844.2 | 68225 |  | 898720 |  | 468000 | 20801.62 | 398028.86 | 60352.8 | 229418 | 63499 | 962140 |  | 79383 |  | 22570 | 1343050 |  | 44097 | 60269 | 13205 | 97122 |  | 4499 | 262932 | [5 empty] | 7361736.478
17 | 8151780 |  |  | 64 | 8864.7 | 68225 |  | 904978 |  | 468000 | 21005 | 400521.59 | 60709.63 | 229565 | 63674 | 962400 |  | 79544 |  | 22570 | 1343165 |  | 44117 | 60382 | 13217 | 97122 |  | 4530 | 263038 | [5 empty] | 7361761.494
18 | 8153970 |  |  | 64 | 8879.2 | 68225 |  | 910850 |  | 468000 | 21037.7 | 402453.44 | 60908.84 | 229747 | 63854 | 962569 |  | 79601 |  | 22570 | 1343351 |  | 44133 | 60464 | 13232 | 97122 |  | 4552 | 263099 | [5 empty] | 7361798.168
19 | 8153970 |  |  | 64 | 8879.2 | 68225 |  | 914332 |  | 468000 | 21037.7 | 402453.44 | 60908.84 | 229747 | 63886 | 962621 |  | 79601 |  | 22570 | 1343386 |  | 44133 | 60468 | 13232 | 97122 |  | 4552 | 263099 | [5 empty] | 7361798.168
20 | 8155150 |  |  | 64 | 8886.3 | 68225 |  | 916321 |  | 468000 | 21037.7 | 402453.44 | 60908.84 | 229853 | 63955 | 962681 |  | 79602 |  | 22570 | 1343459 |  | 44138 | 60501 | 13244 | 97122 |  | 4552 | 263099 | [5 empty] | 7361798.168
21 | 8158220 |  |  | 64 | 8905.9 | 68225 |  | 921818 |  | 468000 | 21147.42 | 404060.42 | 61063.13 | 230055 | 64063 | 962925 |  | 79732 |  | 22576 | 1343572 |  | 44202 | 60571 | 13260 | 97122 |  | 4578 | 263099 | [5 empty] | 7361798.168
22 | 8161800 |  |  | 64 | 8926.7 | 68225 |  | 927777 |  | 468000 | 21266.4 | 406021.44 | 61374.81 | 230244 | 64188 | 963144 |  | 79918 |  | 22576 | 1343704 |  | 44232 | 60680 | 13286 | 97122 |  | 4610 | 263099 | [5 empty] | 7362227.434
23 | 8165350 |  |  | 64 | 8948.2 | 68225 |  | 935152 |  | 468000 | 22025.6 | 409313.53 | 61678.41 | 230515 | 64359 | 963428 |  | 80008 |  | 22576 | 1343884 |  | 44277 | 60806 | 13313 | 97122 |  | 4643 | 263099 | [5 empty] | 7362227.434
24 | 8167930 |  |  | 64 | 8965.3 | 68225 |  | 942216 |  | 468000 | 22195.61 | 410663.41 | 61820.2 | 230655 | 64504 | 963609 |  | 80155 |  | 22580 | 1344036 |  | 44312 | 60890 | 13340 | 97122 |  | 4671 | 263099 | [5 empty] | 7362227.434
25 | 8170450 |  |  | 64 | 8981.1 | 68225 |  | 946337 |  | 468000 | 22676.93 | 412653.91 | 61954.65 | 230786 | 64665 | 963779 |  | 80295 |  | 22580 | 1344205 |  | 44351 | 60926 | 13365 | 97122 |  | 4687 | 263111 | [5 empty] | 7362269.35
26 | 8171740 |  |  | 64 | 8991.6 | 68225 |  | 950017 |  | 468000 | 22676.93 | 412662.22 | 61954.65 | 230863 | 64704 | 963876 |  | 80418 |  | 22580 | 1344246 |  | 44374 | 60950 | 13371 | 97122 |  | 4690 | 263111 | [5 empty] | 7362269.35
27 | 8172940 |  |  | 64 | 8999.9 | 68225 |  | 953460 |  | 468000 | 22676.93 | 412662.22 | 61954.65 | 230958 | 64792 | 963927 |  | 80499 |  | 22580 | 1344323 |  | 44386 | 60975 | 13376 | 97122 |  | 4690 | 263111 | [5 empty] | 7362269.35
28 | 8176230 |  |  | 64 | 9020.6 | 68225 |  | 960006 |  | 468000 | 23229.09 | 414575.35 | 62230.8 | 231218 | 64894 | 964140 |  | 80695 |  | 22584 | 1344445 |  | 44418 | 61083 | 13394 | 97122 |  | 4718 | 263111 | [5 empty] | 7362269.35
29 | 8179280 |  |  | 64 | 9039.9 | 68225 |  | 965959 |  | 468000 | 23609.54 | 417774.54 | 62475.55 | 231416 | 65028 | 964374 |  | 80856 |  | 22585 | 1344586 |  | 44448 | 61180 | 13407 | 97122 |  | 4743 | 263111 | [5 empty] | 7362269.35
30 | 8182420 |  |  | 64 | 9060.6 | 68225 |  | 972512 |  | 468000 | 23965.65 | 420795.6 | 62838.57 | 231643 | 65154 | 964633 |  | 80990 |  | 22585 | 1344718 |  | 44498 | 61295 | 13424 | 97122 |  | 4775 | 263138 | [5 empty] | 7362269.35
1 | 8185550 |  |  | 64 | 9079.9 | 68225 |  | 978969 |  | 468000 | 23965.65 | 423063.03 | 63182.72 | 231941 | 65287 | 964847 |  | 80995 |  | 22587 | 1344858 |  | 44524 | 61386 | 13446 | 97122 |  | 4803 | 263138 | [5 empty] | 7362269.35

## Utility Analysis April 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 5927 | 0 | 5927 | 1739.4 | 22.69% | 0 | 7666.4 | 3630 | 2700 | 1200 | 0 | 0 | 0 | 0 | 209.55 | 36.5851 | 17.3228 | 12.8848 | 5.7266
2 | 5832 | 0 | 5832 | 1604.4 | 21.57% | 0 | 7436.4 | 2920 | 2450 | 1400 | 0 | 0 | 0 | 0 | 189.288 | 39.2862 | 15.4262 | 12.9432 | 7.3961
3 | 2694 | 0 | 2694 | 1730.6 | 39.11% | 0 | 4424.6 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2971 | 0 | 2971 | 1214.2 | 29.01% | 0 | 4185.2 | 1470 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2911 | 0 | 2911 | 1085.9 | 27.17% | 0 | 3996.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2599 | 0 | 2599 | 1238.7 | 32.28% | 0 | 3837.7 | 0 | 780 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 5214 | 0 | 5214 | 1488 | 22.2% | 0 | 6702 | 2180 | 3230 | 700 | 0 | 0 | 0 | 0 | 71.148 | 94.198 | 30.6404 | 45.3983 | 9.8386
8 | 5850 | 0 | 5850 | 1547.2 | 20.92% | 0 | 7397.2 | 3190 | 2800 | 3700 | 0 | 0 | 0 | 0 | 602.778 | 12.2718 | 5.2922 | 4.6452 | 6.1382
9 | 6901 | 0 | 6901 | 1598.2 | 18.8% | 0 | 8499.2 | 3750 | 3790 | 4000 | 0 | 0 | 0 | 0 | 651.42 | 13.0472 | 5.7567 | 5.8181 | 6.1404
10 | 6846 | 0 | 6846 | 1712.9 | 20.01% | 0 | 8558.9 | 3770 | 2400 | 0 | 0 | 0 | 0 | 0 | 427.482 | 20.0217 | 8.8191 | 5.6143 | 0
11 | 2983 | 0 | 2983 | 1617.5 | 35.16% | 0 | 4600.5 | 630 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 1952 | 0 | 1952 | 1489.4 | 43.28% | 0 | 3441.4 | 20 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 6237 | 0 | 6237 | 1655.2 | 20.97% | 0 | 7892.2 | 3900 | 3520 | 2600 | 0 | 0 | 0 | 0 | 418.044 | 18.8789 | 9.3292 | 8.4202 | 6.2194
14 | 7380 | 0 | 7380 | 900.9 | 10.88% | 0 | 8280.9 | 4570 | 3090 | 2000 | 0 | 0 | 0 | 0 | 398.178 | 20.797 | 11.4773 | 7.7603 | 5.0229
15 | 6949 | 0 | 6949 | 1412.9 | 16.9% | 0 | 8361.9 | 3870 | 3370 | 2600 | 0 | 0 | 0 | 0 | 489.786 | 17.0726 | 7.9014 | 6.8806 | 5.3084
16 | 6258 | 0 | 6258 | 1321 | 17.43% | 0 | 7579 | 3220 | 3340 | 2100 | 0 | 0 | 0 | 0 | 622.512 | 12.1749 | 5.1726 | 5.3654 | 3.3734
17 | 5872 | 0 | 5872 | 1285.2 | 17.96% | 0 | 7157.2 | 3620 | 2190 | 1600 | 0 | 0 | 0 | 0 | 330.594 | 21.6495 | 10.95 | 6.6244 | 4.8398
18 | 3482 | 0 | 3482 | 1350.9 | 27.95% | 0 | 4832.9 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 1989 | 0 | 1989 | 1597.3 | 44.54% | 0 | 3586.3 | 1750 | 1180 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 5497 | 0 | 5497 | 1315.8 | 19.31% | 0 | 6812.8 | 3100 | 3070 | 1600 | 0 | 0 | 0 | 0 | 256.41 | 26.5699 | 12.09 | 11.973 | 6.24
21 | 5959 | 0 | 5959 | 1431.7 | 19.37% | 0 | 7390.7 | 3140 | 3580 | 1700 | 0 | 0 | 0 | 0 | 521.466 | 14.1729 | 6.0215 | 6.8653 | 3.26
22 | 7375 | 0 | 7375 | 847.7 | 10.31% | 0 | 8222.7 | 4420 | 3550 | 3000 | 0 | 0 | 0 | 0 | 517.308 | 15.8952 | 8.5442 | 6.8624 | 5.7993
23 | 7064 | 0 | 7064 | 1078.7 | 13.25% | 0 | 8142.7 | 2850 | 2580 | 1600 | 0 | 0 | 0 | 0 | 241.692 | 33.6904 | 11.7919 | 10.6747 | 6.62
24 | 4121 | 0 | 4121 | 1685.9 | 29.03% | 0 | 5806.9 | 2920 | 2520 | 1800 | 0 | 0 | 0 | 0 | 224.334 | 25.8851 | 13.0163 | 11.2333 | 8.0238
25 | 3680 | 0 | 3680 | 1377 | 27.23% | 0 | 5057 | 1160 | 1290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 3443 | 0 | 3443 | 1331.8 | 27.89% | 0 | 4774.8 | 1830 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 6546 | 0 | 6546 | 1482.7 | 18.47% | 0 | 8028.7 | 3620 | 3290 | 1600 | 0 | 0 | 0 | 0 | 390.456 | 20.5624 | 9.2712 | 8.426 | 4.0978
28 | 5953 | 0 | 5953 | 1388.9 | 18.92% | 0 | 7341.9 | 3320 | 3050 | 2900 | 0 | 0 | 0 | 0 | 452.496 | 16.2253 | 7.3371 | 6.7404 | 6.4089
29 | 6553 | 0 | 6553 | 1613.3 | 19.76% | 0 | 8166.3 | 3530 | 3140 | 2800 | 0 | 0 | 0 | 0 | 570.174 | 14.3225 | 6.1911 | 5.5071 | 4.9108
30 | 6457 | 0 | 6457 | 1713.9 | 20.98% | 0 | 8170.9 | 4310 | 3130 | 2000 | 0 | 0 | 0 | 0 | 407.748 | 20.0391 | 10.5703 | 7.6763 | 4.905
| 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 153495 | 42857.2 | 21.83% | 0 | 196352.2 | 77010 | 66450 | 43100 | 0 | 0 | 0 | 0 | 7992.864 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 196352.2 | [11 empty] | 24.5659 | 9.6348 | 8.3137 | 5.3923
Note on E23: Alexander Dominguez-Ramon: Cloudy and rainy day
Note on B25: Alexander Dominguez-Ramon: Glycol Pump OFF
Note on B26: Alexander Dominguez-Ramon: Glycol Pump OFF + RU System Off
Note on E31: Alexander Dominguez-Ramon: Cloudy and rainy day

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 529.108
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 427.666
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 261.439
15 | 0
16 | 25.016
17 | 36.674
18 | 0
19 | 0
20 | 0
21 | 429.266
22 | 0
23 | 0
24 | 41.916
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
1751.085

## Fuel
DAILY FUEL CONSUMPTION FOR APRIL 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 2700 | 17.2 | 0 | 0 |  |  | 156.9767 | 0 | 0 | 2700 | 209.55 | 12.8848
2 | 2450 | 17.6 | 0 | 0 |  |  | 139.2045 | 0 | 0 | 2450 | 189.288 | 12.9432
3 | 150 | 1.7 | 0 | 0 |  |  | 88.2353 | 0 | 0 | 150 | 0 | 0
4 | 360 | 2.5 | 0 | 0 |  |  | 144 | 0 | 0 | 360 | 0 | 0
5 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 780 | 4.6 | 0 | 0 |  |  | 169.5652 | 0 | 0 | 780 | 0 | 0
7 | 3230 | 20.9 | 0 | 0 |  |  | 154.5455 | 0 | 0 | 3230 | 71.148 | 45.3983
8 | 2800 | 18.9 | 0 | 0 |  |  | 148.1481 | 0 | 0 | 2800 | 602.778 | 4.6452
9 | 3790 | 20.4 | 0 | 0 |  |  | 185.7843 | 0 | 0 | 3790 | 651.42 | 5.8181
10 | 2400 | 17.4 | 0 | 0 |  |  | 137.931 | 0 | 0 | 2400 | 427.482 | 5.6143
11 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 700 | 4 | 0 | 0 |  |  | 175 | 0 | 0 | 700 | 0 | 0
13 | 3520 | 21 | 0 | 0 |  |  | 167.619 | 0 | 0 | 3520 | 418.044 | 8.4202
14 | 3090 | 19.5 | 0 | 0 |  |  | 158.4615 | 0 | 0 | 3090 | 398.178 | 7.7603
15 | 3370 | 19.9 | 0 | 0 |  |  | 169.3467 | 0 | 0 | 3370 | 489.786 | 6.8806
16 | 3340 | 20.5 | 0 | 0 |  |  | 162.9268 | 0 | 0 | 3340 | 622.512 | 5.3654
17 | 2190 | 14.5 | 0 | 0 |  |  | 151.0345 | 0 | 0 | 2190 | 330.594 | 6.6244
18 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
19 | 1180 | 7.1 | 0 | 0 |  |  | 166.1972 | 0 | 0 | 1180 | 0 | 0
20 | 3070 | 19.6 | 0 | 0 |  |  | 156.6327 | 0 | 0 | 3070 | 256.41 | 11.973
21 | 3580 | 20.8 | 0 | 0 |  |  | 172.1154 | 0 | 0 | 3580 | 521.466 | 6.8653
22 | 3550 | 21.5 | 0 | 0 |  |  | 165.1163 | 0 | 0 | 3550 | 517.308 | 6.8624
23 | 2580 | 17.1 | 0 | 0 |  |  | 150.8772 | 0 | 0 | 2580 | 241.692 | 10.6747
24 | 2520 | 15.8 | 0 | 0 |  |  | 159.4937 | 0 | 0 | 2520 | 224.334 | 11.2333
25 | 1290 | 10.5 | 0 | 0 |  |  | 122.8571 | 0 | 0 | 1290 | 0 | 0
26 | 1200 | 8.3 | 0 | 0 |  |  | 144.5783 | 0 | 0 | 1200 | 0 | 0
27 | 3290 | 20.7 | 0 | 0 |  |  | 158.9372 | 0 | 0 | 3290 | 390.456 | 8.426
28 | 3050 | 19.3 | 0 | 0 |  |  | 158.0311 | 0 | 0 | 3050 | 452.496 | 6.7404
29 | 3140 | 20.7 |  | 0 |  |  | 151.6908 | 0 | 0 | 3140 | 570.174 | 5.5071
30 | 3130 | 19.3 |  | 0 |  |  | 162.1762 | 0 | 0 | 3130 | 407.748 | 7.6763
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0
| 66450 | 421.3 | [9 empty] | 0 | 7.2 | 0
AVE. | 2461.1111 | 15.6037 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 207 | 156 | 164 | 199 | 211 | 0 | 96 | 0 | 0 | 2 | 68 | 60 | 13 | 13 | 0 | 1990 | 130 | 13 | 26 | 0 | 0 | 0 | 363 | 209.55 | 17.3228
| 2 | 0 | 124 | 168 | 177 | 115 | 166 | 0 | 76 | 0 | 0 | 2 | 23 | 57 | 21 | 4 | 0 | 1150 | 82 | 21 | 0 | 0 | 0 | 0 | 292 | 189.288 | 15.4262
| 3 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | 0 | 27 | 120 | 126 | 21 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 2 | 0 | 210 | 34 | 0 | 0 | 0 | 0 | 0 | 147 | 0 | 0
| 5 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | 0 | 34 | 184 | 193 | 25 | 152 | 0 | 140 | 0 | 0 | 3 | 42 | 38 | 17 | 15 | 0 | 250 | 83 | 17 | 0 | 0 | 0 | 0 | 218 | 71.148 | 30.6404
| 8 | 0 | 172 | 147 | 155 | 164 | 263 | 0 | 53 | 0 | 0 | 1 | 48 | 120 | 32 | 15 | 0 | 1640 | 169 | 32 | 11 | 0 | 0 | 0 | 319 | 602.778 | 5.2922
| 9 | 0 | 237 | 138 | 144 | 231 | 258 | 0 | 167 | 0 | 0 | 1 | 31 | 136 | 33 | 17 | 0 | 2310 | 168 | 33 | 21 | 0 | 0 | 0 | 375 | 651.42 | 5.7567
| 10 | 0 | 211 | 166 | 174 | 203 | 204 | 0 | 112 | 0 | 0 | 0 | 30 | 79 | 25 | 16 | 0 | 2030 | 109 | 25 | 24 | 0 | 0 | 0 | 377 | 427.482 | 8.8191
| 11 | 0 | 31 | 32 | 34 | 29 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 1 | 0 | 290 | 26 | 0 | 0 | 0 | 0 | 0 | 63 | 0 | 0
| 12 | 0 | 2 | 0 | 0 | 2 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
| 13 | 0 | 240 | 150 | 158 | 232 | 271 | 0 | 158 | 0 | 0 | 2 | 72 | 103 | 28 | 19 | 0 | 2320 | 177 | 28 | 0 | 0 | 0 | 0 | 390 | 418.044 | 9.3292
| 14 | 0 | 312 | 145 | 151 | 306 | 253 | 0 | 157 | 0 | 0 | 0 | 65 | 94 | 29 | 18 | 0 | 3060 | 159 | 29 | 30 | 0 | 0 | 0 | 457 | 398.178 | 11.4773
| 15 | 0 | 288 | 99 | 172 | 215 | 287 | 0 | 177 | 0 | 0 | 0 | 79 | 133 | 34 | 23 | 0 | 2150 | 212 | 34 | 0 | 0 | 0 | 0 | 387 | 489.786 | 7.9014
| 16 | 0 | 147 | 175 | 115 | 207 | 260 | 0 | 161 | 0 | 0 | 0 | 20 | 113 | 31 | 12 | 0 | 2070 | 133 | 31 | 106 | 0 | 0 | 0 | 322 | 622.512 | 5.1726
| 17 | 0 | 182 | 180 | 186 | 176 | 169 | 0 | 57 | 0 | 0 | 0 | 16 | 82 | 22 | 15 | 0 | 1760 | 98 | 22 | 61 | 0 | 0 | 0 | 362 | 330.594 | 10.95
| 18 | 0 | 0 | 32 | 35 | -3 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | -30 | 4 | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 0
| 19 | 0 | 106 | 69 | 73 | 102 | 60 | 0 | 1 | 0 | 0 | 0 | 5 | 33 | 0 | 12 | 0 | 1020 | 38 | 0 | 0 | 0 | 0 | 0 | 175 | 0 | 0
| 20 | 0 | 202 | 108 | 113 | 197 | 244 | 0 | 130 | 0 | 0 | 6 | 64 | 70 | 26 | 16 | 0 | 1970 | 140 | 26 | 0 | 0 | 0 | 0 | 310 | 256.41 | 12.09
| 21 | 0 | 189 | 125 | 132 | 182 | 219 | 0 | 186 | 0 | 0 | 0 | 30 | 109 | 32 | 26 | 0 | 1820 | 139 | 32 | 0 | 0 | 0 | 0 | 314 | 521.466 | 6.0215
| 22 | 0 | 271 | 171 | 180 | 262 | 284 | 0 | 90 | 0 | 0 | 0 | 45 | 126 | 33 | 27 | 0 | 2620 | 171 | 33 | 0 | 0 | 0 | 0 | 442 | 517.308 | 8.5442
| 23 | 0 | 140 | 145 | 152 | 133 | 181 | 0 | 147 | 0 | 0 | 4 | 35 | 84 | 28 | 27 | 0 | 1330 | 123 | 28 | 0 | 0 | 0 | 0 | 285 | 241.692 | 11.7919
| 24 | 0 | 131 | 161 | 169 | 123 | 170 | 0 | 140 | 0 | 0 | 0 | 39 | 36 | 16 | 25 | 0 | 1230 | 75 | 16 | 12 | 0 | 0 | 0 | 292 | 224.334 | 13.0163
| 25 | 0 | 77 | 39 | 41 | 75 | 97 | 0 | 123 | 0 | 0 | 0 | 23 | 24 | 3 | 6 | 0 | 750 | 47 | 3 | 0 | 0 | 0 | 0 | 116 | 0 | 0
| 26 | 0 | 95 | 88 | 77 | 106 | 51 | 0 | 81 | 0 | 0 | 0 | 12 | 25 | 0 | 5 | 0 | 1060 | 37 | 0 | 0 | 0 | 0 | 0 | 183 | 0 | 0
| 27 | 0 | 260 | 102 | 122 | 240 | 213 | 0 | 196 | 0 | 0 | 4 | 32 | 108 | 28 | 18 | 0 | 2400 | 144 | 28 | 0 | 0 | 0 | 0 | 362 | 390.456 | 9.2712
| 28 | 0 | 198 | 134 | 141 | 191 | 234 | 0 | 161 | 0 | 0 | 1 | 30 | 97 | 25 | 13 | 0 | 1910 | 128 | 25 | 0 | 0 | 0 | 0 | 332 | 452.496 | 7.3371
| 29 | 0 | 227 | 126 | 132 | 221 | 259 | 0 | 134 | 0 | 0 | 0 | 50 | 115 | 32 | 17 | 0 | 2210 | 165 | 32 | 27 | 0 | 0 | 0 | 353 | 570.174 | 6.1911
| 30 | 0 | 298 | 133 | 140 | 291 | 214 | 0 | 5 | 0 | 0 | 2 | 26 | 91 | 28 | 22 | 0 | 2910 | 119 | 28 | 0 | 0 | 0 | 0 | 431 | 407.748 | 10.5703
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 4408 | 3293 | 3456 | 4245 | 4917 |  | 2748 |  | 0 | 28 | 885 | 1997 | 536 | 407 | 0 | 42450 | 2910 | 536 | 318 |  |  |  | 7701 | 7992.864 | 9.6348 | 10.2 | 94.4593
| Gals. |  | 969760
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 15331.9056
| Add basic charge |  | 278.97
15610.8756
| Proxy sewage charge (2/3) |  | 10407.2504
| Proxy MTD NAWASA cost |  | 26018.126
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.April 2026
DAILY ELECTRICITY CONSUMPTION FOR APRIL 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 5927 | 0 | 1739.4 | 7531.4 | 209.55 | 35.9408
2 | 5832 | 0 | 1604.4 | 7562.6 | 189.288 | 39.9529
3 | 2694 | 0 | 1730.6 | 3908.2 | 0 | 0
4 | 2971 | 0 | 1214.2 | 4056.9 | 0 | 0
5 | 2911 | 0 | 1085.9 | 4149.7 | 0 | 0
6 | 2599 | 0 | 1238.7 | 4087 | 0 | 0
7 | 5214 | 0 | 1488 | 6761.2 | 71.148 | 95.0301
8 | 5850 | 0 | 1547.2 | 7448.2 | 602.778 | 12.3565
9 | 6901 | 0 | 1598.2 | 8613.9 | 651.42 | 13.2233
10 | 6846 | 0 | 1712.9 | 8463.5 | 427.482 | 19.7985
11 | 2983 | 0 | 1617.5 | 4472.4 | 0 | 0
12 | 1952 | 0 | 1489.4 | 3607.2 | 0 | 0
13 | 6237 | 0 | 1655.2 | 7137.9 | 418.044 | 17.0745
14 | 7380 | 0 | 900.9 | 8792.9 | 398.178 | 22.0828
15 | 6949 | 0 | 1412.9 | 8270 | 489.786 | 16.8849
16 | 6258 | 0 | 1321 | 7543.2 | 622.512 | 12.1174
17 | 5872 | 0 | 1285.2 | 7157.2 | 330.594 | 21.6495
18 | 3482 | 0 | 1350.9 | 4832.9 | 0 | 0
19 | 1989 | 0 | 1597.3 | 3586.3 | 0 | 0
20 | 5497 | 0 | 1315.8 | 6812.8 | 256.41 | 26.5699
21 | 5959 | 0 | 1431.7 | 7390.7 | 521.466 | 14.1729
22 | 7375 | 0 | 847.7 | 8222.7 | 517.308 | 15.8952
23 | 7064 |  | 1078.7 | 8142.7 | 241.692 | 33.6904
24 | 4121 | 0 | 1685.9 | 5806.9 | 224.334 | 25.8851
25 | 3680 | 0 | 1377 | 5057 | 0 | 0
26 | 3443 | 0 | 1331.8 | 4774.8 | 0 | 0
27 | 6546 | 0 | 1482.7 | 8028.7 | 390.456 | 20.5624
28 | 5953 | 0 | 1388.9 | 7341.9 | 452.496 | 16.2253
29 | 6553 | 0 | 1613.3 | 6553 | 570.174 | 11.493
30 | 6457 | 0 | 1713.9 | 6457 | 407.748 | 15.8358
| 0 |  | 0 | 0 |  |  |  | %
MTD | 153495 | 0 | 42857.2 | 192570.8 | 7992.864 | 24.0928 | 22 | 109.5129
TARGET

## PROD.FIG.
PRODUCTION FOR APRIL 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Wednesday | 1 | [5 empty] | 209.55
Thursday | 2 | [5 empty] | 189.288
Friday | 3 | [5 empty] | 0
Saturday | 4 | [5 empty] | 0
Sunday | 5 | [5 empty] | 0
Monday | 6 | [5 empty] | 0
Tuesday | 7 | [5 empty] | 71.148
Wednesday | 8 | [5 empty] | 602.778
Thursday | 9 | [5 empty] | 651.42
Friday | 10 | [5 empty] | 427.482
Saturday | 11 | [5 empty] | 0
Sunday | 12 | [5 empty] | 0
Monday | 13 | [5 empty] | 418.044
Tuesday | 14 | [5 empty] | 398.178
Wednesday | 15 | [5 empty] | 489.786
Thursday | 16 | [5 empty] | 622.512
Friday | 17 | [5 empty] | 330.594
Saturday | 18 | [5 empty] | 0
Sunday | 19 | [5 empty] | 0
Monday | 20 | [5 empty] | 256.41
Tuesday | 21 | [5 empty] | 521.466
Wednesday | 22 | [5 empty] | 517.308
Thursday | 23 | [5 empty] | 241.692
Friday | 24 | [5 empty] | 224.334
Saturday | 25 | [5 empty] | 0
Sunday | 26 | [5 empty] | 0
Monday | 27 | [5 empty] | 390.456
Tuesday | 28 | [5 empty] | 452.496
Wednesday | 29 | [5 empty] | 570.174
Thursday | 30 | [5 empty] | 407.748
[6 empty] | TOTAL | 7992.864
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for APRIL 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 117.82 | 111.81 | 1627.38 | 1200 | 209.55 | 5.7266 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 140.05 | 238.18 | 1816.5 | 1400 | 189.288 | 7.3961 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 600 | 0 | 0 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 136.22 | 27.58 | 672.98 | 700 | 71.148 | 9.8386 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 317.34 | 159.61 | 3112.15 | 3700 | 602.778 | 6.1382 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 408.64 | 274.73 | 3511.68 | 4000 | 651.42 | 6.1404 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 286.48 | 335.49 | 3094.19 | 0 | 427.482 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 272.67 | 111.03 | 2093.31 | 2600 | 418.044 | 6.2194 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 257.65 | 104.29 | 2123.5 | 2000 | 398.178 | 5.0229 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 331.28 | 164.25 | 2343.92 | 2600 | 489.786 | 5.3084 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 356.83 | 203.38 | 2492.73 | 2100 | 622.512 | 3.3734 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 199.21 | 32.7 | 1931.85 | 1600 | 330.594 | 4.8398 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 1600 | 0 | 0 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 154.29 | 109.72 | 1606.98 | 1600 | 256.41 | 6.24 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 311.68 | 118.98 | 1961.02 | 1700 | 521.466 | 3.26 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 303.6 | 759.2 | 3292.09 | 3000 | 517.308 | 5.7993 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 141.79 | 170.01 | 1349.88 | 1600 | 241.692 | 6.62 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 134.45 | 481.32 | 1990.5 | 1800 | 224.334 | 8.0238 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 8.31 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 276.15 | 552.16 | 1913.13 | 1600 | 390.456 | 4.0978 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 244.75 | 380.45 | 3199.19 | 2900 | 452.496 | 6.4089 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 363.02 | 356.11 | 3021.06 | 2800 | 570.174 | 4.9108 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 344.15 | 0 | 2267.43 | 2000 | 407.748 | 4.905 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 |  | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 5098.07 | 4691 | 45429.78 | 43100 | 7992.864 | 5.3923 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-04-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 2868 | 0 | 0 | 0 | 0 | 1078 | 9133 | 9870 | 6477 | 0 | 0 | 6334 | 6033 | 7421 | 9432 | 5009 | 0 | 563.75 | 3885 | 7901 | 7838 | 3662 | 3399 | 0 | #REF! | 5916 | 6856 |  |  | 8639 | #REF! | 96325 | #REF!
HL produced | 209.55 | 189.288 | 0 | 0 | 0 | 0 | 71.148 | 602.778 | 651.42 | 427.482 | 0 | 0 | 418.044 | 398.178 | 489.786 | 622.512 | 330.594 | 0 | 37.2075 | 256.41 | 521.466 | 517.308 | 241.692 | 224.334 | 0 | #REF! | 390.456 | 452.496 |  |  | 570.174 | #REF!
Product Type | VM/ VM Gin | Psecco/CB | 0 | 0 | 0 | 0 | CB/ST | ST | ST | CB | 0 | 0 | Rose/CB | CB/SL/SS | SS/ST | ST/CB | CB/GA | 0 | kegs | GA/CB | CB/ST | ST/GN | CB | CB |  | #REF! | SM | CB |  |  | CB/ST
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 207 | 124 | 0 | 27 | 0 | 0 | 34 | 172 | 237 | 211 | 31 | 2 | 240 | 312 | 288 | 147 | 182 | 0 | 106 | 202 | 189 | 271 | 140 | 131 | 77 | 95 | 260 | 198 | 77 | 95 | 260 | 4315
Annanale Supply | 156 | 168 | 0 | 120 | 0 | 0 | 184 | 147 | 138 | 166 | 32 | 0 | 150 | 145 | 99 | 175 | 180 | 32 | 69 | 108 | 125 | 171 | 145 | 161 | 39 | 88 | 102 | 134 | 39 | 88 | 102 | 3263
Total Water Supply | 363 | 292 | 0 | 147 | 0 | 0 | 218 | 319 | 375 | 377 | 63 | 2 | 390 | 457 | 387 | 322 | 362 | 32 | 175 | 310 | 314 | 442 | 285 | 292 | 116 | 183 | 362 | 332 | 116 | 183 | 362 | 7578
0
Theoretical permeate | 119.72 | 129.21 | 0 | 91.98 | 0 | 0 | 140.89 | 113.15 | 105.12 | 127.02 | 24.82 | 0 | 115.34 | 115.34 | 115.34 | 115.34 | 115.34 | 115.34 | 53.29 | 82.49 | 96.36 | 131.4 | 110.96 | 123.37 | 29.93 | 29.93 | 29.93 | 29.93 | 29.93 | 29.93 | 96.36 | 2417.76 | 7848 |  | #REF!
19.71
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 211 | 166 | 13 | 58 | 8 | 6 | 152 | 263 | 258 | 204 | 51 | 9 | 271 | 253 | 287 | 260 | 169 | 52 | 60 | 244 | 219 | 284 | 181 | 170 | 97 | 51 | 213 | 234 | 0 | 0 | 0 | 4444
Water consumption | 211 | 166 | 13 | 58 | 8 | 6 | 152 | 263 | 258 | 204 | 51 | 9 | 271 | 253 | 287 | 260 | 169 | 52 | 60 | 244 | 219 | 284 | 181 | 170 | 97 | 51 | 213 | 234 | 0 | 0 | 0 | 4444
| 10.0692 | 8.7697 |  |  |  |  | 21.3639 | 4.3631 | 3.9606 | 4.7721 |  |  | 6.4826 | 6.3539 | 5.8597 | 4.1766 | 5.112 |  | 16.1258 | 9.516 | 4.1997 | 5.49 | 7.4889 | 7.578 |  | #REF! | 5.4552 | 5.1713 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 96 | 76 | 0 | 0 | 0 | 0 | 140 | 53 | 167 | 112 | 0 | 0 | 158 | 157 | 177 | 161 | 57 | 0 | 1 | 130 | 186 | 90 | 147 | 140 | 123 | 81 | 196 | 161 | 123 | 81 | 196 | 3009
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.2712 | 9.2712
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 72 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 28 | 125
CIP Process | 68 | 23 | 0 | 0 | 0 | 0 | 42 | 48 | 31 | 30 | 0 | 0 | 72 | 72 | 72 | 20 | 20 | 20 | 5 | 64 | 30 | 45 | 35 | 39 | 23 | 12 | 32 | 30 | 23 | 12 | 32 | 900 |  |  | 15588.1818
Bottles Washer | 60 | 57 | 0 | 34 | 0 | 0 | 38 | 120 | 136 | 79 | 26 | 0 | 103 | 103 | 103 | 103 | 103 | 103 | 33 | 70 | 109 | 126 | 84 | 36 | 24 | 25 | 108 | 97 | 24 | 25 | 108 | 2037
Bottle Filler | 13 | 21 | 0 | 0 | 0 | 0 | 17 | 32 | 33 | 25 | 0 | 0 | 28 | 29 | 34 | 31 | 22 | 0 | 0 | 26 | 32 | 33 | 28 | 16 | 3 | 0 | 28 | 25 | 3 | 0 | 28 | 507
Pasteuriser | 2 | 2 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 4 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 4 | 30
Boiler Supply | 13 | 4 | 17 | 2 | 0 | 4 | 15 | 15 | 17 | 16 | 1 | 2 | 19 | 19 | 23 | 12 | 12 | 0 | 12 | 16 | 26 | 27 | 27 | 25 | 6 | 5 | 18 | 13 | 6 | 5 | 18 | 395
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 116
Personnel Consumption
Total water consumption (M3) | 252 | 183 | 17 | 36 | 0 | 4 | 255 | 269 | 385 | 262 | 139 | 2 | 382 | 382 | 481 | 327 | 214 | 143 | 51 | 312 | 383 | 321 | 325 | 256 | 179 | 123 | 386 | 327 | 182 | 123 | 427.2712 | 7128.2712
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 1627.38 | 1816.5 | 0 | 0 | 0 | #REF! | #REF! | 3112.15 | 3511.68 | 3094.19 | 0 | 0 | 2093.31 | 2123.5 | 2343.92 | 2492.73 | 1931.85 | 199.21 | 182 | 180 | 0 | 32 | 52 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 4 | #REF!
CO2 (kg.) (Filler) | 117.82 | 140.05 | 0 | 0 | 0 | 0 | 136.22 | 317.34 | 408.64 | 286.48 | 0 | 0 | 272.67 | 257.65 | 331.28 | 356.83 | 199.21 | 0 | 0 | 154.29 | 311.68 | 303.6 | 141.79 | 134.45 | 0 | 0 | 276.15 | 244.75 | 363.02 | 344.15 | 0 | 5098.07
Electricity (Kwh.) | 5927 | 5832 | 2694 | 2971 | 2911 | 2599 | 5214 | 5850 | 6901 | 6846 | 2983 | 1952 | 6237 | 7380 | 6949 | 6258 | 5872 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 123678
Fuel (L) | 2700 | 2450 | 150 | 360 | 0 | 780 | 3230 | 2800 | 3790 | 2400 | 0 | 700 | 3520 | 3090 | 3370 | 3340 | 2190 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34870
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 17.3228 | 15.4262 |  |  |  |  | 30.6404 | 5.2922 | 5.7567 | 8.8191 |  |  | 9.3292 | 11.4773 | 7.9014 | 5.1726 | 10.95 |  | 47.0335 | 12.09 | 6.0215 | 8.5442 | 11.7919 | 13.0163 |  | #REF! | 9.2712 | 7.3371 |  |  | 6.3489 | #REF! | 10.2 | #REF!
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | 4.5812 | 4.015 |  |  |  |  | 19.6773 | 0.87926 | 2.5636 | 2.62 |  |  | 3.7795 | 3.943 | 3.6138 | 2.5863 | 1.7242 |  | 0.26876 | 5.07 | 3.5669 | 1.7398 | 6.0821 | 6.2407 |  | #REF! | 5.0198 | 3.558 |  |  | 3.4375 | #REF! | 2.5 | #REF!
Brewhouse (Hls brewed) | 2.7096 | 3.731 |  |  |  |  | 3.4138 | 3.6005 | 3.6996 | 3.6891 |  |  | 4.0482 | 3.4452 | 3.496 | 3.4833 |  |  |  | 3.2812 | 4.0286 | 2.2053 | 14.4685 | 3.9966 | 3.4746 | 8.004 | 4.3077 | 3.9364 | 3.9819 | 2.8164 | 6.3451 | 3.945 | 2.5 | -1.445
Spent Grains/Wash-down Areas | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF! | 0 | 0 |  |  | 0.1626 | #REF! | 0.1 | #REF!
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Sun: 0; Mon: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Thu: 0; Fri: 0; Sat: 0 | #REF! | 0.7 | #REF!
Processing/Cellars | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0.050229 | 1.47 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF! | 0 | 0 |  |  | 0.49108 | #REF! | 1 | #REF!
CIP Process | 3.245 | 1.2151 |  |  |  |  | 5.9032 | 0.79631 | 0.47588 | 0.70178 |  |  | 1.7223 | 1.8082 | 1.47 | 0.32128 | 0.60497 |  | 1.3438 | 2.496 | 0.5753 | 0.86989 | 1.4481 | 1.7385 |  | #REF! | 0.81955 | 0.66299 |  |  | 0.56123 | #REF! | 0.7 | #REF!
Bottles Washer | 2.8633 | 3.0113 |  |  |  |  | 5.341 | 1.9908 | 2.0877 | 1.848 |  |  | 2.4639 | 2.5868 | 2.103 | 1.6546 | 3.1156 |  | 8.8692 | 2.73 | 2.0903 | 2.4357 | 3.4755 | 1.6048 |  | #REF! | 2.766 | 2.1437 |  |  | 1.8942 | #REF! | 2.6 | #REF!
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | 0.62038 | 1.1094 |  |  |  |  | 2.3894 | 0.53088 | 0.50659 | 0.58482 |  |  | 0.66979 | 0.72832 | 0.69418 | 0.49798 | 0.66547 |  | 0 | 1.014 | 0.61365 | 0.63792 | 1.1585 | 0.71322 |  | #REF! | 0.71711 | 0.55249 |  |  | 0.49108 | #REF! | 0.7 | #REF!
Pasteuriser | 0.095443 | 0.10566 |  |  |  |  | 0.42166 | 0.01659 | 0.015351 | 0 |  |  | 0.047842 | 0 | 0 | 0 | 0 |  | 0 | 0.234 | 0 | 0 | 0.1655 | 0 |  | #REF! | 0.10244 | 0.0221 |  |  | 0.070154 | #REF! | 0.1 | #REF!
Boiler Supply | 0.62038 | 0.21132 |  |  |  |  | 2.1083 | 0.24885 | 0.26097 | 0.37428 |  |  | 0.4545 | 0.47717 | 0.46959 | 0.19277 | 0.36298 |  | 3.2252 | 0.624 | 0.49859 | 0.52193 | 1.1171 | 1.1144 |  | #REF! | 0.461 | 0.2873 |  |  | 0.31569 | #REF! | 0.6 | #REF!
Backwash Supply | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF! | 0 | 0 |  |  | 0 | #REF! | 0.5 | #REF!
Refrigeration Unit | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF! | 0 | 0 |  |  | 0 | #REF! | 0.3 | #REF!
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 14.7353 | 13.3988 | 0 | 0 | 0 | 0 | 39.2546 | 8.0632 | 9.6098 | 9.818 | 0 | 0 | 13.186 | 13.0389 | 13.3166 | 8.7363 | 6.4732 | 0 | 13.7069 | 15.4492 | 11.3733 | 8.4105 | 27.9154 | 15.4081 | 3.4746 | #REF! | 14.1936 | 11.163 | 3.9819 | 2.8164 | 13.7686 | #REF! | 15.6 | #REF!
Bottling Hall water | 3.5791 | 4.2264 | 0 | 0 | 0 | 0 | 8.152 | 2.5382 | 2.6097 | 2.4329 | 0 | 0 | 3.1815 | 3.3151 | 2.7971 | 2.1526 | 3.7811 | 0 | 8.8692 | 3.978 | 2.7039 | 3.0736 | 4.7995 | 2.318 | 0 | #REF! | 3.5856 | 2.7183 | 0 | 0 | 2.4554 | #REF! | 6 | #REF!
CO2 (kg./Hl.) KPI | 7.7661 | 9.5965 |  |  |  |  | #REF! | 5.163 | 5.3908 | 7.2382 |  |  | 5.0074 | 5.333 | 4.7856 | 4.0043 | 5.8436 |  | 4.8915 | 0.702 | 0 | 0.061859 | 0.21515 | 0 |  | #REF! | 0 | 0.077349 |  |  | 0.0070154 | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI | 0.56225 | 0.73988 |  |  |  |  | 1.9146 | 0.52646 | 0.62731 | 0.67016 |  |  | 0.65225 | 0.64707 | 0.67638 | 0.57321 | 0.60258 |  | 0 | 0.60173 | 0.5977 | 0.58688 | 0.58666 | 0.59933 |  | #REF! | 0.70725 | 0.54089 |  |  | 0 | #REF! | 1.7 | #REF!
Electricity (Kwh./Hl.) KPI | 28.2844 | 30.8102 |  |  |  |  | 73.2839 | 9.7051 | 10.5938 | 16.0147 |  |  | 14.9195 | 18.5344 | 14.1878 | 10.0528 | 17.762 |  | 93.5833 | 13.5798 | 6.6773 | 6.731 | 14.4068 | 15.5215 |  | #REF! | 8.9178 | 7.6951 |  |  | 6.1069 | #REF! | 22 | #REF!
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 12.8848 | 12.9432 |  |  |  |  | 45.3983 | 4.6452 | 5.8181 | 5.6143 |  |  | 8.4202 | 7.7603 | 6.8806 | 5.3654 | 6.6244 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | #REF! | 0 | 0 |  |  | 0 | #REF! | 7.2 | #REF!
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 111.81 | 238.18 | 0 | 0 | 0 | 0 | 361452.49 | 0 | 274.73 | 335.49 | 0 | 0 | 111.03 | 104.29 | 164.25 | 203.38 | 32.7 | 0 | 0 | 109.72 | 118.98 | 759.2 | 170.01 | 481.32 | 0 | 0 | 552.16 | 380.45 | 356.11 | 0 | 0 | 365956.3
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Sun to Mon; Sat; Mon to Tue; Fri to Tue; Fri to Tue; Fri to Sun
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 354.3 | 203.7 | 0 | 0 | 0 | 0 | 410.1 | 147.2 | 451.4 | 303.6 | 0 | 0 | 390.3 | 455.7 | 506.3 | 462.2 | 0 | 0 | 0 | 396.2 | 461.7 | 408.1 | 101.6 | 350.3 | 354 | 101.2 | 455 | 409 | 308.9 | 287.6 | 308.9 | 7627.3
Product | CB | CB | 0 | 0 | 0 | 0 | GU | ST | ST/CB | CB | 0 | 0 | ST | CB | CB | CB | 0 | 0 | 0 | ST | SM/CB | CB | CB | ST | ST/CB | CB | CB | CB/GU | GU/VM | VM | GU/VM
No. of Brews | 7 | 4 | 0 | 0 | 0 | 0 | 8 | 3 | 9 | 6 | 0 | 0 | 8 | 9 | 10 | 9 | 0 | 0 | 0 | 8 | 9 | 9 | 2 | 7 | 7 | 2 | 9 | 8 | 6 | 6 | 6 | 152
Raw Water In - Nawasa | 164 | 177 | 0 | 126 | 0 | 0 | 193 | 155 | 144 | 174 | 34 | 0 | 158 | 158 | 158 | 158 | 158 | 158 | 73 | 113 | 132 | 180 | 152 | 169 | 41 | 41 | 41 | 41 | 41 | 41 | 132 | 3312
Into RO | [31 empty] | 0 | bar: Sun
| 5927 | 5832 | 2694 | 2971 | 2911 | 2599 | 5214 | 5850 | 6901 | 6846 | 2983 | 1952 | 6237 | 7380 | 6949 | 6258 | 5872 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 3482 | 123678
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-04-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
| Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu |  | Total |  | Diff.
Cases Produced | 3175 | 2868 |  |  |  |  | 1078 | 9133 | 9870 | 6477 |  |  | 6334 | 6033 | 7421 | 9432 | 5009 |  |  | 3885 | 7901 | 7838 | 3662 | 3399 |  |  | 5916 | 6856 | 8639 | 6178 | 563.75 | 121667.75 | 132300 | -10632.25
HL produced | 209.55 | 189.288 |  |  |  |  | 71.148 | 602.778 | 651.42 | 427.482 | 0 | 0 | 418.044 | 398.178 | 489.786 | 622.512 | 330.594 |  |  | 256.41 | 521.466 | 517.308 | 241.692 | 224.334 |  |  | 390.456 | 452.496 | 570.174 | 407.748 | 37.2075 | 8030.0715
Product Type | VM/ VM Gin | Psecco/CB |  |  |  |  | Psecco | CB/ST | ST | CB |  |  | Rose/CB | CB/SL/SS | SS/ST | ST/CB | CB/GA |  |  | GA/CB | CB/ST | ST/GN | CB | CB |  |  | SM | CB | CB/ST | ST/GO | kegs
Hls Brewed | 354.3 | 203.7 |  |  |  |  | 410.1 | 147.2 | 451.4 | 303.6 |  |  | 390.3 | 455.7 | 506.3 | 462.2 |  |  |  | 396.2 | 461.7 | 408.1 | 101.6 | 350.3 | 354 | 101.2 | 455 | 409 | 308.9 | 287.6 |  | 7318.4
Product | CB | CB |  |  |  |  | GU | ST | ST/CB | CB |  |  | ST | CB | CB | CB |  |  |  | ST | SM/CB | CB | CB | ST | ST/CB | CB | CB | CB/GU | GU/VM | VM
No. of Brews | 7 | 4 |  |  |  |  | 8 | 3 | 9 | 6 |  |  | 8 | 9 | 10 | 9 |  |  |  | 8 | 9 | 9 | 2 | 7 | 7 | 2 | 9 | 8 | 6 | 6 |  | 146
Brewhouse (Hls brewed) | 2.7096 | 3.731 |  |  |  |  | 3.4138 | 3.6005 | 3.6996 | 3.6891 |  |  | 4.0482 | 3.4452 | 3.496 | 3.4833 |  |  |  | 3.2812 | 4.0286 | 2.2053 | 14.4685 | 3.9966 | 3.4746 | 8.004 | 4.3077 | 3.9364 | 4.338 | 0.17385 |  | 3.7549
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 207 | 124 | 0 | 27 | 0 | 0 | 34 | 172 | 237 | 211 | 31 | 2 | 240 | 312 | 288 | 147 | 182 | 0 | 106 | 202 | 189 | 271 | 140 | 131 | 77 | 95 | 260 | 198 | 227 | 298 | 0 | 4408
Annanale Supply | 156 | 168 | 0 | 120 | 0 | 0 | 184 | 147 | 138 | 166 | 32 | 0 | 150 | 145 | 99 | 175 | 180 | 32 | 69 | 108 | 125 | 171 | 145 | 161 | 39 | 88 | 102 | 134 | 126 | 133 | 0 | 3293
Total Water Supply | 363 | 292 | 0 | 147 | 0 | 0 | 218 | 319 | 375 | 377 | 63 | 2 | 390 | 457 | 387 | 322 | 362 | 32 | 175 | 310 | 314 | 442 | 285 | 292 | 116 | 183 | 362 | 332 | 353 | 431 | 0 | 7701
0
Theoretical permeate | 119.72 | 129.21 | 0 | 91.98 | 0 | 0 | 140.89 | 113.15 | 105.12 | 127.02 | 24.82 | 0 | 115.34 | 110.23 | 125.56 | 83.95 | 135.78 | 25.55 | 53.29 | 82.49 | 96.36 | 131.4 | 110.96 | 123.37 | 29.93 | 56.21 | 89.06 | 102.93 | 96.36 | 102.2 | 0 | 2522.88 | 8072 |  | 10.0522
19.71
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 211 | 166 | 13 | 58 | 8 | 6 | 152 | 263 | 258 | 204 | 51 | 9 | 271 | 253 | 287 | 260 | 169 | 52 | 60 | 244 | 219 | 284 | 181 | 170 | 97 | 51 | 213 | 234 | 259 | 214 | 0 | 4917
Brewhouse | 96 | 76 | 0 | 0 | 0 | 0 | 140 | 53 | 167 | 112 | 0 | 0 | 158 | 157 | 177 | 161 | 57 | 0 | 1 | 130 | 186 | 90 | 147 | 140 | 123 | 81 | 196 | 161 | 134 | 5 | 0 | 2748
Boiler Supply | 13 | 4 | 17 | 2 | 0 | 4 | 15 | 15 | 17 | 16 | 1 | 2 | 19 | 18 | 23 | 12 | 15 | 0 | 12 | 16 | 26 | 27 | 27 | 25 | 6 | 5 | 18 | 13 | 17 | 22 | 0 | 407
Water consumption | 320 | 246 | 30 | 60 | 8 | 10 | 307 | 331 | 442 | 332 | 52 | 11 | 448 | 428 | 487 | 433 | 241 | 52 | 73 | 390 | 431 | 401 | 355 | 335 | 226 | 137 | 427 | 408 | 410 | 241 | 0 | 8072
Water Consumption detail
Brewhouse | 96 | 76 | 0 | 0 | 0 | 0 | 140 | 53 | 167 | 112 | 0 | 0 | 158 | 157 | 177 | 161 | 57 | 0 | 1 | 130 | 186 | 90 | 147 | 140 | 123 | 81 | 196 | 161 | 134 | 5 | 0 | 2748
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 68 | 23 | 0 | 0 | 0 | 0 | 42 | 48 | 31 | 30 | 0 | 0 | 72 | 65 | 79 | 20 | 16 | 0 | 5 | 64 | 30 | 45 | 35 | 39 | 23 | 12 | 32 | 30 | 50 | 26 | 0 | 885
Bottles Washer | 60 | 57 | 0 | 34 | 0 | 0 | 38 | 120 | 136 | 79 | 26 | 0 | 103 | 94 | 133 | 113 | 82 | 4 | 33 | 70 | 109 | 126 | 84 | 36 | 24 | 25 | 108 | 97 | 115 | 91 | 0 | 1997
Bottle Filler | 13 | 21 | 0 | 0 | 0 | 0 | 17 | 32 | 33 | 25 | 0 | 0 | 28 | 29 | 34 | 31 | 22 | 0 | 0 | 26 | 32 | 33 | 28 | 16 | 3 | 0 | 28 | 25 | 32 | 28 | 0 | 536
Pasteuriser | 2 | 2 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 4 | 0 | 0 | 0 | 4 | 1 | 0 | 2 | 0 | 28
Boiler Supply | 13 | 4 | 17 | 2 | 0 | 4 | 15 | 15 | 17 | 16 | 1 | 2 | 19 | 18 | 23 | 12 | 15 | 0 | 12 | 16 | 26 | 27 | 27 | 25 | 6 | 5 | 18 | 13 | 17 | 22 | 0 | 407
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 252 | 183 | 17 | 36 | 0 | 4 | 255 | 269 | 385 | 262 | 27 | 2 | 382 | 363 | 446 | 337 | 192 | 4 | 51 | 312 | 383 | 321 | 325 | 256 | 179 | 123 | 386 | 327 | 348 | 174 | 0 | 6601
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 4.5812 | 4.015 |  |  |  |  | 19.6773 | 0.87926 | 2.5636 | 2.62 |  |  | 3.7795 | 3.943 | 3.6138 | 2.5863 | 1.7242 |  | 0.26876 | 5.07 | 3.5669 | 1.7398 | 6.0821 | 6.2407 |  |  | 5.0198 | 3.558 | 2.3502 | 0.12262 |  | 3.4221 | 3.2 | -0.22214
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 1
CIP Process | 3.245 | 1.2151 |  |  |  |  | 5.9032 | 0.79631 | 0.47588 | 0.70178 |  |  | 1.7223 | 1.6324 | 1.6129 | 0.32128 | 0.48398 |  | 1.3438 | 2.496 | 0.5753 | 0.86989 | 1.4481 | 1.7385 |  |  | 0.81955 | 0.66299 | 0.87693 | 0.63765 |  | 1.1021 | 0.7 | -0.40211
Bottles Washer | 2.8633 | 3.0113 |  |  |  |  | 5.341 | 1.9908 | 2.0877 | 1.848 |  |  | 2.4639 | 2.3608 | 2.7155 | 1.8152 | 2.4804 |  | 8.8692 | 2.73 | 2.0903 | 2.4357 | 3.4755 | 1.6048 |  |  | 2.766 | 2.1437 | 2.0169 | 2.2318 |  | 2.4869 | 2.1 | -0.3869
Bottle Filler | 0.62038 | 1.1094 |  |  |  |  | 2.3894 | 0.53088 | 0.50659 | 0.58482 |  |  | 0.66979 | 0.72832 | 0.69418 | 0.49798 | 0.66547 |  | 0 | 1.014 | 0.61365 | 0.63792 | 1.1585 | 0.71322 |  |  | 0.71711 | 0.55249 | 0.56123 | 0.6867 |  | 0.66749 | 0.7 | 0.032509
Pasteuriser | 0.095443 | 0.10566 |  |  |  |  | 0.42166 | 0.01659 | 0.015351 | 0 |  |  | 0.047842 | 0 | 0 | 0 | 0 |  | 0 | 0.234 | 0 | 0 | 0.1655 | 0 |  |  | 0.10244 | 0.0221 | 0 | 0.04905 |  | 0.034869 | 0.1 | 0.065131
Boiler Supply | 0.62038 | 0.21132 |  |  |  |  | 2.1083 | 0.24885 | 0.26097 | 0.37428 |  |  | 0.4545 | 0.45206 | 0.46959 | 0.19277 | 0.45373 |  | 3.2252 | 0.624 | 0.49859 | 0.52193 | 1.1171 | 1.1144 |  |  | 0.461 | 0.2873 | 0.29815 | 0.53955 |  | 0.50684 | 0.6 | 0.093155
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 12.0258 | 9.6678 | 0 | 0 | 0 | 0 | 35.8408 | 4.4627 | 5.9102 | 6.1289 | 0 | 0 | 9.1378 | 9.1165 | 9.106 | 5.4136 | 5.8077 | 0 | 13.7069 | 12.168 | 7.3447 | 6.2052 | 13.4469 | 11.4116 | 0 | 0 | 9.8859 | 7.2266 | 6.1034 | 4.2673 | 0 | 8.2204 | 9.6 | 1.3796
Bottling Hall water | 3.5791 | 4.2264 | 0 | 0 | 0 | 0 | 8.152 | 2.5382 | 2.6097 | 2.4329 | 0 | 0 | 3.1815 | 3.0891 | 3.4097 | 2.3132 | 3.1459 | 0 | 8.8692 | 3.978 | 2.7039 | 3.0736 | 4.7995 | 2.318 | 0 | 0 | 3.5856 | 2.7183 | 2.5782 | 2.9675 | 0 | 3.1893 | 2.9 | -0.28926
Water Plant Total (Before Sand Filter) | 164 | 177 | 0 | 126 | 0 | 0 | 193 | 155 | 144 | 174 | 34 | 0 | 158 | 151 | 172 | 115 | 186 | 35 | 73 | 113 | 132 | 180 | 152 | 169 | 41 | 77 | 122 | 141 | 132 | 140 | 0 | 3456
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 1200 | 1400 |  |  |  | 600 | 700 | 3700 | 4000 | 0 | 0 | 0 | 2600 | 2000 | 2600 | 2100 | 1600 |  | 1600 | 1600 | 1700 | 3000 | 1600 | 1800 |  |  | 1600 | 2900 | 2800 | 2000 |  | 43100
CO2 Totalizer | 1627.38 | 1816.5 | 0 | 0 | 0 | 0 | 672.98 | 3112.15 | 3511.68 | 3094.19 | 0 | 0 | 2093.31 | 2123.5 | 2343.92 | 2492.73 | 1931.85 | 0 | 0 | 1606.98 | 1961.02 | 3292.09 | 1349.88 | 1990.5 | 8.31 | 0 | 1913.13 | 3199.19 | 3021.06 | 2267.43 | 0 | 45429.78
CO2 (kg.) (Filler) | 117.82 | 140.05 | 0 | 0 | 0 | 0 | 136.22 | 317.34 | 408.64 | 286.48 | 0 | 0 | 272.67 | 257.65 | 331.28 | 356.83 | 199.21 | 0 | 0 | 154.29 | 311.68 | 303.6 | 141.79 | 134.45 | 0 | 0 | 276.15 | 244.75 | 363.02 | 344.15 | 0 | 5098.07
CO2 (kg.) (FILTRATION) | 111.81 | 238.18 | 0 | 0 | 0 | 0 | 27.58 | 159.61 | 274.73 | 335.49 | 0 | 0 | 111.03 | 104.29 | 164.25 | 203.38 | 32.7 | 0 | 0 | 109.72 | 118.98 | 759.2 | 170.01 | 481.32 | 0 | 0 | 552.16 | 380.45 | 356.11 | 0 | 0 | 4691
0
CO2 (kg.)Consumption Meter | 1627.38 | 1816.5 | 0 | 0 | 0 | #REF! | #REF! | 3112.15 | 3511.68 | 3094.19 |  | 0 |  | 2123.5 | 2343.92 | 2492.73 | 1931.85 | 199.21 | 182 | 180 | 0 | 32 | 52 | 0 | 0 | 0 | 0 | 35 | 4 | #REF! | 0
Electricity GRENLEC (Kwh.) | 5927 | 5832 | 2694 | 2971 | 2911 | 2599 | 5214 | 5850 | 6901 | 6846 | 2983 | 1952 | 6237 | 7380 | 6949 | 6258 | 5872 | 3482 | 1989 | 5497 | 5959 | 7375 | 7064 | 4121 | 3680 | 3443 | 6546 | 5953 | 6553 | 6457 | 0 | 153495
| Wed: #VALUE! |  | #VALUE!
| 3908.2 | 4056.9 | 4149.7 | 4087 | 6761.2 | 7448.2 | 8613.9 | 8463.5 | 4472.4 | 3607.2 | 7137.9 | 8792.9 | 8270 | 7543.2 | 7157.2 | 4832.9 | 3586.3 | 6812.8 | 7390.7 | 8222.7 | 8142.7 | 5806.9 | 5057 | 477480% | 802870% | 7341.9 | 6553 | 6457 | 0 | 192570.8 | 0 | 370047.6
Electricity PV System Target=1405 (Kwh) | 1739.4 | 1604.4 | 1730.6 | 1214.2 | 1085.9 | 1238.7 | 1488 | 1547.2 | 1598.2 | 1712.9 | 1617.5 | 1489.4 | 1655.2 | 900.9 | 1412.9 | 1321 | 1285.2 | 1350.9 | 1597.3 | 1315.8 | 1431.7 | 847.7 | 1078.7 | 1685.9 | 1377 | 1331.8 | 1482.7 | 1388.9 | 1613.3 | 1713.9 | 0 | 42857.2
Fuel (L) | 2700 | 2450 | 150 | 360 | 0 | 780 | 3230 | 2800 | 3790 | 2400 | 0 | 700 | 3520 | 3090 | 3370 | 3340 | 2190 | 0 | 1180 | 3070 | 3580 | 3550 | 2580 | 2520 | 1290 | 1200 | 3290 | 3050 | 3140 | 3130 | 0 | 66450
Steam Mass Flow | 529.108 | 0 | 0 | 0 | 0 | 0 | 427.666 | 0 | 0 | 0 | 0 | 0 | 0 | 261.439 | 0 | 25.016 | 36.674 | 0 | 0 | 0 | 429.266 | 0 | 0 | 41.916 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1751.085
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption | 17.3228 | 15.4262 |  |  |  |  | 30.6404 | 5.2922 | 5.7567 | 8.8191 |  |  | 9.3292 | 11.4773 | 7.9014 | 5.1726 | 10.95 |  | 47.0335 | 12.09 | 6.0215 | 8.5442 | 11.7919 | 13.0163 |  |  | 9.2712 | 7.3371 | 6.1911 | 10.5703 |  | 9.5902 | 10.2 | 0.6098 | 94.0216
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 5.7266 | 7.3961 |  |  |  |  | 9.8386 | 6.1382 | 6.1404 | 0 |  |  | 6.2194 | 5.0229 | 5.3084 | 3.3734 | 4.8398 |  | 43.0021 | 6.24 | 3.26 | 5.7993 | 6.62 | 8.0238 |  |  | 4.0978 | 6.4089 | 4.9108 | 4.905 |  | 5.3673 | 5 | -0.36732 | 107.3465
CO2 Filler (kg./Hl.) KPI | 0.56225 | 0.73988 |  |  |  |  | 1.9146 | 0.52646 | 0.62731 | 0.67016 |  |  | 0.65225 | 0.64707 | 0.67638 | 0.57321 | 0.60258 |  | 0 | 0.60173 | 0.5977 | 0.58688 | 0.58666 | 0.59933 |  |  | 0.70725 | 0.54089 | 0.63668 | 0.84403 |  | 0.63487 | 1.7 | 1.0651 | 37.3454
Electricity (Kwh./Hl.) KPI | 36.5851 | 39.2862 |  |  |  |  | 94.198 | 12.2718 | 13.0472 | 20.0217 |  |  | 18.8789 | 20.797 | 17.0726 | 12.1749 | 21.6495 |  | 96.3865 | 26.5699 | 14.1729 | 15.8952 | 33.6904 | 25.8851 |  |  | 20.5624 | 16.2253 | 14.3225 | 20.0391 |  | 24.4521 | 22 | -2.4521 | 111.146
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 12.8848 | 12.9432 |  |  |  |  | 45.3983 | 4.6452 | 5.8181 | 5.6143 |  |  | 8.4202 | 7.7603 | 6.8806 | 5.3654 | 6.6244 |  | 31.714 | 11.973 | 6.8653 | 6.8624 | 10.6747 | 11.2333 |  |  | 8.426 | 6.7404 | 5.5071 | 7.6763 |  | 8.2751 | 7.2 | -1.0751 | 114.9326
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 111.81 | 238.18 | 0 | 0 | 0 | 0 | 361452.49 | 0 | 274.73 | 335.49 | 0 | 0 | 111.03 | 104.29 | 164.25 | 203.38 | 32.7 | 0 | 0 | 109.72 | 118.98 | 759.2 | 170.01 | 481.32 | 0 | 0 | 552.16 | 380.45 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 0% | 0% |  |  |  |  | 0% |  | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% | #REF! | #REF! |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | Wed: _; Thu: 177; Mon: _; Tue: _ | _ | 177
| 5927 |  | 2694 | 2971 | 2911 | 2599 | 5214 | 5850 | 6901 | 6846 | 2983 | 1952 | 6237 | 7380 | 6949 | 6258 | 5872 | 3482 | 1989 | 5497 | 5959 | 7375 | 7064 | 4121 | 3680 | 3443 | 6546 | 5953 | 6553 | 6457 | 0 | 153495
5832
[32 empty] | 21.8267 | %
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 5800 kgs Tank B 0kgs Tank C 17,505 Kgs mobile approx 16900Kgs
Note on C74: Tank A 4600 kgs Tank B 0kgs Tank C 17,505 Kgs mobile approx 16900Kgs
Note on D74: Tank A 3200 kgs Tank B 0kgs Tank C 17,505 Kgs mobile approx 16900Kgs
Note on H74: Tank A 2600 kgs Tank B 0kgs Tank C 17,505 Kgs mobile approx 16900Kgs
Note on I74: Tank A 1900 kgs Tank B 0kgs Tank C 17,505 Kgs mobile approx 16900Kgs Tank A mt'd and refilled to 11500Kgs 4100 Kgs transferred into Tank C 1300 Kgs from mobile used on line Mobile Mt'd
Note on J74: Tank A 10800kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on K74: Tank A 6800kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on L74: Tank A 6800kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on M74: Tank A 6800kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on N74: Tank A 6800kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on O74: Tank A 4200kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on P74: Tank A 2200kgs Tank B 0kgs Tank C 21600Kgs mobile approx 0Kgs
Note on Q74: Tank A 0kgs Tank B 0kgs Tank C 21200Kgs mobile approx 0Kgs
Note on R74: Tank A 0kgs Tank B 0kgs Tank C 19100Kgs mobile approx 0Kgs
Note on S74: Tank A 0kgs Tank B 0kgs Tank C 17500Kgs mobile approx 20000Kgs
Note on T74: unaccounted from NMHU0000509
Note on U74: Tank A 0kgs Tank B 0kgs Tank C 17500Kgs mobile approx 19300Kgs
Note on V74: Tank A 0kgs Tank B 0kgs Tank C15900Kgs mobile approx 19300Kgs
Note on W74: Tank A 0kgs Tank B 0kgs Tank C14200Kgs mobile approx 20000Kgs
Note on X74: Tank A 0kgs Tank B 0kgs Tank C12600Kgs mobile approx 17900Kgs Tank A filled to 11900 Tank C - 4100 Kgs added Mobile emptied
Note on Y74: Tank A 11900kgs Tank B 0kgs Tank C15100Kgs mobile approx 0Kgs
Note on Z74: Tank A 10100kgs Tank B 0kgs Tank C15100Kgs mobile approx 0Kgs
Note on AA74: Tank A 10100kgs Tank B 0kgs Tank C15100Kgs mobile approx 0Kgs
Note on AB74: Tank A 10100kgs Tank B 0kgs Tank C15100Kgs mobile approx 0Kgs
Note on AC74: Tank A 8500kgs Tank B 0kgs Tank C15100Kgs mobile approx 18000Kgs
Note on AD74: Tank A 6900kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on AE74: Tank A 5000kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on AF74: Tank A 3000kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JANUARY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 227533 | 207 | 43 | 59389 | 1341402 | 164 | 97122 | 0 | 1341402 | -1341402 | -1341402 | 0 | 13 | 414 |  |  | #DIV/0!
2 | 227740 | 124 | -53 | 0 | 1341566 | 177 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 248 |  |  | #DIV/0!
3 | 227864 | 0 | 0 | 0 | 1341743 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
4 | 227864 | 27 | -99 | 0 | 1341743 | 126 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 54 |  |  | #DIV/0!
5 | 227891 | 0 | 0 | 0 | 1341869 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
6 | 227891 | 0 | 0 | 0 | 1341869 | 0 | 97122 | 0 | 0 | 22563 | 22563 | 0 | 0 | 0 |  |  | #DIV/0!
7 | 227891 | 34 | -159 | 0 | 1341869 | 193 | 97122 | 0 | 22563 | -22563 | -22563 | 0 | 17 | 68 |  |  | #DIV/0!
8 | 227925 | 172 | 17 | 0 | 1342062 | 155 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 344 |  |  | #DIV/0!
9 | 228097 | 237 | 93 | 0 | 1342217 | 144 | 97122 | 0 | 0 | 0 | 0 | 0 | 33 | 474 |  |  | #DIV/0!
10 | 228334 | 211 | 37 | 0 | 1342361 | 174 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 422 |  |  | #DIV/0!
11 | 228545 | 31 | -3 | 0 | 1342535 | 34 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 62 |  |  | #DIV/0!
12 | 228576 | 2 | 2 | 0 | 1342569 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 4 |  |  | #DIV/0!
13 | 228578 | 240 | 82 | 0 | 1342569 | 158 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 480 |  |  | #DIV/0!
14 | 228818 | 312 | 161 | 0 | 1342727 | 151 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 624 |  |  | #DIV/0!
15 | 229130 | 288 | 116 | 0 | 1342878 | 172 | 97122 | 0 | 0 | 0 | 0 | 0 | 34 | 576 |  |  | #DIV/0!
16 | 229418 | 147 | 32 | 0 | 1343050 | 115 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 294 |  |  | #DIV/0!
17 | 229565 | 182 | -4 | 0 | 1343165 | 186 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 364 |  |  | #DIV/0!
18 | 229747 | 0 | -35 | 0 | 1343351 | 35 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 229747 | 106 | 33 | 0 | 1343386 | 73 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 212 |  |  | #DIV/0!
20 | 229853 | 202 | 89 | 0 | 1343459 | 113 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 404 |  |  | #DIV/0!
21 | 230055 | 189 | 57 | 0 | 1343572 | 132 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 378 |  |  | #DIV/0!
22 | 230244 | 271 | 91 | 0 | 1343704 | 180 | 97122 | 0 | 0 | 0 | 0 | 0 | 33 | 542 |  |  | #DIV/0!
23 | 230515 | 140 | -12 | 0 | 1343884 | 152 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 280 |  |  | #DIV/0!
24 | 230655 | 131 | -38 | 0 | 1344036 | 169 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 262 |  |  | #DIV/0!
25 | 230786 | 77 | 36 | 0 | 1344205 | 41 | 97122 | 0 | 0 | 0 | 0 | 0 | 3 | 154 |  |  | #DIV/0!
26 | 230863 | 95 | 18 | 0 | 1344246 | 77 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 190 |  |  | #DIV/0!
27 | 230958 | 260 | 138 | 0 | 1344323 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 520 |  |  | #DIV/0!
28 | 231218 | 198 | 57 | 0 | 1344445 | 141 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 396 |  |  | #DIV/0!
| 231416 |  | 0 |  | 1344586 |  | 97122
Total |  | 3883 | 699 |  |  | 3184 |  | 0 | 1363965 | -1341402 | -1341402 | 0 | 476 | 7766 | 0 | 0 | #DIV/0!