## Entries Agust 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8379250 |  |  | 64 | 10357.7 | 68225 |  | 1496310 |  | 468000 | 63876.51 | 550471 | 75948.14 | 243905 | 76483 | 979132 |  | 90627 |  | 367 | 1356580 |  | 47169 | 66288 | 14750 | 97122 |  | 6043 | 263788 | [5 empty] | 7369792.674
2 | 8379250 |  |  | 64 | 10357.7 | 68225 |  | 1500565 |  | 468000 | 63876.51 | 550471 | 75948.14 | 244114 | 76594 | 979186 |  | 90267 |  | 367 | 1356696 |  | 47169 | 66288 | 14750 | 97122 |  | 6043 | 263788 | [5 empty] | 7369792.674
3 | 8380430 |  |  | 64 | 10364.4 | 68225 |  | 1502941 |  | 468000 | 63876.51 | 550471 | 75948.14 | 244114 | 76594 | 979227 |  | 90666 |  | 367 | 1356697 |  | 47186 | 66314 | 14754 | 97122 |  | 6043 | 263788 | [5 empty] | 7369792.674
4 | 8384120 |  |  | 64 | 10386.6 | 68225 |  | 1512082 |  | 468000 | 63910.1 | 551208.87 | 76137.87 | 244282 | 76850 | 979484 |  | 90821 |  | 383 | 1356966 |  | 47239 | 66420 | 14776 | 97122 |  | 6065 | 263788 | [5 empty] | 7369792.674
5 | 8388100 |  |  | 64 | 10409.1 | 68225 |  | 1521772 |  | 468000 | 65272.35 | 554944.2 | 76492.8 | 244517 | 77074 | 979818 |  | 90994 |  | 423 | 1357200 |  | 47298 | 66576 | 14801 | 97122 |  | 6089 | 263788 | [5 empty] | 7369792.674
6 | 8391580 |  |  | 64 | 10430.6 | 68225 |  | 1530253 |  | 468000 | 66032 | 557084 | 76742 | 244754 | 77267 | 980102 |  | 91138 |  | 434 | 1357403 |  | 47327 | 66698 | 14828 | 97122 |  | 6113 | 263788 | [5 empty] | 7369792.674
7 | 8395120 |  |  | 64 | 10452 | 68225 |  | 1538742 |  | 468000 | 66760 | 559511 | 76996 | 244906 | 77478 | 980335 |  | 91317 |  | 436 | 1357622 |  | 47352 | 66808 | 14884 | 97122 |  | 6132 | 263787 | [5 empty] | 7369792.674
8 | 8398040 |  |  | 64 | 10468.8 | 68225 |  | 1546883 |  | 468000 | 67270 | 561243.38 | 77213.48 | 245293 | 77651 | 980597 |  | 91430 |  | 437 | 1357792 |  | 47401 | 66927 | 14904 | 97122 |  | 6145 | 263787 | [5 empty] | 7369792.674
9 | 8398550 |  |  | 64 | 10472 | 68225 |  | 1550744 |  | 468000 | 67270 | 561243.38 | 77213.48 | 245337 | 77754 | 980632 |  | 91430 |  | 437 | 1357900 |  | 47401 | 66927 | 14910 | 97122 |  | 6145 | 263787 | [5 empty] | 7369792.674
10 | 8398550 |  |  | 64 | 10472 | 68225 |  | 1553288 |  | 468000 | 67270 | 561243.38 | 77213.48 | 245337 | 77754 | 980650 |  | 91430 |  | 437 | 1357900 |  | 47401 | 66927 | 14910 | 97122 |  | 6145 | 263787 | [5 empty] | 7369792.674
11 | 8398550 |  |  | 64 | 10472 | 68225 |  | 1555583 |  | 468000 | 67270 | 561243.38 | 77213.48 | 245340 | 77858 | 980717 |  | 91430 |  | 437 | 1358009 |  | 47401 | 66971 | 14910 | 97122 |  | 6145 | 263781 | [5 empty] | 7369792.674
12 | 8398550 |  |  | 64 | 10472 | 68225 |  | 1558235 |  | 468000 | 67270 | 561243.38 | 77213.48 | 245386 | 77865 | 980728 |  | 91442 |  | 437 | 1358017 |  | 47401 | 66971 | 14910 | 97122 |  | 6145 | 263781 | [5 empty] | 7369792.674
13 | 8401530 |  |  | 64 | 10492 | 68225 |  | 1564461 |  | 468000 | 67452.49 | 562600.81 | 77368.7 | 245671 | 77865 | 980913 |  | 91484 |  | 442 | 1358017 |  | 47444 | 67057 | 14931 | 97122 |  | 6160 | 263781 | [5 empty] | 7369792.674
14 | 8404960 |  |  | 64 | 10513.3 | 68225 |  | 1572631 |  | 468000 | 68312.15 | 565320.44 | 77658.16 | 245925 | 77944 | 981231 |  | 91600 |  | 443 | 1358099 |  | 47504 | 67228 | 14965 | 97122 |  | 6181 | 263781 | [5 empty] | 7369792.674
15 | 8408510 |  |  | 64 | 10534.1 | 68225 |  | 1580374 |  | 468000 | 68526.71 | 567335.6 | 77925.32 | 246120 | 78190 | 981473 |  | 91815 |  | 446 | 1358367 |  | 47529 | 67363 | 14997 | 97122 |  | 6199 | 263787 | [5 empty] | 7369792.674
16 | 8410110 |  |  | 64 | 10546.8 | 68225 |  | 1584904 |  | 468000 | 68526.71 | 567335.6 | 77925.32 | 246175 | 78280 | 981534 |  | 91972 |  | 446 | 1358450 |  | 47533 | 67373 | 15008 | 97122 |  | 6199 | 263787 | [5 empty] | 7369792.674
17 | 8410920 |  |  | 64 | 10551.4 | 68225 |  | 1587658 |  | 468000 | 68758.31 | 567548.06 | 77925.32 | 246175 | 78394 | 981602 |  | 91972 |  | 446 | 1358568 |  | 47545 | 67411 | 15017 | 97122 |  | 6199 | 263787 | [5 empty] | 7369792.674
18 | 8414440 |  |  | 64 | 10572.3 | 68225 |  | 1595824 |  | 468000 | 69213.34 | 570126.39 | 78136.45 | 246405 | 78568 | 981835 |  | 92116 |  | 449 | 1358746 |  | 47588 | 67529 | 15047 | 97122 |  | 6221 | 263787 | [5 empty] | 7369792.674
19 | 8417790 |  |  | 64 | 10593.7 | 68225 |  | 1603280 |  | 468000 | 69675.75 | 574203.98 | 78473.45 | 246485 | 78809 | 982096 |  | 92230 |  | 454 | 1359003 |  | 47623 | 67656 | 15067 | 97122 |  | 6243 | 263787 | [5 empty] | 7370293.434
20 | 8421580 |  |  | 64 | 10615.6 | 68225 |  | 1612255 |  | 468000 | 70655.39 | 576464.98 | 78792.8 | 246707 | 79069 | 982344 |  | 92419 |  | 455 | 1359276 |  | 47659 | 67780 | 15088 | 97122 |  | 6264 | 263787 | [5 empty] | 7370293.434
21 | 8425090 |  |  | 64 | 10637.7 | 68225 |  | 1621198 |  | 468000 | 71287.52 | 578669.95 | 79105.51 | 246982 | 79325 | 982608 |  | 92642 |  | 457 | 1359544 |  | 47725 | 67889 | 15106 | 97122 |  | 6283 | 263787 | [5 empty] | 7370293.434
22 | 8426900 |  |  | 64 | 10653.2 | 68225 |  | 1625396 |  | 468000 | 71361.21 | 579316.44 | 79105.51 | 247049 | 79520 | 982721 |  | 92760 |  | 457 | 1359748 |  | 47759 | 67925 | 15116 | 97122 |  | 6286 | 263787 | [5 empty] | 7370293.434
23 | 8428870 |  |  | 64 | 10669 | 68225 |  | 1629484 |  | 468000 | 71363.86 | 579318.56 | 79105.51 | 247137 | 79657 | 982795 |  | 92964 |  | 457 | 1359890 |  | 47766 | 67945 | 15129 | 97122 |  | 6286 | 263787 | [5 empty] | 7370293.434
24 | 8430020 |  |  | 64 | 10677 | 68225 |  | 1633700 |  | 468000 | 71364.41 | 579320.25 | 79105.51 | 247137 | 79731 | 982833 |  | 92998 |  | 458 | 1359967 |  | 47780 | 67958 | 15138 | 97122 |  | 6286 | 263787 | [5 empty] | 7370293.434
25 | 8433750 |  |  | 64 | 10697.4 | 68225 |  | 1643375 |  | 468000 | 71760.27 | 581785.36 | 79410.04 | 247247 | 79925 | 983106 |  | 93211 |  | 462 | 1360205 |  | 47840 | 68084 | 15160 | 97122 |  | 6311 | 263787 | [5 empty] | 7370293.434
26 | 8437840 |  |  | 64 | 10720.8 | 68225 |  | 1652132 |  | 468000 | 72334.2 | 583989.25 | 79677.93 | 247372 | 80159 | 983333 |  | 93446 |  | 468 | 1360417 |  | 47878 | 68195 | 15186 | 97122 |  | 6330 | 263787 | [5 empty] | 7371455.008
27 | 8440680 |  |  | 64 | 10740 | 68225 |  | 1659952 |  | 468000 | 73088.12 | 586416.25 | 79873.98 | 247634 | 80310 | 983601 |  | 93589 |  | 469 | 1360574 |  | 47929 | 68297 | 15203 | 97122 |  | 6346 | 263787 | [5 empty] | 7371455.008
28 | 8444050 |  |  | 64 | 10761.9 | 68225 |  | 1669216 |  | 468000 | 74074.93 | 588852.38 | 80107.33 | 248037 | 80581 | 983873 |  | 93763 |  | 469 | 1360859 |  | 47985 | 68429 | 15219 | 97122 |  | 6359 | 263787 | [5 empty] | 7371455.008
29 | 8446840 |  |  | 64 | 10780.4 | 68225 |  | 1676891 |  | 468000 | 74398.15 | 590168.88 | 80251.53 | 248195 | 80795 | 984064 |  | 93941 |  | 470 | 1361083 |  | 48037 | 68505 | 15235 | 97122 |  | 6365 | 263787 | [5 empty] | 7372110.095
30 | 8446840 |  |  | 64 | 10780.4 | 68225 |  | 1680296 |  | 468000 | 74398.15 | 590168.88 | 80251.53 | 248208 | 80805 | 984066 |  | 93941 |  | 470 | 1361096 |  | 48037 | 68505 | 15235 | 97122 |  | 6365 | 263787 | [5 empty] | 7372110.095
31 | 8447900 |  |  | 64 | 10786.8 | 68225 |  | 1682887 |  | 468000 | 74399.11 | 590168.88 | 80251.53 | 248395 | 81083 | 984149 |  | 93941 |  | 470 | 1361385 |  | 48037 | 68537 | 15241 | 97122 |  | 6366 | 263787 | [5 empty] | 7372110.095
1 | 8451450 |  |  | 64 | 10809.2 | 68225 |  | 1690601 |  | 468000 | 75099.65 | 591678.5 | 80405.01 | 248483 | 81270 | 984412 |  | 94074 |  | 472 | 1361581 |  | 48114 | 68647 | 15262 | 97122 |  | 6383 | 263787 | [5 empty] | 7372523.61
Note on AD12: Alexander Dominguez-Ramon: Flowmeter failure
Note on AD16: Alexander Dominguez-Ramon: Flowmeter failure

## Utility Analysis August 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 4255 | 0 | 4255 | 1620 | 27.57% | 0 | 5875 | 3200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2376 | 0 | 2376 | 1387.1 | 36.86% | 0 | 3763.1 | 0 | 1180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 9141 | 0 | 9141 | 1492.9 | 14.04% | 0 | 10633.9 | 4240 | 3690 | 2400 | 0 | 0 | 0 | 0 | 384.846 | 27.6316 | 11.0174 | 9.5883 | 6.2363
4 | 9690 | 0 | 9690 | 1528.6 | 13.63% | 0 | 11218.6 | 4590 | 3980 | 3500 | 0 | 0 | 0 | 0 | 676.038 | 16.5946 | 6.7896 | 5.8872 | 5.1772
5 | 8481 | 0 | 8481 | 1543.4 | 15.4% | 0 | 10024.4 | 4300 | 3480 | 2200 | 0 | 0 | 0 | 0 | 483.912 | 20.7153 | 8.8859 | 7.1914 | 4.5463
6 | 8489 | 0 | 8489 | 1472.8 | 14.78% | 0 | 9961.8 | 3630 | 3540 | 2500 | 0 | 0 | 0 | 0 | 457.644 | 21.7676 | 7.9319 | 7.7353 | 5.4628
7 | 8141 | 0 | 8141 | 1399.6 | 14.67% | 0 | 9540.6 | 5600 | 2920 | 1900 | 0 | 0 | 0 | 0 | 418.638 | 22.7896 | 13.3767 | 6.975 | 4.5385
8 | 3861 | 0 | 3861 | 1418 | 26.86% | 0 | 5279 | 1470 | 510 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 2544 | 0 | 2544 | 1572.3 | 38.2% | 0 | 4116.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 2295 | 0 | 2295 | 1513.6 | 39.74% | 0 | 3808.6 | 1070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 2652 | 0 | 2652 | 1441.9 | 35.22% | 0 | 4093.9 | 530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 6226 | 0 | 6226 | 1506.9 | 19.49% | 0 | 7732.9 | 2850 | 2980 | 1500 | 0 | 0 | 0 | 0 | 299.772 | 25.7959 | 9.5072 | 9.9409 | 5.0038
13 | 8170 | 0 | 8170 | 1535.3 | 15.82% | 0 | 9705.3 | 3330 | 3430 | 2300 | 0 | 0 | 0 | 0 | 539.286 | 17.9966 | 6.1748 | 6.3603 | 4.2649
14 | 7743 | 0 | 7743 | 1485.7 | 16.1% | 0 | 9228.7 | 4410 | 3550 | 2300 | 0 | 0 | 0 | 0 | 460.152 | 20.0558 | 9.5838 | 7.7148 | 4.9983
15 | 4530 | 0 | 4530 | 953.8 | 17.39% | 0 | 5483.8 | 1450 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 2754 | 0 | 2754 | 1511.3 | 35.43% | 0 | 4265.3 | 1140 | 810 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 8166 | 0 | 8166 | 979.9 | 10.71% | 0 | 9145.9 | 4040 | 3520 | 2500 | 0 | 0 | 0 | 0 | 369.468 | 24.7542 | 10.9346 | 9.5272 | 6.7665
18 | 7456 | 0 | 7456 | 1450 | 16.28% | 0 | 8906 | 3210 | 3350 | 4200 | 0 | 0 | 0 | 0 | 628.188 | 14.1773 | 5.1099 | 5.3328 | 6.6859
19 | 8975 | 0 | 8975 | 1178 | 11.6% | 0 | 10153 | 4820 | 3790 | 2400 | 0 | 0 | 0 | 0 | 570.966 | 17.7821 | 8.4418 | 6.6379 | 4.2034
20 | 8943 | 0 | 8943 | 914 | 9.273% | 0 | 9857 | 5310 | 3510 | 2500 | 0 | 0 | 0 | 0 | 574.86 | 17.1468 | 9.237 | 6.1058 | 4.3489
21 | 4198 | 0 | 4198 | 1137.3 | 21.32% | 0 | 5335.3 | 2620 | 1810 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 4088 | 0 | 4088 | 1573.9 | 27.8% | 0 | 5661.9 | 2250 | 1970 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 4216 | 0 | 4216 | 1029.4 | 19.62% | 0 | 5245.4 | 740 | 1150 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 9675 | 0 | 9675 | 1409.5 | 12.72% | 0 | 11084.5 | 3040 | 3730 | 2500 | 0 | 0 | 0 | 0 | 379.104 | 29.2387 | 8.0189 | 9.839 | 6.5945
25 | 8757 | 0 | 8757 | 1465.8 | 14.34% | 0 | 10222.8 | 3590 | 4090 | 2200 | 0 | 0 | 0 | 0 | 477.774 | 21.3967 | 7.514 | 8.5605 | 4.6047
26 | 7820 | 0 | 7820 | 1430.4 | 15.46% | 0 | 9250.4 | 4130 | 2840 | 2800 | 0 | 0 | 0 | 0 | 415.074 | 22.2861 | 9.95 | 6.8422 | 6.7458
27 | 9264 | 0 | 9264 | 1328.9 | 12.55% | 0 | 10592.9 | 6740 | 3370 | 2400 | 0 | 0 | 0 | 0 | 414.678 | 25.5449 | 16.2536 | 8.1268 | 5.7876
28 | 7675 | 0 | 7675 | 1580.1 | 17.07% | 0 | 9255.1 | 3720 | 2790 | 1600 | 0 | 0 | 0 | 0 | 244.5696 | 37.8424 | 15.2104 | 11.4078 | 6.5421
29 | 3405 | 0 | 3405 | 1467.1 | 30.11% | 0 | 0 | 0 | 0 | 13 | 10 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 2591 | 0 | 2591 | 1498.9 | 36.65% | 0 | 4089.9 | 4650 | 1060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 7714 | 0 | 7714 | 1358 | 14.97% | 0 | 9072 | 2750 | 3550 | 1700 |  |  |  |  | 278.652 | 32.5567 | 9.8689 | 12.7399 | 6.1008
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 194291 | 43184.4 | 18.18% | 0 | 232603.3 | 93420 | 72200 | 46813 | 10 | 2 | 0 | 0 | 8073.6216 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 237475.4 | [11 empty] | 28.8103 | 11.571 | 8.9427 | 5.7983

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 500.76
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 1161.574
26 | 0
27 | 0
28 | 655.087
29 | 0
30 | 0
31 | 413.515
2730.936

## Fuel
DAILY FUEL CONSUMPTION FOR AUGUST 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1180 | 6.7 | 0 | 0 |  |  | 176.1194 | 0 | 0 | 1180 | 0 | 0
3 | 3690 | 22.2 | 0 | 0 |  |  | 166.2162 | 0 | 0 | 3690 | 384.846 | 9.5883
4 | 3980 | 22.5 | 0 | 0 |  |  | 176.8889 | 0 | 0 | 3980 | 676.038 | 5.8872
5 | 3480 | 21.5 | 0 | 0 |  |  | 161.8605 | 0 | 0 | 3480 | 483.912 | 7.1914
6 | 3540 | 21.4 | 0 | 0 |  |  | 165.4206 | 0 | 0 | 3540 | 457.644 | 7.7353
7 | 2920 | 16.8 | 0 | 0 |  |  | 173.8095 | 0 | 0 | 2920 | 418.638 | 6.975
8 | 510 | 3.2 | 0 | 0 |  |  | 159.375 | 0 | 0 | 510 | 0 | 0
9 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 2980 | 20 | 0 | 0 |  |  | 149 | 0 | 0 | 2980 | 299.772 | 9.9409
13 | 3430 | 21.3 | 0 | 0 |  |  | 161.0329 | 0 | 0 | 3430 | 539.286 | 6.3603
14 | 3550 | 20.8 | 0 | 0 |  |  | 170.6731 | 0 | 0 | 3550 | 460.152 | 7.7148
15 | 1600 | 12.7 | 0 | 0 |  |  | 125.9843 | 0 | 0 | 1600 | 0 | 0
16 | 810 | 4.6 | 0 | 0 |  |  | 176.087 | 0 | 0 | 810 | 0 | 0
17 | 3520 | 20.9 | 0 | 0 |  |  | 168.4211 | 0 | 0 | 3520 | 369.468 | 9.5272
18 | 3350 | 21.4 | 0 | 0 |  |  | 156.5421 | 0 | 0 | 3350 | 628.188 | 5.3328
19 | 3790 | 21.9 | 0 | 0 |  |  | 173.0594 | 0 | 0 | 3790 | 570.966 | 6.6379
20 | 3510 | 22.1 | 0 | 0 |  |  | 158.8235 | 0 | 0 | 3510 | 574.86 | 6.1058
21 | 1810 | 15.5 | 0 | 0 |  |  | 116.7742 | 0 | 0 | 1810 | 0 | 0
22 | 1970 | 15.8 | 0 | 0 |  |  | 124.6835 | 0 | 0 | 1970 | 0 | 0
23 | 1150 | 8 | 0 | 0 |  |  | 143.75 | 0 | 0 | 1150 | 0 | 0
24 | 3730 | 20.4 | 0 | 0 |  |  | 182.8431 | 0 | 0 | 3730 | 379.104 | 9.839
25 | 4090 | 23.4 | 0 | 0 |  |  | 174.7863 | 0 | 0 | 4090 | 477.774 | 8.5605
26 | 2840 | 19.2 | 0 | 0 |  |  | 147.9167 | 0 | 0 | 2840 | 415.074 | 6.8422
27 | 3370 | 21.9 | 0 | 0 |  |  | 153.8813 | 0 | 0 | 3370 | 414.678 | 8.1268
28 | 2790 | 18.5 | 0 | 0 |  |  | 150.8108 | 0 | 0 | 2790 | 244.5696 | 11.4078
29 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
30 | 1060 | 6.4 |  | 0 |  |  | 165.625 | 0 | 0 | 1060 | 0 | 0
31 | 3550 | 22.4 |  | 0 |  |  | 158.4821 | 0 | 0 | 3550 | 278.652
| 72200 | 0 | 0 | 0 | 0 | 0 | 4138.8663 |  |  |  |  | 0 | 7.2 | 0
AVE. | 2776.9231 | 0 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 209 | 111 | 116 | 204 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 320 | 0 | 0
| 2 | 0 | 0 | 0 | 1 | -1 | 41 | 0 | 399 | 0 | 0 | 0 | 17 | 26 | 0 | 4 | 0 | -10 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | 0 | 168 | 256 | 269 | 155 | 257 | 0 | 155 | 0 | 0 | 16 | 53 | 106 | 22 | 22 | 0 | 1550 | 175 | 22 | 0 | 0 | 0 | 0 | 424 | 384.846 | 11.0174
| 4 | 0 | 235 | 224 | 234 | 225 | 334 | 0 | 173 | 0 | 0 | 40 | 59 | 156 | 24 | 25 | 0 | 2250 | 255 | 24 | 0 | 0 | 0 | 0 | 459 | 676.038 | 6.7896
| 5 | 0 | 237 | 193 | 203 | 227 | 284 | 0 | 144 | 0 | 0 | 11 | 29 | 122 | 24 | 27 | 0 | 2270 | 162 | 24 | 0 | 0 | 0 | 0 | 430 | 483.912 | 8.8859
| 6 | 0 | 152 | 211 | 219 | 144 | 233 | 0 | 179 | 0 | 0 | 2 | 25 | 110 | 19 | 56 | 0 | 1440 | 137 | 19 | 0 | 0 | 0 | 0 | 363 | 457.644 | 7.9319
| 7 | 0 | 387 | 173 | 170 | 390 | 262 | 0 | 113 | 0 | 0 | 1 | 49 | 119 | 13 | 20 | 0 | 3900 | 169 | 13 | 0 | 0 | 0 | 0 | 560 | 418.638 | 13.3767
| 8 | 0 | 44 | 103 | 108 | 39 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 390 | 0 | 0 | 0 | 0 | 0 | 0 | 147 | 0 | 0
| 9 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10 | 0 | 3 | 104 | 109 | -2 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | -20 | 44 | 0 | 0 | 0 | 0 | 0 | 107 | 0 | 0
| 11 | 0 | 46 | 7 | 8 | 45 | 11 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0
| 12 | 0 | 285 | 0 | 0 | 285 | 185 | 0 | 42 | 0 | 0 | 5 | 43 | 86 | 15 | 21 | 0 | 2850 | 134 | 15 | 0 | 0 | 0 | 0 | 285 | 299.772 | 9.5072
| 13 | 0 | 254 | 79 | 82 | 251 | 318 | 0 | 116 | 0 | 0 | 1 | 60 | 171 | 21 | 34 | 0 | 2510 | 232 | 21 | 0 | 0 | 0 | 0 | 333 | 539.286 | 6.1748
| 14 | 0 | 195 | 246 | 268 | 173 | 242 | 0 | 215 | 0 | 0 | 3 | 25 | 135 | 18 | 32 | 0 | 1730 | 163 | 18 | 6 | 0 | 0 | 0 | 441 | 460.152 | 9.5838
| 15 | 0 | 55 | 90 | 83 | 62 | 61 | 0 | 157 | 0 | 0 | 0 | 4 | 10 | 0 | 11 | 0 | 620 | 14 | 0 | 0 | 0 | 0 | 0 | 145 | 0 | 0
| 16 | 0 | 0 | 114 | 118 | -4 | 68 | 0 | 0 | 0 | 0 | 0 | 12 | 38 | 0 | 9 | 0 | -40 | 50 | 0 | 0 | 0 | 0 | 0 | 114 | 0 | 0
| 17 | 0 | 230 | 174 | 178 | 226 | 233 | 0 | 144 | 0 | 0 | 3 | 43 | 118 | 22 | 30 | 0 | 2260 | 164 | 22 | 0 | 0 | 0 | 0 | 404 | 369.468 | 10.9346
| 18 | 0 | 80 | 241 | 257 | 64 | 261 | 0 | 114 | 0 | 0 | 5 | 35 | 127 | 22 | 20 | 0 | 640 | 167 | 22 | 0 | 0 | 0 | 0 | 321 | 628.188 | 5.1099
| 19 | 0 | 222 | 260 | 273 | 209 | 248 | 0 | 189 | 0 | 0 | 1 | 36 | 124 | 21 | 21 | 0 | 2090 | 161 | 21 | 0 | 0 | 0 | 0 | 482 | 570.966 | 8.4418
| 20 | 0 | 275 | 256 | 268 | 263 | 264 | 0 | 223 | 0 | 0 | 2 | 66 | 109 | 19 | 18 | 0 | 2630 | 177 | 19 | 0 | 0 | 0 | 0 | 531 | 574.86 | 9.237
| 21 | 0 | 67 | 195 | 204 | 58 | 113 | 0 | 118 | 0 | 0 | 0 | 34 | 36 | 3 | 10 | 0 | 580 | 70 | 3 | 0 | 0 | 0 | 0 | 262 | 0 | 0
| 22 | 0 | 88 | 137 | 142 | 83 | 74 | 0 | 204 | 0 | 0 | 0 | 7 | 20 | 0 | 13 | 0 | 830 | 27 | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0
| 23 | 0 | 0 | 74 | 77 | -3 | 38 | 0 | 34 | 0 | 0 | 1 | 14 | 13 | 0 | 9 | 0 | -30 | 28 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0
| 24 | 0 | 110 | 194 | 238 | 66 | 273 | 0 | 213 | 0 | 0 | 4 | 60 | 126 | 25 | 22 | 0 | 660 | 190 | 25 | 0 | 0 | 0 | 0 | 304 | 379.104 | 8.0189
| 25 | 0 | 125 | 234 | 212 | 147 | 227 | 0 | 235 | 0 | 0 | 6 | 38 | 111 | 19 | 26 | 0 | 1470 | 155 | 19 | 0 | 0 | 0 | 0 | 359 | 477.774 | 7.514
| 26 | 0 | 262 | 151 | 157 | 256 | 268 | 0 | 143 | 0 | 0 | 1 | 51 | 102 | 16 | 17 | 0 | 2560 | 154 | 16 | 0 | 0 | 0 | 0 | 413 | 415.074 | 9.95
| 27 | 0 | 403 | 271 | 285 | 389 | 272 | 0 | 174 | 0 | 0 | 0 | 56 | 132 | 13 | 16 | 0 | 3890 | 188 | 13 | 0 | 0 | 0 | 0 | 674 | 414.678 | 16.2536
| 28 | 0 | 158 | 214 | 224 | 148 | 191 | 0 | 178 | 0 | 0 | 1 | 52 | 76 | 6 | 16 | 0 | 1480 | 129 | 6 | 0 | 0 | 0 | 0 | 372 | 244.5696 | 15.2104
| 29 | 0 | 13 | 10 | 13 | 10 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0
| 30 | 0 | 187 | 278 | 289 | 176 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 1 | 6 | 0 | 1760 | 32 | 1 | 0 | 0 | 0 | 0 | 465 | 0 | 0
| 31 | 0 | 88 | 187 | 196 | 79 |  |  | 133 | 0 | 0 | 2 | 77 | 110 | 17 | 21 | 0 | 790 |  | 17 | 0 | 0 | 0 | 0 | 275 | 278.652
MTD | total | 0 | 4578 | 4787 | 5001 | 4364 | 5017 |  | 3807 |  | 0 | 105 | 945 | 2359 | 340 | 512 | 0 | 43640 | 3220 | 340 | 6 |  |  |  | 9365 | 8073.6216 | 11.5995 | 10.2 | 113.7206
| Gals. |  | 1007160
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 15923.1996
| Add basic charge |  | 278.97
16202.1696
| Proxy sewage charge (2/3) |  | 10801.4464
| Proxy MTD NAWASA cost |  | 27003.616
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.August 2026
DAILY ELECTRICITY CONSUMPTION FOR AUGUST 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 4255 | 0 | 1620 | 5875 | 0 | 0
2 | 2376 | 0 | 1387.1 | 3763.1 | 0 | 0
3 | 9141 | 0 | 1492.9 | 10633.9 | 384.846 | 27.6316
4 | 9690 | 0 | 1528.6 | 11218.6 | 676.038 | 16.5946
5 | 8481 | 0 | 1543.4 | 10024.4 | 483.912 | 20.7153
6 | 8489 | 0 | 1472.8 | 9961.8 | 457.644 | 21.7676
7 | 8141 | 0 | 1399.6 | 9540.6 | 418.638 | 22.7896
8 | 3861 | 0 | 1418 | 5279 | 0 | 0
9 | 2544 | 0 | 1572.3 | 4116.3 | 0 | 0
10 | 2295 | 0 | 1513.6 | 3808.6 | 0 | 0
11 | 2652 | 0 | 1441.9 | 4093.9 | 0 | 0
12 | 6226 | 0 | 1506.9 | 7732.9 | 299.772 | 25.7959
13 | 8170 | 0 | 1535.3 | 9705.3 | 539.286 | 17.9966
14 | 7743 | 0 | 1485.7 | 9228.7 | 460.152 | 20.0558
15 | 4530 | 0 | 953.8 | 5483.8 | 0 | 0
16 | 2754 | 0 | 1511.3 | 4265.3 | 0 | 0
17 | 8166 | 0 | 979.9 | 9145.9 | 369.468 | 24.7542
18 | 7456 | 0 | 1450 | 8906 | 628.188 | 14.1773
19 | 8975 | 0 | 1178 | 10153 | 570.966 | 17.7821
20 | 8943 | 0 | 914 | 9857 | 574.86 | 17.1468
21 | 4198 | 0 | 1137.3 | 5335.3 | 0 | 0
22 | 4088 | 0 | 1573.9 | 5661.9 | 0 | 0
23 | 4216 | 0 | 1029.4 | 5245.4 | 0 | 0
24 | 9675 | 0 | 1409.5 | 11084.5 | 379.104 | 29.2387
25 | 8757 | 0 | 1465.8 | 10222.8 | 477.774 | 21.3967
26 | 7820 | 0 | 1430.4 | 9250.4 | 415.074 | 22.2861
27 | 9264 | 0 | 1328.9 | 10592.9 | 414.678 | 25.5449
28 | 7675 | 0 | 1580.1 | 9255.1 | 244.5696 | 37.8424
29 | 3405 | 0 | 1467.1 | 4872.1 | 0 | 0
30 | 2591 | 0 | 1498.9 | 4089.9 | 0 | 0
31 | 7714 | 0 | 1358 | 7714 | 278.652 |  |  | %
MTD | 194291 | 0 | 43184.4 | 236117.4 | 8073.6216 | 29.2455 | 22 | 132.9343
TARGET

## PROD.FIG.
PRODUCTION FOR AUGUST 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Saturday | 1 | [5 empty] | 0
Sunday | 2 | [5 empty] | 0
Monday | 3 | [5 empty] | 384.846
Tuesday | 4 | [5 empty] | 676.038
Wednesday | 5 | [5 empty] | 483.912
Thursday | 6 | [5 empty] | 457.644
Friday | 7 | [5 empty] | 418.638
Saturday | 8 | [5 empty] | 0
Sunday | 9 | [5 empty] | 0
Monday | 10 | [5 empty] | 0
Tuesday | 11 | [5 empty] | 0
Wednesday | 12 | [5 empty] | 299.772
Thursday | 13 | [5 empty] | 539.286
Friday | 14 | [5 empty] | 460.152
Saturday | 15 | [5 empty] | 0
Sunday | 16 | [5 empty] | 0
Monday | 17 | [5 empty] | 369.468
Tuesday | 18 | [5 empty] | 628.188
Wednesday | 19 | [5 empty] | 570.966
Thursday | 20 | [5 empty] | 574.86
Friday | 21 | [5 empty] | 0
Saturday | 22 | [5 empty] | 0
Sunday | 23 | [5 empty] | 0
Monday | 24 | [5 empty] | 379.104
Tuesday | 25 | [5 empty] | 477.774
Wednesday | 26 | [5 empty] | 415.074
Thursday | 27 | [5 empty] | 414.678
Friday | 28 | [5 empty] | 244.5696
Saturday | 29 | [5 empty] | 0
Sunday | 30 | [5 empty] | 0
Monday | 31 | [5 empty] | 278.652
[6 empty] | TOTAL | 8073.6216
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for AUGUST 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 0 | 0 | 0 | 0 | 0 | 0 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 189.73 | 33.59 | 737.87 | 2400 | 384.846 | 6.2363 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 354.93 | 1362.25 | 3735.33 | 3500 | 676.038 | 5.1772 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 249.2 | 759.65 | 2139.8 | 2200 | 483.912 | 4.5463 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 254 | 728 | 2427 | 2500 | 457.644 | 5.4628 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 217.48 | 510 | 1732.38 | 1900 | 418.638 | 4.5385 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 2000 | 0 | 0 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 155.22 | 182.49 | 1357.43 | 1500 | 299.772 | 5.0038 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 289.46 | 859.66 | 2719.63 | 2300 | 539.286 | 4.2649 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 267.16 | 214.56 | 2015.16 | 2300 | 460.152 | 4.9983 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 231.6 | 212.46 | 0 | 0 | 0 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 211.13 | 455.03 | 2578.33 | 2500 | 369.468 | 6.7665 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 337 | 462.41 | 4077.59 | 4200 | 628.188 | 6.6859 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 319.35 | 979.64 | 2261 | 2400 | 570.966 | 4.2034 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 312.71 | 632.13 | 2204.97 | 2500 | 574.86 | 4.3489 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 73.69 | 646.49 | 800 | 0 | 0 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 2.65 | 2.12 | 0 | 0 | 0 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 1.69 | 600 | 0 | 0 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 304.53 | 395.86 | 2465.11 | 2500 | 379.104 | 6.5945 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 267.89 | 573.93 | 2203.89 | 2200 | 477.774 | 4.6047 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 196.05 | 753.92 | 2427 | 2800 | 415.074 | 6.7458 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 233.35 | 986.81 | 2436.13 | 2400 | 414.678 | 5.7876 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 144.2 | 323.22 | 1316.5 | 1600 | 244.5696 | 6.5421 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 153.48 | 700.54 | 1509.62 | 1700 | 278.652 | 6.1008 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 4456.87 | 11221.63 | 41207.5 | 46800 | 8073.6216 | 5.7967 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-08-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 0 | 5831 | 10243 | 7332 | 6934 | 6343 | 0 | 0 | 0 | 0 | 4542 | 8171 | 6972 | 0 | 0 | 5598 | 9518 | 8651 | 8710 | 0 | 0 | 0 | 5744 | 7239 | 6289 | 6283 | 3620 |  |  | 0 | 118020 | 96325 | 21695
HL produced | 0 | 0 | 384.846 | 676.038 | 483.912 | 457.644 | 418.638 | 0 | 0 | 0 | 0 | 299.772 | 539.286 | 460.152 | 0 | 0 | 369.468 | 628.188 | 570.966 | 574.86 | 0 | 0 | 0 | 379.104 | 477.774 | 415.074 | 414.678 | 244.5696 |  |  | 0 | 7794.9696
Product Type | 0 | 0 | GN | CB | CB/ST/CB | CB | 0 | 0 | 0 | 0 | 0 | CB | CB Fl/CB/ST | ST/CB | 0 | 0 | CBEx/CB fl | CBfl/CB | CB/Ting | Ting/ST | 0 | 0 | 0 | CB/SM |  | GN/CB | CB/Jcool | Jcool/VM |  |  | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 209 | 0 | 168 | 235 | 237 | 152 | 387 | 44 | 0 | 3 | 46 | 285 | 254 | 195 | 55 | 0 | 230 | 80 | 222 | 275 | 67 | 88 | 0 | 110 | 125 | 262 | 403 | 158 | 125 | 262 | 403 | 5080
Annanale Supply | 111 | 0 | 256 | 224 | 193 | 211 | 173 | 103 | 0 | 104 | 7 | 0 | 79 | 246 | 90 | 114 | 174 | 241 | 260 | 256 | 195 | 137 | 74 | 194 | 234 | 151 | 271 | 214 | 234 | 151 | 271 | 4968
Total Water Supply | 320 | 0 | 424 | 459 | 430 | 363 | 560 | 147 | 0 | 107 | 53 | 285 | 333 | 441 | 145 | 114 | 404 | 321 | 482 | 531 | 262 | 225 | 74 | 304 | 359 | 413 | 674 | 372 | 359 | 413 | 674 | 10048
0
Theoretical permeate | 84.68 | 0.73 | 196.37 | 170.82 | 148.19 | 159.87 | 124.1 | 78.84 | 0 | 79.57 | 5.84 | 0 | 59.86 | 59.86 | 59.86 | 59.86 | 59.86 | 59.86 | 199.29 | 195.64 | 148.92 | 103.66 | 56.21 | 173.74 | 154.76 | 154.76 | 154.76 | 154.76 | 154.76 | 154.76 | 9.49 | 3223.68 | 9683 |  | 12.4221
171.55
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 54 | 41 | 257 | 334 | 284 | 233 | 262 | 35 | 18 | 67 | 11 | 185 | 318 | 242 | 61 | 68 | 233 | 261 | 248 | 264 | 113 | 74 | 38 | 273 | 227 | 268 | 272 | 191 | 0 | 0 | 0 | 4932
Water consumption | 54 | 41 | 257 | 334 | 284 | 233 | 262 | 35 | 18 | 67 | 11 | 185 | 318 | 242 | 61 | 68 | 233 | 261 | 248 | 264 | 113 | 74 | 38 | 273 | 227 | 268 | 272 | 191 | 0 | 0 | 0 | 4932
|  |  | 6.678 | 4.9406 | 5.8688 | 5.0913 | 6.2584 |  |  |  |  | 6.1714 | 5.8967 | 5.2591 |  |  | 6.3064 | 4.1548 | 4.3435 | 4.5924 |  |  |  | 7.2012 | 4.7512 | 6.4567 | 6.5593 | 7.8096
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 399 | 155 | 173 | 144 | 179 | 113 | 0 | 0 | 0 | 12 | 42 | 116 | 215 | 157 | 0 | 144 | 114 | 189 | 223 | 118 | 204 | 34 | 213 | 235 | 143 | 174 | 178 | 235 | 143 | 174 | 4226
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.514 | 9.95 | 16.2536 | 33.7176
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 60 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 16 | 13 | 121
CIP Process | 0 | 17 | 53 | 59 | 29 | 25 | 49 | 0 | 0 | 0 | 0 | 43 | 60 | 60 | 60 | 12 | 12 | 12 | 36 | 66 | 34 | 7 | 14 | 60 | 38 | 51 | 56 | 52 | 38 | 51 | 56 | 1050 |  |  | 15588.1818
Bottles Washer | 0 | 26 | 106 | 156 | 122 | 110 | 119 | 0 | 0 | 44 | 0 | 86 | 171 | 171 | 171 | 171 | 171 | 171 | 124 | 109 | 36 | 20 | 13 | 126 | 111 | 102 | 132 | 76 | 111 | 102 | 132 | 2989
Bottle Filler | 0 | 0 | 22 | 24 | 24 | 19 | 13 | 0 | 0 | 0 | 0 | 15 | 21 | 18 | 0 | 0 | 22 | 22 | 21 | 19 | 3 | 0 | 0 | 25 | 19 | 16 | 13 | 6 | 19 | 16 | 13 | 370
Pasteuriser | 0 | 0 | 16 | 40 | 11 | 2 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 3 | 0 | 0 | 3 | 5 | 1 | 2 | 0 | 0 | 1 | 4 | 6 | 1 | 0 | 1 | 6 | 1 | 0 | 110
Boiler Supply | 0 | 4 | 22 | 25 | 27 | 56 | 20 | 6 | 0 | 0 | 0 | 21 | 34 | 34 | 11 | 9 | 9 | 20 | 21 | 18 | 10 | 13 | 9 | 22 | 26 | 17 | 16 | 16 | 26 | 17 | 16 | 525
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 0 | 7
Personnel Consumption
Total water consumption (M3) | 0 | 446 | 374 | 477 | 357 | 391 | 315 | 6 | 0 | 44 | 12 | 212 | 403 | 502 | 459 | 192 | 361 | 356 | 392 | 437 | 201 | 244 | 71 | 450 | 435 | 330 | 391 | 329 | 467.514 | 356.95 | 420.2536 | 9431.7176
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 737.87 | 3735.33 | 2139.8 | #REF! | #REF! | 0 | 0 | 0 | 0 | 1357.43 | 2719.63 | 2015.16 | 0 | 212.46 | 2578.33 | 211.13 | 230 | 174 | 80 | 241 | 261 | 0 | 114 | 0 | 5 | 257 | 0 | 35 | 127 | #REF!
CO2 (kg.) (Filler) | 0 | 0 | 189.73 | 354.93 | 249.2 | 254 | 217.48 | 0 | 0 | 0 | 0 | 155.22 | 289.46 | 267.16 | 0 | 0 | 211.13 | 337 | 319.35 | 312.71 | 0 | 0 | 0 | 304.53 | 267.89 | 196.05 | 233.35 | 144.2 | 0 | 0 | 153.48 | 4456.87
Electricity (Kwh.) | 4255 | 2376 | 9141 | 9690 | 8481 | 8489 | 8141 | 3861 | 2544 | 2295 | 2652 | 6226 | 8170 | 7743 | 4530 | 2754 | 8166 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 181530
Fuel (L) | 0 | 1180 | 3690 | 3980 | 3480 | 3540 | 2920 | 510 | 0 | 0 | 0 | 2980 | 3430 | 3550 | 1600 | 810 | 3520 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 82090
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | Tue: 11.0174; Wed: 6.7896; Thu: 8.8859; Fri: 7.9319; Sat: 13.3767; Thu: 9.5072; Fri: 6.1748; Sat: 9.5838; Tue: 10.9346; Wed: 5.1099; Thu: 8.4418; Fri: 9.237; Tue: 8.0189; Wed: 7.514; Thu: 9.95; Fri: 16.2536; Sat: 15.2104 | 12.8904 | 10.2 | -2.6904
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | Tue: 4.0276; Wed: 2.559; Thu: 2.9757; Fri: 3.9113; Sat: 2.6992; Thu: 1.4011; Fri: 2.151; Sat: 4.6724; Tue: 3.8975; Wed: 1.8147; Thu: 3.3102; Fri: 3.8792; Tue: 5.6185; Wed: 4.9186; Thu: 3.4452; Fri: 4.196; Sat: 7.2781 | 5.4214 | 2.5 | -2.9214
Brewhouse (Hls brewed) |  | 20.5247 | 3.9013 | 5.5609 | 3.1894 | 4.0507 | 4.4541 |  |  |  |  | 2.8513 | 4.668 | 8.6415 | 5.1257 |  | 4.0415 | 3.3043 | 3.753 | 4.3837 | 2.9 | 3.9774 |  | 4.2874 | 5.158 | 3.2559 | 3.8874 | 5.1759 |  |  |  | 5.406 | 2.5 | -2.906
Spent Grains/Wash-down Areas | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Thu: 0; Fri: 0; Sat: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 | 0.043256 | 0.1 | 0.056744
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Thu: 0; Fri: 0; Sat: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0 | 0 | 0.7 | 0.7
Processing/Cellars | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Thu: 0; Fri: 0; Sat: 0.021732; Tue: 0; Wed: 0.19103; Thu: 0; Fri: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 | 0.15523 | 1 | 0.84477
CIP Process | Tue: 1.3772; Wed: 0.87273; Thu: 0.59928; Fri: 0.54628; Sat: 1.1705; Thu: 1.4344; Fri: 1.1126; Sat: 1.3039; Tue: 0.32479; Wed: 0.19103; Thu: 0.63051; Fri: 1.1481; Tue: 1.5827; Wed: 0.79536; Thu: 1.2287; Fri: 1.3504; Sat: 2.1262 | 1.347 | 0.7 | -0.64702
Bottles Washer | Tue: 2.7543; Wed: 2.3076; Thu: 2.5211; Fri: 2.4036; Sat: 2.8426; Thu: 2.8688; Fri: 3.1709; Sat: 3.7162; Tue: 4.6283; Wed: 2.7221; Thu: 2.1718; Fri: 1.8961; Tue: 3.3236; Wed: 2.3233; Thu: 2.4574; Fri: 3.1832; Sat: 3.1075 | 3.8345 | 2.6 | -1.2345
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | Tue: 0.57166; Wed: 0.35501; Thu: 0.49596; Fri: 0.41517; Sat: 0.31053; Thu: 0.50038; Fri: 0.3894; Sat: 0.39118; Tue: 0.59545; Wed: 0.35021; Thu: 0.3678; Fri: 0.33052; Tue: 0.65945; Wed: 0.39768; Thu: 0.38547; Fri: 0.3135; Sat: 0.24533 | 0.47467 | 0.7 | 0.22533
Pasteuriser | Tue: 0.41575; Wed: 0.59168; Thu: 0.22731; Fri: 0.043702; Sat: 0.023887; Thu: 0.16679; Fri: 0.018543; Sat: 0.065196; Tue: 0.081198; Wed: 0.079594; Thu: 0.017514; Fri: 0.034791; Tue: 0.10551; Wed: 0.12558; Thu: 0.024092; Fri: 0; Sat: 0.040888 | 0.14112 | 0.1 | -0.041117
Boiler Supply | Tue: 0.57166; Wed: 0.3698; Thu: 0.55795; Fri: 1.2237; Sat: 0.47774; Thu: 0.70053; Fri: 0.63046; Sat: 0.73889; Tue: 0.24359; Wed: 0.31838; Thu: 0.3678; Fri: 0.31312; Tue: 0.58032; Wed: 0.54419; Thu: 0.40957; Fri: 0.38584; Sat: 0.65421 | 0.67351 | 0.6 | -0.073511
Backwash Supply | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Thu: 0; Fri: 0; Sat: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 | 0 | 0.5 | 0.5
Refrigeration Unit | Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Thu: 0; Fri: 0; Sat: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 20.5247 | 13.6195 | 12.6167 | 10.5667 | 12.5944 | 11.9785 | 0 | 0 | 0 | 0 | 9.9234 | 12.1409 | 19.5509 | 5.1257 | 0 | 13.8123 | 8.9714 | 10.6185 | 11.9856 | 2.9 | 3.9774 | 0 | 16.1575 | 14.2628 | 11.2063 | 13.3164 | 18.6281 | 0 | 0 | 0 | 17.4967 | 15.6 | -1.8967
Bottling Hall water | 0 | 0 | 3.7418 | 3.2543 | 3.2444 | 2.8625 | 3.177 | 0 | 0 | 0 | 0 | 3.536 | 3.5788 | 4.1725 | 0 | 0 | 5.3049 | 3.1519 | 2.5571 | 2.2614 | 0 | 0 | 0 | 4.0886 | 2.8465 | 2.867 | 3.4967 | 3.3937 | 0 | 0 | 0 | 4.4503 | 6 | 1.5497
CO2 (kg./Hl.) KPI | Tue: 1.9173; Wed: 5.5253; Thu: 4.4219; Fri: #REF!; Sat: #REF!; Thu: 4.5282; Fri: 5.043; Sat: 4.3793; Tue: 6.9785; Wed: 0.33609; Thu: 0.40283; Fri: 0.30268; Tue: 0; Wed: 0.23861; Thu: 0; Fri: 0.012058; Sat: 1.0508 | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI | Tue: 0.493; Wed: 0.52501; Thu: 0.51497; Fri: 0.55502; Sat: 0.51949; Thu: 0.51779; Fri: 0.53675; Sat: 0.58059; Tue: 0.57144; Wed: 0.53646; Thu: 0.55932; Fri: 0.54398; Tue: 0.80329; Wed: 0.5607; Thu: 0.47233; Fri: 0.56273; Sat: 0.58961 | 0.57176 | 1.7 | 1.1282
Electricity (Kwh./Hl.) KPI | Tue: 23.7524; Wed: 14.3335; Thu: 17.5259; Fri: 18.5494; Sat: 19.4464; Thu: 20.7691; Fri: 15.1497; Sat: 16.827; Tue: 22.102; Wed: 11.8691; Thu: 13.0586; Fri: 12.9701; Tue: 19.6674; Wed: 15.6057; Thu: 17.9631; Fri: 17.9802; Sat: 30.4862 | 23.2881 | 22 | -1.2881
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | Tue: 9.5883; Wed: 5.8872; Thu: 7.1914; Fri: 7.7353; Sat: 6.975; Thu: 9.9409; Fri: 6.3603; Sat: 7.7148; Tue: 9.5272; Wed: 5.3328; Thu: 5.8672; Fri: 5.8275; Tue: 8.8366; Wed: 7.0117; Thu: 8.0709; Fri: 8.0786; Sat: 13.6975 | 10.5312 | 7.2 | -3.3312
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 33.59 | 1362.25 | 759.65 | 728 | 492751 | 0 | 0 | 0 | 0 | 182.49 | 859.66 | 214.56 | 0 | 231.6 | 455.03 | 462.41 | 979.64 | 632.13 | 73.69 | 2.65 | 0 | 395.86 | 573.93 | 753.92 | 986.81 | 323.22 | 0 | 0 | 700.54 | 503462.63
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Tue to Sat; Thu to Sat; Mon to Sun; Tue to Sat; Tue
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 194.4 | 397.3 | 311.1 | 451.5 | 441.9 | 253.7 | 0 | 0 | 0 | 0 | 147.3 | 248.5 | 248.8 | 306.3 | 0 | 356.3 | 345 | 503.6 | 508.7 | 406.9 | 512.9 | 0 | 496.8 | 455.6 | 439.2 | 447.6 | 343.9 | 0 | 0 | 0 | 7817.3
Product | 0 | Stag | Stag/SM | SM/Carib | Carib | CB | CB | 0 | 0 | 0 | 0 | Stag | Stag | Carib | Carib | 0 | Guinn | Guinn/Stag | Stag/Carib | Carib | Carib | Starmalt | 0 | Carib | Carib | Cari/ Vmalt | CB/ST | ST | 0 | 0 | 0
No. of Brews | 0 | 4 | 8 | 6 | 9 | 9 | 5 | 0 | 0 | 0 | 0 | 3 | 5 | 10 | 6 | 0 | 7 | 7 | 10 | 10 | 8 | 10 | 0 | 10 | 9 | 9 | 0 | 8 | 0 | 0 | 0 | 153
Raw Water In - Nawasa | 116 | 1 | 269 | 234 | 203 | 219 | 170 | 108 | 0 | 109 | 8 | 0 | 82 | 82 | 82 | 82 | 82 | 82 | 273 | 268 | 204 | 142 | 77 | 238 | 212 | 212 | 212 | 212 | 212 | 212 | 13 | 4416
Into RO | [31 empty] | 0 | bar: Sun
| 4255 | 2376 | 9141 | 9690 | 8481 | 8489 | 8141 | 3861 | 2544 | 2295 | 2652 | 6226 | 8170 | 7743 | 4530 | 2754 | 8166 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 7456 | 181530
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption | [9 empty] | CARNIVAL
1904-12-04
2026-08-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  |  | Monthly Target
| Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday |  | Total |  | Diff.
Cases Produced |  |  | 5831 | 10243 | 7332 | 6934 | 6343 |  |  |  |  | 4542 | 8171 | 6972 |  |  | 5598 | 9518 | 8651 | 8710 |  |  |  | 5744 | 7239 | 6289 | 6283 | 3620 |  |  | 4222 | 687.5 | 122929.5 | 121150 | 1779.5
HL produced |  |  | 384.846 | 676.038 | 483.912 | 457.644 | 418.638 |  |  |  |  | 299.772 | 539.286 | 460.152 | 0 | 0 | 369.468 | 628.188 | 570.966 | 574.86 | 0 | 0 | 0 | 379.104 | 477.774 | 415.074 | 414.678 | 244.5696 |  |  | 278.652 | 45.375 | 8118.9966
Product Type |  |  | GN | CB | CB/ST/CB | CB | SM/CB |  |  |  |  | CB | CB Fl/CB/ST | ST/CB |  |  | CBEx/CB fl | CBfl/CB | CB/Ting | Ting/ST |  |  |  | CB/SM | SM/GN | GN/CB | CB/Jcool | Jcool/VM |  |  | VM | kegs
Hls Brewed |  | 194.4 | 397.3 | 311.1 | 451.5 | 441.9 | 253.7 |  |  |  |  | 147.3 | 248.5 | 248.8 | 306.3 |  | 356.3 | 345 | 503.6 | 508.7 | 406.9 | 512.9 |  | 496.8 | 455.6 | 439.2 | 447.6 | 343.9 |  |  | 392.7 |  | 8210
Product |  | Stag | Stag/SM | SM/Carib | Carib | CB | CB |  |  |  |  | Stag | Stag | Carib | Carib |  | Guinn | Guinn/Stag | Stag/Carib | Carib | Carib | Starmalt |  | Carib | Carib | Cari/ Vmalt | CB/ST | ST |  |  | CB
No. of Brews |  | 4 | 8 | 6 | 9 | 9 | 5 |  |  |  |  | 3 | 5 | 10 | 6 |  | 7 | 7 | 10 | 10 | 8 | 10 |  | 10 | 9 | 9 |  | 8 |  |  | 8 |  | 161
Brewhouse (Hls brewed) |  | 20.5247 | 3.9013 | 5.5609 | 3.1894 | 4.0507 | 4.4541 | [5 empty] | 4.668 | 8.6415 | 5.1257 |  | 4.0415 | 3.3043 | 3.753 | 4.3837 | 2.9 | 3.9774 |  | 4.2874 | 5.158 | 3.2559 | 3.8874 | 5.1759 |  |  | 3.3868 |  | 4.637
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 209 | 0 | 168 | 235 | 237 | 152 | 387 | 44 | 0 | 3 | 46 | 285 | 254 | 195 | 55 | 0 | 230 | 80 | 222 | 275 | 67 | 88 | 0 | 110 | 125 | 262 | 403 | 158 | 13 | 187 | 88 |  | 4578
Annanale Supply | 111 | 0 | 256 | 224 | 193 | 211 | 173 | 103 | 0 | 104 | 7 | 0 | 79 | 246 | 90 | 114 | 174 | 241 | 260 | 256 | 195 | 137 | 74 | 194 | 234 | 151 | 271 | 214 | 10 | 278 | 187 |  | 4787
Total Water Supply | 320 | 0 | 424 | 459 | 430 | 363 | 560 | 147 | 0 | 107 | 53 | 285 | 333 | 441 | 145 | 114 | 404 | 321 | 482 | 531 | 262 | 225 | 74 | 304 | 359 | 413 | 674 | 372 | 23 | 465 | 275 |  | 9365
0
Theoretical permeate | 84.68 | 0.73 | 196.37 | 170.82 | 148.19 | 159.87 | 124.1 | 78.84 | 0 | 79.57 | 5.84 | 0 | 59.86 | 195.64 | 60.59 | 86.14 | 129.94 | 187.61 | 199.29 | 195.64 | 148.92 | 103.66 | 56.21 | 173.74 | 154.76 | 114.61 | 208.05 | 163.52 | 9.49 | 210.97 | 143.08 |  | 3650.73 | 9336 |  | 11.499
171.55
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 54 | 41 | 257 | 334 | 284 | 233 | 262 | 35 | 18 | 67 | 11 | 185 | 318 | 242 | 61 | 68 | 233 | 261 | 248 | 264 | 113 | 74 | 38 | 273 | 227 | 268 | 272 | 191 | 2 | 83 | 0 |  | 5017
Brewhouse | 0 | 399 | 155 | 173 | 144 | 179 | 113 | 0 | 0 | 0 | 12 | 42 | 116 | 215 | 157 | 0 | 144 | 114 | 189 | 223 | 118 | 204 | 34 | 213 | 235 | 143 | 174 | 178 | 0 | 0 | 133 |  | 3807
Boiler Supply | 0 | 4 | 22 | 25 | 27 | 56 | 20 | 6 | 0 | 0 | 0 | 21 | 34 | 32 | 11 | 9 | 30 | 20 | 21 | 18 | 10 | 13 | 9 | 22 | 26 | 17 | 16 | 16 | 0 | 6 | 21 |  | 512
Water consumption | 54 | 444 | 434 | 532 | 455 | 468 | 395 | 41 | 18 | 67 | 23 | 248 | 468 | 489 | 229 | 77 | 407 | 395 | 458 | 505 | 241 | 291 | 81 | 508 | 488 | 428 | 462 | 385 | 2 | 89 | 154 |  | 9336
Water Consumption detail (M3)
Brewhouse | 0 | 399 | 155 | 173 | 144 | 179 | 113 | 0 | 0 | 0 | 12 | 42 | 116 | 215 | 157 | 0 | 144 | 114 | 189 | 223 | 118 | 204 | 34 | 213 | 235 | 143 | 174 | 178 | 0 | 0 | 133 |  | 3807
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 0 | 17 | 53 | 59 | 29 | 25 | 49 | 0 | 0 | 0 | 0 | 43 | 60 | 25 | 4 | 12 | 43 | 35 | 36 | 66 | 34 | 7 | 14 | 60 | 38 | 51 | 56 | 52 | 0 | 0 | 77 |  | 945
Bottles Washer | 0 | 26 | 106 | 156 | 122 | 110 | 119 | 0 | 0 | 44 | 0 | 86 | 171 | 135 | 10 | 38 | 118 | 127 | 124 | 109 | 36 | 20 | 13 | 126 | 111 | 102 | 132 | 76 | 0 | 32 | 110 |  | 2359
Bottle Filler | 0 | 0 | 22 | 24 | 24 | 19 | 13 | 0 | 0 | 0 | 0 | 15 | 21 | 18 | 0 | 0 | 22 | 22 | 21 | 19 | 3 | 0 | 0 | 25 | 19 | 16 | 13 | 6 | 0 | 1 | 17 |  | 340
Pasteuriser | 0 | 0 | 16 | 40 | 11 | 2 | 1 | 0 | 0 | 0 | 0 | 5 | 1 | 3 | 0 | 0 | 3 | 5 | 1 | 2 | 0 | 0 | 1 | 4 | 6 | 1 | 0 | 1 | 0 | 0 | 2 |  | 105
Boiler Supply | 0 | 4 | 22 | 25 | 27 | 56 | 20 | 6 | 0 | 0 | 0 | 21 | 34 | 32 | 11 | 9 | 30 | 20 | 21 | 18 | 10 | 13 | 9 | 22 | 26 | 17 | 16 | 16 | 0 | 6 | 21 |  | 512
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 0 | 446 | 374 | 477 | 357 | 391 | 315 | 6 | 0 | 44 | 12 | 212 | 403 | 428 | 182 | 59 | 360 | 323 | 392 | 437 | 201 | 244 | 71 | 450 | 435 | 330 | 391 | 329 | 0 | 39 | 360 |  | 8068
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  |  | 4.0276 | 2.559 | 2.9757 | 3.9113 | 2.6992 |  |  |  |  | 1.4011 | 2.151 | 4.6724 |  |  | 3.8975 | 1.8147 | 3.3102 | 3.8792 |  |  |  | 5.6185 | 4.9186 | 3.4452 | 4.196 | 7.2781 |  |  | 4.773 |  | 4.689 | 3.2 | -1.489
Spent Grains/Wash-down Areas | [32 empty] | 0 | 0.1 | 0.1
Whirlpool |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 1 | 1
CIP Process |  |  | 1.3772 | 0.87273 | 0.59928 | 0.54628 | 1.1705 |  |  |  |  | 1.4344 | 1.1126 | 0.5433 |  |  | 1.1638 | 0.55716 | 0.63051 | 1.1481 |  |  |  | 1.5827 | 0.79536 | 1.2287 | 1.3504 | 2.1262 |  |  | 2.7633 |  | 1.1639 | 0.7 | -0.46394
Bottles Washer |  |  | 2.7543 | 2.3076 | 2.5211 | 2.4036 | 2.8426 |  |  |  |  | 2.8688 | 3.1709 | 2.9338 |  |  | 3.1938 | 2.0217 | 2.1718 | 1.8961 |  |  |  | 3.3236 | 2.3233 | 2.4574 | 3.1832 | 3.1075 |  |  | 3.9476 |  | 2.9055 | 2.1 | -0.80553
Bottle Filler |  |  | 0.57166 | 0.35501 | 0.49596 | 0.41517 | 0.31053 |  |  |  |  | 0.50038 | 0.3894 | 0.39118 |  |  | 0.59545 | 0.35021 | 0.3678 | 0.33052 |  |  |  | 0.65945 | 0.39768 | 0.38547 | 0.3135 | 0.24533 |  |  | 0.61008 |  | 0.41877 | 0.7 | 0.28123
Pasteuriser |  |  | 0.41575 | 0.59168 | 0.22731 | 0.043702 | 0.023887 |  |  |  |  | 0.16679 | 0.018543 | 0.065196 |  |  | 0.081198 | 0.079594 | 0.017514 | 0.034791 |  |  |  | 0.10551 | 0.12558 | 0.024092 | 0 | 0.040888 |  |  | 0.071774 |  | 0.12933 | 0.1 | -0.029326
Boiler Supply |  |  | 0.57166 | 0.3698 | 0.55795 | 1.2237 | 0.47774 |  |  |  |  | 0.70053 | 0.63046 | 0.69542 |  |  | 0.81198 | 0.31838 | 0.3678 | 0.31312 |  |  |  | 0.58032 | 0.54419 | 0.40957 | 0.38584 | 0.65421 |  |  | 0.75363 |  | 0.63062 | 0.6 | -0.03062
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit |  |  | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 9.7182 | 7.0558 | 7.3774 | 8.5438 | 7.5244 | 0 | 0 | 0 | 0 | 7.072 | 7.4728 | 9.3013 | 0 | 0 | 9.7437 | 5.1418 | 6.8656 | 7.6019 | 0 | 0 | 0 | 11.8701 | 9.1047 | 7.9504 | 9.429 | 13.4522 | 0 | 0 | 12.9193 |  | 9.9372 | 9.6 | -0.33719
Bottling Hall water | 0 | 0 | 3.7418 | 3.2543 | 3.2444 | 2.8625 | 3.177 | 0 | 0 | 0 | 0 | 3.536 | 3.5788 | 3.3902 | 0 | 0 | 3.8704 | 2.4515 | 2.5571 | 2.2614 | 0 | 0 | 0 | 4.0886 | 2.8465 | 2.867 | 3.4967 | 3.3937 | 0 | 0 | 4.6294 |  | 3.4536 | 2.9 | -0.55363
Water Plant Total (Before Sand Filter) | 116 | 1 | 269 | 234 | 203 | 219 | 170 | 108 | 0 | 109 | 8 | 0 | 82 | 268 | 83 | 118 | 178 | 257 | 273 | 268 | 204 | 142 | 77 | 238 | 212 | 157 | 285 | 224 | 13 | 289 | 196 |  | 5001
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 0 | 0 | 2400 | 3500 | 2200 | 2500 | 1900 | 2000 | 0 | 0 | 0 | 1500 | 2300 | 2300 | 0 | 0 | 2500 | 4200 | 2400 | 2500 | 800 | 0 | 600 | 2500 | 2200 | 2800 | 2400 | 1600 | 0 |  | 1700 |  | 46800
CO2 Totalizer | 0 | 0 | 737.87 | 3735.33 | 2139.8 | 2427 | 1732.38 | 0 | 0 | 0 | 0 | 1357.43 | 2719.63 | 2015.16 | 0 | 212.46 | 2578.33 | 4077.59 | 2261 | 2204.97 | 646.49 | 2.12 | 1.69 | 2465.11 | 2203.89 | 2427 | 2436.13 | 1316.5 | 0 | 0 | 1509.62 |  | 41207.5
CO2 (kg.) (FILLER) | 0 | 0 | 189.73 | 354.93 | 249.2 | 254 | 217.48 | 0 | 0 | 0 | 0 | 155.22 | 289.46 | 267.16 | 0 | 0 | 211.13 | 337 | 319.35 | 312.71 | 0 | 0 | 0 | 304.53 | 267.89 | 196.05 | 233.35 | 144.2 | 0 | 0 | 153.48 |  | 4456.87
CO2 (kg.) (BBT / Carbo Cooler SECTION) | 0 | 0 | 33.59 | 1362.25 | 759.65 | 728 | 510 | 0 | 0 | 0 | 0 | 182.49 | 859.66 | 214.56 | 0 | 231.6 | 455.03 | 462.41 | 979.64 | 632.13 | 73.69 | 2.65 | 0 | 395.86 | 573.93 | 753.92 | 986.81 | 323.22 | 0 | 0 | 700.54 |  | 11221.63
CO2 (kg.) (Fermenters?) Calculated | 0 | 0 | 514.55 | 2018.15 | 1130.95 | 1445 | 1004.9 | 0 | 0 | 0 | 0 | 1019.72 | 1570.51 | 1533.44 | 0 | -19.14 | 1912.17 | 3278.18 | 962.01 | 1260.13 | 572.8 | -0.53 | 1.69 | 1764.72 | 1362.07 | 1477.03 | 1215.97 | 849.08 | 0 | 0 | 655.6 | 0 | 25529
CO2 (kg.)Consumption Meter | 0 | 0 | 737.87 | 3735.33 | 2139.8 | #REF! | #REF! | 0 | 0 | 0 |  | 1357.43 |  | 2015.16 | 0 | 212.46 | 2578.33 | 211.13 | 230 | 174 | 80 | 241 | 261 | 0 | 114 | 0 | 5 | 257 | 127 | #REF! | 0
Electricity GRENLEC (Kwh.) | 4255 | 2376 | 9141 | 9690 | 8481 | 8489 | 8141 | 3861 | 2544 | 2295 | 2652 | 6226 | 8170 | 7743 | 4530 | 2754 | 8166 | 7456 | 8975 | 8943 | 4198 | 4088 | 4216 | 9675 | 8757 | 7820 | 9264 | 7675 | 3405 | 2591 | 7714 |  | 194291
| #VALUE! | [31 empty] | #VALUE!
| 10633.9 | 11218.6 | 10024.4 | 9961.8 | 9540.6 | 5279 | 4116.3 | 3808.6 | 4093.9 | 7732.9 | 9705.3 | 9228.7 | 5483.8 | 4265.3 | 9145.9 | 8906 | 10153 | 9857 | 5335.3 | 5661.9 | 5245.4 | 11084.5 | 10222.8 | 925040% | 1059290% | 9255.1 | 4872.1 | 4089.9 | 7714 | 236117.4 | 0 |  | 462596.7
Electricity PV System Target= 1283 (Kwh) | 1620 | 1387.1 | 1492.9 | 1528.6 | 1543.4 | 1472.8 | 1399.6 | 1418 | 1572.3 | 1513.6 | 1441.9 | 1506.9 | 1535.3 | 1485.7 | 953.8 | 1511.3 | 979.9 | 1450 | 1178 | 914 | 1137.3 | 1573.9 | 1029.4 | 1409.5 | 1465.8 | 1430.4 | 1328.9 | 1580.1 | 1467.1 | 1498.9 | 1358 |  | 43184.4
Fuel (L) | 0 | 1180 | 3690 | 3980 | 3480 | 3540 | 2920 | 510 | 0 | 0 | 0 | 2980 | 3430 | 3550 | 1600 | 810 | 3520 | 3350 | 3790 | 3510 | 1810 | 1970 | 1150 | 3730 | 4090 | 2840 | 3370 | 2790 | 0 | 1060 | 3550 |  | 72200
Steam Mass Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500.76 | 0 | 0 | 0 | 0 | 0 | 0 | 1161.574 | 0 | 0 | 655.087 | 0 | 0 | 413.515 |  | 2730.936
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption |  |  | 11.0174 | 6.7896 | 8.8859 | 7.9319 | 13.3767 |  |  |  |  | 9.5072 | 6.1748 | 9.5838 |  |  | 10.9346 | 5.1099 | 8.4418 | 9.237 |  |  |  | 8.0189 | 7.514 | 9.95 | 16.2536 | 15.2104 |  |  | 9.8689 |  | 11.5347 | 10.2 | -1.3347 | 113.0851
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  |  | 6.2363 | 5.1772 | 4.5463 | 5.4628 | 4.5385 |  |  |  |  | 5.0038 | 4.2649 | 4.9983 |  |  | 6.7665 | 6.6859 | 4.2034 | 4.3489 |  |  |  | 6.5945 | 4.6047 | 6.7458 | 5.7876 | 6.5421 |  |  | 6.1008 |  | 5.7643 | 5 | -0.76426 | 115.2852
CO2 Filler (kg./Hl.) KPI |  |  | 0.493 | 0.52501 | 0.51497 | 0.55502 | 0.51949 |  |  |  |  | 0.51779 | 0.53675 | 0.58059 |  |  | 0.57144 | 0.53646 | 0.55932 | 0.54398 |  |  |  | 0.80329 | 0.5607 | 0.47233 | 0.56273 | 0.58961 |  |  | 0.55079 |  | 0.54894 | 1.7 | 1.1511 | 32.2908
Electricity (Kwh./Hl.) KPI |  |  | 27.6316 | 16.5946 | 20.7153 | 21.7676 | 22.7896 |  |  |  |  | 25.7959 | 17.9966 | 20.0558 |  |  | 24.7542 | 14.1773 | 17.7821 | 17.1468 |  |  |  | 29.2387 | 21.3967 | 22.2861 | 25.5449 | 37.8424 |  |  | 32.5567 |  | 29.2494 | 22 | -7.2494 | 132.9516
[33 empty] | 31.4435 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  |  | 9.5883 | 5.8872 | 7.1914 | 7.7353 | 6.975 |  |  |  |  | 9.9409 | 6.3603 | 7.7148 |  |  | 9.5272 | 5.3328 | 6.6379 | 6.1058 |  |  |  | 9.839 | 8.5605 | 6.8422 | 8.1268 | 11.4078 |  |  | 12.7399 |  | 8.8927 | 7.2 | -1.6927 | 123.5101
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 33.59 | 1362.25 | 759.65 | 728 | 492751 | 0 | 0 | 0 | 0 | 182.49 | 859.66 | 214.56 | 0 | 231.6 | 455.03 | 462.41 | 979.64 | 632.13 | 73.69 | 2.65 | 0 | 395.86 | 573.93 | 753.92 | 986.81 | 323.22 | #REF! | #REF! | 0 |  | #REF!
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency |  |  | 0% | 0% | 0% |  | 0% |  |  |  |  | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | #REF! | #REF! |  |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
Into RO | _ | 1 | [24 empty] | _ | _ |  |  | _ |  | 1
| 4255 |  | 9141 | 9690 | 8481 | 8489 | 8141 | 3861 | 2544 | 2295 | 2652 | 6226 | 8170 | 7743 | 4530 | 2754 | 8166 | 7456 | 8975 | 8943 | 4198 | 4088 | 4216 | 9675 | 8757 | 7820 | 9264 | 7675 | 3405 | 2591 | 7714 |  | 194291
2376
18.18%
Note on M42: Reshelle Fleming: Issue with pre rinse tanks with pressure guage
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A7000 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs
Note on C74: Tank A7000 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs
Note on D74: Tank A7000 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs
Note on E74: Tank A4600 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 20500 Kgs mobile approx 19400 Kgs when mobile weighed MT
Note on F74: Tank A1100 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 19400Kgs
Note on G74: Tank A 0 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 19400 Kgs
Note on H74: Tank A 11400 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 2000 kgs unaccounted
Note on I74: Tank A 10300 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 2000 kgs unaccounted
Note on J74: Tank A 10300 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on K74: Tank A 10300 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on L74: Tank A 10300 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on M74: Tank A 10300 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on N74: Tank A 8800 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on O74: Tank A 6500 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on P74: Tank A 4200 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on Q74: Tank A 4200 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on R74: Tank A 4200 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on S74: Tank A1700 kgs Tank B 0 kgs Tank C 21600 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on T74: Tank A0 kgs Tank B 0 kgs Tank C 19100 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on U74: Tank A0 kgs Tank B 0 kgs Tank C 16700 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on V74: Tank A0 kgs Tank B 0 kgs Tank C 14200 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on W74: Tank A0 kgs Tank B 0 kgs Tank C 13800 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on X74: Tank A0 kgs Tank B 0 kgs Tank C 13800 Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on Y74: Tank A0 kgs Tank B 0 kgs Tank C 13800 Kgs mobile approx 18300 Kgs Approx 0 kgs unaccounted
Note on Z74: Tank A0 kgs Tank B 0 kgs Tank C 15900 Kgs mobile approx 13700 Kgs Approx 0 kgs unaccounted
Note on AA74: Tank A 2800 kgs Tank B 0 kgs Tank C 24000Kgs mobile approx 0 Kgs Approx 600 kgs unaccounted
Note on AB74: Tank A 0 kgs Tank B 0 kgs Tank C 24000Kgs mobile approx 0 Kgs Approx 600 kgs unaccounted
Note on AC74: Tank A 0 kgs Tank B 0 kgs Tank C 21600Kgs mobile approx 0 Kgs Approx 600 kgs unaccounted
Note on AD74: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on AF74: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx 0 Kgs Approx 0 kgs unaccounted
Note on AG74: Tank A 0 kgs Tank B 0 kgs Tank C 18300Kgs mobile approx 19900 Kgs Approx kgs unaccounted
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JULY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 243905 | 209 | 93 | 66288 | 1356580 | 116 | 97122 | 0 | 1356580 | -1356580 | -1356580 | 0 | 0 | 418 |  |  | #DIV/0!
2 | 244114 | 0 | -1 | 0 | 1356696 | 1 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
3 | 244114 | 168 | -101 | 0 | 1356697 | 269 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 336 |  |  | #DIV/0!
4 | 244282 | 235 | 1 | 0 | 1356966 | 234 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 470 |  |  | #DIV/0!
5 | 244517 | 237 | 34 | 0 | 1357200 | 203 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 474 |  |  | #DIV/0!
6 | 244754 | 152 | -67 | 0 | 1357403 | 219 | 97122 | 0 | 0 | 436 | 436 | 0 | 19 | 304 |  |  | #DIV/0!
7 | 244906 | 387 | 217 | 0 | 1357622 | 170 | 97122 | 0 | 436 | -436 | -436 | 0 | 13 | 774 |  |  | #DIV/0!
8 | 245293 | 44 | -64 | 0 | 1357792 | 108 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 88 |  |  | #DIV/0!
9 | 245337 | 0 | 0 | 0 | 1357900 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
10 | 245337 | 3 | -106 | 0 | 1357900 | 109 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 6 |  |  | #DIV/0!
11 | 245340 | 46 | 38 | 0 | 1358009 | 8 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 92 |  |  | #DIV/0!
12 | 245386 | 285 | 285 | 0 | 1358017 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 570 |  |  | #DIV/0!
13 | 245671 | 254 | 172 | 0 | 1358017 | 82 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 508 |  |  | #DIV/0!
14 | 245925 | 195 | -73 | 0 | 1358099 | 268 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 390 |  |  | #DIV/0!
15 | 246120 | 55 | -28 | 0 | 1358367 | 83 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 110 |  |  | #DIV/0!
16 | 246175 | 0 | -118 | 0 | 1358450 | 118 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
17 | 246175 | 230 | 52 | 0 | 1358568 | 178 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 460 |  |  | #DIV/0!
18 | 246405 | 80 | -177 | 0 | 1358746 | 257 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 160 |  |  | #DIV/0!
19 | 246485 | 222 | -51 | 0 | 1359003 | 273 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 444 |  |  | #DIV/0!
20 | 246707 | 275 | 7 | 0 | 1359276 | 268 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 550 |  |  | #DIV/0!
21 | 246982 | 67 | -137 | 0 | 1359544 | 204 | 97122 | 0 | 0 | 0 | 0 | 0 | 3 | 134 |  |  | #DIV/0!
22 | 247049 | 88 | -54 | 0 | 1359748 | 142 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 176 |  |  | #DIV/0!
23 | 247137 | 0 | -77 | 0 | 1359890 | 77 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
24 | 247137 | 110 | -128 | 0 | 1359967 | 238 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 220 |  |  | #DIV/0!
25 | 247247 | 125 | -87 | 0 | 1360205 | 212 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 250 |  |  | #DIV/0!
26 | 247372 | 262 | 105 | 0 | 1360417 | 157 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 524 |  |  | #DIV/0!
27 | 247634 | 403 | 118 | 0 | 1360574 | 285 | 97122 | 0 | 0 | 0 | 0 | 0 | 13 | 806 |  |  | #DIV/0!
28 | 248037 | 158 | -66 | 0 | 1360859 | 224 | 97122 | 0 | 0 | 0 | 0 | 0 | 6 | 316 |  |  | #DIV/0!
| 248195 |  | 0 |  | 1361083 |  | 97122
Total |  | 4290 | -213 |  |  | 4503 |  | 0 | 1357016 | -1356580 | -1356580 | 0 | 322 | 8580 | 0 | 0 | #DIV/0!