## Entries February 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (FILTRATION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 7970330 |  |  | 64 | 7726.2 | 68225 |  | 496886 |  | 468000 | 13124.12 | 293451.88 | 46143.81 | 216591 | 54631 | 947556 |  | 72018 |  | 22257 | 1333674 |  | 41865 | 53572 | 11882 | 97122 |  | 3216 | 262168 | [5 empty] | 7353623.975
2 | 7970330 |  |  | 64 | 7726.2 | 68225 |  | 501572 |  | 468000 | 13124.12 | 293451.88 | 46143.81 | 216591 | 54631 | 947556 |  | 72018 |  | 22257 | 1333674 |  | 41865 | 53572 | 11882 | 97122 |  | 3216 | 262168 | [5 empty] | 7353623.975
3 | 7974090 |  |  | 64 | 7752.1 | 68225 |  | 507465 |  | 468000 | 13159 | 295315.53 | 46454.46 | 216959 | 54784 | 947935 |  | 72241 |  | 22271 | 1333835 |  | 41894 | 53773 | 11914 | 97122 |  | 3249 | 262168 | [5 empty] | 7356764.852
4 | 7978530 |  |  | 64 | 7773.9 | 68225 |  | 514926 |  | 468000 | 13276.18 | 298262.34 | 46833.32 | 217279 | 54907 | 948310 |  | 72419 |  | 22274 | 1333964 |  | 41953 | 53957 | 11914 | 97122 |  | 3279 | 262181 | [5 empty] | 7356764.852
5 | 7981630 |  |  | 64 | 7794.5 | 68225 |  | 522256 |  | 468000 | 13354.96 | 299957.47 | 47039.38 | 217698 | 55064 | 948638 |  | 72586 |  | 22275 | 1334129 |  | 41995 | 54126 | 11914 | 97122 |  | 3306 | 262227 | [5 empty] | 7356764.852
6 | 7984750 |  |  | 64 | 7814.2 | 68225 |  | 529081 |  | 468000 | 13454.96 | 301892.03 | 47349.3 | 217945 | 55208 | 948993 |  | 72735 |  | 22277 | 1334282 |  | 42066 | 54295 | 11914 | 97122 |  | 3334 | 262227 | [5 empty] | 7356764.852
7 | 7987710 |  |  | 64 | 7832.4 | 68225 |  | 536042 |  | 468000 | 13454.96 | 303105.03 | 47536.54 | 218268 | 55430 | 949311 |  | 72847 |  | 22277 | 1334514 |  | 42084 | 54470 | 11914 | 97122 |  | 3360 | 262227 | [5 empty] | 7356764.852
8 | 7987710 |  |  | 64 | 7832.4 | 68225 |  | 539597 |  | 468000 | 13454.96 | 303110.53 | 47536.54 | 218268 | 55430 | 949328 |  | 72847 |  | 22277 | 1334514 |  | 42084 | 54470 | 11914 | 97122 |  | 3360 | 262271 | [5 empty] | 7356764.852
9 | 7988520 |  |  | 64 | 7837.1 | 68225 |  | 542754 |  | 468000 | 13454.96 | 303110.53 | 47536.54 | 218321 | 55471 | 949387 |  | 72848 |  | 22277 | 1334557 |  | 42084 | 54498 | 11914 | 97122 |  | 3360 | 262271 | [5 empty] | 7356764.852
10 | 7991600 |  |  | 64 | 7857.3 | 68225 |  | 549814 |  | 468000 | 13599.5 | 305496.86 | 47842.22 | 218517 | 55588 | 949764 |  | 72979 |  | 22279 | 1334680 |  | 42159 | 54691 | 11914 | 97122 |  | 3380 | 262295 | [5 empty] | 7357144.762
11 | 7994760 |  |  | 64 | 7877 | 68225 |  | 558114 |  | 468000 | 13621.87 | 307820.88 | 48230.67 | 219230 | 55588 | 950153 |  | 73131 |  | 22291 | 1334680 |  | 42207 | 54883 | 11914 | 97122 |  | 3407 | 262388 | [5 empty] | 7357144.762
12 | 7998130 |  |  | 64 | 7897.6 | 68225 |  | 564118 |  | 468000 | 13708.34 | 309930.84 | 48583.26 | 219498 | 55732 | 950465 |  | 73245 |  | 22294 | 1334830 |  | 42241 | 55035 | 11914 | 97122 |  | 3436 | 262403 | [5 empty] | 7357262.473
13 | 8001470 |  |  | 64 | 7919 | 68225 |  | 571737 |  | 468000 | 13840.18 | 312352.34 | 48983.11 | 219584 | 56006 | 950756 |  | 73387 |  | 22296 | 1335120 |  | 42265 | 55189 | 11934 | 97122 |  | 3467 | 262444 | [5 empty] | 7357262.473
14 | 8003670 |  |  | 64 | 7934.4 | 68225 |  | 578715 |  | 468000 | 13902.07 | 313322.25 | 49106.51 | 219695 | 56260 | 950930 |  | 73514 |  | 22303 | 1335386 |  | 42309 | 55261 | 11952 | 97122 |  | 3476 | 262444 | [5 empty] | 7357262.473
15 | 8003670 |  |  | 64 | 7934.4 | 68225 |  | 581127 |  | 468000 | 13902.07 | 313322.25 | 49106.51 | 219695 | 56260 | 950962 |  | 73514 |  | 22303 | 1335386 |  | 42309 | 55266 | 11952 | 97122 |  | 3476 | 262444 | [5 empty] | 7357262.473
16 | 8003740 |  |  | 64 | 7934.7 | 68225 |  | 584463 |  | 468000 | 13902.07 | 313322.25 | 49106.57 | 219695 | 56262 | 951008 |  | 73515 |  | 22303 | 1335386 |  | 42309 | 55297 | 11966 | 97122 |  | 3476 | 262444 | [5 empty] | 7357262.473
17 | 8007030 |  |  | 64 | 7953.2 | 68225 |  | 591228 |  | 468000 | 14125 | 315163.28 | 49358.81 | 220095 | 56328 | 951247 |  | 73604 |  | 22303 | 1335450 |  | 42353 | 55402 | 12005 | 97122 |  | 3492 | 262444 | [5 empty] | 7357262.473
18 | 8009340 |  |  | 64 | 7969.6 | 68225 |  | 597174 |  | 468000 | 14196.77 | 316063.66 | 49525.7 | 220233 | 56398 | 951420 |  | 73719 |  | 22308 | 1335524 |  | 42394 | 55465 | 12029 | 97122 |  | 3504 | 262444 | [5 empty] | 7357301.889
19 | 8011310 |  |  | 64 | 7984.3 | 68225 |  | 601865 |  | 468000 | 14196.77 | 316116.44 | 49525.7 | 220300 | 56470 | 951459 |  | 73847 |  | 22308 | 1335601 |  | 42398 | 55467 | 12043 | 97122 |  | 3504 | 262444 | [5 empty] | 7357301.889
20 | 8014480 |  |  | 64 | 8005.4 | 68225 |  | 609269 |  | 468000 | 14347.47 | 318458.63 | 49837.41 | 220454 | 56687 | 951732 |  | 74014 |  | 22309 | 1335828 |  | 42436 | 55609 | 12073 | 97122 |  | 3530 | 262454 | [5 empty] | 7357364.929
21 | 8017320 |  |  | 64 | 8024.8 | 68225 |  | 615007 |  | 468000 | 14434.76 | 319996.94 | 50088.69 | 220628 | 56876 | 951922 |  | 74097 |  | 22314 | 1336027 |  | 42444 | 55707 | 12102 | 97122 |  | 3553 | 262484 | [5 empty] | 7357364.929
22 | 8017980 |  |  | 64 | 8030.2 | 68225 |  | 618368 |  | 468000 | 14434.76 | 319996.94 | 50088.69 | 220641 | 56908 | 951998 |  | 74097 |  | 22314 | 1336060 |  | 42444 | 55741 | 12114 | 97122 |  | 3553 | 262484 | [5 empty] | 7357364.929
23 | 8018890 |  |  | 64 | 8035.2 | 68225 |  | 621592 |  | 468000 | 14434.76 | 319996.94 | 50088.69 | 220641 | 56908 | 952016 |  | 74097 |  | 22314 | 1336060 |  | 42444 | 55741 | 12128 | 97122 |  | 3553 | 262484 | [5 empty] | 7357364.929
24 | 8021820 |  |  | 64 | 8053.3 | 68225 |  | 627328 |  | 468000 | 14535.34 | 321540.44 | 50405.97 | 220737 | 57140 | 952265 |  | 74267 |  | 22324 | 1336304 |  | 42477 | 55864 | 12154 | 97122 |  | 3583 | 262484 | [5 empty] | 7357364.929
25 | 8025350 |  |  | 64 | 8074.9 | 68225 |  | 633754 |  | 468000 | 14661.18 | 323723.99 | 50828.44 | 220943 | 57377 | 952550 |  | 74465 |  | 22344 | 1336554 |  | 42522 | 55986 | 12186 | 97122 |  | 3613 | 262484 | [5 empty] | 7357364.929
26 | 8028800 |  |  | 64 | 8096.2 | 68225 |  | 640221 |  | 468000 | 14795.94 | 325672.03 | 51124.96 | 221170 | 57590 | 952850 |  | 74668 |  | 22361 | 1336777 |  | 42586 | 56097 | 12216 | 97122 |  | 3645 | 262484 | [5 empty] | 7357364.929
27 | 8031600 |  |  | 64 | 8114.5 | 68225 |  | 646062 |  | 468000 | 14887.09 | 327051.78 | 51353.22 | 221494 | 57590 | 953111 |  | 74794 |  | 22371 | 1336777 |  | 42614 | 56236 | 12244 | 97122 |  | 3673 | 262484 | [5 empty] | 7357364.929
28 | 8035120 |  |  | 64 | 8135.6 | 68225 |  | 652789 |  | 468000 | 15032.06 | 328977.91 | 51696.13 | 221968 | 57590 | 953402 |  | 74938 |  | 22387 | 1336777 |  | 42646 | 56382 | 12278 | 97122 |  | 3699 | 262484 | [5 empty] | 7357397.737
1 | 8038470 |  |  | 64 | 8155.3 | 68225 |  | 658766 |  | 468000 | 15090.84 | 330096.03 | 51927.31 | 222322 | 57590 | 953598 |  | 75054 |  | 22400 | 1336777 |  | 42669 | 56470 | 12310 | 97122 |  | 3717 | 262484 | [5 empty] | 7357397.737

## Utility Analysis February 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 4686 | 0 | 4686 | 1317.5 | 21.95% | 0 | 4686 | 0 | 0 | -2100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 5893 | 0 | 5893 | 1517.3 | 20.48% | 0 | 5893 | 5210 | 3760 | 1900 | 0 | 0 | 0 | 0 | 522.72 | 11.2737 | 9.9671 | 7.1931 | 3.6348
3 | 7461 | 0 | 7461 | 1320.1 | 15.03% | 0 | 7461 | 4430 | 4440 | 2200 | 0 | 0 | 0 | 0 | 564.696 | 13.2124 | 7.8449 | 7.8626 | 3.8959
4 | 7330 | 0 | 7330 | 1396.4 | 16% | 0 | 7330 | 5760 | 3100 | 2000 | 0 | 0 | 0 | 0 | 288.552 | 25.4027 | 19.9617 | 10.7433 | 6.9312
5 | 6825 | 0 | 6825 | 1457.6 | 17.6% | 0 | 6825 | 3910 | 3120 | 2900 | 0 | 0 | 0 | 0 | 363.066 | 18.7982 | 10.7694 | 8.5935 | 7.9875
6 | 6961 | 0 | 6961 | 1495.8 | 17.69% | 0 | 6961 | 5450 | 2960 | 1800 | 0 | 0 | 0 | 0 | 395.868 | 17.5841 | 13.7672 | 7.4772 | 4.547
7 | 3555 | 0 | 3555 | 1517.8 | 29.92% | 0 | 3555 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 3157 | 0 | 3157 | 1330.4 | 29.65% | 0 | 3157 | 940 | 810 | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 7060 | 0 | 7060 | 1324.7 | 15.8% | 0 | 7060 | 3130 | 3080 | 2100 | 0 | 0 | 0 | 0 | 292.908 | 24.1031 | 10.6859 | 10.5152 | 7.1695
10 | 8300 | 0 | 8300 | 1477.8 | 15.11% | 0 | 8300 | 7130 | 3160 | 2300 | 0 | 0 | 0 | 0 | 462.99 | 17.927 | 15.3999 | 6.8252 | 4.9677
11 | 6004 | 0 | 6004 | 1546.3 | 20.48% | 0 | 6004 | 4120 | 3370 | 2200 | 0 | 0 | 0 | 0 | 455.268 | 13.1878 | 9.0496 | 7.4022 | 4.8323
12 | 7619 | 0 | 7619 | 1495.1 | 16.4% | 0 | 7619 | 3600 | 3340 | 2100 | 0 | 0 | 0 | 0 | 403.524 | 18.8812 | 8.9214 | 8.2771 | 5.2042
13 | 6978 | 0 | 6978 | 1436.1 | 17.07% | 0 | 6978 | 3650 | 2200 | 1000 | 0 | 0 | 0 | 0 | 188.496 | 37.0194 | 19.3638 | 11.6713 | 5.3052
14 | 2412 | 0 | 2412 | 1464.8 | 37.78% | 0 | 2412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 3336 | 0 | 3336 | 1483.6 | 30.78% | 0 | 3336 | 20 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 6765 | 0 | 6765 | 1415.8 | 17.31% | 0 | 6765 | 4660 | 3290 | 1900 | 0 | 0 | 0 | 0 | 303.336 | 22.302 | 15.3625 | 10.8461 | 6.2637
17 | 5946 | 0 | 5946 | 1145.7 | 16.16% | 0 | 5946 | 2080 | 2310 | 900 | 0 | 0 | 0 | 0 | 191.07 | 31.1195 | 10.8861 | 12.0898 | 4.7103
18 | 4691 | 0 | 4691 | 1381.8 | 22.75% | 0 | 4691 | 1390 | 1970 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 7404 | 0 | 7404 | 1188.2 | 13.83% | 0 | 7404 | 3710 | 3170 | 2500 | 0 | 0 | 0 | 0 | 308.88 | 23.9705 | 12.0111 | 10.2629 | 8.0938
20 | 5738 | 0 | 5738 | 1532.6 | 21.08% | 0 | 5738 | 3630 | 2840 | 1900 | 0 | 0 | 0 | 0 | 250.008 | 22.9513 | 14.5195 | 11.3596 | 7.5998
21 | 3361 | 0 | 3361 | 1440.4 | 30% | 0 | 3361 | 450 | 660 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 3224 | 0 | 3224 | 1490.3 | 31.61% | 0 | 3224 | 0 | 910 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 5736 | 0 | 5736 | 1453.9 | 20.22% | 0 | 5736 | 3280 | 2930 | 1700 | 0 | 0 | 0 | 0 | 230.406 | 24.8952 | 14.2357 | 12.7167 | 7.3783
24 | 6426 | 0 | 6426 | 1322.9 | 17.07% | 0 | 6426 | 4430 | 3530 | 2400 | 0 | 0 | 0 | 0 | 339.372 | 18.935 | 13.0535 | 10.4016 | 7.0719
25 | 6467 | 0 | 6467 | 1566.4 | 19.5% | 0 | 6467 | 4400 | 3450 | 800 | 0 | 0 | 0 | 0 | 264.528 | 24.4473 | 16.6334 | 13.0421 | 3.0243
26 | 5841 | 0 | 5841 | 1472.1 | 20.13% | 0 | 5841 | 3240 | 2800 | 900 | 0 | 0 | 0 | 0 | 215.424 | 27.114 | 15.0401 | 12.9976 | 4.1778
27 | 6727 | 0 | 6727 | 1292.1 | 16.11% | 0 | 6727 | 4740 | 3520 | 2000 | 0 | 0 | 0 | 0 | 400.686 | 16.7887 | 11.8297 | 8.7849 | 4.9914
28 | 5977 | 0 | 5977 | 1195.1 | 16.66% | 0 | 5977 | 3540 | 3350 | 1200 | 0 | 0 | 0 | 0 | 263.274 | 22.7026 | 13.4461 | 12.7244 | 4.558
| 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 3100 | 0 | 0 | 0 | 0 | 21.417 | 0 | 0 | 0 | 0
| 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 161880 | 39478.6 | 19.61% | 0 | 161880 | 86900 | 68140 | 35400 | 0 | 0 | 0 | 0 | 6726.489 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 201358.6 | [11 empty] | 24.066 | 12.9191 | 10.1301 | 5.2628

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 3140.877
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 379.91
10 | 0
11 | 117.711
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 39.416
18 | 0
19 | 63.04
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 32.808
28 | 0
0
0
0
3773.762

## Fuel
DAILY FUEL CONSUMPTION FOR FEBRUARY 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3760 | 25.9 | 0 | 0 |  |  | 145.1737 | 0 | 0 | 3760 | 522.72 | 7.1931
3 | 4440 | 21.8 | 0 | 0 |  |  | 203.6697 | 0 | 0 | 4440 | 564.696 | 7.8626
4 | 3100 | 20.6 | 0 | 0 |  |  | 150.4854 | 0 | 0 | 3100 | 288.552 | 10.7433
5 | 3120 | 19.7 | 0 | 0 |  |  | 158.3756 | 0 | 0 | 3120 | 363.066 | 8.5935
6 | 2960 | 18.2 | 0 | 0 |  |  | 162.6374 | 0 | 0 | 2960 | 395.868 | 7.4772
7 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 810 | 4.7 | 0 | 0 |  |  | 172.3404 | 0 | 0 | 810 | 0 | 0
9 | 3080 | 20.2 | 0 | 0 |  |  | 152.4752 | 0 | 0 | 3080 | 292.908 | 10.5152
10 | 3160 | 19.7 | 0 | 0 |  |  | 160.4061 | 0 | 0 | 3160 | 462.99 | 6.8252
11 | 3370 | 20.6 | 0 | 0 |  |  | 163.5922 | 0 | 0 | 3370 | 455.268 | 7.4022
12 | 3340 | 21.4 | 0 | 0 |  |  | 156.0748 | 0 | 0 | 3340 | 403.524 | 8.2771
13 | 2200 | 15.4 | 0 | 0 |  |  | 142.8571 | 0 | 0 | 2200 | 188.496 | 11.6713
14 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
15 | 70 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 70 | 0 | 0
16 | 3290 | 18.5 | 0 | 0 |  |  | 177.8378 | 0 | 0 | 3290 | 303.336 | 10.8461
17 | 2310 | 16.4 | 0 | 0 |  |  | 140.8537 | 0 | 0 | 2310 | 191.07 | 12.0898
18 | 1970 | 14.7 | 0 | 0 |  |  | 134.0136 | 0 | 0 | 1970 | 0 | 0
19 | 3170 | 21.1 | 0 | 0 |  |  | 150.237 | 0 | 0 | 3170 | 308.88 | 10.2629
20 | 2840 | 19.4 | 0 | 0 |  |  | 146.3918 | 0 | 0 | 2840 | 250.008 | 11.3596
21 | 660 | 5.4 | 0 | 0 |  |  | 122.2222 | 0 | 0 | 660 | 0 | 0
22 | 910 | 5 | 0 | 0 |  |  | 182 | 0 | 0 | 910 | 0 | 0
23 | 2930 | 18.1 | 0 | 0 |  |  | 161.8785 | 0 | 0 | 2930 | 230.406 | 12.7167
24 | 3530 | 21.6 | 0 | 0 |  |  | 163.4259 | 0 | 0 | 3530 | 339.372 | 10.4016
25 | 3450 | 21.3 | 0 | 0 |  |  | 161.9718 | 0 | 0 | 3450 | 264.528 | 13.0421
26 | 2800 | 18.3 | 0 | 0 |  |  | 153.0055 | 0 | 0 | 2800 | 215.424 | 12.9976
27 | 3520 | 21.1 | 0 | 0 |  |  | 166.8246 | 0 | 0 | 3520 | 400.686 | 8.7849
28 | 3350 | 19.7 | 0 | 0 |  |  | 170.0508 | 0 | 0 | 3350 | 263.274 | 12.7244
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 21.417 | 0
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0
MTD | 68140 | 428.8 | 0 | 0 |  |  | 158.9086 |  |  | 68140 | 6726.489 | 10.1301 | 7.2 | 140.6958
AVE. | 2725.6 | 17.8667 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 368 | 153 | 161 | 360 | 379 | 0 | 223 | 0 | 0 | 14 | 29 | 201 | 33 | 32 | 0 | 3600 | 244 | 33 | 0 | 0 | 0 | 0 | 521 | 522.72 | 9.9671
| 3 | 0 | 320 | 123 | 129 | 314 | 375 | 0 | 178 | 0 | 0 | 3 | 59 | 184 | 30 | 0 | 0 | 3140 | 246 | 30 | 13 | 0 | 0 | 0 | 443 | 564.696 | 7.8449
| 4 | 0 | 419 | 157 | 165 | 411 | 328 | 0 | 167 | 0 | 0 | 1 | 42 | 169 | 27 | 0 | 0 | 4110 | 212 | 27 | 46 | 0 | 0 | 0 | 576 | 288.552 | 19.9617
| 5 | 0 | 247 | 144 | 153 | 238 | 355 | 0 | 149 | 0 | 0 | 2 | 71 | 169 | 28 | 0 | 0 | 2380 | 242 | 28 | 0 | 0 | 0 | 0 | 391 | 363.066 | 10.7694
| 6 | 0 | 323 | 222 | 232 | 313 | 318 | 0 | 112 | 0 | 0 | 0 | 18 | 175 | 26 | 0 | 0 | 3130 | 193 | 26 | 0 | 0 | 0 | 0 | 545 | 395.868 | 13.7672
| 7 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | 0 | 53 | 41 | 43 | 51 | 59 | 0 | 1 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 510 | 28 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0
| 9 | 0 | 196 | 117 | 123 | 190 | 377 | 0 | 131 | 0 | 0 | 2 | 75 | 193 | 20 | 0 | 0 | 1900 | 270 | 20 | 24 | 0 | 0 | 0 | 313 | 292.908 | 10.6859
| 10 | 0 | 713 | 0 | 0 | 713 | 389 | 0 | 152 | 0 | 0 | 12 | 48 | 192 | 27 | 0 | 0 | 7130 | 252 | 27 | 93 | 0 | 0 | 0 | 713 | 462.99 | 15.3999
| 11 | 0 | 268 | 144 | 150 | 262 | 312 | 0 | 114 | 0 | 0 | 3 | 34 | 152 | 29 | 0 | 0 | 2620 | 189 | 29 | 15 | 0 | 0 | 0 | 412 | 455.268 | 9.0496
| 12 | 0 | 86 | 274 | 290 | 70 | 291 | 0 | 142 | 0 | 0 | 2 | 24 | 154 | 31 | 20 | 0 | 700 | 180 | 31 | 41 | 0 | 0 | 0 | 360 | 403.524 | 8.9214
| 13 | 0 | 111 | 254 | 266 | 99 | 174 | 0 | 127 | 0 | 0 | 7 | 44 | 72 | 9 | 18 | 0 | 990 | 123 | 9 | 0 | 0 | 0 | 0 | 365 | 188.496 | 19.3638
| 14 | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 2 | 0 | 2 | 46 | 0 | 1 | 0 | 0 | 0 | 0 | 31 | 0 | 14 | 0 | 20 | 31 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
| 16 | 0 | 400 | 66 | 64 | 402 | 239 | 0 | 89 | 0 | 0 | 0 | 44 | 105 | 16 | 39 | 0 | 4020 | 149 | 16 | 0 | 0 | 0 | 0 | 466 | 303.336 | 15.3625
| 17 | 0 | 138 | 70 | 74 | 134 | 173 | 0 | 115 | 0 | 0 | 5 | 41 | 63 | 12 | 24 | 0 | 1340 | 109 | 12 | 0 | 0 | 0 | 0 | 208 | 191.07 | 10.8861
| 18 | 0 | 67 | 72 | 77 | 62 | 39 | 0 | 128 | 0 | 0 | 0 | 4 | 2 | 0 | 14 | 0 | 620 | 6 | 0 | 0 | 0 | 0 | 0 | 139 | 0 | 0
| 19 | 0 | 154 | 217 | 227 | 144 | 273 | 0 | 167 | 0 | 0 | 1 | 38 | 142 | 26 | 30 | 0 | 1440 | 181 | 26 | 10 | 0 | 0 | 0 | 371 | 308.88 | 12.0111
| 20 | 0 | 174 | 189 | 199 | 164 | 190 | 0 | 83 | 0 | 0 | 5 | 8 | 98 | 23 | 29 | 0 | 1640 | 111 | 23 | 30 | 0 | 0 | 0 | 363 | 250.008 | 14.5195
| 21 | 0 | 13 | 32 | 33 | 12 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 12 | 0 | 120 | 34 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 96 | 232 | 244 | 84 | 249 | 0 | 170 | 0 | 0 | 10 | 33 | 123 | 30 | 26 | 0 | 840 | 166 | 30 | 0 | 0 | 0 | 0 | 328 | 230.406 | 14.2357
| 24 | 0 | 206 | 237 | 250 | 193 | 285 | 0 | 198 | 0 | 0 | 20 | 45 | 122 | 30 | 32 | 0 | 1930 | 187 | 30 | 0 | 0 | 0 | 0 | 443 | 339.372 | 13.0535
| 25 | 0 | 227 | 213 | 223 | 217 | 300 | 0 | 203 | 0 | 0 | 17 | 64 | 111 | 32 | 30 | 0 | 2170 | 192 | 32 | 0 | 0 | 0 | 0 | 440 | 264.528 | 16.6334
| 26 | 0 | 324 | 0 | 0 | 324 | 261 | 0 | 126 | 0 | 0 | 10 | 28 | 139 | 28 | 28 | 0 | 3240 | 177 | 28 | 0 | 0 | 0 | 0 | 324 | 215.424 | 15.0401
| 27 | 0 | 474 | 0 | 0 | 474 | 291 | 0 | 144 | 0 | 0 | 16 | 32 | 146 | 26 | 34 | 0 | 4740 | 194 | 26 | 0 | 0 | 0 | 0 | 474 | 400.686 | 11.8297
| 28 | 0 | 354 | 0 | 0 | 354 | 196 | 0 | 116 | 0 | 0 | 13 | 23 | 88 | 18 | 32 | 0 | 3540 | 124 | 18 | 0 | 0 | 0 | 0 | 354 | 263.274 | 13.4461
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.417 | 0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 5731 | 2959 | 3103 | 5587 | 6042 |  | 3036 |  | 0 | 143 | 804 | 2898 | 501 | 428 | 0 | 55870 | 3845 | 501 | 316 |  |  |  | 8690 | 6726.489 | 12.9191 | 10.2 | 126.6576
| Gals. |  | 1260820
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 19933.5642
| Add basic charge |  | 278.97
20212.5342
| Proxy sewage charge (2/3) |  | 13475.0228
| Proxy MTD NAWASA cost |  | 33687.557
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.February 2026
DAILY ELECTRICITY CONSUMPTION FOR FEBRUARY 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 4686 | 0 | 1317.5 | 6003.5 | 0 | 0
2 | 5893 | 0 | 1517.3 | 7410.3 | 522.72 | 14.1764
3 | 7461 | 0 | 1320.1 | 8781.1 | 564.696 | 15.5501
4 | 7330 | 0 | 1396.4 | 8726.4 | 288.552 | 30.242
5 | 6825 | 0 | 1457.6 | 8282.6 | 363.066 | 22.8129
6 | 6961 | 0 | 1495.8 | 8456.8 | 395.868 | 21.3627
7 | 3555 | 0 | 1517.8 | 5072.8 | 0 | 0
8 | 3157 | 0 | 1330.4 | 4487.4 | 0 | 0
9 | 7060 | 0 | 1324.7 | 8384.7 | 292.908 | 28.6257
10 | 8300 | 0 | 1477.8 | 9777.8 | 462.99 | 21.1188
11 | 6004 | 0 | 1546.3 | 7550.3 | 455.268 | 16.5843
12 | 7619 | 0 | 1495.1 | 9114.1 | 403.524 | 22.5863
13 | 6978 | 0 | 1436.1 | 8414.1 | 188.496 | 44.6381
14 | 2412 | 0 | 1464.8 | 3876.8 | 0 | 0
15 | 3336 | 0 | 1483.6 | 4819.6 | 0 | 0
16 | 6765 | 0 | 1415.8 | 8180.8 | 303.336 | 26.9694
17 | 5946 | 0 | 1145.7 | 7091.7 | 191.07 | 37.1157
18 | 4691 | 0 | 1381.8 | 6072.8 | 0 | 0
19 | 7404 | 0 | 1188.2 | 8592.2 | 308.88 | 27.8173
20 | 5738 | 0 | 1532.6 | 7270.6 | 250.008 | 29.0815
21 | 3361 | 0 | 1440.4 | 4801.4 | 0 | 0
22 | 3224 | 0 | 1490.3 | 4714.3 | 0 | 0
23 | 5736 |  | 1453.9 | 7189.9 | 230.406 | 31.2054
24 | 6426 | 0 | 1322.9 | 7748.9 | 339.372 | 22.8331
25 | 6467 | 0 | 1566.4 | 8033.4 | 264.528 | 30.3688
26 | 5841 | 0 | 1472.1 | 7313.1 | 215.424 | 33.9475
27 | 6727 | 0 | 1292.1 | 8019.1 | 400.686 | 20.0134
28 | 5977 | 0 | 1195.1 | 7172.1 | 263.274 | 27.242
| 0 | 0 | 0 | 0 | 21.417 | 0
| 0 | 0 | 0 | 0 | 0 | 0
| 0 |  | 0 | 0 |  |  |  | %
MTD | 161880 | 0 | 39478.6 | 201358.6 | 6726.489 | 29.9352 | 22 | 136.069
TARGET

## PROD.FIG.
PRODUCTION FOR FEBRUARY 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Sunday | 1 | [5 empty] | 0
Monday | 2 | [5 empty] | 522.72
Tuesday | 3 | [5 empty] | 564.696
Wednesday | 4 | [5 empty] | 288.552
Thursday | 5 | [5 empty] | 363.066
Friday | 6 | [5 empty] | 395.868
Saturday | 7 | [5 empty] | 0
Sunday | 8 | [5 empty] | 0
Monday | 9 | [5 empty] | 292.908
Tuesday | 10 | [5 empty] | 462.99
Wednesday | 11 | [5 empty] | 455.268
Thursday | 12 | [5 empty] | 403.524
Friday | 13 | [5 empty] | 188.496
Saturday | 14 | [5 empty] | 0
Sunday | 15 | [5 empty] | 0
Monday | 16 | [5 empty] | 303.336
Tuesday | 17 | [5 empty] | 191.07
Wednesday | 18 | [5 empty] | 0
Thursday | 19 | [5 empty] | 308.88
Friday | 20 | [5 empty] | 250.008
Saturday | 21 | [5 empty] | 0
Sunday | 22 | [5 empty] | 0
Monday | 23 | [5 empty] | 230.406
Tuesday | 24 | [5 empty] | 339.372
Wednesday | 25 | [5 empty] | 264.528
Thursday | 26 | [5 empty] | 215.424
Friday | 27 | [5 empty] | 400.686
Saturday | 28 | [5 empty] | 263.274
21.417
0
0
[6 empty] | TOTAL | 6726.489
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for FEBRUARY 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | -2100 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 310.65 | 34.88 | 1863.65 | 1900 | 522.72 | 3.6348 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 378.86 | 117.18 | 2946.81 | 2200 | 564.696 | 3.8959 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 206.06 | 78.78 | 1695.13 | 2000 | 288.552 | 6.9312 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 309.92 | 100 | 1934.56 | 2900 | 363.066 | 7.9875 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 187.24 | 0 | 1213 | 1800 | 395.868 | 4.547 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 5.5 | 0 | 0 | 0 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | -2500 | 0 | 0 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 305.68 | 144.54 | 2386.33 | 2100 | 292.908 | 7.1695 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 388.45 | 22.37 | 2324.02 | 2300 | 462.99 | 4.9677 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 352.59 | 86.47 | 2109.96 | 2200 | 455.268 | 4.8323 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 399.85 | 131.84 | 2421.5 | 2100 | 403.524 | 5.2042 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 123.4 | 61.89 | 969.91 | 1000 | 188.496 | 5.3052 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 252.24 | 222.93 | 1841.03 | 1900 | 303.336 | 6.2637 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 166.89 | 71.77 | 900.38 | 900 | 191.07 | 4.7103 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 52.78 | 200 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 311.71 | 150.7 | 2342.19 | 2500 | 308.88 | 8.0938 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 251.28 | 87.29 | 1538.31 | 1900 | 250.008 | 7.5998 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 317.28 | 100.58 | 1543.5 | 1700 | 230.406 | 7.3783 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 422.47 | 125.84 | 2183.55 | 2400 | 339.372 | 7.0719 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 296.52 | 134.76 | 1948.04 | 800 | 264.528 | 3.0243 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 228.26 | 91.15 | 1379.75 | 900 | 215.424 | 4.1778 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 342.91 | 144.97 | 1926.13 | 2000 | 400.686 | 4.9914 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 231.18 | 58.78 | 1118.12 | 1200 | 263.274 | 4.558 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 3100 | 21.417 | 144.7448 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 5783.44 | 1966.72 | 36644.15 | 35400 | 6726.489 | 5.2628 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-02-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Total |  | Diff.
Cases Produced |  | 7920 | 8556 | 4372 | 5501 | 5998 | 0 | 0 | 4438 | 7015 | 6898 | 6114 | 2856 | 0 | 0 | 4596 | 2895 | 0 | 4680 | 3788 | 0 | 0 | 3491 | 5142 | 4008 | 3264 | 6071 | 3989 |  |  | 324.5 | 101916.5 | 96325 | 5591.5
HL produced | 0 | 522.72 | 564.696 | 288.552 | 363.066 | 395.868 | 0 | 0 | 292.908 | 462.99 | 455.268 | 403.524 | 188.496 | 0 | 0 | 303.336 | 191.07 | 0 | 308.88 | 250.008 | 0 | 0 | 230.406 | 339.372 | 264.528 | 215.424 | 400.686 | 263.274 |  |  | 21.417 | 6726.489
Product Type | 0 | ST/CB | CB | CB/Rose | Rose/GU/CB | CB/Shandy Ginger | 0 | Shandy Ginger/ST | Shandy Ginger/ST | Pk Ting/Ting/CB | CB/ST | ST | ST/SS | 0 | 0 | CB | CB | 0 | CB/SS/Ting | Ting/CB | 0 | 0 | CB | CB/GN |  | ST/CB | CB/SM | SM/CB |  |  | kegs
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 368 | 320 | 419 | 247 | 323 | 0 | 53 | 196 | 713 | 268 | 86 | 111 | 0 | 0 | 400 | 138 | 67 | 154 | 174 | 13 | 0 | 96 | 206 | 227 | 324 | 474 | 354 | 227 | 324 | 474 | 6756
Annanale Supply | 0 | 153 | 123 | 157 | 144 | 222 | 0 | 41 | 117 | 0 | 144 | 274 | 254 | 0 | 2 | 66 | 70 | 72 | 217 | 189 | 32 | 0 | 232 | 237 | 213 | 0 | 0 | 0 | 213 | 0 | 0 | 3172
Total Water Supply | 0 | 521 | 443 | 576 | 391 | 545 | 0 | 94 | 313 | 713 | 412 | 360 | 365 | 0 | 2 | 466 | 208 | 139 | 371 | 363 | 45 | 0 | 328 | 443 | 440 | 324 | 474 | 354 | 440 | 324 | 474 | 9928
0
Theoretical permeate | 0 | 117.53 | 94.17 | 120.45 | 111.69 | 169.36 | 0 | 31.39 | 89.79 | 0 | 109.5 | 211.7 | 194.18 | 194.18 | 194.18 | 194.18 | 194.18 | 194.18 | 165.71 | 145.27 | 24.09 | 0 | 178.12 | 182.5 | 162.79 | 162.79 | 162.79 | 162.79 | 162.79 | 162.79 | 0 | 3893.09 | 10104 |  | 15.0212
305.87
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 0 | 379 | 375 | 328 | 355 | 318 | 17 | 59 | 377 | 389 | 312 | 291 | 174 | 32 | 46 | 239 | 173 | 39 | 273 | 190 | 76 | 18 | 249 | 285 | 300 | 261 | 291 | 196 | 0 | 0 | 0 | 6042
Water consumption | 0 | 379 | 375 | 328 | 355 | 318 | 17 | 59 | 377 | 389 | 312 | 291 | 174 | 32 | 46 | 239 | 173 | 39 | 273 | 190 | 76 | 18 | 249 | 285 | 300 | 261 | 291 | 196 | 0 | 0 | 0 | 6042
|  | 7.2505 | 6.6407 | 11.3671 | 9.7778 | 8.033 |  |  | 12.8709 | 8.4019 | 6.8531 | 7.2115 | 9.231 |  |  | 7.8791 | 9.0543 |  | 8.8384 | 7.5998 |  |  | 10.807 | 8.3979 | 11.341 | 12.1156 | 7.2625 | 7.4447 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 223 | 178 | 167 | 149 | 112 | 0 | 1 | 131 | 152 | 114 | 142 | 127 | 0 | 1 | 89 | 115 | 128 | 167 | 83 | 0 | 0 | 170 | 198 | 203 | 126 | 144 | 116 | 203 | 126 | 144 | 3509
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.6334 | 15.0401 | 11.8297 | 43.5032
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 44 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 28 | 26 | 181
CIP Process | 0 | 29 | 59 | 42 | 71 | 18 | 0 | 0 | 75 | 48 | 34 | 24 | 44 | 44 | 44 | 44 | 44 | 44 | 38 | 8 | 0 | 0 | 33 | 45 | 64 | 28 | 32 | 23 | 64 | 28 | 32 | 1059 |  |  | 15588.1818
Bottles Washer | 0 | 201 | 184 | 169 | 169 | 175 | 0 | 28 | 193 | 192 | 152 | 154 | 72 | 72 | 72 | 72 | 72 | 72 | 142 | 98 | 34 | 0 | 123 | 122 | 111 | 139 | 146 | 88 | 111 | 139 | 146 | 3448
Bottle Filler | 0 | 33 | 30 | 27 | 28 | 26 | 0 | 0 | 20 | 27 | 29 | 31 | 9 | 0 | 0 | 16 | 12 | 0 | 26 | 23 | 0 | 0 | 30 | 30 | 32 | 28 | 26 | 18 | 32 | 28 | 26 | 587
Pasteuriser | 0 | 14 | 3 | 1 | 2 | 0 | 0 | 0 | 2 | 12 | 3 | 2 | 7 | 0 | 0 | 0 | 5 | 0 | 1 | 5 | 0 | 0 | 10 | 20 | 17 | 10 | 16 | 13 | 17 | 10 | 16 | 186
Boiler Supply | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 18 | 18 | 14 | 39 | 39 | 14 | 30 | 29 | 12 | 14 | 26 | 32 | 30 | 28 | 34 | 32 | 30 | 28 | 34 | 553
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 10 | 16 | 195
Personnel Consumption
Total water consumption (M3) | 0 | 532 | 454 | 406 | 419 | 331 | 0 | 29 | 421 | 431 | 484 | 373 | 277 | 141 | 175 | 260 | 287 | 302 | 404 | 246 | 46 | 14 | 392 | 447 | 457 | 359 | 398 | 290 | 522.6334 | 412.0401 | 451.8297 | 9761.5032
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 1863.65 | 2946.81 | 1695.13 | 1934.56 | 1213 | 5.5 | 0 | 2386.33 | 2324.02 | 2109.96 | 2421.5 | 969.91 | 0 | 0 | 1841.03 | 900.38 | 166.89 | 138 | 70 | 67 | 72 | 39 | 0 | 128 | 0 | 0 | 77 | 0 | 4 | 2 | 23375.67
CO2 (kg.) (Filler) | 0 | 310.65 | 378.86 | 206.06 | 309.92 | 187.24 | 0 | 0 | 305.68 | 388.45 | 352.59 | 399.85 | 123.4 | 0 | 0 | 252.24 | 166.89 | 0 | 311.71 | 251.28 | 0 | 0 | 317.28 | 422.47 | 296.52 | 228.26 | 342.91 | 231.18 | 0 | 0 | 0 | 5783.44
Electricity (Kwh.) | 4686 | 5893 | 7461 | 7330 | 6825 | 6961 | 3555 | 3157 | 7060 | 8300 | 6004 | 7619 | 6978 | 2412 | 3336 | 6765 | 5946 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 151889
Fuel (L) | 0 | 3760 | 4440 | 3100 | 3120 | 2960 | 0 | 810 | 3080 | 3160 | 3370 | 3340 | 2200 | 0 | 70 | 3290 | 2310 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 1970 | 66590
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  | 9.9671 | 7.8449 | 19.9617 | 10.7694 | 13.7672 |  |  | 10.6859 | 15.3999 | 9.0496 | 8.9214 | 19.3638 |  |  | 15.3625 | 10.8861 |  | 12.0111 | 14.5195 |  |  | 14.2357 | 13.0535 | 16.6334 | 15.0401 | 11.8297 | 13.4461 |  |  | 221.3195 | 14.7596 | 10.2 | -4.5596
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  | 4.2661 | 3.1521 | 5.7875 | 4.1039 | 2.8292 |  |  | 4.4724 | 3.283 | 2.504 | 3.519 | 6.7375 |  |  | 2.934 | 6.0187 |  | 5.4066 | 3.3199 |  |  | 7.3783 | 5.8343 | 7.674 | 5.8489 | 3.5938 | 4.4061 |  |  | 67.2363 | 5.2167 | 2.5 | -2.7167
Brewhouse (Hls brewed) |  | 5.6657 | 4.3288 | 4.1022 | 4.3138 | 4.4728 |  |  | 3.773 | 5.6213 | 4.0919 | 3.9313 | 6.2133 |  |  | 3.6565 | 3.8694 | 3.7005 | 4.8631 | 3.4114 | 0 |  | 8.2046 | 4.7977 | 5.1392 | 4.207 | 3.6236 | 2.6679 |  |  |  | 5.0208 | 2.5 | -2.5208
Spent Grains/Wash-down Areas |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 5.5235 | 0.064674 | 0.1 | 0.035326
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0 | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 12.1399 | 0.26909 | 1 | 0.73091
CIP Process |  | 0.55479 | 1.0448 | 1.4555 | 1.9556 | 0.4547 |  |  | 2.5605 | 1.0367 | 0.74681 | 0.59476 | 2.3343 |  |  | 1.4505 | 2.3028 |  | 1.2303 | 0.31999 |  |  | 1.4323 | 1.326 | 2.4194 | 1.2998 | 0.79863 | 0.87361 |  |  | 14.9414 | 1.5744 | 0.7 | -0.87437
Bottles Washer |  | 3.8453 | 3.2584 | 5.8568 | 4.6548 | 4.4207 |  |  | 6.5891 | 4.147 | 3.3387 | 3.8164 | 3.8197 |  |  | 2.3736 | 3.7683 |  | 4.5973 | 3.9199 |  |  | 5.3384 | 3.5949 | 4.1962 | 6.4524 | 3.6438 | 3.3425 |  |  | 68.1701 | 5.126 | 2.6 | -2.526
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  | 0.63131 | 0.53126 | 0.93571 | 0.77121 | 0.65678 |  |  | 0.68281 | 0.58317 | 0.63699 | 0.76823 | 0.47746 |  |  | 0.52747 | 0.62804 |  | 0.84175 | 0.91997 |  |  | 1.302 | 0.88399 | 1.2097 | 1.2998 | 0.64889 | 0.6837 |  |  | 12.1399 | 0.87267 | 0.7 | -0.17267
Pasteuriser |  | 0.26783 | 0.053126 | 0.034656 | 0.055086 | 0 |  |  | 0.068281 | 0.25918 | 0.065895 | 0.049563 | 0.37136 |  |  | 0 | 0.26168 |  | 0.032375 | 0.19999 |  |  | 0.43402 | 0.58932 | 0.64265 | 0.4642 | 0.39932 | 0.49378 |  |  | 7.4707 | 0.27652 | 0.1 | -0.17652
Boiler Supply |  | 0.61218 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0.49563 | 0.95493 |  |  | 1.2857 | 2.0411 |  | 0.97125 | 1.16 |  |  | 1.1284 | 0.94292 | 1.1341 | 1.2998 | 0.84854 | 1.2155 |  |  | 15.8752 | 0.82212 | 0.6 | -0.22212
Backwash Supply |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 15.8432 | 12.3685 | 18.1724 | 15.8544 | 12.8342 | 0 | 0 | 18.1462 | 14.9304 | 11.3843 | 13.1749 | 20.9086 | 0 | 0 | 12.2279 | 18.8901 | 3.7005 | 17.9426 | 13.2511 | 0 | 0 | 25.2181 | 17.9691 | 22.4153 | 20.8718 | 13.5565 | 13.683 | 0 | 0 | 203.4971 | 19.243 | 15.6 | -3.643
Bottling Hall water | 0 | 4.7444 | 3.8428 | 6.8272 | 5.4811 | 5.0775 | 0 | 0 | 7.3402 | 4.9893 | 4.0416 | 4.6342 | 4.6685 | 0 | 0 | 2.9011 | 4.658 | 0 | 5.4714 | 5.0398 | 0 | 0 | 7.0745 | 5.0682 | 6.0485 | 8.2164 | 4.692 | 4.52 | 0 | 0 | 87.7807 | 6.2752 | 6 | -0.27519
CO2 (kg./Hl.) KPI |  | 3.5653 | 5.2184 | 5.8746 | 5.3284 | 3.0642 |  |  | 8.147 | 5.0196 | 4.6345 | 6.0009 | 5.1455 |  |  | 6.0693 | 4.7123 |  | 0.44678 | 0.27999 |  |  | 0.16927 | 0 | 0.48388 | 0 | 0 | 0.29247 |  |  | 0.093384 | 3.4752 | 5 | 1.5248
CO2 Filler (kg./Hl.) KPI |  | 0.5943 | 0.67091 | 0.71412 | 0.85362 | 0.47299 |  |  | 1.0436 | 0.839 | 0.77447 | 0.9909 | 0.65466 |  |  | 0.83155 | 0.87345 |  | 1.0092 | 1.0051 |  |  | 1.377 | 1.2449 | 1.1209 | 1.0596 | 0.85581 | 0.8781 |  |  | 0 | 0.8598 | 1.7 | 0.8402
Electricity (Kwh./Hl.) KPI |  | 11.2737 | 13.2124 | 25.4027 | 18.7982 | 17.5841 |  |  | 24.1031 | 17.927 | 13.1878 | 18.8812 | 37.0194 |  |  | 22.302 | 31.1195 |  | 15.1871 | 18.7634 |  |  | 20.3597 | 13.8226 | 17.7335 | 21.7757 | 11.7074 | 17.8179 |  |  | 219.0316 | 22.5807 | 22 | -0.58073
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  | 7.1931 | 7.8626 | 10.7433 | 8.5935 | 7.4772 |  |  | 10.5152 | 6.8252 | 7.4022 | 8.2771 | 11.6713 |  |  | 10.8461 | 12.0898 |  | 6.3779 | 7.8797 |  |  | 8.5501 | 5.8048 | 7.4472 | 9.1448 | 4.9166 | 7.4827 |  |  | 91.983 | 9.8997 | 7.2 | -2.6997
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 34.88 | 117.18 | 78.78 | 100 | 0 | 0 | 0 | 144.54 | 22.37 | 86.47 | 131.84 | 61.89 | 0 | 0 | 222.93 | 71.77 | 0 | 150.7 | 87.29 | 0 | 0 | 100.58 | 125.84 | 134.76 | 91.15 | 144.97 | 58.78 | 0 | 0 | 0 | 1966.72
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Thu to Sun; Thu to Mon; Thu to Fri; Sun to Mon; Thu to Tue
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 393.6 | 411.2 | 407.1 | 345.4 | 250.4 | 0 | 0 | 347.2 | 270.4 | 278.6 | 361.2 | 204.4 | 0 | 0 | 243.4 | 297.2 | 345.9 | 343.4 | 243.3 | 99.6 | 0 | 207.2 | 412.7 | 395 | 299.5 | 397.4 | 434.8 | 0 | 0 | 0 | 6988.9
Product | 0 | ST | CB | CB | ST | CB/Shandy Ginger | 0 | 0 | CB/ST | ST/GN | GN | CB | CB | 0 | 0 | CB | CB | CB | CB/ST | ST | ST | 0 | SM | SM/ ST/CB | CB | CB/ST | CB | ST/VM | 0 | 0 | 0
No. of Brews | 0 | 8 | 8 | 8 | 7 | 5 | 0 | 0 | 7 | 5 | 5 | 7 | 4 | 0 | 0 | 5 | 6 | 7 | 7 | 5 | 2 | 0 | 4 | 8 | 8 | 6 | 8 | 9 | 0 | 0 | 0 | 139
Raw Water In - Nawasa | 0 | 161 | 129 | 165 | 153 | 232 | 0 | 43 | 123 | 0 | 150 | 290 | 266 | 266 | 266 | 266 | 266 | 266 | 227 | 199 | 33 | 0 | 244 | 250 | 223 | 223 | 223 | 223 | 223 | 223 | 0 | 5333
Into RO | [31 empty] | 0 | bar: Wed
| 4686 | 5893 | 7461 | 7330 | 6825 | 6961 | 3555 | 3157 | 7060 | 8300 | 6004 | 7619 | 6978 | 2412 | 3336 | 6765 | 5946 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 4691 | 151889
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-02-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 1 |  |  |  | Monthly Target
| Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday |  |  | Total |  | Diff.
Cases Produced |  | 7920 | 8556 | 4372 | 5501 | 5998 |  |  | 4438 | 7015 | 6898 | 6114 | 2856 |  |  | 4596 | 2895 |  | 4680 | 3788 |  |  | 3491 | 5142 | 4008 | 3264 | 6071 | 3989 | 324.5 |  |  | 101916.5 | 118575 | -16658.5
HL produced |  | 522.72 | 564.696 | 288.552 | 363.066 | 395.868 |  |  | 292.908 | 462.99 | 455.268 | 403.524 | 188.496 | 0 | 0 | 303.336 | 191.07 | 0 | 308.88 | 250.008 |  |  | 230.406 | 339.372 | 264.528 | 215.424 | 400.686 | 263.274 | 21.417 |  |  | 6726.489
Product Type |  | ST/CB | CB | CB/Rose | Rose/GU/CB | CB/Shandy Ginger |  |  | Shandy Ginger/ST | Pk Ting/Ting/CB | CB/ST | ST | ST/SS |  |  | CB | CB |  | CB/SS/Ting | Ting/CB |  |  | CB | CB/GN | ST | ST/CB | CB/SM | SM/CB | kegs
Hls Brewed |  | 393.6 | 411.2 | 407.1 | 345.4 | 250.4 |  |  | 347.2 | 270.4 | 278.6 | 361.2 | 204.4 |  |  | 243.4 | 297.2 | 345.9 | 343.4 | 243.3 | 99.6 |  | 207.2 | 412.7 | 395 | 299.5 | 397.4 | 434.8 |  |  |  | 6988.9
Product |  | ST | CB | CB | ST | ST |  |  | CB/ST | ST/GN | GN | CB | CB |  |  | CB | CB | CB | CB/ST | ST | ST |  | SM | SM/ ST/CB | CB | CB/ST | CB | ST/VM
No. of Brews |  | 8 | 8 | 8 | 7 | 5 |  |  | 7 | 5 | 5 | 7 | 4 |  |  | 5 | 6 | 7 | 7 | 5 | 2 |  | 4 | 8 | 8 | 6 | 8 | 9 |  |  |  | 139
Brewhouse (Hls brewed) |  | 5.6657 | 4.3288 | 4.1022 | 4.3138 | 4.4728 |  |  | 3.773 | 5.6213 | 4.0919 | 3.9313 | 6.2133 |  |  | 3.6565 | 3.8694 | 3.7005 | 4.8631 | 3.4114 | 0 |  | 8.2046 | 4.7977 | 5.1392 | 4.207 | 3.6236 | 2.6679 |  |  |  | 4.344
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 368 | 320 | 419 | 247 | 323 | 0 | 53 | 196 | 713 | 268 | 86 | 111 | 0 | 0 | 400 | 138 | 67 | 154 | 174 | 13 | 0 | 96 | 206 | 227 | 324 | 474 | 354 | 0 | 0 | 0 | 5731
Annanale Supply | 0 | 153 | 123 | 157 | 144 | 222 | 0 | 41 | 117 | 0 | 144 | 274 | 254 | 0 | 2 | 66 | 70 | 72 | 217 | 189 | 32 | 0 | 232 | 237 | 213 | 0 | 0 | 0 | 0 | 0 | 0 | 2959
Total Water Supply | 0 | 521 | 443 | 576 | 391 | 545 | 0 | 94 | 313 | 713 | 412 | 360 | 365 | 0 | 2 | 466 | 208 | 139 | 371 | 363 | 45 | 0 | 328 | 443 | 440 | 324 | 474 | 354 | 0 | 0 | 0 | 8690
0
Theoretical permeate | 0 | 117.53 | 94.17 | 120.45 | 111.69 | 169.36 | 0 | 31.39 | 89.79 | 0 | 109.5 | 211.7 | 194.18 | 0 | 0 | 46.72 | 54.02 | 56.21 | 165.71 | 145.27 | 24.09 | 0 | 178.12 | 182.5 | 162.79 | 0 | 0 | 0 | 0 | 0 | 0 | 2265.19 | 9506 |  | 14.1322
305.87
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 0 | 379 | 375 | 328 | 355 | 318 | 17 | 59 | 377 | 389 | 312 | 291 | 174 | 32 | 46 | 239 | 173 | 39 | 273 | 190 | 76 | 18 | 249 | 285 | 300 | 261 | 291 | 196 | 0 | 0 | 0 | 6042
Brewhouse | 0 | 223 | 178 | 167 | 149 | 112 | 0 | 1 | 131 | 152 | 114 | 142 | 127 | 0 | 1 | 89 | 115 | 128 | 167 | 83 | 0 | 0 | 170 | 198 | 203 | 126 | 144 | 116 | 0 | 0 | 0 | 3036
Boiler Supply | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 18 | 0 | 14 | 39 | 24 | 14 | 30 | 29 | 12 | 14 | 26 | 32 | 30 | 28 | 34 | 32 | 0 | 0 | 0 | 428
Water consumption | 0 | 634 | 553 | 495 | 504 | 430 | 17 | 60 | 508 | 541 | 426 | 453 | 319 | 32 | 61 | 367 | 312 | 181 | 470 | 302 | 88 | 32 | 445 | 515 | 533 | 415 | 469 | 344 | 0 | 0 | 0 | 9506
Water Consumption detail
Brewhouse | 0 | 223 | 178 | 167 | 149 | 112 | 0 | 1 | 131 | 152 | 114 | 142 | 127 | 0 | 1 | 89 | 115 | 128 | 167 | 83 | 0 | 0 | 170 | 198 | 203 | 126 | 144 | 116 | 0 | 0 | 0 | 3036
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 29 | 59 | 42 | 71 | 18 | 0 | 0 | 75 | 48 | 34 | 24 | 44 | 0 | 0 | 44 | 41 | 4 | 38 | 8 | 0 | 0 | 33 | 45 | 64 | 28 | 32 | 23 | 0 | 0 | 0 | 804
Bottles Washer | 0 | 201 | 184 | 169 | 169 | 175 | 0 | 28 | 193 | 192 | 152 | 154 | 72 | 5 | 31 | 105 | 63 | 2 | 142 | 98 | 34 | 0 | 123 | 122 | 111 | 139 | 146 | 88 | 0 | 0 | 0 | 2898
Bottle Filler | 0 | 33 | 30 | 27 | 28 | 26 | 0 | 0 | 20 | 27 | 29 | 31 | 9 | 0 | 0 | 16 | 12 | 0 | 26 | 23 | 0 | 0 | 30 | 30 | 32 | 28 | 26 | 18 | 0 | 0 | 0 | 501
Pasteuriser | 0 | 14 | 3 | 1 | 2 | 0 | 0 | 0 | 2 | 12 | 3 | 2 | 7 | 0 | 0 | 0 | 5 | 0 | 1 | 5 | 0 | 0 | 10 | 20 | 17 | 10 | 16 | 13 | 0 | 0 | 0 | 143
Boiler Supply | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 18 | 0 | 14 | 39 | 24 | 14 | 30 | 29 | 12 | 14 | 26 | 32 | 30 | 28 | 34 | 32 | 0 | 0 | 0 | 428
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 0 | 532 | 454 | 406 | 419 | 331 | 0 | 29 | 421 | 431 | 332 | 373 | 277 | 5 | 46 | 293 | 260 | 148 | 404 | 246 | 46 | 14 | 392 | 447 | 457 | 359 | 398 | 290 | 0 | 0 | 0 | 7810
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  | 4.2661 | 3.1521 | 5.7875 | 4.1039 | 2.8292 |  |  | 4.4724 | 3.283 | 2.504 | 3.519 | 6.7375 |  |  | 2.934 | 6.0187 |  | 5.4066 | 3.3199 |  |  | 7.3783 | 5.8343 | 7.674 | 5.8489 | 3.5938 | 4.4061 | 0 |  |  | 4.5135 | 3.2 | -1.3135
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.1 | 0.1
Cellars/Filtration |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 1 | 1
CIP Process |  | 0.55479 | 1.0448 | 1.4555 | 1.9556 | 0.4547 |  |  | 2.5605 | 1.0367 | 0.74681 | 0.59476 | 2.3343 |  |  | 1.4505 | 2.1458 |  | 1.2303 | 0.31999 |  |  | 1.4323 | 1.326 | 2.4194 | 1.2998 | 0.79863 | 0.87361 | 0 |  |  | 1.1953 | 0.7 | -0.49527
Bottles Washer |  | 3.8453 | 3.2584 | 5.8568 | 4.6548 | 4.4207 |  |  | 6.5891 | 4.147 | 3.3387 | 3.8164 | 3.8197 |  |  | 3.4615 | 3.2972 |  | 4.5973 | 3.9199 |  |  | 5.3384 | 3.5949 | 4.1962 | 6.4524 | 3.6438 | 3.3425 | 0 |  |  | 4.3083 | 2.1 | -2.2083
Bottle Filler |  | 0.63131 | 0.53126 | 0.93571 | 0.77121 | 0.65678 |  |  | 0.68281 | 0.58317 | 0.63699 | 0.76823 | 0.47746 |  |  | 0.52747 | 0.62804 |  | 0.84175 | 0.91997 |  |  | 1.302 | 0.88399 | 1.2097 | 1.2998 | 0.64889 | 0.6837 | 0 |  |  | 0.74482 | 0.7 | -0.044817
Pasteuriser |  | 0.26783 | 0.053126 | 0.034656 | 0.055086 | 0 |  |  | 0.068281 | 0.25918 | 0.065895 | 0.049563 | 0.37136 |  |  | 0 | 0.26168 |  | 0.032375 | 0.19999 |  |  | 0.43402 | 0.58932 | 0.64265 | 0.4642 | 0.39932 | 0.49378 | 0 |  |  | 0.21259 | 0.1 | -0.11259
Boiler Supply |  | 0.61218 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0.49563 | 0.95493 |  |  | 1.2857 | 1.2561 |  | 0.97125 | 1.16 |  |  | 1.1284 | 0.94292 | 1.1341 | 1.2998 | 0.84854 | 1.2155 | 0 |  |  | 0.63629 | 0.6 | -0.03629
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 10.1775 | 8.0397 | 14.0703 | 11.5406 | 8.3614 | 0 | 0 | 14.3731 | 9.3091 | 7.2924 | 9.2436 | 14.6953 | 0 | 0 | 9.6593 | 13.6076 | 0 | 13.0795 | 9.8397 | 0 | 0 | 17.0134 | 13.1714 | 17.2761 | 16.6648 | 9.933 | 11.0151 | 0 | 0 | 0 | 11.6108 | 9.6 | -2.0108
Bottling Hall water | 0 | 4.7444 | 3.8428 | 6.8272 | 5.4811 | 5.0775 | 0 | 0 | 7.3402 | 4.9893 | 4.0416 | 4.6342 | 4.6685 | 0 | 0 | 3.989 | 4.1869 | 0 | 5.4714 | 5.0398 | 0 | 0 | 7.0745 | 5.0682 | 6.0485 | 8.2164 | 4.692 | 4.52 | 0 | 0 | 0 | 5.2657 | 2.9 | -2.3657
Water Plant Total (Before Sand Filter) | 0 | 161 | 129 | 165 | 153 | 232 | 0 | 43 | 123 | 0 | 150 | 290 | 266 | 0 | 0 | 64 | 74 | 77 | 227 | 199 | 33 | 0 | 244 | 250 | 223 | 0 | 0 | 0 | 0 | 0 | 0 | 3103
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | -2100 | 1900 | 2200 | 2000 | 2900 | 1800 |  | -2500 | 2100 | 2300 | 2200 | 2100 | 1000 |  | 0 | 1900 | 900 | 200 | 2500 | 1900 |  |  | 1700 | 2400 | 800 | 900 | 2000 | 1200 | 3100 |  |  | 35400
CO2 Totalizer | 0 | 1863.65 | 2946.81 | 1695.13 | 1934.56 | 1213 | 5.5 | 0 | 2386.33 | 2324.02 | 2109.96 | 2421.5 | 969.91 | 0 | 0 | 1841.03 | 900.38 | 52.78 | 2342.19 | 1538.31 | 0 | 0 | 1543.5 | 2183.55 | 1948.04 | 1379.75 | 1926.13 | 1118.12 | 0 | 0 | 0 | 36644.15
CO2 (kg.) (Filler) | 0 | 310.65 | 378.86 | 206.06 | 309.92 | 187.24 | 0 | 0 | 305.68 | 388.45 | 352.59 | 399.85 | 123.4 | 0 | 0 | 252.24 | 166.89 | 0 | 311.71 | 251.28 | 0 | 0 | 317.28 | 422.47 | 296.52 | 228.26 | 342.91 | 231.18 | 0 | 0 | 0 | 5783.44
CO2 (kg.) (FILTRATION) | 0 | 34.88 | 117.18 | 78.78 | 100 | 0 | 0 | 0 | 144.54 | 22.37 | 86.47 | 131.84 | 61.89 | 0 | 0 | 222.93 | 71.77 | 0 | 150.7 | 87.29 | 0 | 0 | 100.58 | 125.84 | 134.76 | 91.15 | 144.97 | 58.78 | 0 | 0 | 0 | 1966.72
0
CO2 (kg.)Consumption Meter | 0 | 1863.65 | 2946.81 | 1695.13 | 1934.56 | 1213 | 5.5 | 0 | 2386.33 | 2324.02 |  | 2421.5 |  | 0 | 0 | 1841.03 | 900.38 | 166.89 | 138 | 70 | 67 | 72 | 39 | 0 | 128 | 0 | 0 | 77 | 2 | 23375.67 | 0
Electricity GRENLEC (Kwh.) | 4686 | 5893 | 7461 | 7330 | 6825 | 6961 | 3555 | 3157 | 7060 | 8300 | 6004 | 7619 | 6978 | 2412 | 3336 | 6765 | 5946 | 4691 | 7404 | 5738 | 3361 | 3224 | 5736 | 6426 | 6467 | 5841 | 6727 | 5977 | 0 | 0 | 0 | 161880
| #VALUE! | [30 empty] | #VALUE!
| 8781.1 | 8726.4 | 8282.6 | 8456.8 | 5072.8 | 4487.4 | 8384.7 | 9777.8 | 7550.3 | 9114.1 | 8414.1 | 3876.8 | 4819.6 | 8180.8 | 7091.7 | 6072.8 | 8592.2 | 7270.6 | 4801.4 | 4714.3 | 7189.9 | 7748.9 | 8033.4 | 731310% | 801910% | 7172.1 | 0 | 0 | 0 | 201358.6 | 0 | 389303.4
Generation Solar System (Kw-H) | 1317.5 | 1517.3 | 1320.1 | 1396.4 | 1457.6 | 1495.8 | 1517.8 | 1330.4 | 1324.7 | 1477.8 | 1546.3 | 1495.1 | 1436.1 | 1464.8 | 1483.6 | 1415.8 | 1145.7 | 1381.8 | 1188.2 | 1532.6 | 1440.4 | 1490.3 | 1453.9 | 1322.9 | 1566.4 | 1472.1 | 1292.1 | 1195.1 | 0 | 0 | 0 | 39478.6
Fuel (L) | 0 | 3760 | 4440 | 3100 | 3120 | 2960 | 0 | 810 | 3080 | 3160 | 3370 | 3340 | 2200 | 0 | 70 | 3290 | 2310 | 1970 | 3170 | 2840 | 660 | 910 | 2930 | 3530 | 3450 | 2800 | 3520 | 3350 | 0 | 0 | 0 | 68140
Steam Mass Flow | 0 | 3140.877 | 0 | 0 | 0 | 0 | 0 | 0 | 379.91 | 0 | 117.711 | 0 | 0 | 0 | 0 | 0 | 39.416 | 0 | 63.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.808 | 0 | 0 | 0 | 0 | 3773.762
0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption |  | 9.9671 | 7.8449 | 19.9617 | 10.7694 | 13.7672 |  |  | 10.6859 | 15.3999 | 9.0496 | 8.9214 | 19.3638 |  |  | 15.3625 | 10.8861 |  | 12.0111 | 14.5195 |  |  | 14.2357 | 13.0535 | 16.6334 | 15.0401 | 11.8297 | 13.4461 | 0 |  |  | 12.9191 | 10.2 | -2.7191 | 126.6576
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  | 3.6348 | 3.8959 | 6.9312 | 7.9875 | 4.547 |  |  | 7.1695 | 4.9677 | 4.8323 | 5.2042 | 5.3052 |  |  | 6.2637 | 4.7103 |  | 8.0938 | 7.5998 |  |  | 7.3783 | 7.0719 | 3.0243 | 4.1778 | 4.9914 | 4.558 | 144.7448 |  |  | 5.2628 | 5 | -0.26278 | 105.2555
CO2 Filler (kg./Hl.) KPI |  | 0.5943 | 0.67091 | 0.71412 | 0.85362 | 0.47299 |  |  | 1.0436 | 0.839 | 0.77447 | 0.9909 | 0.65466 |  |  | 0.83155 | 0.87345 |  | 1.0092 | 1.0051 |  |  | 1.377 | 1.2449 | 1.1209 | 1.0596 | 0.85581 | 0.8781 | 0 |  |  | 0.8598 | 1.7 | 0.8402 | 50.5765
Electricity (Kwh./Hl.) KPI |  | 14.1764 | 15.5501 | 30.242 | 22.8129 | 21.3627 |  |  | 28.6257 | 21.1188 | 16.5843 | 22.5863 | 44.6381 |  |  | 26.9694 | 37.1157 |  | 27.8173 | 29.0815 |  |  | 31.2054 | 22.8331 | 30.3688 | 33.9475 | 20.0134 | 27.242 | 0 |  |  | 29.9352 | 22 | -7.9352 | 136.069
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  | 7.1931 | 7.8626 | 10.7433 | 8.5935 | 7.4772 |  |  | 10.5152 | 6.8252 | 7.4022 | 8.2771 | 11.6713 |  |  | 10.8461 | 12.0898 |  | 10.2629 | 11.3596 |  |  | 12.7167 | 10.4016 | 13.0421 | 12.9976 | 8.7849 | 12.7244 | 0 |  |  | 10.1301 | 7.2 | -2.9301 | 140.6958
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 34.88 | 117.18 | 78.78 | 100 | 0 | 0 | 0 | 144.54 | 22.37 | 86.47 | 131.84 | 61.89 | 0 | 0 | 222.93 | 71.77 | 0 | 150.7 | 87.29 | 0 | 0 | 100.58 | 125.84 | 134.76 | 91.15 | 144.97 | 58.78 | #REF! | #REF! | 0 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency |  | 0% | 0% | 0% | 0% |  |  |  | 0% | 0% | 0% | 0% | 0% |  |  | 0% | 0% |  | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% | 0% | #REF! | #REF! |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | _ | 161 | [24 empty] | _ | _ |  |  | _ | 161
| 4686 |  | 7461 | 7330 | 6825 | 6961 | 3555 | 3157 | 7060 | 8300 | 6004 | 7619 | 6978 | 2412 | 3336 | 6765 | 5946 | 4691 | 7404 | 5738 | 3361 | 3224 | 5736 | 6426 | 6467 | 5841 | 6727 | 5977 | 0 | 0 | 0 | 161880
5893
[32 empty] | 19.6061 | %
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 10300 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx.5600 Kgs Adjustment from MT weight is -3500 hence mobile opening is 5600-3500 = 2100kgs However , approx.4200 kgs was metered from mobile. -2100 was used in calculation
Note on C74: Tank A 10300 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx.2100 Kgs
Note on D74: Tank A9400 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs
Note on E74: Tank A7200 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs
Note on F74: Tank A 5200 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs
Note on G74: Tank A 2300 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs
Note on H74: Tank A 500 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs
Note on I74: Tank A 500 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx.0 Kgs 1400 kgs subtracted.
Note on J74: Tank A 500 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx. 19700 Kgs
Note on K74: Tank A 0 kgs Tank B 0 kgs Tank C 21600Kgs mobile approx.19700 Kgs port weights full and empty equivalates to 17200 kgs. A diifferance of 2500kgs from original when tare weight was used -2500 was used in calculation
Note on L74: Tank A 11600 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx 6600 Kgs
Note on M74: Tank A 10500 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on N74: Tank A 8400 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on O74: Tank A 7400 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on P74: Tank A 7400 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on Q74: Tank A 7400 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on R74: Tank A 5500 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on S74: Tank A 4600 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on T74: Tank A 4400 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on U74: Tank A 1900 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on V74: Tank A 0 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 0 Kgs
Note on X74: Tank A 0 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx 19100 Kgs
Note on Y74: Tank A 0 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx 0 Kgs
Note on Z74: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx 0 Kgs
Note on AA74: Tank A 0 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx 21400 Kgs
Note on AB74: Tank A 0 kgs Tank B 0 kgs Tank C 19100Kgs mobile approx 21400 Kgs
Note on AC74: Tank A 11400 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx 0 Kgs
Note on AD74: Tank A 11000 kgs Tank B 0 kgs Tank C 23200Kgs mobile approx 0 Kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JANUARY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 216591 | 0 | 0 | 53572 | 1333674 | 0 | 97122 | 0 | 1333674 | -1333674 | -1333674 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 216591 | 368 | 207 | 0 | 1333674 | 161 | 97122 | 0 | 0 | 0 | 0 | 0 | 33 | 736 |  |  | #DIV/0!
3 | 216959 | 320 | 191 | 0 | 1333835 | 129 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 640 |  |  | #DIV/0!
4 | 217279 | 419 | 254 | 0 | 1333964 | 165 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 838 |  |  | #DIV/0!
5 | 217698 | 247 | 94 | 0 | 1334129 | 153 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 494 |  |  | #DIV/0!
6 | 217945 | 323 | 91 | 0 | 1334282 | 232 | 97122 | 0 | 0 | 22277 | 22277 | 0 | 26 | 646 |  |  | #DIV/0!
7 | 218268 | 0 | 0 | 0 | 1334514 | 0 | 97122 | 0 | 22277 | -22277 | -22277 | 0 | 0 | 0 |  |  | #DIV/0!
8 | 218268 | 53 | 10 | 0 | 1334514 | 43 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 106 |  |  | #DIV/0!
9 | 218321 | 196 | 73 | 0 | 1334557 | 123 | 97122 | 0 | 0 | 0 | 0 | 0 | 20 | 392 |  |  | #DIV/0!
10 | 218517 | 713 | 713 | 0 | 1334680 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 1426 |  |  | #DIV/0!
11 | 219230 | 268 | 118 | 0 | 1334680 | 150 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 536 |  |  | #DIV/0!
12 | 219498 | 86 | -204 | 0 | 1334830 | 290 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 172 |  |  | #DIV/0!
13 | 219584 | 111 | -155 | 0 | 1335120 | 266 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 222 |  |  | #DIV/0!
14 | 219695 | 0 | 0 | 0 | 1335386 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
15 | 219695 | 0 | 0 | 0 | 1335386 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
16 | 219695 | 400 | 336 | 0 | 1335386 | 64 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 800 |  |  | #DIV/0!
17 | 220095 | 138 | 64 | 0 | 1335450 | 74 | 97122 | 0 | 0 | 0 | 0 | 0 | 12 | 276 |  |  | #DIV/0!
18 | 220233 | 67 | -10 | 0 | 1335524 | 77 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 134 |  |  | #DIV/0!
19 | 220300 | 154 | -73 | 0 | 1335601 | 227 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 308 |  |  | #DIV/0!
20 | 220454 | 174 | -25 | 0 | 1335828 | 199 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 348 |  |  | #DIV/0!
21 | 220628 | 13 | -20 | 0 | 1336027 | 33 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 26 |  |  | #DIV/0!
22 | 220641 | 0 | 0 | 0 | 1336060 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
23 | 220641 | 96 | -148 | 0 | 1336060 | 244 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 192 |  |  | #DIV/0!
24 | 220737 | 206 | -44 | 0 | 1336304 | 250 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 412 |  |  | #DIV/0!
25 | 220943 | 227 | 4 | 0 | 1336554 | 223 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 454 |  |  | #DIV/0!
26 | 221170 | 324 | 324 | 0 | 1336777 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 648 |  |  | #DIV/0!
27 | 221494 | 474 | 474 | 0 | 1336777 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 948 |  |  | #DIV/0!
28 | 221968 | 354 | 354 | 0 | 1336777 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 708 |  |  | #DIV/0!
| 222322 |  | 0 |  | 1336777 |  | 97122
Total |  | 5731 | 2628 |  |  | 3103 |  | 0 | 1355951 | -1333674 | -1333674 | 0 | 501 | 11462 | 0 | 0 | #DIV/0!