## Entries January 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (FILTRATION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 7901540 |  |  | 64 | 7271.9 | 68225 |  | 321444 |  | 468000 | 10303.43 | 254572.72 | 40557.95 | 211566 | 50353 | 941791 |  | 68637 |  | 22072 | 1329288 |  | 40874 | 50971 | 11281 | 97122 |  | 2788 | 261621 | [5 empty] | 7335296.615
2 | 7901540 |  |  | 64 | 7271.9 | 68225 |  | 323748 |  | 468000 | 10303.43 | 254572.72 | 40557.95 | 211566 | 50353 | 941799 |  | 68637 |  | 22072 | 1329288 |  | 40874 | 50971 | 11281 | 97122 |  | 2788 | 261621 | [5 empty] | 7335296.615
3 | 7904140 |  |  | 64 | 7286.1 | 68225 |  | 329370 |  | 468000 | 10303.43 | 257501.75 | 40756.09 | 211753 | 50540 | 941958 |  | 68713 |  | 22087 | 1329288 |  | 40896 | 51028 | 11304 | 97122 |  | 2803 | 261621 | [5 empty] | 7335296.615
4 | 7904420 |  |  | 64 | 7288.3 | 68225 |  | 332751 |  | 468000 | 10303.43 | 257501.75 | 40756.09 | 211753 | 50540 | 942001 |  | 68713 |  | 22087 | 1329360 |  | 40896 | 51034 | 11307 | 97122 |  | 2803 | 261621 | [5 empty] | 7335296.615
5 | 7904720 |  |  | 64 | 7291.3 | 68225 |  | 336908 |  | 468000 | 10303.43 | 257501.75 | 40756.09 | 211753 | 50624 | 942047 |  | 68713 |  | 22087 | 1329467 |  | 40896 | 51034 | 11307 | 97122 |  | 2803 | 261621 | [5 empty] | 7335296.615
6 | 7907730 |  |  | 64 | 7311.3 | 68225 |  | 341407 |  | 468000 | 10706.72 | 258320.25 | 40901.72 | 211974 | 50747 | 942210 |  | 68807 |  | 22099 | 1329496 |  | 40928 | 51116 | 11337 | 97122 |  | 2825 | 261633 | [5 empty] | 7335296.615
7 | 7909680 |  |  | 64 | 7326.6 | 68225 |  | 346405 |  | 468000 | 10706.72 | 258477 | 40901.72 | 212036 | 50891 | 942288 |  | 68992 |  | 22099 | 1329747 |  | 40956 | 51117 | 11350 | 97122 |  | 2825 | 261683 | [5 empty] | 7335296.615
8 | 7911230 |  |  | 64 | 7339 | 68225 |  | 351217 |  | 468000 | 10706.72 | 258621.62 | 40901.72 | 212036 | 51051 | 942363 |  | 69104 |  | 22099 | 1329914 |  | 40984 | 51118 | 11359 | 97122 |  | 2825 | 261737 | [5 empty] | 7335296.615
9 | 7913530 |  |  | 64 | 7353.4 | 68225 |  | 356174 |  | 468000 | 10706.72 | 259208.28 | 41022.28 | 212036 | 51283 | 942518 |  | 69291 |  | 22110 | 1330158 |  | 41011 | 51164 | 11377 | 97122 |  | 2843 | 261753 | [5 empty] | 7349273.844
10 | 7916660 |  |  | 64 | 7373.7 | 68225 |  | 363977 |  | 468000 | 10986.75 | 261370.5 | 41417 | 212232 | 51535 | 942791 |  | 69408 |  | 22114 | 1330423 |  | 41053 | 51308 | 11404 | 97122 |  | 2870 | 261753 | [5 empty] | 7349273.844
11 | 7919060 |  |  | 64 | 7389 | 68225 |  | 369722 |  | 468000 | 11128.79 | 262251.66 | 41594.68 | 212316 | 51732 | 942963 |  | 69536 |  | 22119 | 1330631 |  | 41095 | 51372 | 11422 | 97122 |  | 2879 | 261753 | [5 empty] | 7351037.115
12 | 7919680 |  |  | 64 | 7393.5 | 68225 |  | 373151 |  | 468000 | 11128.79 | 262251.66 | 41594.68 | 212316 | 51732 | 942982 |  | 69536 |  | 22119 | 1330631 |  | 41095 | 51372 | 11428 | 97122 |  | 2879 | 261753 | [5 empty] | 7351138.113
13 | 7922900 |  |  | 64 | 7414.1 | 68225 |  | 380007 |  | 468000 | 11335.44 | 264125.02 | 41868.01 | 212450 | 51935 | 943289 |  | 69683 |  | 22138 | 1330844 |  | 41162 | 51504 | 11456 | 97122 |  | 2902 | 261753 | [5 empty] | 7351138.113
14 | 7925500 |  |  | 64 | 7431.9 | 68225 |  | 387216 |  | 468000 | 11614 | 266540.55 | 42307.26 | 212745 | 52103 | 943612 |  | 69731 |  | 22144 | 1331021 |  | 41200 | 51696 | 11485 | 97122 |  | 2934 | 261753 | [5 empty] | 7351138.113
15 | 7928830 |  |  | 64 | 7452 | 68225 |  | 394726 |  | 468000 | 12080.7 | 269327.66 | 42731.61 | 212888 | 52351 | 943916 |  | 69924 |  | 22150 | 1331282 |  | 41229 | 51873 | 11514 | 97122 |  | 2965 | 261766 | [5 empty] | 7351138.113
16 | 7932630 |  |  | 64 | 7473.9 | 68225 |  | 402786 |  | 468000 | 12201.23 | 271635.59 | 43139.89 | 213058 | 52629 | 944298 |  | 70138 |  | 22163 | 1331573 |  | 41308 | 52063 | 11546 | 97122 |  | 2994 | 261766 | [5 empty] | 7351138.113
17 | 7935460 |  |  | 64 | 7492.4 | 68225 |  | 409671 |  | 468000 | 12441.79 | 274039.28 | 43500 | 213390 | 52857 | 944571 |  | 70239 |  | 22170 | 1331813 |  | 41336 | 52227 | 11572 | 97122 |  | 3016 | 261843 | [5 empty] | 7352096.242
18 | 7936920 |  |  | 64 | 7505.5 | 68225 |  | 414295 |  | 468000 | 12441.79 | 274039.28 | 43500 | 213390 | 53117 | 944666 |  | 70389 |  | 22170 | 1332085 |  | 41350 | 52257 | 11579 | 97122 |  | 3017 | 261843 | [5 empty] | 7352096.242
19 | 7938460 |  |  | 64 | 7517.4 | 68225 |  | 417941 |  | 468000 | 12441.85 | 274117.31 | 43500 | 213390 | 53191 | 944699 |  | 70476 |  | 22170 | 1332113 |  | 41359 | 52257 | 11591 | 97122 |  | 3017 | 261843 | [5 empty] | 7352274.902
20 | 7941530 |  |  | 64 | 7537.6 | 68225 |  | 424695 |  | 468000 | 12441.85 | 276770.11 | 43895.79 | 213778 | 53371 | 945073 |  | 70610 |  | 22195 | 1332351 |  | 41395 | 52465 | 11622 | 97122 |  | 3045 | 261850 | [5 empty] | 7352631.626
21 | 7945360 |  |  | 64 | 7559 | 68225 |  | 432452 |  | 468000 | 12546.83 | 279053.73 | 44238.12 | 214346 | 53401 | 945431 |  | 70764 |  | 22219 | 1332381 |  | 41471 | 52617 | 11678 | 97122 |  | 3069 | 261919 | [5 empty] | 7352631.626
22 | 7947870 |  |  | 64 | 7577.2 | 68225 |  | 439482 |  | 468000 | 12546.83 | 281055.91 | 44526.22 | 214564 | 53401 | 945621 |  | 70904 |  | 22219 | 1332381 |  | 41504 | 52714 | 11699 | 97122 |  | 3078 | 262014 | [5 empty] | 7352631.626
23 | 7949310 |  |  | 64 | 7587.6 | 68225 |  | 443859 |  | 468000 | 12546.83 | 281222.06 | 44526.42 | 214665 | 53429 | 945661 |  | 70965 |  | 22219 | 1332410 |  | 41517 | 52717 | 11709 | 97122 |  | 3078 | 262014 | [5 empty] | 7352631.626
24 | 7951400 |  |  | 64 | 7601.6 | 68225 |  | 450099 |  | 468000 | 12552.64 | 282953.59 | 44693.71 | 214916 | 53629 | 945814 |  | 71075 |  | 22219 | 1332621 |  | 41558 | 52784 | 11721 | 97122 |  | 3080 | 262059 | [5 empty] | 7353223.446
25 | 7951550 |  |  | 64 | 7602.6 | 68225 |  | 454093 |  | 468000 | 12552.64 | 282953.59 | 44694.82 | 214916 | 53698 | 945864 |  | 71075 |  | 22219 | 1332649 |  | 41558 | 52788 | 11729 | 97122 |  | 3082 | 262059 | [5 empty] | 7353223.446
26 | 7951550 |  |  | 64 | 7602.6 | 68225 |  | 457529 |  | 468000 | 12552.64 | 282953.59 | 44694.82 | 214916 | 53698 | 945960 |  | 71075 |  | 22219 | 1332649 |  | 41558 | 52788 | 11729 | 97122 |  | 3082 | 262059 | [5 empty] | 7353223.446
27 | 7955430 |  |  | 64 | 7625.7 | 68225 |  | 463661 |  | 468000 | 12651.79 | 284721.88 | 44867.32 | 215172 | 53889 | 946197 |  | 71224 |  | 22246 | 1332895 |  | 41605 | 52938 | 11764 | 97122 |  | 3107 | 262082 | [5 empty] | 7353623.975
28 | 7959100 |  |  | 64 | 7649.6 | 68225 |  | 470400 |  | 468000 | 12796.7 | 286887.69 | 45209.39 | 215545 | 54014 | 946531 |  | 71417 |  | 22248 | 1333026 |  | 41665 | 53107 | 11796 | 97122 |  | 3133 | 262103 | [5 empty] | 7353623.975
29 | 7962460 |  |  | 64 | 7670.1 | 68225 |  | 478280 |  | 468000 | 12955.38 | 289121.23 | 45510.7 | 215945 | 54120 | 946829 |  | 71583 |  | 22249 | 1333140 |  | 41730 | 53250 | 11824 | 97122 |  | 3163 | 262127 | [5 empty] | 7353623.975
30 | 7965571 |  |  | 64 | 7691.8 | 68225 |  | 485478 |  | 468000 | 13057.12 | 291380.88 | 45856.17 | 216199 | 54567 | 947159 |  | 71724 |  | 22257 | 1333397 |  | 41796 | 53386 | 11852 | 97122 |  | 3191 | 262146 | [5 empty] | 7353623.975
31 | 7968570 |  |  | 64 | 7710.6 | 68225 |  | 492412 |  | 468000 | 13124.12 | 293451.88 | 46143.81 | 216397 | 54617 | 947448 |  | 71821.5 |  | 22257 | 1333659 |  | 41849 | 53537 | 11875 | 97122 |  | 3216 | 262168 | [5 empty] | 7353623.975
1 | 7970330 |  |  | 64 | 7726.2 | 68225 |  | 496886 |  | 468000 | 13124.12 | 293451.88 | 46143.81 | 216591 | 54631 | 947556 |  | 72018 |  | 22257 | 1333674 |  | 41865 | 53572 | 11882 | 97122 |  | 3216 | 262168 | [5 empty] | 7353623.975

## Utility Analysis January 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2304 | 0 | 2304 | 1368.6 | 37.27% | 0 | 2304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 5622 | 0 | 5622 | 1110.2 | 16.49% | 0 | 5622 | 3740 | 2600 | 2500 | 0 | 0 | 0 | 0 | 221.76 | 25.3517 | 16.8651 | 11.7244 | 11.2734
3 | 3381 | 0 | 3381 | 1375.8 | 28.92% | 0 | 3381 | 0 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 4157 | 0 | 4157 | 1429.1 | 25.58% | 0 | 4157 | 840 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 4499 | 0 | 4499 | 1425.2 | 24.06% | 0 | 4499 | 3440 | 3010 | 0 | 0 | 0 | 0 | 0 | 1.32 | 3408.3333 | 2606.0606 | 2280.303 | 0
6 | 4998 | 0 | 4998 | 1372.1 | 21.54% | 0 | 4998 | 2060 | 1950 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 4812 | 0 | 4812 | 1022.6 | 17.53% | 0 | 4812 | 1600 | 1550 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 4957 | 0 | 4957 | 1366.9 | 21.61% | 0 | 4957 | 2320 | 2300 | 600 | 0 | 0 | 0 | 0 | 103.158 | 48.0525 | 22.4898 | 22.2959 | 5.8163
9 | 7803 | 0 | 7803 | 1199.1 | 13.32% | 0 | 7803 | 4480 | 3130 | 2200 | 0 | 0 | 0 | 0 | 409.134 | 19.072 | 10.95 | 7.6503 | 5.3772
10 | 5745 | 0 | 5745 | 1177.8 | 17.01% | 0 | 5745 | 2810 | 2400 | 1000 | 0 | 0 | 0 | 0 | 386.9028 | 14.8487 | 7.2628 | 6.2031 | 2.5846
11 | 3429 | 0 | 3429 | 693.7 | 16.83% | 0 | 3429 | 0 | 620 | 1100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 6856 | 0 | 6856 | 1246.3 | 15.38% | 0 | 6856 | 3370 | 3220 | 1800 | 0 | 0 | 0 | 0 | 386.9028 | 17.7202 | 8.7102 | 8.3225 | 4.6523
13 | 7209 | 0 | 7209 | 1063.3 | 12.85% | 0 | 7209 | 4630 | 2600 | 2700 | 0 | 0 | 0 | 0 | 497.904 | 14.4787 | 9.299 | 5.2219 | 5.4227
14 | 7510 | 0 | 7510 | 1252.5 | 14.29% | 0 | 7510 | 3910 | 3330 | 2800 | 0 | 0 | 0 | 0 | 488.136 | 15.3851 | 8.0101 | 6.8219 | 5.7361
15 | 8060 | 0 | 8060 | 1190.2 | 12.87% | 0 | 8060 | 4480 | 3800 | 1700 | 0 | 0 | 0 | 0 | 467.808 | 17.2293 | 9.5766 | 8.123 | 3.634
16 | 6885 | 0 | 6885 | 1269.4 | 15.57% | 0 | 6885 | 5600 | 2830 | 2400 | 0 | 0 | 0 | 0 | 424.644 | 16.2136 | 13.1875 | 6.6644 | 5.6518
17 | 4624 | 0 | 4624 | 1076.9 | 18.89% | 0 | 4624 | 2600 | 1460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 3646 | 0 | 3646 | 1433.2 | 28.22% | 0 | 3646 | 740 | 1540 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 6754 | 0 | 6754 | 1361.6 | 16.78% | 0 | 6754 | 5680 | 3070 | 2600 | 0 | 0 | 0 | 0 | 525.888 | 12.843 | 10.8008 | 5.8377 | 4.944
20 | 7757 | 0 | 7757 | 1366 | 14.97% | 0 | 7757 | 5980 | 3830 | 1900 | 0 | 0 | 0 | 0 | 431.376 | 17.982 | 13.8626 | 8.8786 | 4.4045
21 | 7030 | 0 | 7030 | 1369.6 | 16.31% | 0 | 7030 | 2180 | 2510 | 2000 | 0 | 0 | 0 | 0 | 233.31 | 30.1316 | 9.3438 | 10.7582 | 8.5723
22 | 4377 | 0 | 4377 | 1449.5 | 24.88% | 0 | 4377 | 1290 | 1440 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 6240 | 0 | 6240 | 1391.7 | 18.24% | 0 | 6240 | 4510 | 2090 | 1700 | 0 | 0 | 0 | 0 | 187.242 | 33.3259 | 24.0865 | 11.162 | 9.0792
24 | 3994 | 0 | 3994 | 1395.8 | 25.9% | 0 | 3994 | 690 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 3436 | 0 | 3436 | 1198 | 25.85% | 0 | 3436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 6132 | 0 | 6132 | 1465.5 | 19.29% | 0 | 6132 | 4470 | 3880 | 1800 | 0 | 0 | 0 | 0 | 160.116 | 38.2972 | 27.9173 | 24.2324 | 11.2418
27 | 6739 | 0 | 6739 | 1472.8 | 17.94% | 0 | 6739 | 4980 | 3670 | 2500 | 0 | 0 | 0 | 0 | 508.596 | 13.2502 | 9.7917 | 7.2159 | 4.9155
28 | 7880 | 0 | 7880 | 1331.4 | 14.45% | 0 | 7880 | 5060 | 3360 | 1600 | 0 | 0 | 0 | 0 | 416.5584 | 18.9169 | 12.1472 | 8.0661 | 3.841
29 | 7198 | 0 | 7198 | 1339.2 | 15.69% | 0 | 7198 | 7010 | 3111 | 2300 | 0 | 0 | 0 | 0 | 494.9076 | 14.5441 | 14.1643 | 6.286 | 4.6473
30 | 6934 | 0 | 6934 | 556.9 | 7.434% | 0 | 6934 | 2480 | 2999 | 2200 | 0 | 0 | 0 | 0 | 451.242 | 15.3665 | 5.4959 | 6.6461 | 4.8754
31 | 4474 | 0 | 4474 | 1329 |  | 0 | 4474 | 2080 | 1760 | 0 |  |  |  |  | 16.335 | 273.8904 | 127.3339 | 107.7441 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 175442 | 39099.9 | 18.22% | 0 | 175442 | 93030 | 68790 | 39600 | 0 | 0 | 0 | 0 | 6813.2406 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
[16 empty] | 25.7502 | 13.6543 | 10.0965 | 5.8122

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 13977.229
9 | 0
10 | 1763.271
11 | 100.998
12 | 0
13 | 0
14 | 0
15 | 0
16 | 958.129
17 | 0
18 | 178.66
19 | 356.724
20 | 0
21 | 0
22 | 0
23 | 591.82
24 | 0
25 | 0
26 | 400.529
27 | 0
28 | 0
29 | 0
30 | 0
0
18327.36

## Fuel
DAILY FUEL CONSUMPTION FOR JANUARY 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2600 | 14.2 | 0 | 0 |  |  | 183.0986 | 0 | 0 | 2600 | 221.76 | 11.7244
3 | 280 | 2.2 | 0 | 0 |  |  | 127.2727 | 0 | 0 | 280 | 0 | 0
4 | 300 | 3 | 0 | 0 |  |  | 100 | 0 | 0 | 300 | 0 | 0
5 | 3010 | 20 | 0 | 0 |  |  | 150.5 | 0 | 0 | 3010 | 1.32 | 2280.303
6 | 1950 | 15.3 | 0 | 0 |  |  | 127.451 | 0 | 0 | 1950 | 0 | 0
7 | 1550 | 12.4 | 0 | 0 |  |  | 125 | 0 | 0 | 1550 | 0 | 0
8 | 2300 | 14.4 | 0 | 0 |  |  | 159.7222 | 0 | 0 | 2300 | 103.158 | 22.2959
9 | 3130 | 20.3 | 0 | 0 |  |  | 154.1872 | 0 | 0 | 3130 | 409.134 | 7.6503
10 | 2400 | 15.3 | 0 | 0 |  |  | 156.8627 | 0 | 0 | 2400 | 386.9028 | 6.2031
11 | 620 | 4.5 | 0 | 0 |  |  | 137.7778 | 0 | 0 | 620 | 0 | 0
12 | 3220 | 20.6 | 0 | 0 |  |  | 156.3107 | 0 | 0 | 3220 | 386.9028 | 8.3225
13 | 2600 | 17.8 | 0 | 0 |  |  | 146.0674 | 0 | 0 | 2600 | 497.904 | 5.2219
14 | 3330 | 20.1 | 0 | 0 |  |  | 165.6716 | 0 | 0 | 3330 | 488.136 | 6.8219
15 | 3800 | 21.9 | 0 | 0 |  |  | 173.516 | 0 | 0 | 3800 | 467.808 | 8.123
16 | 2830 | 18.5 | 0 | 0 |  |  | 152.973 | 0 | 0 | 2830 | 424.644 | 6.6644
17 | 1460 | 13.1 | 0 | 0 |  |  | 111.4504 | 0 | 0 | 1460 | 0 | 0
18 | 1540 | 11.9 | 0 | 0 |  |  | 129.4118 | 0 | 0 | 1540 | 0 | 0
19 | 3070 | 20.2 | 0 | 0 |  |  | 151.9802 | 0 | 0 | 3070 | 525.888 | 5.8377
20 | 3830 | 21.4 | 0 | 0 |  |  | 178.972 | 0 | 0 | 3830 | 431.376 | 8.8786
21 | 2510 | 18.2 | 0 | 0 |  |  | 137.9121 | 0 | 0 | 2510 | 233.31 | 10.7582
22 | 1440 | 10.4 | 0 | 0 |  |  | 138.4615 | 0 | 0 | 1440 | 0 | 0
23 | 2090 | 14 | 0 | 0 |  |  | 149.2857 | 0 | 0 | 2090 | 187.242 | 11.162
24 | 150 | 1 | 0 | 0 |  |  | 150 | 0 | 0 | 150 | 0 | 0
25 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
26 | 3880 | 23.1 | 0 | 0 |  |  | 167.9654 | 0 | 0 | 3880 | 160.116 | 24.2324
27 | 3670 | 23.9 | 0 | 0 |  |  | 153.5565 | 0 | 0 | 3670 | 508.596 | 7.2159
28 | 3360 | 20.5 | 0 | 0 |  |  | 163.9024 | 0 | 0 | 3360 | 416.5584 | 8.0661
29 | 3111 | 21.7 |  | 0 |  |  | 143.3641 | 0 | 0 | 3111 | 494.9076 | 6.286
30 | 2999 | 18.8 |  | 0 |  |  | 159.5213 | 0 | 0 | 2999 | 451.242 | 6.6461
31 | 1760 | 15.6 |  | 0 |  |  | 112.8205 | 0 | 0 | 1760 | 16.335
MTD | 68790 | 454.3 | 0 | 0 |  |  | 151.4198 |  |  | 68790 | 6813.2406 | 10.0965 | 7.2 | 140.2294
AVE. | 2372.069 | 15.6655 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | 0 | 187 | 187 | 0 | 374 | 159 | 0 | 76 | 0 | 0 | 15 | 22 | 57 | 15 | 23 | 0 | 3740 | 94 | 15 | 0 | 0 | 0 | 0 | 374 | 221.76 | 16.8651
| 3 | 0 | 0 | 0 | 72 | -72 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 3 | 0 | -720 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | 0 | 0 | 84 | 107 | -23 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -230 | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 0 | 0
| 5 | 0 | 221 | 123 | 29 | 315 | 163 | 0 | 94 | 0 | 0 | 12 | 32 | 82 | 22 | 30 | 0 | 3150 | 126 | 22 | 12 | 0 | 0 | 0 | 344 | 1.32 | 2606.0606
| 6 | 0 | 62 | 144 | 251 | -45 | 78 | 0 | 185 | 0 | 0 | 0 | 28 | 1 | 0 | 13 | 0 | -450 | 29 | 0 | 50 | 0 | 0 | 0 | 206 | 0 | 0
| 7 | 0 | 0 | 160 | 167 | -7 | 75 | 0 | 112 | 0 | 0 | 0 | 28 | 1 | 0 | 9 | 0 | -70 | 29 | 0 | 54 | 0 | 0 | 0 | 160 | 0 | 0
| 8 | 0 | 0 | 232 | 244 | -12 | 155 | 0 | 187 | 0 | 0 | 11 | 27 | 46 | 18 | 18 | 0 | -120 | 84 | 18 | 16 | 0 | 0 | 0 | 232 | 103.158 | 22.4898
| 9 | 0 | 196 | 252 | 265 | 183 | 273 | 0 | 117 | 0 | 0 | 4 | 42 | 144 | 27 | 27 | 0 | 1830 | 190 | 27 | 0 | 0 | 0 | 0 | 448 | 409.134 | 10.95
| 10 | 0 | 84 | 197 | 208 | 73 | 172 | 0 | 128 | 0 | 0 | 5 | 42 | 64 | 9 | 18 | 0 | 730 | 111 | 9 | 0 | 0 | 0 | 0 | 281 | 386.9028 | 7.2628
| 11 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 134 | 203 | 213 | 124 | 307 | 0 | 147 | 0 | 0 | 19 | 67 | 132 | 23 | 28 | 0 | 1240 | 218 | 23 | 0 | 0 | 0 | 0 | 337 | 386.9028 | 8.7102
| 13 | 0 | 295 | 168 | 177 | 286 | 323 | 0 | 48 | 0 | 0 | 6 | 38 | 192 | 32 | 29 | 0 | 2860 | 236 | 32 | 0 | 0 | 0 | 0 | 463 | 497.904 | 9.299
| 14 | 0 | 143 | 248 | 261 | 130 | 304 | 0 | 193 | 0 | 0 | 6 | 29 | 177 | 31 | 29 | 0 | 1300 | 212 | 31 | 13 | 0 | 0 | 0 | 391 | 488.136 | 8.0101
| 15 | 0 | 170 | 278 | 291 | 157 | 382 | 0 | 214 | 0 | 0 | 13 | 79 | 190 | 29 | 32 | 0 | 1570 | 282 | 29 | 0 | 0 | 0 | 0 | 448 | 467.808 | 9.5766
| 16 | 0 | 332 | 228 | 240 | 320 | 273 | 0 | 101 | 0 | 0 | 7 | 28 | 164 | 22 | 26 | 0 | 3200 | 199 | 22 | 77 | 0 | 0 | 0 | 560 | 424.644 | 13.1875
| 17 | 0 | 0 | 260 | 272 | -12 | 95 | 0 | 150 | 0 | 0 | 0 | 14 | 30 | 1 | 7 | 0 | -120 | 44 | 1 | 0 | 0 | 0 | 0 | 260 | 0 | 0
| 18 | 0 | 0 | 74 | 28 | 46 | 33 | 0 | 87 | 0 | 0 | 0 | 9 | 0 | 0 | 12 | 0 | 460 | 9 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0
| 19 | 0 | 388 | 180 | 238 | 330 | 374 | 0 | 134 | 0 | 0 | 25 | 36 | 208 | 28 | 31 | 0 | 3300 | 269 | 28 | 7 | 0 | 0 | 0 | 568 | 525.888 | 10.8008
| 20 | 0 | 568 | 30 | 30 | 568 | 358 | 0 | 154 | 0 | 0 | 24 | 76 | 152 | 24 | 56 | 0 | 5680 | 252 | 24 | 69 | 0 | 0 | 0 | 598 | 431.376 | 13.8626
| 21 | 0 | 218 | 0 | 0 | 218 | 190 | 0 | 140 | 0 | 0 | 0 | 33 | 97 | 9 | 21 | 0 | 2180 | 130 | 9 | 95 | 0 | 0 | 0 | 218 | 233.31 | 9.3438
| 22 | 0 | 101 | 28 | 29 | 100 | 40 | 0 | 61 | 0 | 0 | 0 | 13 | 3 | 0 | 10 | 0 | 1000 | 16 | 0 | 0 | 0 | 0 | 0 | 129 | 0 | 0
| 23 | 0 | 251 | 200 | 211 | 240 | 153 | 0 | 110 | 0 | 0 | 0 | 41 | 67 | 2 | 12 | 0 | 2400 | 108 | 2 | 45 | 0 | 0 | 0 | 451 | 187.242 | 24.0865
| 24 | 0 | 0 | 69 | 28 | 41 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2 | 8 | 0 | 410 | 4 | 2 | 0 | 0 | 0 | 0 | 69 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 256 | 191 | 246 | 201 | 237 | 0 | 149 | 0 | 0 | 27 | 47 | 150 | 25 | 35 | 0 | 2010 | 224 | 25 | 23 | 0 | 0 | 0 | 447 | 160.116 | 27.9173
| 27 | 0 | 373 | 125 | 131 | 367 | 334 | 0 | 193 | 0 | 0 | 2 | 60 | 169 | 26 | 32 | 0 | 3670 | 231 | 26 | 21 | 0 | 0 | 0 | 498 | 508.596 | 9.7917
| 28 | 0 | 400 | 106 | 114 | 392 | 298 | 0 | 166 | 0 | 0 | 1 | 65 | 143 | 30 | 28 | 0 | 3920 | 209 | 30 | 24 | 0 | 0 | 0 | 506 | 416.5584 | 12.1472
| 29 | 0 | 254 | 447 | 257 | 444 | 330 | 0 | 141 | 0 | 0 | 8 | 66 | 136 | 28 | 28 | 0 | 4440 | 210 | 28 | 19 | 0 | 0 | 0 | 701 | 494.9076 | 14.1643
| 30 | 0 | 198 | 50 | 262 | -14 | 289 | 0 | 97.5 | 0 | 0 | 0 | 53 | 151 | 25 | 23 | 0 | -140 | 204 | 25 | 22 | 0 | 0 | 0 | 248 | 451.242 | 5.4959
| 31 | 0 | 194 | 14 | 15 | 193 |  |  | 196.5 | 0 | 0 | 0 | 16 | 35 | 0 | 7 | 0 | 1930 |  | 0 | 0 | 0 | 0 | 0 | 208 | 16.335
MTD | total | 0 | 5025 | 4278 | 4386 | 4917 | 5657 |  | 3381 |  | 0 | 185 | 991 | 2601 | 428 | 601 | 0 | 49170 | 3726 | 428 | 547 |  |  |  | 9303 | 6813.2406 | 13.6543 | 10.2 | 133.8656
| Gals. |  | 1105500
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 17477.955
| Add basic charge |  | 278.97
17756.925
| Proxy sewage charge (2/3) |  | 11837.95
| Proxy MTD NAWASA cost |  | 29594.875
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.January 2026
DAILY ELECTRICITY CONSUMPTION FOR JANUARY 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 2304 | 0 | 1368.6 | 2304 | 0 | 0
2 | 5622 | 0 | 1110.2 | 5622 | 221.76 | 25.3517
3 | 3381 | 0 | 1375.8 | 3381 | 0 | 0
4 | 4157 | 0 | 1429.1 | 4157 | 0 | 0
5 | 4499 | 0 | 1425.2 | 4499 | 1.32 | 3408.3333
6 | 4998 | 0 | 1372.1 | 4998 | 0 | 0
7 | 4812 | 0 | 1022.6 | 4812 | 0 | 0
8 | 4957 | 0 | 1366.9 | 4957 | 103.158 | 48.0525
9 | 7803 | 0 | 1199.1 | 7803 | 409.134 | 19.072
10 | 5745 | 0 | 1177.8 | 5745 | 386.9028 | 14.8487
11 | 3429 | 0 | 693.7 | 3429 | 0 | 0
12 | 6856 | 0 | 1246.3 | 6856 | 386.9028 | 17.7202
13 | 7209 | 0 | 1063.3 | 7209 | 497.904 | 14.4787
14 | 7510 | 0 | 1252.5 | 7510 | 488.136 | 15.3851
15 | 8060 | 0 | 1190.2 | 8060 | 467.808 | 17.2293
16 | 6885 | 0 | 1269.4 | 6885 | 424.644 | 16.2136
17 | 4624 | 0 | 1076.9 | 4624 | 0 | 0
18 | 3646 | 0 | 1433.2 | 3646 | 0 | 0
19 | 6754 | 0 | 1361.6 | 6754 | 525.888 | 12.843
20 | 7757 | 0 | 1366 | 7757 | 431.376 | 17.982
21 | 7030 | 0 | 1369.6 | 7030 | 233.31 | 30.1316
22 | 4377 | 0 | 1449.5 | 4377 | 0 | 0
23 | 6240 |  | 1391.7 | 6240 | 187.242 | 33.3259
24 | 3994 | 0 | 1395.8 | 3994 | 0 | 0
25 | 3436 | 0 | 1198 | 3436 | 0 | 0
26 | 6132 | 0 | 1465.5 | 6132 | 160.116 | 38.2972
27 | 6739 | 0 | 1472.8 | 6739 | 508.596 | 13.2502
28 | 7880 | 0 | 1331.4 | 7880 | 416.5584 | 18.9169
29 | 7198 | 0 | 1339.2 | 7198 | 494.9076 | 14.5441
30 | 6934 | 0 | 556.9 | 6934 | 451.242 | 15.3665
31 | 4474 |  | 1329 | 4474 |  |  |  | %
MTD | 175442 | 0 | 39099.9 | 175442 | 6796.9056 | 25.812 | 22 | 117.3275
TARGET

## PROD.FIG.
PRODUCTION FOR DECEMBER 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Monday | 1 | [5 empty] | 0
Tuesday | 2 | [5 empty] | 221.76
Wednesday | 3 | [5 empty] | 0
Thursday | 4 | [5 empty] | 0
Friday | 5 | [5 empty] | 1.32
Saturday | 6 | [5 empty] | 0
Sunday | 7 | [5 empty] | 0
Monday | 8 | [5 empty] | 103.158
Tuesday | 9 | [5 empty] | 409.134
Wednesday | 10 | [5 empty] | 386.9028
Thursday | 11 | [5 empty] | 0
Friday | 12 | [5 empty] | 386.9028
Saturday | 13 | [5 empty] | 497.904
Sunday | 14 | [5 empty] | 488.136
Monday | 15 | [5 empty] | 467.808
Tuesday | 16 | [5 empty] | 424.644
Wednesday | 17 | [5 empty] | 0
Thursday | 18 | [5 empty] | 0
Friday | 19 | [5 empty] | 525.888
Saturday | 20 | [5 empty] | 431.376
Sunday | 21 | [5 empty] | 233.31
Monday | 22 | [5 empty] | 0
Tuesday | 23 | [5 empty] | 187.242
Wednesday | 24 | [5 empty] | 0
Thursday | 25 | [5 empty] | 0
Friday | 26 | [5 empty] | 160.116
Saturday | 27 | [5 empty] | 508.596
Sunday | 28 | [5 empty] | 416.5584
Monday | 29 | [5 empty] | 494.9076
Tuesday | 30 | [5 empty] | 451.242
Wednesday | 31 | [5 empty] | 16.335
[6 empty] | TOTAL | 6813.2406
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for JANUARY 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 198.14 | 0 | 2929.03 | 2500 | 221.76 | 11.2734 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 145.63 | 403.29 | 818.5 | 0 | 1.32 | 0 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 156.75 | 1600 | 0 | 0 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 144.62 | 200 | 0 | 0 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 120.56 | 0 | 586.66 | 600 | 103.158 | 5.8163 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 394.72 | 280.03 | 2162.22 | 2200 | 409.134 | 5.3772 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 177.68 | 142.04 | 881.16 | 1000 | 386.9028 | 2.5846 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 1100 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 273.33 | 206.65 | 1873.36 | 1800 | 386.9028 | 4.6523 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 439.25 | 278.56 | 2415.53 | 2700 | 497.904 | 5.4227 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 424.35 | 466.7 | 2787.11 | 2800 | 488.136 | 5.7361 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 408.28 | 120.53 | 2307.93 | 1700 | 467.808 | 3.634 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 360.11 | 240.56 | 2403.69 | 2400 | 424.644 | 5.6518 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 78.03 | 0 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 395.79 | 0 | 2652.8 | 2600 | 525.888 | 4.944 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 342.33 | 104.98 | 2283.62 | 1900 | 431.376 | 4.4045 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 288.1 | 0 | 2002.18 | 2000 | 233.31 | 8.5723 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 166.15 | 400 | 0 | 0 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 167.29 | 5.81 | 1731.53 | 1700 | 187.242 | 9.0792 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 1.11 | 0 | 0 | 0 | 0 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 172.5 | 99.15 | 1768.29 | 1800 | 160.116 | 11.2418 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 342.07 | 144.91 | 2165.81 | 2500 | 508.596 | 4.9155 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 301.31 | 158.68 | 2233.54 | 1600 | 416.5584 | 3.841 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 345.47 | 101.74 | 2259.65 | 2300 | 494.9076 | 4.6473 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 287.64 | 67 | 2071 | 2200 | 451.242 | 4.8754 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 16.335 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 5585.66 | 2820.63 | 38879.16 | 39600 | 6813.2406 | 5.8122 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-01-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Total |  | Diff.
Cases Produced |  | 3360 | 0 | 0 | 20 | 0 | 0 | 1563 | 6199 | 2577 | 0 | 5669 | 7544 | 7396 | 7088 | 6434 | 0 | 0 | 7968 | 6536 | 3535 | 0 | 2837 | 0 | 0 | 2426 | 7706 | 6199 |  |  | 7217 | 92274 | 96325 | -4051
HL produced | 0 | 221.76 | 0 | 0 | 1.32 | 0 | 0 | 103.158 | 409.134 | 386.9028 | 0 | 386.9028 | 497.904 | 488.136 | 467.808 | 424.644 | 0 | 0 | 525.888 | 431.376 | 233.31 | 0 | 187.242 | 0 | 0 | 160.116 | 508.596 | 416.5584 |  |  | 494.9076 | 6345.6636
Product Type | 0 | CB | 0 | 0 | CB | 0 | CB | CB/SM | CB/SM | SM | 0 | VM/SM/ST | ST/CB | CB/ST | MK/SS | Ting/CB | 0 | 0 | CB/ST | ST/Ginseng | Juicy Kool | 0 | Juicy Kool | 0 |  | Juicy Kool/CB | CB/Pearsecco | Psecco/Rose/VM |  |  | VM/VMG/GN/CB
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 187 | 0 | 0 | 221 | 62 | 0 | 0 | 196 | 84 | 0 | 134 | 295 | 143 | 170 | 332 | 0 | 0 | 388 | 568 | 218 | 101 | 251 | 0 | 0 | 256 | 373 | 400 | 0 | 256 | 373 | 5008
Annanale Supply | 0 | 187 | 0 | 84 | 123 | 144 | 160 | 232 | 252 | 197 | 0 | 203 | 168 | 248 | 278 | 228 | 260 | 74 | 180 | 30 | 0 | 28 | 200 | 69 | 0 | 191 | 125 | 106 | 0 | 191 | 125 | 4083
Total Water Supply | 0 | 374 | 0 | 84 | 344 | 206 | 160 | 232 | 448 | 281 | 0 | 337 | 463 | 391 | 448 | 560 | 260 | 74 | 568 | 598 | 218 | 129 | 451 | 69 | 0 | 447 | 498 | 506 | 0 | 447 | 498 | 9091
0
Theoretical permeate | 0 | 0 | 52.56 | 78.11 | 21.17 | 183.23 | 121.91 | 178.12 | 193.45 | 151.84 | 0 | 155.49 | 129.21 | 129.21 | 129.21 | 129.21 | 129.21 | 129.21 | 173.74 | 21.9 | 0 | 21.17 | 154.03 | 20.44 | 0 | 0 | 0 | 0 | 0 | 0 | 187.61 | 2490.03 | 8955 |  | 14.112
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 21 | 44
Service Water Plant Supply | 8 | 159 | 43 | 46 | 163 | 78 | 75 | 155 | 273 | 172 | 19 | 307 | 323 | 304 | 382 | 273 | 95 | 33 | 374 | 358 | 190 | 40 | 153 | 50 | 96 | 237 | 334 | 298 | 0 | 0 | 0 | 5038
Water consumption | 8 | 159 | 43 | 46 | 163 | 78 | 75 | 155 | 273 | 172 | 19 | 307 | 323 | 304 | 382 | 273 | 95 | 33 | 374 | 358 | 190 | 40 | 153 | 50 | 96 | 237 | 334 | 298 | 0 | 23 | 21 | 5082
|  | 7.1699 |  |  | 1234.8485 |  |  | 15.0255 | 6.6726 | 4.4456 |  | 7.9348 | 6.4872 | 6.2278 | 8.1657 | 6.4289 |  |  | 7.1118 | 8.299 | 8.1437 |  | 8.1712 |  |  | 14.8018 | 6.5671 | 7.1539 |  |  | 0.42432
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 0 | 76 | 0 | 0 | 94 | 185 | 112 | 187 | 117 | 128 | 0 | 147 | 48 | 193 | 214 | 101 | 150 | 87 | 134 | 154 | 140 | 61 | 110 | 0 | 0 | 149 | 193 | 166 | 0 | 149 | 193 | 3288
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.9173 | 9.7917 | 37.7089
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 38 | 0 | 7 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 26 | 130
CIP Process | 0 | 22 | 0 | 0 | 32 | 28 | 28 | 27 | 42 | 42 | 0 | 67 | 38 | 38 | 38 | 28 | 28 | 28 | 36 | 76 | 33 | 13 | 41 | 0 | 0 | 47 | 60 | 65 | 0 | 47 | 60 | 964 |  |  | 15588.1818
Bottles Washer | 0 | 57 | 6 | 0 | 82 | 1 | 1 | 46 | 144 | 64 | 0 | 132 | 192 | 192 | 192 | 192 | 192 | 192 | 208 | 152 | 97 | 3 | 67 | 4 | 0 | 150 | 169 | 143 | 0 | 150 | 169 | 2997
Bottle Filler | 0 | 15 | 0 | 0 | 22 | 0 | 0 | 18 | 27 | 9 | 0 | 23 | 32 | 31 | 29 | 22 | 1 | 0 | 28 | 24 | 9 | 0 | 2 | 2 | 0 | 25 | 26 | 30 | 0 | 25 | 26 | 426
Pasteuriser | 0 | 15 | 0 | 0 | 12 | 0 | 0 | 11 | 4 | 5 | 0 | 19 | 6 | 6 | 13 | 7 | 0 | 0 | 25 | 24 | 0 | 0 | 0 | 0 | 0 | 27 | 2 | 1 | 0 | 27 | 2 | 206
Boiler Supply | 0 | 23 | 3 | 0 | 30 | 13 | 9 | 18 | 27 | 18 | 6 | 28 | 29 | 29 | 32 | 26 | 26 | 12 | 31 | 56 | 21 | 10 | 12 | 8 | 0 | 35 | 32 | 28 | 0 | 35 | 32 | 629
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 2 | 157
Personnel Consumption
Total water consumption (M3) | 0 | 208 | 9 | 0 | 272 | 227 | 150 | 307 | 361 | 266 | 134 | 416 | 345 | 495 | 556 | 376 | 404 | 347 | 462 | 486 | 300 | 87 | 232 | 14 | 0 | 433 | 482 | 433 | 0 | 512.9173 | 519.7917 | 8834.7089
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 2929.03 | 0 | 0 | 818.5 | 156.75 | 144.62 | 586.66 | 2162.22 | 881.16 | 0 | 1873.36 | 2415.53 | 2787.11 | 2307.93 | 2403.69 | 0 | 0 | 0 | 260 | 0 | 74 | 33 | 0 | 87 | 0 | 0 | 28 | 0 | 9 | 0 | 19957.56
CO2 (kg.) (Filler) | 0 | 198.14 | 0 | 0 | 145.63 | 0 | 0 | 120.56 | 394.72 | 177.68 | 0 | 273.33 | 439.25 | 424.35 | 408.28 | 360.11 | 0 | 0 | 395.79 | 342.33 | 288.1 | 0 | 167.29 | 1.11 | 0 | 172.5 | 342.07 | 301.31 | 345.47 | 287.64 | 0 | 5585.66
Electricity (Kwh.) | 2304 | 5622 | 3381 | 4157 | 4499 | 4998 | 4812 | 4957 | 7803 | 5745 | 3429 | 6856 | 7209 | 7510 | 8060 | 6885 | 4624 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 132957
Fuel (L) | 0 | 2600 | 280 | 300 | 3010 | 1950 | 1550 | 2300 | 3130 | 2400 | 620 | 3220 | 2600 | 3330 | 3800 | 2830 | 1460 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 1540 | 56940
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | Thu: 16.8651; Sun: 2606.0606; Wed: 22.4898; Thu: 10.95; Fri: 7.2628; Sun: 8.7102; Mon: 9.299; Tue: 8.0101; Wed: 9.5766; Thu: 13.1875; Sun: 10.8008; Mon: 13.8626; Tue: 9.3438; Thu: 24.0865; Sun: 27.9173; Mon: 9.7917; Tue: 12.1472; Fri: 10.0625 | 14.3263 | 10.2 | -4.1263
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | Thu: 3.4271; Sun: 712.1212; Wed: 18.1275; Thu: 2.8597; Fri: 3.3083; Sun: 3.7994; Mon: 0.96404; Tue: 3.9538; Wed: 4.5745; Thu: 2.3785; Sun: 2.5481; Mon: 3.57; Tue: 6.0006; Thu: 5.8748; Sun: 9.3058; Mon: 3.7948; Tue: 3.985; Fri: 3.8997 | 5.1815 | 2.5 | -2.6815
Brewhouse (Hls brewed) |  | 3.7273 |  |  | 6.0026 | 4.551 | 2.8042 | 6.25 | 3.4251 | 6.5173 |  | 5.8989 | 9.7959 | 4.6106 | 4.0988 | 4.713 | 4.8077 | 4.0788 | 3.4905 | 3.7297 | 3.9863 | 3.1138 | 5.2808 |  |  | 3.8561 | 4.8627 | 4.1898 |  |  |  | 4.8974 | 2.5 | -2.3974
Spent Grains/Wash-down Areas | Thu: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0.19785 | 0.059425 | 0.1 | 0.040575
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Thu: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0 | 0 | 0.7 | 0.7
Processing/Cellars | Thu: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0.12292; Wed: 0.8123; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0.52535 | 0.20486 | 1 | 0.79514
CIP Process | Thu: 0.99206; Sun: 242.4242; Wed: 2.6173; Thu: 1.0266; Fri: 1.0855; Sun: 1.7317; Mon: 0.7632; Tue: 0.77847; Wed: 0.8123; Thu: 0.65938; Sun: 0.68456; Mon: 1.7618; Tue: 1.4144; Thu: 2.1897; Sun: 2.9354; Mon: 1.1797; Tue: 1.5604; Fri: 1.2123 | 1.5191 | 0.7 | -0.81915
Bottles Washer | Thu: 2.5703; Sun: 621.2121; Wed: 4.4592; Thu: 3.5196; Fri: 1.6542; Sun: 3.4117; Mon: 3.8562; Tue: 3.9333; Wed: 4.1042; Thu: 4.5214; Sun: 3.9552; Mon: 3.5236; Tue: 4.1576; Thu: 3.5783; Sun: 9.3682; Mon: 3.3229; Tue: 3.4329; Fri: 3.4148 | 4.7229 | 2.6 | -2.1229
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | Thu: 0.67641; Sun: 166.6667; Wed: 1.7449; Thu: 0.65993; Fri: 0.23262; Sun: 0.59446; Mon: 0.64269; Tue: 0.63507; Wed: 0.61991; Thu: 0.51808; Sun: 0.53243; Mon: 0.55636; Tue: 0.38575; Thu: 0.10681; Sun: 1.5614; Mon: 0.51121; Tue: 0.72019; Fri: 0.52535 | 0.67132 | 0.7 | 0.028675
Pasteuriser | Thu: 0.67641; Sun: 90.9091; Wed: 1.0663; Thu: 0.097767; Fri: 0.12923; Sun: 0.49108; Mon: 0.12051; Tue: 0.12292; Wed: 0.27789; Thu: 0.16484; Sun: 0.47539; Mon: 0.55636; Tue: 0; Thu: 0; Sun: 1.6863; Mon: 0.039324; Tue: 0.024006; Fri: 0.040412 | 0.32463 | 0.1 | -0.22463
Boiler Supply | Thu: 1.0372; Sun: 227.2727; Wed: 1.7449; Thu: 0.65993; Fri: 0.46523; Sun: 0.7237; Mon: 0.58244; Tue: 0.5941; Wed: 0.68404; Thu: 0.61228; Sun: 0.58948; Mon: 1.2982; Tue: 0.90009; Thu: 0.64088; Sun: 2.1859; Mon: 0.62918; Tue: 0.67217; Fri: 0.64659 | 0.99123 | 0.6 | -0.39123
Backwash Supply | Thu: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0 | 0 | 0.5 | 0.5
Refrigeration Unit | Thu: 0; Sun: 0; Wed: 0; Thu: 0; Fri: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Thu: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 13.1068 | 0 | 0 | 2066.6086 | 4.551 | 2.8042 | 36.0102 | 12.2486 | 13.3924 | 0 | 16.6509 | 16.725 | 14.7512 | 15.984 | 13.5675 | 4.8077 | 4.0788 | 12.2756 | 14.996 | 16.8448 | 3.1138 | 17.6712 | 0 | 0 | 30.899 | 14.3398 | 14.5845 | 0 | 0 | 10.4624 | 18.5724 | 15.6 | -2.9724
Bottling Hall water | 0 | 3.9232 | 0 | 0 | 878.7879 | 0 | 0 | 7.2704 | 4.2773 | 2.016 | 0 | 4.4973 | 4.6194 | 4.6913 | 5.0021 | 5.2044 | 0 | 0 | 4.963 | 4.6363 | 4.5433 | 0 | 3.6851 | 0 | 0 | 12.6159 | 3.8734 | 4.1771 | 0 | 0 | 3.9805 | 5.7189 | 6 | 0.28113
CO2 (kg./Hl.) KPI | Thu: 13.2081; Sun: 620.0758; Wed: 5.687; Thu: 5.2849; Fri: 2.2775; Sun: 4.8419; Mon: 4.8514; Tue: 5.7097; Wed: 4.9335; Thu: 5.6605; Sun: 0; Mon: 0.60272; Tue: 0; Thu: 0.17624; Sun: 0; Mon: 0; Tue: 0.067217; Fri: 0 | 3.1451 | 5 | 1.8549
CO2 Filler (kg./Hl.) KPI | Thu: 0.89349; Sun: 110.3258; Wed: 1.1687; Thu: 0.96477; Fri: 0.45924; Sun: 0.70646; Mon: 0.8822; Tue: 0.86933; Wed: 0.87275; Thu: 0.84803; Sun: 0.75261; Mon: 0.79358; Tue: 1.2348; Thu: 0.89344; Sun: 1.0773; Mon: 0.67258; Tue: 0.72333; Fri: 0 | 0.88023 | 1.7 | 0.81977
Electricity (Kwh./Hl.) KPI | Thu: 25.3517; Sun: 3408.3333; Wed: 48.0525; Thu: 19.072; Fri: 14.8487; Sun: 17.7202; Mon: 14.4787; Tue: 15.3851; Wed: 17.2293; Thu: 16.2136; Sun: 6.933; Mon: 8.452; Tue: 15.6273; Thu: 19.4721; Sun: 22.771; Mon: 7.1688; Tue: 8.7527; Fri: 7.367 | 20.9524 | 22 | 1.0476
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | Thu: 11.7244; Sun: 2280.303; Wed: 22.2959; Thu: 7.6503; Fri: 6.2031; Sun: 8.3225; Mon: 5.2219; Tue: 6.8219; Wed: 8.123; Thu: 6.6644; Sun: 2.9284; Mon: 3.57; Tue: 6.6007; Thu: 8.2247; Sun: 9.618; Mon: 3.0279; Tue: 3.697; Fri: 3.1117 | 8.9731 | 7.2 | -1.7731
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 403.29 | 0 | 0 | 0 | 280.03 | 142.04 | 0 | 206.65 | 278.56 | 466.7 | 120.53 | 240.56 | 0 | 0 | 0 | 104.98 | 0 | 0 | 5.81 | 0 | 0 | 99.15 | 144.91 | 158.68 | 101.74 | 67 | 0 | 2820.63
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Sun; Thu to Fri; Sun to Thu; Mon; Thu; Sun to Thu
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 203.9 | 0 | 0 | 156.6 | 406.5 | 399.4 | 299.2 | 341.6 | 196.4 | 0 | 249.2 | 49 | 418.6 | 522.1 | 214.3 | 312 | 213.3 | 383.9 | 412.9 | 351.2 | 195.9 | 208.3 | 0 | 0 | 386.4 | 396.9 | 396.2 | 0 | 0 | 0 | 6713.8
Product | 0 | CB | 0 | 0 | SM | 0 | MK | CB | CB/ST/VM | CB | 0 | CB | CB | CB/ST | ST/CB | CB | CB | CB | CB/GU | GU/CB | CB/ST | CB | CB | 0 | 0 | VM | ST | ST | 0 | 0 | 0
No. of Brews | 0 | 4 | 0 | 0 | 3 | 8 | 8 | 6 | 7 | 4 | 0 | 5 | 1 | 7 | 10 | 4 | 6 | 4 | 7 | 8 | 7 | 4 | 4 | 0 | 0 | 8 | 8 | 8 | 0 | 0 | 0 | 131
Raw Water In - Nawasa | 0 | 0 | 72 | 107 | 29 | 251 | 167 | 244 | 265 | 208 | 0 | 213 | 177 | 177 | 177 | 177 | 177 | 177 | 238 | 30 | 0 | 29 | 211 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 257 | 3411
Into RO | [31 empty] | 0 | bar: Wed
| 2304 | 5622 | 3381 | 4157 | 4499 | 4998 | 4812 | 4957 | 7803 | 5745 | 3429 | 6856 | 7209 | 7510 | 8060 | 6885 | 4624 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 3646 | 132957
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-01-02 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
| Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Total |  | Diff.
Cases Produced |  | 3360 |  |  | 20 |  |  | 1563 | 6199 | 2577 |  | 5669 | 7544 | 7396 | 7088 | 6434 |  |  | 7968 | 6536 | 3535 |  | 2837 |  |  | 2426 | 7706 | 6199 | 7217 | 6837 | 247.5 | 99358.5 | 109550 | -10191.5
HL produced |  | 221.76 |  |  | 1.32 |  |  | 103.158 | 409.134 | 386.9028 |  | 386.9028 | 497.904 | 488.136 | 467.808 | 424.644 |  |  | 525.888 | 431.376 | 233.31 |  | 187.242 |  |  | 160.116 | 508.596 | 416.5584 | 494.9076 | 451.242 | 16.335 | 6813.2406
Product Type |  | CB |  |  | CB |  |  | CB | CB/SM | SM |  | VM/SM/ST | ST/CB | CB/ST | MK/SS | Ting/CB |  |  | CB/ST | ST/Ginseng | Juicy Kool |  | Juicy Kool |  |  | Juicy Kool/CB | CB/Pearsecco | Psecco/Rose/VM | VM/VMG/GN/CB | CB/ST | kegs
Hls Brewed |  | 203.9 |  |  | 156.6 | 406.5 | 399.4 | 299.2 | 341.6 | 196.4 |  | 249.2 | 49 | 418.6 | 522.1 | 214.3 | 312 | 213.3 | 383.9 | 412.9 | 351.2 | 195.9 | 208.3 |  |  | 386.4 | 396.9 | 396.2 |  |  |  | 6713.8
Product |  | CB |  |  | SM | SM/ ST | MK | CB | CB/ST/VM | CB |  | CB | CB | CB/ST | ST/CB | CB | CB | CB | CB/GU | GU/CB | CB/ST | CB | CB |  |  | VM | ST | ST
No. of Brews |  | 4 |  |  | 3 | 8 | 8 | 6 | 7 | 4 |  | 5 | 1 | 7 | 10 | 4 | 6 | 4 | 7 | 8 | 7 | 4 | 4 |  |  | 8 | 8 | 8 |  |  |  | 131
Brewhouse (Hls brewed) |  | 3.7273 |  |  | 6.0026 | 4.551 | 2.8042 | 6.25 | 3.4251 | 6.5173 |  | 5.8989 | 9.7959 | 4.6106 | 4.0988 | 4.713 | 4.8077 | 4.0788 | 3.4905 | 3.7297 | 3.9863 | 3.1138 | 5.2808 |  |  | 3.8561 | 4.8627 | 4.1898 |  |  |  | 5.0359
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 187 | 0 | 0 | 221 | 62 | 0 | 0 | 196 | 84 | 0 | 134 | 295 | 143 | 170 | 332 | 0 | 0 | 388 | 568 | 218 | 101 | 251 | 0 | 0 | 256 | 373 | 400 | 254 | 198 | 194 | 5025
Annanale Supply | 0 | 187 | 0 | 84 | 123 | 144 | 160 | 232 | 252 | 197 | 0 | 203 | 168 | 248 | 278 | 228 | 260 | 74 | 180 | 30 | 0 | 28 | 200 | 69 | 0 | 191 | 125 | 106 | 447 | 50 | 14 | 4278
Total Water Supply | 0 | 374 | 0 | 84 | 344 | 206 | 160 | 232 | 448 | 281 | 0 | 337 | 463 | 391 | 448 | 560 | 260 | 74 | 568 | 598 | 218 | 129 | 451 | 69 | 0 | 447 | 498 | 506 | 701 | 248 | 208 | 9303
0
Theoretical permeate | 0 | 0 | 52.56 | 78.11 | 21.17 | 183.23 | 121.91 | 178.12 | 193.45 | 151.84 | 0 | 155.49 | 129.21 | 190.53 | 212.43 | 175.2 | 198.56 | 20.44 | 173.74 | 21.9 | 0 | 21.17 | 154.03 | 20.44 | 0 | 179.58 | 95.63 | 83.22 | 187.61 | 191.26 | 10.95 | 3201.78 | 9639 |  | 14.1475
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 8 | 159 | 43 | 46 | 163 | 78 | 75 | 155 | 273 | 172 | 19 | 307 | 323 | 304 | 382 | 273 | 95 | 33 | 374 | 358 | 190 | 40 | 153 | 50 | 96 | 237 | 334 | 298 | 330 | 289 | 0 | 5657
Brewhouse | 0 | 76 | 0 | 0 | 94 | 185 | 112 | 187 | 117 | 128 | 0 | 147 | 48 | 193 | 214 | 101 | 150 | 87 | 134 | 154 | 140 | 61 | 110 | 0 | 0 | 149 | 193 | 166 | 141 | 97.5 | 196.5 | 3381
Boiler Supply | 0 | 23 | 3 | 0 | 30 | 13 | 9 | 18 | 27 | 18 | 6 | 28 | 29 | 29 | 32 | 26 | 7 | 12 | 31 | 56 | 21 | 10 | 12 | 8 | 0 | 35 | 32 | 28 | 28 | 23 | 7 | 601
Water consumption | 8 | 258 | 46 | 46 | 287 | 276 | 196 | 360 | 417 | 318 | 25 | 482 | 400 | 526 | 628 | 400 | 252 | 132 | 539 | 568 | 351 | 111 | 275 | 58 | 96 | 421 | 559 | 492 | 499 | 409.5 | 203.5 | 9639
Water Consumption detail
Brewhouse | 0 | 76 | 0 | 0 | 94 | 185 | 112 | 187 | 117 | 128 | 0 | 147 | 48 | 193 | 214 | 101 | 150 | 87 | 134 | 154 | 140 | 61 | 110 | 0 | 0 | 149 | 193 | 166 | 141 | 97.5 | 196.5 | 3381
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 0 | 22 | 0 | 0 | 32 | 28 | 28 | 27 | 42 | 42 | 0 | 67 | 38 | 29 | 79 | 28 | 14 | 9 | 36 | 76 | 33 | 13 | 41 | 0 | 0 | 47 | 60 | 65 | 66 | 53 | 16 | 991
Bottles Washer | 0 | 57 | 6 | 0 | 82 | 1 | 1 | 46 | 144 | 64 | 0 | 132 | 192 | 177 | 190 | 164 | 30 | 0 | 208 | 152 | 97 | 3 | 67 | 4 | 0 | 150 | 169 | 143 | 136 | 151 | 35 | 2601
Bottle Filler | 0 | 15 | 0 | 0 | 22 | 0 | 0 | 18 | 27 | 9 | 0 | 23 | 32 | 31 | 29 | 22 | 1 | 0 | 28 | 24 | 9 | 0 | 2 | 2 | 0 | 25 | 26 | 30 | 28 | 25 | 0 | 428
Pasteuriser | 0 | 15 | 0 | 0 | 12 | 0 | 0 | 11 | 4 | 5 | 0 | 19 | 6 | 6 | 13 | 7 | 0 | 0 | 25 | 24 | 0 | 0 | 0 | 0 | 0 | 27 | 2 | 1 | 8 | 0 | 0 | 185
Boiler Supply | 0 | 23 | 3 | 0 | 30 | 13 | 9 | 18 | 27 | 18 | 6 | 28 | 29 | 29 | 32 | 26 | 7 | 12 | 31 | 56 | 21 | 10 | 12 | 8 | 0 | 35 | 32 | 28 | 28 | 23 | 7 | 601
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 0 | 208 | 9 | 0 | 272 | 227 | 150 | 307 | 361 | 266 | 6 | 416 | 345 | 465 | 557 | 348 | 202 | 108 | 462 | 486 | 300 | 87 | 232 | 14 | 0 | 433 | 482 | 433 | 407 | 349.5 | 254.5 | 8187
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  | 3.4271 |  |  | 712.1212 |  |  | 18.1275 | 2.8597 | 3.3083 |  | 3.7994 | 0.96404 | 3.9538 | 4.5745 | 2.3785 |  |  | 2.5481 | 3.57 | 6.0006 |  | 5.8748 |  |  | 9.3058 | 3.7948 | 3.985 | 2.849 | 2.1607 | 120.2938 | 4.9624 | 3.2 | -1.7624
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.1
Cellars/Filtration |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7 | 0.7
Processing/Cellars |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
CIP Process |  | 0.99206 |  |  | 242.4242 |  |  | 2.6173 | 1.0266 | 1.0855 |  | 1.7317 | 0.7632 | 0.5941 | 1.6887 | 0.65938 |  |  | 0.68456 | 1.7618 | 1.4144 |  | 2.1897 |  |  | 2.9354 | 1.1797 | 1.5604 | 1.3336 | 1.1745 | 9.7949 | 1.4545 | 0.7 | -0.75452
Bottles Washer |  | 2.5703 |  |  | 621.2121 |  |  | 4.4592 | 3.5196 | 1.6542 |  | 3.4117 | 3.8562 | 3.626 | 4.0615 | 3.8621 |  |  | 3.9552 | 3.5236 | 4.1576 |  | 3.5783 |  |  | 9.3682 | 3.3229 | 3.4329 | 2.748 | 3.3463 | 21.4264 | 3.8176 | 2.1 | -1.7176
Bottle Filler |  | 0.67641 |  |  | 166.6667 |  |  | 1.7449 | 0.65993 | 0.23262 |  | 0.59446 | 0.64269 | 0.63507 | 0.61991 | 0.51808 |  |  | 0.53243 | 0.55636 | 0.38575 |  | 0.10681 |  |  | 1.5614 | 0.51121 | 0.72019 | 0.56576 | 0.55403 | 0 | 0.62819 | 0.7 | 0.071811
Pasteuriser |  | 0.67641 |  |  | 90.9091 |  |  | 1.0663 | 0.097767 | 0.12923 |  | 0.49108 | 0.12051 | 0.12292 | 0.27789 | 0.16484 |  |  | 0.47539 | 0.55636 | 0 |  | 0 |  |  | 1.6863 | 0.039324 | 0.024006 | 0.16165 | 0 | 0 | 0.27153 | 0.1 | -0.17153
Boiler Supply |  | 1.0372 |  |  | 227.2727 |  |  | 1.7449 | 0.65993 | 0.46523 |  | 0.7237 | 0.58244 | 0.5941 | 0.68404 | 0.61228 |  |  | 0.58948 | 1.2982 | 0.90009 |  | 0.64088 |  |  | 2.1859 | 0.62918 | 0.67217 | 0.56576 | 0.5097 | 4.2853 | 0.88211 | 0.6 | -0.28211
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 9.3795 | 0 | 0 | 2060.6061 | 0 | 0 | 29.7602 | 8.8235 | 6.8751 | 0 | 10.7521 | 6.929 | 9.526 | 11.9066 | 8.1951 | 0 | 0 | 8.7851 | 11.2663 | 12.8584 | 0 | 12.3904 | 0 | 0 | 27.0429 | 9.4771 | 10.3947 | 8.2238 | 7.7453 | 155.8004 | 12.0163 | 9.6 | -2.4163
Bottling Hall water | 0 | 3.9232 | 0 | 0 | 878.7879 | 0 | 0 | 7.2704 | 4.2773 | 2.016 | 0 | 4.4973 | 4.6194 | 4.384 | 4.9593 | 4.545 | 0 | 0 | 4.963 | 4.6363 | 4.5433 | 0 | 3.6851 | 0 | 0 | 12.6159 | 3.8734 | 4.1771 | 3.4754 | 3.9003 | 21.4264 | 4.7173 | 2.9 | -1.8173
Water Plant Total (Before Sand Filter) | 0 | 0 | 72 | 107 | 29 | 251 | 167 | 244 | 265 | 208 | 0 | 213 | 177 | 261 | 291 | 240 | 272 | 28 | 238 | 30 | 0 | 29 | 211 | 28 | 0 | 246 | 131 | 114 | 257 | 262 | 15 | 4386
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) |  | 2500 |  |  |  | 1600 | 200 | 600 | 2200 | 1000 | 1100 | 1800 | 2700 | 2800 | 1700 | 2400 | 0 | 0 | 2600 | 1900 | 2000 | 400 | 1700 | 0 | 0 | 1800 | 2500 | 1600 | 2300 | 2200 |  | 39600
CO2 Totalizer | 0 | 2929.03 | 0 | 0 | 818.5 | 156.75 | 144.62 | 586.66 | 2162.22 | 881.16 | 0 | 1873.36 | 2415.53 | 2787.11 | 2307.93 | 2403.69 | 0 | 78.03 | 2652.8 | 2283.62 | 2002.18 | 166.15 | 1731.53 | 0 | 0 | 1768.29 | 2165.81 | 2233.54 | 2259.65 | 2071 | 0 | 38879.16
CO2 (kg.) (Filler) | 0 | 198.14 | 0 | 0 | 145.63 | 0 | 0 | 120.56 | 394.72 | 177.68 | 0 | 273.33 | 439.25 | 424.35 | 408.28 | 360.11 | 0 | 0 | 395.79 | 342.33 | 288.1 | 0 | 167.29 | 1.11 | 0 | 172.5 | 342.07 | 301.31 | 345.47 | 287.64 | 0 | 5585.66
CO2 (kg.) (FILTRATION) | 0 | 0 | 0 | 0 | 403.29 | 0 | 0 | 0 | 280.03 | 142.04 | 0 | 206.65 | 278.56 | 466.7 | 120.53 | 240.56 | 0 | 0 | 0 | 104.98 | 0 | 0 | 5.81 | 0 | 0 | 99.15 | 144.91 | 158.68 | 101.74 | 67 | 0 | 2820.63
0
CO2 (kg.)Consumption Meter | 0 | 2929.03 | 0 | 0 | 818.5 | 156.75 | 144.62 | 586.66 | 2162.22 | 881.16 |  | 1873.36 |  | 2787.11 | 2307.93 | 2403.69 | 0 | 0 | 0 | 260 | 0 | 74 | 33 | 0 | 87 | 0 | 0 | 28 | 0 | 19957.56 | 0
Electricity GRENLEC (Kwh.) | 2304 | 5622 | 3381 | 4157 | 4499 | 4998 | 4812 | 4957 | 7803 | 5745 | 3429 | 6856 | 7209 | 7510 | 8060 | 6885 | 4624 | 3646 | 6754 | 7757 | 7030 | 4377 | 6240 | 3994 | 3436 | 6132 | 6739 | 7880 | 7198 | 6934 | 4474 | 175442
| #VALUE! | [30 empty] | #VALUE!
| 3381 | 4157 | 4499 | 4998 | 4812 | 4957 | 7803 | 5745 | 3429 | 6856 | 7209 | 7510 | 8060 | 6885 | 4624 | 3646 | 6754 | 7757 | 7030 | 4377 | 6240 | 3994 | 3436 | 613200% | 673900% | 7880 | 7198 | 6934 | 4474 | 175442 | 0 | 342958
Generation Solar System (Kw-H) | 1368.6 | 1110.2 | 1375.8 | 1429.1 | 1425.2 | 1372.1 | 1022.6 | 1366.9 | 1199.1 | 1177.8 | 693.7 | 1246.3 | 1063.3 | 1252.5 | 1190.2 | 1269.4 | 1076.9 | 1433.2 | 1361.6 | 1366 | 1369.6 | 1449.5 | 1391.7 | 1395.8 | 1198 | 1465.5 | 1472.8 | 1331.4 | 1339.2 | 556.9 | 1329 | 39099.9
Fuel (L) | 0 | 2600 | 280 | 300 | 3010 | 1950 | 1550 | 2300 | 3130 | 2400 | 620 | 3220 | 2600 | 3330 | 3800 | 2830 | 1460 | 1540 | 3070 | 3830 | 2510 | 1440 | 2090 | 150 | 0 | 3880 | 3670 | 3360 | 3111 | 2999 | 1760 | 68790
Steam Mass Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13977.229 | 0 | 1763.271 | 100.998 | 0 | 0 | 0 | 0 | 958.129 | 0 | 178.66 | 356.724 | 0 | 0 | 0 | 591.82 | 0 | 0 | 400.529 | 0 | 0 | 0 | 0 | 0 | 18327.36
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption |  | 16.8651 |  |  | 2606.0606 |  |  | 22.4898 | 10.95 | 7.2628 |  | 8.7102 | 9.299 | 8.0101 | 9.5766 | 13.1875 |  |  | 10.8008 | 13.8626 | 9.3438 |  | 24.0865 |  |  | 27.9173 | 9.7917 | 12.1472 | 14.1643 | 5.4959 | 127.3339 | 13.6543 | 10.2 | -3.4543 | 133.8656
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  | 11.2734 |  |  | 0 |  |  | 5.8163 | 5.3772 | 2.5846 |  | 4.6523 | 5.4227 | 5.7361 | 3.634 | 5.6518 |  |  | 4.944 | 4.4045 | 8.5723 |  | 9.0792 |  |  | 11.2418 | 4.9155 | 3.841 | 4.6473 | 4.8754 | 0 | 5.8122 | 5 | -0.81221 | 116.2442
CO2 Filler (kg./Hl.) KPI |  | 0.89349 |  |  | 110.3258 |  |  | 1.1687 | 0.96477 | 0.45924 |  | 0.70646 | 0.8822 | 0.86933 | 0.87275 | 0.84803 |  |  | 0.75261 | 0.79358 | 1.2348 |  | 0.89344 |  |  | 1.0773 | 0.67258 | 0.72333 | 0.69805 | 0.63744 | 0 | 0.81982 | 1.7 | 0.88018 | 48.225
Electricity (Kwh./Hl.) KPI |  | 30.358 |  |  | 4488.0303 |  |  | 61.303 | 22.0028 | 17.8929 |  | 20.9414 | 16.6142 | 17.9509 | 19.7735 | 19.2029 |  |  | 15.4322 | 21.1486 | 36.0019 |  | 40.7585 |  |  | 47.45 | 16.146 | 22.1131 | 17.2501 | 16.6006 | 355.2495 | 31.489 | 22 | -9.489 | 143.1317
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  | 11.7244 |  |  | 2280.303 |  |  | 22.2959 | 7.6503 | 6.2031 |  | 8.3225 | 5.2219 | 6.8219 | 8.123 | 6.6644 |  |  | 5.8377 | 8.8786 | 10.7582 |  | 11.162 |  |  | 24.2324 | 7.2159 | 8.0661 | 6.286 | 6.6461 | 107.7441 | 10.0965 | 7.2 | -2.8965 | 140.2294
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 0 | 403.29 | 0 | 0 | 0 | 280.03 | 142.04 | 0 | 206.65 | 278.56 | 466.7 | 120.53 | 240.56 | 0 | 0 | 0 | 104.98 | 0 | 0 | 5.81 | 0 | 0 | 99.15 | 144.91 | 158.68 | #REF! | #REF! | 67 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency |  |  |  |  | 0% |  |  |  | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% |  |  |  | 0% |  |  | 0% |  |  | 0% | 0% | 0% | #REF! | #REF! | 0% | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | _ | 0 | [24 empty] | _ | _ |  |  | _ | 0
| 2304 |  | 3381 | 4157 | 4499 | 4998 | 4812 | 4957 | 7803 | 5745 | 3429 | 6856 | 7209 | 7510 | 8060 | 6885 | 4624 | 3646 | 6754 | 7757 | 7030 | 4377 | 6240 | 3994 | 3436 | 6132 | 6739 | 7880 | 7198 | 6934 | 4474 | 175442
5622
[32 empty] | 18.2248 | %
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500Kgs
Note on C74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 17500Kgs
Note on D74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs
Note on E74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs
Note on F74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 15000Kgs
Note on H74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400Kgs mobile approx. 19600
Note on I74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400Kgs mobile approx. 19400
Note on J74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400Kgs mobile approx. 18800
Note on K74: Delano Pasea: Tank A 0 kgs Tank B 0 kgs Tank C 13400Kgs mobile approx. 18800
Note on L74: Delano Pasea: Tank A 11200 kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.0
Note on M74: Delano Pasea: Tank A 11200 kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.0
Note on N74: Delano Pasea: Tank A 9400kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.19,800 kgs
Note on O74: Delano Pasea: Tank A 6700kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.19100kgs
Note on P74: Delano Pasea: Tank A 6700kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.17000
Note on Q74: Delano Pasea: Tank A 5000kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.17000
Note on R74: Delano Pasea: Tank A 2600kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.17000
Note on S74: Delano Pasea: Tank A 2600kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.17000 kgs
Note on T74: Delano Pasea: Tank A 2600kgs Tank B 0 kgs Tank C 16700Kgs mobile approx.17000 kgs
Note on U74: Delano Pasea: Tank A 0kgs Refilled to 6800kgs @1300hrs Tank B 0 kgs Tank C 25700Kgs mobile approx.8000 Kgs Mt'd@1300hrs into Tank A
Note on V74: Tank A 6100 kgs Tank C 25700Kgs mobile approx.0 Kgs
Note on W74: Tank A 4100 kgs Tank C 25700Kgs mobile approx.0 Kgs
Note on X74: Tank A 3700 kgs Tank C 25700Kgs mobile approx.0 Kgs
Note on Y74: Tank A 2000 kgs Tank C 25700Kgs mobile approx.0 Kgs
Note on Z74: Tank A 2000 kgs Tank C 25700Kgs mobile approx.0 Kgs
Note on AA74: Tank A 2000 kgs Tank C 25700Kgs mobile approx.0 Kgs Only used 1000 from tank A in calculation
Note on AB74: Tank A 0 kgs Tank B 0 kgs Tank C 24900Kgs mobile approx.0 Kgs
Note on AC74: Tank A 0 kgs Tank B 0 kgs Tank C 22400Kgs mobile approx.19600 Kgs
Note on AD74: Tank A 0 kgs Tank B 0 kgs Tank C 20800Kgs mobile approx.19600 Kgs
Note on AE74: Tank A 11400 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx.6700 Kgs
Note on AF74: Tank A 10300 kgs Tank B 0 kgs Tank C 20000Kgs mobile approx.5600 Kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JANUARY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 211566 | 0 | 0 | 50971 | 1329288 | 0 | 97122 | 0 | 1329288 | -1329288 | -1329288 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 211566 | 187 | 187 | 0 | 1329288 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 374 |  |  | #DIV/0!
3 | 211753 | 0 | -72 | 0 | 1329288 | 72 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
4 | 211753 | 0 | -107 | 0 | 1329360 | 107 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
5 | 211753 | 221 | 192 | 0 | 1329467 | 29 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 442 |  |  | #DIV/0!
6 | 211974 | 62 | -189 | 0 | 1329496 | 251 | 97122 | 0 | 0 | 22099 | 22099 | 0 | 0 | 124 |  |  | #DIV/0!
7 | 212036 | 0 | -167 | 0 | 1329747 | 167 | 97122 | 0 | 22099 | -22099 | -22099 | 0 | 0 | 0 |  |  | #DIV/0!
8 | 212036 | 0 | -244 | 0 | 1329914 | 244 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 0 |  |  | #DIV/0!
9 | 212036 | 196 | -69 | 0 | 1330158 | 265 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 392 |  |  | #DIV/0!
10 | 212232 | 84 | -124 | 0 | 1330423 | 208 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 168 |  |  | #DIV/0!
11 | 212316 | 0 | 0 | 0 | 1330631 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 212316 | 134 | -79 | 0 | 1330631 | 213 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 268 |  |  | #DIV/0!
13 | 212450 | 295 | 118 | 0 | 1330844 | 177 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 590 |  |  | #DIV/0!
14 | 212745 | 143 | -118 | 0 | 1331021 | 261 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 286 |  |  | #DIV/0!
15 | 212888 | 170 | -121 | 0 | 1331282 | 291 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 340 |  |  | #DIV/0!
16 | 213058 | 332 | 92 | 0 | 1331573 | 240 | 97122 | 0 | 0 | 0 | 0 | 0 | 22 | 664 |  |  | #DIV/0!
17 | 213390 | 0 | -272 | 0 | 1331813 | 272 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  |  | #DIV/0!
18 | 213390 | 0 | -28 | 0 | 1332085 | 28 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 213390 | 388 | 150 | 0 | 1332113 | 238 | 97122 | 0 | 0 | 0 | 0 | 0 | 28 | 776 |  |  | #DIV/0!
20 | 213778 | 568 | 538 | 0 | 1332351 | 30 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 1136 |  |  | #DIV/0!
21 | 214346 | 218 | 218 | 0 | 1332381 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 436 |  |  | #DIV/0!
22 | 214564 | 101 | 72 | 0 | 1332381 | 29 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 202 |  |  | #DIV/0!
23 | 214665 | 251 | 40 | 0 | 1332410 | 211 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 502 |  |  | #DIV/0!
24 | 214916 | 0 | -28 | 0 | 1332621 | 28 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 0 |  |  | #DIV/0!
25 | 214916 | 0 | 0 | 0 | 1332649 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
26 | 214916 | 256 | 10 | 0 | 1332649 | 246 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 512 |  |  | #DIV/0!
27 | 215172 | 373 | 242 | 0 | 1332895 | 131 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 746 |  |  | #DIV/0!
28 | 215545 | 400 | 286 | 0 | 1333026 | 114 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 800 |  |  | #DIV/0!
| 215945 |  | 0 |  | 1333140 |  | 97122
Total |  | 4379 | 527 |  |  | 3852 |  | 0 | 1351387 | -1329288 | -1329288 | 0 | 375 | 8758 | 0 | 0 | #DIV/0!