## Entries July 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8296880 |  |  | 64 | 9818.3 | 68225 |  | 1275845 |  | 468000 | 48242.18 | 502510.38 | 70845.18 | 239094 | 71771 | 973280 |  | 86793 |  | 252 | 1351661 |  | 46205 | 64265 | 14156 | 97122 |  | 5518 | 263573 | [5 empty] | 7369202.851
2 | 8299720 |  |  | 64 | 9839.4 | 68225 |  | 1282285 |  | 468000 | 49225.89 | 505237.47 | 71138.77 | 239360 | 71948 | 973498 |  | 86947 |  | 255 | 1351849 |  | 46247 | 64329 | 14171 | 97122 |  | 5537 | 263573 | [5 empty] | 7369202.851
3 | 8303170 |  |  | 64 | 9860.8 | 68225 |  | 1290886 |  | 468000 | 49786.92 | 507678.46 | 71585.36 | 239629 | 72161 | 973745 |  | 87167 |  | 262 | 1352069 |  | 46297 | 64412 | 14189 | 97122 |  | 5567 | 263573 | [5 empty] | 7369202.851
4 | 8306160 |  |  | 64 | 9880.7 | 68225 |  | 1299598 |  | 468000 | 50298.22 | 509591.38 | 71795.41 | 239636 | 72304 | 973931 |  | 87307 |  | 264 | 1352218 |  | 46316 | 64498 | 14206 | 97122 |  | 5590 | 263568 | [5 empty] | 7369284.816
5 | 8307100 |  |  | 64 | 9887.4 | 68225 |  | 1303250 |  | 468000 | 50298.22 | 509591.38 | 71795.41 | 239657 | 72488 | 974012 |  | 87371 |  | 300 | 1352412 |  | 46316 | 64503 | 14212 | 97122 |  | 5590 | 263568 | [5 empty] | 7369294.393
6 | 8308580 |  |  | 64 | 9896.4 | 68225 |  | 1308613 |  | 468000 | 50340.57 | 509699.38 | 71811.71 | 239658 | 72529 | 974101 |  | 87378 |  | 303 | 1352454 |  | 46317 | 64537 | 14226 | 97122 |  | 5591 | 263555 | [5 empty] | 7369729.829
7 | 8310990 |  |  | 64 | 9911.8 | 68225 |  | 1315792 |  | 468000 | 51246.97 | 511528.81 | 72023.41 | 239783 | 72717 | 974327 |  | 87483 |  | 309 | 1352651 |  | 46382 | 64613 | 14253 | 97122 |  | 5620 | 263558 | [5 empty] | 7369729.829
8 | 8313800 |  |  | 64 | 9931 | 68225 |  | 1323958 |  | 468000 | 51888.07 | 512905.5 | 72141.08 | 240050 | 72841 | 974472 |  | 87619 |  | 316 | 1352781 |  | 46398 | 64662 | 14282 | 97122 |  | 5636 | 263613 | [5 empty] | 7369758.855
9 | 8317310 |  |  | 64 | 9951.2 | 68225 |  | 1334042 |  | 468000 | 52910.04 | 516105.19 | 72421.32 | 240051 | 72958 | 974696 |  | 87813 |  | 321 | 1352904 |  | 46433 | 64743 | 14314 | 97122 |  | 5668 | 263673 | [5 empty] | 7369758.855
10 | 8319820 |  |  | 64 | 9970.7 | 68225 |  | 1340634 |  | 468000 | 53307 | 517705.91 | 72579.13 | 240264 | 73153 | 974908 |  | 87878 |  | 321 | 1353108 |  | 46485 | 64816 | 14342 | 97122 |  | 5689 | 263676 | [5 empty] | 7369758.855
11 | 8322770 |  |  | 64 | 9989.6 | 68225 |  | 1348237 |  | 468000 | 54036.04 | 519534.59 | 72780.29 | 240498 | 73332 | 975095 |  | 88042 |  | 323 | 1353296 |  | 46515 | 64886 | 14375 | 97122 |  | 5712 | 263676 | [5 empty] | 7369758.855
12 | 8324770 |  |  | 64 | 10004 | 68225 |  | 1352074 |  | 468000 | 54036.04 | 519676.67 | 72780.29 | 240498 | 73429 | 975195 |  | 88138 |  | 323 | 1353396 |  | 46515 | 64927 | 14388 | 97122 |  | 5717 | 263676 | [5 empty] | 7369758.855
13 | 8327250 |  |  | 64 | 10023.48 | 68225 |  | 1356919 |  | 468000 | 54036.04 | 519676.67 | 72780.29 | 240747 | 73645 | 975627 |  | 88197 |  | 323 | 1353622 |  | 46525 | 64927 | 14403 | 97122 |  | 5717 | 263676 | [5 empty] | 7369758.855
14 | 8329530 |  |  | 64 | 10040 | 68225 |  | 1365181 |  | 468000 | 54242.37 | 521143.41 | 72993.3 | 240947 | 73725 | 975702 |  | 88232 |  | 328 | 1353706 |  | 46575 | 65015 | 14420 | 97122 |  | 5743 | 263676 | [5 empty] | 7369758.855
15 | 8333150 |  |  | 64 | 10062.1 | 68225 |  | 1373689 |  | 468000 | 54674.27 | 523362.81 | 73303.16 | 241144 | 73864 | 976173 |  | 88438 |  | 331 | 1353843 |  | 46598 | 65134 | 14444 | 97122 |  | 5774 | 263679 | [5 empty] | 7369758.855
16 | 8336140 |  |  | 64 | 10082.9 | 68225 |  | 1382336 |  | 468000 | 55084.36 | 525158.18 | 73570.55 | 241502 | 74032 | 976360 |  | 88589 |  | 334 | 1354020 |  | 46620 | 65231 | 14465 | 97122 |  | 5799 | 263679 | [5 empty] | 7369758.855
17 | 8339050 |  |  | 64 | 10101.7 | 68225 |  | 1389840 |  | 468000 | 55783.27 | 527398.69 | 73789.23 | 241638 | 74229 | 976516 |  | 88754 |  | 335 | 1354217 |  | 46666 | 65301 | 14484 | 97122 |  | 5826 | 263705 | [5 empty] | 7369758.855
18 | 8341880 |  |  | 64 | 10121.1 | 68225 |  | 1396857 |  | 468000 | 56601.65 | 528475.19 | 73830.69 | 241712 | 74491 | 976708 |  | 88918 |  | 337 | 1354492 |  | 46713 | 65325 | 14503 | 97122 |  | 5835 | 263735 | [5 empty] | 7369758.855
19 | 8342720 |  |  | 64 | 10126.9 | 68225 |  | 1400361 |  | 468000 | 56601.65 | 528475.19 | 73830.69 | 241742 | 74598 | 976779 |  | 88958 |  | 337 | 1354604 |  | 46714 | 65353 | 14510 | 97122 |  | 5865 | 263735 | [5 empty] | 7369758.855
20 | 8344730 |  |  | 64 | 10141.2 | 68225 |  | 1405140 |  | 468000 | 56722.89 | 528773.06 | 73830.69 | 241784 | 74665 | 976828 |  | 89016 |  | 337 | 1354675 |  | 46740 | 65353 | 14522 | 97122 |  | 5865 | 263735 | [5 empty] | 7369758.855
21 | 8348050 |  |  | 64 | 10162.2 | 68225 |  | 1413511 |  | 468000 | 57781.85 | 531080.25 | 74072.29 | 241915 | 74822 | 977044 |  | 89113 |  | 341 | 1354844 |  | 46790 | 65444 | 14544 | 97122 |  | 5866 | 263742 | [5 empty] | 7369792.674
22 | 8352010 |  |  | 64 | 10185.9 | 68225 |  | 1424140 |  | 468000 | 58876.13 | 534230.41 | 74386.83 | 242204 | 74943 | 977355 |  | 89349 |  | 346 | 1354966 |  | 46856 | 65545 | 14568 | 97122 |  | 5889 | 263768 | [5 empty] | 7369792.674
23 | 8354990 |  |  | 64 | 10205 | 68225 |  | 1431153 |  | 468000 | 59583.15 | 535736.13 | 74474.74 | 242383 | 75158 | 977491 |  | 89491 |  | 348 | 1355191 |  | 46882 | 65601 | 14569 | 97122 |  | 5898 | 263820 | [5 empty] | 7369792.674
24 | 8358220 |  |  | 64 | 10225.4 | 68225 |  | 1439223 |  | 468000 | 60196.03 | 537772.78 | 74626.98 | 242532 | 75361 | 977650 |  | 89750 |  | 350 | 1355403 |  | 46919 | 65665 | 14609 | 97122 |  | 5917 | 263820 | [5 empty] | 7369792.674
25 | 8361060 |  |  | 64 | 10240.2 | 68225 |  | 1447171 |  | 468000 | 60400.51 | 538560.5 | 74689.24 | 242765 | 75565 | 977808 |  | 89870 |  | 353 | 1355657 |  | 46968 | 65712 | 14627 | 97122 |  | 5928 | 263820 | [5 empty] | 7369792.674
26 | 8361510 |  |  | 64 | 10248 | 68225 |  | 1449876 |  | 468000 | 60400.57 | 538560.5 | 74689.24 | 242892 | 75701 | 977890 |  | 89871 |  | 353 | 1355760 |  | 46968 | 65743 | 14630 | 97122 |  | 5928 | 263820 | [5 empty] | 7369792.674
27 | 8362450 |  |  | 64 | 10254.6 | 68225 |  | 1453068 |  | 468000 | 60408.68 | 538762.56 | 74689.24 | 242892 | 75701 | 977921 |  | 89875 |  | 353 | 1355760 |  | 46976 | 65743 | 14654 | 97122 |  | 5928 | 263820 | [5 empty] | 7369792.674
28 | 8365320 |  |  | 64 | 10274.4 | 68225 |  | 1460756 |  | 468000 | 60464.21 | 540327.1 | 74882.55 | 242965 | 75943 | 978145 |  | 89958 |  | 355 | 1356014 |  | 46997 | 65863 | 14655 | 97122 |  | 5953 | 263788 | [5 empty] | 7369792.674
29 | 8368970 |  |  | 64 | 10295.9 | 68225 |  | 1469707 |  | 468000 | 62261.08 | 543998.23 | 75247.07 | 243088 | 76161 | 978381 |  | 90114 |  | 356 | 1356243 |  | 47034 | 65988 | 14678 | 97122 |  | 5980 | 263788 | [5 empty] | 7369792.674
30 | 8372280 |  |  | 64 | 10317.1 | 68225 |  | 1478379 |  | 468000 | 62610.3 | 545894.31 | 75462.12 | 243423 | 76281 | 978618 |  | 90267 |  | 359 | 1356369 |  | 47089 | 66057 | 14703 | 97122 |  | 5996 | 263788 | [5 empty] | 7369792.674
31 | 8376200 |  |  | 64 | 10339.9 | 68225 |  | 1488087 |  | 468000 | 63220.32 | 548488.83 | 75728.38 | 243658 | 76393 | 978897 |  | 90437 |  | 365 | 1356486 |  | 47147 | 66168 | 14728 | 97122 |  | 6020 | 263788 | [5 empty] | 7369792.674
1 | 8379250 |  |  | 64 | 10357.7 | 68225 |  | 1496310 |  | 468000 | 63876.51 | 550471 | 75948.14 | 243905 | 76483 | 979132 |  | 90627 |  | 367 | 1356580 |  | 47169 | 66288 | 14750 | 97122 |  | 6043 | 263788 | [5 empty] | 7369792.674
Note on AD9: Alexander Dominguez-Ramon: Totalizer Failure
Note on AD33: Alexander Dominguez-Ramon: Meter is going backwards
Note on AD36: Alexander Dominguez-Ramon: METER FAULTY

## Utility Analysis July 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 6440 | 0 | 6440 | 1524 | 19.14% | 0 | 7964 | 4430 | 2840 | 2800 | 0 | 0 | 0 | 0 | 471.8652 | 16.8777 | 9.3883 | 6.0187 | 5.9339
2 | 8601 | 0 | 8601 | 1499 | 14.84% | 0 | 10100 | 4820 | 3450 | 2500 | 0 | 0 | 0 | 0 | 507.3684 | 19.9066 | 9.5 | 6.7998 | 4.9274
3 | 8712 | 0 | 8712 | 534.4 | 5.78% | 0 | 9246.4 | 1500 | 2990 | 3100 | 0 | 0 | 0 | 0 | 492.096 | 18.7898 | 3.0482 | 6.0761 | 6.2996
4 | 3652 | 0 | 3652 | 1458 | 28.53% | 0 | 5110 | 2050 | 940 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 5363 | 0 | 5363 | 1074.4 | 16.69% | 0 | 6437.4 | 420 | 1480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 7179 | 0 | 7179 | 1149.1 | 13.8% | 0 | 8328.1 | 3130 | 2410 | 1600 | 0 | 0 | 0 | 0 | 410.784 | 20.2737 | 7.6196 | 5.8668 | 3.895
7 | 8166 | 0 | 8166 | 1453.3 | 15.11% | 0 | 9619.3 | 3910 | 2810 | 1600 | 0 | 0 | 0 | 0 | 209.88 | 45.8324 | 18.6297 | 13.3886 | 7.6234
8 | 10084 | 0 | 10084 | 1338.1 | 11.72% | 0 | 11422.1 | 1180 | 3510 | 3200 | 0 | 0 | 0 | 0 | 376.728 | 30.3192 | 3.1322 | 9.3171 | 8.4942
9 | 6592 | 0 | 6592 | 1304 | 16.51% | 0 | 7896 | 4080 | 2510 | 1600 | 0 | 0 | 0 | 0 | 322.806 | 24.4605 | 12.6392 | 7.7756 | 4.9565
10 | 7603 | 0 | 7603 | 1399.9 | 15.55% | 0 | 9002.9 | 4130 | 2950 | 1900 | 0 | 0 | 0 | 0 | 349.932 | 25.7276 | 11.8023 | 8.4302 | 5.4296
11 | 3837 | 0 | 3837 | 511.9 | 11.77% | 0 | 4348.9 | 970 | 2000 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 4845 | 0 | 4845 | 335.7 | 6.48% | 0 | 5180.7 | 4650 | 2480 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 8262 | 0 | 8262 | 740.4 | 8.224% | 0 | 9002.4 | 2800 | 2280 | 1800 | 0 | 0 | 0 | 0 | 407.22 | 22.107 | 6.8759 | 5.5989 | 4.4202
14 | 8508 | 0 | 8508 | 1492 | 14.92% | 0 | 10000 | 3360 | 3620 | 2800 | 0 | 0 | 0 | 0 | 603.57 | 16.5681 | 5.5669 | 5.9976 | 4.6391
15 | 8647 | 0 | 8647 | 1417.2 | 14.08% | 0 | 10064.2 | 5260 | 2990 | 1900 | 0 | 0 | 0 | 0 | 387.684 | 25.9598 | 13.5678 | 7.7125 | 4.9009
16 | 7504 | 0 | 7504 | 1433.1 | 16.04% | 0 | 8937.1 | 3330 | 2910 | 2300 | 0 | 0 | 0 | 0 | 425.106 | 21.0232 | 7.8333 | 6.8454 | 5.4104
17 | 7017 | 0 | 7017 | 1416.5 | 16.8% | 0 | 8433.5 | 3360 | 2830 | 1800 | 0 | 0 | 0 | 0 | 71.94 | 117.2296 | 46.7056 | 39.3383 | 25.0209
18 | 3504 | 0 | 3504 | 1383 | 28.3% | 0 | 4887 | 1370 | 840 | -900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 4779 | 0 | 4779 | 912 | 16.03% | 0 | 5691 | 1090 | 2010 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 8371 | 0 | 8371 | 1231.4 | 12.82% | 0 | 9602.4 | 2880 | 3320 | 2200 | 0 | 0 | 0 | 0 | 406.89 | 23.5995 | 7.0781 | 8.1595 | 5.4069
21 | 10629 | 0 | 10629 | 1420.4 | 11.79% | 0 | 12049.4 | 4100 | 3960 | 2900 | 0 | 0 | 0 | 0 | 500.148 | 24.0917 | 8.1976 | 7.9177 | 5.7983
22 | 7013 | 0 | 7013 | 1441.2 | 17.05% | 0 | 8454.2 | 3940 | 2980 | 1700 | 0 | 0 | 0 | 0 | 202.554 | 41.738 | 19.4516 | 14.7121 | 8.3928
23 | 8070 | 0 | 8070 | 1365.8 | 14.47% | 0 | 9435.8 | 3520 | 3230 | 2400 | 0 | 0 | 0 | 0 | 258.786 | 36.4618 | 13.602 | 12.4814 | 9.2741
24 | 7948 | 0 | 7948 | 1458.2 | 15.5% | 0 | 9406.2 | 4370 | 2840 | 2000 | 0 | 0 | 0 | 0 | 91.872 | 102.3838 | 47.5662 | 30.9126 | 21.7694
25 | 2705 | 0 | 2705 | 1418.4 | 34.4% | 0 | 4123.4 | 2630 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 3192 | 0 | 3192 | 1582.6 | 33.15% | 0 | 4774.6 | 0 | 940 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 7688 | 0 | 7688 | 1394.9 | 15.36% | 0 | 9082.9 | 3150 | 2870 | 1600 | 0 | 0 | 0 | 0 | 365.97 | 24.8187 | 8.6073 | 7.8422 | 4.3719
28 | 8951 | 0 | 8951 | 1091.4 | 10.87% | 0 | 10042.4 | 3410 | 3650 | 3500 | 0 | 0 | 0 | 0 | 642.048 | 15.6412 | 5.3111 | 5.6849 | 5.4513
29 | 8672 | 0 | 8672 | 1593.7 | 15.52% | 0 | 10265.7 | 4550 | 3310 | 2000 | 0 | 0 | 0 | 0 | 387.6372 | 26.4828 | 11.7378 | 8.5389 | 5.1595
30 | 9708 | 0 | 9708 | 1507.1 | 13.44% | 0 | 11215.1 | 3470 | 3920 | 2500 | 0 | 0 | 0 | 0 | 606.8688 | 18.4803 | 5.7179 | 6.4594 | 4.1195
31 | 8223 | 0 | 8223 | 1320.9 | 13.84% | 0 | 9543.9 | 3370 | 3050 | 1900 |  |  |  |  | 498.498 | 19.1453 | 6.7603 | 6.1184 | 3.8114
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 220465 | 39202 | 15.1% | 0 | 259667 | 95230 | 82370 | 53100 | 0 | 0 | 0 | 0 | 8998.2516 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 259667 | [11 empty] | 28.8575 | 10.5832 | 9.154 | 5.9011

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 81.965
4 | 9.577
5 | 435.436
6 | 0
7 | 29.026
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 33.819
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0
28 | 0
29 | 0
30 | 0
31 | 0
589.823

## Fuel
DAILY FUEL CONSUMPTION FOR JULY 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 2840 | 21.1 | 0 | 0 |  |  | 134.5972 | 0 | 0 | 2840 | 471.8652 | 6.0187
2 | 3450 | 21.4 | 0 | 0 |  |  | 161.215 | 0 | 0 | 3450 | 507.3684 | 6.7998
3 | 2990 | 19.9 | 0 | 0 |  |  | 150.2513 | 0 | 0 | 2990 | 492.096 | 6.0761
4 | 940 | 6.7 | 0 | 0 |  |  | 140.2985 | 0 | 0 | 940 | 0 | 0
5 | 1480 | 9 | 0 | 0 |  |  | 164.4444 | 0 | 0 | 1480 | 0 | 0
6 | 2410 | 15.4 | 0 | 0 |  |  | 156.4935 | 0 | 0 | 2410 | 410.784 | 5.8668
7 | 2810 | 19.2 | 0 | 0 |  |  | 146.3542 | 0 | 0 | 2810 | 209.88 | 13.3886
8 | 3510 | 20.2 | 0 | 0 |  |  | 173.7624 | 0 | 0 | 3510 | 376.728 | 9.3171
9 | 2510 | 19.5 | 0 | 0 |  |  | 128.7179 | 0 | 0 | 2510 | 322.806 | 7.7756
10 | 2950 | 18.9 | 0 | 0 |  |  | 156.0847 | 0 | 0 | 2950 | 349.932 | 8.4302
11 | 2000 | 14.4 | 0 | 0 |  |  | 138.8889 | 0 | 0 | 2000 | 0 | 0
12 | 2480 | 19.48 | 0 | 0 |  |  | 127.3101 | 0 | 0 | 2480 | 0 | 0
13 | 2280 | 16.52 | 0 | 0 |  |  | 138.0145 | 0 | 0 | 2280 | 407.22 | 5.5989
14 | 3620 | 22.1 | 0 | 0 |  |  | 163.8009 | 0 | 0 | 3620 | 603.57 | 5.9976
15 | 2990 | 20.8 | 0 | 0 |  |  | 143.75 | 0 | 0 | 2990 | 387.684 | 7.7125
16 | 2910 | 18.8 | 0 | 0 |  |  | 154.7872 | 0 | 0 | 2910 | 425.106 | 6.8454
17 | 2830 | 19.4 | 0 | 0 |  |  | 145.8763 | 0 | 0 | 2830 | 71.94 | 39.3383
18 | 840 | 5.8 | 0 | 0 |  |  | 144.8276 | 0 | 0 | 840 | 0 | 0
19 | 2010 | 14.3 | 0 | 0 |  |  | 140.5594 | 0 | 0 | 2010 | 0 | 0
20 | 3320 | 21 | 0 | 0 |  |  | 158.0952 | 0 | 0 | 3320 | 406.89 | 8.1595
21 | 3960 | 23.7 | 0 | 0 |  |  | 167.0886 | 0 | 0 | 3960 | 500.148 | 7.9177
22 | 2980 | 19.1 | 0 | 0 |  |  | 156.0209 | 0 | 0 | 2980 | 202.554 | 14.7121
23 | 3230 | 20.4 | 0 | 0 |  |  | 158.3333 | 0 | 0 | 3230 | 258.786 | 12.4814
24 | 2840 | 14.8 | 0 | 0 |  |  | 191.8919 | 0 | 0 | 2840 | 91.872 | 30.9126
25 | 450 | 7.8 | 0 | 0 |  |  | 57.6923 | 0 | 0 | 450 | 0 | 0
26 | 940 | 6.6 | 0 | 0 |  |  | 142.4242 | 0 | 0 | 940 | 0 | 0
27 | 2870 | 19.8 | 0 | 0 |  |  | 144.9495 | 0 | 0 | 2870 | 365.97 | 7.8422
28 | 3650 | 21.5 | 0 | 0 |  |  | 169.7674 | 0 | 0 | 3650 | 642.048 | 5.6849
29 | 3310 | 21.2 |  | 0 |  |  | 156.1321 | 0 | 0 | 3310 | 387.6372 | 8.5389
30 | 3920 | 22.8 |  | 0 |  |  | 171.9298 | 0 | 0 | 3920 | 606.8688 | 6.4594
31 | 3050 | 17.8 |  | 0 |  |  | 171.3483 | 0 | 0 | 3050 | 498.498
| 82370 | 539.4 | 0 | 0 | 0 | 0 | 4655.7076 |  |  |  |  | 0 | 7.2 | 0
AVE. | 2657.0968 | 17.4 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 266 | 177 | 188 | 255 | 218 | 0 | 154 | 0 | 0 | 3 | 42 | 64 | 19 | 15 | 0 | 2550 | 109 | 19 | 0 | 0 | 0 | 0 | 443 | 471.8652 | 9.3883
| 2 | 0 | 269 | 213 | 220 | 262 | 247 | 0 | 220 | 0 | 0 | 7 | 50 | 83 | 30 | 18 | 0 | 2620 | 140 | 30 | 0 | 0 | 0 | 0 | 482 | 507.3684 | 9.5
| 3 | 0 | 7 | 143 | 149 | 1 | 186 | 0 | 140 | 0 | 0 | 2 | 19 | 86 | 23 | 17 | 0 | 10 | 107 | 23 | 0 | 0 | 0 | 0 | 150 | 492.096 | 3.0482
| 4 | 0 | 21 | 184 | 194 | 11 | 81 | 0 | 64 | 0 | 0 | 36 | 0 | 5 | 0 | 6 | 0 | 110 | 41 | 0 | 0 | 0 | 0 | 0 | 205 | 0 | 0
| 5 | 0 | 1 | 41 | 42 | 0 | 89 | 0 | 7 | 0 | 0 | 3 | 1 | 34 | 1 | 14 | 0 | 0 | 38 | 1 | 0 | 0 | 0 | 0 | 42 | 0 | 0
| 6 | 0 | 125 | 188 | 197 | 116 | 226 | 0 | 105 | 0 | 0 | 6 | 65 | 76 | 29 | 27 | 0 | 1160 | 147 | 29 | 3 | 0 | 0 | 0 | 313 | 410.784 | 7.6196
| 7 | 0 | 267 | 124 | 130 | 261 | 145 | 0 | 136 | 0 | 0 | 7 | 16 | 49 | 16 | 29 | 0 | 2610 | 72 | 16 | 55 | 0 | 0 | 0 | 391 | 209.88 | 18.6297
| 8 | 0 | 1 | 117 | 123 | -5 | 224 | 0 | 194 | 0 | 0 | 5 | 35 | 81 | 32 | 32 | 0 | -50 | 121 | 32 | 60 | 0 | 0 | 0 | 118 | 376.728 | 3.1322
| 9 | 0 | 213 | 195 | 204 | 204 | 212 | 0 | 65 | 0 | 0 | 0 | 52 | 73 | 21 | 28 | 0 | 2040 | 125 | 21 | 3 | 0 | 0 | 0 | 408 | 322.806 | 12.6392
| 10 | 0 | 234 | 179 | 188 | 225 | 187 | 0 | 164 | 0 | 0 | 2 | 30 | 70 | 23 | 33 | 0 | 2250 | 102 | 23 | 0 | 0 | 0 | 0 | 413 | 349.932 | 11.8023
| 11 | 0 | 0 | 97 | 100 | -3 | 100 | 0 | 96 | 0 | 0 | 0 | 0 | 41 | 5 | 13 | 0 | -30 | 41 | 5 | 0 | 0 | 0 | 0 | 97 | 0 | 0
| 12 | 0 | 249 | 216 | 226 | 239 | 432 | 0 | 59 | 0 | 0 | 0 | 10 | 0 | 0 | 15 | 0 | 2390 | 10 | 0 | 0 | 0 | 0 | 0 | 465 | 0 | 0
| 13 | 0 | 200 | 80 | 84 | 196 | 75 | 0 | 35 | 0 | 0 | 5 | 50 | 88 | 26 | 17 | 0 | 1960 | 143 | 26 | 0 | 0 | 0 | 0 | 280 | 407.22 | 6.8759
| 14 | 0 | 197 | 139 | 137 | 199 | 471 | 0 | 206 | 0 | 0 | 3 | 23 | 119 | 31 | 24 | 0 | 1990 | 145 | 31 | 3 | 0 | 0 | 0 | 336 | 603.57 | 5.5669
| 15 | 0 | 358 | 168 | 177 | 349 | 187 | 0 | 151 | 0 | 0 | 3 | 22 | 97 | 25 | 21 | 0 | 3490 | 122 | 25 | 0 | 0 | 0 | 0 | 526 | 387.684 | 13.5678
| 16 | 0 | 136 | 197 | 197 | 136 | 156 | 0 | 165 | 0 | 0 | 1 | 46 | 70 | 27 | 19 | 0 | 1360 | 117 | 27 | 26 | 0 | 0 | 0 | 333 | 425.106 | 7.8333
| 17 | 0 | 74 | 262 | 275 | 61 | 192 | 0 | 164 | 0 | 0 | 2 | 47 | 24 | 9 | 19 | 0 | 610 | 73 | 9 | 30 | 0 | 0 | 0 | 336 | 71.94 | 46.7056
| 18 | 0 | 30 | 107 | 112 | 25 | 71 | 0 | 40 | 0 | 0 | 0 | 1 | 28 | 30 | 7 | 0 | 250 | 29 | 30 | 0 | 0 | 0 | 0 | 137 | 0 | 0
| 19 | 0 | 42 | 67 | 71 | 38 | 49 | 0 | 58 | 0 | 0 | 0 | 26 | 0 | 0 | 12 | 0 | 380 | 26 | 0 | 0 | 0 | 0 | 0 | 109 | 0 | 0
| 20 | 0 | 131 | 157 | 169 | 119 | 216 | 0 | 97 | 0 | 0 | 4 | 50 | 91 | 1 | 22 | 0 | 1190 | 145 | 1 | 7 | 0 | 0 | 0 | 288 | 406.89 | 7.0781
| 21 | 0 | 289 | 121 | 122 | 288 | 311 | 0 | 236 | 0 | 0 | 5 | 66 | 101 | 23 | 24 | 0 | 2880 | 172 | 23 | 26 | 0 | 0 | 0 | 410 | 500.148 | 8.1976
| 22 | 0 | 179 | 215 | 225 | 169 | 136 | 0 | 142 | 0 | 0 | 2 | 26 | 56 | 9 | 1 | 0 | 1690 | 84 | 9 | 52 | 0 | 0 | 0 | 394 | 202.554 | 19.4516
| 23 | 0 | 149 | 203 | 212 | 140 | 159 | 0 | 259 | 0 | 0 | 2 | 37 | 64 | 19 | 40 | 0 | 1400 | 103 | 19 | 0 | 0 | 0 | 0 | 352 | 258.786 | 13.602
| 24 | 0 | 233 | 204 | 254 | 183 | 158 | 0 | 120 | 0 | 0 | 3 | 49 | 47 | 11 | 18 | 0 | 1830 | 99 | 11 | 0 | 0 | 0 | 0 | 437 | 91.872 | 47.5662
| 25 | 0 | 127 | 136 | 103 | 160 | 82 | 0 | 1 | 0 | 0 | 0 | 0 | 31 | 0 | 3 | 0 | 1600 | 31 | 0 | 0 | 0 | 0 | 0 | 263 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 4 | 0 | 0 | 0 | 8 | 0 | 0 | 24 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 73 | 242 | 254 | 61 | 224 | 0 | 83 | 0 | 0 | 2 | 21 | 120 | 25 | 1 | 0 | 610 | 143 | 25 | 0 | 0 | 0 | 0 | 315 | 365.97 | 8.6073
| 28 | 0 | 123 | 218 | 229 | 112 | 236 | 0 | 156 | 0 | 0 | 1 | 37 | 125 | 27 | 23 | 0 | 1120 | 163 | 27 | 0 | 0 | 0 | 0 | 341 | 642.048 | 5.3111
| 29 | 0 | 335 | 120 | 126 | 329 | 237 | 0 | 153 | 0 | 0 | 3 | 55 | 69 | 16 | 25 | 0 | 3290 | 127 | 16 | 0 | 0 | 0 | 0 | 455 | 387.6372 | 11.7378
| 30 | 0 | 235 | 112 | 117 | 230 | 279 | 0 | 170 | 0 | 0 | 6 | 58 | 111 | 24 | 25 | 0 | 2300 | 175 | 24 | 0 | 0 | 0 | 0 | 347 | 606.8688 | 5.7179
| 31 | 0 | 247 | 90 | 94 | 243 |  |  | 190 | 0 | 0 | 2 | 22 | 120 | 23 | 22 | 0 | 2430 |  | 23 | 0 | 0 | 0 | 0 | 337 | 498.498
MTD | total | 0 | 4811 | 4712 | 4919 | 4604 | 5617 |  | 3834 |  | 0 | 115 | 964 | 2023 | 525 | 594 | 0 | 46040 | 2958 | 525 | 265 |  |  |  | 9523 | 8998.2516 | 10.5832 | 10.2 | 103.7565
| Gals. |  | 1058420
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 16733.6202
| Add basic charge |  | 278.97
17012.5902
| Proxy sewage charge (2/3) |  | 11341.7268
| Proxy MTD NAWASA cost |  | 28354.317
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.July 2026
DAILY ELECTRICITY CONSUMPTION FOR JULY 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 6440 | 0 | 1524 | 7964 | 471.8652 | 16.8777
2 | 8601 | 0 | 1499 | 10100 | 507.3684 | 19.9066
3 | 8712 | 0 | 534.4 | 9246.4 | 492.096 | 18.7898
4 | 3652 | 0 | 1458 | 5110 | 0 | 0
5 | 5363 | 0 | 1074.4 | 6437.4 | 0 | 0
6 | 7179 | 0 | 1149.1 | 8328.1 | 410.784 | 20.2737
7 | 8166 | 0 | 1453.3 | 9619.3 | 209.88 | 45.8324
8 | 10084 | 0 | 1338.1 | 11422.1 | 376.728 | 30.3192
9 | 6592 | 0 | 1304 | 7896 | 322.806 | 24.4605
10 | 7603 | 0 | 1399.9 | 9002.9 | 349.932 | 25.7276
11 | 3837 | 0 | 511.9 | 4348.9 | 0 | 0
12 | 4845 | 0 | 335.7 | 5180.7 | 0 | 0
13 | 8262 | 0 | 740.4 | 9002.4 | 407.22 | 22.107
14 | 8508 | 0 | 1492 | 10000 | 603.57 | 16.5681
15 | 8647 | 0 | 1417.2 | 10064.2 | 387.684 | 25.9598
16 | 7504 | 0 | 1433.1 | 8937.1 | 425.106 | 21.0232
17 | 7017 | 0 | 1416.5 | 8433.5 | 71.94 | 117.2296
18 | 3504 | 0 | 1383 | 4887 | 0 | 0
19 | 4779 | 0 | 912 | 5691 | 0 | 0
20 | 8371 | 0 | 1231.4 | 9602.4 | 406.89 | 23.5995
21 | 10629 | 0 | 1420.4 | 12049.4 | 500.148 | 24.0917
22 | 7013 | 0 | 1441.2 | 8454.2 | 202.554 | 41.738
23 | 8070 | 0 | 1365.8 | 9435.8 | 258.786 | 36.4618
24 | 7948 | 0 | 1458.2 | 9406.2 | 91.872 | 102.3838
25 | 2705 | 0 | 1418.4 | 4123.4 | 0 | 0
26 | 3192 | 0 | 1582.6 | 4774.6 | 0 | 0
27 | 7688 | 0 | 1394.9 | 9082.9 | 365.97 | 24.8187
28 | 8951 | 0 | 1091.4 | 10042.4 | 642.048 | 15.6412
29 | 8672 | 0 | 1593.7 | 10265.7 | 387.6372 | 26.4828
30 | 9708 | 0 | 1507.1 | 11215.1 | 606.8688 | 18.4803
31 | 8223 | 0 | 1320.9 | 8223 |  |  |  | %
MTD | 220465 | 0 | 39202 | 258346.1 | 8499.7536 | 30.3945 | 22 | 138.157
TARGET

## PROD.FIG.
PRODUCTION FOR JULY 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Monday | 1 | [5 empty] | 471.8652
Tuesday | 2 | [5 empty] | 507.3684
Wednesday | 3 | [5 empty] | 492.096
Thursday | 4 | [5 empty] | 0
Friday | 5 | [5 empty] | 0
Saturday | 6 | [5 empty] | 410.784
Sunday | 7 | [5 empty] | 209.88
Monday | 8 | [5 empty] | 376.728
Tuesday | 9 | [5 empty] | 322.806
Wednesday | 10 | [5 empty] | 349.932
Thursday | 11 | [5 empty] | 0
Friday | 12 | [5 empty] | 0
Saturday | 13 | [5 empty] | 407.22
Sunday | 14 | [5 empty] | 603.57
Monday | 15 | [5 empty] | 387.684
Tuesday | 16 | [5 empty] | 425.106
Wednesday | 17 | [5 empty] | 71.94
Thursday | 18 | [5 empty] | 0
Friday | 19 | [5 empty] | 0
Saturday | 20 | [5 empty] | 406.89
Sunday | 21 | [5 empty] | 500.148
Monday | 22 | [5 empty] | 202.554
Tuesday | 23 | [5 empty] | 258.786
Wednesday | 24 | [5 empty] | 91.872
Thursday | 25 | [5 empty] | 0
Friday | 26 | [5 empty] | 0
Saturday | 27 | [5 empty] | 365.97
Sunday | 28 | [5 empty] | 642.048
Monday | 29 | [5 empty] | 387.6372
Tuesday | 30 | [5 empty] | 606.8688
| 31 | [5 empty] | 498.498
[6 empty] | TOTAL | 8998.2516
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for JULY 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 293.59 | 983.71 | 2727.09 | 2800 | 471.8652 | 5.9339 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 446.59 | 561.03 | 2440.99 | 2500 | 507.3684 | 4.9274 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 210.05 | 511.3 | 1912.92 | 3100 | 492.096 | 6.2996 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 16.3 | 42.35 | 108 | 0 | 0 | 0 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 211.7 | 906.4 | 1829.43 | 1600 | 410.784 | 3.895 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 117.67 | 641.1 | 1376.69 | 1600 | 209.88 | 7.6234 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 280.24 | 1021.97 | 3199.69 | 3200 | 376.728 | 8.4942 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 157.81 | 396.96 | 1600.72 | 1600 | 322.806 | 4.9565 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 201.16 | 729.04 | 1828.68 | 1900 | 349.932 | 5.4296 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 142.08 | 300 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 500 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 213.01 | 206.33 | 1466.74 | 1800 | 407.22 | 4.4202 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 309.86 | 431.9 | 2219.4 | 2800 | 603.57 | 4.6391 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 267.39 | 410.09 | 1795.37 | 1900 | 387.684 | 4.9009 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 218.68 | 698.91 | 2240.51 | 2300 | 425.106 | 5.4104 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 41.46 | 818.38 | 1076.5 | 1800 | 71.94 | 25.0209 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | -900 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 121.24 | 297.87 | 800 | 0 | 0 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 241.6 | 1058.96 | 2307.19 | 2200 | 406.89 | 5.4069 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 314.54 | 1094.28 | 3150.16 | 2900 | 500.148 | 5.7983 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 87.91 | 707.02 | 1505.72 | 1700 | 202.554 | 8.3928 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 152.24 | 612.88 | 2036.65 | 2400 | 258.786 | 9.2741 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 62.26 | 204.48 | 787.72 | 2000 | 91.872 | 21.7694 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 8.11 | 202.06 | 800 | 0 | 0 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 193.31 | 55.53 | 1564.54 | 1600 | 365.97 | 4.3719 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 364.52 | 1796.87 | 3671.13 | 3500 | 642.048 | 5.4513 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 215.05 | 349.22 | 1896.08 | 2000 | 387.6372 | 5.1595 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 266.26 | 610.02 | 2594.52 | 2500 | 606.8688 | 4.1195 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 219.76 | 656.19 | 1982.17 | 1900 | 498.498 | 3.8114 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 5102.96 | 15634.27 | 47960.62 | 53100 | 8998.2516 | 5.9011 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-07-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 7414 | 7456 | 0 | 0 | 6224 | 3180 | 5708 | 4891 | 5302 | 0 | 0 | 6170 | 9145 | 5874 | 6441 | 1090 | 0 | 0 | 6165 | 7578 | 3069 | 3921 | 1392 | 0 | 0 | 5545 | 9728 |  |  | 5577 | 111870 | 96325 | 15545
HL produced | 471.8652 | 507.3684 | 492.096 | 0 | 0 | 410.784 | 209.88 | 376.728 | 322.806 | 349.932 | 0 | 0 | 407.22 | 603.57 | 387.684 | 425.106 | 71.94 | 0 | 0 | 406.89 | 500.148 | 202.554 | 258.786 | 91.872 | 0 | 0 | 365.97 | 642.048 |  |  | 387.6372 | 7892.8848
Product Type | CB/VM | VM/CB | CB/ST | 0 | 0 | ST | CB/ShL/ShG | ShG/ShS | ShG/ShS | MK/GN | 0 | 0 | GN/ST | ST | CB/ST | ST/CB | CB | 0 | 0 | SM | CB/Ting Pk | Ting Pk | Martini/Royale | Royale |  | 0 | CB | CB/CB ex |  |  | CB/VM
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 266 | 269 | 7 | 21 | 1 | 125 | 267 | 1 | 213 | 234 | 0 | 249 | 200 | 197 | 358 | 136 | 74 | 30 | 42 | 131 | 289 | 179 | 149 | 233 | 127 | 0 | 73 | 123 | 127 | 0 | 73 | 4194
Annanale Supply | 177 | 213 | 143 | 184 | 41 | 188 | 124 | 117 | 195 | 179 | 97 | 216 | 80 | 139 | 168 | 197 | 262 | 107 | 67 | 157 | 121 | 215 | 203 | 204 | 136 | 0 | 242 | 218 | 136 | 0 | 242 | 4768
Total Water Supply | 443 | 482 | 150 | 205 | 42 | 313 | 391 | 118 | 408 | 413 | 97 | 465 | 280 | 336 | 526 | 333 | 336 | 137 | 109 | 288 | 410 | 394 | 352 | 437 | 263 | 0 | 315 | 341 | 263 | 0 | 315 | 8962
0
Theoretical permeate | 137.24 | 160.6 | 108.77 | 141.62 | 30.66 | 143.81 | 94.9 | 89.79 | 148.92 | 137.24 | 73 | 164.98 | 61.32 | 61.32 | 61.32 | 61.32 | 61.32 | 61.32 | 51.83 | 123.37 | 89.06 | 164.25 | 154.76 | 185.42 | 75.19 | 75.19 | 75.19 | 75.19 | 75.19 | 75.19 | 91.98 | 3111.26 | 9053 |  | 11.4698
15.33
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 218 | 247 | 186 | 81 | 89 | 226 | 145 | 224 | 212 | 187 | 100 | 432 | 75 | 471 | 187 | 156 | 192 | 71 | 49 | 216 | 311 | 136 | 159 | 158 | 82 | 31 | 224 | 236 | 0 | 0 | 0 | 5101
Water consumption | 218 | 247 | 186 | 81 | 89 | 226 | 145 | 224 | 212 | 187 | 100 | 432 | 75 | 471 | 187 | 156 | 192 | 71 | 49 | 216 | 311 | 136 | 159 | 158 | 82 | 31 | 224 | 236 | 0 | 0 | 0 | 5101
| 4.62 | 4.8683 | 3.7798 |  |  | 5.5017 | 6.9087 | 5.9459 | 6.5674 | 5.3439 |  |  | 1.8418 | 7.8036 | 4.8235 | 3.6697 | 26.6889 |  |  | 5.3086 | 6.2182 | 6.7143 | 6.1441 | 17.1978 |  |  | 6.1207 | 3.6757 |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 154 | 220 | 140 | 64 | 7 | 105 | 136 | 194 | 65 | 164 | 96 | 59 | 35 | 206 | 151 | 165 | 164 | 40 | 58 | 97 | 236 | 142 | 259 | 120 | 1 | 4 | 83 | 156 | 1 | 4 | 83 | 3409
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.6073 | 8.6073
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 0 | 1 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 127
CIP Process | 42 | 50 | 19 | 0 | 1 | 65 | 16 | 35 | 52 | 30 | 0 | 10 | 50 | 50 | 50 | 46 | 46 | 46 | 26 | 50 | 66 | 26 | 37 | 49 | 0 | 8 | 21 | 37 | 0 | 8 | 21 | 957 |  |  | 15588.1818
Bottles Washer | 64 | 83 | 86 | 5 | 34 | 76 | 49 | 81 | 73 | 70 | 41 | 0 | 88 | 88 | 88 | 88 | 88 | 88 | 0 | 91 | 101 | 56 | 64 | 47 | 31 | 0 | 120 | 125 | 31 | 0 | 120 | 1976
Bottle Filler | 19 | 30 | 23 | 0 | 1 | 29 | 16 | 32 | 21 | 23 | 5 | 0 | 26 | 31 | 25 | 27 | 9 | 30 | 0 | 1 | 23 | 9 | 19 | 11 | 0 | 0 | 25 | 27 | 0 | 0 | 25 | 487
Pasteuriser | 3 | 7 | 2 | 36 | 3 | 6 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 3 | 3 | 1 | 2 | 0 | 0 | 4 | 5 | 2 | 2 | 3 | 0 | 0 | 2 | 1 | 0 | 0 | 2 | 106
Boiler Supply | 15 | 18 | 17 | 6 | 14 | 27 | 29 | 32 | 28 | 33 | 13 | 15 | 17 | 17 | 21 | 19 | 19 | 7 | 12 | 22 | 24 | 1 | 40 | 18 | 3 | 24 | 1 | 23 | 3 | 24 | 1 | 543
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 166
Personnel Consumption
Total water consumption (M3) | 297 | 408 | 287 | 111 | 60 | 308 | 253 | 379 | 239 | 322 | 319 | 84 | 221 | 400 | 388 | 346 | 329 | 257 | 96 | 265 | 455 | 236 | 421 | 248 | 35 | 36 | 252 | 369 | 35 | 36 | 287.6073 | 7779.6073
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 2727.09 | 2440.99 | 1912.92 | 0 | 108 | #REF! | #REF! | 3199.69 | 1600.72 | 1828.68 | 142.08 | 0 | 1466.74 | 2219.4 | 1795.37 | 2240.51 | 1076.5 | 41.46 | 74 | 262 | 30 | 107 | 71 | 0 | 40 | 0 | 0 | 112 | 0 | 1 | 28 | #REF!
CO2 (kg.) (Filler) | 293.59 | 446.59 | 210.05 | 0 | 16.3 | 211.7 | 117.67 | 280.24 | 157.81 | 201.16 | 0 | 0 | 213.01 | 309.86 | 267.39 | 218.68 | 41.46 | 0 | 0 | 241.6 | 314.54 | 87.91 | 152.24 | 62.26 | 0 | 0 | 193.31 | 364.52 | 215.05 | 266.26 | 219.76 | 5102.96
Electricity (Kwh.) | 6440 | 8601 | 8712 | 3652 | 5363 | 7179 | 8166 | 10084 | 6592 | 7603 | 3837 | 4845 | 8262 | 8508 | 8647 | 7504 | 7017 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 159556
Fuel (L) | 2840 | 3450 | 2990 | 940 | 1480 | 2410 | 2810 | 3510 | 2510 | 2950 | 2000 | 2480 | 2280 | 3620 | 2990 | 2910 | 2830 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 840 | 56760
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | 9.3883 | 9.5 | 3.0482 |  |  | 7.6196 | 18.6297 | 3.1322 | 12.6392 | 11.8023 |  |  | 6.8759 | 5.5669 | 13.5678 | 7.8333 | 46.7056 |  |  | 7.0781 | 8.1976 | 19.4516 | 13.602 | 47.5662 |  |  | 8.6073 | 5.3111 |  |  | 8.1262 | 11.3545 | 10.2 | -1.1545
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | 3.2636 | 4.3361 | 2.845 |  |  | 2.5561 | 6.4799 | 5.1496 | 2.0136 | 4.6866 |  |  | 0.85949 | 3.413 | 3.8949 | 3.8814 | 22.7968 |  |  | 2.3839 | 4.7186 | 7.0105 | 10.0083 | 13.0617 |  |  | 2.2679 | 2.4297 |  |  | 2.1412 | 4.3191 | 2.5 | -1.8191
Brewhouse (Hls brewed) | 4.4911 | 6.2696 | 3.937 |  |  | 5.2187 | 3.8669 | 4.2892 |  | 8.0511 | 3.2 | 5.9656 | 6.9721 | 4.5931 | 4.225 | 4.1168 |  |  |  | 3.1939 | 5.1834 | 3.1347 | 5.1935 | 4.2343 |  |  | 8.8675 | 4.0279 | 0.022109 | 0.080678 | 1.8351 | 4.3764 | 2.5 | -1.8764
Spent Grains/Wash-down Areas | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0.22204 | 0.010905 | 0.1 | 0.089095
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Sun: 0; Mon: 0; Tue: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Fri: 0; Sat: 0 | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0.08284 | 1.2897 | 0 | 0.139 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0.64493 | 0.1609 | 1 | 0.8391
CIP Process | 0.89008 | 0.98548 | 0.3861 |  |  | 1.5823 | 0.76234 | 0.92905 | 1.6109 | 0.85731 |  |  | 1.2278 | 0.8284 | 1.2897 | 1.0821 | 6.3942 |  |  | 1.2288 | 1.3196 | 1.2836 | 1.4298 | 5.3335 |  |  | 0.57382 | 0.57628 |  |  | 0.54174 | 1.2125 | 0.7 | -0.51248
Bottles Washer | 1.3563 | 1.6359 | 1.7476 |  |  | 1.8501 | 2.3347 | 2.1501 | 2.2614 | 2.0004 |  |  | 2.161 | 1.458 | 2.2699 | 2.0701 | 12.2324 |  |  | 2.2365 | 2.0194 | 2.7647 | 2.4731 | 5.1158 |  |  | 3.279 | 1.9469 |  |  | 3.0957 | 2.5035 | 2.6 | 0.096479
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | 0.40266 | 0.59129 | 0.46739 |  |  | 0.70597 | 0.76234 | 0.84942 | 0.65055 | 0.65727 |  |  | 0.63848 | 0.51361 | 0.64486 | 0.63514 | 1.251 |  |  | 0.024577 | 0.45986 | 0.44433 | 0.7342 | 1.1973 |  |  | 0.68312 | 0.42053 |  |  | 0.64493 | 0.61701 | 0.7 | 0.082989
Pasteuriser | 0.063577 | 0.13797 | 0.040642 |  |  | 0.14606 | 0.33352 | 0.13272 | 0 | 0.057154 |  |  | 0.12278 | 0.049704 | 0.077383 | 0.023524 | 0.27801 |  |  | 0.098307 | 0.09997 | 0.098739 | 0.077284 | 0.32654 |  |  | 0.054649 | 0.015575 |  |  | 0.051595 | 0.1343 | 0.1 | -0.034298
Boiler Supply | 0.31789 | 0.35477 | 0.34546 |  |  | 0.65728 | 1.3817 | 0.84942 | 0.86739 | 0.94304 |  |  | 0.41746 | 0.28166 | 0.54168 | 0.44695 | 2.6411 |  |  | 0.54069 | 0.47986 | 0.04937 | 1.5457 | 1.9592 |  |  | 0.027325 | 0.35823 |  |  | 0.025797 | 0.68796 | 0.6 | -0.087961
Backwash Supply | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 10.7853 | 14.3111 | 9.7692 | 0 | 0 | 12.7165 | 15.9214 | 14.3495 | 7.4038 | 17.2528 | 3.2 | 5.9656 | 12.3992 | 11.2203 | 14.2331 | 12.2559 | 45.7326 | 0 | 0 | 9.7068 | 14.2807 | 14.7859 | 21.4618 | 31.2284 | 0 | 0 | 15.7533 | 9.7751 | 0.022109 | 0.080678 | 9.203 | 14.0226 | 15.6 | 1.5774
Bottling Hall water | 1.8226 | 2.3651 | 2.2557 | 0 | 0 | 2.7022 | 3.4305 | 3.1322 | 2.912 | 2.7148 | 0 | 0 | 2.9223 | 2.0213 | 2.9921 | 2.7287 | 13.7615 | 0 | 0 | 2.3594 | 2.5792 | 3.3078 | 3.2846 | 6.6397 | 0 | 0 | 4.0167 | 2.383 | 0 | 0 | 3.7922 | 3.2548 | 6 | 2.7452
CO2 (kg./Hl.) KPI | 5.7794 | 4.8111 | 3.8873 |  |  | #REF! | #REF! | 8.4934 | 4.9588 | 5.2258 |  |  | 3.6018 | 3.6771 | 4.631 | 5.2705 | 14.9639 |  |  | 0.64391 | 0.059982 | 0.52825 | 0.27436 | 0 |  |  | 0 | 0.17444 |  |  | 0.072232 | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI | 0.62219 | 0.88021 | 0.42685 |  |  | 0.51536 | 0.56065 | 0.74388 | 0.48887 | 0.57485 |  |  | 0.52308 | 0.51338 | 0.68971 | 0.51441 | 0.57631 |  |  | 0.59377 | 0.62889 | 0.43401 | 0.58829 | 0.67768 |  |  | 0.52821 | 0.56775 |  |  | 0.56692 | 0.64653 | 1.7 | 1.0535
Electricity (Kwh./Hl.) KPI | 13.648 | 16.9522 | 17.7039 |  |  | 17.4763 | 38.9079 | 26.7673 | 20.4209 | 21.7271 |  |  | 20.2888 | 14.0961 | 22.3042 | 17.6521 | 97.5396 |  |  | 8.6117 | 7.0059 | 17.2991 | 13.5401 | 38.14 |  |  | 9.5746 | 5.4575 |  |  | 9.0394 | 20.2152 | 22 | 1.7848
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | 6.0187 | 6.7998 | 6.0761 |  |  | 5.8668 | 13.3886 | 9.3171 | 7.7756 | 8.4302 |  |  | 5.5989 | 5.9976 | 7.7125 | 6.8454 | 39.3383 |  |  | 2.0644 | 1.6795 | 4.147 | 3.2459 | 9.1432 |  |  | 2.2953 | 1.3083 |  |  | 2.167 | 7.1913 | 7.2 | 0.008713
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 983.71 | 561.03 | 511.3 | 0 | 42.35 | 906.4 | 460281.84 | 0 | 396.96 | 729.04 | 0 | 0 | 206.33 | 431.9 | 410.09 | 698.91 | 818.38 | 0 | 121.24 | 1058.96 | 1094.28 | 707.02 | 612.88 | 204.48 | 0 | 8.11 | 55.53 | 1796.87 | 349.22 | 610.02 | 656.19 | 474253.04
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Sun to Tue; Thu to Sat; Mon to Tue; Fri to Tue; Thu to Tue; Thu to Tue
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 342.9 | 350.9 | 355.6 | 0 | 0 | 201.2 | 351.7 | 452.3 | 0 | 203.7 | 300 | 98.9 | 50.2 | 448.5 | 357.4 | 400.8 | 0 | 0 | 0 | 303.7 | 455.3 | 453 | 498.7 | 283.4 | 0 | 0 | 93.6 | 387.3 | 452.3 | 495.8 | 452.3 | 7789.5
Product | #REF! | GU | GU/CB | 0 | 0 | ST | CB | CB | 0 | CB | ST | ST | ST | ST/CB | CB | CB/SM | 0 | 0 | 0 | GU/CB | CB | CB | CB/ ST | VM | 0 | 0 | VM | ST | CB | CB/ST | CB
No. of Brews | CB/MK | 7 | 7 | 0 | 0 | 4 | 7 | 9 | 0 | 4 | 6 | 2 | 1 | 9 | 7 | 8 | 0 | 0 | 0 | 6 | 9 | 9 | 10 | 6 | 0 | 0 | 2 | 8 | 9 | 10 | 9 | 149
Raw Water In - Nawasa | 188 | 220 | 149 | 194 | 42 | 197 | 130 | 123 | 204 | 188 | 100 | 226 | 84 | 84 | 84 | 84 | 84 | 84 | 71 | 169 | 122 | 225 | 212 | 254 | 103 | 103 | 103 | 103 | 103 | 103 | 126 | 4262
Into RO | [31 empty] | 0 | bar: Sun
| 6440 | 8601 | 8712 | 3652 | 5363 | 7179 | 8166 | 10084 | 6592 | 7603 | 3837 | 4845 | 8262 | 8508 | 8647 | 7504 | 7017 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 3504 | 159556
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-07-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  |  | Monthly Target
| Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday |  | Total |  | Diff.
Cases Produced | 7047 | 7414 | 7456 |  |  | 6224 | 3180 | 5708 | 4891 | 5302 |  |  | 6170 | 9145 | 5874 | 6441 | 1090 |  |  | 6165 | 7578 | 3069 | 3921 | 1392 |  |  | 5545 | 9728 | 5577 | 9108 | 7553 | 121 | 135699 | 126675 | 9024
HL produced | 471.8652 | 507.3684 | 492.096 |  |  | 410.784 | 209.88 | 376.728 | 322.806 | 349.932 | 0 | 0 | 407.22 | 603.57 | 387.684 | 425.106 | 71.94 | 0 | 0 | 406.89 | 500.148 | 202.554 | 258.786 | 91.872 | 0 | 0 | 365.97 | 642.048 | 387.6372 | 606.8688 | 498.498 | 7.986 | 9006.2376
Product Type | CB/VM | VM/CB | CB/ST |  |  | ST | ST/CB | CB/ShL/ShG | ShG/ShS | MK/GN |  |  | GN/ST | ST | CB/ST | ST/CB | CB |  |  | SM | CB/Ting Pk | Ting Pk | Martini/Royale | Royale |  |  | CB | CB/CB ex | CB/VM | VM/ST/CB | CB | kegs
Hls Brewed | 342.9 | 350.9 | 355.6 |  |  | 201.2 | 351.7 | 452.3 |  | 203.7 | 300 | 98.9 | 50.2 | 448.5 | 357.4 | 400.8 |  |  |  | 303.7 | 455.3 | 453 | 498.7 | 283.4 |  |  | 93.6 | 387.3 | 452.3 | 495.8 | 307.7 |  | 7644.9
Product | CB/MK | GU | GU/CB |  |  | CB | CB | CB |  | CB | ST | ST | ST | ST/CB | CB | CB/SM |  |  |  | GU/CB | CB | CB | CB/ ST | VM |  |  | VM | ST | CB | CB/ST | CB
No. of Brews | 7 | 7 | 7 |  |  | 4 | 7 | 9 |  | 4 | 6 | 2 | 1 | 9 | 7 | 8 |  |  |  | 6 | 9 | 9 | 10 | 6 |  |  | 2 | 8 | 9 | 10 | 6 |  | 153
Brewhouse (Hls brewed) | 4.3887 | 6.1867 |  |  |  | 5.2187 | 3.8669 | 4.2892 |  | 8.0511 | 3.2 | 5.9656 | 6.9721 | 4.5931 | 4.225 | 4.1168 |  |  |  | 3.1939 | 5.1834 | 3.1347 | 5.1935 | 4.2343 |  |  | 8.8675 | 4.0279 | 3.3827 | 3.4288 | 6.1748 |  | 5.0151
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 266 | 269 | 7 | 21 | 1 | 125 | 267 | 1 | 213 | 234 | 0 | 249 | 200 | 197 | 358 | 136 | 74 | 30 | 42 | 131 | 289 | 179 | 149 | 233 | 127 | 0 | 73 | 123 | 335 | 235 | 247 |  | 4811
Annanale Supply | 177 | 213 | 143 | 184 | 41 | 188 | 124 | 117 | 195 | 179 | 97 | 216 | 80 | 139 | 168 | 197 | 262 | 107 | 67 | 157 | 121 | 215 | 203 | 204 | 136 | 0 | 242 | 218 | 120 | 112 | 90 |  | 4712
Total Water Supply | 443 | 482 | 150 | 205 | 42 | 313 | 391 | 118 | 408 | 413 | 97 | 465 | 280 | 336 | 526 | 333 | 336 | 137 | 109 | 288 | 410 | 394 | 352 | 437 | 263 | 0 | 315 | 341 | 455 | 347 | 337 |  | 9523
0
Theoretical permeate | 137.24 | 160.6 | 108.77 | 141.62 | 30.66 | 143.81 | 94.9 | 89.79 | 148.92 | 137.24 | 73 | 164.98 | 61.32 | 100.01 | 129.21 | 143.81 | 200.75 | 81.76 | 51.83 | 123.37 | 89.06 | 164.25 | 154.76 | 185.42 | 75.19 | 0 | 185.42 | 167.17 | 91.98 | 85.41 | 68.62 |  | 3590.87 | 10045 |  | 11.1534
15.33
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 218 | 247 | 186 | 81 | 89 | 226 | 145 | 224 | 212 | 187 | 100 | 432 | 75 | 471 | 187 | 156 | 192 | 71 | 49 | 216 | 311 | 136 | 159 | 158 | 82 | 31 | 224 | 236 | 237 | 279 | 0 |  | 5617
Brewhouse | 154 | 220 | 140 | 64 | 7 | 105 | 136 | 194 | 65 | 164 | 96 | 59 | 35 | 206 | 151 | 165 | 164 | 40 | 58 | 97 | 236 | 142 | 259 | 120 | 1 | 4 | 83 | 156 | 153 | 170 | 190 |  | 3834
Boiler Supply | 15 | 18 | 17 | 6 | 14 | 27 | 29 | 32 | 28 | 33 | 13 | 15 | 17 | 24 | 21 | 19 | 19 | 7 | 12 | 22 | 24 | 1 | 40 | 18 | 3 | 24 | 1 | 23 | 25 | 25 | 22 |  | 594
Water consumption | 387 | 485 | 343 | 151 | 110 | 358 | 310 | 450 | 305 | 384 | 209 | 506 | 127 | 701 | 359 | 340 | 375 | 118 | 119 | 335 | 571 | 279 | 458 | 296 | 86 | 59 | 308 | 415 | 415 | 474 | 212 |  | 10045
Water Consumption detail
Brewhouse | 154 | 220 | 140 | 64 | 7 | 105 | 136 | 194 | 65 | 164 | 96 | 59 | 35 | 206 | 151 | 165 | 164 | 40 | 58 | 97 | 236 | 142 | 259 | 120 | 1 | 4 | 83 | 156 | 153 | 170 | 190 |  | 3834
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 42 | 50 | 19 | 0 | 1 | 65 | 16 | 35 | 52 | 30 | 0 | 10 | 50 | 23 | 22 | 46 | 47 | 1 | 26 | 50 | 66 | 26 | 37 | 49 | 0 | 8 | 21 | 37 | 55 | 58 | 22 |  | 964
Bottles Washer | 64 | 83 | 86 | 5 | 34 | 76 | 49 | 81 | 73 | 70 | 41 | 0 | 88 | 119 | 97 | 70 | 24 | 28 | 0 | 91 | 101 | 56 | 64 | 47 | 31 | 0 | 120 | 125 | 69 | 111 | 120 |  | 2023
Bottle Filler | 19 | 30 | 23 | 0 | 1 | 29 | 16 | 32 | 21 | 23 | 5 | 0 | 26 | 31 | 25 | 27 | 9 | 30 | 0 | 1 | 23 | 9 | 19 | 11 | 0 | 0 | 25 | 27 | 16 | 24 | 23 |  | 525
Pasteuriser | 3 | 7 | 2 | 36 | 3 | 6 | 7 | 5 | 0 | 2 | 0 | 0 | 5 | 3 | 3 | 1 | 2 | 0 | 0 | 4 | 5 | 2 | 2 | 3 | 0 | 0 | 2 | 1 | 3 | 6 | 2 |  | 115
Boiler Supply | 15 | 18 | 17 | 6 | 14 | 27 | 29 | 32 | 28 | 33 | 13 | 15 | 17 | 24 | 21 | 19 | 19 | 7 | 12 | 22 | 24 | 1 | 40 | 18 | 3 | 24 | 1 | 23 | 25 | 25 | 22 |  | 594
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 297 | 408 | 287 | 111 | 60 | 308 | 253 | 379 | 239 | 322 | 155 | 84 | 221 | 406 | 319 | 328 | 265 | 106 | 96 | 265 | 455 | 236 | 421 | 248 | 35 | 36 | 252 | 369 | 321 | 394 | 379 |  | 8055
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | 3.2636 | 4.3361 | 2.845 |  |  | 2.5561 | 6.4799 | 5.1496 | 2.0136 | 4.6866 |  |  | 0.85949 | 3.413 | 3.8949 | 3.8814 | 22.7968 |  |  | 2.3839 | 4.7186 | 7.0105 | 10.0083 | 13.0617 |  |  | 2.2679 | 2.4297 | 3.947 | 2.8013 | 3.8114 |  | 4.257 | 3.2 | -1.057
Spent Grains/Wash-down Areas | [32 empty] | 0 | 0.1 | 0.1
Whirlpool | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0.1 | 0.1
Cellars/Filtration | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0.7 | 0.7
Processing/Cellars | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 1 | 1
CIP Process | 0.89008 | 0.98548 | 0.3861 |  |  | 1.5823 | 0.76234 | 0.92905 | 1.6109 | 0.85731 |  |  | 1.2278 | 0.38107 | 0.56747 | 1.0821 | 6.5332 |  |  | 1.2288 | 1.3196 | 1.2836 | 1.4298 | 5.3335 |  |  | 0.57382 | 0.57628 | 1.4189 | 0.95573 | 0.44133 |  | 1.0704 | 0.7 | -0.37037
Bottles Washer | 1.3563 | 1.6359 | 1.7476 |  |  | 1.8501 | 2.3347 | 2.1501 | 2.2614 | 2.0004 |  |  | 2.161 | 1.9716 | 2.502 | 1.6466 | 3.3361 |  |  | 2.2365 | 2.0194 | 2.7647 | 2.4731 | 5.1158 |  |  | 3.279 | 1.9469 | 1.78 | 1.8291 | 2.4072 |  | 2.2462 | 2.1 | -0.14622
Bottle Filler | 0.40266 | 0.59129 | 0.46739 |  |  | 0.70597 | 0.76234 | 0.84942 | 0.65055 | 0.65727 |  |  | 0.63848 | 0.51361 | 0.64486 | 0.63514 | 1.251 |  |  | 0.024577 | 0.45986 | 0.44433 | 0.7342 | 1.1973 |  |  | 0.68312 | 0.42053 | 0.41276 | 0.39547 | 0.46139 |  | 0.58293 | 0.7 | 0.11707
Pasteuriser | 0.063577 | 0.13797 | 0.040642 |  |  | 0.14606 | 0.33352 | 0.13272 | 0 | 0.057154 |  |  | 0.12278 | 0.049704 | 0.077383 | 0.023524 | 0.27801 |  |  | 0.098307 | 0.09997 | 0.098739 | 0.077284 | 0.32654 |  |  | 0.054649 | 0.015575 | 0.077392 | 0.098868 | 0.040121 |  | 0.12769 | 0.1 | -0.027689
Boiler Supply | 0.31789 | 0.35477 | 0.34546 |  |  | 0.65728 | 1.3817 | 0.84942 | 0.86739 | 0.94304 |  |  | 0.41746 | 0.39763 | 0.54168 | 0.44695 | 2.6411 |  |  | 0.54069 | 0.47986 | 0.04937 | 1.5457 | 1.9592 |  |  | 0.027325 | 0.35823 | 0.64493 | 0.41195 | 0.44133 |  | 0.65954 | 0.6 | -0.059543
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 6.2942 | 8.0415 | 5.8322 | 0 | 0 | 7.4979 | 12.0545 | 10.0603 | 7.4038 | 9.2018 | 0 | 0 | 5.427 | 6.7266 | 8.2284 | 7.7157 | 36.8363 | 0 | 0 | 6.5128 | 9.0973 | 11.6512 | 16.2683 | 26.9941 | 0 | 0 | 6.8858 | 5.7472 | 8.2809 | 6.4923 | 7.6028 |  | 8.9438 | 9.6 | 0.6562
Bottling Hall water | 1.8226 | 2.3651 | 2.2557 | 0 | 0 | 2.7022 | 3.4305 | 3.1322 | 2.912 | 2.7148 | 0 | 0 | 2.9223 | 2.5349 | 3.2243 | 2.3053 | 4.8652 | 0 | 0 | 2.3594 | 2.5792 | 3.3078 | 3.2846 | 6.6397 | 0 | 0 | 4.0167 | 2.383 | 2.2702 | 2.3234 | 2.9087 |  | 2.9568 | 2.9 | -0.05684
Water Plant Total (Before Sand Filter) | 188 | 220 | 149 | 194 | 42 | 197 | 130 | 123 | 204 | 188 | 100 | 226 | 84 | 137 | 177 | 197 | 275 | 112 | 71 | 169 | 122 | 225 | 212 | 254 | 103 | 0 | 254 | 229 | 126 | 117 | 94 |  | 4919
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 2800 | 2500 | 3100 |  |  | 1600 | 1600 | 3200 | 1600 | 1900 | 300 | 500 | 1800 | 2800 | 1900 | 2300 | 1800 | -900 | 800 | 2200 | 2900 | 1700 | 2400 | 2000 | 0 | 800 | 1600 | 3500 | 2000 | 2500 | 1900 | 0 | 53100
CO2 Totalizer | 2727.09 | 2440.99 | 1912.92 | 0 | 108 | 1829.43 | 1376.69 | 3199.69 | 1600.72 | 1828.68 | 142.08 | 0 | 1466.74 | 2219.4 | 1795.37 | 2240.51 | 1076.5 | 0 | 297.87 | 2307.19 | 3150.16 | 1505.72 | 2036.65 | 787.72 | 0 | 202.06 | 1564.54 | 3671.13 | 1896.08 | 2594.52 | 1982.17 |  | 47960.62
CO2 (kg.) (FILLER) | 293.59 | 446.59 | 210.05 | 0 | 16.3 | 211.7 | 117.67 | 280.24 | 157.81 | 201.16 | 0 | 0 | 213.01 | 309.86 | 267.39 | 218.68 | 41.46 | 0 | 0 | 241.6 | 314.54 | 87.91 | 152.24 | 62.26 | 0 | 0 | 193.31 | 364.52 | 215.05 | 266.26 | 219.76 |  | 5102.96
CO2 (kg.) (BBT / Carbo Cooler SECTION) | 983.71 | 561.03 | 511.3 | 0 | 42.35 | 906.4 | 641.1 | 1021.97 | 396.96 | 729.04 | 0 | 0 | 206.33 | 431.9 | 410.09 | 698.91 | 818.38 | 0 | 121.24 | 1058.96 | 1094.28 | 707.02 | 612.88 | 204.48 | 0 | 8.11 | 55.53 | 1796.87 | 349.22 | 610.02 | 656.19 |  | 15634.27
CO2 (kg.) (Fermenters/other areas?) Calculated | 1449.79 | 1433.37 | 1191.57 | 0 | 49.35 | 711.33 | 617.92 | 1897.48 | 1045.95 | 898.48 | 142.08 | 0 | 1047.4 | 1477.64 | 1117.89 | 1322.92 | 216.66 | 0 | 176.63 | 1006.63 | 1741.34 | 710.79 | 1271.53 | 520.98 | 0 | 193.95 | 1315.7 | 1509.74 | 1331.81 | 1718.24 | 1106.22 | 0 | 27223.39
CO2 (kg.)Consumption Meter | 2727.09 | 2440.99 | 1912.92 | 0 | 108 | #REF! | #REF! | 3199.69 | 1600.72 | 1828.68 |  | 0 |  | 2219.4 | 1795.37 | 2240.51 | 1076.5 | 41.46 | 74 | 262 | 30 | 107 | 71 | 0 | 40 | 0 | 0 | 112 | 28 | #REF! | 0
Electricity GRENLEC (Kwh.) | 6440 | 8601 | 8712 | 3652 | 5363 | 7179 | 8166 | 10084 | 6592 | 7603 | 3837 | 4845 | 8262 | 8508 | 8647 | 7504 | 7017 | 3504 | 4779 | 8371 | 10629 | 7013 | 8070 | 7948 | 2705 | 3192 | 7688 | 8951 | 8672 | 9708 | 8223 |  | 220465
| #VALUE! | [31 empty] | #VALUE!
| 9246.4 | 5110 | 6437.4 | 8328.1 | 9619.3 | 11422.1 | 7896 | 9002.9 | 4348.9 | 5180.7 | 9002.4 | 10000 | 10064.2 | 8937.1 | 8433.5 | 4887 | 5691 | 9602.4 | 12049.4 | 8454.2 | 9435.8 | 9406.2 | 4123.4 | 477460% | 908290% | 10042.4 | 10265.7 | 11215.1 | 8223 | 258346.1 | 0 |  | 498628.2
Electricity PV System Target= 1229 (Kwh) | 1524 | 1499 | 534.4 | 1458 | 1074.4 | 1149.1 | 1453.3 | 1338.1 | 1304 | 1399.9 | 511.9 | 335.7 | 740.4 | 1492 | 1417.2 | 1433.1 | 1416.5 | 1383 | 912 | 1231.4 | 1420.4 | 1441.2 | 1365.8 | 1458.2 | 1418.4 | 1582.6 | 1394.9 | 1091.4 | 1593.7 | 1507.1 | 1320.9 |  | 39202
Fuel (L) | 2840 | 3450 | 2990 | 940 | 1480 | 2410 | 2810 | 3510 | 2510 | 2950 | 2000 | 2480 | 2280 | 3620 | 2990 | 2910 | 2830 | 840 | 2010 | 3320 | 3960 | 2980 | 3230 | 2840 | 450 | 940 | 2870 | 3650 | 3310 | 3920 | 3050 |  | 82370
Steam Mass Flow | 0 | 0 | 81.965 | 9.577 | 435.436 | 0 | 29.026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 589.823
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption | 9.3883 | 9.5 | 3.0482 |  |  | 7.6196 | 18.6297 | 3.1322 | 12.6392 | 11.8023 |  |  | 6.8759 | 5.5669 | 13.5678 | 7.8333 | 46.7056 |  |  | 7.0781 | 8.1976 | 19.4516 | 13.602 | 47.5662 |  |  | 8.6073 | 5.3111 | 11.7378 | 5.7179 | 6.7603 |  | 10.5738 | 10.2 | -0.37378 | 103.6645
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | 5.9339 | 4.9274 | 6.2996 |  |  | 3.895 | 7.6234 | 8.4942 | 4.9565 | 5.4296 |  |  | 4.4202 | 4.6391 | 4.9009 | 5.4104 | 25.0209 |  |  | 5.4069 | 5.7983 | 8.3928 | 9.2741 | 21.7694 |  |  | 4.3719 | 5.4513 | 5.1595 | 4.1195 | 3.8114 |  | 5.8959 | 5 | -0.89591 | 117.9183
CO2 Filler (kg./Hl.) KPI | 0.62219 | 0.88021 | 0.42685 |  |  | 0.51536 | 0.56065 | 0.74388 | 0.48887 | 0.57485 |  |  | 0.52308 | 0.51338 | 0.68971 | 0.51441 | 0.57631 |  |  | 0.59377 | 0.62889 | 0.43401 | 0.58829 | 0.67768 |  |  | 0.52821 | 0.56775 | 0.55477 | 0.43874 | 0.44084 |  | 0.5666 | 1.7 | 1.1334 | 33.3296
Electricity (Kwh./Hl.) KPI | 16.8777 | 19.9066 | 18.7898 |  |  | 20.2737 | 45.8324 | 30.3192 | 24.4605 | 25.7276 |  |  | 22.107 | 16.5681 | 25.9598 | 21.0232 | 117.2296 |  |  | 23.5995 | 24.0917 | 41.738 | 36.4618 | 102.3838 |  |  | 24.8187 | 15.6412 | 26.4828 | 18.4803 | 19.1453 |  | 28.8319 | 22 | -6.8319 | 131.0541
[33 empty] | 30.2273 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | 6.0187 | 6.7998 | 6.0761 |  |  | 5.8668 | 13.3886 | 9.3171 | 7.7756 | 8.4302 |  |  | 5.5989 | 5.9976 | 7.7125 | 6.8454 | 39.3383 |  |  | 8.1595 | 7.9177 | 14.7121 | 12.4814 | 30.9126 |  |  | 7.8422 | 5.6849 | 8.5389 | 6.4594 | 6.1184 |  | 9.1459 | 7.2 | -1.9459 | 127.0262
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 983.71 | 561.03 | 511.3 | 0 | 42.35 | 906.4 | 460281.84 | 0 | 396.96 | 729.04 | 0 | 0 | 206.33 | 431.9 | 410.09 | 698.91 | 818.38 | 0 | 121.24 | 1058.96 | 1094.28 | 707.02 | 612.88 | 204.48 | 0 | 8.11 | 55.53 | 1796.87 | #REF! | #REF! | 610.02 |  | #REF!
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency | 0% | 0% | 0% |  | 0% |  | 0% |  | 0% | 0% |  |  | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | #REF! | #REF! | 0% |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
Into RO | _ | 220 | [24 empty] | _ | _ |  |  | _ |  | 220
| 6440 |  | 8712 | 3652 | 5363 | 7179 | 8166 | 10084 | 6592 | 7603 | 3837 | 4845 | 8262 | 8508 | 8647 | 7504 | 7017 | 3504 | 4779 | 8371 | 10629 | 7013 | 8070 | 7948 | 2705 | 3192 | 7688 | 8951 | 8672 | 9708 | 8223 |  | 220465
8601
[33 empty] | 15.097 | %
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on E44: Kaylil Baptiste: CIP
Note on AE44: Alexander Dominguez-Ramon: For recipes with high PU values, the pasteurizer control algorithm performs more frequent temperature adjustments by switching the suction point between TK2–TK6 and TK3–TK5. This increases the likelihood of fresh water entering the system. In addition, the filters have not been cleaned frequently enough, which affects tank-level control and contributes to tank overflow.
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 8400kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on C74: Tank A 5600kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on D74: Tank A3100kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on E74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on F74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on G74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on H74: Tank A 0kgs Tank B 0kgs Tank C 16700 Kgs mobile approx 17900 Kgs
Note on I74: Tank A 0kgs Tank B 0kgs Tank C 15100 Kgs mobile approx 17900 Kgs
Note on J74: Tank A 0kgs Tank B 0kgs Tank C 13000 Kgs mobile approx 16800 Kgs
Note on K74: Tank A 11100kgs Tank B 3000kgs Tank C 12600 Kgs mobile approx 0Kgs 0 kgs unaccounted for.
Note on L74: Tank A 11100kgs Tank B 2600kgs Tank C 12600 Kgs mobile approx 0Kgs 3500kgs unaccounted for.
Note on M74: Tank A 11100kgs Tank B 2300kgs Tank C 12600 Kgs mobile approx 0Kgs 0kgs unaccounted for.
Note on N74: Tank A 11100 kgs Tank B 1800 kgs Tank C 12600 Kgs mobile approx 18700 Kgs
Note on O74: Tank A 11100 kgs Tank B 0 kgs Tank C 12600 Kgs mobile approx 18700Kgs
Note on P74: Tank A 9900 kgs Tank B 0 kgs Tank C 11000 Kgs mobile approx 18700Kgs
Note on Q74: Tank A 9900 kgs Tank B 1750 kgs (2900) Tank C 24900 Kgs mobile approx 0Kgs
Note on R74: Tank A 9900 kgs Tank B 600 kgs Tank C 24900 Kgs mobile approx 0Kgs
Note on S74: Tank A 8700 kgs Tank B 0 kgs Tank C 24900 Kgs mobile approx 0Kgs Adjustment from full and empty mobile weight from port vs difference using tare weight 18700 -17800=900
Note on T74: Tank A 8700 kgs Tank B 0 kgs Tank C 24900 Kgs mobile approx 0Kgs
Note on U74: Tank A 7900 kgs Tank B 0 kgs Tank C 24900 Kgs mobile approx 0Kgs
Note on V74: Tank A 5700 kgs Tank B 0 kgs Tank C 24900 Kgs mobile approx 0Kgs
Note on W74: Tank A 3700 kgs Tank B 0 kgs Tank C 24000 Kgs mobile approx 0Kgs
Note on X74: Tank A 2000 kgs Tank B 0 kgs Tank C 24000 Kgs mobile approx 0Kgs
Note on Y74: Tank A0 kgs Tank B 0 kgs Tank C23600 Kgs mobile approx 0Kgs
Note on Z74: Tank A0 kgs Tank B 0 kgs Tank C21600 Kgs mobile approx 0Kgs
Note on AA74: Tank A0 kgs Tank B 0 kgs Tank C21600 Kgs mobile approx 0Kgs
Note on AB74: Tank A0 kgs Tank B 0 kgs Tank C21600 Kgs mobile approx 17700 Kgs
Note on AC74: Tank A0 kgs Tank B 0 kgs Tank C20000 Kgs mobile approx 17700Kgs
Note on AD74: Tank A 11400 kgs Tank B 2000 kgs Tank C 20000 Kgs mobile approx 0 Kgs 800 Kgs unaccounted for
Note on AE74: Tank A 11400 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs 800 Kgs unaccounted for
Note on AF74: Tank A 8900 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs 800 Kgs unaccounted for
Note on AG74: Tank A7000 kgs Tank B 0 kgs Tank C 20000 Kgs mobile approx 0 Kgs 800 Kgs unaccounted for
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C
Note on W90: Kaylil Baptiste: Test on RO plant for Caribe cocktails Soft drink buffer tank emptied 3 times
Note on W94: Kaylil Baptiste: low case output RU 4 running for entire day production

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JULY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 239094 | 266 | 78 | 64265 | 1351661 | 188 | 97122 | 0 | 1351661 | -1351661 | -1351661 | 0 | 19 | 532 |  |  | #DIV/0!
2 | 239360 | 269 | 49 | 0 | 1351849 | 220 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 538 |  |  | #DIV/0!
3 | 239629 | 7 | -142 | 0 | 1352069 | 149 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 14 |  |  | #DIV/0!
4 | 239636 | 21 | -173 | 0 | 1352218 | 194 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 42 |  |  | #DIV/0!
5 | 239657 | 1 | -41 | 0 | 1352412 | 42 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 2 |  |  | #DIV/0!
6 | 239658 | 125 | -72 | 0 | 1352454 | 197 | 97122 | 0 | 0 | 309 | 309 | 0 | 29 | 250 |  |  | #DIV/0!
7 | 239783 | 267 | 137 | 0 | 1352651 | 130 | 97122 | 0 | 309 | -309 | -309 | 0 | 16 | 534 |  |  | #DIV/0!
8 | 240050 | 1 | -122 | 0 | 1352781 | 123 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 2 |  |  | #DIV/0!
9 | 240051 | 213 | 9 | 0 | 1352904 | 204 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 426 |  |  | #DIV/0!
10 | 240264 | 234 | 46 | 0 | 1353108 | 188 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 468 |  |  | #DIV/0!
11 | 240498 | 0 | -100 | 0 | 1353296 | 100 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 0 |  |  | #DIV/0!
12 | 240498 | 249 | 23 | 0 | 1353396 | 226 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 498 |  |  | #DIV/0!
13 | 240747 | 200 | 116 | 0 | 1353622 | 84 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 400 |  |  | #DIV/0!
14 | 240947 | 197 | 60 | 0 | 1353706 | 137 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 394 |  |  | #DIV/0!
15 | 241144 | 358 | 181 | 0 | 1353843 | 177 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 716 |  |  | #DIV/0!
16 | 241502 | 136 | -61 | 0 | 1354020 | 197 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 272 |  |  | #DIV/0!
17 | 241638 | 74 | -201 | 0 | 1354217 | 275 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 148 |  |  | #DIV/0!
18 | 241712 | 30 | -82 | 0 | 1354492 | 112 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 60 |  |  | #DIV/0!
19 | 241742 | 42 | -29 | 0 | 1354604 | 71 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 84 |  |  | #DIV/0!
20 | 241784 | 131 | -38 | 0 | 1354675 | 169 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 262 |  |  | #DIV/0!
21 | 241915 | 289 | 167 | 0 | 1354844 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 578 |  |  | #DIV/0!
22 | 242204 | 179 | -46 | 0 | 1354966 | 225 | 97122 | 0 | 0 | 0 | 0 | 0 | 9 | 358 |  |  | #DIV/0!
23 | 242383 | 149 | -63 | 0 | 1355191 | 212 | 97122 | 0 | 0 | 0 | 0 | 0 | 19 | 298 |  |  | #DIV/0!
24 | 242532 | 233 | -21 | 0 | 1355403 | 254 | 97122 | 0 | 0 | 0 | 0 | 0 | 11 | 466 |  |  | #DIV/0!
25 | 242765 | 127 | 24 | 0 | 1355657 | 103 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 254 |  |  | #DIV/0!
26 | 242892 | 0 | 0 | 0 | 1355760 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
27 | 242892 | 73 | -181 | 0 | 1355760 | 254 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 146 |  |  | #DIV/0!
28 | 242965 | 123 | -106 | 0 | 1356014 | 229 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 246 |  |  | #DIV/0!
| 243088 |  | 0 |  | 1356243 |  | 97122
Total |  | 3994 | -588 |  |  | 4582 |  | 0 | 1351970 | -1351661 | -1351661 | 0 | 462 | 7988 | 0 | 0 | #DIV/0!