## Entries June 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8251630 |  |  | 64 | 9507 | 68225 |  | 1132857 |  | 468000 | 39914.21 | 480535.91 | 68740.49 | 236326 | 68880 | 970215 |  | 83979 |  | 0 | 1348630 |  | 45591 | 63381 | 13852 | 97122 |  | 5299 | 263397 | [5 empty] | 7367346.698
2 | 8252580 |  |  | 64 | 9514.1 | 68225 |  | 1136960 |  | 468000 | 39981.11 | 480761.5 | 68740.49 | 236335 | 68956 | 970275 |  | 84020 |  | 0 | 1348710 |  | 45639 | 63381 | 13857 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
3 | 8254210 |  |  | 64 | 9529 | 68225 |  | 1139193 |  | 468000 | 39981.96 | 480899.33 | 68740.49 | 236388 | 69078 | 970310 |  | 84130 |  | 0 | 1348839 |  | 45647 | 63381 | 13868 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
4 | 8255470 |  |  | 64 | 9536.3 | 68225 |  | 1143380 |  | 468000 | 40028.51 | 480942.2 | 68740.49 | 236453 | 69173 | 970374 |  | 84254 |  | 0 | 1348937 |  | 45671 | 63381 | 13873 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
5 | 8255600 |  |  | 64 | 9537 | 68225 |  | 1145939 |  | 468000 | 40028.51 | 480942.2 | 68740.49 | 236453 | 69173 | 970385 |  | 84254 |  | 0 | 1348937 |  | 45671 | 63381 | 13874 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
6 | 8256570 |  |  | 64 | 9544.4 | 68225 |  | 1149600 |  | 468000 | 40060.18 | 480990.09 | 68740.49 | 236661 | 69220 | 970439 |  | 84304 |  | 0 | 1348981 |  | 45689 | 63381 | 13882 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
7 | 8256570 |  |  | 64 | 9544.4 | 68225 |  | 1152161 |  | 468000 | 40060.18 | 480990.09 | 68740.49 | 236661 | 69220 | 970439 |  | 84304 |  | 0 | 1348981 |  | 45689 | 63381 | 13882 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
8 | 8256750 |  |  | 64 | 9545.3 | 68225 |  | 1154299 |  | 468000 | 40060.18 | 480990.09 | 68740.49 | 236712 | 69220 | 970463 |  | 84304 |  | 0 | 1348987 |  | 45690 | 63381 | 13882 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
9 | 8258350 |  |  | 64 | 9557.8 | 68225 |  | 1157978 |  | 468000 | 40148.23 | 481101.69 | 68740.49 | 236904 | 69220 | 970563 |  | 84440 |  | 0 | 1348987 |  | 45747 | 63381 | 13890 | 97122 |  | 5299 | 263411 | [5 empty] | 7367346.698
10 | 8259880 |  |  | 64 | 9570 | 68225 |  | 1161776 |  | 468000 | 40743.39 | 481685.28 | 68740.49 | 236988 | 69337 | 970622 |  | 84587 |  | 0 | 1349111 |  | 45770 | 63381 | 13898 | 97122 |  | 5299 | 263464 | [5 empty] | 7367346.698
11 | 8260800 |  |  | 64 | 9576.6 | 68225 |  | 1164411 |  | 468000 | 41053.25 | 481979.66 | 68740.49 | 237025 | 69362 | 970643 |  | 84638 |  | 0 | 1349135 |  | 45771 | 63381 | 13906 | 97122 |  | 5299 | 263488 | [5 empty] | 7367378.004
12 | 8260800 |  |  | 64 | 9576.6 | 68225 |  | 1168473 |  | 468000 | 41053.25 | 481979.66 | 68740.49 | 237025 | 69362 | 970664 |  | 84648 |  | 0 | 1349135 |  | 45771 | 63385 | 13908 | 97122 |  | 5299 | 263488 | [5 empty] | 7367378.004
13 | 8261380 |  |  | 64 | 9580.5 | 68225 |  | 1171041 |  | 468000 | 41174.03 | 482831.31 | 68740.49 | 237188 | 69393 | 970727 |  | 84667 |  | 0 | 1349168 |  | 45806 | 63386 | 13910 | 97122 |  | 5299 | 263488 | [5 empty] | 7367378.004
14 | 8261380 |  |  | 64 | 9580.5 | 68225 |  | 1174404 |  | 468000 | 41174.03 | 482831.31 | 68740.49 | 237188 | 69393 | 970786 |  | 84667 |  | 0 | 1349168 |  | 45806 | 63386 | 13910 | 97122 |  | 5299 | 263488 | [5 empty] | 7367378.004
15 | 8261580 |  |  | 64 | 9581.6 | 68225 |  | 1176311 |  | 468000 | 41174.03 | 482831.31 | 68740.49 | 237263 | 69469 | 970895 |  | 84667 |  | 0 | 1349248 |  | 45806 | 63491 | 13912 | 97122 |  | 5299 | 263488 | [5 empty] | 7367378.004
16 | 8263060 |  |  | 64 | 9592.7 | 68225 |  | 1180110 |  | 468000 | 41213.79 | 483043.22 | 68740.49 | 237301 | 69670 | 970998 |  | 84790 |  | 0 | 1349459 |  | 45827 | 63494 | 13919 | 97122 |  | 5299 | 263488 | [5 empty] | 7367380.004
17 | 8264450 |  |  | 64 | 9603.1 | 68225 |  | 1184049 |  | 468000 | 41221.53 | 483162.66 | 68740.49 | 237325 | 69795 | 971075 |  | 84910 |  | 0 | 1349590 |  | 45840 | 63505 | 13926 | 97122 |  | 5301 | 263488 | [5 empty] | 7367380.009
18 | 8265770 |  |  | 64 | 9612.9 | 68225 |  | 1188462 |  | 468000 | 41225.11 | 483251.75 | 68750.14 | 237377 | 69877 | 971188 |  | 85082 |  | 72 | 1349676 |  | 45868 | 63505 | 13932 | 97122 |  | 5301 | 263488 | [5 empty] | 7367380.009
19 | 8267050 |  |  | 64 | 9622.3 | 68225 |  | 1192816 |  | 468000 | 41225.11 | 483576.72 | 68750.14 | 237377 | 70024 | 971195 |  | 85215 |  | 72 | 1349831 |  | 45883 | 63505 | 13937 | 97122 |  | 5301 | 263488 | [5 empty] | 7367380.009
20 | 8268910 |  |  | 64 | 9633.7 | 68225 |  | 1197234 |  | 468000 | 41310.09 | 483717.25 | 68771.87 | 237558 | 70069 | 971265 |  | 85289 |  | 101 | 1349879 |  | 45883 | 63519 | 13949 | 97122 |  | 5304 | 263488 | [5 empty] | 7367913.33
21 | 8270730 |  |  | 64 | 9646.6 | 68225 |  | 1202724 |  | 468000 | 41662.23 | 484791.34 | 68914.13 | 237584 | 70103 | 971383 |  | 85291 |  | 115 | 1349914 |  | 45883 | 63574 | 13963 | 97122 |  | 5319 | 263488 | [5 empty] | 7369149.377
22 | 8272010 |  |  | 64 | 9654.7 | 68225 |  | 1207675 |  | 468000 | 41886.75 | 485633.75 | 68988.83 | 237661 | 70138 | 971420 |  | 85291 |  | 129 | 1349951 |  | 45890 | 63614 | 13977 | 97122 |  | 5326 | 263488 | [5 empty] | 7369149.377
23 | 8274930 |  |  | 64 | 9673.2 | 68225 |  | 1214877 |  | 468000 | 43278.5 | 488339.17 | 69380.18 | 237953 | 70339 | 971730 |  | 85446 |  | 150 | 1350129 |  | 45955 | 63723 | 14013 | 97122 |  | 5357 | 263488 | [5 empty] | 7369149.377
24 | 8278020 |  |  | 64 | 9692.8 | 68225 |  | 1223534 |  | 468000 | 43933.93 | 491132.41 | 69443.19 | 238111 | 70538 | 971957 |  | 85568 |  | 166 | 1350370 |  | 45994 | 63774 | 14036 | 97122 |  | 5381 | 263488 | [5 empty] | 7369149.377
25 | 8280860 |  |  | 64 | 9712.3 | 68225 |  | 1231664 |  | 468000 | 44717.08 | 493301.69 | 69700.48 | 238238 | 70778 | 972267 |  | 85678 |  | 218 | 1350621 |  | 46056 | 63870 | 14066 | 97122 |  | 5407 | 263488 | [5 empty] | 7369149.377
26 | 8284180 |  |  | 64 | 9732.9 | 68225 |  | 1240275 |  | 468000 | 44793.07 | 495972.15 | 70042.4 | 238387 | 71018 | 972516 |  | 85887 |  | 223 | 1350873 |  | 46095 | 63972 | 14092 | 97122 |  | 5438 | 263498 | [5 empty] | 7369192.71
27 | 8286170 |  |  | 64 | 9747.1 | 68225 |  | 1246194 |  | 468000 | 46336.02 | 497359.56 | 70133.63 | 238506 | 71268 | 972665 |  | 86022 |  | 242 | 1351123 |  | 46113 | 64013 | 14102 | 97122 |  | 5446 | 263533 | [5 empty] | 7369193.759
28 | 8288620 |  |  | 64 | 9764 | 68225 |  | 1252392 |  | 468000 | 46674.34 | 498496.81 | 70285.41 | 238593 | 71374 | 972809 |  | 86169 |  | 245 | 1351245 |  | 46143 | 64066 | 14114 | 97122 |  | 5463 | 263533 | [5 empty] | 7369202.851
29 | 8290580 |  |  | 64 | 9779.2 | 68225 |  | 1257463 |  | 468000 | 46674.76 | 498528.34 | 70285.41 | 238660 | 71528 | 972894 |  | 86349 |  | 245 | 1351407 |  | 46151 | 64093 | 14122 | 97122 |  | 5465 | 263533 | [5 empty] | 7369202.851
30 | 8293650 |  |  | 64 | 9798.9 | 68225 |  | 1266342 |  | 468000 | 47403.18 | 500419.38 | 70545.61 | 238765 | 71672 | 973065 |  | 86535 |  | 248 | 1351563 |  | 46176 | 64170 | 14138 | 97122 |  | 5488 | 263573 | [5 empty] | 7369202.851
1 | 8296880 |  |  | 64 | 9818.3 | 68225 |  | 1275845 |  | 468000 | 48242.18 | 502510.38 | 70845.18 | 239094 | 71771 | 973280 |  | 86793 |  | 252 | 1351661 |  | 46205 | 64265 | 14156 | 97122 |  | 5518 | 263573 | [5 empty] | 7369202.851
Note on U6: Alexander Dominguez-Ramon: Brand New Meter

## Utility Analysis June 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 4103 | 0 | 4103 | 1412.6 | 25.61% | 0 | 5515.6 | 850 | 950 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2233 | 0 | 2233 | 1624.1 | 42.11% | 0 | 3857.1 | 1750 | 1630 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4187 | 0 | 4187 | 1569.3 | 27.26% | 0 | 5756.3 | 1600 | 1260 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2559 | 0 | 2559 | 1374.8 | 34.95% | 0 | 3933.8 | 0 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 3661 | 0 | 3661 | 1512.2 | 29.23% | 0 | 5173.2 | 2550 | 970 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2561 | 0 | 2561 | 1118 | 30.39% | 0 | 3679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2138 | 0 | 2138 | 900 | 29.62% | 0 | 3038 | 510 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 3679 | 0 | 3679 | 1371.9 | 27.16% | 0 | 5050.9 | 1920 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 3798 | 0 | 3798 | 1435 | 27.42% | 0 | 5233 | 2010 | 1530 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 2635 | 0 | 2635 | 1464.4 | 35.72% | 0 | 4099.4 | 620 | 920 | 1700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 4062 | 0 | 4062 | 384 | 8.637% | 0 | 4446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 2568 | 0 | 2568 | 1330.4 | 34.13% | 0 | 3898.4 | 1940 | 580 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 3363 | 0 | 3363 | 1449.1 | 30.11% | 0 | 4812.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 1907 | 0 | 1907 | 1333.3 | 41.15% | 0 | 3240.3 | 1510 | 200 | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 3799 | 0 | 3799 | 1332.1 | 25.96% | 0 | 5131.1 | 2390 | 1480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 3939 | 0 | 3939 | 769.4 | 16.34% | 0 | 4708.4 | 1490 | 1390 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 4413 | 0 | 4413 | 1254 | 22.13% | 0 | 5667 | 1340 | 1320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 4354 | 0 | 4354 | 1101.3 | 20.19% | 0 | 5455.3 | 1470 | 1280 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 4418 | 0 | 4418 | 1250.8 | 22.06% | 0 | 5668.8 | 2260 | 1860 | 100 | 0 | 0 | 0 | 0 | 30.624 | 185.1097 | 73.7983 | 60.7367 | 3.2654
20 | 5490 | 0 | 5490 | 1346.4 | 19.69% | 0 | 6836.4 | 600 | 1820 | 1900 | 0 | 0 | 0 | 0 | 237.732 | 28.7568 | 2.5239 | 7.6557 | 7.9922
21 | 4951 | 0 | 4951 | 667.2 | 11.88% | 0 | 5618.2 | 1120 | 1280 | 1000 | 0 | 0 | 0 | 0 | 99.33 | 56.561 | 11.2755 | 12.8863 | 10.0675
22 | 7202 | 0 | 7202 | 1415.3 | 16.42% | 0 | 8617.3 | 4930 | 2920 | 2700 | 0 | 0 | 0 | 0 | 476.454 | 18.0863 | 10.3473 | 6.1286 | 5.6669
23 | 8657 | 0 | 8657 | 1329.4 | 13.31% | 0 | 9986.4 | 3570 | 3090 | 3800 | 0 | 0 | 0 | 0 | 360.624 | 27.692 | 9.8995 | 8.5685 | 10.5373
24 | 8130 | 0 | 8130 | 1212.5 | 12.98% | 0 | 9342.5 | 3670 | 2840 | 2400 | 0 | 0 | 0 | 0 | 540.21 | 17.2942 | 6.7937 | 5.2572 | 4.4427
25 | 8611 | 0 | 8611 | 1304.8 | 13.16% | 0 | 9915.8 | 3890 | 3320 | 2700 | 0 | 0 | 0 | 0 | 602.25 | 16.4646 | 6.4591 | 5.5127 | 4.4832
26 | 5919 | 0 | 5919 | 1475.1 | 19.95% | 0 | 7394.1 | 3690 | 1990 | 1400 | 0 | 0 | 0 | 0 | 182.556 | 40.5032 | 20.213 | 10.9008 | 7.6689
27 | 6198 | 0 | 6198 | 1408.4 | 18.52% | 0 | 7606.4 | 1930 | 2450 | 1100 | 0 | 0 | 0 | 0 | 241.758 | 31.4629 | 7.9832 | 10.1341 | 4.55
28 | 5071 | 0 | 5071 | 1205.9 | 19.21% | 0 | 6276.9 | 2210 | 1960 | -900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 8879 | 0 | 8879 | 1136.3 | 11.35% | 0 | 10015.3 | 2490 | 3070 | 1900 | 0 | 0 | 0 | 0 | 364.386 | 27.4854 | 6.8334 | 8.4251 | 5.2143
30 | 9503 | 0 | 9503 | 1194.4 | 11.17% | 0 | 10697.4 | 4280 | 3230 | 2100 | 0 | 0 | 0 | 0 | 453.684 | 23.579 | 9.4339 | 7.1195 | 4.6288
31 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 37.5705 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 142988 | 37682.4 | 20.86% | 0 | 180670.4 | 56590 | 45250 | 26300 | 0 | 0 | 0 | 0 | 3627.1785 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 180670.4 | [11 empty] | 49.8102 | 15.6017 | 12.4753 | 7.2508

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 31.306
11 | 0
12 | 0
13 | 0
14 | 0
15 | 2
16 | 0
17 | 0
18 | 0
19 | 533.321
20 | 1236.047
21 | 0
22 | 0
23 | 0
24 | 0
25 | 43.333
26 | 1.049
27 | 9.092
28 | 0
29 | 0
30 | 0
1856.148

## Fuel
DAILY FUEL CONSUMPTION FOR JUNE 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 950 | 7.1 | 0 | 0 |  |  | 133.8028 | 0 | 0 | 950 | 0 | 0
2 | 1630 | 14.9 | 0 | 0 |  |  | 109.396 | 0 | 0 | 1630 | 0 | 0
3 | 1260 | 7.3 | 0 | 0 |  |  | 172.6027 | 0 | 0 | 1260 | 0 | 0
4 | 130 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 130 | 0 | 0
5 | 970 | 7.4 | 0 | 0 |  |  | 131.0811 | 0 | 0 | 970 | 0 | 0
6 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 180 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 180 | 0 | 0
8 | 1600 | 12.5 | 0 | 0 |  |  | 128 | 0 | 0 | 1600 | 0 | 0
9 | 1530 | 12.2 | 0 | 0 |  |  | 125.4098 | 0 | 0 | 1530 | 0 | 0
10 | 920 | 6.6 | 0 | 0 |  |  | 139.3939 | 0 | 0 | 920 | 0 | 0
11 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 580 | 3.9 | 0 | 0 |  |  | 148.7179 | 0 | 0 | 580 | 0 | 0
13 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
14 | 200 | 1.1 | 0 | 0 |  |  | 181.8182 | 0 | 0 | 200 | 0 | 0
15 | 1480 | 11.1 | 0 | 0 |  |  | 133.3333 | 0 | 0 | 1480 | 0 | 0
16 | 1390 | 10.4 | 0 | 0 |  |  | 133.6538 | 0 | 0 | 1390 | 0 | 0
17 | 1320 | 9.8 | 0 | 0 |  |  | 134.6939 | 0 | 0 | 1320 | 0 | 0
18 | 1280 | 9.4 | 0 | 0 |  |  | 136.1702 | 0 | 0 | 1280 | 0 | 0
19 | 1860 | 11.4 | 0 | 0 |  |  | 163.1579 | 0 | 0 | 1860 | 30.624 | 60.7367
20 | 1820 | 12.9 | 0 | 0 |  |  | 141.0853 | 0 | 0 | 1820 | 237.732 | 7.6557
21 | 1280 | 8.1 | 0 | 0 |  |  | 158.0247 | 0 | 0 | 1280 | 99.33 | 12.8863
22 | 2920 | 18.5 | 0 | 0 |  |  | 157.8378 | 0 | 0 | 2920 | 476.454 | 6.1286
23 | 3090 | 19.6 | 0 | 0 |  |  | 157.6531 | 0 | 0 | 3090 | 360.624 | 8.5685
24 | 2840 | 19.5 | 0 | 0 |  |  | 145.641 | 0 | 0 | 2840 | 540.21 | 5.2572
25 | 3320 | 20.6 | 0 | 0 |  |  | 161.165 | 0 | 0 | 3320 | 602.25 | 5.5127
26 | 1990 | 14.2 | 0 | 0 |  |  | 140.1408 | 0 | 0 | 1990 | 182.556 | 10.9008
27 | 2450 | 16.9 | 0 | 0 |  |  | 144.9704 | 0 | 0 | 2450 | 241.758 | 10.1341
28 | 1960 | 15.2 | 0 | 0 |  |  | 128.9474 | 0 | 0 | 1960 | 0 | 0
29 | 3070 | 19.7 |  | 0 |  |  | 155.8376 | 0 | 0 | 3070 | 364.386 | 8.4251
30 | 3230 | 19.4 |  | 0 |  |  | 166.4948 | 0 | 0 | 3230 | 453.684 | 7.1195
| 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 37.5705
| 45250 | 309.7 | 0 | 0 | 0 | 0 | 3629.0297 |  |  |  |  | 0 | 7.2 | 0
AVE. | 1675.9259 | 12.388 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 9 | 76 | 80 | 5 | 60 | 0 | 41 | 0 | 0 | 0 | 48 | 0 | 0 | 5 | 0 | 50 | 48 | 0 | 14 | 0 | 0 | 0 | 85 | 0 | 0
| 2 | 0 | 53 | 122 | 129 | 46 | 35 | 0 | 110 | 0 | 0 | 0 | 8 | 0 | 0 | 11 | 0 | 460 | 8 | 0 | 0 | 0 | 0 | 0 | 175 | 0 | 0
| 3 | 0 | 65 | 95 | 98 | 62 | 64 | 0 | 124 | 0 | 0 | 0 | 24 | 0 | 0 | 5 | 0 | 620 | 24 | 0 | 0 | 0 | 0 | 0 | 160 | 0 | 0
| 4 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | 0 | 208 | 47 | 44 | 211 | 54 | 0 | 50 | 0 | 0 | 0 | 18 | 0 | 0 | 8 | 0 | 2110 | 18 | 0 | 0 | 0 | 0 | 0 | 255 | 0 | 0
| 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | 0 | 51 | 0 | 6 | 45 | 24 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 450 | 1 | 0 | 0 | 0 | 0 | 0 | 51 | 0 | 0
| 8 | 0 | 192 | 0 | 0 | 192 | 100 | 0 | 136 | 0 | 0 | 0 | 57 | 0 | 0 | 8 | 0 | 1920 | 57 | 0 | 0 | 0 | 0 | 0 | 192 | 0 | 0
| 9 | 0 | 84 | 117 | 124 | 77 | 59 | 0 | 147 | 0 | 0 | 0 | 23 | 0 | 0 | 8 | 0 | 770 | 23 | 0 | 53 | 0 | 0 | 0 | 201 | 0 | 0
| 10 | 0 | 37 | 25 | 24 | 38 | 21 | 0 | 51 | 0 | 0 | 0 | 1 | 0 | 0 | 8 | 0 | 380 | 1 | 0 | 24 | 0 | 0 | 0 | 62 | 0 | 0
| 11 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 10 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 163 | 31 | 33 | 161 | 63 | 0 | 19 | 0 | 0 | 0 | 35 | 1 | 0 | 2 | 0 | 1610 | 36 | 0 | 0 | 0 | 0 | 0 | 194 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 75 | 76 | 80 | 71 | 109 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 2 | 0 | 710 | 105 | 0 | 0 | 0 | 0 | 0 | 151 | 0 | 0
| 15 | 0 | 38 | 201 | 211 | 28 | 103 | 0 | 123 | 0 | 0 | 0 | 21 | 3 | 0 | 7 | 0 | 280 | 24 | 0 | 0 | 0 | 0 | 0 | 239 | 0 | 0
| 16 | 0 | 24 | 125 | 131 | 18 | 77 | 0 | 120 | 0 | 0 | 0 | 13 | 11 | 2 | 7 | 0 | 180 | 24 | 2 | 0 | 0 | 0 | 0 | 149 | 0 | 0
| 17 | 0 | 52 | 82 | 86 | 48 | 113 | 0 | 172 | 0 | 0 | 72 | 28 | 0 | 0 | 6 | 0 | 480 | 100 | 0 | 0 | 0 | 0 | 0 | 134 | 0 | 0
| 18 | 0 | 0 | 147 | 155 | -8 | 7 | 0 | 133 | 0 | 0 | 0 | 15 | 0 | 0 | 5 | 0 | -80 | 15 | 0 | 0 | 0 | 0 | 0 | 147 | 0 | 0
| 19 | 0 | 181 | 45 | 48 | 178 | 70 | 0 | 74 | 0 | 0 | 29 | 0 | 14 | 3 | 12 | 0 | 1780 | 43 | 3 | 0 | 0 | 0 | 0 | 226 | 30.624 | 73.7983
| 20 | 0 | 26 | 34 | 35 | 25 | 118 | 0 | 2 | 0 | 0 | 14 | 0 | 55 | 15 | 14 | 0 | 250 | 69 | 15 | 0 | 0 | 0 | 0 | 60 | 237.732 | 2.5239
| 21 | 0 | 77 | 35 | 37 | 75 | 37 | 0 | 0 | 0 | 0 | 14 | 7 | 40 | 7 | 14 | 0 | 750 | 61 | 7 | 0 | 0 | 0 | 0 | 112 | 99.33 | 11.2755
| 22 | 0 | 292 | 201 | 178 | 315 | 310 | 0 | 155 | 0 | 0 | 21 | 65 | 109 | 31 | 36 | 0 | 3150 | 195 | 31 | 0 | 0 | 0 | 0 | 493 | 476.454 | 10.3473
| 23 | 0 | 158 | 199 | 241 | 116 | 227 | 0 | 122 | 0 | 0 | 16 | 39 | 51 | 24 | 23 | 0 | 1160 | 106 | 24 | 0 | 0 | 0 | 0 | 357 | 360.624 | 9.8995
| 24 | 0 | 127 | 240 | 251 | 116 | 310 | 0 | 110 | 0 | 0 | 52 | 62 | 96 | 26 | 30 | 0 | 1160 | 210 | 26 | 0 | 0 | 0 | 0 | 367 | 540.21 | 6.7937
| 25 | 0 | 149 | 240 | 252 | 137 | 249 | 0 | 209 | 0 | 0 | 5 | 39 | 102 | 31 | 26 | 0 | 1370 | 146 | 31 | 10 | 0 | 0 | 0 | 389 | 602.25 | 6.4591
| 26 | 0 | 119 | 250 | 250 | 119 | 149 | 0 | 135 | 0 | 0 | 19 | 18 | 41 | 8 | 10 | 0 | 1190 | 78 | 8 | 35 | 0 | 0 | 0 | 369 | 182.556 | 20.213
| 27 | 0 | 87 | 106 | 122 | 71 | 144 | 0 | 147 | 0 | 0 | 3 | 30 | 53 | 17 | 12 | 0 | 710 | 86 | 17 | 0 | 0 | 0 | 0 | 193 | 241.758 | 7.9832
| 28 | 0 | 67 | 154 | 162 | 59 | 85 | 0 | 180 | 0 | 0 | 0 | 8 | 27 | 2 | 8 | 0 | 590 | 35 | 2 | 0 | 0 | 0 | 0 | 221 | 0 | 0
| 29 | 0 | 105 | 144 | 156 | 93 | 171 | 0 | 186 | 0 | 0 | 3 | 25 | 77 | 23 | 16 | 0 | 930 | 105 | 23 | 40 | 0 | 0 | 0 | 249 | 364.386 | 6.8334
| 30 | 0 | 329 | 99 | 98 | 330 | 215 | 0 | 258 | 0 | 0 | 4 | 29 | 95 | 30 | 18 | 0 | 3300 | 128 | 30 | 0 | 0 | 0 | 0 | 428 | 453.684 | 9.4339
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 37.5705
MTD | total | 0 | 2768 | 2891 | 3031 | 2628 | 3065 |  | 2814 |  | 0 | 252 | 614 | 884 | 219 | 304 | 0 | 26280 | 1750 | 219 | 176 |  |  |  | 5659 | 3627.1785 | 15.6017 | 10.2 | 152.9574
| Gals. |  | 608960
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 9627.6576
| Add basic charge |  | 278.97
9906.6276
| Proxy sewage charge (2/3) |  | 6604.4184
| Proxy MTD NAWASA cost |  | 16511.046
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.June 2026
DAILY ELECTRICITY CONSUMPTION FOR MAY 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 4103 | 0 | 1412.6 | 5515.6 | 0 | 0
2 | 2233 | 0 | 1624.1 | 3857.1 | 0 | 0
3 | 4187 | 0 | 1569.3 | 5756.3 | 0 | 0
4 | 2559 | 0 | 1374.8 | 3933.8 | 0 | 0
5 | 3661 | 0 | 1512.2 | 5173.2 | 0 | 0
6 | 2561 | 0 | 1118 | 3679 | 0 | 0
7 | 2138 | 0 | 900 | 3038 | 0 | 0
8 | 3679 | 0 | 1371.9 | 5050.9 | 0 | 0
9 | 3798 | 0 | 1435 | 5233 | 0 | 0
10 | 2635 | 0 | 1464.4 | 4099.4 | 0 | 0
11 | 4062 | 0 | 384 | 4446 | 0 | 0
12 | 2568 | 0 | 1330.4 | 3898.4 | 0 | 0
13 | 3363 | 0 | 1449.1 | 4812.1 | 0 | 0
14 | 1907 | 0 | 1333.3 | 3240.3 | 0 | 0
15 | 3799 | 0 | 1332.1 | 5131.1 | 0 | 0
16 | 3939 | 0 | 769.4 | 4708.4 | 0 | 0
17 | 4413 | 0 | 1254 | 5667 | 0 | 0
18 | 4354 | 0 | 1101.3 | 5455.3 | 0 | 0
19 | 4418 | 0 | 1250.8 | 5668.8 | 30.624 | 185.1097
20 | 5490 | 0 | 1346.4 | 6836.4 | 237.732 | 28.7568
21 | 4951 | 0 | 667.2 | 5618.2 | 99.33 | 56.561
22 | 7202 | 0 | 1415.3 | 8617.3 | 476.454 | 18.0863
23 | 8657 | 0 | 1329.4 | 9986.4 | 360.624 | 27.692
24 | 8130 | 0 | 1212.5 | 9342.5 | 540.21 | 17.2942
25 | 8611 | 0 | 1304.8 | 9915.8 | 602.25 | 16.4646
26 | 5919 | 0 | 1475.1 | 7394.1 | 182.556 | 40.5032
27 | 6198 | 0 | 1408.4 | 7606.4 | 241.758 | 31.4629
28 | 5071 | 0 | 1205.9 | 6276.9 | 0 | 0
29 | 8879 | 0 | 1136.3 | 10015.3 | 364.386 | 27.4854
30 | 9503 | 0 | 1194.4 | 10697.4 | 453.684 | 23.579
| 0 | 0 | 0 | 0 |  |  |  | %
MTD | 142988 | 0 | 37682.4 | 180670.4 | 3589.608 | 50.3315 | 22 | 228.7796
TARGET

## PROD.FIG.
PRODUCTION FOR JUNE 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Monday | 1 | [5 empty] | 0
Tuesday | 2 | [5 empty] | 0
Wednesday | 3 | [5 empty] | 0
Thursday | 4 | [5 empty] | 0
Friday | 5 | [5 empty] | 0
Saturday | 6 | [5 empty] | 0
Sunday | 7 | [5 empty] | 0
Monday | 8 | [5 empty] | 0
Tuesday | 9 | [5 empty] | 0
Wednesday | 10 | [5 empty] | 0
Thursday | 11 | [5 empty] | 0
Friday | 12 | [5 empty] | 0
Saturday | 13 | [5 empty] | 0
Sunday | 14 | [5 empty] | 0
Monday | 15 | [5 empty] | 0
Tuesday | 16 | [5 empty] | 0
Wednesday | 17 | [5 empty] | 0
Thursday | 18 | [5 empty] | 0
Friday | 19 | [5 empty] | 30.624
Saturday | 20 | [5 empty] | 237.732
Sunday | 21 | [5 empty] | 99.33
Monday | 22 | [5 empty] | 476.454
Tuesday | 23 | [5 empty] | 360.624
Wednesday | 24 | [5 empty] | 540.21
Thursday | 25 | [5 empty] | 602.25
Friday | 26 | [5 empty] | 182.556
Saturday | 27 | [5 empty] | 241.758
Sunday | 28 | [5 empty] | 0
Monday | 29 | [5 empty] | 364.386
Tuesday | 30 | [5 empty] | 453.684
37.5705
[6 empty] | TOTAL | 3627.1785
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for JUNE 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 66.9 | 225.59 | 800 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 0 | 0 | 137.83 | 400 | 0 | 0 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 46.55 | 42.87 | 0 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 31.67 | 47.89 | 0 | 0 | 0 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 88.05 | 111.6 | 0 | 0 | 0 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 595.16 | 583.59 | 400 | 0 | 0 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 309.86 | 294.38 | 1700 | 0 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 120.78 | 851.65 | 800 | 0 | 0 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 1600 | 0 | 0 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 39.76 | 211.91 | 0 | 0 | 0 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 7.74 | 119.44 | 0 | 0 | 0 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 9.65 | 3.58 | 89.09 | 0 | 0 | 0 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 324.97 | 400 | 0 | 0 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 21.73 | 84.98 | 140.53 | 100 | 30.624 | 3.2654 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 142.26 | 352.14 | 1074.09 | 1900 | 237.732 | 7.9922 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 74.7 | 224.52 | 842.41 | 1000 | 99.33 | 10.0675 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 391.35 | 1391.75 | 2705.42 | 2700 | 476.454 | 5.6669 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 63.01 | 655.43 | 2793.24 | 3800 | 360.624 | 10.5373 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 257.29 | 783.15 | 2169.28 | 2400 | 540.21 | 4.4427 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 341.92 | 75.99 | 2670.46 | 2700 | 602.25 | 4.4832 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 91.23 | 1542.95 | 1387.41 | 1400 | 182.556 | 7.6689 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 151.78 | 338.32 | 1137.25 | 1100 | 241.758 | 4.55 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 31.53 | -900 | 0 | 0 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 260.2 | 728.42 | 1891.04 | 1900 | 364.386 | 5.2143 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 299.57 | 839 | 2091 | 2100 | 453.684 | 4.6288 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 37.5705 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 2104.69 | 8326.7 | 21974.47 | 26300 | 3627.1785 | 7.2508 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-06-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 464 | 3602 | 1505 | 7219 | 5464 | 8185 | 9125 | 2766 | 3663 | 0 |  |  | 5521 | 47514 | 96325 | -48811
HL produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.624 | 237.732 | 99.33 | 476.454 | 360.624 | 540.21 | 602.25 | 182.556 | 241.758 | 0 |  |  | 364.386 | 3135.924
Product Type | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ST | ST | SM | SM/CB | CB/ST/GN | GN/CB |  | CB | CB/ST | 0 |  |  | ST/Ting/GinO
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 9 | 53 | 65 | 0 | 208 | 0 | 51 | 192 | 84 | 37 | 0 | 163 | 0 | 75 | 38 | 24 | 52 | 0 | 181 | 26 | 77 | 292 | 158 | 127 | 149 | 119 | 87 | 67 | 149 | 119 | 87 | 2689
Annanale Supply | 76 | 122 | 95 | 0 | 47 | 0 | 0 | 0 | 117 | 25 | 0 | 31 | 0 | 76 | 201 | 125 | 82 | 147 | 45 | 34 | 35 | 201 | 199 | 240 | 240 | 250 | 106 | 154 | 240 | 250 | 106 | 3244
Total Water Supply | 85 | 175 | 160 | 0 | 255 | 0 | 51 | 192 | 201 | 62 | 0 | 194 | 0 | 151 | 239 | 149 | 134 | 147 | 226 | 60 | 112 | 493 | 357 | 367 | 389 | 369 | 193 | 221 | 389 | 369 | 193 | 5933
0
Theoretical permeate | 58.4 | 94.17 | 71.54 | 0 | 32.12 | 0 | 4.38 | 0 | 90.52 | 17.52 | 0 | 24.09 | 0 | 0 | 0 | 0 | 0 | 0 | 35.04 | 25.55 | 27.01 | 129.94 | 175.93 | 183.23 | 183.96 | 183.96 | 183.96 | 183.96 | 183.96 | 183.96 | 113.88 | 2187.08 | 5857 |  | 18.6771
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 35 | 0 | 45
Service Water Plant Supply | 60 | 35 | 64 | 11 | 54 | 0 | 24 | 100 | 59 | 21 | 21 | 63 | 59 | 109 | 103 | 77 | 113 | 7 | 70 | 118 | 37 | 310 | 227 | 310 | 249 | 149 | 144 | 85 | 0 | 0 | 0 | 2679
Water consumption | 60 | 35 | 64 | 11 | 54 | 0 | 24 | 100 | 59 | 21 | 21 | 63 | 59 | 109 | 103 | 77 | 113 | 7 | 70 | 118 | 37 | 310 | 227 | 310 | 249 | 149 | 144 | 85 | 10 | 35 | 0 | 2724
[19 empty] | 22.8579 | 4.9636 | 3.725 | 6.5064 | 6.2946 | 5.7385 | 4.1345 | 8.1619 | 5.9564 |  |  |  | 0
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 41 | 110 | 124 | 0 | 50 | 0 | 0 | 136 | 147 | 51 | 10 | 19 | 0 | 0 | 123 | 120 | 172 | 133 | 74 | 2 | 0 | 155 | 122 | 110 | 209 | 135 | 147 | 180 | 209 | 135 | 147 | 2861
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4591 | 20.213 | 7.9832 | 34.6553
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 8 | 17 | 69
CIP Process | 48 | 8 | 24 | 0 | 18 | 0 | 1 | 57 | 23 | 1 | 0 | 35 | 0 | 0 | 0 | 13 | 13 | 13 | 0 | 0 | 7 | 65 | 39 | 62 | 39 | 18 | 30 | 8 | 39 | 18 | 30 | 609 |  |  | 15588.1818
Bottles Washer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 55 | 40 | 109 | 51 | 96 | 102 | 41 | 53 | 27 | 102 | 41 | 53 | 789
Bottle Filler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 15 | 7 | 31 | 24 | 26 | 31 | 8 | 17 | 2 | 31 | 8 | 17 | 222
Pasteuriser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 29 | 14 | 14 | 21 | 16 | 52 | 5 | 19 | 3 | 0 | 5 | 19 | 3 | 272
Boiler Supply | 5 | 11 | 5 | 1 | 8 | 0 | 0 | 8 | 8 | 8 | 2 | 2 | 0 | 0 | 7 | 7 | 7 | 5 | 12 | 14 | 14 | 36 | 23 | 30 | 26 | 10 | 12 | 8 | 26 | 10 | 12 | 317
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 19 | 3 | 78
Personnel Consumption
Total water consumption (M3) | 94 | 129 | 153 | 1 | 76 | 0 | 1 | 201 | 178 | 60 | 67 | 57 | 0 | 0 | 130 | 142 | 264 | 164 | 132 | 100 | 82 | 417 | 275 | 376 | 412 | 231 | 262 | 225 | 454.4591 | 278.213 | 289.9832 | 5251.6553
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 225.59 | 137.83 | 42.87 | 0 | 47.89 | #REF! | #REF! | 111.6 | 583.59 | 294.38 | 0 | 851.65 | 0 | 0 | 211.91 | 119.44 | 89.09 | 9.65 | 52 | 82 | 0 | 147 | 7 | 0 | 133 | 0 | 0 | 155 | 0 | 15 | 0 | #REF!
CO2 (kg.) (Filler) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 21.73 | 142.26 | 74.7 | 391.35 | 63.01 | 257.29 | 341.92 | 91.23 | 151.78 | 0 | 260.2 | 299.57 | 0 | 2104.69
Electricity (Kwh.) | 4103 | 2233 | 4187 | 2559 | 3661 | 2561 | 2138 | 3679 | 3798 | 2635 | 4062 | 2568 | 3363 | 1907 | 3799 | 3939 | 4413 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 103499
Fuel (L) | 950 | 1630 | 1260 | 130 | 970 | 0 | 180 | 1600 | 1530 | 920 | 0 | 580 | 0 | 200 | 1480 | 1390 | 1320 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 1280 | 32060
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption | Thu: 73.7983; Fri: 2.5239; Sat: 11.2755; Sun: 10.3473; Mon: 9.8995; Tue: 6.7937; Wed: 6.4591; Thu: 20.213; Fri: 7.9832; Tue: 5.2966 | 18.9195 | 10.2 | -8.7195
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area | Thu: 24.1641; Fri: 0.084128; Sat: 0; Sun: 3.2532; Mon: 3.383; Tue: 2.0362; Wed: 3.4703; Thu: 7.395; Fri: 6.0805; Tue: 4.0342 | 9.1233 | 2.5 | -6.6233
Brewhouse (Hls brewed) | 2.7797 | 2.7127 | 4.8627 | #REF! | 5.0505 |  |  | 3.443 | 3.7243 | [5 empty] | 3.4271 | 4.7188 | 4.2957 | 3.3052 |  |  |  | 5.1359 | 3.4997 | 5.4808 | 5.0827 | 4.4393 | 5.1742 | 5.1858 | 4.6127 | 3.4091 | 3.2443 | #REF! | 2.5 | #REF!
Spent Grains/Wash-down Areas | Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0.21909 | 0.11051 | 0.1 | -0.010511
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Thu: 0; Fri: 0; Sat: 0 | 0 | 0.7 | 0.7
Processing/Cellars | Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0.46654 | 0.22003 | 1 | 0.77997
CIP Process | Thu: 0; Fri: 0; Sat: 0.70472; Sun: 1.3642; Mon: 1.0815; Tue: 1.1477; Wed: 0.64757; Thu: 0.986; Fri: 1.2409; Tue: 0.8233 | 1.942 | 0.7 | -1.242
Bottles Washer | Thu: 4.5716; Fri: 2.3135; Sat: 4.027; Sun: 2.2877; Mon: 1.4142; Tue: 1.7771; Wed: 1.6936; Thu: 2.2459; Fri: 2.1923; Tue: 1.4545 | 2.516 | 2.6 | 0.083995
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler | Thu: 0.97962; Fri: 0.63096; Sat: 0.70472; Sun: 0.65064; Mon: 0.66551; Tue: 0.48129; Wed: 0.51474; Thu: 0.43822; Fri: 0.70318; Tue: 0.46654 | 0.70793 | 0.7 | -0.0079253
Pasteuriser | Thu: 9.4697; Fri: 0.5889; Sat: 1.4094; Sun: 0.44076; Mon: 0.44368; Tue: 0.96259; Wed: 0.083022; Thu: 1.0408; Fri: 0.12409; Tue: 0.08233 | 0.86737 | 0.1 | -0.76737
Boiler Supply | Thu: 3.9185; Fri: 0.5889; Sat: 1.4094; Sun: 0.75558; Mon: 0.63778; Tue: 0.55534; Wed: 0.43171; Thu: 0.54778; Fri: 0.49636; Tue: 0.32932 | 1.0109 | 0.6 | -0.41087
Backwash Supply | Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0 | 0 | 0.5 | 0.5
Refrigeration Unit | Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Tue: 0; Wed: 0; Thu: 0; Fri: 0; Tue: 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 2.7797 | 2.7127 | 4.8627 | #REF! | 5.0505 | 0 | 0 | 3.443 | 3.7243 | 0 | 0 | 0 | 0 | 0 | 3.4271 | 4.7188 | 4.2957 | 3.3052 | 43.1034 | 4.2064 | 8.2553 | 13.888 | 11.1254 | 12.4411 | 11.9237 | 17.093 | 16.0115 | 5.1858 | 4.6127 | 3.4091 | 11.1201 | #REF! | 15.6 | #REF!
Bottling Hall water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.0209 | 3.5334 | 6.1411 | 3.3791 | 2.5234 | 3.221 | 2.2914 | 3.7249 | 3.0195 | 0 | 0 | 0 | 2.0034 | 4.0913 | 6 | 1.9087
CO2 (kg./Hl.) KPI | Thu: 1.698; Fri: 0.34493; Sat: 0; Sun: 0.30853; Mon: 0.019411; Tue: 0; Wed: 0.22084; Thu: 0; Fri: 0; Tue: 0 | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI | Thu: 0.70957; Fri: 0.5984; Sat: 0.75204; Sun: 0.82138; Mon: 0.17472; Tue: 0.47628; Wed: 0.56774; Thu: 0.49974; Fri: 0.62782; Tue: 0 | 0.67115 | 1.7 | 1.0288
Electricity (Kwh./Hl.) KPI | Thu: 142.1761; Fri: 18.3147; Sat: 43.8337; Sun: 9.1383; Mon: 12.0735; Tue: 8.0598; Wed: 7.2296; Thu: 23.8502; Fri: 18.0097; Tue: 11.9489 | 33.0043 | 22 | -11.0043
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI | Thu: 41.7973; Fri: 5.3842; Sat: 12.8863; Sun: 2.6865; Mon: 3.5494; Tue: 2.3694; Wed: 2.1254; Thu: 7.0115; Fri: 5.2946; Tue: 3.5128 | 10.2235 | 7.2 | -3.0235
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 66.9 | 0 | 46.55 | 0 | 31.67 | 0 | 440929.91 | 0 | 595.16 | 309.86 | 0 | 120.78 | 0 | 0 | 39.76 | 7.74 | 3.58 | 0 | 84.98 | 352.14 | 224.52 | 1391.75 | 655.43 | 783.15 | 75.99 | 1542.95 | 338.32 | 0 | 728.42 | 839 | 0 | 449168.56
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Sun; Tue; Thu; Sat; Mon to Tue; Thu; Sun to Tue; Thu to Fri; Sun to Mon
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 147.5 | 405.5 | 255 | #REF! | 99 | 0 | 0 | 395 | 394.7 | 0 | 0 | 0 | 0 | 0 | 358.9 | 254.3 | 400.4 | 402.4 | 0 | 0 | 0 | 301.8 | 348.6 | 200.7 | 411.2 | 304.1 | 284.1 | 347.1 | 453.1 | 396 | 453.1 | #REF!
Product | CB | CB/GN | GN | #REF! | ST | 0 | 0 | ST | CB | 0 | 0 | 0 | 0 | 0 | SM | SM/ST | ST | CB | 0 | 0 | 0 | CB | CB/ST | ST/CB | ST/CB | ST | CB/VM | VM/CB | CB/ST | CB/ST | CB/ST
No. of Brews | 3 | 8 | 5 | #REF! | 2 | 0 | 0 | 8 | 8 | 0 | 0 | 0 | 0 | 0 | 7 | 5 | 8 | 8 | 0 | 0 | 0 | 6 | 7 | 4 | 8 | 6 | 6 | 7 | 9 | 8 | 9 | #REF!
Raw Water In - Nawasa | 80 | 129 | 98 | 0 | 44 | 0 | 6 | 0 | 124 | 24 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 35 | 37 | 178 | 241 | 251 | 252 | 252 | 252 | 252 | 252 | 252 | 156 | 2996
Into RO | [31 empty] | 0 | bar: Sun
| 4103 | 2233 | 4187 | 2559 | 3661 | 2561 | 2138 | 3679 | 3798 | 2635 | 4062 | 2568 | 3363 | 1907 | 3799 | 3939 | 4413 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 4354 | 103499
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-06-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 |  |  | Monthly Target
| Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday |  | Total |  | Diff.
Cases Produced | [18 empty] | 464 | 3602 | 1505 | 7219 | 5464 | 8185 | 9125 | 2766 | 3663 |  | 5521 | 6874 | 569.25 | 54957.25 | 122850 | -67892.75
HL produced | [18 empty] | 30.624 | 237.732 | 99.33 | 476.454 | 360.624 | 540.21 | 602.25 | 182.556 | 241.758 |  | 364.386 | 453.684 | 37.5705 | 3627.1785
Product Type | [18 empty] | ST | ST | SM | SM/CB | CB/ST/GN | GN/CB | CB/ST/CB | CB | CB/ST |  | ST/Ting/GinO | ST/CB | kegs
Hls Brewed |  | 147.5 | 405.5 | 255 | 99 |  |  | 395 | 394.7 | [5 empty] | 358.9 | 254.3 | 400.4 | 402.4 |  |  |  | 301.8 | 348.6 | 200.7 | 411.2 | 304.1 | 284.1 | 347.1 | 453.1 | 396 |  | 6159.4
Product |  | CB | CB/GN | GN | ST |  |  | ST | CB | [5 empty] | SM | SM/ST | ST | CB |  |  |  | CB | CB/ST | ST/CB | ST/CB | ST | CB/VM | VM/CB | CB/ST | CB/ST
No. of Brews |  | 3 | 8 | 5 | 2 |  |  | 8 | 8 | [5 empty] | 7 | 5 | 8 | 8 |  |  |  | 6 | 7 | 4 | 8 | 6 | 6 | 7 | 9 | 8 |  | 123
Brewhouse (Hls brewed) | 2.7797 | 2.7127 | 4.8627 | 0 | 5.0505 |  |  | 3.443 | 3.7243 | [5 empty] | 3.4271 | 4.7188 | 4.2957 | 3.3052 |  |  |  | 5.1359 | 3.4997 | 5.4808 | 5.0827 | 4.4393 | 5.1742 | 5.1858 | 4.1051 | 6.5152 |  | 4.5686
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 9 | 53 | 65 | 0 | 208 | 0 | 51 | 192 | 84 | 37 | 0 | 163 | 0 | 75 | 38 | 24 | 52 | 0 | 181 | 26 | 77 | 292 | 158 | 127 | 149 | 119 | 87 | 67 | 105 | 329 | 0 | 2768
Annanale Supply | 76 | 122 | 95 | 0 | 47 | 0 | 0 | 0 | 117 | 25 | 0 | 31 | 0 | 76 | 201 | 125 | 82 | 147 | 45 | 34 | 35 | 201 | 199 | 240 | 240 | 250 | 106 | 154 | 144 | 99 | 0 | 2891
Total Water Supply | 85 | 175 | 160 | 0 | 255 | 0 | 51 | 192 | 201 | 62 | 0 | 194 | 0 | 151 | 239 | 149 | 134 | 147 | 226 | 60 | 112 | 493 | 357 | 367 | 389 | 369 | 193 | 221 | 249 | 428 | 0 | 5659
0
Theoretical permeate | 58.4 | 94.17 | 71.54 | 0 | 32.12 | 0 | 4.38 | 0 | 90.52 | 17.52 | 0 | 24.09 | 0 | 58.4 | 154.03 | 95.63 | 62.78 | 113.15 | 35.04 | 25.55 | 27.01 | 129.94 | 175.93 | 183.23 | 183.96 | 182.5 | 89.06 | 118.26 | 113.88 | 71.54 | 0 | 2212.63 | 6183 |  | 17.0463
0
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 60 | 35 | 64 | 11 | 54 | 0 | 24 | 100 | 59 | 21 | 21 | 63 | 59 | 109 | 103 | 77 | 113 | 7 | 70 | 118 | 37 | 310 | 227 | 310 | 249 | 149 | 144 | 85 | 171 | 215 | 0 | 3065
Brewhouse | 41 | 110 | 124 | 0 | 50 | 0 | 0 | 136 | 147 | 51 | 10 | 19 | 0 | 0 | 123 | 120 | 172 | 133 | 74 | 2 | 0 | 155 | 122 | 110 | 209 | 135 | 147 | 180 | 186 | 258 | 0 | 2814
Boiler Supply | 5 | 11 | 5 | 1 | 8 | 0 | 0 | 8 | 8 | 8 | 2 | 2 | 0 | 2 | 7 | 7 | 6 | 5 | 12 | 14 | 14 | 36 | 23 | 30 | 26 | 10 | 12 | 8 | 16 | 18 | 0 | 304
Water consumption | 106 | 156 | 193 | 12 | 112 | 0 | 24 | 244 | 214 | 80 | 33 | 84 | 59 | 111 | 233 | 204 | 291 | 145 | 156 | 134 | 51 | 501 | 372 | 450 | 484 | 294 | 303 | 273 | 373 | 491 | 0 | 6183
Water Consumption detail
Brewhouse | 41 | 110 | 124 | 0 | 50 | 0 | 0 | 136 | 147 | 51 | 10 | 19 | 0 | 0 | 123 | 120 | 172 | 133 | 74 | 2 | 0 | 155 | 122 | 110 | 209 | 135 | 147 | 180 | 186 | 258 | 0 | 2814
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CIP Process | 48 | 8 | 24 | 0 | 18 | 0 | 1 | 57 | 23 | 1 | 0 | 35 | 0 | 0 | 21 | 13 | 28 | 15 | 0 | 0 | 7 | 65 | 39 | 62 | 39 | 18 | 30 | 8 | 25 | 29 | 0 | 614
Bottles Washer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 0 | 105 | 3 | 11 | 0 | 0 | 14 | 55 | 40 | 109 | 51 | 96 | 102 | 41 | 53 | 27 | 77 | 95 | 0 | 884
Bottle Filler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 3 | 15 | 7 | 31 | 24 | 26 | 31 | 8 | 17 | 2 | 23 | 30 | 0 | 219
Pasteuriser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 29 | 14 | 14 | 21 | 16 | 52 | 5 | 19 | 3 | 0 | 3 | 4 | 0 | 252
Boiler Supply | 5 | 11 | 5 | 1 | 8 | 0 | 0 | 8 | 8 | 8 | 2 | 2 | 0 | 2 | 7 | 7 | 6 | 5 | 12 | 14 | 14 | 36 | 23 | 30 | 26 | 10 | 12 | 8 | 16 | 18 | 0 | 304
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Personnel Consumption
Backwash Supply | [31 empty] | 0
Total water consumption (M3) | 94 | 129 | 153 | 1 | 76 | 0 | 1 | 201 | 178 | 60 | 16 | 57 | 0 | 107 | 154 | 153 | 278 | 153 | 132 | 100 | 82 | 417 | 275 | 376 | 412 | 231 | 262 | 225 | 330 | 434 | 0 | 5087
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar | [18 empty] | 24.1641 | 0.084128 | 0 | 3.2532 | 3.383 | 2.0362 | 3.4703 | 7.395 | 6.0805 |  | 5.1045 | 5.6868 | 0 | 7.7581 | 3.2 | -4.5581
Spent Grains/Wash-down Areas | [31 empty] | 0 | 0.1 | 0.1
Whirlpool | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.1 | 0.1
Cellars/Filtration | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.7 | 0.7
Processing/Cellars | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 1
CIP Process | [18 empty] | 0 | 0 | 0.70472 | 1.3642 | 1.0815 | 1.1477 | 0.64757 | 0.986 | 1.2409 |  | 0.68609 | 0.63921 | 0 | 1.6928 | 0.7 | -0.99278
Bottles Washer | [18 empty] | 4.5716 | 2.3135 | 4.027 | 2.2877 | 1.4142 | 1.7771 | 1.6936 | 2.2459 | 2.1923 |  | 2.1131 | 2.094 | 0 | 2.4372 | 2.1 | -0.33716
Bottle Filler | [18 empty] | 0.97962 | 0.63096 | 0.70472 | 0.65064 | 0.66551 | 0.48129 | 0.51474 | 0.43822 | 0.70318 |  | 0.6312 | 0.66125 | 0 | 0.60378 | 0.7 | 0.096225
Pasteuriser | [18 empty] | 9.4697 | 0.5889 | 1.4094 | 0.44076 | 0.44368 | 0.96259 | 0.083022 | 1.0408 | 0.12409 |  | 0.08233 | 0.088167 | 0 | 0.69475 | 0.1 | -0.59475
Boiler Supply | [18 empty] | 3.9185 | 0.5889 | 1.4094 | 0.75558 | 0.63778 | 0.55534 | 0.43171 | 0.54778 | 0.49636 |  | 0.43909 | 0.39675 | 0 | 0.83812 | 0.6 | -0.23812
Backwash Supply | [32 empty] | 0.5 | 0.5
Refrigeration Unit | [18 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.1034 | 4.2064 | 8.2553 | 8.7522 | 7.6257 | 6.9603 | 6.841 | 12.6537 | 10.8373 | 0 | 9.0563 | 9.5661 | 0 | 14.0247 | 9.6 | -4.4247
Bottling Hall water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.0209 | 3.5334 | 6.1411 | 3.3791 | 2.5234 | 3.221 | 2.2914 | 3.7249 | 3.0195 | 0 | 2.8267 | 2.8434 | 0 | 3.7357 | 2.9 | -0.83569
Water Plant Total (Before Sand Filter) | 80 | 129 | 98 | 0 | 44 | 0 | 6 | 0 | 124 | 24 | 0 | 33 | 0 | 80 | 211 | 131 | 86 | 155 | 48 | 35 | 37 | 178 | 241 | 251 | 252 | 250 | 122 | 162 | 156 | 98 | 0 | 3031
CO2 (kg.) Filler | [31 empty] | 0
CO2 (kg.) (Ex. Vap'r) | 800 | 400 | [5 empty] | 0 | 400 | 1700 | 0 | 800 |  | 1600 |  | 0 | 0 | 400 | 100 | 1900 | 1000 | 2700 | 3800 | 2400 | 2700 | 1400 | 1100 | -900 | 1900 | 2100 |  | 26300
CO2 Totalizer | 225.59 | 137.83 | 42.87 | 0 | 47.89 | 0 | 0 | 111.6 | 583.59 | 294.38 | 0 | 851.65 | 0 | 0 | 211.91 | 119.44 | 89.09 | 324.97 | 140.53 | 1074.09 | 842.41 | 2705.42 | 2793.24 | 2169.28 | 2670.46 | 1387.41 | 1137.25 | 31.53 | 1891.04 | 2091 | 0 | 21974.47
CO2 (kg.) (FILLER) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 21.73 | 142.26 | 74.7 | 391.35 | 63.01 | 257.29 | 341.92 | 91.23 | 151.78 | 0 | 260.2 | 299.57 | 0 | 2104.69
CO2 (kg.) (BBT SECTION) | 66.9 | 0 | 46.55 | 0 | 31.67 | 0 | 0 | 88.05 | 595.16 | 309.86 | 0 | 120.78 | 0 | 0 | 39.76 | 7.74 | 3.58 | 0 | 84.98 | 352.14 | 224.52 | 1391.75 | 655.43 | 783.15 | 75.99 | 1542.95 | 338.32 | 0 | 728.42 | 839 | 0 | 8326.7
0
CO2 (kg.)Consumption Meter | 225.59 | 137.83 | 42.87 | 0 | 47.89 | #REF! | #REF! | 111.6 | 583.59 | 294.38 |  | 851.65 |  | 0 | 211.91 | 119.44 | 89.09 | 9.65 | 52 | 82 | 0 | 147 | 7 | 0 | 133 | 0 | 0 | 155 | 0 | #REF! | 0
Electricity GRENLEC (Kwh.) | 4103 | 2233 | 4187 | 2559 | 3661 | 2561 | 2138 | 3679 | 3798 | 2635 | 4062 | 2568 | 3363 | 1907 | 3799 | 3939 | 4413 | 4354 | 4418 | 5490 | 4951 | 7202 | 8657 | 8130 | 8611 | 5919 | 6198 | 5071 | 8879 | 9503 | 0 | 142988
| #VALUE! | [30 empty] | #VALUE!
| 5756.3 | 3933.8 | 5173.2 | 3679 | 3038 | 5050.9 | 5233 | 4099.4 | 4446 | 3898.4 | 4812.1 | 3240.3 | 5131.1 | 4708.4 | 5667 | 5455.3 | 5668.8 | 6836.4 | 5618.2 | 8617.3 | 9986.4 | 9342.5 | 9915.8 | 739410% | 760640% | 6276.9 | 10015.3 | 10697.4 | 0 | 180670.4 | 0 | 351968.1
Electricity PV System Target= 1194 (Kwh) | 1412.6 | 1624.1 | 1569.3 | 1374.8 | 1512.2 | 1118 | 900 | 1371.9 | 1435 | 1464.4 | 384 | 1330.4 | 1449.1 | 1333.3 | 1332.1 | 769.4 | 1254 | 1101.3 | 1250.8 | 1346.4 | 667.2 | 1415.3 | 1329.4 | 1212.5 | 1304.8 | 1475.1 | 1408.4 | 1205.9 | 1136.3 | 1194.4 | 0 | 37682.4
Fuel (L) | 950 | 1630 | 1260 | 130 | 970 | 0 | 180 | 1600 | 1530 | 920 | 0 | 580 | 0 | 200 | 1480 | 1390 | 1320 | 1280 | 1860 | 1820 | 1280 | 2920 | 3090 | 2840 | 3320 | 1990 | 2450 | 1960 | 3070 | 3230 | 0 | 45250
Steam Mass Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.306 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 533.321 | 1236.047 | 0 | 0 | 0 | 0 | 43.333 | 1.049 | 9.092 | 0 | 0 | 0 | 0 | 1856.148
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff | %
Total water consumption | [18 empty] | 73.7983 | 2.5239 | 11.2755 | 10.3473 | 9.8995 | 6.7937 | 6.4591 | 20.213 | 7.9832 |  | 6.8334 | 9.4339 | 0 | 15.6017 | 10.2 | -5.4017 | 152.9574
[32 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI | [18 empty] | 3.2654 | 7.9922 | 10.0675 | 5.6669 | 10.5373 | 4.4427 | 4.4832 | 7.6689 | 4.55 |  | 5.2143 | 4.6288 | 0 | 7.2508 | 5 | -2.2508 | 145.0163
CO2 Filler (kg./Hl.) KPI | [18 empty] | 0.70957 | 0.5984 | 0.75204 | 0.82138 | 0.17472 | 0.47628 | 0.56774 | 0.49974 | 0.62782 |  | 0.71408 | 0.66031 | 0 | 0.58026 | 1.7 | 1.1197 | 34.1327
Electricity (Kwh./Hl.) KPI | [18 empty] | 185.1097 | 28.7568 | 56.561 | 18.0863 | 27.692 | 17.2942 | 16.4646 | 40.5032 | 31.4629 |  | 27.4854 | 23.579 | 0 | 49.8102 | 22 | -27.8102 | 226.4099
[32 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI | [18 empty] | 60.7367 | 7.6557 | 12.8863 | 6.1286 | 8.5685 | 5.2572 | 5.5127 | 10.9008 | 10.1341 |  | 8.4251 | 7.1195 | 0 | 12.4753 | 7.2 | -5.2753 | 173.2675
Total Bottles Washed | [31 empty] | 0 |  | .
Bottle Washer (Including rejects) | [31 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 66.9 | 0 | 46.55 | 0 | 31.67 | 0 | 440929.91 | 0 | 595.16 | 309.86 | 0 | 120.78 | 0 | 0 | 39.76 | 7.74 | 3.58 | 0 | 84.98 | 352.14 | 224.52 | 1391.75 | 655.43 | 783.15 | 75.99 | 1542.95 | 338.32 | 0 | #REF! | #REF! | 839 | #REF!
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | 0% |  | 0% |  | 0% |  | 0% |  | 0% | 0% |  | 0% |  |  | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | #REF! | #REF! | 0% | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 | #REF!
Tanks on Collection
Into RO | _ | 129 | [24 empty] | _ | _ |  |  | _ | 129
| 4103 |  | 4187 | 2559 | 3661 | 2561 | 2138 | 3679 | 3798 | 2635 | 4062 | 2568 | 3363 | 1907 | 3799 | 3939 | 4413 | 4354 | 4418 | 5490 | 4951 | 7202 | 8657 | 8130 | 8611 | 5919 | 6198 | 5071 | 8879 | 9503 | 0 | 142988
2233
[32 empty] | 20.857 | %
Note on F14: Kaylil Baptiste: 1 BREW DUMPED
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on C74: Tank A 0kgs Tank B 0kgs Tank C 17500 Kgs mobile approx 0 Kgs
Note on D74: Tank A 0kgs Tank B 0kgs Tank C 17100 Kgs mobile approx 0 Kgs
Note on I74: Tank A 0kgs Tank B 0kgs Tank C 17100 Kgs mobile approx 0 Kgs
Note on J74: Tank A 0kgs Tank B 0kgs Tank C 17100 Kgs mobile approx 0 Kgs
Note on K74: Tank A 0kgs Tank B 0kgs Tank C 16700 Kgs mobile approx 0 Kgs
Note on L74: Tank A 0kgs Tank B 0kgs Tank C 15000Kgs mobile approx 0 Kgs
Note on M74: Tank A 0kgs Tank B 0kgs Tank C 15000Kgs mobile approx 0 Kgs
Note on N74: Tank A 0kgs Tank B 0kgs Tank C 14200Kgs mobile approx 0 Kgs
Note on O74: Unaccounted from mobile on 15/6/26
Note on P74: Tank A 0kgs Tank B 0kgs Tank C 14200Kgs mobile approx 16400Kgs
Note on Q74: Tank A 2400 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on R74: Tank A 2400 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on S74: Tank A 2400 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on T74: Tank A 2000 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on U74: Tank A 1900 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on V74: Tank A 00 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 14000Kgs
Note on W74: Tank A 00 kgs Tank B 0kgs Tank C 14200Kgs mobile approx 13000Kgs
Note on X74: Tank A 2900 kgs( was Filled to 4000) Tank B 0kgs Tank C 20000Kgs mobile approx 0Kgs Unaccounted 1600kgs
Note on Y74: Tank A 0 kgs Tank B 0kgs Tank C19100Kgs mobile approx 16800Kgs
Note on Z74: Tank A 0 kgs Tank B 0kgs Tank C16700Kgs mobile approx 16800Kgs
Note on AA74: Tank A 0 kgs Tank B 0kgs Tank C15000Kgs mobile approx 15800Kgs
Note on AB74: Tank A 11400 kgs Tank B 0kgs Tank C18300Kgs mobile approx 0Kgs
Note on AC74: Tank A 11400 kgs Tank B 0kgs Tank C18300Kgs mobile approx 1300Kgs 1400 Kgs 0ver weighed amounts
Note on AD74: Tank A 11400 kgs Tank B 0kgs Tank C18300Kgs mobile approx 1300Kgs
Note on AE74: Tank A 10000 kgs Tank B 0kgs Tank C18300Kgs mobile approx 0Kgs
Note on AF74: Tank A 8400 kgs Tank B 0kgs Tank C18300Kgs mobile approx 0Kgs
Note on K75: Alexander Dominguez-Ramon: New configuration parameters have been adjusted on Totalizer Flowmeter Prowirl R200 (density, temperature) 4:00 PM
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR JUNE 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 236326 | 9 | -71 | 63381 | 1348630 | 80 | 97122 | 0 | 1348630 | -1348630 | -1348630 | 0 | 0 | 18 |  |  | #DIV/0!
2 | 236335 | 53 | -76 | 0 | 1348710 | 129 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 106 |  |  | #DIV/0!
3 | 236388 | 65 | -33 | 0 | 1348839 | 98 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 130 |  |  | #DIV/0!
4 | 236453 | 0 | 0 | 0 | 1348937 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
5 | 236453 | 208 | 164 | 0 | 1348937 | 44 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 416 |  |  | #DIV/0!
6 | 236661 | 0 | 0 | 0 | 1348981 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
7 | 236661 | 51 | 45 | 0 | 1348981 | 6 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 102 |  |  | #DIV/0!
8 | 236712 | 192 | 192 | 0 | 1348987 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 384 |  |  | #DIV/0!
9 | 236904 | 84 | -40 | 0 | 1348987 | 124 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 168 |  |  | #DIV/0!
10 | 236988 | 37 | 13 | 0 | 1349111 | 24 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 74 |  |  | #DIV/0!
11 | 237025 | 0 | 0 | 0 | 1349135 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
12 | 237025 | 163 | 130 | 0 | 1349135 | 33 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 326 |  |  | #DIV/0!
13 | 237188 | 0 | 0 | 0 | 1349168 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
14 | 237188 | 75 | -5 | 0 | 1349168 | 80 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 150 |  |  | #DIV/0!
15 | 237263 | 38 | -173 | 0 | 1349248 | 211 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 76 |  |  | #DIV/0!
16 | 237301 | 24 | -107 | 0 | 1349459 | 131 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 48 |  |  | #DIV/0!
17 | 237325 | 52 | -34 | 0 | 1349590 | 86 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 104 |  |  | #DIV/0!
18 | 237377 | 0 | -155 | 0 | 1349676 | 155 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
19 | 237377 | 181 | 133 | 0 | 1349831 | 48 | 97122 | 0 | 0 | 0 | 0 | 0 | 3 | 362 |  |  | #DIV/0!
20 | 237558 | 26 | -9 | 0 | 1349879 | 35 | 97122 | 0 | 0 | 0 | 0 | 0 | 15 | 52 |  |  | #DIV/0!
21 | 237584 | 77 | 40 | 0 | 1349914 | 37 | 97122 | 0 | 0 | 0 | 0 | 0 | 7 | 154 |  |  | #DIV/0!
22 | 237661 | 292 | 114 | 0 | 1349951 | 178 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 584 |  |  | #DIV/0!
23 | 237953 | 158 | -83 | 0 | 1350129 | 241 | 97122 | 0 | 0 | 0 | 0 | 0 | 24 | 316 |  |  | #DIV/0!
24 | 238111 | 127 | -124 | 0 | 1350370 | 251 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 254 |  |  | #DIV/0!
25 | 238238 | 149 | -103 | 0 | 1350621 | 252 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 298 |  |  | #DIV/0!
26 | 238387 | 119 | -131 | 0 | 1350873 | 250 | 97122 | 0 | 0 | 0 | 0 | 0 | 8 | 238 |  |  | #DIV/0!
27 | 238506 | 87 | -35 | 0 | 1351123 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 17 | 174 |  |  | #DIV/0!
28 | 238593 | 67 | -95 | 0 | 1351245 | 162 | 97122 | 0 | 0 | 0 | 0 | 0 | 2 | 134 |  |  | #DIV/0!
| 238660 |  | 0 |  | 1351407 |  | 97122
Total |  | 2334 | -443 |  |  | 2777 |  | 0 | 1348630 | -1348630 | -1348630 | 0 | 166 | 4668 | 0 | 0 | #DIV/0!