## Entries May 2026
| ENTRIES FOR DAILY CONS. MONITOR | [12 empty] | ENTRIES FOR DAILY CONS. MONITOR
Service 227.3 cubic meters (2273 Hls)Filtered 189.3 cubic meters(1893 Hls)
|  |  | FUEL | [5 empty] | ELECT. |  | CO2 |  |  | WATER | [17 empty] | CO2 Scrubber (m3) | Supply to Washdown Area (m3) | Supply to RUs (m3) | Steam Mass Flow Meter | CO2 TANKS' READING
| Boilers tot. | Boiler 1 | Gen. meter | Tank level | Boiler 1 | Boiler 2 | Gen | Meter1 | Meter 2 | Gen Meter | Consumption (BBT SECTION) (kg) | Consumption (Totalizer Flowmeter) | Consumption (Filler) (kg) | Nawasa Meter (m3) | Annandale Supply (m3) | Service Supply to Plant (m3) | Cellars/Filtration (m3) | Brewhouse Meter (m3) | Cellars/Process Areas (m3) | Pasteuriser (m3) | Water Plant-Nawasa Annadale (m3) | Water Plant-Well # 1 (m3) | CIP Process | Bottle Washer | Boiler | Permeate #1 | Permeate #2 | Bottle Filler (m3) | RO # 1 Totaliser (m3) | RO # 2 Totaliser (m3) | Recovered Water (m3) |  |  |  |  | Tank "C" | Tank "A" | Tank "B" | Mobile Tanker
DATE | (liters) | (liters) | (Imp. gals) | (inches) | Hrs | Hrs | Hrs. | (Kwhr) | (Kwhr) | (Kwhr) |  | (kg) | [10 empty] | (m3) | (m3) | (m3) | [10 empty] | inH2O | (Kg.) | (Kg.) | (pounds)
1 | 8185550 |  |  | 64 | 9079.9 | 68225 |  | 978969 |  | 468000 | 23965.65 | 423063.03 | 63182.72 | 231941 | 65287 | 964847 |  | 80995 |  | 22587 | 1344858 |  | 44524 | 61386 | 13446 | 97122 |  | 4803 | 263138 | [5 empty] | 7362269.35
2 | 8185550 |  |  | 64 | 9079.9 | 68225 |  | 981534 |  | 468000 | 23965.65 | 423063.03 | 63182.72 | 231941 | 65318 | 964894 |  | 81121 |  | 22587 | 1344858 |  | 44524 | 61386 | 13446 | 97122 |  | 4803 | 263138 | [5 empty] | 7362269.35
3 | 8186750 |  |  | 64 | 9089.4 | 68225 |  | 985102 |  | 468000 | 23965.65 | 423714.56 | 63182.72 | 232031 | 65415 | 965001 |  | 81228 |  | 22587 | 1344993 |  | 44552 | 61448 | 13451 | 97122 |  | 4803 | 263184 | [5 empty] | 7362709.105
4 | 8187940 |  |  | 64 | 9096.7 | 68225 |  | 988265 |  | 468000 | 23966 | 423718.44 | 63182.72 | 232074 | 65431 | 965059 |  | 81291 |  | 22587 | 1345031 |  | 44583 | 61448 | 13457 | 97122 |  | 4803 | 263184 | [5 empty] | 7362709.105
5 | 8191100 |  |  | 64 | 9116.3 | 68225 |  | 995253 |  | 468000 | 24725.64 | 425569.4 | 63338.25 | 232259 | 65649 | 965312 |  | 81429 |  | 22601 | 1345215 |  | 44659 | 61544 | 13480 | 97122 |  | 4829 | 263198 | [5 empty] | 7362709.105
6 | 8193480 |  |  | 64 | 9132 | 68225 |  | 1000493 |  | 468000 | 25703.13 | 428049.27 | 63531.36 | 232341 | 65798 | 965504 |  | 81487 |  | 22606 | 1345395 |  | 44667 | 61602 | 13490 | 97122 |  | 4856 | 263198 | [5 empty] | 7362709.105
7 | 8196620 |  |  | 64 | 9152.2 | 68225 |  | 1006725 |  | 468000 | 26312.17 | 431116.94 | 63948.3 | 232538 | 65978 | 965794 |  | 81610 |  | 22609 | 1345585 |  | 44721 | 61730 | 13506 | 97122 |  | 4886 | 263221 | [5 empty] | 7362709.105
8 | 8199730 |  |  | 64 | 9173.4 | 68225 |  | 1013547 |  | 468000 | 27361.23 | 433552.38 | 64254.46 | 232833 | 66109 | 966072 |  | 81715 |  | 22616 | 1345722 |  | 44767 | 61848 | 13521 | 97122 |  | 4913 | 263249 | [5 empty] | 7362709.105
9 | 8202700 |  |  | 64 | 9192.8 | 68225 |  | 1019433 |  | 468000 | 27846.54 | 436266.94 | 64570.29 | 232999 | 66299 | 966312 |  | 81967 |  | 22623 | 1345922 |  | 44793 | 61953 | 13536 | 97122 |  | 4936 | 263249 | [5 empty] | 7362709.105
10 | 8205330 |  |  | 64 | 9210.1 | 68225 |  | 1024995 |  | 468000 | 28257.11 | 439138.75 | 64821.71 | 233054 | 66468 | 966490 |  | 82037 |  | 22627 | 1346099 |  | 44832 | 62027 | 13554 | 97122 |  | 4957 | 263249 | [5 empty] | 7362709.105
11 | 8206220 |  |  | 64 | 9216 | 68225 |  | 1027994 |  | 468000 | 28257.11 | 439212.88 | 64821.71 | 233143 | 66553 | 966563 |  | 82037 |  | 22627 | 1346189 |  | 44833 | 62037 | 13558 | 97122 |  | 4957 | 263249 | [5 empty] | 7362783.585
12 | 8210070 |  |  | 64 | 9238.5 | 68225 |  | 1034971 |  | 468000 | 28875 | 444296 | 65214 | 233393 | 66670 | 966885 |  | 82188 |  | 22650 | 1346311 |  | 44928 | 62146 | 13586 | 97122 |  | 4982 | 263249 | [5 empty] | 7362783.585
13 | 8212740 |  |  | 64 | 9256.1 | 68225 |  | 1040850 |  | 468000 | 29821.82 | 448752.91 | 65563.89 | 233634 | 66873 | 967127 |  | 82302 |  | 22662 | 1346523 |  | 44962 | 62263 | 13602 | 97122 |  | 5011 | 263273 | [5 empty] | 7367283.585
14 | 8215700 |  |  | 64 | 9275.4 | 68225 |  | 1046935 |  | 468000 | 32073 | 452466 | 65951 | 233849 | 67081 | 967437 |  | 82383 |  | 22667 | 1346743 |  | 45042 | 62367 | 13624 | 97122 |  | 5041 | 263304 | [5 empty] | 7367283.585
15 | 8218870 |  |  | 64 | 9295.8 | 68225 |  | 1053246 |  | 468000 | 32608 | 455397 | 66312 | 234113 | 67259 | 967715 |  | 82502 |  | 22680 | 1346930 |  | 45099 | 62474 | 13645 | 97122 |  | 5070 | 263304 | [5 empty] | 7367283.585
16 | 8221890 |  |  | 64 | 9315.2 | 68225 |  | 1059443 |  | 468000 | 33291 | 458814 | 66563 | 234457 | 67340 | 967961 |  | 82732 |  | 22687 | 1347014 |  | 45174 | 62545 | 13666 | 97122 |  | 5091 | 263304 | [5 empty] | 7367283.585
17 | 8224070 |  |  | 64 | 9330.5 | 68225 |  | 1063988 |  | 468000 | 33963.41 | 460860.81 | 66806.84 | 234466 | 67495 | 968048 |  | 82759 |  | 22688 | 1347177 |  | 45191 | 62616 | 13680 | 97122 |  | 5109 | 263304 | [5 empty] | 7367283.585
18 | 8225000 |  |  | 64 | 9336.3 | 68225 |  | 1067301 |  | 468000 | 33963.41 | 460860.81 | 66806.84 | 234466 | 67548 | 968190 |  | 82759 |  | 22688 | 1347266 |  | 45191 | 62649 | 13686 | 97122 |  | 5109 | 263304 | [5 empty] | 7367283.585
19 | 8228740 |  |  | 64 | 9358.1 | 68225 |  | 1074230 |  | 468000 | 35127.29 | 464128.31 | 67178.77 | 234694 | 67737 | 968485 |  | 82898 |  | 22704 | 1347430 |  | 45246 | 62762 | 13707 | 97122 |  | 5140 | 263304 | [5 empty] | 7367283.585
20 | 8232010 |  |  | 64 | 9379.4 | 68225 |  | 1081248 |  | 468000 | 36066.2 | 468306.34 | 67511.73 | 234902 | 67907 | 968758 |  | 83050 |  | 22715 | 1347610 |  | 45301 | 62861 | 13725 | 97122 |  | 5170 | 263304 | [5 empty] | 7367283.585
21 | 8235500 |  |  | 64 | 9400.4 | 68225 |  | 1087847 |  | 468000 | 36971.43 | 471935.63 | 67912.31 | 235105 | 68083 | 969015 |  | 83248 |  | 22728 | 1347795 |  | 45317 | 62988 | 13744 | 97122 |  | 5202 | 263304 | [5 empty] | 7367283.585
22 | 8238780 |  |  | 64 | 9420.9 | 68225 |  | 1094573 |  | 468000 | 38491.59 | 474692.25 | 68212 | 235446 | 68199 | 969253 |  | 83413 |  | 22732 | 1347917 |  | 45366 | 63084 | 13765 | 97122 |  | 5229 | 263350 | [5 empty] | 7367283.585
23 | 8241120 |  |  | 64 | 9437.1 | 68225 |  | 1100343 |  | 468000 | 38843.13 | 476497.5 | 68388.24 | 235685 | 68286 | 969439 |  | 83452 |  | 22734 | 1348008 |  | 45404 | 63154 | 13781 | 97122 |  | 5250 | 263397 | [5 empty] | 7367283.585
24 | 8242010 |  |  | 64 | 9444.1 | 68225 |  | 1103751 |  | 468000 | 38843.13 | 476497.5 | 68388.24 | 235748 | 68347 | 969522 |  | 83545 |  | 22734 | 1348071 |  | 45422 | 63187 | 13785 | 97122 |  | 5251 | 263397 | [5 empty] | 7367283.585
25 | 8242010 |  |  | 64 | 9444.1 | 68225 |  | 1107377 |  | 468000 | 38843.13 | 476497.5 | 68388.24 | 235748 | 68347 | 969534 |  | 83545 |  | 22734 | 1348071 |  | 45422 | 63187 | 13785 | 97122 |  | 5251 | 263397 | [5 empty] | 7367283.585
26 | 8242010 |  |  | 64 | 9444.1 | 68225 |  | 1109388 |  | 468000 | 38843.13 | 476497.5 | 68388.24 | 235801 | 68347 | 969594 |  | 83545 |  | 22734 | 1348071 |  | 45422 | 63187 | 13785 | 97122 |  | 5251 | 263397 | [5 empty] | 7367283.585
27 | 8245130 |  |  | 64 | 9463.8 | 68225 |  | 1114227 |  | 468000 | 39305.25 | 477676.16 | 68527.17 | 235932 | 68419 | 969732 |  | 83617 |  | 22738 | 1348145 |  | 45448 | 63256 | 13808 | 97122 |  | 5267 | 263397 | [5 empty] | 7367283.585
28 | 8248540 |  |  | 64 | 9484.8 | 68225 |  | 1119848 |  | 468000 | 39881.6 | 479643.47 | 68709.88 | 236113 | 68627 | 969985 |  | 83734 |  | 22749 | 1348365 |  | 45506 | 63351 | 13830 | 97122 |  | 5292 | 263397 | [5 empty] | 7367346.698
29 | 8250200 |  |  | 64 | 9495.4 | 68225 |  | 1124802 |  | 468000 | 39912 | 480413 | 68709.88 | 236219 | 68785 | 970092 |  | 83786 |  | 22750 | 1348559 |  | 45581 | 63375 | 13830 | 97122 |  | 5297 | 263397 | [5 empty] | 7367346.698
30 | 8251630 |  |  | 64 | 9507 | 68225 |  | 1127298 |  | 468000 | 39914.21 | 480535.91 | 68740.49 | 236326 | 68880 | 970181 |  | 83979 |  | 22750 | 1348630 |  | 45589 | 63381 | 13850 | 97122 |  | 5299 | 263397 | [5 empty] | 7367346.698
31 | 8251630 |  |  | 64 | 9507 | 68225 |  | 1130122 |  | 468000 | 39914.21 | 480535.91 | 68740.49 | 236326 | 68880 | 970200 |  | 83979 |  | 22750 | 1348630 |  | 45591 | 63381 | 13852 | 97122 |  | 5299 | 263397 | [5 empty] | 7367346.698
1 | 8251630 |  |  | 64 | 9507 | 68225 |  | 1132857 |  | 468000 | 39914.21 | 480535.91 | 68740.49 | 236326 | 68880 | 970215 |  | 83979 |  | 22750 | 1348630 |  | 45591 | 63381 | 13852 | 97122 |  | 5299 | 263397 | [5 empty] | 7367346.698

## Utility Analysis May 2026
GRENADA BREWERIES LIMITED
UTILITY ANALYSIS
MONTH: | [7 empty] | 2007-08-01
DATE |  |  | ELECTRICITY GRENLEC | Solar System CARIB | % (Solar/Total Usage) | CARIB GENSET | ELECTRICITY TOTAL | WATER | FUEL | CO2 | PRODUCTION - HL |  |  |  |  | UTILITY RATIOS
| METER 1 | METER 2 | [13 empty] | Elect | Water | Fuel | CO2
[6 empty] | USAGE (kwh) | USAGE (kwh) | USAGE (Hl) | USAGE (l) | USAGE (Kg.) | BREWED | BOTTLED | KEGS | OTHER | TOTAL | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
1 | 2565 | 0 | 2565 | 1667.8 | 39.4% | 0 | 4232.8 | 310 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3568 | 0 | 3568 | 1703.5 | 32.32% | 0 | 5271.5 | 1870 | 1200 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3163 | 0 | 3163 | 1529.1 | 32.59% | 0 | 4692.1 | 590 | 1190 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 6988 | 0 | 6988 | 1647 | 19.07% | 0 | 8635 | 4030 | 3160 | 2100 | 0 | 0 | 0 | 0 | 356.07 | 24.2508 | 11.318 | 8.8747 | 5.8977
5 | 5240 | 0 | 5240 | 1331.7 | 20.26% | 0 | 6571.7 | 2310 | 2380 | 2700 | 0 | 0 | 0 | 0 | 182.028 | 36.1027 | 12.6904 | 13.0749 | 14.8329
6 | 6232 | 0 | 6232 | 1668.3 | 21.12% | 0 | 7900.3 | 3770 | 3140 | 2500 | 0 | 0 | 0 | 0 | 662.31 | 11.9284 | 5.6922 | 4.741 | 3.7747
7 | 6822 | 0 | 6822 | 1445.2 | 17.48% | 0 | 8267.2 | 4260 | 3110 | 2300 | 0 | 0 | 0 | 0 | 501.138 | 16.4969 | 8.5007 | 6.2059 | 4.5896
8 | 5886 | 0 | 5886 | 1711.6 | 22.53% | 0 | 7597.6 | 3560 | 2970 | 2100 | 0 | 0 | 0 | 0 | 433.488 | 17.5267 | 8.2125 | 6.8514 | 4.8444
9 | 5562 | 0 | 5562 | 1597.4 | 22.31% | 0 | 7159.4 | 2240 | 2630 | 2000 | 0 | 0 | 0 | 0 | 386.298 | 18.5334 | 5.7986 | 6.8082 | 5.1774
10 | 2999 | 0 | 2999 | 1554.8 | 34.14% | 0 | 4553.8 | 1740 | 890 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 6977 | 0 | 6977 | 1344.1 | 16.15% | 0 | 8321.1 | 3670 | 3850 | 2800 | 0 | 0 | 0 | 0 | 455.466 | 18.2694 | 8.0577 | 8.4529 | 6.1475
12 | 5879 | 0 | 5879 | 1490.9 | 20.23% | 0 | 7369.9 | 4440 | 2670 | 4100 | 0 | 0 | 0 | 0 | 598.884 | 12.3061 | 7.4138 | 4.4583 | 6.8461
13 | 6085 | 0 | 6085 | 1519.4 | 19.98% | 0 | 7604.4 | 4230 | 2960 | 3300 | 0 | 0 | 0 | 0 | 558.096 | 13.6256 | 7.5793 | 5.3037 | 5.913
14 | 6311 | 0 | 6311 | 1589.1 | 20.11% | 0 | 7900.1 | 4420 | 3170 | 2400 | 0 | 0 | 0 | 0 | 572.352 | 13.8029 | 7.7225 | 5.5385 | 4.1932
15 | 6197 | 0 | 6197 | 1319.2 | 17.55% | 0 | 7516.2 | 4250 | 3020 | 2500 | 0 | 0 | 0 | 0 | 350.79 | 21.4265 | 12.1155 | 8.6091 | 7.1268
16 | 4545 | 0 | 4545 | 1697.1 | 27.19% | 0 | 6242.1 | 1640 | 2180 | 2800 | 0 | 0 | 0 | 0 | 375.078 | 16.6421 | 4.3724 | 5.8121 | 7.4651
17 | 3313 | 0 | 3313 | 1335.9 | 28.74% | 0 | 4648.9 | 530 | 930 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 6929 | 0 | 6929 | 1454.3 | 17.35% | 0 | 8383.3 | 4170 | 3740 | 2800 | 0 | 0 | 0 | 0 | 566.016 | 14.8111 | 7.3673 | 6.6076 | 4.9469
19 | 7018 | 0 | 7018 | 1440.6 | 17.03% | 0 | 8458.6 | 3780 | 3270 | 3300 | 0 | 0 | 0 | 0 | 445.632 | 18.9811 | 8.4823 | 7.3379 | 7.4052
20 | 6599 | 0 | 6599 | 1312.9 | 16.59% | 0 | 7911.9 | 3790 | 3490 | 2700 | 0 | 0 | 0 | 0 | 599.412 | 13.1994 | 6.3229 | 5.8224 | 4.5044
21 | 6726 | 0 | 6726 | 1588.1 | 19.1% | 0 | 8314.1 | 4570 | 3280 | 2500 | 0 | 0 | 0 | 0 | 510.18 | 16.2964 | 8.9576 | 6.4291 | 4.9002
22 | 5770 | 0 | 5770 | 1471.7 | 20.32% | 0 | 7241.7 | 3260 | 2340 | 2400 | 0 | 0 | 0 | 0 | 345.51 | 20.9595 | 9.4353 | 6.7726 | 6.9463
23 | 3408 | 0 | 3408 | 1501.7 | 30.59% | 0 | 4909.7 | 1240 | 890 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 3626 | 0 | 3626 | 1113.2 | 23.49% | 0 | 4739.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.2005 | 115.0277 | 0 | 0 | 0
25 | 2011 | 0 | 2011 | 1149.6 | 36.37% | 0 | 3160.6 | 530 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 4839 | 0 | 4839 | 1316.5 | 21.39% | 0 | 6155.5 | 2030 | 3120 | 1700 | 0 | 0 | 0 | 0 | 310.53 | 19.8226 | 6.5372 | 10.0473 | 5.4745
27 | 5621 | 0 | 5621 | 1472 | 20.75% | 0 | 7093 | 3890 | 3410 | 2000 | 0 | 0 | 0 | 0 | 432.762 | 16.3901 | 8.9888 | 7.8796 | 4.6215
28 | 4954 | 0 | 4954 | 1528.7 | 23.58% | 0 | 6482.7 | 2640 | 1660 | 1700 | 0 | 0 | 0 | 0 | 98.274 | 65.9656 | 26.8637 | 16.8915 | 17.2986
29 | 2496 | 0 | 2496 | 1526.8 | 37.95% | 0 | 4022.8 | 2020 | 1430 | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 2824 | 0 | 2824 | 1265.2 | 30.94% | 0 | 4089.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 2735 | 0 | 2735 | 1036.1 | 27.47% | 0 | 3771.1 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
MTD
|  |  | Kwhr |  |  | Kwhr | Kwhr | Hl | L | kg. | hl | hl | hl | hl | hl | Elect | Water | Fuel | CO2
Total |  |  | 153888 | 45329.5 | 22.75% | 0 | 199217.5 | 79780 | 66080 | 52900 | 0 | 0 | 0 | 0 | 8781.5145 | KWH/Hl | Hl/hl | Litres/hl | kg./Hl
|  |  | TOTAL | 199217.5 | [11 empty] | 22.686 | 9.085 | 7.5249 | 6.024
Note on A10: Alexander Dominguez-Ramon: HOLLIDAY DAY
Note on E26: Alexander Dominguez-Ramon: The Inverter was disconnected (WiFi Issue), but fix the reading by itself Monday: 489.5 (Previuos register sunday)+ 846.4 (adjust Monday: Total Sunday = 1335.9 kw-h.

## Steam Mass Flow
DATE | Steam Mass Flow Reading
1 | 0
2 | 439.755
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 74.48
11 | 0
12 | 4500
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 63.113
28 | 0
29 | 0
30 | 0
31
5077.348

## Fuel
DAILY FUEL CONSUMPTION FOR MAY 2026
DATE | Boiler 1 | Boiler 1 | Boiler 2 | Boiler 2 | Gen. | Gen | Boiler 1 sp. | Boiler 2 sp. | Gen. sp | Daily cons. | Total Prod.(HL) | Fuel(Litres/HL)
| Cons ( l ) | Hrs | Cons ( l ) | Hrs | Cons ( l ) | Hrs | cons (l/hr) | cons (l/hr) | Cons.(l/hr) | (litres)
1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1200 | 9.5 | 0 | 0 |  |  | 126.3158 | 0 | 0 | 1200 | 0 | 0
3 | 1190 | 7.3 | 0 | 0 |  |  | 163.0137 | 0 | 0 | 1190 | 0 | 0
4 | 3160 | 19.6 | 0 | 0 |  |  | 161.2245 | 0 | 0 | 3160 | 356.07 | 8.8747
5 | 2380 | 15.7 | 0 | 0 |  |  | 151.5924 | 0 | 0 | 2380 | 182.028 | 13.0749
6 | 3140 | 20.2 | 0 | 0 |  |  | 155.4455 | 0 | 0 | 3140 | 662.31 | 4.741
7 | 3110 | 21.2 | 0 | 0 |  |  | 146.6981 | 0 | 0 | 3110 | 501.138 | 6.2059
8 | 2970 | 19.4 | 0 | 0 |  |  | 153.0928 | 0 | 0 | 2970 | 433.488 | 6.8514
9 | 2630 | 17.3 | 0 | 0 |  |  | 152.0231 | 0 | 0 | 2630 | 386.298 | 6.8082
10 | 890 | 5.9 | 0 | 0 |  |  | 150.8475 | 0 | 0 | 890 | 0 | 0
11 | 3850 | 22.5 | 0 | 0 |  |  | 171.1111 | 0 | 0 | 3850 | 455.466 | 8.4529
12 | 2670 | 17.6 | 0 | 0 |  |  | 151.7045 | 0 | 0 | 2670 | 598.884 | 4.4583
13 | 2960 | 19.3 | 0 | 0 |  |  | 153.3679 | 0 | 0 | 2960 | 558.096 | 5.3037
14 | 3170 | 20.4 | 0 | 0 |  |  | 155.3922 | 0 | 0 | 3170 | 572.352 | 5.5385
15 | 3020 | 19.4 | 0 | 0 |  |  | 155.6701 | 0 | 0 | 3020 | 350.79 | 8.6091
16 | 2180 | 15.3 | 0 | 0 |  |  | 142.4837 | 0 | 0 | 2180 | 375.078 | 5.8121
17 | 930 | 5.8 | 0 | 0 |  |  | 160.3448 | 0 | 0 | 930 | 0 | 0
18 | 3740 | 21.8 | 0 | 0 |  |  | 171.5596 | 0 | 0 | 3740 | 566.016 | 6.6076
19 | 3270 | 21.3 | 0 | 0 |  |  | 153.5211 | 0 | 0 | 3270 | 445.632 | 7.3379
20 | 3490 | 21 | 0 | 0 |  |  | 166.1905 | 0 | 0 | 3490 | 599.412 | 5.8224
21 | 3280 | 20.5 | 0 | 0 |  |  | 160 | 0 | 0 | 3280 | 510.18 | 6.4291
22 | 2340 | 16.2 | 0 | 0 |  |  | 144.4444 | 0 | 0 | 2340 | 345.51 | 6.7726
23 | 890 | 7 | 0 | 0 |  |  | 127.1429 | 0 | 0 | 890 | 0 | 0
24 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 41.2005 | 0
25 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
26 | 3120 | 19.7 | 0 | 0 |  |  | 158.3756 | 0 | 0 | 3120 | 310.53 | 10.0473
27 | 3410 | 21 | 0 | 0 |  |  | 162.381 | 0 | 0 | 3410 | 432.762 | 7.8796
28 | 1660 | 10.6 | 0 | 0 |  |  | 156.6038 | 0 | 0 | 1660 | 98.274 | 16.8915
29 | 1430 | 11.6 |  | 0 |  |  | 123.2759 | 0 | 0 | 1430 | 0 | 0
30 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0
| 66080 | 427.1 | 0 | 0 | 0 | 0 | 3973.8224 |  |  |  |  | 0 | 7.2 | 0
AVE. | 2541.5385 | 16.4269 |  |  |  |  | cons (l/hr)

## Water
| DATE | Well Supply (m3) | Nawasa Supply (m3) | Annanale Supply (m3) | RO Water Plant Nawasa (m3) | Service Water Received (m3) | Service Water Supply to Plant (m3) | CO2 Scrubber (m3) | Brewhouse / Old Pepsi Area (m3) | Filtration/Cellars (m3) | Cellars/Process Area (m3) | Pasteuriser (m3) |  |  |  |  | Permeate Produced (m3) | Plant Cons. USAGE (Hl.) |  | Bottle Filler (m3) |  |  | Rus (m3) | Washdown Area (m3) | TOTAL SUPPLY (M3) | Total Prod.(HL) | Water KPI (Hl/Hl)
[13 empty] | CIP Process (m3) | Bottles Washer (m3) | Bottles Filler (m3) | Boiler Supply (m3) |  |  | ∑ Service Water to Processes |  | Water into RO #1 (m3) | Water into RO #2 (m3)
-
| 1 | 0 | 0 | 31 | 0 | 31 | 47 | 0 | 126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 310 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0
| 2 | 0 | 90 | 97 | 135 | 52 | 107 | 0 | 107 | 0 | 0 | 0 | 28 | 62 | 0 | 5 | 0 | 520 | 90 | 0 | 46 | 0 | 0 | 0 | 187 | 0 | 0
| 3 | 0 | 43 | 16 | 38 | 21 | 58 | 0 | 63 | 0 | 0 | 0 | 31 | 0 | 0 | 6 | 0 | 210 | 31 | 0 | 0 | 0 | 0 | 0 | 59 | 0 | 0
| 4 | 0 | 185 | 218 | 184 | 219 | 253 | 0 | 138 | 0 | 0 | 14 | 76 | 96 | 26 | 23 | 0 | 2190 | 186 | 26 | 14 | 0 | 0 | 0 | 403 | 356.07 | 11.318
| 5 | 0 | 82 | 149 | 180 | 51 | 192 | 0 | 58 | 0 | 0 | 5 | 8 | 58 | 27 | 10 | 0 | 510 | 71 | 27 | 0 | 0 | 0 | 0 | 231 | 182.028 | 12.6904
| 6 | 0 | 197 | 180 | 190 | 187 | 290 | 0 | 123 | 0 | 0 | 3 | 54 | 128 | 30 | 16 | 0 | 1870 | 185 | 30 | 23 | 0 | 0 | 0 | 377 | 662.31 | 5.6922
| 7 | 0 | 295 | 131 | 137 | 289 | 278 | 0 | 105 | 0 | 0 | 7 | 46 | 118 | 27 | 15 | 0 | 2890 | 171 | 27 | 28 | 0 | 0 | 0 | 426 | 501.138 | 8.5007
| 8 | 0 | 166 | 190 | 200 | 156 | 240 | 0 | 252 | 0 | 0 | 7 | 26 | 105 | 23 | 15 | 0 | 1560 | 138 | 23 | 0 | 0 | 0 | 0 | 356 | 433.488 | 8.2125
| 9 | 0 | 55 | 169 | 177 | 47 | 178 | 0 | 70 | 0 | 0 | 4 | 39 | 74 | 21 | 18 | 0 | 470 | 117 | 21 | 0 | 0 | 0 | 0 | 224 | 386.298 | 5.7986
| 10 | 0 | 89 | 85 | 90 | 84 | 73 | 0 | 0 | 0 | 0 | 0 | 1 | 10 | 0 | 4 | 0 | 840 | 11 | 0 | 0 | 0 | 0 | 0 | 174 | 0 | 0
| 11 | 0 | 250 | 117 | 122 | 245 | 322 | 0 | 151 | 0 | 0 | 23 | 95 | 109 | 25 | 28 | 0 | 2450 | 227 | 25 | 0 | 0 | 0 | 0 | 367 | 455.466 | 8.0577
| 12 | 0 | 241 | 203 | 212 | 232 | 242 | 0 | 114 | 0 | 0 | 12 | 34 | 117 | 29 | 16 | 0 | 2320 | 163 | 29 | 24 | 0 | 0 | 0 | 444 | 598.884 | 7.4138
| 13 | 0 | 215 | 208 | 220 | 203 | 310 | 0 | 81 | 0 | 0 | 5 | 80 | 104 | 30 | 22 | 0 | 2030 | 189 | 30 | 31 | 0 | 0 | 0 | 423 | 558.096 | 7.5793
| 14 | 0 | 264 | 178 | 187 | 255 | 278 | 0 | 119 | 0 | 0 | 13 | 57 | 107 | 29 | 21 | 0 | 2550 | 177 | 29 | 0 | 0 | 0 | 0 | 442 | 572.352 | 7.7225
| 15 | 0 | 344 | 81 | 84 | 341 | 246 | 0 | 230 | 0 | 0 | 7 | 75 | 71 | 21 | 21 | 0 | 3410 | 153 | 21 | 0 | 0 | 0 | 0 | 425 | 350.79 | 12.1155
| 16 | 0 | 9 | 155 | 163 | 1 | 87 | 0 | 27 | 0 | 0 | 1 | 17 | 71 | 18 | 14 | 0 | 10 | 89 | 18 | 0 | 0 | 0 | 0 | 164 | 375.078 | 4.3724
| 17 | 0 | 0 | 53 | 89 | -36 | 142 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 6 | 0 | -360 | 33 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0
| 18 | 0 | 228 | 189 | 164 | 253 | 295 | 0 | 139 | 0 | 0 | 16 | 55 | 113 | 31 | 21 | 0 | 2530 | 184 | 31 | 0 | 0 | 0 | 0 | 417 | 566.016 | 7.3673
| 19 | 0 | 208 | 170 | 180 | 198 | 273 | 0 | 152 | 0 | 0 | 11 | 55 | 99 | 30 | 18 | 0 | 1980 | 165 | 30 | 0 | 0 | 0 | 0 | 378 | 445.632 | 8.4823
| 20 | 0 | 203 | 176 | 185 | 194 | 257 | 0 | 198 | 0 | 0 | 13 | 16 | 127 | 32 | 19 | 0 | 1940 | 156 | 32 | 0 | 0 | 0 | 0 | 379 | 599.412 | 6.3229
| 21 | 0 | 341 | 116 | 122 | 335 | 238 | 0 | 165 | 0 | 0 | 4 | 49 | 96 | 27 | 21 | 0 | 3350 | 149 | 27 | 46 | 0 | 0 | 0 | 457 | 510.18 | 8.9576
| 22 | 0 | 239 | 87 | 91 | 235 | 186 | 0 | 39 | 0 | 0 | 2 | 38 | 70 | 21 | 16 | 0 | 2350 | 110 | 21 | 47 | 0 | 0 | 0 | 326 | 345.51 | 9.4353
| 23 | 0 | 63 | 61 | 63 | 61 | 83 | 0 | 93 | 0 | 0 | 0 | 18 | 33 | 1 | 4 | 0 | 610 | 51 | 1 | 0 | 0 | 0 | 0 | 124 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.2005 | 0
| 25 | 0 | 53 | 0 | 0 | 53 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 530 | 0 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 0
| 26 | 0 | 131 | 72 | 74 | 129 | 138 | 0 | 72 | 0 | 0 | 4 | 26 | 69 | 16 | 23 | 0 | 1290 | 99 | 16 | 0 | 0 | 0 | 0 | 203 | 310.53 | 6.5372
| 27 | 0 | 181 | 208 | 220 | 169 | 253 | 0 | 117 | 0 | 0 | 11 | 58 | 95 | 25 | 22 | 0 | 1690 | 164 | 25 | 0 | 0 | 0 | 0 | 389 | 432.762 | 8.9888
| 28 | 0 | 106 | 158 | 194 | 70 | 107 | 0 | 52 | 0 | 0 | 1 | 75 | 24 | 5 | 0 | 0 | 700 | 100 | 5 | 0 | 0 | 0 | 0 | 264 | 98.274 | 26.8637
| 29 | 0 | 107 | 95 | 71 | 131 | 89 | 0 | 193 | 0 | 0 | 0 | 8 | 6 | 2 | 20 | 0 | 1310 | 14 | 2 | 0 | 0 | 0 | 0 | 202 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | total | 0 | 4385 | 3593 | 3772 | 4206 | 5353 |  | 2984 |  | 0 | 163 | 1067 | 1995 | 496 | 406 | 0 | 42060 | 3225 | 496 | 259 |  |  |  | 7978 | 8781.5145 | 9.085 | 10.2 | 89.0686
| Gals. |  | 964700
| NAWASA Cost/gal |  | 0.01581
| Proxy NAWASA water Cost |  | 15251.907
| Add basic charge |  | 278.97
15530.877
| Proxy sewage charge (2/3) |  | 10353.918
| Proxy MTD NAWASA cost |  | 25884.795
Note on S4: Note: this is not truly accurate since this includes the service water reading on the inlet and not the outlet side (meters to be installed there)

## Elec.May 2026
DAILY ELECTRICITY CONSUMPTION FOR MAY 2026
DATE | Grenlec | In -house | Solar System | Total Cons. (KW-HR) | Total Prod.(HL) | KPI. Elect (KW-H/Hl)
| In-feed (Kwhr) | Gen. (Kwhr) | Gen. (Kwhr)
1 | 2565 | 0 | 1667.8 | 4232.8 | 0 | 0
2 | 3568 | 0 | 1703.5 | 5271.5 | 0 | 0
3 | 3163 | 0 | 1529.1 | 4692.1 | 0 | 0
4 | 6988 | 0 | 1647 | 8635 | 356.07 | 24.2508
5 | 5240 | 0 | 1331.7 | 6571.7 | 182.028 | 36.1027
6 | 6232 | 0 | 1668.3 | 7900.3 | 662.31 | 11.9284
7 | 6822 | 0 | 1445.2 | 8267.2 | 501.138 | 16.4969
8 | 5886 | 0 | 1711.6 | 7597.6 | 433.488 | 17.5267
9 | 5562 | 0 | 1597.4 | 7159.4 | 386.298 | 18.5334
10 | 2999 | 0 | 1554.8 | 4553.8 | 0 | 0
11 | 6977 | 0 | 1344.1 | 8321.1 | 455.466 | 18.2694
12 | 5879 | 0 | 1490.9 | 7369.9 | 598.884 | 12.3061
13 | 6085 | 0 | 1519.4 | 7604.4 | 558.096 | 13.6256
14 | 6311 | 0 | 1589.1 | 7900.1 | 572.352 | 13.8029
15 | 6197 | 0 | 1319.2 | 7516.2 | 350.79 | 21.4265
16 | 4545 | 0 | 1697.1 | 6242.1 | 375.078 | 16.6421
17 | 3313 | 0 | 1335.9 | 4648.9 | 0 | 0
18 | 6929 | 0 | 1454.3 | 8383.3 | 566.016 | 14.8111
19 | 7018 | 0 | 1440.6 | 8458.6 | 445.632 | 18.9811
20 | 6599 | 0 | 1312.9 | 7911.9 | 599.412 | 13.1994
21 | 6726 | 0 | 1588.1 | 8314.1 | 510.18 | 16.2964
22 | 5770 | 0 | 1471.7 | 7241.7 | 345.51 | 20.9595
23 | 3408 | 0 | 1501.7 | 4909.7 | 0 | 0
24 | 3626 | 0 | 1113.2 | 4739.2 | 41.2005 | 115.0277
25 | 2011 | 0 | 1149.6 | 3160.6 | 0 | 0
26 | 4839 | 0 | 1316.5 | 6155.5 | 310.53 | 19.8226
27 | 5621 | 0 | 1472 | 7093 | 432.762 | 16.3901
28 | 4954 | 0 | 1528.7 | 6482.7 | 98.274 | 65.9656
29 | 2496 | 0 | 1526.8 | 4022.8 | 0 | 0
30 | 2824 | 0 | 1265.2 | 4089.2 | 0 | 0
31 | 2735 | 0 | 1036.1 | 3771.1 |  |  |  | %
MTD | 153888 | 0 | 45329.5 | 199217.5 | 8781.5145 | 22.686 | 22 | 103.1182
TARGET

## PROD.FIG.
PRODUCTION FOR MAY 2026
DATE
| - | BOTTLED (Hl) | KEGS (Hl) | OTHER (Filtered) | Brewed | Transferred | TOTAL ( Hls)
Friday | 1 | [5 empty] | 0
Saturday | 2 | [5 empty] | 0
Sunday | 3 | [5 empty] | 0
Monday | 4 | [5 empty] | 356.07
Tuesday | 5 | [5 empty] | 182.028
Wednesday | 6 | [5 empty] | 662.31
Thursday | 7 | [5 empty] | 501.138
Friday | 8 | [5 empty] | 433.488
Saturday | 9 | [5 empty] | 386.298
Sunday | 10 | [5 empty] | 0
Monday | 11 | [5 empty] | 455.466
Tuesday | 12 | [5 empty] | 598.884
Wednesday | 13 | [5 empty] | 558.096
Thursday | 14 | [5 empty] | 572.352
Friday | 15 | [5 empty] | 350.79
Saturday | 16 | [5 empty] | 375.078
Sunday | 17 | [5 empty] | 0
Monday | 18 | [5 empty] | 566.016
Tuesday | 19 | [5 empty] | 445.632
Wednesday | 20 | [5 empty] | 599.412
Thursday | 21 | [5 empty] | 510.18
Friday | 22 | [5 empty] | 345.51
Saturday | 23 | [5 empty] | 0
Sunday | 24 | [5 empty] | 41.2005
Monday | 25 | [5 empty] | 0
Tuesday | 26 | [5 empty] | 310.53
Wednesday | 27 | [5 empty] | 432.762
Thursday | 28 | [5 empty] | 98.274
Friday | 29 | [5 empty] | 0
Saturday | 30 | [5 empty] | 0
Sunday | 31 | [5 empty] | 0
[6 empty] | TOTAL | 8781.5145
0
Note on C4: Note: Unit of measurement

## CO2
CO2 Daily Consumption for MAY 2026 | [7 empty] | TANK C
[6 empty] | FILLER |  | TAYLOR WHARTON CALIBRATION TANK | [5 empty] | NOT READY
DATE | FILLER Cons. (Kg.) | BMF Cons. (Kg.) | CO2 (kg.) (Ex. Vap'r Flowmeter) | CO2 (kg.) (Ex. Vap'r Calculation) | Total Prod.(HL) | CO2 ( Kg./HL) |  | inH2O | LBS_CO2 | KG_CO2 | READING Today (inH2O) |  |  | DATE | TANK C |  | TANK A | TANK B | INPUTS MOBILE(kg) | STOCK (KG) | TOTAL CONSUMPTION (KG)
[8 empty] | 10 | 722 | 327.4936 |  | POUNDS | KG |  | READING 00:30 hrs (inH2O) | QUANTITY (KG) | QUANTITY (KG) | QUANTITY (KG)
1 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 | 2857 | 1295.9132 | 75 | 12436 | 5640.8737 | 2025-08-01 | 0 | 0 | #REF! | #REF! | #REF! | #REF!
2 | 0 | 0 | 651.53 | 500 | 0 | 0 |  | 30 | 4344 | 1970.4049 |  | 12436 | 5642.4682 | 2025-08-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 3.88 | 400 | 0 | 0 |  | 40 | 6143 | 2786.4175 |  |  | 2.6244 | 2025-08-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 155.53 | 759.64 | 1850.96 | 2100 | 356.07 | 5.8977 |  | 50 | 7941 | 3601.9764 |  |  |  | 2025-08-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 193.11 | 977.49 | 2479.87 | 2700 | 182.028 | 14.8329 |  | 60 | 9739 | 4417.5353 |  |  |  | 2025-08-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 416.94 | 609.04 | 3067.67 | 2500 | 662.31 | 3.7747 |  | 70 | 11537 | 5233.0943 |  |  |  | 2025-08-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 306.16 | 1049.06 | 2435.44 | 2300 | 501.138 | 4.5896 |  | 80 | 13335 | 6048.6532 |  |  |  | 2025-08-07 | 0 | 0 | 0 | 0 | 0 | 0
8 | 315.83 | 485.31 | 2714.56 | 2100 | 433.488 | 4.8444 |  | 90 | 15134 | 6864.6658 |  |  |  | 2025-08-08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 251.42 | 410.57 | 2871.81 | 2000 | 386.298 | 5.1774 |  | 100 | 16932 | 7680.2247 |  |  |  | 2025-08-09 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 74.13 | 600 | 0 | 0 |  | 110 | 18730 | 8495.7836 |  |  |  | 2025-08-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 392.29 | 617.89 | 5083.12 | 2800 | 455.466 | 6.1475 |  | 120 | 20528 | 9311.3426 |  |  |  | 2025-08-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 349.89 | 946.82 | 4456.91 | 4100 | 598.884 | 6.8461 |  | 130 | 22326 | 10126.9015 |  |  |  | 2025-08-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 387.11 | 2251.18 | 3713.09 | 3300 | 558.096 | 5.913 |  | 140 | 24125 | 10942.914 |  |  |  | 2025-08-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 361 | 535 | 2931 | 2400 | 572.352 | 4.1932 |  | 150 | 25923 | 11758.473 |  |  |  | 2025-08-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 251 | 683 | 3417 | 2500 | 350.79 | 7.1268 |  | 160 | 27721 | 12574.0319 |  |  |  | 2025-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 243.84 | 672.41 | 2046.81 | 2800 | 375.078 | 7.4651 |  | 170 | 29519 | 13389.5909 |  |  |  | 2025-08-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 |  | 180 | 31317 | 14205.1498 |  |  |  | 2025-08-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 371.93 | 1163.88 | 3267.5 | 2800 | 566.016 | 4.9469 |  | 190 | 33116 | 15021.1623 |  |  |  | 2025-08-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 332.96 | 938.91 | 4178.03 | 3300 | 445.632 | 7.4052 |  | 200 | 34914 | 15836.7213 |  |  |  | 2025-08-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 400.58 | 905.23 | 3629.29 | 2700 | 599.412 | 4.5044 |  | 210 | 36712 | 16652.2802 |  |  |  | 2025-08-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 299.69 | 1520.16 | 2756.62 | 2500 | 510.18 | 4.9002 |  | 220 | 38510 | 17467.8392 |  |  |  | 2025-08-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 176.24 | 351.54 | 1805.25 | 2400 | 345.51 | 6.9463 |  | 230 | 40308 | 18283.3981 |  |  |  | 2025-08-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 |  | 240 | 42107 | 19099.4106 |  |  |  | 2025-08-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 41.2005 | 0 |  | 250 | 43905 | 19914.9696 |  |  |  | 2025-08-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 |  | 260 | 45703 | 20730.5285 |  |  |  | 2025-08-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 138.93 | 462.12 | 1178.66 | 1700 | 310.53 | 5.4745 |  | 270 | 47501 | 21546.0875 |  |  |  | 2025-08-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 182.71 | 576.35 | 1967.31 | 2000 | 432.762 | 4.6215 |  | 280 | 49299 | 22361.6464 |  |  |  | 2025-08-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 30.4 | 769.53 | 1700 | 98.274 | 17.2986 |  | 290 | 51098 | 23177.6589 |  |  |  | 2025-08-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 30.61 | 2.21 | 122.91 | 700 | 0 | 0 |  | 300 | 52896 | 23993.2179 |  |  |  | 2025-08-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 |  | 310 | 54694 | 24808.7768 |  |  |  | 2025-08-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | TARGET | 320 | 56492 | 25624.3358 |  |  |  | 2025-08-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MTD | 5557.77 | 15948.21 | 57472.88 | 52900 | 8781.5145 | 6.024 | 5 | 330 | 58290 | 26439.8947 |  |  |  | 2025-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 340 | 60089 | 27255.9072 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 350 | 60537 | 27459.1166 | [9 empty] | TOTAL | 0

## Daily KPIs CO2
Utilities Daily Consumption
1364
2026-05-01
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Monthly Target
Days | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Total |  | Diff.
Cases Produced |  | 0 | 0 | 5395 | 2758 | 10035 | 7593 | 6568 | 5853 | 0 | 6901 | 9074 | 8456 | 8672 | 5315 | 5683 | 0 | 8576 | 6752 | 9082 | 7730 | 5235 | 0 | 624.25 | 0 | 4705 | 6557 | 1489 |  |  | 0 | 133053.25 | 96325 | 36728.25
HL produced | 0 | 0 | 0 | 356.07 | 182.028 | 662.31 | 501.138 | 433.488 | 386.298 | 0 | 455.466 | 598.884 | 558.096 | 572.352 | 350.79 | 375.078 | 0 | 566.016 | 445.632 | 599.412 | 510.18 | 345.51 | 0 | 41.2005 | 0 | 310.53 | 432.762 | 98.274 |  |  | 0 | 8781.5145
Product Type | 0 | 0 | 0 | GO/VM | CB | CB | ST/GN | GN | GN | 0 | CB | CB/ST | ST/CB | CB/ST/SS/MK | VM/VMG | CB | 0 | SM/CB | CB/ST | ST/CB | CB/ST/CBe | Cbe/Ting/CB | 0 | kegs |  | CB | CB/SM | SM |  |  | 0
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nawasa Supply | 0 | 90 | 43 | 185 | 82 | 197 | 295 | 166 | 55 | 89 | 250 | 241 | 215 | 264 | 344 | 9 | 0 | 228 | 208 | 203 | 341 | 239 | 63 | 0 | 53 | 131 | 181 | 106 | 53 | 131 | 181 | 4643
Annanale Supply | 31 | 97 | 16 | 218 | 149 | 180 | 131 | 190 | 169 | 85 | 117 | 203 | 208 | 178 | 81 | 155 | 53 | 189 | 170 | 176 | 116 | 87 | 61 | 0 | 0 | 72 | 208 | 158 | 0 | 72 | 208 | 3778
Total Water Supply | 31 | 187 | 59 | 403 | 231 | 377 | 426 | 356 | 224 | 174 | 367 | 444 | 423 | 442 | 425 | 164 | 53 | 417 | 378 | 379 | 457 | 326 | 124 | 0 | 53 | 203 | 389 | 264 | 53 | 203 | 389 | 8421
0
Theoretical permeate | 0 | 98.55 | 27.74 | 134.32 | 131.4 | 138.7 | 100.01 | 146 | 129.21 | 65.7 | 89.06 | 154.76 | 160.6 | 160.6 | 160.6 | 160.6 | 160.6 | 160.6 | 131.4 | 135.05 | 89.06 | 66.43 | 45.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.83 | 2698.81 | 8663 |  | 9.865
135.05
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Service Water Plant Supply | 47 | 107 | 58 | 253 | 192 | 290 | 278 | 240 | 178 | 73 | 322 | 242 | 310 | 278 | 246 | 87 | 142 | 295 | 273 | 257 | 238 | 186 | 83 | 12 | 60 | 138 | 253 | 107 | 0 | 0 | 0 | 5245
Water consumption | 47 | 107 | 58 | 253 | 192 | 290 | 278 | 240 | 178 | 73 | 322 | 242 | 310 | 278 | 246 | 87 | 142 | 295 | 273 | 257 | 238 | 186 | 83 | 12 | 60 | 138 | 253 | 107 | 0 | 0 | 0 | 5245
|  |  |  | 7.1053 | 10.5478 | 4.3786 | 5.5474 | 5.5365 | 4.6078 |  | 7.0697 | 4.0408 | 5.5546 | 4.8572 | 7.0127 | 2.3195 |  | 5.2119 | 6.1261 | 4.2875 | 4.665 | 5.3833 |  | 2.9126 |  | 4.444 | 5.8462 | 10.8879
Water Consumption detail | [31 empty] | 0
Brewhouse / Old Pepsi Area | 126 | 107 | 63 | 138 | 58 | 123 | 105 | 252 | 70 | 0 | 151 | 114 | 81 | 119 | 230 | 27 | 0 | 139 | 152 | 198 | 165 | 39 | 93 | 0 | 0 | 72 | 117 | 52 | 0 | 72 | 117 | 2980
Spent Grains/Wash-down Areas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5372 | 8.9888 | 15.526
Whirlpool
Filtration/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 80 | 0 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 25 | 144
CIP Process | 0 | 28 | 31 | 76 | 8 | 54 | 46 | 26 | 39 | 1 | 95 | 34 | 80 | 80 | 80 | 17 | 17 | 17 | 55 | 16 | 49 | 38 | 18 | 0 | 0 | 26 | 58 | 75 | 0 | 26 | 58 | 1148 |  |  | 15588.1818
Bottles Washer | 0 | 62 | 0 | 96 | 58 | 128 | 118 | 105 | 74 | 10 | 109 | 117 | 104 | 104 | 104 | 104 | 104 | 104 | 99 | 127 | 96 | 70 | 33 | 0 | 0 | 69 | 95 | 24 | 0 | 69 | 95 | 2278
Bottle Filler | 0 | 0 | 0 | 26 | 27 | 30 | 27 | 23 | 21 | 0 | 25 | 29 | 30 | 29 | 21 | 18 | 0 | 31 | 30 | 32 | 27 | 21 | 1 | 0 | 0 | 16 | 25 | 5 | 0 | 16 | 25 | 535
Pasteuriser | 0 | 0 | 0 | 14 | 5 | 3 | 7 | 7 | 4 | 0 | 23 | 12 | 5 | 13 | 7 | 1 | 0 | 16 | 11 | 13 | 4 | 2 | 0 | 0 | 0 | 4 | 11 | 1 | 0 | 4 | 11 | 178
Boiler Supply | 0 | 5 | 6 | 23 | 10 | 16 | 15 | 15 | 18 | 4 | 28 | 16 | 22 | 22 | 21 | 14 | 14 | 21 | 18 | 19 | 21 | 16 | 4 | 0 | 0 | 23 | 22 | 0 | 0 | 23 | 22 | 438
Backwash Supply | [31 empty] | 0
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 11 | 15
Personnel Consumption
Total water consumption (M3) | 126 | 202 | 100 | 373 | 166 | 354 | 318 | 428 | 226 | 15 | 431 | 322 | 322 | 372 | 543 | 181 | 136 | 345 | 365 | 405 | 362 | 186 | 149 | 0 | 0 | 210 | 328 | 157 | 0 | 236.5372 | 372.9888 | 7731.526
CO2 (kg.) (Tank Gauges)
CO2 (kg.) (Ex. Vap'r) | 0 | 651.53 | 3.88 | 1850.96 | 2479.87 | #REF! | #REF! | 2714.56 | 2871.81 | 74.13 | 5083.12 | 4456.91 | 3713.09 | 2931 | 3417 | 2046.81 | 0 | 0 | 0 | 53 | 228 | 189 | 295 | 0 | 139 | 0 | 16 | 164 | 0 | 55 | 113 | #REF!
CO2 (kg.) (Filler) | 0 | 0 | 0 | 155.53 | 193.11 | 416.94 | 306.16 | 315.83 | 251.42 | 0 | 392.29 | 349.89 | 387.11 | 361 | 251 | 243.84 | 0 | 371.93 | 332.96 | 400.58 | 299.69 | 176.24 | 0 | 0 | 0 | 138.93 | 182.71 | 0 | 30.61 | 0 | 0 | 5557.77
Electricity (Kwh.) | 2565 | 3568 | 3163 | 6988 | 5240 | 6232 | 6822 | 5886 | 5562 | 2999 | 6977 | 5879 | 6085 | 6311 | 6197 | 4545 | 3313 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 164551
Fuel (L) | 0 | 1200 | 1190 | 3160 | 2380 | 3140 | 3110 | 2970 | 2630 | 890 | 3850 | 2670 | 2960 | 3170 | 3020 | 2180 | 930 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 3740 | 91810
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 9 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | MTD | Target | Diff
Total water consumption |  |  |  | 11.318 | 12.6904 | 5.6922 | 8.5007 | 8.2125 | 5.7986 |  | 8.0577 | 7.4138 | 7.5793 | 7.7225 | 12.1155 | 4.3724 |  | 7.3673 | 8.4823 | 6.3229 | 8.9576 | 9.4353 |  | 0 |  | 6.5372 | 8.9888 | 26.8637 |  |  |  | 9.5895 | 10.2 | 0.61054
Consumption detail | [31 empty] | MTD | Target | Diff
Brewhouse / Old Pepsi Area |  |  |  | 3.8756 | 3.1863 | 1.8571 | 2.0952 | 5.8133 | 1.8121 |  | 3.3153 | 1.9035 | 1.4514 | 2.0791 | 6.5566 | 0.71985 |  | 2.4558 | 3.4109 | 3.3032 | 3.2342 | 1.1288 |  | 0 |  | 2.3186 | 2.7036 | 5.2913 |  |  |  | 3.3935 | 2.5 | -0.89349
Brewhouse (Hls brewed) |  | 3.0141 | 12.3288 | 3.4099 | 5.9732 | 4.1275 | 2.3761 | 7.2 | 3.4602 |  | 4.2861 | 4.3645 | 6.1597 | 8.3862 | #REF! | 0.87266 |  | 3.1663 |  | 4.4375 | 4.6414 | 1.8777 |  |  |  | 2.8743 | 4.6392 | 1.7328 |  |  |  | #REF! | 2.5 | #REF!
Spent Grains/Wash-down Areas |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  | 0.01768 | 0.1 | 0.08232
Whirlpool | [32 empty] | 0.1 | 0.1
Filtration/Cellars | Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0; Sun: 0; Mon: 0; Wed: 0; Thu: 0; Fri: 0; Sat: 0 | 0 | 0.7 | 0.7
Processing/Cellars |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0.087359 | 2.2806 | 0 |  | 0.30034 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  | 0.16398 | 1 | 0.83602
CIP Process |  |  |  | 2.1344 | 0.43949 | 0.81533 | 0.91791 | 0.59979 | 1.0096 |  | 2.0858 | 0.56772 | 1.4334 | 1.3977 | 2.2806 | 0.45324 |  | 0.30034 | 1.2342 | 0.26693 | 0.96045 | 1.0998 |  | 0 |  | 0.83728 | 1.3402 | 7.6317 |  |  |  | 1.3073 | 0.7 | -0.60729
Bottles Washer |  |  |  | 2.6961 | 3.1863 | 1.9326 | 2.3546 | 2.4222 | 1.9156 |  | 2.3932 | 1.9536 | 1.8635 | 1.8171 | 2.9647 | 2.7728 |  | 1.8374 | 2.2216 | 2.1187 | 1.8817 | 2.026 |  | 0 |  | 2.222 | 2.1952 | 2.4422 |  |  |  | 2.5941 | 2.6 | 0.0059144
Bottle Washer | [32 empty] | 2.6 | 2.6
Bottle Filler |  |  |  | 0.73019 | 1.4833 | 0.45296 | 0.53877 | 0.53058 | 0.54362 |  | 0.54889 | 0.48423 | 0.53754 | 0.50668 | 0.59865 | 0.4799 |  | 0.54769 | 0.6732 | 0.53386 | 0.52922 | 0.6078 |  | 0 |  | 0.51525 | 0.57768 | 0.50878 |  |  |  | 0.60923 | 0.7 | 0.090766
Pasteuriser |  |  |  | 0.39318 | 0.27468 | 0.045296 | 0.13968 | 0.16148 | 0.10355 |  | 0.50498 | 0.20037 | 0.08959 | 0.22713 | 0.19955 | 0.026661 |  | 0.28268 | 0.24684 | 0.21688 | 0.078404 | 0.057885 |  | 0 |  | 0.12881 | 0.25418 | 0.10176 |  |  |  | 0.2027 | 0.1 | -0.1027
Boiler Supply |  |  |  | 0.64594 | 0.54937 | 0.24158 | 0.29932 | 0.34603 | 0.46596 |  | 0.61475 | 0.26716 | 0.3942 | 0.38438 | 0.59865 | 0.37326 |  | 0.37101 | 0.40392 | 0.31698 | 0.41162 | 0.46308 |  | 0 |  | 0.74067 | 0.50836 | 0 |  |  |  | 0.49878 | 0.6 | 0.10122
Backwash Supply |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0.5 | 0.5
Refrigeration Unit |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [32 empty] | 0.4 | 0.4
Personnel Consumption | [32 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 3.0141 | 12.3288 | 13.8854 | 15.0927 | 9.4724 | 8.7217 | 17.0734 | 9.3106 | 0 | 13.749 | 9.7411 | 11.9293 | 14.8857 | #REF! | 5.6983 | 0 | 9.2615 | 8.1906 | 11.1941 | 11.7369 | 7.2611 | 0 | 0 | 0 | 9.6369 | 12.2184 | 17.7085 | 0 | 0 | 0 | #REF! | 15.6 | #REF!
Bottling Hall water | 0 | 0 | 0 | 3.8195 | 4.9443 | 2.4309 | 3.0331 | 3.1143 | 2.5628 | 0 | 3.447 | 2.6382 | 2.4906 | 2.5509 | 3.7629 | 3.2793 | 0 | 2.6678 | 3.1416 | 2.8695 | 2.4893 | 2.6917 | 0 | 0 | 0 | 2.8661 | 3.0271 | 3.0527 | 0 | 0 | 0 | 3.406 | 6 | 2.594
CO2 (kg./Hl.) KPI |  |  |  | 5.1983 | 13.6236 | #REF! | #REF! | 6.2621 | 7.4342 |  | 11.1603 | 7.442 | 6.6531 | 5.121 | 9.7409 | 5.457 |  | 0 | 0 | 0.08842 | 0.4469 | 0.54702 |  | 0 |  | 0 | 0.036972 | 1.6688 |  |  |  | #REF! | 5 | #REF!
CO2 Filler (kg./Hl.) KPI |  |  |  | 0.4368 | 1.0609 | 0.62952 | 0.61093 | 0.72858 | 0.65084 |  | 0.86129 | 0.58424 | 0.69363 | 0.63073 | 0.71553 | 0.6501 |  | 0.6571 | 0.74716 | 0.66829 | 0.58742 | 0.51009 |  | 0 |  | 0.4474 | 0.4222 | 0 |  |  |  | 0.63289 | 1.7 | 1.0671
Electricity (Kwh./Hl.) KPI |  |  |  | 19.6254 | 28.7868 | 9.4095 | 13.613 | 13.5782 | 14.3982 |  | 15.3184 | 9.8166 | 10.9031 | 11.0264 | 17.6658 | 12.1175 |  | 12.2417 | 15.5487 | 11.5597 | 13.5815 | 20.0544 |  | 168.1776 |  | 22.3135 | 16.0111 | 70.5069 |  |  |  | 18.7383 | 22 | 3.2617
[33 empty] | 31.2 | 31.2
Fuel (L/Hl.) KPI |  |  |  | 8.8747 | 13.0749 | 4.741 | 6.2059 | 6.8514 | 6.8082 |  | 8.4529 | 4.4583 | 5.3037 | 5.5385 | 8.6091 | 5.8121 |  | 6.6076 | 8.3926 | 6.2394 | 7.3307 | 10.8246 |  | 90.7756 |  | 12.0439 | 8.6422 | 38.0569 |  |  |  | 10.4549 | 7.2 | -3.2549
Total Bottles Washed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | .
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 759.64 | 977.49 | 609.04 | 404804.77 | 0 | 410.57 | 0 | 617.89 | 946.82 | 2251.18 | 535 | 683 | 672.41 | 0 | 1163.88 | 938.91 | 905.23 | 1520.16 | 351.54 | 0 | 0 | 0 | 462.12 | 576.35 | 30.4 | 2.21 | 0 | 0 | 419218.61
CO2 recovered (Kg - liquid) | [31 empty] | 0
CO2 liquid conversion efficiency | [31 empty] | 0% | bar: Wed to Sat; Mon; Wed to Mon; Wed to Sun; Thu to Sun
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tanks on Collection
Hls Brewed | 0 | 355 | 51.1 | 404.7 | 97.1 | 298 | 441.9 | 350 | 202.3 | 0 | 352.3 | 261.2 | 131.5 | 141.9 | #REF! | 309.4 | 0 | 439 | 0 | 446.2 | 355.5 | 207.7 | 0 | 0 | 0 | 250.5 | 252.2 | 300.1 | 0 | 0 | 0 | #REF!
Product | 0 | CB | CB | CB | ST | CB | ST/CB | CB | MK | 0 | CB | CB/VM | VM | VM/SM | #REF! | SM | 0 | ST | CB | CB/ST | ST/CB | SM | 0 | 0 | 0 | CB | CB | CB/ST | 0 | 0 | 0
No. of Brews | 0 | 7 | 1 | 8 | 2 | 6 | 9 | 7 | 4 | 0 | 7 | 5 | 3 | 3 | #REF! | 6 | 0 | 9 | 8 | 9 | 8 | 4 | 0 | 0 | 0 | 5 | 6 | 6 | 0 | 0 | 0 | #REF!
Raw Water In - Nawasa | 0 | 135 | 38 | 184 | 180 | 190 | 137 | 200 | 177 | 90 | 122 | 212 | 220 | 220 | 220 | 220 | 220 | 220 | 180 | 185 | 122 | 91 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 3697
Into RO | [31 empty] | 0 | bar: Sun
| 2565 | 3568 | 3163 | 6988 | 5240 | 6232 | 6822 | 5886 | 5562 | 2999 | 6977 | 5879 | 6085 | 6311 | 6197 | 4545 | 3313 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 6929 | 164551
Note on A79: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert

## Daily KPIs
Utilities Daily Consumption
1904-12-04
2026-05-01 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  |  | Monthly Target
| Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday |  | Total |  | Diff.
Cases Produced |  |  |  | 5395 | 2758 | 10035 | 7593 | 6568 | 5853 |  | 6901 | 9074 | 8456 | 8672 | 5315 | 5683 |  | 8576 | 6752 | 9082 | 7730 | 5235 |  | 624.25 |  | 4705 | 6557 | 1489 |  |  |  |  | 133053.25 | 86200 | 46853.25
HL produced |  |  |  | 356.07 | 182.028 | 662.31 | 501.138 | 433.488 | 386.298 | 0 | 455.466 | 598.884 | 558.096 | 572.352 | 350.79 | 375.078 |  | 566.016 | 445.632 | 599.412 | 510.18 | 345.51 | 0 | 41.2005 | 0 | 310.53 | 432.762 | 98.274 |  |  |  |  | 8781.5145
Product Type |  |  |  | GO/VM | CB | CB | CB/Ting/ST | ST/GN | GN |  | CB | CB/ST | ST/CB | CB/ST/SS/MK | VM/VMG | CB |  | SM/CB | CB/ST | ST/CB | CB/ST/CBe | Cbe/Ting/CB |  | kegs |  | CB | CB/SM | SM
Hls Brewed |  | 355 | 51.1 | 404.7 | 97.1 | 298 | 441.9 | 350 | 202.3 |  | 352.3 | 261.2 | 131.5 | 141.9 | 309.4 |  |  | 439 |  | 446.2 | 355.5 | 207.7 |  |  |  | 250.5 | 252.2 | 300.1 |  |  |  |  | 5647.6
Product |  | CB | CB | CB | ST | ST | ST/CB | CB | MK |  | CB | CB/VM | VM | VM/SM | SM |  |  | ST | CB | CB/ST | ST/CB | SM |  |  |  | CB | CB | CB/ST
No. of Brews |  | 7 | 1 | 8 | 2 | 6 | 9 | 7 | 4 |  | 7 | 5 | 3 | 3 | 6 |  |  | 9 | 8 | 9 | 8 | 4 |  |  |  | 5 | 6 | 6 |  |  |  |  | 123
Brewhouse (Hls brewed) |  | 3.0141 | 12.3288 | 3.4099 | 5.9732 | 4.1275 | 2.3761 | 7.2 | 3.4602 |  | 4.2861 | 4.3645 | 6.1597 | 8.3862 | 7.4337 | 0.87266 |  | 3.1663 |  | 4.4375 | 4.6414 | 1.8777 |  |  |  | 2.8743 | 4.6392 | 1.7328 |  |  |  |  | 5.2837
Water (m3)
MTD
Well Supply (from filtered water) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Nawasa Supply | 0 | 90 | 43 | 185 | 82 | 197 | 295 | 166 | 55 | 89 | 250 | 241 | 215 | 264 | 344 | 9 | 0 | 228 | 208 | 203 | 341 | 239 | 63 | 0 | 53 | 131 | 181 | 106 | 107 | 0 | 0 |  | 4385
Annanale Supply | 31 | 97 | 16 | 218 | 149 | 180 | 131 | 190 | 169 | 85 | 117 | 203 | 208 | 178 | 81 | 155 | 53 | 189 | 170 | 176 | 116 | 87 | 61 | 0 | 0 | 72 | 208 | 158 | 95 | 0 | 0 |  | 3593
Total Water Supply | 31 | 187 | 59 | 403 | 231 | 377 | 426 | 356 | 224 | 174 | 367 | 444 | 423 | 442 | 425 | 164 | 53 | 417 | 378 | 379 | 457 | 326 | 124 | 0 | 53 | 203 | 389 | 264 | 202 | 0 | 0 |  | 7978
0
Theoretical permeate | 0 | 98.55 | 27.74 | 134.32 | 131.4 | 138.7 | 100.01 | 146 | 129.21 | 65.7 | 89.06 | 154.76 | 160.6 | 136.51 | 61.32 | 118.99 | 64.97 | 119.72 | 131.4 | 135.05 | 89.06 | 66.43 | 45.99 | 0 | 0 | 54.02 | 160.6 | 141.62 | 51.83 | 0 | 0 |  | 2753.56 | 8743 |  | 9.9561
135.05
Permeate Produced | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Service Water Plant Supply | 47 | 107 | 58 | 253 | 192 | 290 | 278 | 240 | 178 | 73 | 322 | 242 | 310 | 278 | 246 | 87 | 142 | 295 | 273 | 257 | 238 | 186 | 83 | 12 | 60 | 138 | 253 | 107 | 89 | 19 | 0 |  | 5353
Brewhouse | 126 | 107 | 63 | 138 | 58 | 123 | 105 | 252 | 70 | 0 | 151 | 114 | 81 | 119 | 230 | 27 | 0 | 139 | 152 | 198 | 165 | 39 | 93 | 0 | 0 | 72 | 117 | 52 | 193 | 0 | 0 |  | 2984
Boiler Supply | 0 | 5 | 6 | 23 | 10 | 16 | 15 | 15 | 18 | 4 | 28 | 16 | 22 | 21 | 21 | 14 | 6 | 21 | 18 | 19 | 21 | 16 | 4 | 0 | 0 | 23 | 22 | 0 | 20 | 2 | 0 |  | 406
Water consumption | 173 | 219 | 127 | 414 | 260 | 429 | 398 | 507 | 266 | 77 | 501 | 372 | 413 | 418 | 497 | 128 | 148 | 455 | 443 | 474 | 424 | 241 | 180 | 12 | 60 | 233 | 392 | 159 | 302 | 21 | 0 |  | 8743
Water Consumption detail
Brewhouse | 126 | 107 | 63 | 138 | 58 | 123 | 105 | 252 | 70 | 0 | 151 | 114 | 81 | 119 | 230 | 27 | 0 | 139 | 152 | 198 | 165 | 39 | 93 | 0 | 0 | 72 | 117 | 52 | 193 | 0 | 0 |  | 2984
Spent grains/wash-down area | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Whirlpool
Cellars/Filtration | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Processing/Cellars | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CIP Process | 0 | 28 | 31 | 76 | 8 | 54 | 46 | 26 | 39 | 1 | 95 | 34 | 80 | 57 | 75 | 17 | 0 | 55 | 55 | 16 | 49 | 38 | 18 | 0 | 0 | 26 | 58 | 75 | 8 | 2 | 0 |  | 1067
Bottles Washer | 0 | 62 | 0 | 96 | 58 | 128 | 118 | 105 | 74 | 10 | 109 | 117 | 104 | 107 | 71 | 71 | 33 | 113 | 99 | 127 | 96 | 70 | 33 | 0 | 0 | 69 | 95 | 24 | 6 | 0 | 0 |  | 1995
Bottle Filler | 0 | 0 | 0 | 26 | 27 | 30 | 27 | 23 | 21 | 0 | 25 | 29 | 30 | 29 | 21 | 18 | 0 | 31 | 30 | 32 | 27 | 21 | 1 | 0 | 0 | 16 | 25 | 5 | 2 | 0 | 0 |  | 496
Pasteuriser | 0 | 0 | 0 | 14 | 5 | 3 | 7 | 7 | 4 | 0 | 23 | 12 | 5 | 13 | 7 | 1 | 0 | 16 | 11 | 13 | 4 | 2 | 0 | 0 | 0 | 4 | 11 | 1 | 0 | 0 | 0 |  | 163
Boiler Supply | 0 | 5 | 6 | 23 | 10 | 16 | 15 | 15 | 18 | 4 | 28 | 16 | 22 | 21 | 21 | 14 | 6 | 21 | 18 | 19 | 21 | 16 | 4 | 0 | 0 | 23 | 22 | 0 | 20 | 2 | 0 |  | 406
Refrigeration Unit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
CO2 Scrubber | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Personnel Consumption
Backwash Supply | [32 empty] | 0
Total water consumption (M3) | 126 | 202 | 100 | 373 | 166 | 354 | 318 | 428 | 226 | 15 | 431 | 322 | 322 | 346 | 425 | 148 | 39 | 375 | 365 | 405 | 362 | 186 | 149 | 0 | 0 | 210 | 328 | 157 | 229 | 4 | 0 |  | 7111
Consumption detail | [32 empty] | MTD | Target | Diff
Brewhouse/Filtration/Cellar |  |  |  | 3.8756 | 3.1863 | 1.8571 | 2.0952 | 5.8133 | 1.8121 |  | 3.3153 | 1.9035 | 1.4514 | 2.0791 | 6.5566 | 0.71985 |  | 2.4558 | 3.4109 | 3.3032 | 3.2342 | 1.1288 |  | 0 |  | 2.3186 | 2.7036 | 5.2913 |  |  |  |  | 3.398 | 3.2 | -0.19805
Spent Grains/Wash-down Areas | [32 empty] | 0 | 0.1 | 0.1
Whirlpool |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0.1 | 0.1
Cellars/Filtration |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0.7 | 0.7
Processing/Cellars |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  |  | 0 | 1 | 1
CIP Process |  |  |  | 2.1344 | 0.43949 | 0.81533 | 0.91791 | 0.59979 | 1.0096 |  | 2.0858 | 0.56772 | 1.4334 | 0.99589 | 2.138 | 0.45324 |  | 0.9717 | 1.2342 | 0.26693 | 0.96045 | 1.0998 |  | 0 |  | 0.83728 | 1.3402 | 7.6317 |  |  |  |  | 1.2151 | 0.7 | -0.51505
Bottles Washer |  |  |  | 2.6961 | 3.1863 | 1.9326 | 2.3546 | 2.4222 | 1.9156 |  | 2.3932 | 1.9536 | 1.8635 | 1.8695 | 2.024 | 1.8929 |  | 1.9964 | 2.2216 | 2.1187 | 1.8817 | 2.026 |  | 0 |  | 2.222 | 2.1952 | 2.4422 |  |  |  |  | 2.2718 | 2.1 | -0.17182
Bottle Filler |  |  |  | 0.73019 | 1.4833 | 0.45296 | 0.53877 | 0.53058 | 0.54362 |  | 0.54889 | 0.48423 | 0.53754 | 0.50668 | 0.59865 | 0.4799 |  | 0.54769 | 0.6732 | 0.53386 | 0.52922 | 0.6078 |  | 0 |  | 0.51525 | 0.57768 | 0.50878 |  |  |  |  | 0.56482 | 0.7 | 0.13518
Pasteuriser |  |  |  | 0.39318 | 0.27468 | 0.045296 | 0.13968 | 0.16148 | 0.10355 |  | 0.50498 | 0.20037 | 0.08959 | 0.22713 | 0.19955 | 0.026661 |  | 0.28268 | 0.24684 | 0.21688 | 0.078404 | 0.057885 |  | 0 |  | 0.12881 | 0.25418 | 0.10176 |  |  |  |  | 0.18562 | 0.1 | -0.085617
Boiler Supply |  |  |  | 0.64594 | 0.54937 | 0.24158 | 0.29932 | 0.34603 | 0.46596 |  | 0.61475 | 0.26716 | 0.3942 | 0.36691 | 0.59865 | 0.37326 |  | 0.37101 | 0.40392 | 0.31698 | 0.41162 | 0.46308 |  | 0 |  | 0.74067 | 0.50836 | 0 |  |  |  |  | 0.46233 | 0.6 | 0.13767
Backwash Supply | [33 empty] | 0.5 | 0.5
Refrigeration Unit |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0.3 | 0.3
CO2 Scrubber | [33 empty] | 0.4 | 0.4
Personnel Consumption | [33 empty] | 0.2 | 0.2
Water consumption (M3) | 0 | 0 | 0 | 10.4755 | 9.1195 | 5.3449 | 6.3456 | 9.8734 | 5.8504 | 0 | 9.4628 | 5.3767 | 5.7696 | 6.0452 | 12.1155 | 3.9458 | 0 | 6.6253 | 8.1906 | 6.7566 | 7.0955 | 5.3833 | 0 | 0 | 0 | 6.7626 | 7.5792 | 15.9757 | 0 | 0 | 0 |  | 8.0977 | 9.6 | 1.5023
Bottling Hall water | 0 | 0 | 0 | 3.8195 | 4.9443 | 2.4309 | 3.0331 | 3.1143 | 2.5628 | 0 | 3.447 | 2.6382 | 2.4906 | 2.6033 | 2.8222 | 2.3995 | 0 | 2.8268 | 3.1416 | 2.8695 | 2.4893 | 2.6917 | 0 | 0 | 0 | 2.8661 | 3.0271 | 3.0527 | 0 | 0 | 0 |  | 3.0223 | 2.9 | -0.12226
Water Plant Total (Before Sand Filter) | 0 | 135 | 38 | 184 | 180 | 190 | 137 | 200 | 177 | 90 | 122 | 212 | 220 | 187 | 84 | 163 | 89 | 164 | 180 | 185 | 122 | 91 | 63 | 0 | 0 | 74 | 220 | 194 | 71 | 0 | 0 |  | 3772
CO2 (kg.) Filler | [32 empty] | 0
CO2 (kg.) (Ex. Vap'r) |  | 500 | 400 | 2100 | 2700 | 2500 | 2300 | 2100 | 2000 | 600 | 2800 | 4100 | 3300 | 2400 | 2500 | 2800 |  | 2800 | 3300 | 2700 | 2500 | 2400 | 0 | 0 | 0 | 1700 | 2000 | 1700 | 700 | 0 | 0 | 0 | 52900
CO2 Totalizer | 0 | 651.53 | 3.88 | 1850.96 | 2479.87 | 3067.67 | 2435.44 | 2714.56 | 2871.81 | 74.13 | 5083.12 | 4456.91 | 3713.09 | 2931 | 3417 | 2046.81 | 0 | 3267.5 | 4178.03 | 3629.29 | 2756.62 | 1805.25 | 0 | 0 | 0 | 1178.66 | 1967.31 | 769.53 | 122.91 | 0 | 0 |  | 57472.88
CO2 (kg.) (FILLER) | 0 | 0 | 0 | 155.53 | 193.11 | 416.94 | 306.16 | 315.83 | 251.42 | 0 | 392.29 | 349.89 | 387.11 | 361 | 251 | 243.84 | 0 | 371.93 | 332.96 | 400.58 | 299.69 | 176.24 | 0 | 0 | 0 | 138.93 | 182.71 | 0 | 30.61 | 0 | 0 |  | 5557.77
CO2 (kg.) (BBT SECTION) | 0 | 0 | 0 | 759.64 | 977.49 | 609.04 | 1049.06 | 485.31 | 410.57 | 0 | 617.89 | 946.82 | 2251.18 | 535 | 683 | 672.41 | 0 | 1163.88 | 938.91 | 905.23 | 1520.16 | 351.54 | 0 | 0 | 0 | 462.12 | 576.35 | 30.4 | 2.21 | 0 | 0 |  | 15948.21
0
CO2 (kg.)Consumption Meter | 0 | 651.53 | 3.88 | 1850.96 | 2479.87 | #REF! | #REF! | 2714.56 | 2871.81 | 74.13 |  | 4456.91 |  | 2931 | 3417 | 2046.81 | 0 | 0 | 0 | 53 | 228 | 189 | 295 | 0 | 139 | 0 | 16 | 164 | 113 | #REF! | 0
Electricity GRENLEC (Kwh.) | 2565 | 3568 | 3163 | 6988 | 5240 | 6232 | 6822 | 5886 | 5562 | 2999 | 6977 | 5879 | 6085 | 6311 | 6197 | 4545 | 3313 | 6929 | 7018 | 6599 | 6726 | 5770 | 3408 | 3626 | 2011 | 4839 | 5621 | 4954 | 2496 | 2824 | 2735 |  | 153888
| #VALUE! | [31 empty] | #VALUE!
| 4692.1 | 8635 | 6571.7 | 7900.3 | 8267.2 | 7597.6 | 7159.4 | 4553.8 | 8321.1 | 7369.9 | 7604.4 | 7900.1 | 7516.2 | 6242.1 | 4648.9 | 8383.3 | 8458.6 | 7911.9 | 8314.1 | 7241.7 | 4909.7 | 4739.2 | 3160.6 | 615550% | 709300% | 6482.7 | 4022.8 | 4089.2 | 3771.1 | 199217.5 | 0 |  | 388930.7
Electricity PV System Target= 1279 (Kwh) | 1667.8 | 1703.5 | 1529.1 | 1647 | 1331.7 | 1668.3 | 1445.2 | 1711.6 | 1597.4 | 1554.8 | 1344.1 | 1490.9 | 1519.4 | 1589.1 | 1319.2 | 1697.1 | 1335.9 | 1454.3 | 1440.6 | 1312.9 | 1588.1 | 1471.7 | 1501.7 | 1113.2 | 1149.6 | 1316.5 | 1472 | 1528.7 | 1526.8 | 1265.2 | 1036.1 |  | 45329.5
Fuel (L) | 0 | 1200 | 1190 | 3160 | 2380 | 3140 | 3110 | 2970 | 2630 | 890 | 3850 | 2670 | 2960 | 3170 | 3020 | 2180 | 930 | 3740 | 3270 | 3490 | 3280 | 2340 | 890 | 0 | 0 | 3120 | 3410 | 1660 | 1430 | 0 | 0 |  | 66080
Steam Mass Flow | 0 | 439.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74.48 | 0 | 4500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.113 | 0 | 0 | 0 | 0 |  | 5077.348
Water (m3)
Area | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | MTD | Target | Diff | %
Total water consumption |  |  |  | 11.318 | 12.6904 | 5.6922 | 8.5007 | 8.2125 | 5.7986 |  | 8.0577 | 7.4138 | 7.5793 | 7.7225 | 12.1155 | 4.3724 |  | 7.3673 | 8.4823 | 6.3229 | 8.9576 | 9.4353 |  | 0 |  | 6.5372 | 8.9888 | 26.8637 |  |  |  |  | 9.085 | 10.2 | 1.115 | 89.0686
[33 empty] | 0 |  |  | #DIV/0!
CO2 (kg./Hl.) KPI |  |  |  | 5.8977 | 14.8329 | 3.7747 | 4.5896 | 4.8444 | 5.1774 |  | 6.1475 | 6.8461 | 5.913 | 4.1932 | 7.1268 | 7.4651 |  | 4.9469 | 7.4052 | 4.5044 | 4.9002 | 6.9463 |  | 0 |  | 5.4745 | 4.6215 | 17.2986 |  |  |  |  | 6.024 | 5 | -1.024 | 120.4804
CO2 Filler (kg./Hl.) KPI |  |  |  | 0.4368 | 1.0609 | 0.62952 | 0.61093 | 0.72858 | 0.65084 |  | 0.86129 | 0.58424 | 0.69363 | 0.63073 | 0.71553 | 0.6501 |  | 0.6571 | 0.74716 | 0.66829 | 0.58742 | 0.51009 |  | 0 |  | 0.4474 | 0.4222 | 0 |  |  |  |  | 0.63289 | 1.7 | 1.0671 | 37.2291
Electricity (Kwh./Hl.) KPI |  |  |  | 24.2508 | 36.1027 | 11.9284 | 16.4969 | 17.5267 | 18.5334 |  | 18.2694 | 12.3061 | 13.6256 | 13.8029 | 21.4265 | 16.6421 |  | 14.8111 | 18.9811 | 13.1994 | 16.2964 | 20.9595 |  | 115.0277 |  | 19.8226 | 16.3901 | 65.9656 |  |  |  |  | 22.686 | 22 | -0.68601 | 103.1182
[33 empty] | 0 |  |  | #DIV/0!
Fuel (L/Hl.) KPI |  |  |  | 8.8747 | 13.0749 | 4.741 | 6.2059 | 6.8514 | 6.8082 |  | 8.4529 | 4.4583 | 5.3037 | 5.5385 | 8.6091 | 5.8121 |  | 6.6076 | 7.3379 | 5.8224 | 6.4291 | 6.7726 |  | 0 |  | 10.0473 | 7.8796 | 16.8915 |  |  |  |  | 7.5249 | 7.2 | -0.3249 | 104.5125
Total Bottles Washed | [32 empty] | 0 |  | .
Bottle Washer (Including rejects) | [32 empty] | #DIV/0! | 2.6 | #DIV/0!
CO2 to Liqufier (kg.) | 0 | 0 | 0 | 759.64 | 977.49 | 609.04 | 404804.77 | 0 | 410.57 | 0 | 617.89 | 946.82 | 2251.18 | 535 | 683 | 672.41 | 0 | 1163.88 | 938.91 | 905.23 | 1520.16 | 351.54 | 0 | 0 | 0 | 462.12 | 576.35 | 30.4 | #REF! | #REF! | 0 |  | #REF!
CO2 recovered (Kg - liquid) | [32 empty] | 0
CO2 liquid conversion efficiency |  |  |  | 0% | 0% |  | 0% |  | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% |  |  |  | 0% | 0% | 0% | #REF! | #REF! |  |  | #REF!
Water Recovered (m3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | 0 |  | #REF!
Tanks on Collection
Into RO | _ | 135 | [24 empty] | _ | _ |  |  | _ |  | 135
| 2565 |  | 3163 | 6988 | 5240 | 6232 | 6822 | 5886 | 5562 | 2999 | 6977 | 5879 | 6085 | 6311 | 6197 | 4545 | 3313 | 6929 | 7018 | 6599 | 6726 | 5770 | 3408 | 3626 | 2011 | 4839 | 5621 | 4954 | 2496 | 2824 | 2735 |  | 153888
3568
[33 empty] | 22.7538 | %
Note on X42: Alexander Dominguez-Ramon: New Modulating Valve Connected last Saturday
Note on A69: RAntoine: Line deleted by MD on April 20, 2011. Do not reinsert
Note on B74: Tank A 3000kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on C74: Tank A 3000kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on D74: Tank A 2500kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on E74: Tank A 2100kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on F74: Tank A 0kgs Tank B 0kgs Tank C15100Kgs mobile approx 15800Kgs
Note on G74: Tank A 11500kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on H74: Tank A 9000kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on I74: Tank A 6700kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on J74: Tank A 2600kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on K74: Tank A 2000kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on L74: Tank A 2000kgs Tank B 0kgs Tank C 16700Kgs mobile approx 0Kgs
Note on M74: Tank A 0kgs Tank B 0kgs Tank C 15900Kgs mobile approx 0Kgs
Note on N74: Tank A 0kgs Tank B 0kgs Tank C 11800Kgs mobile approx 0Kgs
Note on O74: Tank A 0kgs Tank B 0kgs Tank C 8500Kgs mobile approx 0Kgs
Note on P74: Tank A 0kgs Tank B 0kgs Tank C 6100Kgs mobile approx 0Kgs
Note on Q74: Tank A 0kgs Tank B 0kgs Tank C 3600 Kgs mobile approx 0Kgs
Note on R74: Tank A 0kgs Tank B 0kgs Tank C800 Kgs mobile approx 19000 Kgs
Note on S74: Tank A 0kgs Tank B 0kgs Tank C800 Kgs mobile approx 19000 Kgs Tank C mt'd & refilled to 13400Kgs
Note on T74: Tank A 0kgs Tank B 0kgs Tank C 12600 Kgs mobile approx 4400 Kgs
Note on U74: Tank A 0kgs Tank B 0kgs Tank C 9300 Kgs mobile approx 4400 Kgs
Note on V74: Tank A 0kgs Tank B 0kgs Tank C 11000 Kgs mobile approx 0 Kgs
Note on W74: Tank A 0kgs Tank B 0kgs Tank C 8500 Kgs mobile approx 0 Kgs
Note on X74: Tank A 0kgs Tank B 0kgs Tank C 6100 Kgs mobile approx 0 Kgs
Note on AA74: Tank A 0kgs Tank B 0kgs Tank C 6100 Kgs mobile approx 18300 Kgs
Note on AB74: Tank A 0kgs Tank B 0kgs Tank C 4400 Kgs mobile approx 18300 Kgs
Note on AC74: Tank A 0kgs Tank B 0kgs Tank C 20000 Kgs mobile approx 0 Kgs
Note on AD74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on AE74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on AF74: Tank A 0kgs Tank B 0kgs Tank C 18300 Kgs mobile approx 0 Kgs
Note on AE75: Alexander Dominguez-Ramon: Reading Ne Flowmeter
Note on L80: Alexander Dominguez-Ramon: Yesterday 2/11/2026 the Setpoint of the RU2 Hanbell Screw Compressor was setted at -2 °C at 8:30 am. Temperature On: 0 °C Temperature Off: -2 °C

## Water Analysis. '26
DAILY WATER CONSUMPTION FOR MAY 2026
| Nawasa | Nawasa Daily | Service Water | RO - Well | RO - Nawasa | RO - Nawasa | Permeate #1 | Permeate #1 | Permeate #2 | Permeate #2 | Total Permeate | Brewhouse | Bottle Filler | Plant Cons
DATE | Supply (m3) | Consump. (m3) | Consump (m3) | Intake (m3) | Intake (m3) | Consump. (m3) | (m3) | Produced (m3) | (m3) | Produced (m3) | Produced (m3) | (m3) | (m3) | Tot.(Hl) | Comments | Total Prod. | Water
31 | [16 empty] | Hl/Hl
1 | 231941 | 0 | 0 | 61386 | 1344858 | 0 | 97122 | 0 | 1344858 | -1344858 | -1344858 | 0 | 0 | 0 |  |  | #DIV/0!
2 | 231941 | 90 | -45 | 0 | 1344858 | 135 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 180 |  |  | #DIV/0!
3 | 232031 | 43 | 5 | 0 | 1344993 | 38 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 86 |  |  | #DIV/0!
4 | 232074 | 185 | 1 | 0 | 1345031 | 184 | 97122 | 0 | 0 | 0 | 0 | 0 | 26 | 370 |  |  | #DIV/0!
5 | 232259 | 82 | -98 | 0 | 1345215 | 180 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 164 |  |  | #DIV/0!
6 | 232341 | 197 | 7 | 0 | 1345395 | 190 | 97122 | 0 | 0 | 22609 | 22609 | 0 | 30 | 394 |  |  | #DIV/0!
7 | 232538 | 295 | 158 | 0 | 1345585 | 137 | 97122 | 0 | 22609 | -22609 | -22609 | 0 | 27 | 590 |  |  | #DIV/0!
8 | 232833 | 166 | -34 | 0 | 1345722 | 200 | 97122 | 0 | 0 | 0 | 0 | 0 | 23 | 332 |  |  | #DIV/0!
9 | 232999 | 55 | -122 | 0 | 1345922 | 177 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 110 |  |  | #DIV/0!
10 | 233054 | 89 | -1 | 0 | 1346099 | 90 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 178 |  |  | #DIV/0!
11 | 233143 | 250 | 128 | 0 | 1346189 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 500 |  |  | #DIV/0!
12 | 233393 | 241 | 29 | 0 | 1346311 | 212 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 482 |  |  | #DIV/0!
13 | 233634 | 215 | -5 | 0 | 1346523 | 220 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 430 |  |  | #DIV/0!
14 | 233849 | 264 | 77 | 0 | 1346743 | 187 | 97122 | 0 | 0 | 0 | 0 | 0 | 29 | 528 |  |  | #DIV/0!
15 | 234113 | 344 | 260 | 0 | 1346930 | 84 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 688 |  |  | #DIV/0!
16 | 234457 | 9 | -154 | 0 | 1347014 | 163 | 97122 | 0 | 0 | 0 | 0 | 0 | 18 | 18 |  |  | #DIV/0!
17 | 234466 | 0 | -89 | 0 | 1347177 | 89 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
18 | 234466 | 228 | 64 | 0 | 1347266 | 164 | 97122 | 0 | 0 | 0 | 0 | 0 | 31 | 456 |  |  | #DIV/0!
19 | 234694 | 208 | 28 | 0 | 1347430 | 180 | 97122 | 0 | 0 | 0 | 0 | 0 | 30 | 416 |  |  | #DIV/0!
20 | 234902 | 203 | 18 | 0 | 1347610 | 185 | 97122 | 0 | 0 | 0 | 0 | 0 | 32 | 406 |  |  | #DIV/0!
21 | 235105 | 341 | 219 | 0 | 1347795 | 122 | 97122 | 0 | 0 | 0 | 0 | 0 | 27 | 682 |  |  | #DIV/0!
22 | 235446 | 239 | 148 | 0 | 1347917 | 91 | 97122 | 0 | 0 | 0 | 0 | 0 | 21 | 478 |  |  | #DIV/0!
23 | 235685 | 63 | 0 | 0 | 1348008 | 63 | 97122 | 0 | 0 | 0 | 0 | 0 | 1 | 126 |  |  | #DIV/0!
24 | 235748 | 0 | 0 | 0 | 1348071 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0!
25 | 235748 | 53 | 53 | 0 | 1348071 | 0 | 97122 | 0 | 0 | 0 | 0 | 0 | 0 | 106 |  |  | #DIV/0!
26 | 235801 | 131 | 57 | 0 | 1348071 | 74 | 97122 | 0 | 0 | 0 | 0 | 0 | 16 | 262 |  |  | #DIV/0!
27 | 235932 | 181 | -39 | 0 | 1348145 | 220 | 97122 | 0 | 0 | 0 | 0 | 0 | 25 | 362 |  |  | #DIV/0!
28 | 236113 | 106 | -88 | 0 | 1348365 | 194 | 97122 | 0 | 0 | 0 | 0 | 0 | 5 | 212 |  |  | #DIV/0!
| 236219 |  | 0 |  | 1348559 |  | 97122
Total |  | 4278 | 577 |  |  | 3701 |  | 0 | 1367467 | -1344858 | -1344858 | 0 | 494 | 8556 | 0 | 0 | #DIV/0!